## Hoja1
Data Log
Unit Serial Number | 10/07/35492
Meter/Site ID | 614050
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 32
Fault/Alarms Recorded: | Date | Time | Condition
| 1 | 21/09/2013 | 13:30 | 192 (Internal Operations Fault Occurred Low Battery Occurred)
| 2 | 2013-04-09 | 14:24 | 128 (Low Battery Occurred)
| 3 | 23/08/2013 | 11:16 | 16 (High Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
30 | 2013-09-30 | 9:00 | 165006 | 732908 | 21.4512 | 2 | 304.6631 | 27.4 | 798.4 | 1519.3 | 1.0355
29 | 2013-09-29 | 9:00 | 145855 | 732022 | 21.832 | 2 | 303.8935 | 28 | 820.4 | 1547.6 | 1.0362
28 | 2013-09-28 | 9:00 | 126186 | 731108 | 21.4337 | 2 | 302.3297 | 27.9 | 936.1 | 1525 | 1.0353
27 | 2013-09-27 | 9:00 | 103718 | 730059 | 21.4402 | 2 | 302.2063 | 27.7 | 927.3 | 1679.4 | 1.0356
26 | 2013-09-26 | 9:00 | 81463 | 729018 | 21.4573 | 2 | 302.3541 | 27.9 | 909.1 | 1339.6 | 1.0359
25 | 2013-09-25 | 9:00 | 59746 | 727986 | 21.7081 | 2 | 303.1265 | 27.8 | 849.6 | 1840.2 | 1.0359
24 | 2013-09-24 | 9:00 | 39451 | 727039 | 21.7971 | 2 | 303.3312 | 27.6 | 841.4 | 1406.6 | 1.036
23 | 2013-09-23 | 9:00 | 19319 | 726102 | 21.3882 | 2 | 303.3322 | 27.5 | 850.1 | 1573.6 | 1.0355
22 | 2013-09-22 | 9:00 | 998999 | 725156 | Int flt | 2 | 303.5469 | 27.2 | 830.8 | 1375.6 | 1.0357
21 | 2013-09-21 | 9:00 | 978835 | 724217 | 21.395 | 2 | 303.0325 | 27.5 | 875.4 | 1473.1 | 1.0358
20 | 2013-09-20 | 9:00 | 957841 | 723239 | Low Batt | 2 | 303.1695 | 27.6 | 865.9 | 1614.9 | 1.0358
19 | 2013-09-19 | 9:00 | 937049 | 722271 | 21.5074 | 2 | 302.623 | 26.3 | 922.6 | 1438.5 | 1.0358
18 | 2013-09-18 | 9:00 | 914918 | 721244 | 21.5024 | 2 | 302.0372 | 27.1 | 957.4 | 1592.1 | 1.0364
17 | 2013-09-17 | 9:00 | 891953 | 720174 | 21.1366 | 2 | 308.9833 | 26.4 | 269.1 | 1514.2 | 1.0354
16 | 2013-09-16 | 9:00 | 885550 | 719881 | 21.9424 | 2 | 303.9522 | 26.4 | 846.9 | 1645.4 | 1.037
15 | 2013-09-15 | 9:00 | 865256 | 718941 | 21.8564 | 2 | 303.0449 | 26.5 | 890.4 | 1596.1 | 1.0369
14 | 2013-09-14 | 9:00 | 843885 | 717949 | 21.4212 | 2 | 303.249 | 26.5 | 860.8 | 1644.7 | 1.0362
13 | 2013-09-13 | 9:00 | 823242 | 716992 | 21.6169 | 2 | 302.6777 | 27 | 905.9 | 1571.9 | 1.0365
12 | 2013-09-12 | 9:00 | 801565 | 715983 | 21.4847 | 2 | 303.7387 | 27.3 | 839.5 | 1263 | 1.036
11 | 2013-09-11 | 9:00 | 781440 | 715049 | 21.7918 | 2 | 302.9501 | 26.9 | 897.2 | 1336.8 | 1.0362
10 | 2013-09-10 | 9:00 | 759935 | 714051 | 21.5082 | 2 | 302.9144 | 26.8 | 900.8 | 1247.8 | 1.0359
9 | 2013-09-09 | 9:00 | 738323 | 713047 | 21.4223 | 2 | 303.8121 | 27.1 | 841.7 | 1557.4 | 1.0359
8 | 2013-09-08 | 9:00 | 718194 | 712114 | 21.4862 | 2 | 303.5983 | 27.5 | 829.7 | 1555.5 | 1.0357
7 | 2013-09-07 | 9:00 | 698354 | 711192 | 21.7868 | 2 | 303.464 | 27.3 | 843 | 1628.7 | 1.0361
6 | 2013-09-06 | 9:00 | 678195 | 710254 | 21.6321 | 2 | 303.3287 | 27.5 | 847.4 | 1520.8 | 1.0361
5 | 2013-09-05 | 9:00 | 657867 | 709308 | Low Batt | 2 | 302.5906 | 27 | 907.4 | 1559.4 | 1.0358
4 | 2013-09-04 | 9:00 | 636158 | 708296 | 21.6516 | 2 | 302.9997 | 26.7 | 874.5 | 1531 | 1.0366
3 | 2013-09-03 | 9:00 | 615221 | 707324 | 21.9754 | 2 | 303.3766 | 26.6 | 824.5 | 1521.6 | 1.0373
2 | 2013-09-02 | 9:00 | 595488 | 706408 | 21.8628 | 2 | 303.3342 | 26.4 | 866.7 | 1526.3 | 1.0369
1 | 2013-09-01 | 9:00 | 574778 | 705448 | 21.379 | 2 | 303.3785 | 27.1 | 829.8 | 1613.9 | 1.0355