## Dlog_SANYO_29-05-2014
Data Log
Unit Serial Number: | 04/07/33089
Meter/Site ID: | SANYO
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/06/2012 | 8:21:45 a.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
2 | 10/06/2011 | 7:04:15 p.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 29/05/2014 | 7:00:00 a.m. | 703760 | 97714 | 7.0056 | 0 | 89.19 | 23.7 | 21.8 | 74
20 | 28/05/2014 | 7:00:00 a.m. | 703243 | 97639 | 7.0545 | 0 | 89.503 | 23.8 | 22.4 | 72.8
19 | 27/05/2014 | 7:00:00 a.m. | 702718 | 97563 | 7.0849 | 0 | 90.078 | 23.6 | 22.4 | 80.6
18 | 26/05/2014 | 7:00:00 a.m. | 702196 | 97488 | 7.0772 | 0 | 93.381 | 24.1 | 0.4 | 39.4
17 | 25/05/2014 | 7:00:00 a.m. | 702175 | 97485 | 7.4266 | 0 | 91.757 | 20.4 | 3.7 | 37
16 | 24/05/2014 | 7:00:00 a.m. | 702076 | 97471 | 7.104 | 0 | 88.98 | 21.3 | 19.6 | 50.8
15 | 23/05/2014 | 7:00:00 a.m. | 701618 | 97405 | 6.9599 | 0 | 89.058 | 20 | 18.4 | 79.8
14 | 22/05/2014 | 7:00:00 a.m. | 701198 | 97345 | 6.8537 | 0 | 88.986 | 22 | 22.8 | 77.3
13 | 21/05/2014 | 7:00:00 a.m. | 700652 | 97266 | 7.1595 | 0 | 89.374 | 20.6 | 22 | 66.8
12 | 20/05/2014 | 7:00:00 a.m. | 700135 | 97192 | 7.1261 | 0 | 89.544 | 22 | 22.2 | 72.9
11 | 19/05/2014 | 7:00:00 a.m. | 699614 | 97117 | 7.0729 | 0 | 92.245 | 24.4 | 0.8 | 46.9
10 | 18/05/2014 | 7:00:00 a.m. | 699592 | 97114 | 7.291 | 0 | 91.878 | 24.9 | 13 | 62.2
9 | 17/05/2014 | 7:00:00 a.m. | 699294 | 97071 | 7.1504 | 0 | 90.444 | 27.5 | 20.8 | 73.9
8 | 16/05/2014 | 7:00:00 a.m. | 698807 | 97000 | 6.9914 | 0 | 90.459 | 29 | 21.7 | 80.1
7 | 15/05/2014 | 7:00:00 a.m. | 698301 | 96926 | 7.1177 | 0 | 90.24 | 28.7 | 21.7 | 75.8
6 | 14/05/2014 | 7:00:00 a.m. | 697787 | 96851 | 6.9184 | 0 | 90.906 | 26.2 | 22.4 | 73.4
5 | 13/05/2014 | 7:00:00 a.m. | 697253 | 96774 | 7.1509 | 0 | 90.559 | 27.7 | 0.8 | 44.3
4 | 12/05/2014 | 7:00:00 a.m. | 697232 | 96771 | 7.26 | 0 | 92.276 | 22.6 | 0 | 0
3 | 11/05/2014 | 7:00:00 a.m. | 697232 | 96771 | 7.4767 | 0 | 91.548 | 22.1 | 0.5 | 12.5
2 | 10/05/2014 | 7:00:00 a.m. | 697204 | 96767 | 7.24 | 0 | 89.532 | 21.9 | 22.1 | 65
1 | 09/05/2014 | 7:00:00 a.m. | 696690 | 96693 | 7.1725 | 0 | 89.431 | 19.8 | 23.9 | 64.1
| 08/05/2014 | 7:00:00 a.m. | 696116 | 96611 | 7.0351 | 0 | 89.262 | 19.3 | 25.1 | 60.9
| 07/05/2014 | 7:00:00 a.m. | 695521 | 96526 | 7.038 | 0 | 89.205 | 18.9 | 23.6 | 66
| 06/05/2014 | 7:00:00 a.m. | 694966 | 96447 | 7.1895 | 0 | 89.732 | 21 | 22.2 | 75.5
| 05/05/2014 | 7:00:00 a.m. | 694442 | 96372 | 7.1521 | 0 | 91.88 | 24.9 | 0.9 | 46.3
| 04/05/2014 | 7:00:00 a.m. | 694406 | 96367 | 7.4232 | 0 | 92.12 | 28.6 | 0 | 0
| 03/05/2014 | 7:00:00 a.m. | 694406 | 96367 | 7.2685 | 0 | 91.388 | 28.7 | 5.7 | 27
| 02/05/2014 | 7:00:00 a.m. | 694276 | 96348 | 7.1378 | 0 | 92.401 | 25.8 | 22 | 74.3
| 01/05/2014 | 7:00:00 a.m. | 693768 | 96276 | 7.3082 | 0 | 90.942 | 26.5 | 13.7 | 74.5
| 30/04/2014 | 7:00:00 a.m. | 693450 | 96230 | 6.9622 | 0 | 89.819 | 25.2 | 20.3 | 74