## covemex 09 01 13 diario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 9:00:00 a.m. | 990631 | 212507 | 29.1477 | 0 | 396.26 | 22.7 | 5.6
2 | 30/07/2013 | 9:00:00 a.m. | 993121 | 212593 | 29.1876 | 0 | 396.704 | 22.9 | 5.66
3 | 31/07/2013 | 9:00:00 a.m. | 994377 | 212636 | 29.1896 | 0 | 397.504 | 21.6 | 5.67
4 | 01/08/2013 | 9:00:00 a.m. | 994916 | 212655 | 29.6713 | 0 | 397.061 | 22.6 | 5.66
5 | 02/08/2013 | 9:00:00 a.m. | 996836 | 212721 | 29.0883 | 0 | 399.78 | 23.2 | 5.67
6 | 03/08/2013 | 9:00:00 a.m. | 999018 | 212796 | 29.2278 | 0 | 396.629 | 23.7 | 5.65
7 | 04/08/2013 | 9:00:00 a.m. | 1000820 | 212858 | 29.5749 | 0 | 397.046 | 22.5 | 5.65
8 | 05/08/2013 | 9:00:00 a.m. | 1001034 | 212865 | 29.02 | 0 | 397.602 | 23 | 5.66
9 | 06/08/2013 | 9:00:00 a.m. | 1003043 | 212934 | 28.9814 | 0 | 396.503 | 23.2 | 5.65
10 | 07/08/2013 | 9:00:00 a.m. | 1005268 | 213011 | 29.1899 | 0 | 396.288 | 23.8 | 5.62
11 | 08/08/2013 | 9:00:00 a.m. | 1007968 | 213103 | 28.9904 | 0 | 397.751 | 24 | 5.59
12 | 09/08/2013 | 9:00:00 a.m. | 1010575 | 213193 | 28.9133 | 0 | 397.212 | 23.7 | 5.67
13 | 10/08/2013 | 9:00:00 a.m. | 1013143 | 213282 | 29.0024 | 0 | 397.241 | 23.9 | 5.64
14 | 11/08/2013 | 9:00:00 a.m. | 1015860 | 213374 | 29.3969 | 0 | 398.359 | 22.8 | 5.61
15 | 12/08/2013 | 9:00:00 a.m. | 1018165 | 213453 | 28.9627 | 0 | 398.538 | 21.7 | 5.62
16 | 13/08/2013 | 9:00:00 a.m. | 1020798 | 213543 | 29.0417 | 0 | 397.854 | 23.1 | 5.64
17 | 14/08/2013 | 9:00:00 a.m. | 1023493 | 213635 | 29.084 | 0 | 397.252 | 22.9 | 5.64
18 | 15/08/2013 | 9:00:00 a.m. | 1026073 | 213724 | 29.1477 | 0 | 397.261 | 23.1 | 5.65
19 | 16/08/2013 | 9:00:00 a.m. | 1028514 | 213808 | 28.9592 | 0 | 397.092 | 23.2 | 5.65
20 | 17/08/2013 | 9:00:00 a.m. | 1030946 | 213892 | 29.0231 | 0 | 396.309 | 23 | 5.66
21 | 18/08/2013 | 9:00:00 a.m. | 1033248 | 213971 | 29.1395 | 0 | 396.684 | 23.3 | 5.69
22 | 19/08/2013 | 9:00:00 a.m. | 1035330 | 214043 | 29.6423 | 0 | 396.832 | 22.4 | 5.63
23 | 20/08/2013 | 9:00:00 a.m. | 1037986 | 214134 | 29.1837 | 0 | 396.353 | 23.1 | 5.63
24 | 21/08/2013 | 9:00:00 a.m. | 1040574 | 214223 | 29.0992 | 0 | 396.09 | 23.1 | 5.59
25 | 22/08/2013 | 9:00:00 a.m. | 1043206 | 214313 | 29.1546 | 0 | 396.181 | 22.2 | 5.59
26 | 23/08/2013 | 9:00:00 a.m. | 1045845 | 214404 | 28.9658 | 0 | 395.991 | 22.6 | 5.63
27 | 24/08/2013 | 9:00:00 a.m. | 1048176 | 214485 | 28.7515 | 0 | 395.146 | 22.9 | 5.65
28 | 25/08/2013 | 9:00:00 a.m. | 1050799 | 214575 | 28.9774 | 0 | 395.879 | 23.5 | 5.65
29 | 26/08/2013 | 9:00:00 a.m. | 1053304 | 214662 | 29.073 | 0 | 396.459 | 23.1 | 5.61
30 | 27/08/2013 | 9:00:00 a.m. | 1055800 | 214747 | 29.6022 | 0 | 396.322 | 22.4 | 5.6
31 | 28/08/2013 | 9:00:00 a.m. | 1058294 | 214833 | 29.3491 | 0 | 396.53 | 22.5 | 5.6
32 | 29/08/2013 | 9:00:00 a.m. | 1060510 | 214909 | 29.0951 | 0 | 395.849 | 22.2 | 5.62
33 | 30/08/2013 | 9:00:00 a.m. | 1061576 | 214946 | 29.4962 | 0 | 395.633 | 20.8 | 5.6
34 | 31/08/2013 | 9:00:00 a.m. | 1061678 | 214950 | 29.4621 | 0 | 395.421 | 22.5 | 5.62
35 | 01/09/2013 | 9:00:00 a.m. | 1061738 | 214952 | 29.374 | 0 | 395.962 | 23.1 | 5.63