## honda 09 01 13 diario mc b
Data Log
Unit Serial Number: | 02/11/45783
Meter/Site ID: | 1120117 Honda
Drive Rate | 1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
22 | 06/11/2013 | 2:52:57 p.m. | 16 (High Flow Rate Alarm Occurred)
23 | 07/01/2013 | 12:30:36 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 9:00:00 a.m. | 58444 | 2066 | 30.4995 | 0 | 400.821 | 21.6 | 5.61
2 | 30/07/2013 | 9:00:00 a.m. | 60283 | 2128 | 30.379 | 0 | 401.132 | 21.8 | 5.61
3 | 31/07/2013 | 9:00:00 a.m. | 61352 | 2164 | 30.3831 | 0 | 401.383 | 22.2 | 5.61
4 | 01/08/2013 | 9:00:00 a.m. | 62302 | 2196 | 30.2209 | 0 | 401.23 | 22.4 | 5.61
5 | 02/08/2013 | 9:00:00 a.m. | 63576 | 2239 | 30.1609 | 0 | 402.84 | 22.2 | 5.61
6 | 03/08/2013 | 9:00:00 a.m. | 64575 | 2273 | 30.2965 | 0 | 400.831 | 23 | 5.62
7 | 04/08/2013 | 9:00:00 a.m. | 65113 | 2291 | 30.5219 | 0 | 401.356 | 20.9 | 5.61
8 | 05/08/2013 | 9:00:00 a.m. | 65679 | 2310 | 30.1982 | 0 | 401.707 | 22.3 | 5.61
9 | 06/08/2013 | 9:00:00 a.m. | 66451 | 2336 | 30.3995 | 0 | 401.1 | 21.8 | 5.6
10 | 07/08/2013 | 9:00:00 a.m. | 66953 | 2353 | 30.2429 | 0 | 400.82 | 23.1 | 5.61
11 | 08/08/2013 | 9:00:00 a.m. | 67484 | 2371 | 30.2324 | 0 | 401.638 | 23.7 | 5.62
12 | 09/08/2013 | 9:00:00 a.m. | 68221 | 2396 | 30.4141 | 0 | 401.314 | 22.9 | 5.61
13 | 10/08/2013 | 9:00:00 a.m. | 68723 | 2413 | 30.4151 | 0 | 401.215 | 23.2 | 5.61
14 | 11/08/2013 | 9:00:00 a.m. | 69262 | 2431 | 30.3263 | 0 | 402.177 | 20.3 | 5.6
15 | 12/08/2013 | 9:00:00 a.m. | 69805 | 2449 | 30.5285 | 0 | 402.423 | 19.3 | 5.6
16 | 13/08/2013 | 9:00:00 a.m. | 70312 | 2466 | 30.4329 | 0 | 401.672 | 21 | 5.6
17 | 14/08/2013 | 9:00:00 a.m. | 70849 | 2484 | 30.5144 | 0 | 401.303 | 21.4 | 5.6
18 | 15/08/2013 | 9:00:00 a.m. | 71442 | 2504 | 30.3985 | 0 | 401.257 | 21.6 | 5.6
19 | 16/08/2013 | 9:00:00 a.m. | 71947 | 2521 | 30.236 | 0 | 401.14 | 22.4 | 5.61
20 | 17/08/2013 | 9:00:00 a.m. | 72450 | 2538 | 30.4987 | 0 | 400.697 | 22.5 | 5.61
21 | 18/08/2013 | 9:00:00 a.m. | 72955 | 2555 | 30.5084 | 0 | 401.067 | 21.9 | 5.6
22 | 19/08/2013 | 9:00:00 a.m. | 73431 | 2571 | 30.6858 | 0 | 401.186 | 21.6 | 5.59
23 | 20/08/2013 | 9:00:00 a.m. | 73937 | 2588 | 30.4667 | 0 | 400.947 | 21.5 | 5.59
24 | 21/08/2013 | 9:00:00 a.m. | 74444 | 2605 | 30.2894 | 0 | 400.763 | 20.8 | 5.6
25 | 22/08/2013 | 9:00:00 a.m. | 74987 | 2623 | 30.2883 | 0 | 401.146 | 18.5 | 5.59
26 | 23/08/2013 | 9:00:00 a.m. | 75792 | 2650 | 30.3312 | 0 | 400.667 | 20.3 | 5.6
27 | 24/08/2013 | 9:00:00 a.m. | 76295 | 2667 | 30.2367 | 0 | 399.864 | 21.5 | 5.6
28 | 25/08/2013 | 9:00:00 a.m. | 76948 | 2689 | 30.3566 | 0 | 400.334 | 21.5 | 5.6
29 | 26/08/2013 | 9:00:00 a.m. | 77455 | 2706 | 30.4194 | 0 | 400.811 | 21.2 | 5.59
30 | 27/08/2013 | 9:00:00 a.m. | 78021 | 2725 | 30.2373 | 0 | 400.745 | 20.5 | 5.6
31 | 28/08/2013 | 9:00:00 a.m. | 78561 | 2743 | 30.4884 | 0 | 401.072 | 19.8 | 5.59
32 | 29/08/2013 | 9:00:00 a.m. | 79128 | 2762 | 30.6606 | 0 | 400.506 | 20.5 | 5.59
33 | 30/08/2013 | 9:00:00 a.m. | 79665 | 2780 | 30.3393 | 0 | 400.133 | 20.9 | 5.59
34 | 31/08/2013 | 9:00:00 a.m. | 80168 | 2797 | 30.2441 | 0 | 399.899 | 21.7 | 5.59
35 | 01/09/2013 | 9:00:00 a.m. | 80700 | 2815 | 30.6048 | 0 | 400.154 | 22.4 | 5.59