## covemex diario 10 01 13 diario
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 28/08/2013 | 9:00:00 a.m. | 1058294 | 214833 | 29.3491 | 0 | 396.53 | 22.5 | 5.6
2 | 29/08/2013 | 9:00:00 a.m. | 1060510 | 214909 | 29.0951 | 0 | 395.849 | 22.2 | 5.62
3 | 30/08/2013 | 9:00:00 a.m. | 1061576 | 214946 | 29.4962 | 0 | 395.633 | 20.8 | 5.6
4 | 31/08/2013 | 9:00:00 a.m. | 1061678 | 214950 | 29.4621 | 0 | 395.421 | 22.5 | 5.62
5 | 01/09/2013 | 9:00:00 a.m. | 1061738 | 214952 | 29.374 | 0 | 395.962 | 23.1 | 5.63
6 | 02/09/2013 | 9:00:00 a.m. | 1061777 | 214953 | 29.3232 | 0 | 396.887 | 22.9 | 5.62
7 | 03/09/2013 | 9:00:00 a.m. | 1061852 | 214956 | 29.7922 | 0 | 397.003 | 22.3 | 5.59
8 | 04/09/2013 | 9:00:00 a.m. | 1063350 | 215007 | 29.3256 | 0 | 396.431 | 22.8 | 5.6
9 | 05/09/2013 | 9:00:00 a.m. | 1065780 | 215090 | 29.0365 | 0 | 395.593 | 22.4 | 5.61
10 | 06/09/2013 | 9:00:00 a.m. | 1068605 | 215188 | 28.9289 | 0 | 395.126 | 22.8 | 5.59
11 | 07/09/2013 | 9:00:00 a.m. | 1070955 | 215268 | 30.0223 | 0 | 397.242 | 22.6 | 5.59
12 | 08/09/2013 | 9:00:00 a.m. | 1073101 | 215341 | 30.5622 | 0 | 402.194 | 21.6 | 5.59
13 | 09/09/2013 | 9:00:00 a.m. | 1074695 | 215394 | 29.9269 | 0 | 404.421 | 21.6 | 5.59
14 | 10/09/2013 | 9:00:00 a.m. | 1076997 | 215476 | 27.9988 | 0 | 384.626 | 22.6 | 5.65
15 | 11/09/2013 | 9:00:00 a.m. | 1079877 | 215579 | 27.937 | 0 | 382.811 | 23.4 | 5.63
16 | 12/09/2013 | 9:00:00 a.m. | 1082347 | 215663 | 29.4267 | 0 | 398.836 | 22.6 | 5.6
17 | 13/09/2013 | 9:00:00 a.m. | 1085029 | 215755 | 29.4409 | 0 | 399.169 | 22.8 | 5.63
18 | 14/09/2013 | 9:00:00 a.m. | 1087357 | 215834 | 29.5241 | 0 | 399.747 | 22.3 | 5.59
19 | 15/09/2013 | 9:00:00 a.m. | 1089202 | 215896 | 29.6633 | 0 | 400.473 | 21.2 | 5.43
20 | 16/09/2013 | 9:00:00 a.m. | 1091150 | 215962 | 29.6773 | 0 | 400.565 | 21.2 | 5.59
21 | 17/09/2013 | 9:00:00 a.m. | 1091429 | 215971 | 29.3596 | 0 | 404.061 | 20.4 | 5.64
22 | 18/09/2013 | 9:00:00 a.m. | 1093269 | 216034 | 28.214 | 0 | 400.754 | 23.1 | 5.62
23 | 19/09/2013 | 9:00:00 a.m. | 1095021 | 216096 | 27.871 | 0 | 383.341 | 22.9 | 5.66
24 | 20/09/2013 | 9:00:00 a.m. | 1097213 | 216174 | 28.3054 | 0 | 384.031 | 23.2 | 5.61
25 | 21/09/2013 | 9:00:00 a.m. | 1099540 | 216256 | 26.7391 | 0 | 388.722 | 22.9 | 5.59
26 | 22/09/2013 | 9:00:00 a.m. | 1101631 | 216334 | 26.5978 | 0 | 362.801 | 22.2 | 5.6
27 | 23/09/2013 | 9:00:00 a.m. | 1104184 | 216427 | 27.679 | 0 | 376.601 | 22.4 | 5.61
28 | 24/09/2013 | 9:00:00 a.m. | 1106670 | 216512 | 29.0688 | 0 | 397.904 | 22.7 | 5.61
29 | 25/09/2013 | 9:00:00 a.m. | 1109402 | 216609 | 27.2436 | 0 | 381.211 | 22.2 | 5.63
30 | 26/09/2013 | 9:00:00 a.m. | 1112286 | 216716 | 27.3223 | 0 | 369.371 | 22.6 | 5.59
31 | 27/09/2013 | 9:00:00 a.m. | 1113843 | 216773 | 27.0585 | 0 | 371.605 | 21 | 5.65
32 | 28/09/2013 | 9:00:00 a.m. | 1116269 | 216862 | 26.9411 | 0 | 371.371 | 21.6 | 5.64
33 | 29/09/2013 | 9:00:00 a.m. | 1118248 | 216935 | 27.3173 | 0 | 371.741 | 21.5 | 5.62
34 | 30/09/2013 | 9:00:00 a.m. | 1118348 | 216939 | 27.4702 | 0 | 372.803 | 22 | 5.63
35 | 01/10/2013 | 9:00:00 a.m. | 1118506 | 216945 | 27.2436 | 0 | 371.243 | 23.1 | 5.58