## sanivex 10 01 13 diario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 28/08/2013 | 9:00:00 a.m. | 6274626 | 229898 | 29.8519 | 0 | 396.895 | 19.9 | 5.3
2 | 29/08/2013 | 9:00:00 a.m. | 6285666 | 230271 | 29.3948 | 0 | 396.123 | 20.4 | 5.31
3 | 30/08/2013 | 9:00:00 a.m. | 6296495 | 230638 | 29.7657 | 0 | 395.899 | 20.8 | 5.31
4 | 31/08/2013 | 9:00:00 a.m. | 6306826 | 230990 | 29.5366 | 0 | 395.667 | 21.9 | 5.3
5 | 01/09/2013 | 9:00:00 a.m. | 6315675 | 231291 | 29.9007 | 0 | 396.202 | 22.1 | 5.31
6 | 02/09/2013 | 9:00:00 a.m. | 6323365 | 231550 | 29.5575 | 0 | 397.319 | 22 | 5.3
7 | 03/09/2013 | 9:00:00 a.m. | 6331547 | 231828 | 29.694 | 0 | 397.261 | 21.8 | 5.3
8 | 04/09/2013 | 9:00:00 a.m. | 6341814 | 232175 | 29.8301 | 0 | 396.736 | 20.7 | 5.31
9 | 05/09/2013 | 9:00:00 a.m. | 6352763 | 232545 | 29.6032 | 0 | 395.922 | 20.2 | 5.3
10 | 06/09/2013 | 9:00:00 a.m. | 6363241 | 232900 | 29.7919 | 0 | 395.426 | 20.8 | 5.3
11 | 07/09/2013 | 9:00:00 a.m. | 6373830 | 233256 | 30.6297 | 0 | 397.224 | 20.2 | 5.3
12 | 08/09/2013 | 9:00:00 a.m. | 6383437 | 233574 | 30.6158 | 0 | 402.407 | 18.7 | 5.29
13 | 09/09/2013 | 9:00:00 a.m. | 6391482 | 233841 | 30.1886 | 0 | 404.751 | 20.2 | 5.3
14 | 10/09/2013 | 9:00:00 a.m. | 6400592 | 234159 | 28.3656 | 0 | 385.33 | 21.2 | 5.31
15 | 11/09/2013 | 9:00:00 a.m. | 6410800 | 234519 | 28.27 | 0 | 382.965 | 22 | 5.31
16 | 12/09/2013 | 9:00:00 a.m. | 6420829 | 234858 | 29.7631 | 0 | 398.625 | 21.1 | 5.3
17 | 13/09/2013 | 9:00:00 a.m. | 6431049 | 235202 | 29.7452 | 0 | 399.344 | 21 | 5.3
18 | 14/09/2013 | 9:00:00 a.m. | 6441128 | 235540 | 29.8516 | 0 | 399.957 | 19.9 | 5.3
19 | 15/09/2013 | 9:00:00 a.m. | 6450862 | 235864 | 30.1764 | 0 | 400.654 | 19 | 5.29
20 | 16/09/2013 | 9:00:00 a.m. | 6458934 | 236133 | 29.9977 | 0 | 400.819 | 19.1 | 5.29
21 | 17/09/2013 | 9:00:00 a.m. | 6464173 | 236306 | 29.8105 | 0 | 404.329 | 19.9 | 5.3
22 | 18/09/2013 | 9:00:00 a.m. | 6472242 | 236577 | 28.5008 | 0 | 401.392 | 22.5 | 5.3
23 | 19/09/2013 | 9:00:00 a.m. | 6481368 | 236900 | 28.2402 | 0 | 383.685 | 22.4 | 5.3
24 | 20/09/2013 | 9:00:00 a.m. | 6490946 | 237239 | 28.3335 | 0 | 384.193 | 23 | 5.3
25 | 21/09/2013 | 9:00:00 a.m. | 6500773 | 237581 | 27.0864 | 0 | 389.614 | 22.5 | 5.29
26 | 22/09/2013 | 9:00:00 a.m. | 6509769 | 237917 | 27.0721 | 0 | 363.208 | 20.8 | 5.29
27 | 23/09/2013 | 9:00:00 a.m. | 6517915 | 238208 | 27.6354 | 0 | 376.665 | 21.3 | 5.3
28 | 24/09/2013 | 9:00:00 a.m. | 6525409 | 238463 | 29.934 | 0 | 397.766 | 22.6 | 5.29
29 | 25/09/2013 | 9:00:00 a.m. | 6535042 | 238803 | 27.7502 | 0 | 382.128 | 21 | 5.3
30 | 26/09/2013 | 9:00:00 a.m. | 6544642 | 239154 | 27.3694 | 0 | 369.752 | 21.9 | 5.29
31 | 27/09/2013 | 9:00:00 a.m. | 6554637 | 239514 | 27.3126 | 0 | 371.895 | 19.1 | 5.3
32 | 28/09/2013 | 9:00:00 a.m. | 6564516 | 239871 | 27.6245 | 0 | 371.661 | 20.6 | 5.29
33 | 29/09/2013 | 9:00:00 a.m. | 6573061 | 240180 | 27.75 | 0 | 372.065 | 21.1 | 5.29
34 | 30/09/2013 | 9:00:00 a.m. | 6579257 | 240403 | 27.5866 | 0 | 373.192 | 21.1 | 5.3
35 | 01/10/2013 | 9:00:00 a.m. | 6588614 | 240743 | 27.6103 | 0 | 371.523 | 22.2 | 5.29