## Enero
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 01/02/2015 | 7:00:00 a.m. | 820388 | 115894 | 7.3819 | 0 | 89.19 | 16.2 | 50.2 | 289.4
20 | 31/01/2015 | 7:00:00 a.m. | 819262 | 115734 | 7.1824 | 0 | 88.322 | 17.4 | 59.4 | 290.6
19 | 30/01/2015 | 7:00:00 a.m. | 817955 | 115548 | 7.1123 | 0 | 87.807 | 18.5 | 72 | 292.6
18 | 29/01/2015 | 7:00:00 a.m. | 816333 | 115315 | 7.0206 | 0 | 87.525 | 19.3 | 67.2 | 289
17 | 28/01/2015 | 7:00:00 a.m. | 814830 | 115097 | 7.1718 | 0 | 87.627 | 18.3 | 65.8 | 292.3
16 | 27/01/2015 | 7:00:00 a.m. | 813358 | 114884 | 7.1362 | 0 | 87.709 | 17.8 | 62.9 | 288.7
15 | 26/01/2015 | 7:00:00 a.m. | 811960 | 114682 | 7.01 | 0 | 88.196 | 21.7 | 28 | 288.5
14 | 25/01/2015 | 7:00:00 a.m. | 811323 | 114591 | 7.0896 | 0 | 88.481 | 20.1 | 46.7 | 289.1
13 | 24/01/2015 | 7:00:00 a.m. | 810278 | 114439 | 7.0674 | 0 | 88.088 | 17.9 | 58.3 | 295.7
12 | 23/01/2015 | 7:00:00 a.m. | 808992 | 114256 | 7.1542 | 0 | 87.56 | 18.2 | 65.2 | 287.8
11 | 22/01/2015 | 7:00:00 a.m. | 807528 | 114044 | 7.2457 | 0 | 87.561 | 16.6 | 78.7 | 297.2
10 | 21/01/2015 | 7:00:00 a.m. | 805709 | 113781 | 7.2018 | 0 | 87.459 | 17 | 77.4 | 288.7
9 | 20/01/2015 | 7:00:00 a.m. | 803930 | 113524 | 7.1368 | 0 | 87.493 | 17.2 | 98.8 | 292.6
8 | 19/01/2015 | 7:00:00 a.m. | 801624 | 113189 | 7.2279 | 0 | 88.833 | 16.4 | 32.8 | 295.6
7 | 18/01/2015 | 7:00:00 a.m. | 800886 | 113085 | 7.4704 | 0 | 89.141 | 15.9 | 58.6 | 292.4
6 | 17/01/2015 | 7:00:00 a.m. | 799549 | 112892 | 7.2599 | 0 | 88.408 | 17.5 | 70.5 | 299.8
5 | 16/01/2015 | 7:00:00 a.m. | 797977 | 112667 | 7.2134 | 0 | 87.852 | 17.8 | 67.8 | 291.7
4 | 15/01/2015 | 7:00:00 a.m. | 796448 | 112447 | 7.2271 | 0 | 87.715 | 17 | 76.9 | 296.1
3 | 14/01/2015 | 7:00:00 a.m. | 794721 | 112199 | 7.2239 | 0 | 87.606 | 17.1 | 63.9 | 296.1
2 | 13/01/2015 | 7:00:00 a.m. | 793309 | 111996 | 7.0774 | 0 | 87.181 | 18 | 45.5 | 293.2
1 | 12/01/2015 | 7:00:00 a.m. | 792332 | 111856 | 7.0389 | 0 | 88.935 | 16.6 | 52.9 | 290
| 11/01/2015 | 7:00:00 a.m. | 791170 | 111692 | 7.1501 | 0 | 88.854 | 18.4 | 80.7 | 290.9
| 10/01/2015 | 7:00:00 a.m. | 789294 | 111424 | 7.2249 | 0 | 88.182 | 17 | 85.7 | 293.9
| 09/01/2015 | 7:00:00 a.m. | 787165 | 111117 | 7.1091 | 0 | 87.273 | 17.4 | 81.1 | 291.9
| 08/01/2015 | 7:00:00 a.m. | 785308 | 110849 | 7.0725 | 0 | 87.124 | 17.6 | 89.7 | 291.2
| 07/01/2015 | 7:00:00 a.m. | 783242 | 110542 | 7.106 | 0 | 86.741 | 19 | 91.2 | 294.4
| 06/01/2015 | 7:00:00 a.m. | 781131 | 110235 | 6.9738 | 0 | 86.609 | 18.9 | 101 | 295
| 05/01/2015 | 7:00:00 a.m. | 778763 | 109889 | 7.1513 | 0 | 88.878 | 14.8 | 43.3 | 299.1
| 04/01/2015 | 7:00:00 a.m. | 777757 | 109748 | 7.5974 | 0 | 89.63 | 12.8 | 83.5 | 297.5
| 03/01/2015 | 7:00:00 a.m. | 775784 | 109471 | 7.2998 | 0 | 89.852 | 13.8 | 97.6 | 297.9
| 02/01/2015 | 7:00:00 a.m. | 773519 | 109155 | 7.362 | 0 | 90.073 | 11.4 | 40.4 | 300
| 01/01/2015 | 7:00:00 a.m. | 772579 | 109028 | 7.6943 | 0 | 90.459 | 9.2 | 57.7 | 291.5

## Febrero
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
20 | 01/03/2015 | 7:00:00 a.m. | 867699 | 122748 | 7.267 | 0 | 89.004 | 17.1 | 51.3 | 294.6
19 | 28/02/2015 | 7:00:00 a.m. | 866552 | 122585 | 7.1511 | 0 | 87.733 | 18.7 | 105.1 | 292.1
18 | 27/02/2015 | 7:00:00 a.m. | 864084 | 122228 | 6.9925 | 0 | 86.927 | 18.4 | 88.8 | 295.4
17 | 26/02/2015 | 7:00:00 a.m. | 862047 | 121932 | 7.0279 | 0 | 86.895 | 18.2 | 92.7 | 298.7
16 | 25/02/2015 | 7:00:00 a.m. | 859868 | 121614 | 7.0759 | 0 | 86.885 | 18.4 | 95 | 298.4
15 | 24/02/2015 | 7:00:00 a.m. | 857666 | 121295 | 7.1419 | 0 | 87.559 | 18.5 | 90.8 | 294.2
14 | 23/02/2015 | 7:00:00 a.m. | 855581 | 120995 | 6.9957 | 0 | 88.711 | 16.7 | 41.6 | 292
13 | 22/02/2015 | 7:00:00 a.m. | 854615 | 120858 | 7.1861 | 0 | 89.009 | 18.6 | 55 | 285.9
12 | 21/02/2015 | 7:00:00 a.m. | 853372 | 120680 | 7.0793 | 0 | 87.785 | 19.9 | 136.3 | 290
11 | 20/02/2015 | 7:00:00 a.m. | 850126 | 120211 | 6.9698 | 0 | 86.823 | 19.8 | 80.2 | 293.3
10 | 19/02/2015 | 7:00:00 a.m. | 848290 | 119943 | 7.0252 | 0 | 87.399 | 20.1 | 106.1 | 292.7
9 | 18/02/2015 | 7:00:00 a.m. | 845811 | 119584 | 7.0073 | 0 | 87.413 | 19.4 | 99.6 | 292.1
8 | 17/02/2015 | 7:00:00 a.m. | 843485 | 119247 | 7.0275 | 0 | 86.863 | 20 | 113.1 | 291.6
7 | 16/02/2015 | 7:00:00 a.m. | 840820 | 118858 | 7.1074 | 0 | 88.396 | 20.3 | 42.2 | 289.8
6 | 15/02/2015 | 7:00:00 a.m. | 839840 | 118720 | 7.2488 | 0 | 88.366 | 20.8 | 85.8 | 291.4
5 | 14/02/2015 | 7:00:00 a.m. | 837854 | 118431 | 7.132 | 0 | 87.315 | 22 | 101.4 | 285.4
4 | 13/02/2015 | 7:00:00 a.m. | 835496 | 118086 | 7.0907 | 0 | 86.617 | 21.6 | 83.9 | 291.5
3 | 12/02/2015 | 7:00:00 a.m. | 833572 | 117805 | 6.8807 | 0 | 86.219 | 23.1 | 62.3 | 294.4
2 | 11/02/2015 | 7:00:00 a.m. | 832188 | 117599 | 7.0078 | 0 | 87.069 | 18.6 | 67.6 | 296.1
1 | 10/02/2015 | 7:00:00 a.m. | 830668 | 117378 | 7.1627 | 0 | 87.209 | 18.1 | 67 | 296.9
| 09/02/2015 | 7:00:00 a.m. | 829166 | 117160 | 7.1238 | 0 | 88.629 | 19.4 | 21.1 | 290.7
| 08/02/2015 | 7:00:00 a.m. | 828694 | 117094 | 7.3085 | 0 | 88.752 | 18.1 | 49.4 | 284.6
| 07/02/2015 | 7:00:00 a.m. | 827577 | 116932 | 7.2936 | 0 | 87.969 | 18.4 | 67.5 | 290.6
| 06/02/2015 | 7:00:00 a.m. | 826061 | 116712 | 7.1938 | 0 | 87.613 | 18.7 | 77.6 | 302.1
| 05/02/2015 | 7:00:00 a.m. | 824301 | 116458 | 7.1839 | 0 | 87.425 | 17.9 | 68.6 | 290.8
| 04/02/2015 | 7:00:00 a.m. | 822756 | 116234 | 7.1835 | 0 | 87.116 | 18 | 61.1 | 293.3
| 03/02/2015 | 7:00:00 a.m. | 821409 | 116038 | 7.1478 | 0 | 88.548 | 17.8 | 45.1 | 291
| 02/02/2015 | 7:00:00 a.m. | 820425 | 115899 | 7.306 | 0 | 89.061 | 16.4 | 1.7 | 114.2
| 01/02/2015 | 7:00:00 a.m. | 820388 | 115894 | 7.3819 | 0 | 89.19 | 16.2 | 50.2 | 289.4

## Marzo
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 23
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 01/04/2015 | 7:00:00 a.m. | 928015 | 131601 | 6.9092 | 0 | 86.323 | 22.3 | 115.5 | 290.6
22 | 31/03/2015 | 7:00:00 a.m. | 925282 | 131196 | 6.9282 | 0 | 85.993 | 22.8 | 105.2 | 293.4
21 | 30/03/2015 | 7:00:00 a.m. | 922815 | 130829 | 6.8932 | 0 | 88.029 | 23.2 | 52.7 | 291.1
20 | 29/03/2015 | 7:00:00 a.m. | 921633 | 130659 | 7.1056 | 0 | 88.02 | 22.7 | 72.9 | 282.8
19 | 28/03/2015 | 7:00:00 a.m. | 919960 | 130412 | 7.1104 | 0 | 86.721 | 23.8 | 103.4 | 290.8
18 | 27/03/2015 | 7:00:00 a.m. | 917540 | 130053 | 6.9698 | 0 | 86.032 | 23.9 | 100.5 | 290.5
17 | 26/03/2015 | 7:00:00 a.m. | 915179 | 129700 | 6.9075 | 0 | 86.176 | 22.4 | 103.5 | 292.6
16 | 25/03/2015 | 7:00:00 a.m. | 912762 | 129341 | 6.9348 | 0 | 86.149 | 21.5 | 105.9 | 291.3
15 | 24/03/2015 | 7:00:00 a.m. | 910283 | 128975 | 6.9449 | 0 | 86.195 | 20.8 | 87.6 | 293.4
14 | 23/03/2015 | 7:00:00 a.m. | 908262 | 128676 | 6.9778 | 0 | 88.23 | 20.8 | 49.9 | 292.6
13 | 22/03/2015 | 7:00:00 a.m. | 907153 | 128517 | 7.1787 | 0 | 88.413 | 21.3 | 80.5 | 291.2
12 | 21/03/2015 | 7:00:00 a.m. | 905288 | 128246 | 7.1006 | 0 | 87.351 | 22.1 | 90.7 | 294.7
11 | 20/03/2015 | 7:00:00 a.m. | 903205 | 127942 | 7.0345 | 0 | 86.709 | 21.5 | 107.3 | 295.9
10 | 19/03/2015 | 7:00:00 a.m. | 900673 | 127569 | 6.8514 | 0 | 86.191 | 20.9 | 88.9 | 293.1
9 | 18/03/2015 | 7:00:00 a.m. | 898619 | 127266 | 6.856 | 0 | 86.005 | 22 | 87.4 | 291.6
8 | 17/03/2015 | 7:00:00 a.m. | 896592 | 126964 | 6.9408 | 0 | 86.774 | 23.1 | 76.3 | 293.3
7 | 16/03/2015 | 7:00:00 a.m. | 894859 | 126708 | 6.9953 | 0 | 87.82 | 25.7 | 22.7 | 291.1
6 | 15/03/2015 | 7:00:00 a.m. | 894342 | 126634 | 7.1455 | 0 | 87.805 | 23.7 | 61.6 | 278.5
5 | 14/03/2015 | 7:00:00 a.m. | 892903 | 126420 | 7.0553 | 0 | 87.112 | 22.6 | 120 | 292.6
4 | 13/03/2015 | 7:00:00 a.m. | 890062 | 126002 | 7.039 | 0 | 86.493 | 21.1 | 85.4 | 289.4
3 | 12/03/2015 | 7:00:00 a.m. | 888098 | 125713 | 6.9745 | 0 | 86.21 | 20.7 | 80.3 | 289.3
2 | 11/03/2015 | 7:00:00 a.m. | 886252 | 125442 | 6.9244 | 0 | 86.421 | 20.7 | 89.5 | 297.9
1 | 10/03/2015 | 7:00:00 a.m. | 884167 | 125135 | 6.9843 | 0 | 86.579 | 18.9 | 90.9 | 296.5
| 09/03/2015 | 7:00:00 a.m. | 882069 | 124828 | 7.1627 | 0 | 88.377 | 19.3 | 35.7 | 295.5
| 08/03/2015 | 7:00:00 a.m. | 881304 | 124719 | 7.3682 | 0 | 88.149 | 19.1 | 76.6 | 285
| 07/03/2015 | 7:00:00 a.m. | 879560 | 124463 | 7.1453 | 0 | 87.238 | 19.4 | 81.2 | 296
| 06/03/2015 | 7:00:00 a.m. | 877703 | 124194 | 7.2269 | 0 | 86.912 | 18.3 | 104.9 | 294.3
| 05/03/2015 | 7:00:00 a.m. | 875236 | 123834 | 7.1052 | 0 | 86.889 | 17.5 | 90.8 | 294.5
| 04/03/2015 | 7:00:00 a.m. | 873123 | 123527 | 7.0906 | 0 | 87.03 | 16.8 | 92.1 | 294.4
| 03/03/2015 | 7:00:00 a.m. | 870988 | 123219 | 7.0768 | 0 | 87.24 | 16.6 | 89.8 | 296.9
| 02/03/2015 | 7:00:00 a.m. | 868904 | 122918 | 6.9605 | 0 | 89.027 | 14.6 | 52 | 294.4
| 01/03/2015 | 7:00:00 a.m. | 867699 | 122748 | 7.267 | 0 | 89.004 | 17.1 | 51.3 | 294.6
| 28/02/2015 | 7:00:00 a.m. | 866552 | 122585 | 7.1511 | 0 | 87.733 | 18.7 | 105.1 | 292.1

## Abril
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 22
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
22 | 01/05/2015 | 7:00:00 a.m. | 985621 | 140057 | 7.6029 | 0 | 92.555 | 24.3 | 69.3 | 285.6
21 | 30/04/2015 | 7:00:00 a.m. | 984001 | 139823 | 7.3364 | 0 | 92.918 | 24.8 | 79.8 | 295.1
20 | 29/04/2015 | 7:00:00 a.m. | 982170 | 139566 | 7.4591 | 0 | 91.169 | 24.3 | 83.9 | 295.4
19 | 28/04/2015 | 7:00:00 a.m. | 980249 | 139290 | 6.9144 | 0 | 85.896 | 23.1 | 78.7 | 299.8
18 | 27/04/2015 | 7:00:00 a.m. | 978452 | 139022 | 6.9679 | 0 | 88.131 | 20.8 | 39.3 | 289.9
17 | 26/04/2015 | 7:00:00 a.m. | 977605 | 138900 | 7.1245 | 0 | 88.435 | 19.5 | 72.4 | 291.5
16 | 25/04/2015 | 7:00:00 a.m. | 975933 | 138658 | 6.9928 | 0 | 87.127 | 20.5 | 89.2 | 295.9
15 | 24/04/2015 | 7:00:00 a.m. | 973855 | 138354 | 6.9102 | 0 | 86.488 | 21 | 103.5 | 292.1
14 | 23/04/2015 | 7:00:00 a.m. | 971410 | 137995 | 6.8515 | 0 | 87.078 | 21.2 | 73.3 | 293.9
13 | 22/04/2015 | 7:00:00 a.m. | 969753 | 137752 | 6.9851 | 0 | 86.375 | 21.1 | 77.9 | 294
12 | 21/04/2015 | 7:00:00 a.m. | 967964 | 137488 | 6.8806 | 0 | 86.132 | 22.4 | 108.6 | 381.2
11 | 20/04/2015 | 7:00:00 a.m. | 965410 | 137107 | 6.8494 | 0 | 87.941 | 22.6 | 30.9 | 290.8
10 | 19/04/2015 | 7:00:00 a.m. | 964698 | 137005 | 7.2758 | 0 | 88.224 | 21.7 | 69.8 | 287.6
9 | 18/04/2015 | 7:00:00 a.m. | 963064 | 136764 | 7.0802 | 0 | 87.086 | 22.8 | 100.1 | 374.7
8 | 17/04/2015 | 7:00:00 a.m. | 960718 | 136416 | 6.9868 | 0 | 86.349 | 22.8 | 87.3 | 293.7
7 | 16/04/2015 | 7:00:00 a.m. | 958691 | 136116 | 6.8516 | 0 | 86.723 | 22.6 | 102.9 | 371.4
6 | 15/04/2015 | 7:00:00 a.m. | 956281 | 135758 | 7.0303 | 0 | 86.345 | 21.8 | 108.1 | 295.9
5 | 14/04/2015 | 7:00:00 a.m. | 953752 | 135382 | 6.8735 | 0 | 86 | 22.9 | 104.8 | 292.4
4 | 13/04/2015 | 7:00:00 a.m. | 951310 | 135019 | 6.9599 | 0 | 87.982 | 21.5 | 27.5 | 297.1
3 | 12/04/2015 | 7:00:00 a.m. | 950681 | 134929 | 7.3164 | 0 | 88.506 | 19.8 | 77.6 | 291.3
2 | 11/04/2015 | 7:00:00 a.m. | 948859 | 134663 | 7.1057 | 0 | 86.911 | 21.3 | 120.9 | 293.6
1 | 10/04/2015 | 7:00:00 a.m. | 945994 | 134242 | 6.9961 | 0 | 86.467 | 21.5 | 97.7 | 293.4
| 09/04/2015 | 7:00:00 a.m. | 943721 | 133907 | 7.0405 | 0 | 87.008 | 20.6 | 97.2 | 299.3
| 08/04/2015 | 7:00:00 a.m. | 941458 | 133576 | 6.9712 | 0 | 86.491 | 21 | 112.4 | 300.4
| 07/04/2015 | 7:00:00 a.m. | 938806 | 133184 | 6.9862 | 0 | 86.422 | 21.1 | 111.8 | 295.8
| 06/04/2015 | 7:00:00 a.m. | 936170 | 132794 | 6.9589 | 0 | 88.225 | 21 | 55.6 | 294.2
| 05/04/2015 | 7:00:00 a.m. | 934926 | 132615 | 7.1726 | 0 | 88.433 | 21.8 | 94.9 | 290.6
| 04/04/2015 | 7:00:00 a.m. | 932710 | 132291 | 7.0528 | 0 | 88.245 | 23.3 | 50.7 | 295.6
| 03/04/2015 | 7:00:00 a.m. | 931530 | 132121 | 7.3307 | 0 | 87.452 | 20 | 57.5 | 292.8
| 02/04/2015 | 7:00:00 a.m. | 930205 | 131925 | 6.964 | 0 | 86.533 | 21.9 | 94.1 | 294.1
| 01/04/2015 | 7:00:00 a.m. | 928015 | 131601 | 6.9092 | 0 | 86.323 | 22.3 | 115.5 | 290.6

## Mayo
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/06/2015 | 7:00:00 a.m. | 38630 | 147365 | 7.242 | 0 | 94.147 | 23.6 | 33.9 | 298.6
23 | 31/05/2015 | 7:00:00 a.m. | 37836 | 147257 | 7.5208 | 0 | 94.695 | 22 | 39.3 | 291
22 | 30/05/2015 | 7:00:00 a.m. | 36971 | 147137 | 7.4357 | 0 | 93.114 | 22.4 | 103.3 | 299.8
21 | 29/05/2015 | 7:00:00 a.m. | 34554 | 146801 | 7.2024 | 0 | 93.025 | 21.7 | 79.2 | 295.1
20 | 28/05/2015 | 7:00:00 a.m. | 32746 | 146550 | 7.3197 | 0 | 93.434 | 21.1 | 74.2 | 295.8
19 | 27/05/2015 | 7:00:00 a.m. | 31043 | 146316 | 7.336 | 0 | 92.656 | 20.8 | 85 | 297.9
18 | 26/05/2015 | 7:00:00 a.m. | 29078 | 146044 | 7.2673 | 0 | 92.53 | 20.5 | 84.7 | 401.7
17 | 25/05/2015 | 7:00:00 a.m. | 27129 | 145774 | 7.2964 | 0 | 94.41 | 21.3 | 45.4 | 296.7
16 | 24/05/2015 | 7:00:00 a.m. | 26111 | 145636 | 7.607 | 0 | 95.065 | 19.9 | 72.4 | 296.1
15 | 23/05/2015 | 7:00:00 a.m. | 24407 | 145403 | 7.4752 | 0 | 93.53 | 20.6 | 83.2 | 295
14 | 22/05/2015 | 7:00:00 a.m. | 22496 | 145141 | 7.334 | 0 | 92.756 | 20.5 | 101.1 | 295
13 | 21/05/2015 | 7:00:00 a.m. | 20123 | 144812 | 7.2687 | 0 | 93.465 | 21.2 | 74.7 | 296.7
12 | 20/05/2015 | 7:00:00 a.m. | 18417 | 144577 | 7.3286 | 0 | 92.728 | 21.9 | 102.9 | 298.8
11 | 19/05/2015 | 7:00:00 a.m. | 16016 | 144243 | 7.2631 | 0 | 92.445 | 20.9 | 95.4 | 403.6
10 | 18/05/2015 | 7:00:00 a.m. | 13819 | 143936 | 7.2806 | 0 | 94.414 | 20.7 | 34.5 | 298.6
9 | 17/05/2015 | 7:00:00 a.m. | 13048 | 143832 | 7.6499 | 0 | 95.024 | 19.5 | 64.6 | 297.5
8 | 16/05/2015 | 7:00:00 a.m. | 11545 | 143626 | 7.4619 | 0 | 93.848 | 19.2 | 97 | 301.7
7 | 15/05/2015 | 7:00:00 a.m. | 9277 | 143317 | 7.2847 | 0 | 92.955 | 20.3 | 83.8 | 301.7
6 | 14/05/2015 | 7:00:00 a.m. | 7362 | 143053 | 7.3168 | 0 | 93.586 | 20.9 | 114.2 | 304.7
5 | 13/05/2015 | 7:00:00 a.m. | 4672 | 142682 | 7.3901 | 0 | 92.942 | 21.3 | 83.2 | 297.7
4 | 12/05/2015 | 7:00:00 a.m. | 2775 | 142419 | 7.3479 | 0 | 92.384 | 22.3 | 78.7 | 297.3
3 | 11/05/2015 | 7:00:00 a.m. | 965 | 142166 | 7.1911 | 0 | 94.418 | 21.1 | 46.6 | 490.2
2 | 10/05/2015 | 7:00:00 a.m. | 999890 | 142019 | 7.7054 | 0 | 95.079 | 19 | 43.8 | 437.1
1 | 09/05/2015 | 7:00:00 a.m. | 998915 | 141887 | 7.3856 | 0 | 93.872 | 19.7 | 92.3 | 301.3
| 08/05/2015 | 7:00:00 a.m. | 996767 | 141594 | 7.35 | 0 | 92.978 | 20.5 | 105.8 | 444.2
| 07/05/2015 | 7:00:00 a.m. | 994297 | 141253 | 7.2719 | 0 | 93.207 | 21.5 | 110.4 | 409
| 06/05/2015 | 7:00:00 a.m. | 991690 | 140893 | 7.2729 | 0 | 92.855 | 21.5 | 60.4 | 293.6
| 05/05/2015 | 7:00:00 a.m. | 990351 | 140707 | 7.3262 | 0 | 93.182 | 21.5 | 69 | 294.8
| 04/05/2015 | 7:00:00 a.m. | 988780 | 140489 | 7.2562 | 0 | 94.56 | 22.6 | 35.3 | 296.2
| 03/05/2015 | 7:00:00 a.m. | 987949 | 140376 | 7.5665 | 0 | 94.897 | 22 | 58.4 | 291.1
| 02/05/2015 | 7:00:00 a.m. | 986598 | 140189 | 7.4424 | 0 | 94.581 | 26.3 | 41.9 | 294.4
| 01/05/2015 | 7:00:00 a.m. | 985621 | 140057 | 7.6029 | 0 | 92.555 | 24.3 | 69.3 | 285.6

## Junio
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 01/07/2015 | 7:00:00 a.m. | 87967 | 154328 | 6.8915 | 0 | 88.045 | 26.9 | 72.2 | 292.7
20 | 30/06/2015 | 7:00:00 a.m. | 86339 | 154087 | 6.764 | 0 | 88.113 | 25.3 | 81.1 | 295.3
19 | 29/06/2015 | 7:00:00 a.m. | 84471 | 153812 | 6.8195 | 0 | 89.774 | 26.2 | 38.2 | 298.3
18 | 28/06/2015 | 7:00:00 a.m. | 83607 | 153686 | 6.9537 | 0 | 90.542 | 24.8 | 57 | 293
17 | 27/06/2015 | 7:00:00 a.m. | 82319 | 153500 | 6.9276 | 0 | 88.923 | 26.4 | 67 | 290.2
16 | 26/06/2015 | 7:00:00 a.m. | 80817 | 153281 | 6.8463 | 0 | 88.741 | 26 | 78.3 | 294.3
15 | 25/06/2015 | 7:00:00 a.m. | 79024 | 153018 | 7.2561 | 0 | 93.067 | 26.6 | 60.8 | 293.4
14 | 24/06/2015 | 7:00:00 a.m. | 77682 | 152830 | 7.3045 | 0 | 92.993 | 26.6 | 78.1 | 299.7
13 | 23/06/2015 | 7:00:00 a.m. | 75920 | 152581 | 7.3104 | 0 | 92.273 | 26.6 | 80.2 | 297.7
12 | 22/06/2015 | 7:00:00 a.m. | 74087 | 152321 | 7.2517 | 0 | 94.036 | 25.3 | 27.9 | 295.3
11 | 21/06/2015 | 7:00:00 a.m. | 73464 | 152235 | 7.5381 | 0 | 94.421 | 24.7 | 59.1 | 287.8
10 | 20/06/2015 | 7:00:00 a.m. | 72105 | 152044 | 7.3849 | 0 | 93.128 | 26.4 | 78.9 | 298.2
9 | 19/06/2015 | 7:00:00 a.m. | 70298 | 151789 | 7.2508 | 0 | 92.609 | 25.6 | 83.6 | 298.9
8 | 18/06/2015 | 7:00:00 a.m. | 68376 | 151518 | 7.2378 | 0 | 93.067 | 24.9 | 82 | 293.6
7 | 17/06/2015 | 7:00:00 a.m. | 66492 | 151254 | 7.3148 | 0 | 92.359 | 24.8 | 91.9 | 296.9
6 | 16/06/2015 | 7:00:00 a.m. | 64377 | 150955 | 7.2389 | 0 | 92.415 | 24.6 | 76.2 | 302.2
5 | 15/06/2015 | 7:00:00 a.m. | 62641 | 150711 | 7.2952 | 0 | 94.08 | 24.1 | 40.8 | 296.1
4 | 14/06/2015 | 7:00:00 a.m. | 61702 | 150581 | 7.464 | 0 | 94.53 | 23.3 | 86.6 | 295.5
3 | 13/06/2015 | 7:00:00 a.m. | 59678 | 150302 | 7.364 | 0 | 93.293 | 23.1 | 76.4 | 296.8
2 | 12/06/2015 | 7:00:00 a.m. | 57938 | 150061 | 7.2669 | 0 | 92.509 | 24 | 111.6 | 294.7
1 | 11/06/2015 | 7:00:00 a.m. | 55314 | 149692 | 7.2103 | 0 | 93.157 | 24.4 | 82 | 298.2
| 10/06/2015 | 7:00:00 a.m. | 53439 | 149431 | 7.2916 | 0 | 92.426 | 24.4 | 83.4 | 295.4
| 09/06/2015 | 7:00:00 a.m. | 51520 | 149160 | 7.1318 | 0 | 92.077 | 26.8 | 80.7 | 293.8
| 08/06/2015 | 7:00:00 a.m. | 49657 | 148894 | 7.2141 | 0 | 94.099 | 23.8 | 38.8 | 299.8
| 07/06/2015 | 7:00:00 a.m. | 48766 | 148772 | 7.524 | 0 | 94.693 | 23.2 | 69.8 | 297.3
| 06/06/2015 | 7:00:00 a.m. | 47174 | 148553 | 7.4783 | 0 | 93.4 | 22.2 | 71.1 | 295.7
| 05/06/2015 | 7:00:00 a.m. | 45544 | 148326 | 7.2647 | 0 | 90.24 | 21.8 | 80.6 | 292.9
| 04/06/2015 | 7:00:00 a.m. | 43627 | 148064 | 7.1966 | 0 | 93.112 | 22.6 | 74.6 | 303
| 03/06/2015 | 7:00:00 a.m. | 41936 | 147828 | 7.3407 | 0 | 92.43 | 23.1 | 79.4 | 296.3
| 02/06/2015 | 7:00:00 a.m. | 40119 | 147573 | 7.268 | 0 | 92.514 | 22.6 | 65.3 | 296.7
| 01/06/2015 | 7:00:00 a.m. | 38630 | 147365 | 7.242 | 0 | 94.147 | 23.6 | 33.9 | 298.6

## Julio
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/08/2015 | 7:00:00 a.m. | 138512 | 161826 | 7.1373 | 0 | 87.727 | 27.5 | 81.5 | 210.6
23 | 31/07/2015 | 7:00:00 a.m. | 136624 | 161544 | 6.8199 | 0 | 86.511 | 27.8 | 87.2 | 211.2
22 | 30/07/2015 | 7:00:00 a.m. | 134607 | 161241 | 6.5822 | 0 | 87.429 | 27.6 | 77.3 | 212.1
21 | 29/07/2015 | 7:00:00 a.m. | 132847 | 160978 | 6.8309 | 0 | 86.983 | 26.7 | 71.8 | 211.9
20 | 28/07/2015 | 7:00:00 a.m. | 131219 | 160734 | 6.5839 | 0 | 87 | 26.2 | 85.8 | 211.8
19 | 27/07/2015 | 7:00:00 a.m. | 129244 | 160438 | 6.6197 | 0 | 88.296 | 27.8 | 28.6 | 214.7
18 | 26/07/2015 | 7:00:00 a.m. | 128579 | 160340 | 7.1872 | 0 | 89.559 | 27.6 | 47.2 | 206.9
17 | 25/07/2015 | 7:00:00 a.m. | 127553 | 160188 | 6.8541 | 0 | 87.603 | 27.3 | 85.6 | 208.5
16 | 24/07/2015 | 7:00:00 a.m. | 125564 | 159891 | 6.8104 | 0 | 86.712 | 27.4 | 76.5 | 209.2
15 | 23/07/2015 | 7:00:00 a.m. | 123817 | 159629 | 6.9169 | 0 | 87.382 | 27.1 | 80.3 | 209.5
14 | 22/07/2015 | 7:00:00 a.m. | 121962 | 159352 | 6.9707 | 0 | 87.142 | 27 | 81.8 | 208.2
13 | 21/07/2015 | 7:00:00 a.m. | 120082 | 159071 | 6.8511 | 0 | 86.944 | 27.5 | 84.2 | 210
12 | 20/07/2015 | 7:00:00 a.m. | 118148 | 158781 | 6.6092 | 0 | 88.634 | 27.6 | 37.8 | 212.4
11 | 19/07/2015 | 7:00:00 a.m. | 117274 | 158651 | 7.0987 | 0 | 89.552 | 27.9 | 60 | 206
10 | 18/07/2015 | 7:00:00 a.m. | 115882 | 158446 | 6.8395 | 0 | 87.275 | 27.1 | 82.2 | 210.9
9 | 17/07/2015 | 7:00:00 a.m. | 114001 | 158165 | 6.8192 | 0 | 87.834 | 25.5 | 70.3 | 216.8
8 | 16/07/2015 | 7:00:00 a.m. | 112403 | 157929 | 6.9633 | 0 | 87.714 | 25.4 | 77.6 | 212.4
7 | 15/07/2015 | 7:00:00 a.m. | 110620 | 157665 | 6.9868 | 0 | 87.269 | 25.5 | 82.4 | 213.4
6 | 14/07/2015 | 7:00:00 a.m. | 108722 | 157384 | 6.7689 | 0 | 86.808 | 26.3 | 75.4 | 209.9
5 | 13/07/2015 | 7:00:00 a.m. | 107010 | 157128 | 6.7324 | 0 | 89.008 | 25.6 | 39.7 | 279.9
4 | 12/07/2015 | 7:00:00 a.m. | 106129 | 156999 | 7.2614 | 0 | 89.354 | 23.9 | 68.8 | 290.2
3 | 11/07/2015 | 7:00:00 a.m. | 104534 | 156766 | 7.1885 | 0 | 88.21 | 25.2 | 81.3 | 298.7
2 | 10/07/2015 | 7:00:00 a.m. | 102672 | 156493 | 6.7347 | 0 | 86.854 | 25 | 64 | 297.1
1 | 09/07/2015 | 7:00:00 a.m. | 101252 | 156282 | 6.7314 | 0 | 87.994 | 25.2 | 87 | 296.1
30 | 08/07/2015 | 7:00:00 a.m. | 99259 | 155988 | 6.7483 | 0 | 88.167 | 25.1 | 73.5 | 294.6
29 | 07/07/2015 | 7:00:00 a.m. | 97601 | 155745 | 6.7588 | 0 | 87.175 | 25.1 | 90.7 | 293.4
28 | 06/07/2015 | 7:00:00 a.m. | 95506 | 155434 | 6.8336 | 0 | 89.294 | 24.6 | 26.4 | 298.9
27 | 05/07/2015 | 7:00:00 a.m. | 94899 | 155346 | 7.1455 | 0 | 89.909 | 24.8 | 65.6 | 291.6
26 | 04/07/2015 | 7:00:00 a.m. | 93374 | 155124 | 7.1391 | 0 | 88.687 | 26.3 | 76.2 | 298.1
25 | 03/07/2015 | 7:00:00 a.m. | 91661 | 154873 | 6.9877 | 0 | 87.941 | 26.4 | 96.8 | 295.2
24 | 02/07/2015 | 7:00:00 a.m. | 89426 | 154542 | 7.0027 | 0 | 88.869 | 26.4 | 65.1 | 291.3
23 | 01/07/2015 | 7:00:00 a.m. | 87967 | 154328 | 6.8915 | 0 | 88.045 | 26.9 | 72.2 | 292.7

## Agosto
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
22 | 01/09/2015 | 7:00:00 a.m. | 186382 | 168695 | 7.0027 | 0 | 90.417 | 27.3 | 86.4 | 276
21 | 31/08/2015 | 7:00:00 a.m. | 184384 | 168405 | 7.0393 | 0 | 92.532 | 28.9 | 25 | 275.5
20 | 30/08/2015 | 7:00:00 a.m. | 183808 | 168323 | 7.1156 | 0 | 93.331 | 29.8 | 51.8 | 267.8
19 | 29/08/2015 | 7:00:00 a.m. | 182653 | 168158 | 6.9883 | 0 | 91.459 | 31.2 | 70.3 | 275.3
18 | 28/08/2015 | 7:00:00 a.m. | 181064 | 167928 | 7.0164 | 0 | 90.699 | 30.1 | 64.9 | 271.1
17 | 27/08/2015 | 7:00:00 a.m. | 179582 | 167712 | 6.9875 | 0 | 90.588 | 29.4 | 76.1 | 272.8
16 | 26/08/2015 | 7:00:00 a.m. | 177812 | 167454 | 6.9406 | 0 | 90.782 | 28.4 | 101.8 | 275.9
15 | 25/08/2015 | 7:00:00 a.m. | 175410 | 167107 | 7.0239 | 0 | 90.627 | 28.4 | 62.4 | 276.4
14 | 24/08/2015 | 7:00:00 a.m. | 173999 | 166904 | 7.1146 | 0 | 92.62 | 26 | 26.3 | 277.6
13 | 23/08/2015 | 7:00:00 a.m. | 173392 | 166816 | 7.2503 | 0 | 93.914 | 26.8 | 65.3 | 276.5
12 | 22/08/2015 | 7:00:00 a.m. | 171885 | 166604 | 7.3213 | 0 | 91.475 | 27.6 | 72 | 275.5
11 | 21/08/2015 | 7:00:00 a.m. | 170252 | 166370 | 7.0425 | 0 | 90.913 | 27.7 | 66.6 | 272.5
10 | 20/08/2015 | 7:00:00 a.m. | 168739 | 166152 | 6.9804 | 0 | 90.942 | 27.5 | 79.2 | 276
9 | 19/08/2015 | 7:00:00 a.m. | 166904 | 165887 | 6.9472 | 0 | 90.952 | 28.3 | 74.4 | 274.9
8 | 18/08/2015 | 7:00:00 a.m. | 165204 | 165641 | 6.9204 | 0 | 91.069 | 28.5 | 80.3 | 389.3
7 | 17/08/2015 | 7:00:00 a.m. | 163361 | 165375 | 7.0095 | 0 | 93.284 | 31 | 47.1 | 286.8
6 | 16/08/2015 | 7:00:00 a.m. | 162295 | 165223 | 7.5067 | 0 | 93.558 | 29.6 | 55.9 | 207.7
5 | 15/08/2015 | 7:00:00 a.m. | 161040 | 165043 | 7.0834 | 0 | 92.486 | 29.4 | 73.8 | 209.4
4 | 14/08/2015 | 7:00:00 a.m. | 159367 | 164803 | 7.0089 | 0 | 92.341 | 28.9 | 83.8 | 212.3
3 | 13/08/2015 | 7:00:00 a.m. | 157443 | 164528 | 7.0793 | 0 | 93.178 | 27.5 | 78.3 | 210
2 | 12/08/2015 | 7:00:00 a.m. | 155656 | 164276 | 7.0451 | 0 | 92.398 | 26.3 | 71.6 | 211.8
1 | 11/08/2015 | 7:00:00 a.m. | 154030 | 164045 | 7.046 | 0 | 92.129 | 26.4 | 82.5 | 209.7
33 | 10/08/2015 | 7:00:00 a.m. | 152146 | 163777 | 7.0219 | 0 | 93.539 | 25.7 | 38 | 209.1
32 | 09/08/2015 | 7:00:00 a.m. | 151263 | 163653 | 7.2834 | 0 | 95.037 | 25.8 | 53.2 | 206.9
31 | 08/08/2015 | 7:00:00 a.m. | 150066 | 163486 | 7.1825 | 0 | 92.866 | 26.7 | 72.8 | 210.3
30 | 07/08/2015 | 7:00:00 a.m. | 148414 | 163252 | 7.1711 | 0 | 92.361 | 28 | 83.7 | 210.9
29 | 06/08/2015 | 7:00:00 a.m. | 146499 | 162980 | 6.9873 | 0 | 93.797 | 28.1 | 80.2 | 209.6
28 | 05/08/2015 | 7:00:00 a.m. | 144668 | 162722 | 7.2648 | 0 | 92.529 | 27.8 | 67.6 | 212.1
27 | 04/08/2015 | 7:00:00 a.m. | 143154 | 162507 | 6.9747 | 0 | 89.771 | 27.6 | 91.7 | 212
26 | 03/08/2015 | 7:00:00 a.m. | 141043 | 162199 | 6.8825 | 0 | 88.558 | 27 | 49.7 | 212.1
25 | 02/08/2015 | 7:00:00 a.m. | 139928 | 162035 | 6.9849 | 0 | 89.129 | 26.2 | 62.3 | 209.8
24 | 01/08/2015 | 7:00:00 a.m. | 138512 | 161826 | 7.1373 | 0 | 87.727 | 27.5 | 81.5 | 210.6

## Septiembre
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 22
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/10/2015 | 7:00:00 a.m. | 231560 | 175332 | 6.8935 | 0 | 88.148 | 27.3 | 64.3 | 274.2
23 | 30/09/2015 | 7:00:00 a.m. | 230089 | 175114 | 6.8889 | 0 | 88.142 | 26.7 | 60.2 | 275.6
22 | 29/09/2015 | 7:00:00 a.m. | 228727 | 174913 | 6.9219 | 0 | 88.13 | 27.6 | 64.2 | 279.2
21 | 28/09/2015 | 7:00:00 a.m. | 227279 | 174697 | 6.8396 | 0 | 90.258 | 28.4 | 30.9 | 270.1
20 | 27/09/2015 | 7:00:00 a.m. | 226605 | 174599 | 7.2255 | 0 | 90.528 | 27.5 | 46.1 | 262.6
19 | 26/09/2015 | 7:00:00 a.m. | 225558 | 174446 | 6.969 | 0 | 89.105 | 28.8 | 70 | 276.6
18 | 25/09/2015 | 7:00:00 a.m. | 223955 | 174209 | 6.8347 | 0 | 88.476 | 28.5 | 72.6 | 276.7
17 | 24/09/2015 | 7:00:00 a.m. | 222290 | 173962 | 6.826 | 0 | 88.191 | 27.6 | 76.4 | 275.6
16 | 23/09/2015 | 7:00:00 a.m. | 220523 | 173701 | 6.836 | 0 | 88.075 | 27.5 | 71.6 | 274.7
15 | 22/09/2015 | 7:00:00 a.m. | 218862 | 173454 | 6.8261 | 0 | 88.317 | 27.3 | 84.7 | 272.2
14 | 21/09/2015 | 7:00:00 a.m. | 216886 | 173163 | 6.818 | 0 | 90.453 | 30.9 | 43.8 | 273.9
13 | 20/09/2015 | 7:00:00 a.m. | 215902 | 173018 | 7.1142 | 0 | 91.636 | 28 | 61.3 | 270.7
12 | 19/09/2015 | 7:00:00 a.m. | 214495 | 172815 | 6.9381 | 0 | 89.376 | 27.4 | 73.5 | 273.3
11 | 18/09/2015 | 7:00:00 a.m. | 212813 | 172568 | 6.9216 | 0 | 89.885 | 26.4 | 68.1 | 276.4
10 | 17/09/2015 | 7:00:00 a.m. | 211272 | 172344 | 6.8472 | 0 | 88.815 | 26.1 | 70.8 | 272.1
9 | 16/09/2015 | 7:00:00 a.m. | 209649 | 172105 | 6.8229 | 0 | 88.495 | 26.8 | 73.4 | 274.4
8 | 15/09/2015 | 7:00:00 a.m. | 207964 | 171857 | 6.8058 | 0 | 88.913 | 28.3 | 73.8 | 268.7
7 | 14/09/2015 | 7:00:00 a.m. | 206285 | 171610 | 6.9063 | 0 | 91.957 | 29.3 | 35.8 | 272.3
6 | 13/09/2015 | 7:00:00 a.m. | 205490 | 171496 | 6.9882 | 0 | 92.717 | 30 | 64.6 | 271.8
5 | 12/09/2015 | 7:00:00 a.m. | 204024 | 171286 | 7.0398 | 0 | 90.656 | 30.2 | 71.8 | 274.9
4 | 11/09/2015 | 7:00:00 a.m. | 202388 | 171048 | 6.7973 | 0 | 90.44 | 30.8 | 70.1 | 267.7
3 | 10/09/2015 | 7:00:00 a.m. | 200785 | 170814 | 6.8338 | 0 | 89.866 | 31.3 | 66.2 | 268.1
2 | 09/09/2015 | 7:00:00 a.m. | 199293 | 170593 | 6.7875 | 0 | 87.627 | 30.8 | 70.8 | 270.9
1 | 08/09/2015 | 7:00:00 a.m. | 197661 | 170347 | 6.8028 | 0 | 87.502 | 29.8 | 71 | 433.9
28 | 07/09/2015 | 7:00:00 a.m. | 196032 | 170102 | 6.7065 | 0 | 87.918 | 28.8 | 39.3 | 197.4
27 | 06/09/2015 | 7:00:00 a.m. | 195144 | 169971 | 7.001 | 0 | 89.075 | 26.2 | 63.3 | 277.6
26 | 05/09/2015 | 7:00:00 a.m. | 193695 | 169757 | 6.9832 | 0 | 88.549 | 26.7 | 68.1 | 345.8
25 | 04/09/2015 | 7:00:00 a.m. | 192126 | 169526 | 7.0897 | 0 | 90.484 | 26.8 | 76.3 | 281.5
24 | 03/09/2015 | 7:00:00 a.m. | 190359 | 169270 | 6.9482 | 0 | 90.462 | 26.7 | 94 | 341.4
23 | 02/09/2015 | 7:00:00 a.m. | 188159 | 168952 | 6.966 | 0 | 90.552 | 27 | 77.3 | 277
22 | 01/09/2015 | 7:00:00 a.m. | 186382 | 168695 | 7.0027 | 0 | 90.417 | 27.3 | 86.4 | 276

## octubre
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 14
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Min Press | Max Press | Max Temp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | PSI | PSI | °C
14 | 29/10/2015 | 7:00:00 a.m. | 274976 | 181732 | 6.8803 | 0 | 88.03 | 24.7 | 74.6 | 275.2 | 86.381 | 89.49 | 30.3
13 | 28/10/2015 | 7:00:00 a.m. | 273253 | 181480 | 6.9467 | 0 | 88.102 | 25.1 | 75.4 | 273.3 | 85.952 | 89.712 | 31.8
12 | 27/10/2015 | 7:00:00 a.m. | 271522 | 181225 | 6.9741 | 0 | 88.034 | 25.1 | 82.6 | 280.4 | 86.18 | 90.627 | 32.1
11 | 26/10/2015 | 7:00:00 a.m. | 269601 | 180942 | 7.0091 | 0 | 90.055 | 24.5 | 39 | 279.9 | 86.563 | 97.025 | 31.5
10 | 25/10/2015 | 7:00:00 a.m. | 268702 | 180812 | 7.542 | 0 | 90.019 | 24.5 | 46.5 | 287.7 | 86.033 | 97.154 | 33.2
9 | 24/10/2015 | 7:00:00 a.m. | 267631 | 180655 | 6.9776 | 0 | 88.148 | 24.8 | 94.5 | 200.2 | 85.91 | 90.869 | 31
8 | 23/10/2015 | 7:00:00 a.m. | 265400 | 180328 | 6.9144 | 0 | 87.986 | 25 | 91 | 198.6 | 85.965 | 90.168 | 30.3
7 | 22/10/2015 | 7:00:00 a.m. | 263260 | 180013 | 6.8997 | 0 | 87.926 | 25.1 | 78.6 | 198.8 | 86.358 | 89.455 | 30.3
6 | 21/10/2015 | 7:00:00 a.m. | 261429 | 179744 | 6.9282 | 0 | 87.942 | 24.7 | 77 | 199 | 86.451 | 89.231 | 29.6
5 | 20/10/2015 | 7:00:00 a.m. | 259630 | 179480 | 6.974 | 0 | 87.942 | 24 | 84.8 | 197.4 | 86.052 | 89.659 | 28.1
4 | 19/10/2015 | 7:00:00 a.m. | 257645 | 179188 | 6.8025 | 0 | 88.11 | 23.7 | 33.9 | 204.5 | 86.781 | 94.348 | 27.5
3 | 18/10/2015 | 7:00:00 a.m. | 256845 | 179071 | 6.923 | 0 | 89.457 | 25.8 | 62.2 | 200.6 | 86.715 | 96.901 | 29.8
2 | 17/10/2015 | 7:00:00 a.m. | 255395 | 178860 | 6.869 | 0 | 88.064 | 25.4 | 76.8 | 197.8 | 86.899 | 89.73 | 28.1
1 | 16/10/2015 | 7:00:00 a.m. | 253614 | 178598 | 6.8207 | 0 | 87.67 | 27 | 80.7 | 195.3 | 86.095 | 88.962 | 31.7
| 15/10/2015 | 7:00:00 a.m. | 251697 | 178313 | 6.8002 | 0 | 87.564 | 27.9 | 75.5 | 332.5
| 14/10/2015 | 7:00:00 a.m. | 249941 | 178051 | 6.8233 | 0 | 87.591 | 28.2 | 72.2 | 272.1
| 13/10/2015 | 7:00:00 a.m. | 248286 | 177804 | 6.8357 | 0 | 87.724 | 28.1 | 64.8 | 274.2
| 12/10/2015 | 7:00:00 a.m. | 246817 | 177586 | 6.7804 | 0 | 89.955 | 29.2 | 40.4 | 271.2
| 11/10/2015 | 7:00:00 a.m. | 245920 | 177454 | 6.9702 | 0 | 89.538 | 28.2 | 54.3 | 274
| 10/10/2015 | 7:00:00 a.m. | 244688 | 177271 | 6.8474 | 0 | 87.884 | 29.1 | 74.8 | 272.8
| 09/10/2015 | 7:00:00 a.m. | 242950 | 177010 | 6.9612 | 0 | 87.907 | 26.4 | 70.8 | 279.7
| 08/10/2015 | 7:00:00 a.m. | 241334 | 176770 | 6.918 | 0 | 87.784 | 25.2 | 71 | 275.7
| 07/10/2015 | 7:00:00 a.m. | 239702 | 176529 | 6.9356 | 0 | 87.884 | 24.7 | 57.9 | 281.7
| 06/10/2015 | 7:00:00 a.m. | 238407 | 176338 | 6.8799 | 0 | 88.025 | 23.3 | 73.2 | 279.6
| 05/10/2015 | 7:00:00 a.m. | 236725 | 176093 | 6.84 | 0 | 90.252 | 22 | 33.8 | 279.1
| 04/10/2015 | 7:00:00 a.m. | 235938 | 175978 | 6.9809 | 0 | 89.872 | 25.6 | 53.4 | 272.1
| 03/10/2015 | 7:00:00 a.m. | 234710 | 175798 | 6.8874 | 0 | 88.617 | 26.2 | 70.9 | 275
| 02/10/2015 | 7:00:00 a.m. | 233072 | 175557 | 6.8886 | 0 | 88.031 | 27 | 66.2 | 274.6
| 01/10/2015 | 7:00:00 a.m. | 231560 | 175332 | 6.8935 | 0 | 88.148 | 27.3 | 64.3 | 274.2
| 30/09/2015 | 7:00:00 a.m. | 230089 | 175114 | 6.8889 | 0 | 88.142 | 26.7 | 60.2 | 275.6

## noviembre
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 29
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Min Press | Max Press | Max Temp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | PSI | PSI | °C
29 | 30/11/2015 | 7:00:00 a.m. | 320665 | 188315 | 7.1571 | 0 | 90.524 | 15.1 | 19.1 | 202.6 | 87.242 | 96.339 | 23.7
28 | 29/11/2015 | 7:00:00 a.m. | 320236 | 188255 | 7.4655 | 0 | 91.565 | 15.5 | 62.6 | 202.7 | 86.784 | 98.17 | 23.3
27 | 28/11/2015 | 7:00:00 a.m. | 318766 | 188047 | 7.154 | 0 | 88.199 | 16.6 | 61.6 | 203.1 | 86.544 | 89.751 | 21
26 | 27/11/2015 | 7:00:00 a.m. | 317375 | 187849 | 7.1551 | 0 | 88.042 | 17.3 | 74.3 | 198.5 | 86.753 | 89.876 | 22.4
25 | 26/11/2015 | 7:00:00 a.m. | 315647 | 187602 | 7.0369 | 0 | 88.169 | 17.9 | 80.1 | 200.4 | 86.656 | 89.168 | 21.8
24 | 25/11/2015 | 7:00:00 a.m. | 313777 | 187334 | 7.0553 | 0 | 87.92 | 20 | 67.2 | 199 | 86.296 | 89.041 | 25.3
23 | 24/11/2015 | 7:00:00 a.m. | 312227 | 187110 | 7.0347 | 0 | 88.021 | 20.8 | 73.9 | 201.3 | 85.872 | 95.618 | 29
22 | 23/11/2015 | 7:00:00 a.m. | 310515 | 186862 | 7.0391 | 0 | 88.738 | 22.8 | 25.3 | 200 | 85.962 | 96.771 | 34.9
21 | 22/11/2015 | 7:00:00 a.m. | 309927 | 186778 | 7.4488 | 0 | 89.963 | 22.8 | 46.5 | 194.8 | 86.385 | 97.823 | 32.5
20 | 21/11/2015 | 7:00:00 a.m. | 308847 | 186621 | 7.1324 | 0 | 88.663 | 21.6 | 56.8 | 198.6 | 86.141 | 95.251 | 30.3
19 | 20/11/2015 | 7:00:00 a.m. | 307551 | 186434 | 7.0977 | 0 | 88.241 | 20.9 | 62 | 203.3 | 86.061 | 90.348 | 28.4
18 | 19/11/2015 | 7:00:00 a.m. | 306139 | 186230 | 7.0633 | 0 | 88.216 | 19.7 | 61.8 | 199.6 | 86.227 | 89.924 | 28.7
17 | 18/11/2015 | 7:00:00 a.m. | 304717 | 186026 | 7.1121 | 0 | 88.092 | 18.2 | 71.6 | 205.6 | 85.851 | 90.523 | 25
16 | 17/11/2015 | 7:00:00 a.m. | 303054 | 185786 | 7.0557 | 0 | 88.768 | 16.2 | 53.2 | 312.8 | 86.865 | 92.968 | 22.2
15 | 16/11/2015 | 7:00:00 a.m. | 301854 | 185616 | 7.435 | 0 | 90.273 | 17.5 | 13.2 | 281.3 | 87.073 | 97.283 | 23.7
14 | 15/11/2015 | 7:00:00 a.m. | 301559 | 185575 | 7.225 | 0 | 91.08 | 19.4 | 55.5 | 275.4 | 86.823 | 97.273 | 28.7
13 | 14/11/2015 | 7:00:00 a.m. | 300268 | 185391 | 7.4161 | 0 | 88.853 | 20.3 | 83.1 | 280.5 | 85.849 | 98.121 | 27.5
12 | 13/11/2015 | 7:00:00 a.m. | 298347 | 185114 | 7.0456 | 0 | 88.402 | 20.1 | 75.4 | 282.8 | 85.91 | 93.92 | 28.5
11 | 12/11/2015 | 7:00:00 a.m. | 296630 | 184867 | 7.1868 | 0 | 88.194 | 20.1 | 89.5 | 282.5 | 86.249 | 90.176 | 26.3
10 | 11/11/2015 | 7:00:00 a.m. | 294531 | 184563 | 7.0853 | 0 | 88.177 | 19 | 83.5 | 280.1 | 86.432 | 90.323 | 23.7
9 | 10/11/2015 | 7:00:00 a.m. | 292604 | 184286 | 7.0469 | 0 | 88.157 | 20.2 | 70.8 | 282.2 | 86.014 | 90.654 | 26.1
8 | 09/11/2015 | 7:00:00 a.m. | 290966 | 184048 | 6.9394 | 0 | 90.562 | 20.4 | 38.4 | 280.8 | 86.651 | 96.583 | 29.5
7 | 08/11/2015 | 7:00:00 a.m. | 290111 | 183927 | 7.2864 | 0 | 90.71 | 21.1 | 66.7 | 274.7 | 86.542 | 98.593 | 29.6
6 | 07/11/2015 | 7:00:00 a.m. | 288582 | 183707 | 6.9903 | 0 | 88.276 | 22.1 | 75.1 | 277.2 | 86.221 | 89.998 | 28.3
5 | 06/11/2015 | 7:00:00 a.m. | 286853 | 183456 | 7.1556 | 0 | 88.348 | 20.7 | 79.4 | 355.5 | 86.197 | 91.819 | 27.8
4 | 05/11/2015 | 7:00:00 a.m. | 285020 | 183190 | 7.1129 | 0 | 88.499 | 19.6 | 62.2 | 277.7 | 86.906 | 90.386 | 24.6
3 | 04/11/2015 | 7:00:00 a.m. | 283611 | 182988 | 6.9851 | 0 | 88.649 | 20.2 | 98.9 | 281 | 87.06 | 90.334 | 25.3
2 | 03/11/2015 | 7:00:00 a.m. | 281271 | 182651 | 6.9835 | 0 | 88.341 | 22.7 | 49.6 | 280.6 | 86.333 | 90.219 | 30.1
1 | 02/11/2015 | 7:00:00 a.m. | 280157 | 182490 | 7.1934 | 0 | 90.56 | 21.5 | 0.5 | 98.3 | 86.743 | 96.041 | 36.1

## diciembre
Data Log
Unit Serial Number: | 11/12/48014
Meter/Site ID: | Coca Cola 3M175
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/04/2015 | 9:10:11 a.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 28/04/2015 | 12:57:41 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 28/12/2014 | 4:35:07 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
24 | 01/01/2016 | 7:00:00 a.m. | 369478 | 195201 | 7.4753 | 0 | 90.751 | 12.1 | 23.2 | 199.7 | 1.0162 | 86.803 | 94.668 | 89.195 | 3.6 | 21.5 | 3.6 | 5.36
23 | 31/12/2015 | 7:00:00 a.m. | 368950 | 195126 | 7.2942 | 0 | 90.03 | 13.5 | 73.3 | 205.4 | 1.0148 | 85.284 | 94.289 | 88.943 | 7.9 | 20.3 | 9.4 | 5.36
22 | 30/12/2015 | 7:00:00 a.m. | 367254 | 194889 | 7.4669 | 0 | 90.265 | 13.6 | 83.8 | 406.9 | 1.0152 | 86.505 | 97.05 | 91.507 | 6.8 | 19.9 | 9.8 | 5.36
21 | 29/12/2015 | 7:00:00 a.m. | 365284 | 194616 | 7.3268 | 0 | 90.137 | 14.4 | 93.3 | 360.4 | 1.0148 | 86.523 | 96.696 | 89.581 | 9.8 | 18.5 | 9.9 | 5.36
20 | 28/12/2015 | 7:00:00 a.m. | 363088 | 194312 | 7.1708 | 0 | 90.297 | 12.8 | 51.3 | 282.5 | 1.0141 | 87.074 | 96.017 | 88.364 | 5.3 | 20.9 | 12.5 | 5.37
19 | 27/12/2015 | 7:00:00 a.m. | 361948 | 194155 | 7.7959 | 0 | 92.707 | 13 | 78.5 | 284.5 | 1.0161 | 86.868 | 98.235 | 95.623 | 4 | 20 | 8.6 | 5.36
18 | 26/12/2015 | 7:00:00 a.m. | 360127 | 193907 | 7.2773 | 0 | 90.764 | 13 | 37.7 | 281.3 | 1.0144 | 88.103 | 94.771 | 89.861 | 8.4 | 18.6 | 12.4 | 5.37
17 | 25/12/2015 | 7:00:00 a.m. | 359241 | 193785 | 7.7257 | 0 | 93.472 | 14.4 | 30.1 | 270.4 | 1.0159 | 88.574 | 98.104 | 94.762 | 8.9 | 21.1 | 8.9 | 5.38
16 | 24/12/2015 | 7:00:00 a.m. | 358586 | 193696 | 7.2001 | 0 | 91.193 | 16 | 68 | 279 | 1.014 | 87.333 | 97.782 | 89.358 | 11.5 | 19.9 | 14 | 5.38
15 | 23/12/2015 | 7:00:00 a.m. | 357038 | 193481 | 7.1503 | 0 | 90.068 | 16.6 | 81.4 | 277.8 | 1.0135 | 86.949 | 96.976 | 89.673 | 15.5 | 17.4 | 16.7 | 5.38
14 | 22/12/2015 | 7:00:00 a.m. | 355162 | 193218 | 7.0576 | 0 | 88.616 | 16.9 | 93.3 | 419.7 | 1.0133 | 86.514 | 95.425 | 88.243 | 13.8 | 20.9 | 16.5 | 5.39
13 | 21/12/2015 | 7:00:00 a.m. | 352976 | 192908 | 7.1209 | 0 | 90.277 | 13.9 | 42.1 | 271.5 | 1.0138 | 87.103 | 96.894 | 88.239 | 7.7 | 20.8 | 14 | 5.38
12 | 20/12/2015 | 7:00:00 a.m. | 352001 | 192771 | 7.3369 | 0 | 92.345 | 15 | 45.9 | 277.4 | 1.015 | 86.853 | 97.549 | 89.363 | 9 | 21.3 | 9 | 5.38
11 | 19/12/2015 | 7:00:00 a.m. | 350935 | 192623 | 7.3373 | 0 | 89.523 | 15.9 | 83.9 | 283.7 | 1.0147 | 85.805 | 97.843 | 90.086 | 8.2 | 23.4 | 10.8 | 5.37
10 | 18/12/2015 | 7:00:00 a.m. | 348978 | 192344 | 7.239 | 0 | 88.349 | 15.5 | 68.6 | 283.7 | 1.0143 | 85.786 | 91.484 | 89.196 | 9.1 | 22.3 | 12.1 | 5.37
9 | 17/12/2015 | 7:00:00 a.m. | 347421 | 192123 | 7.255 | 0 | 88.238 | 15.2 | 94 | 282.4 | 1.0146 | 85.839 | 90.596 | 88.593 | 8.6 | 21.7 | 9.9 | 5.37
8 | 16/12/2015 | 7:00:00 a.m. | 345206 | 191808 | 7.0961 | 0 | 88.766 | 15 | 92.5 | 283.3 | 1.0137 | 86.085 | 94.804 | 87.845 | 7.4 | 21.3 | 13.9 | 5.37
7 | 15/12/2015 | 7:00:00 a.m. | 343030 | 191500 | 7.1433 | 0 | 88.029 | 15.3 | 87.7 | 206.9 | 1.0138 | 86.146 | 90.493 | 88.516 | 10.3 | 19.9 | 13.9 | 5.38
6 | 14/12/2015 | 7:00:00 a.m. | 340976 | 191209 | 7.0908 | 0 | 89.835 | 17 | 36.5 | 207.3 | 1.0137 | 86.77 | 97.68 | 87.738 | 5.6 | 23.3 | 13.8 | 5.39
5 | 13/12/2015 | 7:00:00 a.m. | 340167 | 191096 | 8.0318 | 0 | 92.183 | 13.4 | 37.4 | 197.9 | 1.0172 | 88.093 | 98.002 | 97.654 | 5.6 | 21.9 | 5.7 | 5.38
4 | 12/12/2015 | 7:00:00 a.m. | 339288 | 190974 | 7.1916 | 0 | 89.752 | 16 | 81.6 | 200.2 | 1.0139 | 86.569 | 97.353 | 89.285 | 10.1 | 20.5 | 14.1 | 5.39
3 | 11/12/2015 | 7:00:00 a.m. | 337373 | 190704 | 6.978 | 0 | 88.473 | 19.1 | 56.8 | 200.7 | 1.0129 | 86.378 | 96.777 | 87.616 | 13 | 24.2 | 17.9 | 5.4
2 | 10/12/2015 | 7:00:00 a.m. | 336092 | 190521 | 7.1579 | 0 | 88.49 | 18.5 | 67.7 | 201.6 | 1.014 | 85.941 | 93.177 | 88.465 | 11.7 | 25.7 | 13.2 | 5.39
1 | 09/12/2015 | 7:00:00 a.m. | 334527 | 190296 | 7.0173 | 0 | 88.666 | 19.2 | 64.9 | 200.2 | 1.0133 | 86.144 | 95.67 | 87.537 | 12.9 | 26.8 | 16.1 | 5.4
36 | 08/12/2015 | 7:00:00 a.m. | 333066 | 190086 | 7.0984 | 0 | 88.731 | 18.3 | 75 | 200.6 | 85.933 | 94.837 | 25.1
35 | 07/12/2015 | 7:00:00 a.m. | 331313 | 189834 | 7.0667 | 0 | 90.534 | 18.4 | 36.8 | 202 | 86.576 | 97.14 | 31.7
34 | 06/12/2015 | 7:00:00 a.m. | 330469 | 189715 | 7.7902 | 0 | 92.311 | 18.1 | 54.7 | 200.4 | 87.165 | 97.643 | 26.8
33 | 05/12/2015 | 7:00:00 a.m. | 329180 | 189534 | 7.408 | 0 | 88.746 | 17.2 | 61.1 | 203.8 | 86.803 | 97.311 | 22.7
32 | 04/12/2015 | 7:00:00 a.m. | 327795 | 189338 | 7.1737 | 0 | 88.13 | 18.3 | 67.3 | 208.8 | 85.867 | 89.966 | 27.5
31 | 03/12/2015 | 7:00:00 a.m. | 326238 | 189114 | 7.1154 | 0 | 88.319 | 19.6 | 86.3 | 417.4 | 85.581 | 90.543 | 26.4
30 | 02/12/2015 | 7:00:00 a.m. | 324207 | 188820 | 7.1063 | 0 | 88.076 | 17.2 | 88.5 | 208.2 | 86.214 | 91.213 | 23.4
29 | 01/12/2015 | 7:00:00 a.m. | 322120 | 188521 | 7.1187 | 0 | 88.111 | 16.9 | 63.6 | 202.9 | 86.068 | 90.572 | 25.2
28 | 30/11/2015 | 7:00:00 a.m. | 320665 | 188315 | 7.1571 | 0 | 90.524 | 15.1 | 19.1 | 202.6 | 87.242 | 96.339 | 23.7