## Enero
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
21 | 01/02/2015 | 7:00:00 a.m. | 212296 | 1265661 | 7.3217 | 0 | 0 | 0
20 | 30/01/2015 | 7:00:00 a.m. | 212296 | 1265661 | 7.1121 | 0 | 129 | 259.3
19 | 31/01/2015 | 7:00:00 a.m. | 212296 | 1265661 | 7.2174 | 0 | 0 | 0
18 | 29/01/2015 | 7:00:00 a.m. | 209242 | 1265222 | 7.0196 | 0 | 190.8 | 310.1
17 | 28/01/2015 | 7:00:00 a.m. | 204674 | 1264562 | 7.1325 | 0 | 172.8 | 309.7
16 | 27/01/2015 | 7:00:00 a.m. | 200543 | 1263966 | 7.1249 | 0 | 214.2 | 396
15 | 26/01/2015 | 7:00:00 a.m. | 195419 | 1263228 | 7.0225 | 0 | 11.8 | 410.2
14 | 25/01/2015 | 7:00:00 a.m. | 195140 | 1263188 | 7.1284 | 0 | 0 | 0
13 | 24/01/2015 | 7:00:00 a.m. | 195140 | 1263188 | 7.2091 | 0 | 0 | 0
12 | 23/01/2015 | 7:00:00 a.m. | 195140 | 1263188 | 7.13 | 0 | 155 | 278.1
11 | 22/01/2015 | 7:00:00 a.m. | 191454 | 1262654 | 7.1782 | 0 | 218 | 374.6
10 | 21/01/2015 | 7:00:00 a.m. | 186248 | 1261903 | 7.1051 | 0 | 222.2 | 315.9
9 | 20/01/2015 | 7:00:00 a.m. | 180935 | 1261138 | 7.0814 | 0 | 209 | 405.9
8 | 19/01/2015 | 7:00:00 a.m. | 175955 | 1260420 | 7.1784 | 0 | 38.5 | 411.9
7 | 18/01/2015 | 7:00:00 a.m. | 175060 | 1260295 | 7.3028 | 0 | 0 | 0
6 | 17/01/2015 | 7:00:00 a.m. | 175060 | 1260295 | 7.2537 | 0 | 14.7 | 423.9
5 | 16/01/2015 | 7:00:00 a.m. | 174728 | 1260247 | 7.2085 | 0 | 0 | 0
4 | 15/01/2015 | 7:00:00 a.m. | 174728 | 1260247 | 7.2172 | 0 | 244.8 | 343.1
3 | 14/01/2015 | 7:00:00 a.m. | 168890 | 1259407 | 7.1242 | 0 | 239.1 | 338.8
2 | 13/01/2015 | 7:00:00 a.m. | 163155 | 1258584 | 7.0477 | 0 | 271.5 | 350
1 | 12/01/2015 | 7:00:00 a.m. | 156652 | 1257644 | 6.9904 | 0 | 9 | 344.2
| 11/01/2015 | 7:00:00 a.m. | 156427 | 1257612 | 7.1626 | 0 | 0 | 0
| 10/01/2015 | 7:00:00 a.m. | 156427 | 1257612 | 7.2842 | 0 | 1.4 | 339.2
| 09/01/2015 | 7:00:00 a.m. | 156414 | 1257610 | 7.1014 | 0 | 233.2 | 344.4
| 08/01/2015 | 7:00:00 a.m. | 150825 | 1256801 | 7.0274 | 0 | 207.9 | 501.5
| 07/01/2015 | 7:00:00 a.m. | 145203 | 1255987 | 7.0295 | 0 | 289.1 | 344.8
| 06/01/2015 | 7:00:00 a.m. | 138265 | 1254974 | 6.9628 | 0 | 286.3 | 354.2
| 05/01/2015 | 7:00:00 a.m. | 131403 | 1253970 | 7.1342 | 0 | 40 | 354.4
| 04/01/2015 | 7:00:00 a.m. | 130480 | 1253840 | 7.4629 | 0 | 0 | 0
| 03/01/2015 | 7:00:00 a.m. | 130480 | 1253840 | 7.4981 | 0 | 0 | 0
| 02/01/2015 | 7:00:00 a.m. | 130480 | 1253840 | 7.5643 | 0 | 0 | 0
| 01/01/2015 | 7:00:00 a.m. | 130480 | 1253840 | 7.6239 | 0 | 0 | 0

## Febrero
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
2 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
19 | 01/03/2015 | 7:00:00 a.m. | 293413 | 1277459 | 7.2321 | 0 | 42.6 | 341.2
18 | 28/02/2015 | 7:00:00 a.m. | 292413 | 1277316 | 7.1889 | 0 | 71.1 | 309.3
16 | 27/02/2015 | 7:00:00 a.m. | 290733 | 1277070 | 6.972 | 0 | 294.3 | 350.2
15 | 26/02/2015 | 7:00:00 a.m. | 283677 | 1276042 | 7.0376 | 0 | 247.8 | 341.4
14 | 25/02/2015 | 7:00:00 a.m. | 277759 | 1275183 | 7.0208 | 0 | 286.4 | 346.8
13 | 24/02/2015 | 7:00:00 a.m. | 270894 | 1274184 | 7.1037 | 0 | 221 | 339.6
12 | 23/02/2015 | 7:00:00 a.m. | 265599 | 1273421 | 6.9725 | 0 | 74.8 | 348.1
11 | 22/02/2015 | 7:00:00 a.m. | 263811 | 1273168 | 7.1507 | 0 | 0 | 0
10 | 21/02/2015 | 7:00:00 a.m. | 263811 | 1273168 | 7.1281 | 0 | 5.4 | 355.5
9 | 20/02/2015 | 7:00:00 a.m. | 263700 | 1273152 | 7.0001 | 0 | 193.2 | 361.9
8 | 19/02/2015 | 7:00:00 a.m. | 259098 | 1272478 | 7.0619 | 0 | 10.3 | 404.7
7 | 18/02/2015 | 7:00:00 a.m. | 258865 | 1272445 | 7.0518 | 0 | 138.9 | 326.4
6 | 17/02/2015 | 7:00:00 a.m. | 255564 | 1271968 | 7.0232 | 0 | 181.9 | 331.7
5 | 16/02/2015 | 7:00:00 a.m. | 251224 | 1271333 | 7.1275 | 0 | 11.5 | 407.4
4 | 15/02/2015 | 7:00:00 a.m. | 250947 | 1271294 | 7.1441 | 0 | 12.1 | 409
3 | 14/02/2015 | 7:00:00 a.m. | 250702 | 1271258 | 7.0988 | 0 | 0 | 0
2 | 13/02/2015 | 7:00:00 a.m. | 250702 | 1271258 | 7.0845 | 0 | 199.7 | 368.8
1 | 12/02/2015 | 7:00:00 a.m. | 245947 | 1270556 | 6.8902 | 0 | 226.6 | 347.1
32 | 11/02/2015 | 7:00:00 a.m. | 240526 | 1269755 | 7.0081 | 0 | 232.5 | 329.2
31 | 10/02/2015 | 7:00:00 a.m. | 234968 | 1268946 | 7.0855 | 0 | 248.2 | 371
30 | 09/02/2015 | 7:00:00 a.m. | 229003 | 1268082 | 7.0845 | 0 | 15.1 | 412.5
29 | 08/02/2015 | 7:00:00 a.m. | 228656 | 1268033 | 7.222 | 0 | 0 | 0
28 | 07/02/2015 | 7:00:00 a.m. | 228656 | 1268033 | 7.317 | 0 | 62.5 | 310.5
27 | 06/02/2015 | 7:00:00 a.m. | 227177 | 1267814 | 7.132 | 0 | 187.2 | 338.9
26 | 05/02/2015 | 7:00:00 a.m. | 222703 | 1267169 | 7.1378 | 0 | 215.4 | 339.6
25 | 04/02/2015 | 7:00:00 a.m. | 217549 | 1266424 | 7.1342 | 0 | 214.1 | 407.7
24 | 03/02/2015 | 7:00:00 a.m. | 212432 | 1265680 | 7.0831 | 0 | 5.2 | 412.9
23 | 02/02/2015 | 7:00:00 a.m. | 212296 | 1265661 | 7.2725 | 0 | 0 | 0
| 01/02/2015 | 7:00:00 a.m. | 212296 | 1265661 | 7.3217 | 0 | 0 | 0

## Marzo
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 23
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
23 | 01/04/2015 | 7:00:00 a.m. | 440439 | 1299130 | 6.8391 | 0 | 268.1 | 438.6
22 | 31/03/2015 | 7:00:00 a.m. | 434050 | 1298182 | 6.8836 | 0 | 304.4 | 431.5
21 | 30/03/2015 | 7:00:00 a.m. | 426757 | 1297095 | 6.9058 | 0 | 10.9 | 439.5
20 | 29/03/2015 | 7:00:00 a.m. | 426528 | 1297062 | 7.0659 | 0 | 0 | 0
16 | 28/03/2015 | 7:00:00 a.m. | 426528 | 1297062 | 7.0941 | 0 | 119.8 | 298.4
15 | 27/03/2015 | 7:00:00 a.m. | 423679 | 1296632 | 6.9189 | 0 | 288 | 386.9
14 | 26/03/2015 | 7:00:00 a.m. | 416787 | 1295602 | 6.8168 | 0 | 307.1 | 407.4
13 | 25/03/2015 | 7:00:00 a.m. | 409420 | 1294507 | 6.8736 | 0 | 313.5 | 403.5
12 | 24/03/2015 | 7:00:00 a.m. | 401902 | 1293393 | 6.8913 | 0 | 312.3 | 414.2
11 | 23/03/2015 | 7:00:00 a.m. | 394409 | 1292284 | 6.9481 | 0 | 17.6 | 429.4
10 | 22/03/2015 | 7:00:00 a.m. | 393999 | 1292225 | 7.1629 | 0 | 18.6 | 190.3
9 | 21/03/2015 | 7:00:00 a.m. | 393620 | 1292170 | 7.1165 | 0 | 143 | 260.7
8 | 20/03/2015 | 7:00:00 a.m. | 390206 | 1291670 | 7.022 | 0 | 270.8 | 447.6
7 | 19/03/2015 | 7:00:00 a.m. | 383740 | 1290715 | 6.8353 | 0 | 332.6 | 431.9
6 | 18/03/2015 | 7:00:00 a.m. | 375767 | 1289536 | 6.7817 | 0 | 342.5 | 436
5 | 17/03/2015 | 7:00:00 a.m. | 367552 | 1288314 | 6.878 | 0 | 300.6 | 412.2
4 | 16/03/2015 | 7:00:00 a.m. | 360346 | 1287249 | 7.0005 | 0 | 19.5 | 433.4
3 | 15/03/2015 | 7:00:00 a.m. | 359873 | 1287181 | 7.0251 | 0 | 64.6 | 349.3
2 | 14/03/2015 | 7:00:00 a.m. | 358373 | 1286956 | 7.0477 | 0 | 4.2 | 435.5
1 | 13/03/2015 | 7:00:00 a.m. | 358275 | 1286942 | 7.0087 | 0 | 307.1 | 431.3
| 12/03/2015 | 7:00:00 a.m. | 350941 | 1285858 | 6.8762 | 0 | 351.7 | 433.8
| 11/03/2015 | 7:00:00 a.m. | 342505 | 1284613 | 6.8754 | 0 | 315.3 | 417.7
| 10/03/2015 | 7:00:00 a.m. | 334947 | 1283499 | 6.9228 | 0 | 285.9 | 430.5
| 09/03/2015 | 7:00:00 a.m. | 328109 | 1282495 | 7.1774 | 0 | 9.5 | 424.4
| 08/03/2015 | 7:00:00 a.m. | 327908 | 1282466 | 7.2138 | 0 | 108.8 | 302.2
| 07/03/2015 | 7:00:00 a.m. | 325430 | 1282104 | 7.0934 | 0 | 195.7 | 315.9
| 06/03/2015 | 7:00:00 a.m. | 320742 | 1281423 | 7.1597 | 0 | 243.7 | 352.1
| 05/03/2015 | 7:00:00 a.m. | 314908 | 1280573 | 7.0751 | 0 | 288.1 | 366.8
| 04/03/2015 | 7:00:00 a.m. | 308000 | 1279570 | 6.9649 | 0 | 292.1 | 370.5
| 03/03/2015 | 7:00:00 a.m. | 301033 | 1278559 | 7.0572 | 0 | 299.7 | 349.2
| 02/03/2015 | 7:00:00 a.m. | 293843 | 1277520 | 6.9274 | 0 | 17.9 | 344
| 01/03/2015 | 7:00:00 a.m. | 293413 | 1277459 | 7.2321 | 0 | 42.6 | 341.2

## Abril
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 22
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
22 | 01/05/2015 | 7:00:00 a.m. | 562059 | 1317015 | 7.472 | 0 | 320.3 | 397.1
21 | 30/04/2015 | 7:00:00 a.m. | 554399 | 1315928 | 7.2831 | 0 | 78.9 | 369.6
20 | 29/04/2015 | 7:00:00 a.m. | 552505 | 1315667 | 7.4008 | 0 | 310.3 | 380.7
19 | 28/04/2015 | 7:00:00 a.m. | 545093 | 1314607 | 6.8264 | 0 | 308.8 | 377.4
18 | 27/04/2015 | 7:00:00 a.m. | 537698 | 1313499 | 6.8757 | 0 | 22.4 | 399.8
17 | 26/04/2015 | 7:00:00 a.m. | 537156 | 1313421 | 7.1984 | 0 | 112.9 | 322.9
16 | 25/04/2015 | 7:00:00 a.m. | 534485 | 1313034 | 7.0099 | 0 | 261.7 | 346.6
15 | 24/04/2015 | 7:00:00 a.m. | 528215 | 1312116 | 6.8883 | 0 | 303.3 | 373.5
14 | 23/04/2015 | 7:00:00 a.m. | 520936 | 1311042 | 6.8516 | 0 | 29.6 | 368.1
13 | 22/04/2015 | 7:00:00 a.m. | 520246 | 1310941 | 6.9753 | 0 | 293.1 | 373.3
12 | 21/04/2015 | 7:00:00 a.m. | 513237 | 1309901 | 6.8694 | 0 | 308.7 | 370
11 | 20/04/2015 | 7:00:00 a.m. | 505828 | 1308799 | 6.8584 | 0 | 15 | 374.4
10 | 19/04/2015 | 7:00:00 a.m. | 505469 | 1308747 | 7.171 | 0 | 7.4 | 402.4
9 | 18/04/2015 | 7:00:00 a.m. | 505312 | 1308724 | 7.1459 | 0 | 86.7 | 279.5
8 | 17/04/2015 | 7:00:00 a.m. | 503257 | 1308414 | 6.9587 | 0 | 293.1 | 370.1
7 | 16/04/2015 | 7:00:00 a.m. | 496231 | 1307368 | 6.8617 | 0 | 12.9 | 368.8
6 | 15/04/2015 | 7:00:00 a.m. | 495920 | 1307323 | 7.0366 | 0 | 240.5 | 371.4
5 | 14/04/2015 | 7:00:00 a.m. | 490178 | 1306470 | 6.8729 | 0 | 324 | 374.6
4 | 13/04/2015 | 7:00:00 a.m. | 482400 | 1305312 | 6.9329 | 0 | 26.1 | 364.3
3 | 12/04/2015 | 7:00:00 a.m. | 481798 | 1305225 | 7.2296 | 0 | 0 | 0
2 | 11/04/2015 | 7:00:00 a.m. | 481798 | 1305225 | 7.1551 | 0 | 194.1 | 325.8
1 | 10/04/2015 | 7:00:00 a.m. | 477178 | 1304545 | 6.9483 | 0 | 316.4 | 373.9
| 09/04/2015 | 7:00:00 a.m. | 469591 | 1303423 | 6.9805 | 0 | 92 | 362
| 08/04/2015 | 7:00:00 a.m. | 467383 | 1303104 | 7.0124 | 0 | 286.1 | 374.2
| 07/04/2015 | 7:00:00 a.m. | 460515 | 1302088 | 6.953 | 0 | 274 | 372.7
| 06/04/2015 | 7:00:00 a.m. | 453942 | 1301118 | 6.9664 | 0 | 12.2 | 372.7
| 05/04/2015 | 7:00:00 a.m. | 453662 | 1301078 | 7.2126 | 0 | 7.8 | 378.6
| 04/04/2015 | 7:00:00 a.m. | 453496 | 1301054 | 7.0991 | 0 | 0 | 0
| 03/04/2015 | 7:00:00 a.m. | 453496 | 1301054 | 7.1759 | 0 | 257.6 | 389.4
| 02/04/2015 | 7:00:00 a.m. | 447346 | 1300153 | 6.8909 | 0 | 289.9 | 471.8
| 01/04/2015 | 7:00:00 a.m. | 440439 | 1299130 | 6.8391 | 0 | 268.1 | 438.6

## Mayo
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
21 | 01/06/2015 | 7:00:00 a.m. | 687921 | 1334495 | 7.1954 | 0 | 14.2 | 385
20 | 31/05/2015 | 7:00:00 a.m. | 687568 | 1334446 | 7.4745 | 0 | 1.8 | 377.6
19 | 30/05/2015 | 7:00:00 a.m. | 687547 | 1334443 | 7.4271 | 0 | 338.6 | 796.5
18 | 29/05/2015 | 7:00:00 a.m. | 679454 | 1333313 | 7.1357 | 0 | 122.4 | 377.2
17 | 28/05/2015 | 7:00:00 a.m. | 676544 | 1332905 | 7.2621 | 0 | 10.5 | 371
16 | 27/05/2015 | 7:00:00 a.m. | 676304 | 1332872 | 7.3574 | 0 | 301.8 | 380.4
15 | 26/05/2015 | 7:00:00 a.m. | 669085 | 1331866 | 7.1834 | 0 | 325.2 | 375.5
14 | 25/05/2015 | 7:00:00 a.m. | 661284 | 1330779 | 7.2384 | 0 | 15.2 | 370.6
13 | 24/05/2015 | 7:00:00 a.m. | 660920 | 1330729 | 7.5732 | 0 | 0 | 0
12 | 23/05/2015 | 7:00:00 a.m. | 660920 | 1330729 | 7.4996 | 0 | 220.9 | 361.5
11 | 22/05/2015 | 7:00:00 a.m. | 655662 | 1330006 | 7.2086 | 0 | 298.4 | 376.2
10 | 21/05/2015 | 7:00:00 a.m. | 648501 | 1329013 | 7.2513 | 0 | 19.5 | 370.7
9 | 20/05/2015 | 7:00:00 a.m. | 648071 | 1328954 | 7.2904 | 0 | 304.6 | 376.2
8 | 19/05/2015 | 7:00:00 a.m. | 640792 | 1327939 | 7.2393 | 0 | 346.1 | 374.7
7 | 18/05/2015 | 7:00:00 a.m. | 632484 | 1326781 | 7.2382 | 0 | 22.9 | 374.5
6 | 17/05/2015 | 7:00:00 a.m. | 631931 | 1326705 | 7.613 | 0 | 0 | 0
5 | 16/05/2015 | 7:00:00 a.m. | 631931 | 1326705 | 7.5142 | 0 | 311 | 381.4
4 | 15/05/2015 | 7:00:00 a.m. | 624496 | 1325684 | 7.221 | 0 | 345 | 381.3
3 | 14/05/2015 | 7:00:00 a.m. | 616228 | 1324538 | 7.3103 | 0 | 16.6 | 380.5
2 | 13/05/2015 | 7:00:00 a.m. | 615823 | 1324483 | 7.4163 | 0 | 319.1 | 378.2
1 | 12/05/2015 | 7:00:00 a.m. | 608197 | 1323423 | 7.2798 | 0 | 357.2 | 387.1
| 11/05/2015 | 7:00:00 a.m. | 599624 | 1322219 | 7.1742 | 0 | 19.9 | 380.5
| 10/05/2015 | 7:00:00 a.m. | 599143 | 1322153 | 7.672 | 0 | 0 | 0
| 09/05/2015 | 7:00:00 a.m. | 599143 | 1322153 | 7.4238 | 0 | 323.5 | 380.8
| 08/05/2015 | 7:00:00 a.m. | 591380 | 1321088 | 7.2677 | 0 | 321.7 | 380.5
| 07/05/2015 | 7:00:00 a.m. | 583663 | 1320019 | 7.2159 | 0 | 114.5 | 382.7
| 06/05/2015 | 7:00:00 a.m. | 580938 | 1319638 | 7.2177 | 0 | 319.2 | 378.4
| 05/05/2015 | 7:00:00 a.m. | 573285 | 1318571 | 7.2529 | 0 | 362.1 | 433
| 04/05/2015 | 7:00:00 a.m. | 564599 | 1317364 | 7.1978 | 0 | 19.5 | 391.1
| 03/05/2015 | 7:00:00 a.m. | 564125 | 1317299 | 7.5146 | 0 | 75.1 | 397.6
| 02/05/2015 | 7:00:00 a.m. | 562365 | 1317056 | 7.4393 | 0 | 12.7 | 370.5
| 01/05/2015 | 7:00:00 a.m. | 562059 | 1317015 | 7.472 | 0 | 320.3 | 397.1

## Junio
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
21 | 01/07/2015 | 7:00:00 a.m. | 822104 | 1353578 | 6.8731 | 0 | 306.9 | 393.9
20 | 30/06/2015 | 7:00:00 a.m. | 814764 | 1352488 | 6.7319 | 0 | 327.8 | 551.8
19 | 29/06/2015 | 7:00:00 a.m. | 806902 | 1351326 | 6.7675 | 0 | 18.2 | 394.9
18 | 28/06/2015 | 7:00:00 a.m. | 806463 | 1351261 | 6.9371 | 0 | 0 | 0
17 | 27/06/2015 | 7:00:00 a.m. | 806463 | 1351261 | 6.9493 | 0 | 311.6 | 411.6
16 | 26/06/2015 | 7:00:00 a.m. | 799014 | 1350166 | 6.7734 | 0 | 334.5 | 785.6
15 | 25/06/2015 | 7:00:00 a.m. | 791005 | 1348987 | 7.2305 | 0 | 15.9 | 412.8
14 | 24/06/2015 | 7:00:00 a.m. | 790620 | 1348934 | 7.3067 | 0 | 40.9 | 402.6
13 | 23/06/2015 | 7:00:00 a.m. | 789674 | 1348802 | 7.3277 | 0 | 315 | 413.9
12 | 22/06/2015 | 7:00:00 a.m. | 782143 | 1347730 | 7.1985 | 0 | 15.5 | 416.3
11 | 21/06/2015 | 7:00:00 a.m. | 781769 | 1347678 | 7.4895 | 0 | 0 | 0
10 | 20/06/2015 | 7:00:00 a.m. | 781769 | 1347678 | 7.3818 | 0 | 272 | 396.6
9 | 19/06/2015 | 7:00:00 a.m. | 775271 | 1346764 | 7.1918 | 0 | 318.3 | 411.7
8 | 18/06/2015 | 7:00:00 a.m. | 767639 | 1345687 | 7.2008 | 0 | 13.8 | 414.7
7 | 17/06/2015 | 7:00:00 a.m. | 767305 | 1345641 | 7.2986 | 0 | 304.6 | 410
6 | 16/06/2015 | 7:00:00 a.m. | 760024 | 1344610 | 7.1267 | 0 | 343.3 | 409.2
5 | 15/06/2015 | 7:00:00 a.m. | 751791 | 1343446 | 7.2329 | 0 | 16 | 415.8
4 | 14/06/2015 | 7:00:00 a.m. | 751401 | 1343392 | 7.4232 | 0 | 0 | 0
3 | 13/06/2015 | 7:00:00 a.m. | 751401 | 1343392 | 7.3717 | 0 | 313.4 | 746
2 | 12/06/2015 | 7:00:00 a.m. | 743909 | 1342347 | 7.1687 | 0 | 326.5 | 798.4
1 | 11/06/2015 | 7:00:00 a.m. | 736076 | 1341242 | 7.1584 | 0 | 16.3 | 388.2
| 10/06/2015 | 7:00:00 a.m. | 735681 | 1341187 | 7.2551 | 0 | 309.6 | 389.8
| 09/06/2015 | 7:00:00 a.m. | 728280 | 1340142 | 7.0952 | 0 | 311.8 | 377.9
| 08/06/2015 | 7:00:00 a.m. | 720776 | 1339077 | 7.1923 | 0 | 16.9 | 388.4
| 07/06/2015 | 7:00:00 a.m. | 720367 | 1339020 | 7.4948 | 0 | 0 | 0
| 06/06/2015 | 7:00:00 a.m. | 720367 | 1339020 | 7.4625 | 0 | 294.3 | 467.7
| 05/06/2015 | 7:00:00 a.m. | 713328 | 1338039 | 7.1857 | 0 | 362.5 | 773.2
| 04/06/2015 | 7:00:00 a.m. | 704480 | 1336821 | 7.1192 | 0 | 35.1 | 390.5
| 03/06/2015 | 7:00:00 a.m. | 703647 | 1336705 | 7.3166 | 0 | 298.7 | 479.5
| 02/06/2015 | 7:00:00 a.m. | 696505 | 1335700 | 7.2102 | 0 | 358 | 781.5
| 01/06/2015 | 7:00:00 a.m. | 687921 | 1334495 | 7.1954 | 0 | 14.2 | 385

## Julio
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
24 | 01/08/2015 | 7:00:00 a.m. | 956978 | 1373762 | 7.0997 | 0 | 326.9 | 483.6
23 | 31/07/2015 | 7:00:00 a.m. | 949161 | 1372593 | 6.7942 | 0 | 370.6 | 702.8
22 | 30/07/2015 | 7:00:00 a.m. | 940271 | 1371248 | 6.6482 | 0 | 17.5 | 798.5
21 | 29/07/2015 | 7:00:00 a.m. | 939852 | 1371185 | 6.8056 | 0 | 344.4 | 468
20 | 28/07/2015 | 7:00:00 a.m. | 931616 | 1369946 | 6.4782 | 0 | 351.8 | 476.1
19 | 27/07/2015 | 7:00:00 a.m. | 923171 | 1368678 | 6.5148 | 0 | 22.3 | 798.1
18 | 26/07/2015 | 7:00:00 a.m. | 922634 | 1368597 | 7.145 | 0 | 19.3 | 351.8
17 | 25/07/2015 | 7:00:00 a.m. | 922191 | 1368531 | 6.8147 | 0 | 290.4 | 455.4
16 | 24/07/2015 | 7:00:00 a.m. | 915249 | 1367494 | 6.7653 | 0 | 346.6 | 791.4
15 | 23/07/2015 | 7:00:00 a.m. | 906936 | 1366240 | 6.8527 | 0 | 16.4 | 793.2
14 | 22/07/2015 | 7:00:00 a.m. | 906545 | 1366181 | 6.9165 | 0 | 321.3 | 453.1
13 | 21/07/2015 | 7:00:00 a.m. | 898864 | 1365027 | 6.8187 | 0 | 349.6 | 469.3
12 | 20/07/2015 | 7:00:00 a.m. | 890475 | 1363765 | 6.5828 | 0 | 23 | 802.9
11 | 19/07/2015 | 7:00:00 a.m. | 889928 | 1363682 | 7.059 | 0 | 0 | 0
10 | 18/07/2015 | 7:00:00 a.m. | 889928 | 1363682 | 6.8293 | 0 | 356.2 | 513.9
9 | 17/07/2015 | 7:00:00 a.m. | 881411 | 1362403 | 6.7357 | 0 | 24.2 | 565.3
8 | 16/07/2015 | 7:00:00 a.m. | 880825 | 1362316 | 7.0225 | 0 | 14.8 | 384.9
7 | 15/07/2015 | 7:00:00 a.m. | 880507 | 1362268 | 6.9611 | 0 | 325.8 | 455.1
6 | 14/07/2015 | 7:00:00 a.m. | 872718 | 1361105 | 6.6469 | 0 | 360.1 | 806
5 | 13/07/2015 | 7:00:00 a.m. | 864078 | 1359806 | 6.6317 | 0 | 19.6 | 394.4
4 | 12/07/2015 | 7:00:00 a.m. | 863601 | 1359735 | 7.1942 | 0 | 0 | 0
3 | 11/07/2015 | 7:00:00 a.m. | 863601 | 1359735 | 7.2066 | 0 | 347.8 | 806.8
2 | 10/07/2015 | 7:00:00 a.m. | 855286 | 1358505 | 6.6683 | 0 | 341.3 | 390.8
1 | 09/07/2015 | 7:00:00 a.m. | 847095 | 1357280 | 6.6273 | 0 | 20.3 | 386.2
30 | 08/07/2015 | 7:00:00 a.m. | 846625 | 1357210 | 6.7723 | 0 | 0 | 0
29 | 07/07/2015 | 7:00:00 a.m. | 846625 | 1357210 | 6.8287 | 0 | 298.8 | 390.3
28 | 06/07/2015 | 7:00:00 a.m. | 839476 | 1356144 | 6.7696 | 0 | 16.5 | 391.6
27 | 05/07/2015 | 7:00:00 a.m. | 839084 | 1356086 | 7.0986 | 0 | 0 | 0
26 | 04/07/2015 | 7:00:00 a.m. | 839084 | 1356086 | 7.0864 | 0 | 298.1 | 545.3
25 | 03/07/2015 | 7:00:00 a.m. | 831966 | 1355037 | 6.9692 | 0 | 354.1 | 392
24 | 02/07/2015 | 7:00:00 a.m. | 823466 | 1353776 | 6.9102 | 0 | 56.7 | 383.7
23 | 01/07/2015 | 7:00:00 a.m. | 822104 | 1353578 | 6.8731 | 0 | 306.9 | 393.9

## Agosto
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
22 | 01/09/2015 | 7:00:00 a.m. | 130774 | 1398689 | 6.9025 | 0 | 273.6 | 347
21 | 31/08/2015 | 7:00:00 a.m. | 124208 | 1397735 | 6.9265 | 0 | 194.1 | 277.2
20 | 30/08/2015 | 7:00:00 a.m. | 119553 | 1397072 | 6.9871 | 0 | 218.9 | 299.2
19 | 29/08/2015 | 7:00:00 a.m. | 114307 | 1396327 | 6.948 | 0 | 254.5 | 351.6
18 | 28/08/2015 | 7:00:00 a.m. | 108197 | 1395440 | 6.9285 | 0 | 252.7 | 346.9
17 | 27/08/2015 | 7:00:00 a.m. | 102141 | 1394556 | 6.9063 | 0 | 244.8 | 362.2
16 | 26/08/2015 | 7:00:00 a.m. | 96265 | 1393700 | 6.8728 | 0 | 302.6 | 395.1
15 | 25/08/2015 | 7:00:00 a.m. | 89011 | 1392648 | 6.9203 | 0 | 327.6 | 392.3
14 | 24/08/2015 | 7:00:00 a.m. | 81146 | 1391504 | 6.9679 | 0 | 234.9 | 351.1
13 | 23/08/2015 | 7:00:00 a.m. | 75508 | 1390702 | 7.1137 | 0 | 256.3 | 347.5
12 | 22/08/2015 | 7:00:00 a.m. | 69363 | 1389839 | 7.2858 | 0 | 293 | 390.5
11 | 21/08/2015 | 7:00:00 a.m. | 62335 | 1388825 | 6.9484 | 0 | 339.6 | 435.6
10 | 20/08/2015 | 7:00:00 a.m. | 54188 | 1387645 | 6.894 | 0 | 313.8 | 777.6
9 | 19/08/2015 | 7:00:00 a.m. | 46661 | 1386555 | 6.9042 | 0 | 326.7 | 800.1
8 | 18/08/2015 | 7:00:00 a.m. | 38822 | 1385419 | 6.8743 | 0 | 307.8 | 781.7
7 | 17/08/2015 | 7:00:00 a.m. | 31438 | 1384351 | 6.99 | 0 | 157.1 | 245.4
6 | 16/08/2015 | 7:00:00 a.m. | 27675 | 1383817 | 7.3728 | 0 | 237.1 | 325.8
5 | 15/08/2015 | 7:00:00 a.m. | 21989 | 1383011 | 7.0205 | 0 | 202.4 | 365.4
4 | 14/08/2015 | 7:00:00 a.m. | 17138 | 1382315 | 6.9491 | 0 | 203.3 | 366.6
3 | 13/08/2015 | 7:00:00 a.m. | 12259 | 1381617 | 7.0545 | 0 | 12.4 | 435.4
2 | 12/08/2015 | 7:00:00 a.m. | 11985 | 1381578 | 7.077 | 0 | 238.7 | 348.4
1 | 11/08/2015 | 7:00:00 a.m. | 6285 | 1380767 | 6.9954 | 0 | 256.7 | 471
33 | 10/08/2015 | 7:00:00 a.m. | 112 | 1379885 | 7.0794 | 0 | 281.3 | 795.9
32 | 09/08/2015 | 7:00:00 a.m. | 993364 | 1378936 | 7.1326 | 0 | 299.3 | 403
31 | 08/08/2015 | 7:00:00 a.m. | 986187 | 1377941 | 7.057 | 0 | 359.5 | 750
30 | 07/08/2015 | 7:00:00 a.m. | 977569 | 1376717 | 7.1124 | 0 | 368.2 | 817.6
29 | 06/08/2015 | 7:00:00 a.m. | 968734 | 1375454 | 6.9529 | 0 | 23.5 | 396.4
28 | 05/08/2015 | 7:00:00 a.m. | 968194 | 1375377 | 7.2295 | 0 | 354.3 | 491.1
27 | 04/08/2015 | 7:00:00 a.m. | 959720 | 1374165 | 6.8927 | 0 | 106.9 | 546.5
26 | 03/08/2015 | 7:00:00 a.m. | 957191 | 1373794 | 6.9179 | 0 | 9.6 | 396
25 | 02/08/2015 | 7:00:00 a.m. | 956978 | 1373762 | 6.987 | 0 | 0 | 0
24 | 01/08/2015 | 7:00:00 a.m. | 956978 | 1373762 | 7.0997 | 0 | 326.9 | 483.6

## Septiembre
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 22
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
3 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | Nm³/H | Nm³/H
24 | 01/10/2015 | 7:00:00 a.m. | 325172 | 1427332 | 6.771 | 0 | 307 | 409.2
23 | 30/09/2015 | 7:00:00 a.m. | 317809 | 1426235 | 6.8029 | 0 | 323.7 | 424.8
22 | 29/09/2015 | 7:00:00 a.m. | 310048 | 1425078 | 6.7569 | 0 | 302.3 | 412.9
21 | 28/09/2015 | 7:00:00 a.m. | 302805 | 1423997 | 6.7645 | 0 | 289.5 | 416.5
20 | 27/09/2015 | 7:00:00 a.m. | 295862 | 1422984 | 7.0157 | 0 | 283.2 | 425.7
19 | 26/09/2015 | 7:00:00 a.m. | 289094 | 1421998 | 6.9251 | 0 | 325.9 | 417.8
18 | 25/09/2015 | 7:00:00 a.m. | 281275 | 1420841 | 6.7151 | 0 | 317.7 | 416.9
17 | 24/09/2015 | 7:00:00 a.m. | 273663 | 1419708 | 6.7191 | 0 | 311.2 | 423.6
16 | 23/09/2015 | 7:00:00 a.m. | 266201 | 1418596 | 6.6958 | 0 | 304.3 | 410.8
15 | 22/09/2015 | 7:00:00 a.m. | 258903 | 1417508 | 6.7628 | 0 | 279.4 | 406.7
14 | 21/09/2015 | 7:00:00 a.m. | 252204 | 1416514 | 6.7542 | 0 | 252.6 | 344
13 | 20/09/2015 | 7:00:00 a.m. | 246150 | 1415628 | 6.9741 | 0 | 239.4 | 356.5
12 | 19/09/2015 | 7:00:00 a.m. | 240412 | 1414801 | 6.8305 | 0 | 249.5 | 398.1
11 | 18/09/2015 | 7:00:00 a.m. | 234425 | 1413919 | 6.9438 | 0 | 169.1 | 423.3
10 | 17/09/2015 | 7:00:00 a.m. | 230419 | 1413334 | 6.7768 | 0 | 237.8 | 309.2
9 | 16/09/2015 | 7:00:00 a.m. | 224717 | 1412494 | 6.7587 | 0 | 275.2 | 406.7
8 | 15/09/2015 | 7:00:00 a.m. | 218112 | 1411517 | 6.7411 | 0 | 291.5 | 402.1
7 | 14/09/2015 | 7:00:00 a.m. | 211124 | 1410483 | 6.8634 | 0 | 254 | 329.6
6 | 13/09/2015 | 7:00:00 a.m. | 205034 | 1409608 | 6.8523 | 0 | 243.6 | 337.7
5 | 12/09/2015 | 7:00:00 a.m. | 199189 | 1408772 | 7.0067 | 0 | 236.5 | 364.4
4 | 11/09/2015 | 7:00:00 a.m. | 193516 | 1407943 | 6.7278 | 0 | 278.8 | 369.5
3 | 10/09/2015 | 7:00:00 a.m. | 186830 | 1406962 | 6.7877 | 0 | 262.6 | 370.9
2 | 09/09/2015 | 7:00:00 a.m. | 180526 | 1406036 | 6.7124 | 0 | 272.6 | 371.5
1 | 08/09/2015 | 7:00:00 a.m. | 173995 | 1405051 | 6.7546 | 0 | 294.6 | 367.8
28 | 07/09/2015 | 7:00:00 a.m. | 166880 | 1403979 | 6.6682 | 0 | 201.6 | 668.5
27 | 06/09/2015 | 7:00:00 a.m. | 162041 | 1403257 | 6.8673 | 0 | 183.3 | 320.5
26 | 05/09/2015 | 7:00:00 a.m. | 157658 | 1402613 | 6.9091 | 0 | 247.6 | 347.2
25 | 04/09/2015 | 7:00:00 a.m. | 151718 | 1401733 | 6.9433 | 0 | 307 | 381.4
24 | 03/09/2015 | 7:00:00 a.m. | 144356 | 1400662 | 6.8533 | 0 | 286.4 | 364.3
23 | 02/09/2015 | 7:00:00 a.m. | 137486 | 1399663 | 6.8807 | 0 | 279.7 | 362.7
22 | 01/09/2015 | 7:00:00 a.m. | 130774 | 1398689 | 6.9025 | 0 | 273.6 | 347

## octubre
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 14
Fault/Alarms Recorded: | Date | Time | Condition
1 | 04/10/2015 | 3:23:06 p.m. | 128 (Low Battery Occurred)
2 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
3 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
4 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Temp | Average Flow | Peak Flow | Min Press | Max Press | Max Temp
|  |  | m³ | m³ |  | m³ | °C | Nm³/H | Nm³/H | PSI | PSI | °C
14 | 29/10/2015 | 7:00:00 a.m. | 523835 | 1456684 | 6.7966 | 0 | 25.5 | 296.2 | 378.7 | 100.568 | 103.653 | 29.4
13 | 28/10/2015 | 7:00:00 a.m. | 516733 | 1455636 | 6.8175 | 0 | 26.1 | 295.6 | 377.9 | 100.173 | 103.813 | 31.3
12 | 27/10/2015 | 7:00:00 a.m. | 509647 | 1454589 | 6.8733 | 0 | 26.5 | 283.4 | 423.6 | 100.225 | 105.003 | 32.2
11 | 26/10/2015 | 7:00:00 a.m. | 502873 | 1453585 | 6.8055 | 0 | 25.8 | 244.5 | 396.3 | 100.902 | 111.485 | 29.1
10 | 25/10/2015 | 7:00:00 a.m. | 497015 | 1452737 | 7.2766 | 0 | 27.1 | 271.8 | 371.3 | 100.222 | 111.607 | 32.6
9 | 24/10/2015 | 7:00:00 a.m. | 490505 | 1451787 | 6.845 | 0 | 26.3 | 309.8 | 378 | 99.776 | 105.193 | 31.1
8 | 23/10/2015 | 7:00:00 a.m. | 483070 | 1450688 | 6.8609 | 0 | 26.3 | 273.7 | 377.9 | 99.898 | 104.547 | 30.9
7 | 22/10/2015 | 7:00:00 a.m. | 476512 | 1449717 | 6.7795 | 0 | 26.2 | 285.2 | 375.8 | 100.485 | 103.619 | 30.8
6 | 21/10/2015 | 7:00:00 a.m. | 469667 | 1448704 | 6.8593 | 0 | 25.8 | 278.8 | 365.1 | 100.418 | 103.446 | 29.7
5 | 20/10/2015 | 7:00:00 a.m. | 462989 | 1447716 | 6.821 | 0 | 25.3 | 292.4 | 375.7 | 99.871 | 104.018 | 28
4 | 19/10/2015 | 7:00:00 a.m. | 455981 | 1446681 | 6.7324 | 0 | 25.7 | 293 | 385.1 | 100.905 | 108.698 | 27.8
3 | 18/10/2015 | 7:00:00 a.m. | 448960 | 1445646 | 6.7817 | 0 | 26.8 | 298.8 | 397 | 100.768 | 111.315 | 30.3
2 | 17/10/2015 | 7:00:00 a.m. | 441791 | 1444598 | 6.8463 | 0 | 26 | 303.5 | 413.9 | 100.852 | 104.023 | 27.4
1 | 16/10/2015 | 7:00:00 a.m. | 434513 | 1443522 | 6.7625 | 0 | 27.7 | 306.8 | 380.1 | 100.266 | 103.049 | 31.6
| 15/10/2015 | 7:00:00 a.m. | 427166 | 1442426 | 6.7709 | 0 | 289.8 | 389.1
| 14/10/2015 | 7:00:00 a.m. | 420216 | 1441386 | 6.7263 | 0 | 289.1 | 412.6
| 13/10/2015 | 7:00:00 a.m. | 413283 | 1440349 | 6.7622 | 0 | 294.2 | 379.1
| 12/10/2015 | 7:00:00 a.m. | 406229 | 1439295 | 6.7307 | 0 | 295.3 | 370.7
| 11/10/2015 | 7:00:00 a.m. | 399148 | 1438260 | 6.8363 | 0 | 291.9 | 394.2
| 10/10/2015 | 7:00:00 a.m. | 392152 | 1437232 | Low Batt | 0 | 243 | 366.1
| 09/10/2015 | 7:00:00 a.m. | 386321 | 1436361 | Low Batt | 0 | 282.9 | 411.8
| 08/10/2015 | 7:00:00 a.m. | 379538 | 1435349 | Low Batt | 0 | 313.9 | 401.3
| 07/10/2015 | 7:00:00 a.m. | 372008 | 1434229 | Low Batt | 0 | 301.5 | 407.8
| 06/10/2015 | 7:00:00 a.m. | 364779 | 1433157 | Low Batt | 0 | 322.8 | 423.6
| 05/10/2015 | 7:00:00 a.m. | 357039 | 1432015 | Low Batt | 0 | 335.4 | 425.2
| 04/10/2015 | 7:00:00 a.m. | 348999 | 1430853 | 6.8416 | 0 | 336.3 | 424.2
| 03/10/2015 | 7:00:00 a.m. | 340933 | 1429674 | 6.8032 | 0 | 326.9 | 415.6
| 02/10/2015 | 7:00:00 a.m. | 333089 | 1428513 | 6.7557 | 0 | 330.3 | 408.9
| 01/10/2015 | 7:00:00 a.m. | 325172 | 1427332 | 6.771 | 0 | 307 | 409.2
| 30/09/2015 | 7:00:00 a.m. | 317809 | 1426235 | 6.8029 | 0 | 323.7 | 424.8

## noviembre
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 7
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/11/2015 | 8:45:32 a.m. | 132 (Temperature Fault Occurred Low Battery Occurred)
2 | 04/10/2015 | 3:23:06 p.m. | 128 (Low Battery Occurred)
3 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
7 | 30/11/2015 | 7:00:00 a.m. | 731405 | 1487238 | 7.0001 | 0 | 105.215 | 17.8 | 15.4 | 426.6 | 1.0134 | 101.494 | 111.087 | 102.177 | 9.9 | 30.9 | 16.7 | 5.67
6 | 29/11/2015 | 7:00:00 a.m. | 731031 | 1487185 | 6.9648 | 0 | 106.155 | 19.7 | 280.5 | 372.5 | 1.013 | 101.375 | 112.859 | 104.629 | 17.9 | 23.3 | 18.8 | 5.67
5 | 28/11/2015 | 7:00:00 a.m. | 731031 | 1487185 | 6.9534 | 0 | 102.435 | 21 | 298.5 | 388.8 | 1.013 | 100.516 | 104.261 | 103.933 | 18.5 | 25.4 | 19 | 5.67
4 | 27/11/2015 | 7:00:00 a.m. | 726706 | 1486484 | 6.9436 | 0 | 102.211 | 22.3 | 314.3 | 417.9 | 1.0129 | 100.939 | 104.208 | 102.721 | 18.9 | 27.8 | 19.1 | 5.68
3 | 26/11/2015 | 7:00:00 a.m. | 720598 | 1485582 | 6.9648 | 0 | 102.335 | 19.7 | 280.5 | 372.5 | 1.013 | 100.853 | 103.41 | 102.418 | 17.9 | 23.3 | 18.8 | 5.68
2 | 25/11/2015 | 7:00:00 a.m. | 713873 | 1484612 | 6.9534 | 0 | 102.035 | 21 | 298.5 | 388.8 | 1.013 | 100.358 | 103.14 | 102.327 | 18.5 | 25.4 | 19 | 5.68
1 | 24/11/2015 | 7:00:00 a.m. | 706716 | 1483572 | 6.9436 | 0 | 102.149 | 22.3 | 314.3 | 417.9 | 1.0129 | 100.07 | 110.086 | 102.219 | 18.9 | 27.8 | 19.1 | 5.68
22 | 23/11/2015 | 7:00:00 a.m. | 699174 | 1482472 | 6.8642 | 0 | 102.149 | 270.8 | 393.3 | 100.24 | 111.133 | 100.07
| 23/11/2015 | 7:00:00 a.m. | 699174 | 1482472 | 6.8642 | 399 | 23.7 | 270.8 | 393.3 | 100.24 | 111.133 | 29.5
| 22/11/2015 | 7:00:00 a.m. | 692669 | 1481527 | T flt | 399 | T flt | T flt | T flt | 100.508 | 112.37 | T flt
| 21/11/2015 | 7:00:00 a.m. | 686206 | 1480588 | T flt | 393 | T flt | T flt | T flt | 100.119 | 109.447 | T flt
| 20/11/2015 | 7:00:00 a.m. | 679608 | 1479580 | T flt | 340 | T flt | T flt | T flt | 99.987 | 104.654 | T flt
| 19/11/2015 | 7:00:00 a.m. | 674462 | 1478498 | 6.9062 | 0 | 21.9 | 332.4 | 408.9 | 100.228 | 103.915 | 27.5
| 18/11/2015 | 7:00:00 a.m. | 666494 | 1477339 | 7.0187 | 0 | 21 | 301 | 410.8 | 99.673 | 104.933 | 26.7
| 17/11/2015 | 7:00:00 a.m. | 659270 | 1476293 | 6.9927 | 0 | 19.6 | 283.2 | 404.1 | 101.277 | 107.392 | 23.3
| 16/11/2015 | 7:00:00 a.m. | 652478 | 1475321 | 7.2917 | 0 | 20.7 | 329.3 | 416.7 | 101.349 | 111.741 | 24.1
| 15/11/2015 | 7:00:00 a.m. | 644588 | 1474203 | 6.9978 | 0 | 23 | 241.4 | 376.4 | 101.52 | 111.736 | 30.9
| 14/11/2015 | 7:00:00 a.m. | 638799 | 1473386 | 7.3178 | 0 | 22.8 | 295.7 | 412.2 | 99.967 | 112.63 | 28.8
| 13/11/2015 | 7:00:00 a.m. | 631713 | 1472359 | 6.9482 | 0 | 22 | 284.7 | 403.2 | 99.829 | 108.415 | 28
| 12/11/2015 | 7:00:00 a.m. | 624898 | 1471365 | 6.9862 | 0 | 22.7 | 279.8 | 406.4 | 100.494 | 104.574 | 28
| 11/11/2015 | 7:00:00 a.m. | 618193 | 1470388 | 6.9601 | 0 | 21.5 | 348.2 | 413 | 100.557 | 104.575 | 25
| 10/11/2015 | 7:00:00 a.m. | 609840 | 1469176 | 6.9543 | 0 | 22.1 | 280.9 | 383.3 | 100.2 | 105.059 | 26.9
| 09/11/2015 | 7:00:00 a.m. | 603098 | 1468195 | 6.8853 | 0 | 23.2 | 242.5 | 360 | 101.306 | 111 | 29
| 08/11/2015 | 7:00:00 a.m. | 597286 | 1467368 | 7.0734 | 0 | 24 | 245.8 | 331 | 101.042 | 113.184 | 30.1
| 07/11/2015 | 7:00:00 a.m. | 591389 | 1466523 | 6.914 | 0 | 24.2 | 329.5 | 402.8 | 100.53 | 104.179 | 29.1
| 06/11/2015 | 7:00:00 a.m. | 583486 | 1465367 | 6.9639 | 0 | 23.4 | 302.6 | 398.8 | 100.55 | 106.234 | 28.9
| 05/11/2015 | 7:00:00 a.m. | 576226 | 1464308 | 6.9234 | 0 | 22.3 | 321.1 | 407.5 | 100.979 | 104.677 | 24.8
| 04/11/2015 | 7:00:00 a.m. | 568523 | 1463190 | 6.9127 | 0 | 22.5 | 323 | 411.3 | 100.897 | 104.441 | 25.3
| 03/11/2015 | 7:00:00 a.m. | 560779 | 1462066 | 6.9055 | 0 | 24.3 | 324 | 411.6 | 100.145 | 104.385 | 29.4
| 02/11/2015 | 7:00:00 a.m. | 553003 | 1460926 | 6.9 | 0 | 26 | 287.9 | 422.6 | 101.287 | 110.696 | 32.1

## diciembre
Data Log
Unit Serial Number: | 04/08/38776
Meter/Site ID: | Unitek 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/11/2015 | 8:45:32 a.m. | 132 (Temperature Fault Occurred Low Battery Occurred)
2 | 04/10/2015 | 3:23:06 p.m. | 128 (Low Battery Occurred)
3 | 13/03/2015 | 2:08:38 p.m. | 13 (High Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 26/12/2014 | 9:22:03 p.m. | 9 (High Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 14/12/2014 | 6:27:33 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
24 | 01/01/2016 | 7:00:00 a.m. | 792868 | 1499871 | 7.3299 | 4302 | 105.447 | 16.4 | 0 | 0 | 1.015 | 101.593 | 109.36 | 103.966 | 7.3 | 30 | 9 | 5.97
23 | 31/12/2015 | 7:00:00 a.m. | 792868 | 1499871 | 7.3411 | 4302 | 104.747 | 13.6 | 68.9 | 227.1 | 1.0153 | 100.005 | 109.022 | 103.502 | 7.3 | 22.5 | 7.4 | 5.97
22 | 30/12/2015 | 7:00:00 a.m. | 791233 | 1499639 | 7.4034 | 4302 | 104.942 | 13 | 69.8 | 429.7 | 1.0148 | 101.149 | 111.867 | 105.815 | 6.7 | 21.7 | 11.1 | 5.97
21 | 29/12/2015 | 7:00:00 a.m. | 789595 | 1499407 | 7.309 | 4302 | 104.724 | 12.6 | 78.2 | 424.3 | 1.0147 | 101.109 | 111.317 | 104.299 | 6.7 | 19.3 | 10.6 | 5.97
20 | 28/12/2015 | 7:00:00 a.m. | 787763 | 1499147 | 7.1329 | 4302 | 105.043 | 13.4 | 13.1 | 426.9 | 1.014 | 101.524 | 110.911 | 102.585 | 3.9 | 26.4 | 12.6 | 5.97
19 | 27/12/2015 | 7:00:00 a.m. | 787446 | 1499103 | 7.9937 | 4302 | 107.493 | 13 | 5.8 | 429.3 | 1.0174 | 101.277 | 113.054 | 111.077 | 3.8 | 26.3 | 3.9 | 5.97
18 | 26/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.5263 | 4302 | 105.488 | 13.4 | 0 | 0 | 1.0161 | 103.008 | 109.501 | 105.075 | 4.8 | 23.3 | 4.8 | 5.97
17 | 25/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.682 | 4302 | 108.13 | 16 | 0 | 0 | 1.0156 | 103.236 | 112.778 | 109.466 | 10.4 | 24.6 | 10.4 | 5.98
16 | 24/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.2338 | 4302 | 105.781 | 14.8 | 0 | 0 | 1.0143 | 101.864 | 112.414 | 103.748 | 11.8 | 19.1 | 11.9 | 5.99
15 | 23/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.1973 | 4302 | 104.635 | 15.8 | 0 | 0 | 1.0139 | 101.494 | 111.541 | 104.185 | 14.3 | 17 | 14.5 | 5.99
14 | 22/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.0947 | 4302 | 103.306 | 16.9 | 0 | 0 | 1.0137 | 101.36 | 110.113 | 102.681 | 8.6 | 26.9 | 14.3 | 5.99
13 | 21/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.2531 | 4302 | 105.012 | 14.3 | 0 | 0 | 1.0148 | 101.889 | 111.661 | 102.783 | 8.6 | 22.7 | 8.7 | 5.99
12 | 20/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.2888 | 4302 | 107.021 | 16.2 | 0 | 0 | 1.0146 | 101.692 | 112.288 | 104.162 | 10.9 | 27 | 11 | 5.99
11 | 19/12/2015 | 7:00:00 a.m. | 787326 | 1499086 | 7.2951 | 4302 | 103.931 | 18 | 186.5 | 310.8 | 1.0145 | 100.255 | 112.498 | 104.629 | 12 | 24.4 | 12 | 5.99
10 | 18/12/2015 | 7:00:00 a.m. | 782889 | 1498455 | 7.1067 | 4302 | 102.622 | 17.8 | 295.6 | 417.7 | 1.0135 | 100.075 | 105.978 | 103.397 | 14.5 | 22.9 | 15.8 | 5.99
15 | 08/12/2015 | 7:00:00 a.m. | 760360 | 1492374 | T flt | 1449 | 103.025 | T flt | T flt | T flt | T flt | 100.123 | 109.318 | 102.735 | T flt | T flt | T flt | 5.67
14 | 07/12/2015 | 7:00:00 a.m. | 757754 | 1491390 | T flt | 848 | 105.262 | T flt | T flt | T flt | T flt | 101.127 | 111.891 | 101.864 | T flt | T flt | T flt | 5.67
13 | 06/12/2015 | 7:00:00 a.m. | 757754 | 1491337 | T flt | 795 | 107.056 | T flt | T flt | T flt | T flt | 102.013 | 112.379 | 111.602 | T flt | T flt | T flt | 5.68
12 | 05/12/2015 | 7:00:00 a.m. | 757754 | 1491337 | T flt | 795 | 103.009 | T flt | T flt | T flt | T flt | 100.867 | 112.023 | 108.364 | T flt | T flt | T flt | 5.67
11 | 04/12/2015 | 7:00:00 a.m. | 751575 | 1490424 | 7.0145 | 769 | 102.248 | 20.2 | 311 | 402 | 1.0134 | 100.038 | 104.25 | 102.475 | 16.7 | 26.6 | 17 | 5.67
10 | 03/12/2015 | 7:00:00 a.m. | 744115 | 1489345 | T flt | 769 | 102.811 | T flt | T flt | T flt | T flt | 100.442 | 105.075 | 102.18 | T flt | T flt | T flt | 5.68
9 | 02/12/2015 | 7:00:00 a.m. | 743764 | 1489295 | T flt | 769 | 102.27 | T flt | T flt | T flt | T flt | 100.366 | 105.71 | 102.632 | T flt | T flt | T flt | 5.67
8 | 01/12/2015 | 7:00:00 a.m. | 738571 | 1488297 | T flt | 524 | 102.263 | T flt | T flt | T flt | T flt | 100.115 | 105.029 | 102.791 | T flt | T flt | T flt | 5.67
7 | 30/11/2015 | 7:00:00 a.m. | 731405 | 1487238 | 7.0001 | 499 | 105.215 | 17.8 | 15.4 | 426.6 | 1.0134 | 101.494 | 111.087 | 102.177 | 9.9 | 30.9 | 16.7 | 5.67