## Enero
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/02/2015 | 7:00:00 a.m. | 878433 | 234390 | 21.766 | 0 | 306.991 | 17.7 | 317.2 | 789
23 | 31/01/2015 | 7:00:00 a.m. | 870860 | 234039 | 21.6046 | 0 | 305.975 | 18.1 | 703.5 | 1204
22 | 30/01/2015 | 7:00:00 a.m. | 854165 | 233262 | 21.4714 | 0 | 305.684 | 18.3 | 771.9 | 1227.8
21 | 29/01/2015 | 7:00:00 a.m. | 835829 | 232407 | 21.6023 | 0 | 305.636 | 18.5 | 707.8 | 1189.2
20 | 28/01/2015 | 7:00:00 a.m. | 818999 | 231622 | 21.6873 | 0 | 305.923 | 18.3 | 727.7 | 1169.7
19 | 27/01/2015 | 7:00:00 a.m. | 801687 | 230816 | 21.525 | 0 | 305.872 | 18.2 | 747.4 | 1230.1
18 | 26/01/2015 | 7:00:00 a.m. | 783978 | 229991 | 21.6483 | 0 | 306.568 | 19.2 | 239.2 | 614.5
17 | 25/01/2015 | 7:00:00 a.m. | 778264 | 229725 | 21.4181 | 0 | 306.408 | 18.8 | 335.8 | 1051.7
16 | 24/01/2015 | 7:00:00 a.m. | 770287 | 229353 | 21.4655 | 0 | 305.322 | 18.2 | 737.1 | 1237.8
15 | 23/01/2015 | 7:00:00 a.m. | 752819 | 228538 | 21.6815 | 0 | 305.03 | 18.3 | 724.1 | 1212.3
14 | 22/01/2015 | 7:00:00 a.m. | 735608 | 227734 | 21.4846 | 0 | 305.147 | 18 | 777.3 | 1315.9
13 | 21/01/2015 | 7:00:00 a.m. | 717157 | 226873 | 21.4743 | 0 | 192.57 | 17.9 | 521.3 | 1249.4
12 | 20/01/2015 | 7:00:00 a.m. | 696799 | 226192 | 21.3367 | 0 | 305.833 | 18.1 | 781.6 | 1271.3
11 | 19/01/2015 | 7:00:00 a.m. | 678222 | 225327 | 21.6812 | 0 | 307.96 | 18 | 295.4 | 1195.9
10 | 18/01/2015 | 7:00:00 a.m. | 671161 | 225001 | 21.9213 | 0 | 308.03 | 18 | 345.1 | 861.1
9 | 17/01/2015 | 7:00:00 a.m. | 662960 | 224622 | 21.4117 | 0 | 303.418 | 18.3 | 613.5 | 1249.5
8 | 16/01/2015 | 7:00:00 a.m. | 645880 | 223744 | 21.6695 | 0 | 305.782 | 18.4 | 779.4 | 1252.5
7 | 15/01/2015 | 7:00:00 a.m. | 627323 | 222879 | 21.3732 | 0 | 306.182 | 18.2 | 742.8 | 1179.4
6 | 14/01/2015 | 7:00:00 a.m. | 609650 | 222057 | 21.6279 | 0 | 306.278 | 18.2 | 773.3 | 1289.4
5 | 13/01/2015 | 7:00:00 a.m. | 591322 | 221205 | 21.3316 | 0 | 305.71 | 18.2 | 739.1 | 1275.7
4 | 12/01/2015 | 7:00:00 a.m. | 573743 | 220386 | 21.5748 | 0 | 307.436 | 17.6 | 216.2 | 416.2
3 | 11/01/2015 | 7:00:00 a.m. | 568567 | 220147 | 21.5913 | 0 | 306.938 | 18.2 | 300.5 | 930.6
2 | 10/01/2015 | 7:00:00 a.m. | 561459 | 219817 | 21.8169 | 0 | 305.65 | 18 | 765.8 | 1335.8
1 | 09/01/2015 | 7:00:00 a.m. | 543337 | 218973 | 21.3382 | 0 | 305.662 | 18.2 | 769 | 1414.7
| 08/01/2015 | 7:00:00 a.m. | 525190 | 218127 | 21.1996 | 0 | 306.124 | 18.3 | 735.1 | 1442.4
| 07/01/2015 | 7:00:00 a.m. | 507796 | 217317 | 21.7488 | 0 | 305.344 | 18.7 | 739 | 1468.3
| 06/01/2015 | 7:00:00 a.m. | 490270 | 216497 | 21.223 | 0 | 304.989 | 18.8 | 634 | 1430
| 05/01/2015 | 7:00:00 a.m. | 475269 | 215794 | 21.4413 | 0 | 305.675 | 18 | 459.9 | 1210.3
| 04/01/2015 | 7:00:00 a.m. | 464318 | 215284 | 21.8037 | 0 | 306.819 | 17.1 | 226.8 | 626.1
| 03/01/2015 | 7:00:00 a.m. | 458928 | 215035 | 21.7855 | 0 | 306.915 | 17.2 | 270.4 | 758.5
| 02/01/2015 | 7:00:00 a.m. | 452522 | 214739 | 22.1421 | 0 | 307.67 | 15.7 | 122 | 252.9
| 01/01/2015 | 7:00:00 a.m. | 449643 | 214607 | 22.1698 | 0 | 308.257 | 15.8 | 179.8 | 328.2
| 31/12/2014 | 7:00:00 a.m. | 445389 | 214412 | 21.8085 | 0 | 307.837 | 17.2 | 168.9 | 281.3

## Febrero
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
| 01/03/2015 | 7:00:00 a.m. | 303680 | 254257 | 21.6597 | 0 | 305.387 | 18.9 | 749.2 | 1204.4
19 | 28/02/2015 | 7:00:00 a.m. | 285862 | 253424 | 21.2141 | 0 | 304.924 | 19.1 | 800.5 | 1273.6
18 | 27/02/2015 | 7:00:00 a.m. | 266696 | 252526 | 21.4402 | 0 | 305.464 | 19.1 | 787.5 | 1293.7
17 | 26/02/2015 | 7:00:00 a.m. | 247852 | 251645 | 21.5783 | 0 | 305.509 | 19.2 | 763.8 | 1171
16 | 25/02/2015 | 7:00:00 a.m. | 229592 | 250791 | 21.4486 | 0 | 305.695 | 19.1 | 771 | 1230.4
15 | 24/02/2015 | 7:00:00 a.m. | 211215 | 249932 | 21.6675 | 0 | 305.811 | 19.1 | 756.5 | 1258
14 | 23/02/2015 | 7:00:00 a.m. | 193155 | 249088 | 21.5717 | 0 | 307.935 | 18.4 | 277 | 865.9
13 | 22/02/2015 | 7:00:00 a.m. | 186562 | 248783 | 21.6328 | 0 | 306.26 | 19.3 | 681.7 | 1124.4
12 | 21/02/2015 | 7:00:00 a.m. | 170348 | 248026 | 21.2056 | 0 | 305.807 | 19.3 | 779.7 | 1164.4
11 | 20/02/2015 | 7:00:00 a.m. | 151759 | 247157 | 21.5999 | 0 | 305.716 | 19.4 | 782.5 | 1234.9
10 | 19/02/2015 | 7:00:00 a.m. | 133144 | 246286 | 21.7892 | 0 | 305.991 | 19.3 | 763.1 | 1224.4
9 | 18/02/2015 | 7:00:00 a.m. | 114971 | 245437 | 21.4933 | 0 | 306.214 | 19.1 | 715.5 | 1202.7
8 | 17/02/2015 | 7:00:00 a.m. | 97994 | 244645 | 21.4147 | 0 | 306.562 | 19.2 | 620.3 | 1155.9
7 | 16/02/2015 | 7:00:00 a.m. | 83288 | 243960 | 21.7883 | 0 | 307.71 | 18.9 | 240.2 | 911.5
6 | 15/02/2015 | 7:00:00 a.m. | 77522 | 243693 | 21.8131 | 0 | 306.16 | 19.2 | 635 | 1161.2
5 | 14/02/2015 | 7:00:00 a.m. | 62451 | 242989 | 21.3797 | 0 | 305.503 | 19.4 | 729.8 | 1156.2
4 | 13/02/2015 | 7:00:00 a.m. | 45133 | 242178 | 21.468 | 0 | 305.503 | 19.4 | 702.4 | 1184.6
3 | 12/02/2015 | 7:00:00 a.m. | 28447 | 241397 | 21.5167 | 0 | 305.067 | 19.6 | 681.4 | 1149.9
2 | 11/02/2015 | 7:00:00 a.m. | 12206 | 240635 | 21.2642 | 0 | 304.854 | 18.9 | 713.1 | 1190.3
1 | 10/02/2015 | 7:00:00 a.m. | 995244 | 239841 | 21.5029 | 0 | 305.424 | 18.5 | 712.6 | 1224.7
32 | 09/02/2015 | 7:00:00 a.m. | 978253 | 239048 | 21.5485 | 0 | 306.882 | 18.6 | 205.1 | 543.8
31 | 08/02/2015 | 7:00:00 a.m. | 973358 | 238821 | 21.8464 | 0 | 305.614 | 18.6 | 657.8 | 1214.8
30 | 07/02/2015 | 7:00:00 a.m. | 957762 | 238093 | 21.5505 | 0 | 305.527 | 18.4 | 717 | 1225.3
29 | 06/02/2015 | 7:00:00 a.m. | 940688 | 237296 | 21.4936 | 0 | 305.111 | 18.5 | 737.8 | 1316.9
28 | 05/02/2015 | 7:00:00 a.m. | 923174 | 236477 | 21.4716 | 0 | 304.92 | 18.4 | 731.8 | 1327.1
27 | 04/02/2015 | 7:00:00 a.m. | 905739 | 235662 | 21.3066 | 0 | 305.068 | 18.4 | 724.7 | 1147.9
26 | 03/02/2015 | 7:00:00 a.m. | 888514 | 234857 | 21.3968 | 0 | 306.559 | 18.1 | 232.9 | 832.1
25 | 02/02/2015 | 7:00:00 a.m. | 882905 | 234597 | 21.7958 | 0 | 307.016 | 17.9 | 187.9 | 293.1
24 | 01/02/2015 | 7:00:00 a.m. | 878433 | 234390 | 21.766 | 0 | 306.991 | 17.7 | 317.2 | 789
23 | 31/01/2015 | 7:00:00 a.m. | 870860 | 234039 | 21.6046 | 0 | 305.975 | 18.1 | 703.5 | 1204

## Marzo
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 23
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
| 01/04/2015 | 7:00:00 a.m. | 769585 | 276106 | 21.47 | 0 | 306.436 | 21 | 676.2 | 1135.6
| 31/03/2015 | 7:00:00 a.m. | 753520 | 275350 | 21.4716 | 0 | 305.912 | 21.1 | 774.7 | 1204.4
23 | 30/03/2015 | 7:00:00 a.m. | 735044 | 274479 | 21.4723 | 0 | 307.379 | 21 | 327.1 | 962.4
22 | 29/03/2015 | 7:00:00 a.m. | 727244 | 274114 | 21.6691 | 0 | 306.451 | 21 | 598.1 | 1036.3
21 | 28/03/2015 | 7:00:00 a.m. | 713010 | 273444 | 21.2351 | 0 | 306.043 | 21 | 663.7 | 1143.1
20 | 27/03/2015 | 7:00:00 a.m. | 697192 | 272699 | 21.5207 | 0 | 305.404 | 21 | 722.8 | 1105.4
19 | 26/03/2015 | 7:00:00 a.m. | 680038 | 271889 | 21.2234 | 0 | 305.811 | 20.6 | 699.1 | 1138.3
18 | 25/03/2015 | 7:00:00 a.m. | 663429 | 271107 | 21.4043 | 0 | 305.924 | 20.4 | 740.7 | 1179.1
17 | 24/03/2015 | 7:00:00 a.m. | 645790 | 270278 | 21.5365 | 0 | 306.152 | 20.1 | 735.5 | 1204.9
16 | 23/03/2015 | 7:00:00 a.m. | 628261 | 269455 | 21.411 | 0 | 307.859 | 19.9 | 245.6 | 724.3
15 | 22/03/2015 | 7:00:00 a.m. | 622370 | 269181 | 21.8045 | 0 | 306.705 | 20.1 | 648.6 | 1192
14 | 21/03/2015 | 7:00:00 a.m. | 606969 | 268459 | 21.609 | 0 | 306.488 | 20.1 | 690.5 | 1180.3
13 | 20/03/2015 | 7:00:00 a.m. | 590562 | 267690 | 21.6381 | 0 | 306.466 | 19.9 | 752.8 | 1185.3
12 | 19/03/2015 | 7:00:00 a.m. | 572694 | 266853 | 21.2787 | 0 | 306.497 | 19.8 | 724.1 | 1192.6
11 | 18/03/2015 | 7:00:00 a.m. | 555461 | 266046 | 21.6598 | 0 | 306.013 | 19.8 | 740.8 | 1143.2
10 | 17/03/2015 | 7:00:00 a.m. | 537848 | 265220 | 21.4881 | 0 | 306.613 | 20 | 372.5 | 965
9 | 16/03/2015 | 7:00:00 a.m. | 528983 | 264805 | 21.5966 | 0 | 306.654 | 20.4 | 269.1 | 831.2
8 | 15/03/2015 | 7:00:00 a.m. | 522595 | 264506 | 21.7053 | 0 | 305.824 | 19.9 | 566.4 | 1234.2
7 | 14/03/2015 | 7:00:00 a.m. | 509160 | 263875 | 21.3423 | 0 | 305.093 | 19.5 | 738.3 | 1261.8
6 | 13/03/2015 | 7:00:00 a.m. | 491649 | 263052 | 21.5911 | 0 | 305.367 | 19.1 | 695.2 | 1257.2
5 | 12/03/2015 | 7:00:00 a.m. | 475192 | 262280 | 21.6615 | 0 | 305.36 | 19.1 | 701.5 | 1225.9
4 | 11/03/2015 | 7:00:00 a.m. | 458543 | 261500 | 21.6074 | 0 | 304.843 | 19.1 | 743.2 | 1239.4
3 | 10/03/2015 | 7:00:00 a.m. | 440946 | 260674 | 21.4143 | 0 | 305.1 | 18.6 | 807.5 | 1276.3
2 | 09/03/2015 | 7:00:00 a.m. | 421791 | 259777 | 21.5418 | 0 | 306.691 | 19.1 | 288.7 | 994.1
1 | 08/03/2015 | 7:00:00 a.m. | 414909 | 259457 | 21.3854 | 0 | 304.74 | 19 | 739.9 | 1190
| 07/03/2015 | 7:00:00 a.m. | 398164 | 258671 | 21.5922 | 0 | 304.803 | 18.9 | 715.1 | 1204.3
| 06/03/2015 | 7:00:00 a.m. | 381188 | 257876 | 21.3791 | 0 | 305.381 | 18.9 | 758.4 | 1187.7
| 05/03/2015 | 7:00:00 a.m. | 363142 | 257033 | 21.3475 | 0 | 305.213 | 18.7 | 731.6 | 1248.9
| 04/03/2015 | 7:00:00 a.m. | 345768 | 256221 | 21.4874 | 0 | 305.218 | 18.6 | 766 | 1318.4
| 03/03/2015 | 7:00:00 a.m. | 327559 | 255370 | 21.3628 | 0 | 305.049 | 18.6 | 761.8 | 1256.7
| 02/03/2015 | 7:00:00 a.m. | 309396 | 254521 | 21.6857 | 0 | 307.024 | 17.4 | 238.6 | 562.7
| 01/03/2015 | 7:00:00 a.m. | 303680 | 254257 | 21.6597 | 0 | 305.387 | 18.9 | 749.2 | 1204.4
| 28/02/2015 | 7:00:00 a.m. | 285862 | 253424 | 21.2141 | 0 | 304.924 | 19.1 | 800.5 | 1273.6

## Abril
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 22
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
| 01/05/2015 | 7:00:00 a.m. | 233948 | 297749 | 21.8603 | 0 | 313.506 | 22.5 | 701.3 | 1082.9
| 30/04/2015 | 7:00:00 a.m. | 217263 | 296978 | 21.7398 | 0 | 313.236 | 22.4 | 654.4 | 1074.6
22 | 29/04/2015 | 7:00:00 a.m. | 201668 | 296257 | 21.7218 | 0 | 312.696 | 22.4 | 697.9 | 1063.7
21 | 28/04/2015 | 7:00:00 a.m. | 185057 | 295488 | 21.8762 | 0 | 312.988 | 22.2 | 712.9 | 1080.1
20 | 27/04/2015 | 7:00:00 a.m. | 168067 | 294703 | 21.7411 | 0 | 315.73 | 21.5 | 274.4 | 806.2
19 | 26/04/2015 | 7:00:00 a.m. | 161493 | 294403 | 21.863 | 0 | 313.711 | 21.6 | 692.8 | 1128.7
18 | 25/04/2015 | 7:00:00 a.m. | 145023 | 293645 | 21.9071 | 0 | 313.432 | 21.7 | 693.4 | 1119.4
17 | 24/04/2015 | 7:00:00 a.m. | 128506 | 292884 | 21.6158 | 0 | 312.96 | 21.7 | 730.1 | 1148.8
16 | 23/04/2015 | 7:00:00 a.m. | 111105 | 292081 | 21.6142 | 0 | 313.003 | 21.8 | 765.1 | 1156.3
15 | 22/04/2015 | 7:00:00 a.m. | 92839 | 291238 | 21.8144 | 0 | 316.384 | 21.8 | 743.8 | 1142.9
14 | 21/04/2015 | 7:00:00 a.m. | 75072 | 290427 | 22.0276 | 0 | 315.583 | 21.9 | 791.1 | 1376.5
13 | 20/04/2015 | 7:00:00 a.m. | 56258 | 289565 | 21.7231 | 0 | 315.1 | 22.2 | 446.8 | 1372.6
12 | 19/04/2015 | 7:00:00 a.m. | 45543 | 289071 | 22.4009 | 0 | 313.55 | 21.8 | 714.6 | 1086.1
11 | 18/04/2015 | 7:00:00 a.m. | 28527 | 288286 | 21.849 | 0 | 311.754 | 21.8 | 778.4 | 1149.3
10 | 17/04/2015 | 7:00:00 a.m. | 9973 | 287426 | 21.6366 | 0 | 306.448 | 21.7 | 748.7 | 1152
9 | 16/04/2015 | 7:00:00 a.m. | 992129 | 286584 | 21.051 | 0 | 305.38 | 21.7 | 837.1 | 1311.1
8 | 15/04/2015 | 7:00:00 a.m. | 972187 | 285639 | 21.3773 | 0 | 305.936 | 21.6 | 779.8 | 1281.9
7 | 14/04/2015 | 7:00:00 a.m. | 953590 | 284761 | 21.4281 | 0 | 305.988 | 21.6 | 751.2 | 1176.6
6 | 13/04/2015 | 7:00:00 a.m. | 935681 | 283915 | 21.6463 | 0 | 307.564 | 21.3 | 304.9 | 688.7
5 | 12/04/2015 | 7:00:00 a.m. | 928397 | 283574 | 21.5081 | 0 | 307.047 | 21.2 | 616.2 | 1087.6
4 | 11/04/2015 | 7:00:00 a.m. | 913773 | 282886 | 21.1969 | 0 | 306.818 | 21.2 | 669.1 | 1118.8
3 | 10/04/2015 | 7:00:00 a.m. | 897852 | 282137 | 21.1613 | 0 | 306.465 | 21.3 | 720.1 | 1133.4
2 | 09/04/2015 | 7:00:00 a.m. | 880741 | 281331 | 21.6055 | 0 | 306.725 | 21.1 | 728.8 | 1032.4
1 | 08/04/2015 | 7:00:00 a.m. | 863389 | 280515 | 21.3951 | 0 | 306.536 | 21.2 | 692 | 1127
| 07/04/2015 | 7:00:00 a.m. | 846844 | 279736 | 21.6283 | 0 | 307.97 | 20.7 | 332.1 | 860.4
| 06/04/2015 | 7:00:00 a.m. | 838879 | 279364 | 21.4764 | 0 | 308.524 | 20.6 | 233.1 | 711.8
| 05/04/2015 | 7:00:00 a.m. | 833331 | 279105 | 21.5838 | 0 | 307.145 | 21.2 | 617.6 | 1015.1
| 04/04/2015 | 7:00:00 a.m. | 818610 | 278413 | 21.358 | 0 | 306.272 | 21.6 | 682.1 | 1166.4
| 03/04/2015 | 7:00:00 a.m. | 802351 | 277646 | 21.669 | 0 | 306.676 | 21 | 690.8 | 1111.4
| 02/04/2015 | 7:00:00 a.m. | 785885 | 276872 | 21.3911 | 0 | 306.747 | 21 | 684.2 | 1115.9
| 01/04/2015 | 7:00:00 a.m. | 769585 | 276106 | 21.47 | 0 | 306.436 | 21 | 676.2 | 1135.6
| 31/03/2015 | 7:00:00 a.m. | 753520 | 275350 | 21.4716 | 0 | 305.912 | 21.1 | 774.7 | 1204.4

## Mayo
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/06/2015 | 7:00:00 a.m. | 724209 | 320311 | 21.9792 | 0 | 315.543 | 22.1 | 435.9 | 1174.1
23 | 31/05/2015 | 7:00:00 a.m. | 713850 | 319836 | 22.0074 | 0 | 313.614 | 21.9 | 770.9 | 1292.5
22 | 30/05/2015 | 7:00:00 a.m. | 695479 | 318988 | 21.7694 | 0 | 313.273 | 21.8 | 757.5 | 1256.6
21 | 29/05/2015 | 7:00:00 a.m. | 677423 | 318154 | 21.7453 | 0 | 313.057 | 21.7 | 769.1 | 1281.3
20 | 28/05/2015 | 7:00:00 a.m. | 659084 | 317307 | 21.7124 | 0 | 312.607 | 21.6 | 760 | 1257.3
19 | 27/05/2015 | 7:00:00 a.m. | 640971 | 316469 | 21.5191 | 0 | 312.896 | 21.6 | 790.1 | 1320
18 | 26/05/2015 | 7:00:00 a.m. | 622144 | 315599 | 21.7369 | 0 | 313.665 | 21.6 | 787.7 | 1243.4
17 | 25/05/2015 | 7:00:00 a.m. | 603352 | 314733 | 21.851 | 0 | 316.246 | 21.4 | 298.8 | 689.4
16 | 24/05/2015 | 7:00:00 a.m. | 596236 | 314408 | 21.8762 | 0 | 314.2 | 21.5 | 740.6 | 1195.3
15 | 23/05/2015 | 7:00:00 a.m. | 578588 | 313596 | 21.8427 | 0 | 314.025 | 21.5 | 748 | 1271
14 | 22/05/2015 | 7:00:00 a.m. | 560769 | 312776 | 21.9728 | 0 | 314.068 | 21.4 | 707.8 | 1261.8
13 | 21/05/2015 | 7:00:00 a.m. | 543990 | 312004 | 21.7928 | 0 | 313.409 | 21.7 | 732.9 | 1220.7
12 | 20/05/2015 | 7:00:00 a.m. | 526570 | 311200 | 21.5963 | 0 | 313.153 | 21.8 | 780.7 | 1261.8
11 | 19/05/2015 | 7:00:00 a.m. | 507979 | 310341 | 21.7664 | 0 | 313.906 | 21.8 | 759 | 1369.8
10 | 18/05/2015 | 7:00:00 a.m. | 489899 | 309508 | 21.9315 | 0 | 316.344 | 21.7 | 352.6 | 1009.1
9 | 17/05/2015 | 7:00:00 a.m. | 481502 | 309124 | 22.194 | 0 | 314.544 | 21.8 | 721 | 1382.1
8 | 16/05/2015 | 7:00:00 a.m. | 464397 | 308336 | 21.8486 | 0 | 314.427 | 21.5 | 733.9 | 1235.9
7 | 15/05/2015 | 7:00:00 a.m. | 446950 | 307534 | 21.8429 | 0 | 313.732 | 21.8 | 749.3 | 1226.1
6 | 14/05/2015 | 7:00:00 a.m. | 429079 | 306710 | 21.7326 | 0 | 313.347 | 22 | 822.2 | 1222.5
5 | 13/05/2015 | 7:00:00 a.m. | 409494 | 305805 | 21.7636 | 0 | 313.876 | 22.2 | 790 | 1319.3
4 | 12/05/2015 | 7:00:00 a.m. | 390710 | 304938 | 21.8974 | 0 | 314.37 | 22.4 | 731.7 | 1281.5
3 | 11/05/2015 | 7:00:00 a.m. | 373258 | 304133 | 21.9393 | 0 | 317.427 | 22 | 263 | 774.4
2 | 10/05/2015 | 7:00:00 a.m. | 366982 | 303847 | 22.1781 | 0 | 316.092 | 22 | 648.3 | 1113.2
1 | 09/05/2015 | 7:00:00 a.m. | 351607 | 303142 | 21.751 | 0 | 315.77 | 22 | 731.7 | 1108.2
| 08/05/2015 | 7:00:00 a.m. | 334214 | 302345 | 21.8346 | 0 | 315.613 | 22.1 | 734.4 | 1173.1
| 07/05/2015 | 7:00:00 a.m. | 316757 | 301545 | 21.8696 | 0 | 315.368 | 22.3 | 744.7 | 1108.7
| 06/05/2015 | 7:00:00 a.m. | 299018 | 300731 | 21.9046 | 0 | 315.772 | 22.3 | 694.2 | 1210.4
| 05/05/2015 | 7:00:00 a.m. | 282439 | 299971 | 22.0422 | 0 | 317.667 | 21.9 | 325.1 | 818.9
| 04/05/2015 | 7:00:00 a.m. | 274651 | 299617 | 22.1441 | 0 | 317.369 | 22 | 296.5 | 441.7
| 03/05/2015 | 7:00:00 a.m. | 267574 | 299295 | 22.0614 | 0 | 315.341 | 22.1 | 693 | 1173.2
| 02/05/2015 | 7:00:00 a.m. | 251060 | 298537 | 21.9133 | 0 | 314.498 | 22.5 | 717.4 | 1173.5
| 01/05/2015 | 7:00:00 a.m. | 233948 | 297749 | 21.8603 | 0 | 313.506 | 22.5 | 701.3 | 1082.9
| 30/04/2015 | 7:00:00 a.m. | 217263 | 296978 | 21.7398 | 0 | 313.236 | 22.4 | 654.4 | 1074.6
| 29/04/2015 | 7:00:00 a.m. | 201668 | 296257 | 21.7218 | 0 | 312.696 | 22.4 | 697.9 | 1063.7

## Junio
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 01/07/2015 | 7:00:00 a.m. | 232708 | 343840 | 21.6356 | 0 | 316.254 | 25.1 | 747.6 | 1213.3
22 | 30/06/2015 | 7:00:00 a.m. | 214826 | 343012 | 21.7206 | 0 | 316.199 | 24.8 | 762.4 | 1213.1
21 | 29/06/2015 | 7:00:00 a.m. | 196626 | 342170 | 21.6252 | 0 | 318.001 | 24.9 | 352.2 | 756.1
20 | 28/06/2015 | 7:00:00 a.m. | 188250 | 341785 | 21.8964 | 0 | 316.856 | 24.6 | 707.3 | 1185
19 | 27/06/2015 | 7:00:00 a.m. | 171411 | 341008 | 21.8207 | 0 | 316.333 | 24.8 | 744.4 | 1224.1
18 | 26/06/2015 | 7:00:00 a.m. | 153670 | 340188 | 21.7775 | 0 | 315.667 | 24.7 | 763.3 | 1220.8
17 | 25/06/2015 | 7:00:00 a.m. | 135459 | 339344 | 21.7458 | 0 | 315.054 | 24.7 | 809.6 | 1267.7
16 | 24/06/2015 | 7:00:00 a.m. | 116135 | 338447 | 21.8213 | 0 | 314.861 | 24.6 | 791.1 | 1274.6
15 | 23/06/2015 | 7:00:00 a.m. | 97273 | 337571 | 21.6397 | 0 | 314.732 | 24.6 | 814.2 | 1295.8
14 | 22/06/2015 | 7:00:00 a.m. | 77783 | 336666 | 21.8497 | 0 | 317.267 | 24.2 | 324 | 1025.6
13 | 21/06/2015 | 7:00:00 a.m. | 70067 | 336311 | 21.9012 | 0 | 315.286 | 24.2 | 751 | 1250
12 | 20/06/2015 | 7:00:00 a.m. | 52190 | 335483 | 21.8329 | 0 | 314.739 | 24.4 | 802.8 | 1241.4
11 | 19/06/2015 | 7:00:00 a.m. | 33007 | 334593 | 21.6094 | 0 | 314.84 | 24.1 | 791 | 1311.1
10 | 18/06/2015 | 7:00:00 a.m. | 14146 | 333719 | 21.5956 | 0 | 314.669 | 23.9 | 813.7 | 1313.3
9 | 17/06/2015 | 7:00:00 a.m. | 994786 | 332822 | 21.7972 | 0 | 314.72 | 23.8 | 787 | 1354.9
8 | 16/06/2015 | 7:00:00 a.m. | 976106 | 331957 | 21.7243 | 0 | 314.723 | 23.6 | 726.7 | 1309.2
7 | 15/06/2015 | 7:00:00 a.m. | 958827 | 331157 | 21.8715 | 0 | 316.257 | 23.5 | 379.2 | 1096.1
6 | 14/06/2015 | 7:00:00 a.m. | 949845 | 330744 | 21.9071 | 0 | 314.725 | 23.3 | 722.6 | 1296.1
5 | 13/06/2015 | 7:00:00 a.m. | 932726 | 329952 | 21.6835 | 0 | 314.812 | 23.2 | 731.2 | 1281.2
4 | 12/06/2015 | 7:00:00 a.m. | 915328 | 329148 | 21.7885 | 0 | 314.513 | 23.2 | 740.6 | 1299.4
3 | 11/06/2015 | 7:00:00 a.m. | 897726 | 328334 | 21.6629 | 0 | 314.311 | 23.2 | 715.7 | 1235.8
2 | 10/06/2015 | 7:00:00 a.m. | 880743 | 327548 | 21.7538 | 0 | 314.103 | 23 | 736.9 | 1257.6
1 | 09/06/2015 | 7:00:00 a.m. | 863228 | 326737 | 21.522 | 0 | 313.491 | 23.5 | 722.7 | 1267
| 08/06/2015 | 7:00:00 a.m. | 845996 | 325936 | 21.8977 | 0 | 316.046 | 22.9 | 317.6 | 906.5
| 07/06/2015 | 7:00:00 a.m. | 838440 | 325589 | 22.076 | 0 | 314.037 | 22.6 | 750.3 | 1309.1
| 06/06/2015 | 7:00:00 a.m. | 820686 | 324768 | 21.6125 | 0 | 313.845 | 22.4 | 822.4 | 1296.7
| 05/06/2015 | 7:00:00 a.m. | 801124 | 323864 | 21.6537 | 0 | 313.876 | 22.3 | 845.9 | 1346.5
| 04/06/2015 | 7:00:00 a.m. | 781012 | 322935 | 21.5014 | 0 | 313.635 | 22.3 | 825.9 | 1327.2
| 03/06/2015 | 7:00:00 a.m. | 761302 | 322024 | 21.8444 | 0 | 313.436 | 22.3 | 836.2 | 1344.7
| 02/06/2015 | 7:00:00 a.m. | 741435 | 321105 | 21.5426 | 0 | 314.18 | 22.1 | 721.5 | 1303.2
| 01/06/2015 | 7:00:00 a.m. | 724209 | 320311 | 21.9792 | 0 | 315.543 | 22.1 | 435.9 | 1174.1
| 31/05/2015 | 7:00:00 a.m. | 713850 | 319836 | 22.0074 | 0 | 313.614 | 21.9 | 770.9 | 1292.5

## Julio
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 01/08/2015 | 7:00:00 a.m. | 732813 | 367089 | 21.9776 | 0 | 319.127 | 26.2 | 699.4 | 1134.8
23 | 31/07/2015 | 7:00:00 a.m. | 716171 | 366322 | 21.9251 | 0 | 317.875 | 26.2 | 650.1 | 1097
22 | 30/07/2015 | 7:00:00 a.m. | 700718 | 365607 | 21.5893 | 0 | 313.462 | 26.1 | 698.6 | 1124.9
21 | 29/07/2015 | 7:00:00 a.m. | 684096 | 364827 | 21.328 | 0 | 313.817 | 25.9 | 614 | 1121.6
20 | 28/07/2015 | 7:00:00 a.m. | 669471 | 364142 | 21.448 | 0 | 314.106 | 25.8 | 650.8 | 1175.5
19 | 27/07/2015 | 7:00:00 a.m. | 653976 | 363417 | 21.4627 | 0 | 315.787 | 26 | 360.5 | 976.1
18 | 26/07/2015 | 7:00:00 a.m. | 645462 | 363021 | 21.7701 | 0 | 314.745 | 26 | 710.4 | 1158.6
17 | 25/07/2015 | 7:00:00 a.m. | 628552 | 362231 | 21.557 | 0 | 314.897 | 25.9 | 726.5 | 1123
16 | 24/07/2015 | 7:00:00 a.m. | 611233 | 361423 | 21.7273 | 0 | 315.253 | 25.8 | 716.7 | 1119.7
15 | 23/07/2015 | 7:00:00 a.m. | 594166 | 360628 | 21.6359 | 0 | 315.479 | 25.8 | 746.5 | 1170.1
14 | 22/07/2015 | 7:00:00 a.m. | 576361 | 359799 | 21.6015 | 0 | 316.046 | 25.7 | 700.9 | 1146.3
13 | 21/07/2015 | 7:00:00 a.m. | 559635 | 359022 | 21.6486 | 0 | 316.147 | 25.8 | 711 | 1182.3
12 | 20/07/2015 | 7:00:00 a.m. | 542679 | 358234 | 21.7777 | 0 | 317.803 | 25.7 | 292.2 | 971
11 | 19/07/2015 | 7:00:00 a.m. | 535725 | 357913 | 21.6455 | 0 | 315.915 | 25.7 | 679 | 1136.5
10 | 18/07/2015 | 7:00:00 a.m. | 519530 | 357160 | 21.5701 | 0 | 314.67 | 25.7 | 762.5 | 1180.2
9 | 17/07/2015 | 7:00:00 a.m. | 501332 | 356311 | 21.6003 | 0 | 314.133 | 25.4 | 780.4 | 1174.4
8 | 16/07/2015 | 7:00:00 a.m. | 482696 | 355441 | 21.4733 | 0 | 314.482 | 25.3 | 785.7 | 1218.5
7 | 15/07/2015 | 7:00:00 a.m. | 463903 | 354565 | 21.569 | 0 | 314.456 | 25.3 | 747 | 1140.2
6 | 14/07/2015 | 7:00:00 a.m. | 446059 | 353733 | 21.5221 | 0 | 314.055 | 25.4 | 745.3 | 1194.2
5 | 13/07/2015 | 7:00:00 a.m. | 428248 | 352901 | 21.6395 | 0 | 315.878 | 25.1 | 310.2 | 1014.8
4 | 12/07/2015 | 7:00:00 a.m. | 420842 | 352558 | 21.8399 | 0 | 314.857 | 25.1 | 781.5 | 1231.5
3 | 11/07/2015 | 7:00:00 a.m. | 402208 | 351691 | 21.6646 | 0 | 315.376 | 25.1 | 788.9 | 1219.3
2 | 10/07/2015 | 7:00:00 a.m. | 383346 | 350815 | 21.6908 | 0 | 315.775 | 25.1 | 795.4 | 1204.6
1 | 09/07/2015 | 7:00:00 a.m. | 364367 | 349935 | 21.696 | 0 | 315.779 | 25.1 | 768 | 1181.3
30 | 08/07/2015 | 7:00:00 a.m. | 345870 | 349077 | 21.6253 | 0 | 315.806 | 25 | 741.6 | 1187
29 | 07/07/2015 | 7:00:00 a.m. | 328144 | 348255 | 21.725 | 0 | 316.105 | 24.9 | 762.7 | 1242.5
28 | 06/07/2015 | 7:00:00 a.m. | 309899 | 347410 | 21.8506 | 0 | 318.433 | 24.6 | 270.8 | 717
27 | 05/07/2015 | 7:00:00 a.m. | 303472 | 347115 | 21.9006 | 0 | 316.49 | 24.9 | 719.2 | 1213.8
26 | 04/07/2015 | 7:00:00 a.m. | 286309 | 346321 | 21.5714 | 0 | 315.97 | 24.9 | 747.5 | 1287.4
25 | 03/07/2015 | 7:00:00 a.m. | 268434 | 345493 | 21.7039 | 0 | 316.079 | 25 | 760.6 | 1190.8
24 | 02/07/2015 | 7:00:00 a.m. | 250248 | 344651 | 21.7635 | 0 | 316.507 | 24.9 | 735.1 | 1237.9
23 | 01/07/2015 | 7:00:00 a.m. | 232708 | 343840 | 21.6356 | 0 | 316.254 | 25.1 | 747.6 | 1213.3
22 | 30/06/2015 | 7:00:00 a.m. | 214826 | 343012 | 21.7206 | 0 | 316.199 | 24.8 | 762.4 | 1213.1
21 | 29/06/2015 | 7:00:00 a.m. | 196626 | 342170 | 21.6252 | 0 | 318.001 | 24.9 | 352.2 | 756.1

## Agosto
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 20
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 01/09/2015 | 7:00:00 a.m. | 155019 | 386553 | 21.964 | 0 | 320.504 | 27.2 | 705.3 | 1116.3
20 | 31/08/2015 | 7:00:00 a.m. | 138193 | 385778 | 21.8412 | 0 | 323.332 | 27.3 | 296.2 | 761.4
19 | 30/08/2015 | 7:00:00 a.m. | 131186 | 385458 | 22.2202 | 0 | 320.677 | 27.5 | 654.6 | 1119.6
18 | 29/08/2015 | 7:00:00 a.m. | 115570 | 384738 | 21.9375 | 0 | 320.559 | 27.7 | 683.1 | 1115.9
17 | 28/08/2015 | 7:00:00 a.m. | 99315 | 383988 | 21.7215 | 0 | 320.47 | 27.5 | 690.7 | 1115.1
16 | 27/08/2015 | 7:00:00 a.m. | 82855 | 383229 | 21.723 | 0 | 320.355 | 27.4 | 673.6 | 1210.9
15 | 26/08/2015 | 7:00:00 a.m. | 66806 | 382489 | 21.909 | 0 | 320.323 | 27 | 686.7 | 1108.4
14 | 25/08/2015 | 7:00:00 a.m. | 50476 | 381737 | 21.8583 | 0 | 320.441 | 27.2 | 639.8 | 1119.5
13 | 24/08/2015 | 7:00:00 a.m. | 35305 | 381038 | 21.8979 | 0 | 322.793 | 26.8 | 273.1 | 949.8
12 | 23/08/2015 | 7:00:00 a.m. | 28844 | 380743 | 22.1801 | 0 | 321.149 | 26.8 | 521.7 | 1007
11 | 22/08/2015 | 7:00:00 a.m. | 16457 | 380174 | 21.74 | 0 | 320.5 | 26.8 | 547.5 | 1083.7
10 | 21/08/2015 | 7:00:00 a.m. | 3414 | 379574 | 21.7628 | 0 | 320.522 | 26.9 | 558.8 | 1078.9
9 | 20/08/2015 | 7:00:00 a.m. | 990181 | 378965 | 21.5859 | 0 | 321.303 | 26.8 | 542 | 1061.5
8 | 19/08/2015 | 7:00:00 a.m. | 977238 | 378371 | 22.1836 | 0 | 321.879 | 26.8 | 518.7 | 1068.1
7 | 18/08/2015 | 7:00:00 a.m. | 964932 | 377807 | 21.7778 | 0 | 322.012 | 26.8 | 521.4 | 1063.4
6 | 17/08/2015 | 7:00:00 a.m. | 952534 | 377239 | 21.9036 | 0 | 323.216 | 27.9 | 296.3 | 899.4
5 | 16/08/2015 | 7:00:00 a.m. | 945551 | 376920 | 22.1606 | 0 | 321.975 | 27 | 516.9 | 1020.5
4 | 15/08/2015 | 7:00:00 a.m. | 933279 | 376357 | 22.0434 | 0 | 319.711 | 27 | 595.2 | 1061.6
3 | 14/08/2015 | 7:00:00 a.m. | 919116 | 375703 | 21.7982 | 0 | 318.063 | 26.8 | 551.1 | 1088.6
2 | 13/08/2015 | 7:00:00 a.m. | 906011 | 375095 | 21.7673 | 0 | 317.452 | 26.6 | 607.9 | 1111.3
1 | 12/08/2015 | 7:00:00 a.m. | 891538 | 374423 | 21.7065 | 0 | 316.997 | 26.3 | 676.3 | 1138.8
34 | 11/08/2015 | 7:00:00 a.m. | 875388 | 373673 | 21.7038 | 0 | 317.393 | 26.3 | 662.6 | 1163.8
33 | 10/08/2015 | 7:00:00 a.m. | 859578 | 372940 | 21.7668 | 0 | 320.045 | 25.9 | 311.2 | 672.3
32 | 09/08/2015 | 7:00:00 a.m. | 852152 | 372599 | 22.1306 | 0 | 318.504 | 26.3 | 664.4 | 1105.8
31 | 08/08/2015 | 7:00:00 a.m. | 836355 | 371869 | 21.941 | 0 | 318.383 | 26.4 | 703.4 | 1130.3
30 | 07/08/2015 | 7:00:00 a.m. | 819614 | 371095 | 21.6237 | 0 | 318.626 | 26.5 | 660.9 | 1079.3
29 | 06/08/2015 | 7:00:00 a.m. | 803839 | 370366 | 21.7278 | 0 | 318.712 | 26.5 | 640.4 | 1082.9
28 | 05/08/2015 | 7:00:00 a.m. | 788605 | 369662 | 21.9003 | 0 | 318.468 | 26.4 | 684.1 | 1151.8
27 | 04/08/2015 | 7:00:00 a.m. | 772320 | 368909 | 21.8663 | 0 | 318.321 | 26.3 | 687.2 | 1118.1
26 | 03/08/2015 | 7:00:00 a.m. | 755966 | 368153 | 21.9413 | 0 | 320.835 | 26.1 | 326.1 | 870.4
25 | 02/08/2015 | 7:00:00 a.m. | 748214 | 367798 | 22.2411 | 0 | 319.569 | 26 | 648.2 | 1090.1
24 | 01/08/2015 | 7:00:00 a.m. | 732813 | 367089 | 21.9776 | 0 | 319.127 | 26.2 | 699.4 | 1134.8

## Septiembre
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 01/10/2015 | 7:00:00 a.m. | 565407 | 405588 | 21.4341 | 0 | 314.993 | 26.9 | 763.3 | 1165.4
22 | 30/09/2015 | 7:00:00 a.m. | 547163 | 404733 | 21.5225 | 0 | 315.762 | 26.8 | 736 | 1128
21 | 29/09/2015 | 7:00:00 a.m. | 529593 | 403912 | 21.5786 | 0 | 315.773 | 27 | 785.8 | 1185.2
20 | 28/09/2015 | 7:00:00 a.m. | 510830 | 403035 | 21.5756 | 0 | 319.127 | 27.1 | 318.4 | 954.5
19 | 27/09/2015 | 7:00:00 a.m. | 503233 | 402684 | 21.8881 | 0 | 316.966 | 27 | 654.5 | 1181
18 | 26/09/2015 | 7:00:00 a.m. | 487659 | 401958 | 21.3306 | 0 | 316.365 | 27.2 | 706.1 | 1139.5
17 | 25/09/2015 | 7:00:00 a.m. | 470803 | 401171 | 21.6832 | 0 | 316.56 | 27.1 | 661 | 1126.4
16 | 24/09/2015 | 7:00:00 a.m. | 455033 | 400435 | 21.5664 | 0 | 316.593 | 27 | 669.9 | 1183.5
15 | 23/09/2015 | 7:00:00 a.m. | 439038 | 399689 | 21.753 | 0 | 316.388 | 27 | 700.4 | 1118.9
14 | 22/09/2015 | 7:00:00 a.m. | 422342 | 398910 | 21.795 | 0 | 315.936 | 26.9 | 713.2 | 1150.3
13 | 21/09/2015 | 7:00:00 a.m. | 405327 | 398115 | 21.4129 | 0 | 317.292 | 28 | 366.8 | 855.8
12 | 20/09/2015 | 7:00:00 a.m. | 396594 | 397708 | 21.4237 | 0 | 316.508 | 27.3 | 678.1 | 1135.8
11 | 19/09/2015 | 7:00:00 a.m. | 380408 | 396952 | 21.4748 | 0 | 317.811 | 27.1 | 687.4 | 1141.8
10 | 18/09/2015 | 7:00:00 a.m. | 364009 | 396190 | 21.7658 | 0 | 319.034 | 27 | 636.3 | 1108
9 | 17/09/2015 | 7:00:00 a.m. | 348808 | 395487 | 21.7418 | 0 | 319.888 | 26.9 | 604.3 | 1057.9
8 | 16/09/2015 | 7:00:00 a.m. | 334421 | 394823 | 21.8842 | 0 | 319.718 | 27 | 628.5 | 1041.3
7 | 15/09/2015 | 7:00:00 a.m. | 319434 | 394131 | 21.8312 | 0 | 322.188 | 27 | 258.4 | 863.4
6 | 14/09/2015 | 7:00:00 a.m. | 313263 | 393848 | 22.1116 | 0 | 322.628 | 27.3 | 169.3 | 387.7
5 | 13/09/2015 | 7:00:00 a.m. | 309259 | 393665 | 21.9725 | 0 | 319.767 | 27.6 | 592.2 | 1094.4
4 | 12/09/2015 | 7:00:00 a.m. | 295176 | 393013 | 21.6687 | 0 | 319.762 | 27.5 | 583.4 | 1022.5
3 | 11/09/2015 | 7:00:00 a.m. | 281271 | 392370 | 22.0635 | 0 | 320.457 | 27.6 | 614.1 | 1082.8
2 | 10/09/2015 | 7:00:00 a.m. | 266665 | 391696 | 21.7211 | 0 | 321.253 | 27.8 | 530.7 | 963.3
1 | 09/09/2015 | 7:00:00 a.m. | 254009 | 391113 | 21.8253 | 0 | 321.333 | 27.8 | 510.4 | 1017.1
28 | 08/09/2015 | 7:00:00 a.m. | 241832 | 390552 | 21.8742 | 0 | 320.831 | 27.5 | 524.1 | 1040.5
27 | 07/09/2015 | 7:00:00 a.m. | 229360 | 389977 | 21.7421 | 0 | 322.025 | 27.5 | 255.1 | 718.8
26 | 06/09/2015 | 7:00:00 a.m. | 223275 | 389698 | 21.9488 | 0 | 320.503 | 27 | 534.7 | 970.8
25 | 05/09/2015 | 7:00:00 a.m. | 210573 | 389113 | 21.7779 | 0 | 320.145 | 27 | 545.1 | 1117.3
24 | 04/09/2015 | 7:00:00 a.m. | 197621 | 388516 | 21.6618 | 0 | 319.334 | 27.1 | 591.2 | 1064.5
23 | 03/09/2015 | 7:00:00 a.m. | 183534 | 387865 | 21.8725 | 0 | 320.853 | 26.9 | 570.1 | 1119.1
22 | 02/09/2015 | 7:00:00 a.m. | 169970 | 387241 | 21.8038 | 0 | 320.889 | 27 | 628.8 | 1178.8
21 | 01/09/2015 | 7:00:00 a.m. | 155019 | 386553 | 21.964 | 0 | 320.504 | 27.2 | 705.3 | 1116.3

## octubre
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 14
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Min Press | Max Press | Max Temp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | PSI | PSI | °C
14 | 29/10/2015 | 7:00:00 a.m. | 39816 | 427964 | 20.9751 | 0 | 307.328 | 25.2 | 736.7 | 1158.7 | 304.048 | 312.284 | 26.4
13 | 28/10/2015 | 7:00:00 a.m. | 22269 | 427126 | 21.2108 | 0 | 307.626 | 25.4 | 711.8 | 1118.8 | 304.111 | 311.903 | 26.8
12 | 27/10/2015 | 7:00:00 a.m. | 5320 | 426317 | 21.1202 | 0 | 308.582 | 25.4 | 685.8 | 1096.7 | 304.91 | 313.261 | 27.2
11 | 26/10/2015 | 7:00:00 a.m. | 988997 | 425540 | 21.3294 | 0 | 311.513 | 25.2 | 364.5 | 972.5 | 306.842 | 315.247 | 27
10 | 25/10/2015 | 7:00:00 a.m. | 980291 | 425130 | 21.2676 | 0 | 309.378 | 25.7 | 731.5 | 1128.7 | 305.572 | 314.757 | 27.3
9 | 24/10/2015 | 7:00:00 a.m. | 962868 | 424302 | 21.262 | 0 | 310.469 | 25.6 | 750.1 | 1186.4 | 306.27 | 315.359 | 27.1
8 | 23/10/2015 | 7:00:00 a.m. | 945030 | 423458 | 21.47 | 0 | 311.553 | 25.6 | 762.7 | 1145.9 | 307.439 | 316.253 | 27
7 | 22/10/2015 | 7:00:00 a.m. | 926856 | 422601 | 21.1577 | 0 | 312.907 | 25.7 | 753.5 | 1162.1 | 308.663 | 317.171 | 26.9
6 | 21/10/2015 | 7:00:00 a.m. | 908860 | 421756 | 21.4713 | 0 | 313.283 | 25.7 | 788.3 | 1155.8 | 309.191 | 318.176 | 26.7
5 | 20/10/2015 | 7:00:00 a.m. | 890052 | 420874 | 21.5295 | 0 | 313.432 | 25.7 | 816.9 | 1196.9 | 309.699 | 318.349 | 26.6
4 | 19/10/2015 | 7:00:00 a.m. | 870554 | 419960 | 21.7825 | 0 | 316.561 | 25.3 | 349.1 | 909.1 | 311.747 | 319.506 | 26.2
3 | 18/10/2015 | 7:00:00 a.m. | 862231 | 419574 | 21.4574 | 0 | 312.737 | 26.1 | 814.8 | 1176.5 | 309.515 | 317.505 | 26.8
2 | 17/10/2015 | 7:00:00 a.m. | 842719 | 418656 | 21.3633 | 0 | 312.949 | 25.9 | 804.6 | 1221.6 | 309.53 | 318.106 | 26.5
1 | 16/10/2015 | 7:00:00 a.m. | 823486 | 417752 | 21.2016 | 0 | 312.781 | 26.2 | 783.6 | 1169.8 | 309.603 | 317.043 | 27.2
| 15/10/2015 | 7:00:00 a.m. | 804471 | 416857 | 21.1881 | 0 | 312.152 | 26.4 | 810.9 | 1105.1
| 14/10/2015 | 7:00:00 a.m. | 785052 | 415941 | 21.3073 | 0 | 311.487 | 26.3 | 762 | 1115.7
| 13/10/2015 | 7:00:00 a.m. | 766816 | 415079 | 21.1607 | 0 | 310.496 | 26.3 | 753.5 | 1104.1
| 12/10/2015 | 7:00:00 a.m. | 748744 | 414222 | 21.4528 | 0 | 312.819 | 26.7 | 347.2 | 930.7
| 11/10/2015 | 7:00:00 a.m. | 740452 | 413831 | 21.3043 | 0 | 309.337 | 26.5 | 763.8 | 1121.3
| 10/10/2015 | 7:00:00 a.m. | 722176 | 412960 | 21.3329 | 0 | 309.628 | 26.7 | 744.2 | 1137.5
| 09/10/2015 | 7:00:00 a.m. | 704379 | 412112 | 21.1558 | 0 | 311.236 | 26.4 | 772.3 | 1160
| 08/10/2015 | 7:00:00 a.m. | 686121 | 411248 | 21.5441 | 0 | 312.271 | 26.3 | 818.9 | 1153
| 07/10/2015 | 7:00:00 a.m. | 666506 | 410323 | 21.506 | 0 | 313.416 | 26.3 | 793.5 | 1167.3
| 06/10/2015 | 7:00:00 a.m. | 647522 | 409431 | 21.4673 | 0 | 314.558 | 26 | 761.7 | 1192.1
| 05/10/2015 | 7:00:00 a.m. | 629303 | 408579 | 21.3632 | 0 | 317.296 | 25.7 | 350.3 | 974.4
| 04/10/2015 | 7:00:00 a.m. | 620928 | 408191 | 21.5359 | 0 | 314.342 | 26.8 | 752.8 | 1131.2
| 03/10/2015 | 7:00:00 a.m. | 602900 | 407345 | 21.7147 | 0 | 314.867 | 26.7 | 774.3 | 1162.7
| 02/10/2015 | 7:00:00 a.m. | 584432 | 406480 | 21.7307 | 0 | 314.647 | 26.9 | 796 | 1156.8
| 01/10/2015 | 7:00:00 a.m. | 565407 | 405588 | 21.4341 | 0 | 314.993 | 26.9 | 763.3 | 1165.4
| 30/09/2015 | 7:00:00 a.m. | 547163 | 404733 | 21.5225 | 0 | 315.762 | 26.8 | 736 | 1128

## noviembre
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 29
Fault/Alarms Recorded: | Date | Time | Condition
1 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Min Press | Max Press | Max Temp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | PSI | PSI | °C
29 | 30/11/2015 | 7:00:00 a.m. | 570600 | 453019 | 21.461 | 0 | 309.852 | 20.3 | 336.1 | 1077.5 | 304.094 | 319.222 | 22.9
28 | 29/11/2015 | 7:00:00 a.m. | 562608 | 452647 | 21.7671 | 0 | 306.82 | 20.9 | 751.5 | 1201.1 | 302.002 | 312.931 | 22.1
27 | 28/11/2015 | 7:00:00 a.m. | 544716 | 451804 | 21.2662 | 0 | 306.577 | 21 | 845.3 | 1224.1 | 302.822 | 311.363 | 21.6
26 | 27/11/2015 | 7:00:00 a.m. | 524570 | 450855 | 21.085 | 0 | 306.976 | 21.2 | 771.9 | 1199.3 | 302.762 | 311.674 | 21.9
25 | 26/11/2015 | 7:00:00 a.m. | 506160 | 449988 | 21.1661 | 0 | 306.185 | 21.3 | 842.3 | 1227.2 | 302.512 | 310.989 | 22.2
24 | 25/11/2015 | 7:00:00 a.m. | 486124 | 449042 | 21.17 | 0 | 306.36 | 21.7 | 806.9 | 1215.3 | 302.238 | 311.569 | 22.7
23 | 24/11/2015 | 7:00:00 a.m. | 466892 | 448133 | 21.4664 | 0 | 306.682 | 21.8 | 788.4 | 1201.5 | 302.596 | 312.071 | 23.4
22 | 23/11/2015 | 7:00:00 a.m. | 448092 | 447245 | 21.4647 | 0 | 310.418 | 22.3 | 257.4 | 1091.5 | 304.377 | 312.382 | 25.6
21 | 22/11/2015 | 7:00:00 a.m. | 441962 | 446959 | 21.0371 | 0 | 306.266 | 22.4 | 706.8 | 1192.2 | 301.654 | 311.461 | 24.1
20 | 21/11/2015 | 7:00:00 a.m. | 425117 | 446160 | 21.2448 | 0 | 305.975 | 22.3 | 772.4 | 1221.5 | 301.705 | 311.607 | 23.8
19 | 20/11/2015 | 7:00:00 a.m. | 406698 | 445286 | 21.4455 | 0 | 306.873 | 22.1 | 753.4 | 1233.3 | 302.716 | 311.835 | 23.6
18 | 19/11/2015 | 7:00:00 a.m. | 388762 | 444438 | 21.2173 | 0 | 307.095 | 22.1 | 821.7 | 1279 | 303.136 | 312.498 | 23.6
17 | 18/11/2015 | 7:00:00 a.m. | 369180 | 443513 | 21.3532 | 0 | 307.857 | 22 | 842.5 | 1270.9 | 303.584 | 314.267 | 23.3
16 | 17/11/2015 | 7:00:00 a.m. | 349100 | 442567 | 21.7219 | 0 | 312.349 | 21 | 344 | 669.1 | 308.415 | 315.473 | 22.8
15 | 16/11/2015 | 7:00:00 a.m. | 340882 | 442187 | 21.4147 | 0 | 312.694 | 21.4 | 239.9 | 903 | 306.916 | 315.64 | 23.4
14 | 15/11/2015 | 7:00:00 a.m. | 335159 | 441922 | 21.7242 | 0 | 308.787 | 22.7 | 720.6 | 1265.1 | 303.178 | 314.743 | 24.3
13 | 14/11/2015 | 7:00:00 a.m. | 318066 | 441117 | 21.2522 | 0 | 307.96 | 22.9 | 820.9 | 1280.3 | 303.808 | 313.573 | 24.4
12 | 13/11/2015 | 7:00:00 a.m. | 298478 | 440192 | 21.1856 | 0 | 308.444 | 23 | 776.6 | 1244.7 | 303.967 | 313.979 | 24.7
11 | 12/11/2015 | 7:00:00 a.m. | 279972 | 439319 | 21.3328 | 0 | 308.948 | 23 | 785.6 | 1245 | 304.475 | 314.524 | 24.3
10 | 11/11/2015 | 7:00:00 a.m. | 261233 | 438436 | 21.4412 | 0 | 308.827 | 23 | 843.7 | 1328.2 | 304.409 | 314.507 | 23.9
9 | 10/11/2015 | 7:00:00 a.m. | 241110 | 437488 | 20.9794 | 0 | 308.363 | 23.4 | 895.1 | 1445.9 | 303.355 | 314.882 | 24.6
8 | 09/11/2015 | 7:00:00 a.m. | 219725 | 436477 | 21.6385 | 0 | 312.979 | 23.2 | 374.9 | 1012.5 | 307.251 | 316.509 | 25.7
7 | 08/11/2015 | 7:00:00 a.m. | 210817 | 436062 | 21.4457 | 0 | 310.321 | 23.8 | 746.7 | 1062.7 | 306.246 | 315.295 | 25.5
6 | 07/11/2015 | 7:00:00 a.m. | 192999 | 435224 | 21.4469 | 0 | 310.404 | 24.1 | 751.4 | 1132.4 | 306.347 | 315.748 | 25.3
5 | 06/11/2015 | 7:00:00 a.m. | 175110 | 434382 | 21.2408 | 0 | 309.81 | 24 | 765.3 | 1137.7 | 305.283 | 315.119 | 25.4
4 | 05/11/2015 | 7:00:00 a.m. | 156845 | 433521 | 21.1991 | 0 | 309.141 | 24.1 | 805.1 | 1080.4 | 305.969 | 313.681 | 25
3 | 04/11/2015 | 7:00:00 a.m. | 137620 | 432613 | 21.1076 | 0 | 308.941 | 24.1 | 769.1 | 1108.9 | 305.317 | 314.122 | 24.9
2 | 03/11/2015 | 7:00:00 a.m. | 119284 | 431746 | 21.024 | 0 | 307.8 | 24.7 | 773.7 | 1140.3 | 304.62 | 312.118 | 25.9
1 | 02/11/2015 | 7:00:00 a.m. | 100786 | 430866 | 21.3682 | 0 | 310.678 | 24.7 | 301.5 | 745.9 | 307.505 | 314.757 | 28.5

## diciembre
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/12/2015 | 2:53:30 p.m. | 19 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
3 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
24 | 01/01/2016 | 7:00:00 a.m. | 981491 | 472357 | 24.6487 | 0 | 326.621 | 11.8 | 10.9 | 65 | 1.0551 | 304.845 | 333.604 | 332.748 | 3.8 | 19.9 | 6 | 5.22
23 | 31/12/2015 | 7:00:00 a.m. | 981231 | 472345 | 24.943 | 0 | 326.6 | 11.3 | 3.7 | 63.3 | 1.057 | 306.303 | 333.657 | 333.579 | 3.8 | 21.6 | 3.8 | 5.22
22 | 30/12/2015 | 7:00:00 a.m. | 981097 | 472339 | 23.2455 | 0 | 317.93 | 11.5 | 20.8 | 215.5 | 1.0513 | 305.188 | 334.073 | 316.138 | 3.7 | 20 | 7 | 5.22
21 | 29/12/2015 | 7:00:00 a.m. | 980497 | 472312 | 24.6036 | 0 | 328.721 | 9.5 | 0 | 0 | 1.0561 | 314.268 | 333.656 | 329.436 | 2.3 | 15.9 | 4 | 5.22
20 | 28/12/2015 | 7:00:00 a.m. | 980473 | 472311 | 25.0259 | 0 | 332.696 | 8.3 | 0 | 0 | 1.058 | 331.454 | 333.722 | 332.479 | 0.8 | 18.3 | 2.3 | 5.23
19 | 27/12/2015 | 7:00:00 a.m. | 980473 | 472311 | 25.2445 | 0 | 324.307 | 10.1 | 21.3 | 104.9 | 1.0593 | 308.287 | 334.153 | 333.152 | 0.8 | 19 | 0.8 | 5.21
18 | 26/12/2015 | 7:00:00 a.m. | 980011 | 472290 | 22.4784 | 0 | 332.153 | 9.8 | 1 | 105 | 1.0479 | 306.457 | 333.621 | 310.175 | 2.4 | 18.1 | 10.2 | 5.22
17 | 25/12/2015 | 7:00:00 a.m. | 979942 | 472287 | 24.4153 | 0 | 326.537 | 14.2 | 24.2 | 332.9 | 1.0531 | 306.291 | 333.668 | 333.29 | 8.5 | 21.3 | 8.6 | 5.24
16 | 24/12/2015 | 7:00:00 a.m. | 979442 | 472264 | 21.6667 | 0 | 308.666 | 17.9 | 322.6 | 1031.2 | 1.0432 | 301.978 | 312.027 | 307.892 | 16.5 | 19.3 | 17.3 | 5.25
15 | 23/12/2015 | 7:00:00 a.m. | 971784 | 471909 | 21.6728 | 0 | 306.159 | 18.5 | 650.8 | 1164.1 | 1.0428 | 301.644 | 310.051 | 308.959 | 18.1 | 18.8 | 18.2 | 5.26
14 | 22/12/2015 | 7:00:00 a.m. | 956312 | 471186 | 21.2978 | 0 | 305.708 | 18.7 | 798.7 | 1279.3 | 1.0419 | 300.894 | 310.902 | 304.192 | 17.6 | 19.6 | 18.5 | 5.25
13 | 21/12/2015 | 7:00:00 a.m. | 937264 | 470294 | 21.5918 | 0 | 310.378 | 17.7 | 248.3 | 767.7 | 1.0428 | 305.721 | 312.725 | 307.389 | 16.1 | 19.7 | 17.8 | 5.24
12 | 20/12/2015 | 7:00:00 a.m. | 931317 | 470021 | 21.9219 | 0 | 306.804 | 18.7 | 720.8 | 1208.9 | 1.0437 | 302.03 | 311.648 | 311.257 | 17.2 | 19.9 | 17.2 | 5.25
11 | 19/12/2015 | 7:00:00 a.m. | 914128 | 469218 | 21.6301 | 0 | 306.2 | 18.9 | 816.4 | 1185.1 | 1.0427 | 301.992 | 310.79 | 308.375 | 17.9 | 20.4 | 18.2 | 5.25
10 | 18/12/2015 | 7:00:00 a.m. | 894671 | 468308 | 21.5769 | 0 | 305.763 | 19.1 | 858.8 | 1252.9 | 1.0424 | 302.062 | 311.082 | 308.217 | 17.9 | 20.2 | 18.6 | 5.25
9 | 17/12/2015 | 7:00:00 a.m. | 874248 | 467351 | 21.6825 | 0 | 305.833 | 19 | 808.3 | 1221 | 1.0427 | 300.506 | 310.703 | 309.298 | 18.1 | 20.3 | 18.3 | 5.24
8 | 16/12/2015 | 7:00:00 a.m. | 854972 | 466448 | 21.3777 | 0 | 305.093 | 19.1 | 793.4 | 1207.9 | 1.0421 | 300.897 | 309.681 | 305.286 | 17.8 | 20.5 | 18.5 | 5.24
7 | 15/12/2015 | 7:00:00 a.m. | 836078 | 465560 | 21.3128 | 0 | 305.016 | 19.3 | 811.9 | 1250.1 | 1.0418 | 301.059 | 309.837 | 304.805 | 18.2 | 20.3 | 18.8 | 5.25
6 | 14/12/2015 | 7:00:00 a.m. | 816712 | 464649 | 21.5729 | 0 | 308.487 | 19.3 | 304.6 | 831.7 | 1.0424 | 304.449 | 315.895 | 308.187 | 17.5 | 21.1 | 18.7 | 5.26
5 | 13/12/2015 | 7:00:00 a.m. | 809462 | 464312 | 21.7345 | 0 | 305.779 | 19.4 | 735.2 | 1263.8 | 1.0431 | 301.158 | 310.782 | 309.411 | 17.7 | 20.7 | 17.8 | 5.26
4 | 12/12/2015 | 7:00:00 a.m. | 791954 | 463489 | 21.3741 | 0 | 306.412 | 19.3 | 636.5 | 1182.2 | 1.0418 | 301.228 | 311.178 | 305.825 | 17.6 | 20.3 | 19 | 5.25
3 | 11/12/2015 | 7:00:00 a.m. | 776812 | 462778 | 21.0483 | 0 | 304.003 | 20.2 | 784.8 | 1161.6 | 1.0408 | 300.224 | 308.492 | 302.412 | 19.3 | 21.1 | 19.9 | 5.28
2 | 10/12/2015 | 7:00:00 a.m. | 758081 | 461891 | 21.1856 | 0 | 304.036 | 20.1 | 815.6 | 1226.6 | 1.0413 | 300.471 | 309.21 | 303.745 | 19 | 21.5 | 19.4 | 5.26
1 | 09/12/2015 | 7:00:00 a.m. | 738608 | 460969 | 21.1243 | 0 | 304.117 | 20.2 | 867 | 1207.2 | 1.041 | 301.261 | 308.58 | 303.357 | 19.4 | 21.7 | 19.8 | 5.27
35 | 08/12/2015 | 7:00:00 a.m. | 718078 | 459997 | 21.2236 | 0 | 304.19 | 20.3 | 849.2 | 1220.5 | 301.048 | 309.861 | 21.4
34 | 07/12/2015 | 7:00:00 a.m. | 697800 | 459037 | 21.44 | 0 | 307.247 | 20.3 | 342.2 | 994.9 | 302.397 | 310.599 | 23.6
33 | 06/12/2015 | 7:00:00 a.m. | 689642 | 458655 | 21.5035 | 0 | 304.11 | 20.5 | 795.3 | 1210.1 | 299.708 | 308.866 | 21.9
32 | 05/12/2015 | 7:00:00 a.m. | 670669 | 457755 | 21.3135 | 0 | 304.495 | 20.2 | 858.6 | 1278.1 | 300.661 | 310.313 | 21.2
31 | 04/12/2015 | 7:00:00 a.m. | 650199 | 456787 | 21.2385 | 0 | 304.665 | 20.5 | 840.4 | 1196.7 | 300.921 | 309.294 | 22.3
30 | 03/12/2015 | 7:00:00 a.m. | 630092 | 455836 | 21.3014 | 0 | 304.082 | 20.9 | 856.5 | 1202.8 | 300.37 | 308.515 | 22.5
29 | 02/12/2015 | 7:00:00 a.m. | 609636 | 454865 | 21.0944 | 0 | 304.483 | 20.7 | 860.3 | 1340.1 | 300.835 | 309.407 | 22
28 | 01/12/2015 | 7:00:00 a.m. | 589097 | 453892 | 21.1867 | 0 | 305.661 | 20.7 | 774.5 | 1199.6 | 301.535 | 310.757 | 22.2