## Saporis horario 073116 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 648
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 2:57:40 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
648 | 01/08/2016 | 10:00:00 a.m. | 1433073 | 438209 | 7.137 | 0 | 89.192 | 24 | 125.2 | 5.76
647 | 01/08/2016 | 9:00:00 a.m. | 1433020 | 438202 | 7.0272 | 0 | 89.753 | 23.2 | 161.7 | 5.75
646 | 01/08/2016 | 8:00:00 a.m. | 1432958 | 438193 | 7.1844 | 0 | 90.275 | 22.7 | 56.5 | 5.75
645 | 01/08/2016 | 7:00:00 a.m. | 1432914 | 438187 | 7.2152 | 0 | 90.427 | 24.4 | 117.4 | 5.75
644 | 01/08/2016 | 6:00:00 a.m. | 1432811 | 438172 | 7.1538 | 0 | 90.451 | 24.3 | 123.2 | 5.75
643 | 01/08/2016 | 5:00:00 a.m. | 1432704 | 438157 | 7.1391 | 0 | 90.673 | 19.2 | 163 | 5.76
642 | 01/08/2016 | 4:00:00 a.m. | 1432653 | 438150 | 7.4048 | 0 | 90.972 | 16.7 | 1.1 | 5.75
641 | 01/08/2016 | 3:00:00 a.m. | 1432653 | 438150 | 7.3517 | 0 | 90.716 | 21.7 | 162.6 | 5.76
640 | 01/08/2016 | 2:00:00 a.m. | 1432622 | 438146 | 7.1431 | 0 | 90.441 | 23.7 | 95.9 | 5.75
639 | 01/08/2016 | 1:00:00 a.m. | 1432546 | 438135 | 7.0913 | 0 | 90.425 | 24.5 | 163 | 5.76
638 | 01/08/2016 | 12:00:00 a.m. | 1432423 | 438118 | 7.1222 | 0 | 90.716 | 17.2 | 163.2 | 5.75
637 | 31/07/2016 | 11:00:00 p.m. | 1432396 | 438114 | 7.4252 | 0 | 90.768 | 16 | 0 | 5.76
636 | 31/07/2016 | 10:00:00 p.m. | 1432396 | 438114 | 7.3893 | 0 | 90.922 | 15.9 | 0 | 5.76
635 | 31/07/2016 | 9:00:00 p.m. | 1432396 | 438114 | 7.3993 | 0 | 90.926 | 15.9 | 0 | 5.76
634 | 31/07/2016 | 8:00:00 p.m. | 1432396 | 438114 | 7.4051 | 0 | 90.972 | 16.2 | 0 | 5.76
633 | 31/07/2016 | 7:00:00 p.m. | 1432396 | 438114 | 7.4348 | 0 | 91.232 | 16.5 | 0 | 5.76
632 | 31/07/2016 | 6:00:00 p.m. | 1432396 | 438114 | 7.4084 | 0 | 91.072 | 16.8 | 0 | 5.76
631 | 31/07/2016 | 5:00:00 p.m. | 1432396 | 438114 | 7.4856 | 0 | 90.197 | 26.3 | 0 | 5.77
630 | 31/07/2016 | 4:00:00 p.m. | 1432396 | 438114 | 6.9831 | 0 | 89.771 | 28.3 | 6.1 | 5.78
629 | 31/07/2016 | 3:00:00 p.m. | 1432396 | 438114 | 7.0897 | 0 | 89.825 | 26.8 | 159.5 | 5.78
628 | 31/07/2016 | 2:00:00 p.m. | 1432392 | 438114 | 7.0804 | 0 | 89.823 | 26.8 | 160.1 | 5.78
627 | 31/07/2016 | 1:00:00 p.m. | 1432387 | 438113 | 7.0418 | 0 | 89.691 | 29.3 | 161.1 | 5.78
626 | 31/07/2016 | 12:00:00 p.m. | 1432380 | 438112 | 6.9922 | 0 | 89.749 | 26.7 | 159.9 | 5.78
625 | 31/07/2016 | 11:00:00 a.m. | 1432375 | 438111 | 7.1594 | 0 | 89.926 | 22.9 | 160.4 | 5.77
624 | 31/07/2016 | 10:00:00 a.m. | 1432370 | 438111 | 7.1849 | 0 | 89.997 | 21.6 | 15.2 | 5.77
623 | 31/07/2016 | 9:00:00 a.m. | 1432370 | 438111 | 7.1604 | 0 | 89.868 | 17.1 | 162.7 | 5.76
622 | 31/07/2016 | 8:00:00 a.m. | 1432342 | 438107 | 7.3486 | 0 | 90.136 | 15.4 | 0 | 5.75
621 | 31/07/2016 | 7:00:00 a.m. | 1432342 | 438107 | 7.3961 | 0 | 90.183 | 15.3 | 0 | 5.76
620 | 31/07/2016 | 6:00:00 a.m. | 1432342 | 438107 | 7.4258 | 0 | 90.144 | 15.3 | 0 | 5.75
619 | 31/07/2016 | 5:00:00 a.m. | 1432342 | 438107 | 7.3599 | 0 | 90.263 | 15.6 | 0 | 5.76
618 | 31/07/2016 | 4:00:00 a.m. | 1432342 | 438107 | 7.3682 | 0 | 90.302 | 15.3 | 0 | 5.76
617 | 31/07/2016 | 3:00:00 a.m. | 1432342 | 438107 | 7.3614 | 0 | 90.225 | 15.2 | 0 | 5.76
616 | 31/07/2016 | 2:00:00 a.m. | 1432342 | 438107 | 7.3776 | 0 | 90.117 | 15.3 | 0 | 5.76
615 | 31/07/2016 | 1:00:00 a.m. | 1432342 | 438107 | 7.4097 | 0 | 90.131 | 16 | 0 | 5.76
614 | 31/07/2016 | 12:00:00 a.m. | 1432342 | 438107 | 7.3403 | 0 | 90.224 | 17.7 | 0.9 | 5.76
613 | 30/07/2016 | 11:00:00 p.m. | 1432342 | 438107 | 7.261 | 0 | 90.15 | 22 | 160.7 | 5.76
612 | 30/07/2016 | 10:00:00 p.m. | 1432316 | 438103 | 7.0843 | 0 | 89.653 | 24.6 | 108 | 5.76
611 | 30/07/2016 | 9:00:00 p.m. | 1432213 | 438089 | 7.1057 | 0 | 89.946 | 22.6 | 104.7 | 5.76
610 | 30/07/2016 | 8:00:00 p.m. | 1432170 | 438083 | 7.2211 | 0 | 90.084 | 21.8 | 46.3 | 5.76
609 | 30/07/2016 | 7:00:00 p.m. | 1432130 | 438077 | 7.224 | 0 | 89.998 | 22.1 | 54.8 | 5.76
608 | 30/07/2016 | 6:00:00 p.m. | 1432090 | 438072 | 7.1385 | 0 | 89.767 | 24.8 | 54.2 | 5.77
607 | 30/07/2016 | 5:00:00 p.m. | 1432049 | 438066 | 7.0707 | 0 | 89.436 | 27.6 | 114.6 | 5.78
606 | 30/07/2016 | 4:00:00 p.m. | 1431995 | 438058 | 7.0279 | 0 | 89.337 | 27.6 | 129.3 | 5.78
605 | 30/07/2016 | 3:00:00 p.m. | 1431925 | 438048 | 7.0011 | 0 | 89.393 | 27.8 | 136.9 | 5.78
604 | 30/07/2016 | 2:00:00 p.m. | 1431868 | 438040 | 7.0057 | 0 | 89.262 | 26.9 | 73 | 5.78
603 | 30/07/2016 | 1:00:00 p.m. | 1431815 | 438032 | 7.0003 | 0 | 89.301 | 26.9 | 87.4 | 5.78
602 | 30/07/2016 | 12:00:00 p.m. | 1431780 | 438027 | 7.0159 | 0 | 88.923 | 26 | 160.4 | 5.77
601 | 30/07/2016 | 11:00:00 a.m. | 1431656 | 438010 | 7.0233 | 0 | 88.962 | 25.2 | 159.9 | 5.76
600 | 30/07/2016 | 10:00:00 a.m. | 1431529 | 437992 | 7.1069 | 0 | 89.571 | 23.3 | 96.4 | 5.76
599 | 30/07/2016 | 9:00:00 a.m. | 1431488 | 437986 | 7.1703 | 0 | 89.779 | 22.9 | 162.1 | 5.76
598 | 30/07/2016 | 8:00:00 a.m. | 1431452 | 437981 | 7.0918 | 0 | 89.806 | 24.4 | 107.2 | 5.75
597 | 30/07/2016 | 7:00:00 a.m. | 1431353 | 437967 | 7.1189 | 0 | 89.656 | 24.1 | 107.2 | 5.75
596 | 30/07/2016 | 6:00:00 a.m. | 1431259 | 437954 | 7.1205 | 0 | 89.61 | 20.1 | 163.7 | 5.75
595 | 30/07/2016 | 5:00:00 a.m. | 1431173 | 437942 | 7.3757 | 0 | 90.171 | 14.5 | 0 | 5.76
594 | 30/07/2016 | 4:00:00 a.m. | 1431173 | 437942 | 7.398 | 0 | 90.215 | 15.8 | 0 | 5.76
593 | 30/07/2016 | 3:00:00 a.m. | 1431173 | 437942 | 7.3465 | 0 | 90.46 | 16.7 | 0 | 5.76
592 | 30/07/2016 | 2:00:00 a.m. | 1431173 | 437942 | 7.355 | 0 | 90.256 | 17 | 1.1 | 5.76
591 | 30/07/2016 | 1:00:00 a.m. | 1431173 | 437942 | 7.315 | 0 | 90.221 | 19 | 11.6 | 5.76
590 | 30/07/2016 | 12:00:00 a.m. | 1431168 | 437941 | 7.2146 | 0 | 89.959 | 20.7 | 11.6 | 5.76
589 | 29/07/2016 | 11:00:00 p.m. | 1431157 | 437939 | 7.2123 | 0 | 89.839 | 21 | 11.7 | 5.76
588 | 29/07/2016 | 10:00:00 p.m. | 1431145 | 437938 | 7.1974 | 0 | 89.875 | 19.6 | 13.2 | 5.76
587 | 29/07/2016 | 9:00:00 p.m. | 1431140 | 437937 | 7.2736 | 0 | 90.119 | 19.2 | 1.7 | 5.77
586 | 29/07/2016 | 8:00:00 p.m. | 1431140 | 437937 | 7.264 | 0 | 89.871 | 23.5 | 162.5 | 5.77
585 | 29/07/2016 | 7:00:00 p.m. | 1431069 | 437927 | 7.0456 | 0 | 89.493 | 25.9 | 162.1 | 5.77
584 | 29/07/2016 | 6:00:00 p.m. | 1430935 | 437908 | 7.0367 | 0 | 89.463 | 27 | 121.5 | 5.78
583 | 29/07/2016 | 5:00:00 p.m. | 1430824 | 437892 | 7.065 | 0 | 89.528 | 26.5 | 162.7 | 5.78
582 | 29/07/2016 | 4:00:00 p.m. | 1430701 | 437875 | 7.0139 | 0 | 89.406 | 26.7 | 289 | 5.78
581 | 29/07/2016 | 3:00:00 p.m. | 1430593 | 437859 | 6.9394 | 0 | 89.072 | 27 | 279.5 | 5.78
580 | 29/07/2016 | 2:00:00 p.m. | 1430436 | 437837 | 7.0022 | 0 | 89.112 | 27 | 153.5 | 5.78
579 | 29/07/2016 | 1:00:00 p.m. | 1430288 | 437816 | 7.0117 | 0 | 89.113 | 26.9 | 160.9 | 5.78
578 | 29/07/2016 | 12:00:00 p.m. | 1430136 | 437794 | 7.0264 | 0 | 89.63 | 27 | 122 | 5.78
577 | 29/07/2016 | 11:00:00 a.m. | 1430085 | 437787 | 7.0533 | 0 | 89.772 | 25.3 | 25.9 | 5.78
576 | 29/07/2016 | 10:00:00 a.m. | 1430062 | 437783 | 7.1244 | 0 | 89.839 | 22.4 | 31.4 | 5.76
575 | 29/07/2016 | 9:00:00 a.m. | 1430038 | 437780 | 7.2133 | 0 | 90.264 | 16.4 | 163.9 | 5.75
574 | 29/07/2016 | 8:00:00 a.m. | 1430014 | 437777 | 7.4666 | 0 | 90.545 | 12.2 | 0 | 5.75
573 | 29/07/2016 | 7:00:00 a.m. | 1430014 | 437777 | 7.4791 | 0 | 90.651 | 14.2 | 1.5 | 5.75
572 | 29/07/2016 | 6:00:00 a.m. | 1430014 | 437777 | 7.3584 | 0 | 90.207 | 21.7 | 162.1 | 5.75
571 | 29/07/2016 | 5:00:00 a.m. | 1429959 | 437769 | 7.1127 | 0 | 89.823 | 24.3 | 120.9 | 5.75
570 | 29/07/2016 | 4:00:00 a.m. | 1429844 | 437753 | 7.125 | 0 | 90.117 | 24.5 | 119.5 | 5.75
569 | 29/07/2016 | 3:00:00 a.m. | 1429729 | 437737 | 7.1142 | 0 | 89.824 | 24.5 | 120.1 | 5.75
568 | 29/07/2016 | 2:00:00 a.m. | 1429616 | 437721 | 7.1051 | 0 | 89.826 | 24.7 | 119.5 | 5.76
567 | 29/07/2016 | 1:00:00 a.m. | 1429505 | 437705 | 7.1085 | 0 | 89.815 | 24.5 | 123.4 | 5.76
566 | 29/07/2016 | 12:00:00 a.m. | 1429399 | 437690 | 7.1627 | 0 | 90.306 | 22 | 161.5 | 5.76
565 | 28/07/2016 | 11:00:00 p.m. | 1429365 | 437686 | 7.1136 | 0 | 89.956 | 24.7 | 118.6 | 5.76
564 | 28/07/2016 | 10:00:00 p.m. | 1429255 | 437670 | 7.1294 | 0 | 89.902 | 24.8 | 114.7 | 5.76
563 | 28/07/2016 | 9:00:00 p.m. | 1429149 | 437655 | 7.0991 | 0 | 89.873 | 25 | 114.1 | 5.76
562 | 28/07/2016 | 8:00:00 p.m. | 1429044 | 437640 | 7.1316 | 0 | 89.993 | 24.5 | 160.7 | 5.77
561 | 28/07/2016 | 7:00:00 p.m. | 1428965 | 437629 | 7.1497 | 0 | 90.276 | 24.3 | 0 | 5.78
560 | 28/07/2016 | 6:00:00 p.m. | 1428965 | 437629 | 7.1854 | 0 | 90.279 | 24.9 | 29.2 | 5.78
559 | 28/07/2016 | 5:00:00 p.m. | 1428965 | 437629 | 7.1244 | 0 | 89.565 | 27 | 213.1 | 5.78
558 | 28/07/2016 | 4:00:00 p.m. | 1428857 | 437614 | 6.9516 | 0 | 89.949 | 34.2 | 0 | 5.78
557 | 28/07/2016 | 3:00:00 p.m. | 1428857 | 437614 | 6.7856 | 0 | 89.814 | 36.1 | 0 | 5.78
556 | 28/07/2016 | 2:00:00 p.m. | 1428857 | 437614 | 6.8646 | 0 | 89.924 | 34.2 | 0 | 5.78
555 | 28/07/2016 | 1:00:00 p.m. | 1428857 | 437614 | 6.902 | 0 | 89.654 | 30.9 | 1.9 | 5.78
554 | 28/07/2016 | 12:00:00 p.m. | 1428857 | 437614 | 7.009 | 0 | 89.447 | 26.7 | 144.8 | 5.78
553 | 28/07/2016 | 11:00:00 a.m. | 1428786 | 437604 | 7.0397 | 0 | 90.188 | 23.1 | 160.9 | 5.77
552 | 28/07/2016 | 10:00:00 a.m. | 1428744 | 437598 | 7.2904 | 0 | 90.59 | 18.5 | 0 | 5.77
551 | 28/07/2016 | 9:00:00 a.m. | 1428744 | 437598 | 7.3873 | 0 | 90.774 | 17 | 1.7 | 5.76
550 | 28/07/2016 | 8:00:00 a.m. | 1428744 | 437598 | 7.346 | 0 | 89.912 | 22.2 | 134.7 | 5.75
549 | 28/07/2016 | 7:00:00 a.m. | 1428680 | 437589 | 7.1836 | 0 | 89.994 | 23.4 | 109.1 | 5.75
548 | 28/07/2016 | 6:00:00 a.m. | 1428610 | 437579 | 7.0767 | 0 | 89.706 | 20.4 | 162.5 | 5.75
547 | 28/07/2016 | 5:00:00 a.m. | 1428527 | 437568 | 7.3986 | 0 | 90.117 | 14.5 | 0 | 5.76
546 | 28/07/2016 | 4:00:00 a.m. | 1428527 | 437568 | 7.3955 | 0 | 90.12 | 14.5 | 0 | 5.76
545 | 28/07/2016 | 3:00:00 a.m. | 1428527 | 437568 | 7.442 | 0 | 90.194 | 14.2 | 0 | 5.76
544 | 28/07/2016 | 2:00:00 a.m. | 1428527 | 437568 | 7.3924 | 0 | 90.162 | 15.4 | 0 | 5.76
543 | 28/07/2016 | 1:00:00 a.m. | 1428527 | 437568 | 7.3305 | 0 | 90.162 | 17.7 | 0.8 | 5.76
542 | 28/07/2016 | 12:00:00 a.m. | 1428527 | 437568 | 7.285 | 0 | 90.203 | 20.9 | 111.9 | 5.76
541 | 27/07/2016 | 11:00:00 p.m. | 1428518 | 437566 | 7.091 | 0 | 89.752 | 24.6 | 113.9 | 5.76
540 | 27/07/2016 | 10:00:00 p.m. | 1428415 | 437552 | 7.0949 | 0 | 89.738 | 23.9 | 117.4 | 5.76
539 | 27/07/2016 | 9:00:00 p.m. | 1428313 | 437537 | 7.1277 | 0 | 89.798 | 23.3 | 117.8 | 5.76
538 | 27/07/2016 | 8:00:00 p.m. | 1428208 | 437523 | 7.1618 | 0 | 90.068 | 24.4 | 121.2 | 5.77
537 | 27/07/2016 | 7:00:00 p.m. | 1428119 | 437510 | 7.0803 | 0 | 89.986 | 26.1 | 147 | 5.78
536 | 27/07/2016 | 6:00:00 p.m. | 1428033 | 437498 | 7.1167 | 0 | 90.249 | 27 | 47 | 5.78
535 | 27/07/2016 | 5:00:00 p.m. | 1428004 | 437494 | 7.0083 | 0 | 89.625 | 29 | 108.8 | 5.79
534 | 27/07/2016 | 4:00:00 p.m. | 1427959 | 437488 | 7.0239 | 0 | 89.5 | 28.9 | 152.3 | 5.78
533 | 27/07/2016 | 3:00:00 p.m. | 1427911 | 437481 | 6.9611 | 0 | 89.579 | 29.8 | 22.3 | 5.78
532 | 27/07/2016 | 2:00:00 p.m. | 1427890 | 437478 | 6.9993 | 0 | 89.718 | 28.8 | 23.1 | 5.78
531 | 27/07/2016 | 1:00:00 p.m. | 1427870 | 437475 | 7.0628 | 0 | 89.343 | 27.6 | 159.5 | 5.78
530 | 27/07/2016 | 12:00:00 p.m. | 1427778 | 437462 | 6.9813 | 0 | 88.874 | 26.8 | 158.9 | 5.78
529 | 27/07/2016 | 11:00:00 a.m. | 1427653 | 437444 | 6.9596 | 0 | 89.285 | 26.2 | 158.5 | 5.78
528 | 27/07/2016 | 10:00:00 a.m. | 1427584 | 437434 | 7.071 | 0 | 89.442 | 24.7 | 159.8 | 5.77
527 | 27/07/2016 | 9:00:00 a.m. | 1427524 | 437425 | 7.1256 | 0 | 89.788 | 23.1 | 160.4 | 5.76
526 | 27/07/2016 | 8:00:00 a.m. | 1427473 | 437418 | 7.0924 | 0 | 90.071 | 23 | 160.4 | 5.76
525 | 27/07/2016 | 7:00:00 a.m. | 1427418 | 437410 | 7.0977 | 0 | 89.582 | 24.7 | 160.9 | 5.76
524 | 27/07/2016 | 6:00:00 a.m. | 1427302 | 437394 | 7.068 | 0 | 89.751 | 24.5 | 160.9 | 5.76
523 | 27/07/2016 | 5:00:00 a.m. | 1427187 | 437378 | 7.2315 | 0 | 89.902 | 24.5 | 161.3 | 5.76
522 | 27/07/2016 | 4:00:00 a.m. | 1427080 | 437363 | 7.0689 | 0 | 89.674 | 24.6 | 161.1 | 5.76
521 | 27/07/2016 | 3:00:00 a.m. | 1426964 | 437346 | 7.0716 | 0 | 89.849 | 24.5 | 161.1 | 5.76
520 | 27/07/2016 | 2:00:00 a.m. | 1426861 | 437332 | 7.0691 | 0 | 89.85 | 24.1 | 160.5 | 5.76
519 | 27/07/2016 | 1:00:00 a.m. | 1426781 | 437321 | 7.1424 | 0 | 89.968 | 24.1 | 161 | 5.76
518 | 27/07/2016 | 12:00:00 a.m. | 1426705 | 437310 | 7.1363 | 0 | 90.145 | 19.7 | 160.8 | 5.76
517 | 26/07/2016 | 11:00:00 p.m. | 1426643 | 437301 | 7.3666 | 0 | 90.598 | 18.1 | 0 | 5.77
516 | 26/07/2016 | 10:00:00 p.m. | 1426643 | 437301 | 7.3135 | 0 | 90.283 | 21.3 | 12.8 | 5.77
515 | 26/07/2016 | 9:00:00 p.m. | 1426643 | 437301 | 7.196 | 0 | 89.836 | 25.4 | 160.3 | 5.77
514 | 26/07/2016 | 8:00:00 p.m. | 1426543 | 437287 | 7.0941 | 0 | 89.51 | 25.8 | 130 | 5.78
513 | 26/07/2016 | 7:00:00 p.m. | 1426468 | 437276 | 7.0457 | 0 | 89.638 | 26.8 | 152.4 | 5.78
512 | 26/07/2016 | 6:00:00 p.m. | 1426425 | 437270 | 7.0481 | 0 | 89.651 | 27.9 | 92.1 | 5.78
511 | 26/07/2016 | 5:00:00 p.m. | 1426391 | 437265 | 7.03 | 0 | 89.637 | 29.5 | 22 | 5.78
510 | 26/07/2016 | 4:00:00 p.m. | 1426369 | 437262 | 6.966 | 0 | 89.585 | 29.5 | 21.7 | 5.79
509 | 26/07/2016 | 3:00:00 p.m. | 1426347 | 437259 | 6.974 | 0 | 89.611 | 28.9 | 21.7 | 5.78
508 | 26/07/2016 | 2:00:00 p.m. | 1426326 | 437256 | 6.9808 | 0 | 89.219 | 27.6 | 121.3 | 5.78
507 | 26/07/2016 | 1:00:00 p.m. | 1426243 | 437244 | 6.9923 | 0 | 89.093 | 26.4 | 121.7 | 5.78
506 | 26/07/2016 | 12:00:00 p.m. | 1426130 | 437228 | 7.0322 | 0 | 89.064 | 26.5 | 122.1 | 5.78
505 | 26/07/2016 | 11:00:00 a.m. | 1426017 | 437212 | 7.0094 | 0 | 88.972 | 25.8 | 122.1 | 5.77
504 | 26/07/2016 | 10:00:00 a.m. | 1425903 | 437196 | 7.0165 | 0 | 89.162 | 24.8 | 150 | 5.77
503 | 26/07/2016 | 9:00:00 a.m. | 1425797 | 437181 | 7.1551 | 0 | 89.808 | 20.5 | 160.5 | 5.76
502 | 26/07/2016 | 8:00:00 a.m. | 1425767 | 437177 | 7.2674 | 0 | 90.057 | 15.6 | 16.8 | 5.76
501 | 26/07/2016 | 7:00:00 a.m. | 1425765 | 437176 | 7.3654 | 0 | 90.274 | 16.3 | 0 | 5.76
500 | 26/07/2016 | 6:00:00 a.m. | 1425765 | 437176 | 7.3535 | 0 | 90.428 | 16.6 | 0 | 5.76
499 | 26/07/2016 | 5:00:00 a.m. | 1425765 | 437176 | 7.3806 | 0 | 90.278 | 16.1 | 0 | 5.76
498 | 26/07/2016 | 4:00:00 a.m. | 1425765 | 437176 | 7.3274 | 0 | 90.194 | 16.3 | 0 | 5.76
497 | 26/07/2016 | 3:00:00 a.m. | 1425765 | 437176 | 7.3256 | 0 | 90.247 | 17.7 | 0.9 | 5.76
496 | 26/07/2016 | 2:00:00 a.m. | 1425765 | 437176 | 7.2684 | 0 | 90.141 | 21.7 | 119.5 | 5.76
495 | 26/07/2016 | 1:00:00 a.m. | 1425740 | 437173 | 7.0768 | 0 | 89.969 | 24.9 | 124.9 | 5.76
494 | 26/07/2016 | 12:00:00 a.m. | 1425630 | 437157 | 7.0934 | 0 | 90.003 | 24.9 | 122.4 | 5.76
493 | 25/07/2016 | 11:00:00 p.m. | 1425521 | 437142 | 7.1185 | 0 | 89.813 | 24.8 | 124.9 | 5.76
492 | 25/07/2016 | 10:00:00 p.m. | 1425412 | 437127 | 7.116 | 0 | 89.784 | 24.7 | 123.8 | 5.76
491 | 25/07/2016 | 9:00:00 p.m. | 1425304 | 437111 | 7.0989 | 0 | 90.006 | 23.9 | 121.7 | 5.76
490 | 25/07/2016 | 8:00:00 p.m. | 1425245 | 437103 | 7.1763 | 0 | 90.254 | 22.2 | 24.3 | 5.77
489 | 25/07/2016 | 7:00:00 p.m. | 1425235 | 437102 | 7.1935 | 0 | 90.372 | 22.2 | 16.9 | 5.77
488 | 25/07/2016 | 6:00:00 p.m. | 1425219 | 437100 | 7.2613 | 0 | 90.05 | 23.1 | 106.5 | 5.78
487 | 25/07/2016 | 5:00:00 p.m. | 1425185 | 437095 | 7.0295 | 0 | 89.654 | 27.4 | 114.3 | 5.78
486 | 25/07/2016 | 4:00:00 p.m. | 1425106 | 437084 | 6.9767 | 0 | 89.766 | 30.6 | 116.1 | 5.79
485 | 25/07/2016 | 3:00:00 p.m. | 1425081 | 437080 | 6.9838 | 0 | 89.839 | 29.4 | 19.6 | 5.78
484 | 25/07/2016 | 2:00:00 p.m. | 1425062 | 437077 | 6.9998 | 0 | 89.339 | 27.4 | 121.9 | 5.78
483 | 25/07/2016 | 1:00:00 p.m. | 1424976 | 437065 | 6.9986 | 0 | 89.411 | 27.4 | 117.3 | 5.78
482 | 25/07/2016 | 12:00:00 p.m. | 1424922 | 437057 | 7.081 | 0 | 89.898 | 25.6 | 36.2 | 5.78
481 | 25/07/2016 | 11:00:00 a.m. | 1424908 | 437055 | 7.1132 | 0 | 89.749 | 24.4 | 21.3 | 5.77
480 | 25/07/2016 | 10:00:00 a.m. | 1424890 | 437053 | 7.1172 | 0 | 89.758 | 23.6 | 132.2 | 5.77
479 | 25/07/2016 | 9:00:00 a.m. | 1424861 | 437049 | 7.1319 | 0 | 90.09 | 25 | 161.7 | 5.76
478 | 25/07/2016 | 8:00:00 a.m. | 1424740 | 437032 | 7.1779 | 0 | 89.987 | 24.6 | 121.1 | 5.76
477 | 25/07/2016 | 7:00:00 a.m. | 1424631 | 437016 | 7.1012 | 0 | 89.886 | 24.3 | 124.7 | 5.75
476 | 25/07/2016 | 6:00:00 a.m. | 1424528 | 437002 | 7.1809 | 0 | 90.582 | 22.3 | 50.9 | 5.76
475 | 25/07/2016 | 5:00:00 a.m. | 1424486 | 436996 | 7.227 | 0 | 90.434 | 22.2 | 160.5 | 5.76
474 | 25/07/2016 | 4:00:00 a.m. | 1424445 | 436990 | 7.1291 | 0 | 90.064 | 24.3 | 107.2 | 5.76
473 | 25/07/2016 | 3:00:00 a.m. | 1424358 | 436978 | 7.1254 | 0 | 90.352 | 23 | 120.3 | 5.76
472 | 25/07/2016 | 2:00:00 a.m. | 1424285 | 436968 | 7.2472 | 0 | 90.314 | 22.1 | 42 | 5.76
471 | 25/07/2016 | 1:00:00 a.m. | 1424250 | 436963 | 7.2179 | 0 | 90.524 | 23.8 | 92.6 | 5.76
470 | 25/07/2016 | 12:00:00 a.m. | 1424202 | 436956 | 7.1562 | 0 | 90.266 | 23.6 | 117.2 | 5.76
469 | 24/07/2016 | 11:00:00 p.m. | 1424148 | 436949 | 7.231 | 0 | 90.853 | 19.5 | 160.7 | 5.76
468 | 24/07/2016 | 10:00:00 p.m. | 1424127 | 436946 | 7.3087 | 0 | 90.823 | 20.3 | 0 | 5.77
467 | 24/07/2016 | 9:00:00 p.m. | 1424127 | 436946 | 7.3127 | 0 | 90.868 | 21.6 | 0.8 | 5.77
466 | 24/07/2016 | 8:00:00 p.m. | 1424127 | 436946 | 7.2774 | 0 | 90.749 | 24.2 | 159.9 | 5.78
465 | 24/07/2016 | 7:00:00 p.m. | 1424114 | 436944 | 7.056 | 0 | 90.611 | 31.5 | 159.4 | 5.78
464 | 24/07/2016 | 6:00:00 p.m. | 1424103 | 436943 | 6.8984 | 0 | 90.504 | 35.5 | 0 | 5.79
463 | 24/07/2016 | 5:00:00 p.m. | 1424103 | 436943 | 6.87 | 0 | 90.432 | 37.2 | 0 | 5.79
462 | 24/07/2016 | 4:00:00 p.m. | 1424103 | 436943 | 6.8425 | 0 | 90.594 | 37.7 | 0 | 5.79
461 | 24/07/2016 | 3:00:00 p.m. | 1424103 | 436943 | 6.8392 | 0 | 90.501 | 36.1 | 0 | 5.79
460 | 24/07/2016 | 2:00:00 p.m. | 1424103 | 436943 | 6.9017 | 0 | 90.514 | 35.2 | 0 | 5.79
459 | 24/07/2016 | 1:00:00 p.m. | 1424103 | 436943 | 6.941 | 0 | 90.382 | 31.4 | 0 | 5.78
458 | 24/07/2016 | 12:00:00 p.m. | 1424103 | 436943 | 6.9838 | 0 | 90.459 | 29.7 | 0 | 5.78
457 | 24/07/2016 | 11:00:00 a.m. | 1424103 | 436943 | 7.0692 | 0 | 90.621 | 25.4 | 1 | 5.78
456 | 24/07/2016 | 10:00:00 a.m. | 1424103 | 436943 | 7.2376 | 0 | 90.775 | 20.1 | 160.4 | 5.77
455 | 24/07/2016 | 9:00:00 a.m. | 1424096 | 436942 | 7.4071 | 0 | 90.933 | 14.5 | 0 | 5.76
454 | 24/07/2016 | 8:00:00 a.m. | 1424096 | 436942 | 7.4895 | 0 | 90.833 | 13.2 | 0.9 | 5.75
453 | 24/07/2016 | 7:00:00 a.m. | 1424096 | 436942 | 7.4566 | 0 | 90.787 | 18.9 | 159.8 | 5.75
452 | 24/07/2016 | 6:00:00 a.m. | 1424076 | 436939 | 7.1386 | 0 | 90.125 | 24.4 | 128.4 | 5.75
451 | 24/07/2016 | 5:00:00 a.m. | 1423960 | 436923 | 7.1285 | 0 | 90.539 | 23.3 | 123.9 | 5.75
450 | 24/07/2016 | 4:00:00 a.m. | 1423883 | 436912 | 7.2191 | 0 | 90.219 | 22.9 | 61.7 | 5.76
449 | 24/07/2016 | 3:00:00 a.m. | 1423831 | 436905 | 7.2156 | 0 | 90.364 | 23 | 58.9 | 5.76
448 | 24/07/2016 | 2:00:00 a.m. | 1423779 | 436897 | 7.1657 | 0 | 90.28 | 23.3 | 59 | 5.76
447 | 24/07/2016 | 1:00:00 a.m. | 1423727 | 436890 | 7.162 | 0 | 90.222 | 23.6 | 57.9 | 5.76
446 | 24/07/2016 | 12:00:00 a.m. | 1423675 | 436883 | 7.146 | 0 | 90.237 | 24 | 74.4 | 5.76
445 | 23/07/2016 | 11:00:00 p.m. | 1423621 | 436875 | 7.1367 | 0 | 90.197 | 24.4 | 106.9 | 5.76
444 | 23/07/2016 | 10:00:00 p.m. | 1423541 | 436864 | 7.1325 | 0 | 90.365 | 24.3 | 85.7 | 5.76
443 | 23/07/2016 | 9:00:00 p.m. | 1423465 | 436853 | 7.1502 | 0 | 90.035 | 24.3 | 79.1 | 5.77
442 | 23/07/2016 | 8:00:00 p.m. | 1423406 | 436845 | 7.0758 | 0 | 90.037 | 25 | 119.7 | 5.77
441 | 23/07/2016 | 7:00:00 p.m. | 1423325 | 436834 | 7.0879 | 0 | 89.873 | 24.7 | 117.7 | 5.77
440 | 23/07/2016 | 6:00:00 p.m. | 1423219 | 436819 | 7.0939 | 0 | 89.746 | 26 | 113.2 | 5.78
439 | 23/07/2016 | 5:00:00 p.m. | 1423118 | 436805 | 7.0256 | 0 | 89.545 | 27.3 | 159 | 5.78
438 | 23/07/2016 | 4:00:00 p.m. | 1423014 | 436790 | 6.9976 | 0 | 89.872 | 34.1 | 159.7 | 5.78
437 | 23/07/2016 | 3:00:00 p.m. | 1422996 | 436787 | 6.8726 | 0 | 89.815 | 31.6 | 158.3 | 5.78
436 | 23/07/2016 | 2:00:00 p.m. | 1422985 | 436786 | 6.9953 | 0 | 89.362 | 26.9 | 119 | 5.78
435 | 23/07/2016 | 1:00:00 p.m. | 1422879 | 436771 | 7.041 | 0 | 89.351 | 26.3 | 117.4 | 5.78
434 | 23/07/2016 | 12:00:00 p.m. | 1422773 | 436755 | 7.0585 | 0 | 89.481 | 25.8 | 131.6 | 5.78
433 | 23/07/2016 | 11:00:00 a.m. | 1422689 | 436744 | 7.0858 | 0 | 89.653 | 24.2 | 22.2 | 5.78
432 | 23/07/2016 | 10:00:00 a.m. | 1422671 | 436741 | 7.1978 | 0 | 89.785 | 21.8 | 23.6 | 5.76
431 | 23/07/2016 | 9:00:00 a.m. | 1422655 | 436739 | 7.1517 | 0 | 89.827 | 21.8 | 161 | 5.76
430 | 23/07/2016 | 8:00:00 a.m. | 1422630 | 436735 | 7.1487 | 0 | 89.695 | 23.9 | 120.6 | 5.76
429 | 23/07/2016 | 7:00:00 a.m. | 1422542 | 436723 | 7.1164 | 0 | 89.85 | 24.1 | 88.3 | 5.76
428 | 23/07/2016 | 6:00:00 a.m. | 1422469 | 436713 | 7.111 | 0 | 89.815 | 24 | 73.5 | 5.76
427 | 23/07/2016 | 5:00:00 a.m. | 1422409 | 436704 | 7.138 | 0 | 89.887 | 24.1 | 112.8 | 5.76
426 | 23/07/2016 | 4:00:00 a.m. | 1422341 | 436695 | 7.0873 | 0 | 89.721 | 24.7 | 119 | 5.76
425 | 23/07/2016 | 3:00:00 a.m. | 1422239 | 436680 | 7.1271 | 0 | 89.67 | 24.5 | 120 | 5.76
424 | 23/07/2016 | 2:00:00 a.m. | 1422135 | 436666 | 7.0966 | 0 | 89.837 | 18.8 | 161.6 | 5.76
423 | 23/07/2016 | 1:00:00 a.m. | 1422082 | 436658 | 7.3544 | 0 | 90.023 | 16.1 | 0 | 5.76
422 | 23/07/2016 | 12:00:00 a.m. | 1422082 | 436658 | 7.3104 | 0 | 90.019 | 16.3 | 0 | 5.76
421 | 22/07/2016 | 11:00:00 p.m. | 1422082 | 436658 | 7.3218 | 0 | 90.074 | 16.9 | 0 | 5.76
420 | 22/07/2016 | 10:00:00 p.m. | 1422082 | 436658 | 7.2983 | 0 | 89.992 | 17.4 | 0 | 5.76
419 | 22/07/2016 | 9:00:00 p.m. | 1422082 | 436658 | 7.2566 | 0 | 90.04 | 19.6 | 1.6 | 5.77
418 | 22/07/2016 | 8:00:00 p.m. | 1422082 | 436658 | 7.2374 | 0 | 89.714 | 22.6 | 161.4 | 5.77
417 | 22/07/2016 | 7:00:00 p.m. | 1422020 | 436649 | 7.2546 | 0 | 89.985 | 19.9 | 2.3 | 5.77
416 | 22/07/2016 | 6:00:00 p.m. | 1422020 | 436649 | 7.2388 | 0 | 89.49 | 25.1 | 122.8 | 5.78
415 | 22/07/2016 | 5:00:00 p.m. | 1421942 | 436638 | 6.9667 | 0 | 89.052 | 27.5 | 157.5 | 5.79
414 | 22/07/2016 | 4:00:00 p.m. | 1421816 | 436620 | 6.9883 | 0 | 89 | 27 | 159.3 | 5.78
413 | 22/07/2016 | 3:00:00 p.m. | 1421697 | 436603 | 7.0335 | 0 | 89.002 | 27 | 118.2 | 5.78
412 | 22/07/2016 | 2:00:00 p.m. | 1421589 | 436588 | 6.9558 | 0 | 88.972 | 26.9 | 120.9 | 5.78
411 | 22/07/2016 | 1:00:00 p.m. | 1421480 | 436572 | 6.9842 | 0 | 89.305 | 26.2 | 121.8 | 5.78
410 | 22/07/2016 | 12:00:00 p.m. | 1421410 | 436562 | 7.0805 | 0 | 89.552 | 25 | 69.6 | 5.77
409 | 22/07/2016 | 11:00:00 a.m. | 1421353 | 436554 | 7.0885 | 0 | 89.575 | 24.9 | 108.6 | 5.77
408 | 22/07/2016 | 10:00:00 a.m. | 1421293 | 436546 | 7.0695 | 0 | 89.561 | 24.4 | 124.8 | 5.76
407 | 22/07/2016 | 9:00:00 a.m. | 1421204 | 436533 | 7.1398 | 0 | 89.844 | 23.8 | 73.5 | 5.76
406 | 22/07/2016 | 8:00:00 a.m. | 1421141 | 436524 | 7.1246 | 0 | 89.894 | 23.7 | 74.2 | 5.76
405 | 22/07/2016 | 7:00:00 a.m. | 1421077 | 436515 | 7.1148 | 0 | 89.831 | 23.8 | 78.7 | 5.76
404 | 22/07/2016 | 6:00:00 a.m. | 1421010 | 436506 | 7.1052 | 0 | 89.727 | 23.9 | 74.3 | 5.76
403 | 22/07/2016 | 5:00:00 a.m. | 1420941 | 436496 | 7.1037 | 0 | 89.765 | 23.8 | 77.6 | 5.76
402 | 22/07/2016 | 4:00:00 a.m. | 1420870 | 436486 | 7.1288 | 0 | 89.78 | 23.7 | 80 | 5.76
401 | 22/07/2016 | 3:00:00 a.m. | 1420798 | 436476 | 7.1523 | 0 | 89.856 | 23.1 | 93.1 | 5.76
400 | 22/07/2016 | 2:00:00 a.m. | 1420726 | 436466 | 7.141 | 0 | 89.796 | 23.4 | 97.4 | 5.76
399 | 22/07/2016 | 1:00:00 a.m. | 1420646 | 436455 | 7.1471 | 0 | 89.973 | 23.4 | 89.2 | 5.76
398 | 22/07/2016 | 12:00:00 a.m. | 1420571 | 436444 | 7.1393 | 0 | 89.996 | 18.6 | 161 | 5.76
397 | 21/07/2016 | 11:00:00 p.m. | 1420553 | 436442 | 7.3147 | 0 | 90.129 | 19.3 | 1.7 | 5.76
396 | 21/07/2016 | 10:00:00 p.m. | 1420553 | 436442 | 7.203 | 0 | 89.807 | 23.8 | 142 | 5.77
395 | 21/07/2016 | 9:00:00 p.m. | 1420503 | 436435 | 7.0681 | 0 | 89.498 | 25.1 | 111.7 | 5.77
394 | 21/07/2016 | 8:00:00 p.m. | 1420407 | 436421 | 7.0793 | 0 | 89.657 | 25.1 | 104.5 | 5.77
393 | 21/07/2016 | 7:00:00 p.m. | 1420321 | 436409 | 7.1024 | 0 | 89.713 | 23.7 | 160.5 | 5.77
392 | 21/07/2016 | 6:00:00 p.m. | 1420235 | 436397 | 7.2647 | 0 | 90.011 | 22.5 | 1.2 | 5.77
391 | 21/07/2016 | 5:00:00 p.m. | 1420235 | 436397 | 7.1118 | 0 | 89.574 | 25.7 | 140.2 | 5.78
390 | 21/07/2016 | 4:00:00 p.m. | 1420190 | 436391 | 7.0094 | 0 | 89.369 | 25 | 160.6 | 5.78
389 | 21/07/2016 | 3:00:00 p.m. | 1420136 | 436383 | 7.1027 | 0 | 89.113 | 26.5 | 129.9 | 5.78
388 | 21/07/2016 | 2:00:00 p.m. | 1420039 | 436369 | 6.9778 | 0 | 88.988 | 27.1 | 121.8 | 5.78
387 | 21/07/2016 | 1:00:00 p.m. | 1419926 | 436353 | 6.9528 | 0 | 88.995 | 26.8 | 145.5 | 5.78
386 | 21/07/2016 | 12:00:00 p.m. | 1419827 | 436339 | 7.0333 | 0 | 89.329 | 26.4 | 58.1 | 5.78
385 | 21/07/2016 | 11:00:00 a.m. | 1419782 | 436332 | 7.0335 | 0 | 89.504 | 25 | 143.6 | 5.78
384 | 21/07/2016 | 10:00:00 a.m. | 1419751 | 436328 | 7.1264 | 0 | 89.669 | 22.9 | 45 | 5.77
383 | 21/07/2016 | 9:00:00 a.m. | 1419729 | 436325 | 7.1428 | 0 | 89.865 | 20.6 | 72.8 | 5.76
382 | 21/07/2016 | 8:00:00 a.m. | 1419713 | 436323 | 7.1408 | 0 | 89.896 | 24 | 159.3 | 5.76
381 | 21/07/2016 | 7:00:00 a.m. | 1419641 | 436313 | 7.1288 | 0 | 89.725 | 24.4 | 119.1 | 5.76
380 | 21/07/2016 | 6:00:00 a.m. | 1419555 | 436300 | 7.1028 | 0 | 89.674 | 24.7 | 123.4 | 5.76
379 | 21/07/2016 | 5:00:00 a.m. | 1419448 | 436285 | 7.0792 | 0 | 89.907 | 24.1 | 125.9 | 5.76
378 | 21/07/2016 | 4:00:00 a.m. | 1419364 | 436273 | 7.158 | 0 | 90.071 | 23.5 | 61.9 | 5.76
377 | 21/07/2016 | 3:00:00 a.m. | 1419314 | 436266 | 7.153 | 0 | 90.063 | 24.4 | 119.8 | 5.76
376 | 21/07/2016 | 2:00:00 a.m. | 1419229 | 436255 | 7.1281 | 0 | 89.941 | 24.6 | 120.3 | 5.76
375 | 21/07/2016 | 1:00:00 a.m. | 1419126 | 436240 | 7.097 | 0 | 89.97 | 23.9 | 120.6 | 5.76
374 | 21/07/2016 | 12:00:00 a.m. | 1419049 | 436229 | 7.1449 | 0 | 90.099 | 23.4 | 67.5 | 5.76
373 | 20/07/2016 | 11:00:00 p.m. | 1418994 | 436222 | 7.1691 | 0 | 90.174 | 23.4 | 68 | 5.76
372 | 20/07/2016 | 10:00:00 p.m. | 1418939 | 436214 | 7.1375 | 0 | 90.103 | 24.1 | 78 | 5.77
371 | 20/07/2016 | 9:00:00 p.m. | 1418883 | 436206 | 7.1147 | 0 | 89.982 | 24.6 | 66.3 | 5.77
370 | 20/07/2016 | 8:00:00 p.m. | 1418828 | 436198 | 7.101 | 0 | 89.889 | 25.3 | 96.7 | 5.78
369 | 20/07/2016 | 7:00:00 p.m. | 1418771 | 436190 | 7.0645 | 0 | 89.566 | 25.9 | 141.5 | 5.78
368 | 20/07/2016 | 6:00:00 p.m. | 1418651 | 436173 | 7.0118 | 0 | 89.468 | 26.6 | 120.8 | 5.78
367 | 20/07/2016 | 5:00:00 p.m. | 1418540 | 436158 | 7.0652 | 0 | 89.636 | 25.2 | 124.2 | 5.78
366 | 20/07/2016 | 4:00:00 p.m. | 1418426 | 436141 | 7.1489 | 0 | 89.374 | 26.2 | 138.5 | 5.78
365 | 20/07/2016 | 3:00:00 p.m. | 1418311 | 436125 | 7.0246 | 0 | 89.378 | 26.7 | 119.5 | 5.78
364 | 20/07/2016 | 2:00:00 p.m. | 1418199 | 436109 | 7.0082 | 0 | 89.166 | 26.9 | 117 | 5.78
363 | 20/07/2016 | 1:00:00 p.m. | 1418088 | 436093 | 6.995 | 0 | 89.164 | 26.6 | 129.8 | 5.78
362 | 20/07/2016 | 12:00:00 p.m. | 1417978 | 436078 | 7.0645 | 0 | 89.299 | 26.5 | 159.8 | 5.78
361 | 20/07/2016 | 11:00:00 a.m. | 1417851 | 436060 | 7.0163 | 0 | 89.362 | 25.1 | 160 | 5.78
360 | 20/07/2016 | 10:00:00 a.m. | 1417827 | 436056 | 7.115 | 0 | 89.592 | 19.4 | 0 | 5.78
359 | 20/07/2016 | 9:00:00 a.m. | 1417827 | 436056 | 7.3118 | 0 | 90.042 | 13.8 | 0 | 5.76
358 | 20/07/2016 | 8:00:00 a.m. | 1417827 | 436056 | 7.5348 | 0 | 90.498 | 12 | 0 | 5.76
357 | 20/07/2016 | 7:00:00 a.m. | 1417827 | 436056 | 7.479 | 0 | 90.195 | 13.1 | 0 | 5.76
356 | 20/07/2016 | 6:00:00 a.m. | 1417827 | 436056 | 7.4114 | 0 | 90.178 | 13.7 | 0 | 5.76
355 | 20/07/2016 | 5:00:00 a.m. | 1417827 | 436056 | 7.4345 | 0 | 90.113 | 14 | 0 | 5.76
354 | 20/07/2016 | 4:00:00 a.m. | 1417827 | 436056 | 7.4247 | 0 | 90.408 | 14.2 | 0 | 5.76
353 | 20/07/2016 | 3:00:00 a.m. | 1417827 | 436056 | 7.3813 | 0 | 90.282 | 15.6 | 0.8 | 5.76
352 | 20/07/2016 | 2:00:00 a.m. | 1417827 | 436056 | 7.342 | 0 | 90.376 | 19.5 | 148.8 | 5.76
351 | 20/07/2016 | 1:00:00 a.m. | 1417822 | 436055 | 7.1115 | 0 | 90.011 | 24.9 | 122.6 | 5.76
350 | 20/07/2016 | 12:00:00 a.m. | 1417705 | 436039 | 7.1423 | 0 | 90.007 | 25 | 120.9 | 5.77
349 | 19/07/2016 | 11:00:00 p.m. | 1417591 | 436023 | 7.1127 | 0 | 90.162 | 24.7 | 117.9 | 5.77
348 | 19/07/2016 | 10:00:00 p.m. | 1417498 | 436010 | 7.1711 | 0 | 90.367 | 24.4 | 57.4 | 5.77
347 | 19/07/2016 | 9:00:00 p.m. | 1417450 | 436003 | 7.0985 | 0 | 90.064 | 25.4 | 67 | 5.78
346 | 19/07/2016 | 8:00:00 p.m. | 1417399 | 435996 | 7.0921 | 0 | 90.01 | 26.6 | 107.3 | 5.79
345 | 19/07/2016 | 7:00:00 p.m. | 1417322 | 435985 | 7.0291 | 0 | 89.775 | 27.5 | 105.3 | 5.79
344 | 19/07/2016 | 6:00:00 p.m. | 1417229 | 435972 | 7.0308 | 0 | 89.53 | 27.7 | 154.2 | 5.79
343 | 19/07/2016 | 5:00:00 p.m. | 1417119 | 435956 | 6.9799 | 0 | 89.536 | 27.5 | 158.3 | 5.79
342 | 19/07/2016 | 4:00:00 p.m. | 1417023 | 435942 | 7.0275 | 0 | 89.618 | 28.1 | 59.3 | 5.79
341 | 19/07/2016 | 3:00:00 p.m. | 1416977 | 435936 | 7.0206 | 0 | 89.582 | 27.5 | 50.8 | 5.79
340 | 19/07/2016 | 2:00:00 p.m. | 1416932 | 435929 | 7.0166 | 0 | 89.404 | 27.5 | 115.6 | 5.79
339 | 19/07/2016 | 1:00:00 p.m. | 1416854 | 435918 | 6.9892 | 0 | 89.303 | 26.9 | 119.1 | 5.79
338 | 19/07/2016 | 12:00:00 p.m. | 1416748 | 435903 | 7.0232 | 0 | 89.154 | 26.4 | 161.5 | 5.78
337 | 19/07/2016 | 11:00:00 a.m. | 1416618 | 435885 | 7.0153 | 0 | 89.636 | 23.5 | 161.2 | 5.78
336 | 19/07/2016 | 10:00:00 a.m. | 1416611 | 435884 | 7.1938 | 0 | 90.02 | 19.4 | 0 | 5.77
335 | 19/07/2016 | 9:00:00 a.m. | 1416611 | 435884 | 7.3585 | 0 | 90.262 | 15 | 0 | 5.76
334 | 19/07/2016 | 8:00:00 a.m. | 1416611 | 435884 | 7.4521 | 0 | 90.326 | 14.1 | 0 | 5.76
333 | 19/07/2016 | 7:00:00 a.m. | 1416611 | 435884 | 7.4052 | 0 | 90.336 | 15.3 | 0 | 5.76
332 | 19/07/2016 | 6:00:00 a.m. | 1416611 | 435884 | 7.4279 | 0 | 90.355 | 16 | 0 | 5.76
331 | 19/07/2016 | 5:00:00 a.m. | 1416611 | 435884 | 7.352 | 0 | 90.207 | 16.2 | 0 | 5.76
330 | 19/07/2016 | 4:00:00 a.m. | 1416611 | 435884 | 7.355 | 0 | 90.365 | 16.4 | 0 | 5.76
329 | 19/07/2016 | 3:00:00 a.m. | 1416611 | 435884 | 7.3601 | 0 | 90.409 | 16.4 | 0 | 5.76
328 | 19/07/2016 | 2:00:00 a.m. | 1416611 | 435884 | 7.3469 | 0 | 90.327 | 16.9 | 0 | 5.76
327 | 19/07/2016 | 1:00:00 a.m. | 1416611 | 435884 | 7.4066 | 0 | 90.318 | 17.1 | 0 | 5.76
326 | 19/07/2016 | 12:00:00 a.m. | 1416611 | 435884 | 7.3321 | 0 | 90.238 | 17.8 | 0 | 5.77
325 | 18/07/2016 | 11:00:00 p.m. | 1416611 | 435884 | 7.3596 | 0 | 90.289 | 19 | 1.1 | 5.77
324 | 18/07/2016 | 10:00:00 p.m. | 1416611 | 435884 | 7.2463 | 0 | 90.002 | 23 | 159.6 | 5.77
323 | 18/07/2016 | 9:00:00 p.m. | 1416565 | 435877 | 7.0718 | 0 | 89.849 | 25.3 | 157.2 | 5.77
322 | 18/07/2016 | 8:00:00 p.m. | 1416443 | 435860 | 7.1238 | 0 | 89.893 | 25.1 | 130.2 | 5.77
321 | 18/07/2016 | 7:00:00 p.m. | 1416336 | 435845 | 7.1509 | 0 | 90.293 | 24 | 72.6 | 5.77
320 | 18/07/2016 | 6:00:00 p.m. | 1416281 | 435837 | 7.1319 | 0 | 90.236 | 26.2 | 68.5 | 5.78
319 | 18/07/2016 | 5:00:00 p.m. | 1416226 | 435829 | 7.0809 | 0 | 90.399 | 25 | 116.4 | 5.78
318 | 18/07/2016 | 4:00:00 p.m. | 1416164 | 435821 | 7.1696 | 0 | 90.155 | 26.5 | 68.5 | 5.78
317 | 18/07/2016 | 3:00:00 p.m. | 1416105 | 435812 | 7.0648 | 0 | 89.818 | 27.3 | 117.5 | 5.79
316 | 18/07/2016 | 2:00:00 p.m. | 1416002 | 435798 | 7.0388 | 0 | 90.069 | 27.3 | 120.4 | 5.79
315 | 18/07/2016 | 1:00:00 p.m. | 1415912 | 435785 | 7.0285 | 0 | 90.3 | 27 | 65.3 | 5.78
314 | 18/07/2016 | 12:00:00 p.m. | 1415856 | 435777 | 7.1143 | 0 | 90.585 | 25.7 | 67.7 | 5.78
313 | 18/07/2016 | 11:00:00 a.m. | 1415797 | 435769 | 7.1669 | 0 | 90.81 | 24.6 | 73.7 | 5.77
312 | 18/07/2016 | 10:00:00 a.m. | 1415739 | 435761 | 7.1914 | 0 | 90.666 | 24.6 | 105.4 | 5.77
311 | 18/07/2016 | 9:00:00 a.m. | 1415654 | 435749 | 7.1857 | 0 | 90.892 | 24.8 | 160.4 | 5.76
310 | 18/07/2016 | 8:00:00 a.m. | 1415548 | 435734 | 7.2073 | 0 | 91.452 | 24.7 | 104.1 | 5.76
309 | 18/07/2016 | 7:00:00 a.m. | 1415454 | 435721 | 7.2291 | 0 | 91.372 | 24.6 | 103.3 | 5.76
308 | 18/07/2016 | 6:00:00 a.m. | 1415359 | 435708 | 7.1699 | 0 | 91.043 | 23.9 | 114.2 | 5.76
307 | 18/07/2016 | 5:00:00 a.m. | 1415283 | 435697 | 7.2009 | 0 | 91.006 | 24.1 | 97.6 | 5.76
306 | 18/07/2016 | 4:00:00 a.m. | 1415202 | 435686 | 7.2333 | 0 | 91.092 | 23.5 | 111.5 | 5.76
305 | 18/07/2016 | 3:00:00 a.m. | 1415131 | 435676 | 7.3183 | 0 | 91.449 | 23.1 | 56.7 | 5.76
304 | 18/07/2016 | 2:00:00 a.m. | 1415087 | 435670 | 7.2415 | 0 | 91.293 | 23.9 | 107.8 | 5.76
303 | 18/07/2016 | 1:00:00 a.m. | 1415022 | 435661 | 7.2471 | 0 | 91.484 | 23.6 | 58.5 | 5.77
302 | 18/07/2016 | 12:00:00 a.m. | 1414979 | 435655 | 7.2333 | 0 | 91.287 | 23.8 | 161 | 5.77
301 | 17/07/2016 | 11:00:00 p.m. | 1414882 | 435642 | 7.4394 | 0 | 91.676 | 17.3 | 0 | 5.77
300 | 17/07/2016 | 10:00:00 p.m. | 1414882 | 435642 | 7.4291 | 0 | 91.615 | 17.8 | 0 | 5.77
299 | 17/07/2016 | 9:00:00 p.m. | 1414882 | 435642 | 7.3993 | 0 | 91.721 | 18.6 | 0 | 5.77
298 | 17/07/2016 | 8:00:00 p.m. | 1414882 | 435642 | 7.3129 | 0 | 91.275 | 22.9 | 2 | 5.78
297 | 17/07/2016 | 7:00:00 p.m. | 1414882 | 435642 | 7.2097 | 0 | 90.994 | 27.8 | 159.6 | 5.78
296 | 17/07/2016 | 6:00:00 p.m. | 1414865 | 435640 | 7.0086 | 0 | 90.952 | 31.7 | 0 | 5.79
295 | 17/07/2016 | 5:00:00 p.m. | 1414865 | 435640 | 6.9324 | 0 | 90.989 | 33.9 | 0 | 5.79
294 | 17/07/2016 | 4:00:00 p.m. | 1414865 | 435640 | 6.9297 | 0 | 90.898 | 33.9 | 0 | 5.79
293 | 17/07/2016 | 3:00:00 p.m. | 1414865 | 435640 | 6.9829 | 0 | 90.91 | 30.2 | 0 | 5.79
292 | 17/07/2016 | 2:00:00 p.m. | 1414865 | 435640 | 7.071 | 0 | 90.875 | 31.1 | 0 | 5.78
291 | 17/07/2016 | 1:00:00 p.m. | 1414865 | 435640 | 6.9586 | 0 | 90.924 | 30.2 | 10 | 5.78
290 | 17/07/2016 | 12:00:00 p.m. | 1414865 | 435640 | 7.1397 | 0 | 90.741 | 26.8 | 160.4 | 5.78
289 | 17/07/2016 | 11:00:00 a.m. | 1414831 | 435635 | 7.1556 | 0 | 91.223 | 22.3 | 0 | 5.78
288 | 17/07/2016 | 10:00:00 a.m. | 1414831 | 435635 | 7.4088 | 0 | 91.832 | 15.9 | 0 | 5.77
287 | 17/07/2016 | 9:00:00 a.m. | 1414831 | 435635 | 7.563 | 0 | 91.926 | 12.9 | 0 | 5.76
286 | 17/07/2016 | 8:00:00 a.m. | 1414831 | 435635 | 7.61 | 0 | 91.555 | 12 | 0 | 5.76
285 | 17/07/2016 | 7:00:00 a.m. | 1414831 | 435635 | 7.5518 | 0 | 91.518 | 12.6 | 0 | 5.76
284 | 17/07/2016 | 6:00:00 a.m. | 1414831 | 435635 | 7.5884 | 0 | 91.346 | 12.9 | 0 | 5.76
283 | 17/07/2016 | 5:00:00 a.m. | 1414831 | 435635 | 7.5075 | 0 | 90.964 | 12.7 | 0 | 5.76
282 | 17/07/2016 | 4:00:00 a.m. | 1414831 | 435635 | 7.5075 | 0 | 90.881 | 12.7 | 0 | 5.76
281 | 17/07/2016 | 3:00:00 a.m. | 1414831 | 435635 | 7.4537 | 0 | 91.023 | 13.1 | 0 | 5.76
280 | 17/07/2016 | 2:00:00 a.m. | 1414831 | 435635 | 7.4823 | 0 | 91.081 | 13 | 0 | 5.76
279 | 17/07/2016 | 1:00:00 a.m. | 1414831 | 435635 | 7.5007 | 0 | 90.923 | 13.1 | 0 | 5.76
278 | 17/07/2016 | 12:00:00 a.m. | 1414831 | 435635 | 7.4658 | 0 | 90.869 | 13.5 | 0 | 5.76
277 | 16/07/2016 | 11:00:00 p.m. | 1414831 | 435635 | 7.455 | 0 | 90.95 | 14.3 | 0 | 5.76
276 | 16/07/2016 | 10:00:00 p.m. | 1414831 | 435635 | 7.4627 | 0 | 90.981 | 14.3 | 0 | 5.76
275 | 16/07/2016 | 9:00:00 p.m. | 1414831 | 435635 | 7.4882 | 0 | 90.941 | 14.7 | 5.2 | 5.76
274 | 16/07/2016 | 8:00:00 p.m. | 1414831 | 435635 | 7.4057 | 0 | 90.596 | 22.2 | 79.7 | 5.76
273 | 16/07/2016 | 7:00:00 p.m. | 1414772 | 435627 | 7.2556 | 0 | 91.095 | 21.2 | 99.7 | 5.76
272 | 16/07/2016 | 6:00:00 p.m. | 1414708 | 435618 | 7.2837 | 0 | 90.118 | 23.3 | 149.6 | 5.78
271 | 16/07/2016 | 5:00:00 p.m. | 1414657 | 435611 | 7.0445 | 0 | 89.633 | 27.5 | 110.3 | 5.79
270 | 16/07/2016 | 4:00:00 p.m. | 1414603 | 435603 | 7.0233 | 0 | 89.796 | 28.2 | 86.3 | 5.79
269 | 16/07/2016 | 3:00:00 p.m. | 1414563 | 435597 | 7.0515 | 0 | 89.798 | 28.2 | 68.5 | 5.79
268 | 16/07/2016 | 2:00:00 p.m. | 1414526 | 435592 | 6.9947 | 0 | 89.431 | 27.5 | 132.9 | 5.79
267 | 16/07/2016 | 1:00:00 p.m. | 1414474 | 435585 | 7.0157 | 0 | 89.672 | 26.4 | 38.4 | 5.79
266 | 16/07/2016 | 12:00:00 p.m. | 1414443 | 435580 | 7.0455 | 0 | 89.691 | 25.5 | 67.6 | 5.78
265 | 16/07/2016 | 11:00:00 a.m. | 1414410 | 435576 | 7.067 | 0 | 89.918 | 23.4 | 160.6 | 5.78
264 | 16/07/2016 | 10:00:00 a.m. | 1414372 | 435570 | 7.2757 | 0 | 90.218 | 18.7 | 0 | 5.77
263 | 16/07/2016 | 9:00:00 a.m. | 1414372 | 435570 | 7.3548 | 0 | 90.736 | 16.1 | 0 | 5.76
262 | 16/07/2016 | 8:00:00 a.m. | 1414372 | 435570 | 7.449 | 0 | 90.959 | 16.3 | 1 | 5.76
261 | 16/07/2016 | 7:00:00 a.m. | 1414372 | 435570 | 7.3681 | 0 | 90.99 | 20.7 | 139.2 | 5.76
260 | 16/07/2016 | 6:00:00 a.m. | 1414352 | 435567 | 7.2438 | 0 | 90.544 | 23.9 | 78.7 | 5.76
259 | 16/07/2016 | 5:00:00 a.m. | 1414293 | 435559 | 7.1671 | 0 | 90.411 | 23.9 | 76.5 | 5.76
258 | 16/07/2016 | 4:00:00 a.m. | 1414225 | 435550 | 7.1398 | 0 | 90.252 | 23.9 | 80 | 5.76
257 | 16/07/2016 | 3:00:00 a.m. | 1414159 | 435541 | 7.1955 | 0 | 90.31 | 24 | 161.4 | 5.76
256 | 16/07/2016 | 2:00:00 a.m. | 1414078 | 435529 | 7.1315 | 0 | 90.601 | 16.2 | 161.5 | 5.76
255 | 16/07/2016 | 1:00:00 a.m. | 1414069 | 435528 | 7.3876 | 0 | 90.693 | 17.9 | 5 | 5.76
254 | 16/07/2016 | 12:00:00 a.m. | 1414069 | 435528 | 7.2457 | 0 | 90.448 | 23.2 | 140.4 | 5.76
253 | 15/07/2016 | 11:00:00 p.m. | 1414019 | 435521 | 7.2095 | 0 | 90.563 | 23.3 | 71.1 | 5.76
252 | 15/07/2016 | 10:00:00 p.m. | 1413960 | 435513 | 7.1713 | 0 | 90.529 | 23.5 | 101.2 | 5.76
251 | 15/07/2016 | 9:00:00 p.m. | 1413880 | 435502 | 7.1915 | 0 | 90.439 | 22.9 | 97.5 | 5.76
250 | 15/07/2016 | 8:00:00 p.m. | 1413795 | 435490 | 7.1838 | 0 | 89.754 | 23.7 | 101.8 | 5.77
249 | 15/07/2016 | 7:00:00 p.m. | 1413706 | 435477 | 7.0533 | 0 | 89.462 | 27 | 103.8 | 5.79
248 | 15/07/2016 | 6:00:00 p.m. | 1413614 | 435464 | 6.9853 | 0 | 89.321 | 26.6 | 99.5 | 5.79
247 | 15/07/2016 | 5:00:00 p.m. | 1413522 | 435451 | 7.0142 | 0 | 89.522 | 27.8 | 97.6 | 5.79
246 | 15/07/2016 | 4:00:00 p.m. | 1413430 | 435438 | 6.9838 | 0 | 89.147 | 27.4 | 94.9 | 5.79
245 | 15/07/2016 | 3:00:00 p.m. | 1413338 | 435425 | 7.0063 | 0 | 89.313 | 27.4 | 97.5 | 5.79
244 | 15/07/2016 | 2:00:00 p.m. | 1413248 | 435412 | 7.0026 | 0 | 89.294 | 27.6 | 102.8 | 5.79
243 | 15/07/2016 | 1:00:00 p.m. | 1413165 | 435400 | 7.0041 | 0 | 89.235 | 26.9 | 121.3 | 5.79
242 | 15/07/2016 | 12:00:00 p.m. | 1413095 | 435390 | 7.0357 | 0 | 89.484 | 26.4 | 95.7 | 5.78
241 | 15/07/2016 | 11:00:00 a.m. | 1413031 | 435381 | 7.0269 | 0 | 89.458 | 25.7 | 159.7 | 5.78
240 | 15/07/2016 | 10:00:00 a.m. | 1412928 | 435366 | 7.0978 | 0 | 89.85 | 24.7 | 99.9 | 5.76
239 | 15/07/2016 | 9:00:00 a.m. | 1412842 | 435354 | 7.0947 | 0 | 89.991 | 22.2 | 161.4 | 5.76
238 | 15/07/2016 | 8:00:00 a.m. | 1412762 | 435343 | 7.4093 | 0 | 90.488 | 15 | 1.1 | 5.76
237 | 15/07/2016 | 7:00:00 a.m. | 1412762 | 435343 | 7.3783 | 0 | 90.531 | 20.2 | 155.9 | 5.76
236 | 15/07/2016 | 6:00:00 a.m. | 1412735 | 435339 | 7.0943 | 0 | 90.304 | 24.5 | 95.1 | 5.76
235 | 15/07/2016 | 5:00:00 a.m. | 1412651 | 435328 | 7.1457 | 0 | 90.338 | 24.4 | 92.2 | 5.76
234 | 15/07/2016 | 4:00:00 a.m. | 1412573 | 435317 | 7.1743 | 0 | 90.256 | 22.5 | 161.5 | 5.76
233 | 15/07/2016 | 3:00:00 a.m. | 1412495 | 435306 | 7.376 | 0 | 90.678 | 15.1 | 0 | 5.76
232 | 15/07/2016 | 2:00:00 a.m. | 1412495 | 435306 | 7.4064 | 0 | 90.702 | 15.9 | 0 | 5.76
231 | 15/07/2016 | 1:00:00 a.m. | 1412495 | 435306 | 7.3833 | 0 | 90.45 | 17.2 | 2 | 5.76
230 | 15/07/2016 | 12:00:00 a.m. | 1412495 | 435306 | 7.2854 | 0 | 90.245 | 23.2 | 144.5 | 5.76
229 | 14/07/2016 | 11:00:00 p.m. | 1412438 | 435298 | 7.1158 | 0 | 90.226 | 23.2 | 92.7 | 5.77
228 | 14/07/2016 | 10:00:00 p.m. | 1412375 | 435289 | 7.2402 | 0 | 90.481 | 22.2 | 65 | 5.77
227 | 14/07/2016 | 9:00:00 p.m. | 1412344 | 435285 | 7.2237 | 0 | 90.44 | 21.4 | 40.3 | 5.77
226 | 14/07/2016 | 8:00:00 p.m. | 1412317 | 435281 | 7.2103 | 0 | 90.066 | 22.6 | 35.3 | 5.77
225 | 14/07/2016 | 7:00:00 p.m. | 1412289 | 435277 | 7.139 | 0 | 90.303 | 25.1 | 76.1 | 5.78
224 | 14/07/2016 | 6:00:00 p.m. | 1412249 | 435271 | 7.1246 | 0 | 90.235 | 25.9 | 72.2 | 5.78
223 | 14/07/2016 | 5:00:00 p.m. | 1412183 | 435262 | 7.0784 | 0 | 89.948 | 27.1 | 71.8 | 5.79
222 | 14/07/2016 | 4:00:00 p.m. | 1412123 | 435254 | 7.0857 | 0 | 89.872 | 26.2 | 62.9 | 5.79
221 | 14/07/2016 | 3:00:00 p.m. | 1412084 | 435248 | 7.0024 | 0 | 89.912 | 28.1 | 66.5 | 5.79
220 | 14/07/2016 | 2:00:00 p.m. | 1412055 | 435244 | 6.9941 | 0 | 89.84 | 27.6 | 60.4 | 5.79
219 | 14/07/2016 | 1:00:00 p.m. | 1412010 | 435237 | 7.0466 | 0 | 89.976 | 26.5 | 70.9 | 5.78
218 | 14/07/2016 | 12:00:00 p.m. | 1411975 | 435233 | 7.0634 | 0 | 90.113 | 25.6 | 63 | 5.78
217 | 14/07/2016 | 11:00:00 a.m. | 1411947 | 435229 | 7.0652 | 0 | 90.145 | 24.6 | 72.6 | 5.78
216 | 14/07/2016 | 10:00:00 a.m. | 1411893 | 435221 | 7.1713 | 0 | 90.387 | 23.2 | 30.7 | 5.77
215 | 14/07/2016 | 9:00:00 a.m. | 1411867 | 435217 | 7.1531 | 0 | 90.321 | 22.7 | 33.7 | 5.76
214 | 14/07/2016 | 8:00:00 a.m. | 1411841 | 435214 | 7.1754 | 0 | 90.12 | 23.9 | 77.3 | 5.76
213 | 14/07/2016 | 7:00:00 a.m. | 1411783 | 435206 | 7.1491 | 0 | 90.26 | 24.1 | 76.9 | 5.76
212 | 14/07/2016 | 6:00:00 a.m. | 1411716 | 435196 | 7.1383 | 0 | 90.123 | 23.2 | 91 | 5.76
211 | 14/07/2016 | 5:00:00 a.m. | 1411667 | 435189 | 7.1795 | 0 | 90.07 | 23.7 | 79.2 | 5.77
210 | 14/07/2016 | 4:00:00 a.m. | 1411610 | 435181 | 7.1075 | 0 | 89.981 | 23.7 | 78.7 | 5.76
209 | 14/07/2016 | 3:00:00 a.m. | 1411543 | 435172 | 7.1156 | 0 | 90.075 | 24.3 | 98.7 | 5.77
208 | 14/07/2016 | 2:00:00 a.m. | 1411477 | 435163 | 7.1096 | 0 | 90.099 | 24.3 | 78.2 | 5.77
207 | 14/07/2016 | 1:00:00 a.m. | 1411413 | 435154 | 7.1129 | 0 | 90.054 | 24.3 | 72 | 5.77
206 | 14/07/2016 | 12:00:00 a.m. | 1411348 | 435145 | 7.1257 | 0 | 90.119 | 24.2 | 71.9 | 5.77
205 | 13/07/2016 | 11:00:00 p.m. | 1411285 | 435136 | 7.1241 | 0 | 90.082 | 24.2 | 73.2 | 5.77
204 | 13/07/2016 | 10:00:00 p.m. | 1411220 | 435127 | 7.1143 | 0 | 90.008 | 23.4 | 85.5 | 5.77
203 | 13/07/2016 | 9:00:00 p.m. | 1411155 | 435118 | 7.1659 | 0 | 90.145 | 22.5 | 102.7 | 5.77
202 | 13/07/2016 | 8:00:00 p.m. | 1411116 | 435112 | 7.1525 | 0 | 90.127 | 23.6 | 44 | 5.78
201 | 13/07/2016 | 7:00:00 p.m. | 1411086 | 435108 | 7.105 | 0 | 90.389 | 24.3 | 40.4 | 5.78
200 | 13/07/2016 | 6:00:00 p.m. | 1411058 | 435104 | 7.1289 | 0 | 90.276 | 24.1 | 51.3 | 5.78
199 | 13/07/2016 | 5:00:00 p.m. | 1411030 | 435100 | 7.187 | 0 | 89.865 | 25 | 43.1 | 5.78
198 | 13/07/2016 | 4:00:00 p.m. | 1411002 | 435096 | 7.0186 | 0 | 89.713 | 28.5 | 44.8 | 5.79
197 | 13/07/2016 | 3:00:00 p.m. | 1410975 | 435092 | 6.9762 | 0 | 89.663 | 28.6 | 47.8 | 5.79
196 | 13/07/2016 | 2:00:00 p.m. | 1410948 | 435089 | 6.9948 | 0 | 89.708 | 27.8 | 38.3 | 5.79
195 | 13/07/2016 | 1:00:00 p.m. | 1410922 | 435085 | 7.0054 | 0 | 89.74 | 27.1 | 86.8 | 5.79
194 | 13/07/2016 | 12:00:00 p.m. | 1410881 | 435079 | 7.0004 | 0 | 89.378 | 26.3 | 82.7 | 5.78
193 | 13/07/2016 | 11:00:00 a.m. | 1410805 | 435068 | 7.0456 | 0 | 89.514 | 25.6 | 120.5 | 5.78
192 | 13/07/2016 | 10:00:00 a.m. | 1410724 | 435057 | 7.0937 | 0 | 89.663 | 24.6 | 161.4 | 5.77
191 | 13/07/2016 | 9:00:00 a.m. | 1410639 | 435045 | 7.1257 | 0 | 89.998 | 23.9 | 87 | 5.76
190 | 13/07/2016 | 8:00:00 a.m. | 1410565 | 435034 | 7.1599 | 0 | 90.09 | 16.9 | 162.4 | 5.76
189 | 13/07/2016 | 7:00:00 a.m. | 1410540 | 435031 | 7.3672 | 0 | 90.177 | 16.1 | 0 | 5.76
188 | 13/07/2016 | 6:00:00 a.m. | 1410540 | 435031 | 7.3895 | 0 | 90.031 | 18.3 | 5.1 | 5.76
187 | 13/07/2016 | 5:00:00 a.m. | 1410540 | 435031 | 7.2062 | 0 | 89.782 | 24.1 | 137.9 | 5.77
186 | 13/07/2016 | 4:00:00 a.m. | 1410466 | 435020 | 7.133 | 0 | 89.688 | 24.3 | 97.2 | 5.76
185 | 13/07/2016 | 3:00:00 a.m. | 1410378 | 435008 | 7.1556 | 0 | 90.055 | 17 | 162.4 | 5.76
184 | 13/07/2016 | 2:00:00 a.m. | 1410357 | 435005 | 7.3514 | 0 | 90.104 | 16 | 0 | 5.77
183 | 13/07/2016 | 1:00:00 a.m. | 1410357 | 435005 | 7.3536 | 0 | 90.147 | 16.4 | 0.9 | 5.77
182 | 13/07/2016 | 12:00:00 a.m. | 1410357 | 435005 | 7.3487 | 0 | 90.251 | 19.7 | 143.4 | 5.77
181 | 12/07/2016 | 11:00:00 p.m. | 1410346 | 435004 | 7.196 | 0 | 90.033 | 24 | 102.3 | 5.76
180 | 12/07/2016 | 10:00:00 p.m. | 1410287 | 434995 | 7.0906 | 0 | 89.768 | 24.8 | 101.1 | 5.76
179 | 12/07/2016 | 9:00:00 p.m. | 1410192 | 434982 | 7.0986 | 0 | 89.888 | 24.4 | 98.9 | 5.77
178 | 12/07/2016 | 8:00:00 p.m. | 1410106 | 434970 | 7.1053 | 0 | 89.949 | 23.5 | 88.7 | 5.77
177 | 12/07/2016 | 7:00:00 p.m. | 1410054 | 434962 | 7.1063 | 0 | 90.011 | 22.3 | 80.1 | 5.77
176 | 12/07/2016 | 6:00:00 p.m. | 1410021 | 434958 | 7.1842 | 0 | 89.986 | 22.6 | 83.6 | 5.77
175 | 12/07/2016 | 5:00:00 p.m. | 1409967 | 434950 | 7.1974 | 0 | 89.906 | 22.2 | 75.7 | 5.77
174 | 12/07/2016 | 4:00:00 p.m. | 1409933 | 434946 | 7.1371 | 0 | 89.546 | 24.2 | 117.4 | 5.78
173 | 12/07/2016 | 3:00:00 p.m. | 1409867 | 434936 | 7.0553 | 0 | 89.616 | 25.4 | 114.5 | 5.78
172 | 12/07/2016 | 2:00:00 p.m. | 1409822 | 434930 | 7.0838 | 0 | 89.633 | 25.4 | 54.1 | 5.78
171 | 12/07/2016 | 1:00:00 p.m. | 1409791 | 434926 | 7.0379 | 0 | 89.377 | 25.7 | 102.2 | 5.78
170 | 12/07/2016 | 12:00:00 p.m. | 1409730 | 434917 | 7.0467 | 0 | 89.815 | 25 | 161.1 | 5.78
169 | 12/07/2016 | 11:00:00 a.m. | 1409683 | 434910 | 7.267 | 0 | 90.36 | 20.7 | 2.2 | 5.78
168 | 12/07/2016 | 10:00:00 a.m. | 1409683 | 434910 | 7.2504 | 0 | 90.044 | 23.4 | 101.1 | 5.77
167 | 12/07/2016 | 9:00:00 a.m. | 1409629 | 434903 | 7.1723 | 0 | 90.179 | 24.1 | 105.6 | 5.77
166 | 12/07/2016 | 8:00:00 a.m. | 1409531 | 434889 | 7.1742 | 0 | 90.314 | 24 | 103.2 | 5.77
165 | 12/07/2016 | 7:00:00 a.m. | 1409436 | 434876 | 7.1732 | 0 | 90.335 | 23.4 | 105.7 | 5.77
164 | 12/07/2016 | 6:00:00 a.m. | 1409347 | 434863 | 7.2357 | 0 | 90.461 | 22.5 | 78.2 | 5.77
163 | 12/07/2016 | 5:00:00 a.m. | 1409291 | 434855 | 7.1942 | 0 | 90.44 | 21 | 163.4 | 5.77
162 | 12/07/2016 | 4:00:00 a.m. | 1409228 | 434847 | 7.3889 | 0 | 90.71 | 15.7 | 0 | 5.77
161 | 12/07/2016 | 3:00:00 a.m. | 1409228 | 434847 | 7.4009 | 0 | 90.781 | 15.6 | 0 | 5.77
160 | 12/07/2016 | 2:00:00 a.m. | 1409228 | 434847 | 7.4018 | 0 | 90.878 | 15.8 | 0 | 5.77
159 | 12/07/2016 | 1:00:00 a.m. | 1409228 | 434847 | 7.4459 | 0 | 91.164 | 15.6 | 0 | 5.77
158 | 12/07/2016 | 12:00:00 a.m. | 1409228 | 434847 | 7.4594 | 0 | 91.062 | 17.2 | 0 | 5.77
157 | 11/07/2016 | 11:00:00 p.m. | 1409228 | 434847 | 7.3169 | 0 | 91.184 | 19.5 | 0 | 5.78
156 | 11/07/2016 | 10:00:00 p.m. | 1409228 | 434847 | 7.3211 | 0 | 91.217 | 21.3 | 9.4 | 5.78
155 | 11/07/2016 | 9:00:00 p.m. | 1409228 | 434847 | 7.2548 | 0 | 90.713 | 24.8 | 163.2 | 5.78
154 | 11/07/2016 | 8:00:00 p.m. | 1409164 | 434838 | 7.18 | 0 | 90.793 | 25.8 | 53.5 | 5.79
153 | 11/07/2016 | 7:00:00 p.m. | 1409130 | 434833 | 7.047 | 0 | 90.7 | 27 | 112.2 | 5.79
152 | 11/07/2016 | 6:00:00 p.m. | 1409036 | 434820 | 7.1084 | 0 | 90.48 | 26.1 | 108.7 | 5.79
151 | 11/07/2016 | 5:00:00 p.m. | 1408983 | 434812 | 7.1123 | 0 | 90.448 | 27.3 | 39.7 | 5.8
150 | 11/07/2016 | 4:00:00 p.m. | 1408950 | 434808 | 7.0688 | 0 | 90.22 | 28.3 | 37.3 | 5.79
149 | 11/07/2016 | 3:00:00 p.m. | 1408917 | 434803 | 7.0435 | 0 | 90.071 | 27.3 | 39.6 | 5.79
148 | 11/07/2016 | 2:00:00 p.m. | 1408883 | 434798 | 7.108 | 0 | 90.075 | 25.8 | 69.9 | 5.79
147 | 11/07/2016 | 1:00:00 p.m. | 1408824 | 434790 | 7.1763 | 0 | 90.381 | 24.8 | 77 | 5.78
146 | 11/07/2016 | 12:00:00 p.m. | 1408781 | 434784 | 7.157 | 0 | 90.336 | 25.1 | 93.7 | 5.78
145 | 11/07/2016 | 11:00:00 a.m. | 1408731 | 434777 | 7.1119 | 0 | 89.913 | 25 | 103.7 | 5.77
144 | 11/07/2016 | 10:00:00 a.m. | 1408633 | 434763 | 7.1229 | 0 | 89.905 | 24 | 115.5 | 5.77
143 | 11/07/2016 | 9:00:00 a.m. | 1408531 | 434749 | 7.1192 | 0 | 89.897 | 25 | 163.3 | 5.77
142 | 11/07/2016 | 8:00:00 a.m. | 1408422 | 434733 | 7.1146 | 0 | 90.117 | 21.1 | 164.8 | 5.77
141 | 11/07/2016 | 7:00:00 a.m. | 1408358 | 434724 | 7.3398 | 0 | 90.544 | 16.7 | 0 | 5.77
140 | 11/07/2016 | 6:00:00 a.m. | 1408358 | 434724 | 7.315 | 0 | 90.457 | 16.8 | 0 | 5.77
139 | 11/07/2016 | 5:00:00 a.m. | 1408358 | 434724 | 7.3595 | 0 | 90.468 | 17.2 | 0 | 5.77
138 | 11/07/2016 | 4:00:00 a.m. | 1408358 | 434724 | 7.344 | 0 | 90.346 | 18.2 | 3.3 | 5.77
137 | 11/07/2016 | 3:00:00 a.m. | 1408358 | 434724 | 7.2939 | 0 | 90.405 | 22 | 163.6 | 5.77
136 | 11/07/2016 | 2:00:00 a.m. | 1408321 | 434719 | 7.2774 | 0 | 90.505 | 19.8 | 19.2 | 5.78
135 | 11/07/2016 | 1:00:00 a.m. | 1408314 | 434718 | 7.2504 | 0 | 90.47 | 19.7 | 0 | 5.78
134 | 11/07/2016 | 12:00:00 a.m. | 1408314 | 434718 | 7.2263 | 0 | 90.359 | 20.4 | 0 | 5.78
133 | 10/07/2016 | 11:00:00 p.m. | 1408314 | 434718 | 7.2454 | 0 | 90.366 | 20.7 | 0 | 5.78
132 | 10/07/2016 | 10:00:00 p.m. | 1408314 | 434718 | 7.267 | 0 | 90.449 | 20.8 | 0 | 5.78
131 | 10/07/2016 | 9:00:00 p.m. | 1408314 | 434718 | 7.2276 | 0 | 90.568 | 22.4 | 0 | 5.79
130 | 10/07/2016 | 8:00:00 p.m. | 1408314 | 434718 | 7.1863 | 0 | 90.478 | 23.4 | 0 | 5.79
129 | 10/07/2016 | 7:00:00 p.m. | 1408314 | 434718 | 7.1907 | 0 | 90.339 | 27.8 | 0.9 | 5.8
128 | 10/07/2016 | 6:00:00 p.m. | 1408314 | 434718 | 6.9715 | 0 | 90.05 | 31.6 | 159.1 | 5.8
127 | 10/07/2016 | 5:00:00 p.m. | 1408291 | 434715 | 6.8859 | 0 | 90.339 | 31.5 | 0 | 5.8
126 | 10/07/2016 | 4:00:00 p.m. | 1408291 | 434715 | 7.0709 | 0 | 90.069 | 31.1 | 0 | 5.8
125 | 10/07/2016 | 3:00:00 p.m. | 1408291 | 434715 | 6.9166 | 0 | 90.088 | 35.6 | 0 | 5.8
124 | 10/07/2016 | 2:00:00 p.m. | 1408291 | 434715 | 6.7502 | 0 | 89.944 | 35.5 | 0 | 5.8
123 | 10/07/2016 | 1:00:00 p.m. | 1408291 | 434715 | 6.8789 | 0 | 89.69 | 33.8 | 0 | 5.8
122 | 10/07/2016 | 12:00:00 p.m. | 1408291 | 434715 | 6.9227 | 0 | 89.894 | 31 | 0 | 5.8
121 | 10/07/2016 | 11:00:00 a.m. | 1408291 | 434715 | 7.0351 | 0 | 89.963 | 26.2 | 0 | 5.79
120 | 10/07/2016 | 10:00:00 a.m. | 1408291 | 434715 | 7.132 | 0 | 89.826 | 20.4 | 0 | 5.78
119 | 10/07/2016 | 9:00:00 a.m. | 1408291 | 434715 | 7.2759 | 0 | 90.382 | 15 | 0 | 5.77
118 | 10/07/2016 | 8:00:00 a.m. | 1408291 | 434715 | 7.4604 | 0 | 90.563 | 14.1 | 1.1 | 5.76
117 | 10/07/2016 | 7:00:00 a.m. | 1408291 | 434715 | 7.3815 | 0 | 90.5 | 20.5 | 161 | 5.76
116 | 10/07/2016 | 6:00:00 a.m. | 1408257 | 434710 | 7.1196 | 0 | 90.335 | 22.4 | 111.5 | 5.76
115 | 10/07/2016 | 5:00:00 a.m. | 1408203 | 434703 | 7.2234 | 0 | 90.494 | 21.8 | 49.5 | 5.76
114 | 10/07/2016 | 4:00:00 a.m. | 1408173 | 434698 | 7.2648 | 0 | 90.378 | 21.8 | 37.1 | 5.77
113 | 10/07/2016 | 3:00:00 a.m. | 1408143 | 434694 | 7.211 | 0 | 90.58 | 22.2 | 52.7 | 5.77
112 | 10/07/2016 | 2:00:00 a.m. | 1408112 | 434690 | 7.1994 | 0 | 90.672 | 22.9 | 51.7 | 5.77
111 | 10/07/2016 | 1:00:00 a.m. | 1408076 | 434685 | 7.2092 | 0 | 90.704 | 23.7 | 88.6 | 5.77
110 | 10/07/2016 | 12:00:00 a.m. | 1408033 | 434679 | 7.1376 | 0 | 90.482 | 25.1 | 109.1 | 5.78
109 | 09/07/2016 | 11:00:00 p.m. | 1407933 | 434665 | 7.1097 | 0 | 90.156 | 25.4 | 119 | 5.78
108 | 09/07/2016 | 10:00:00 p.m. | 1407824 | 434650 | 7.1177 | 0 | 89.854 | 25.1 | 127.5 | 5.78
107 | 09/07/2016 | 9:00:00 p.m. | 1407718 | 434635 | 7.1456 | 0 | 90.208 | 23.4 | 159.1 | 5.78
106 | 09/07/2016 | 8:00:00 p.m. | 1407703 | 434632 | 7.1088 | 0 | 90.013 | 25.9 | 44.7 | 5.79
105 | 09/07/2016 | 7:00:00 p.m. | 1407666 | 434627 | 7.052 | 0 | 89.996 | 26.4 | 48.8 | 5.8
104 | 09/07/2016 | 6:00:00 p.m. | 1407629 | 434622 | 7.0691 | 0 | 89.747 | 28.9 | 49.9 | 5.8
103 | 09/07/2016 | 5:00:00 p.m. | 1407586 | 434616 | 7.0089 | 0 | 89.905 | 29.6 | 58.1 | 5.8
102 | 09/07/2016 | 4:00:00 p.m. | 1407543 | 434610 | 7.002 | 0 | 89.949 | 28.7 | 106.6 | 5.8
101 | 09/07/2016 | 3:00:00 p.m. | 1407469 | 434599 | 7.042 | 0 | 89.777 | 28.2 | 110.5 | 5.8
100 | 09/07/2016 | 2:00:00 p.m. | 1407370 | 434585 | 7.04 | 0 | 89.709 | 27.6 | 111.8 | 5.8
99 | 09/07/2016 | 1:00:00 p.m. | 1407269 | 434571 | 7.017 | 0 | 89.647 | 27.2 | 131.6 | 5.8
98 | 09/07/2016 | 12:00:00 p.m. | 1407164 | 434556 | 7.0303 | 0 | 89.555 | 26.9 | 149.8 | 5.79
97 | 09/07/2016 | 11:00:00 a.m. | 1407045 | 434539 | 7.0242 | 0 | 89.81 | 24.8 | 153.5 | 5.78
96 | 09/07/2016 | 10:00:00 a.m. | 1406986 | 434530 | 7.1298 | 0 | 89.903 | 23.3 | 24.7 | 5.78
95 | 09/07/2016 | 9:00:00 a.m. | 1406963 | 434527 | 7.15 | 0 | 89.998 | 24.4 | 162.1 | 5.77
94 | 09/07/2016 | 8:00:00 a.m. | 1406886 | 434516 | 7.1242 | 0 | 90.036 | 23.9 | 116.9 | 5.77
93 | 09/07/2016 | 7:00:00 a.m. | 1406808 | 434505 | 7.1725 | 0 | 90.154 | 23.8 | 101.8 | 5.77
92 | 09/07/2016 | 6:00:00 a.m. | 1406749 | 434497 | 7.0934 | 0 | 90.229 | 24.5 | 103.6 | 5.77
91 | 09/07/2016 | 5:00:00 a.m. | 1406656 | 434484 | 7.1261 | 0 | 89.882 | 24.6 | 165 | 5.77
90 | 09/07/2016 | 4:00:00 a.m. | 1406552 | 434470 | 7.111 | 0 | 90.171 | 16.8 | 165.5 | 5.77
89 | 09/07/2016 | 3:00:00 a.m. | 1406533 | 434467 | 7.345 | 0 | 90.132 | 16.8 | 0 | 5.78
88 | 09/07/2016 | 2:00:00 a.m. | 1406533 | 434467 | 7.324 | 0 | 90.214 | 17.8 | 0 | 5.78
87 | 09/07/2016 | 1:00:00 a.m. | 1406533 | 434467 | 7.3204 | 0 | 90.206 | 17.9 | 0 | 5.78
86 | 09/07/2016 | 12:00:00 a.m. | 1406533 | 434467 | 7.3239 | 0 | 90.229 | 17.6 | 0 | 5.78
85 | 08/07/2016 | 11:00:00 p.m. | 1406533 | 434467 | 7.2585 | 0 | 90.255 | 18.3 | 3.1 | 5.78
84 | 08/07/2016 | 10:00:00 p.m. | 1406533 | 434467 | 7.3026 | 0 | 90.082 | 22.9 | 161.4 | 5.78
83 | 08/07/2016 | 9:00:00 p.m. | 1406463 | 434457 | 7.092 | 0 | 90.043 | 25.8 | 113.8 | 5.79
82 | 08/07/2016 | 8:00:00 p.m. | 1406365 | 434443 | 7.0932 | 0 | 89.854 | 26.5 | 123.9 | 5.8
81 | 08/07/2016 | 7:00:00 p.m. | 1406256 | 434428 | 7.0212 | 0 | 90.189 | 27.8 | 125.5 | 5.8
80 | 08/07/2016 | 6:00:00 p.m. | 1406187 | 434418 | 6.9859 | 0 | 90.268 | 28.7 | 150.5 | 5.8
79 | 08/07/2016 | 5:00:00 p.m. | 1406101 | 434406 | 6.9849 | 0 | 90.233 | 30.3 | 63.3 | 5.8
78 | 08/07/2016 | 4:00:00 p.m. | 1406077 | 434402 | 6.9895 | 0 | 90.211 | 29.3 | 76.2 | 5.8
77 | 08/07/2016 | 3:00:00 p.m. | 1406044 | 434398 | 6.9605 | 0 | 90.352 | 29.4 | 25.2 | 5.8
76 | 08/07/2016 | 2:00:00 p.m. | 1406022 | 434395 | 6.9466 | 0 | 90.018 | 29 | 56.8 | 5.8
75 | 08/07/2016 | 1:00:00 p.m. | 1406000 | 434391 | 6.9774 | 0 | 89.407 | 27.5 | 111.5 | 5.8
74 | 08/07/2016 | 12:00:00 p.m. | 1405953 | 434385 | 7.0461 | 0 | 89.487 | 26.9 | 111.1 | 5.8
73 | 08/07/2016 | 11:00:00 a.m. | 1405911 | 434379 | 7.0184 | 0 | 89.468 | 26.2 | 160.6 | 5.79
72 | 08/07/2016 | 10:00:00 a.m. | 1405809 | 434364 | 7.0788 | 0 | 89.71 | 22 | 161.9 | 5.78
71 | 08/07/2016 | 9:00:00 a.m. | 1405754 | 434356 | 7.295 | 0 | 90.323 | 17 | 0 | 5.78
70 | 08/07/2016 | 8:00:00 a.m. | 1405754 | 434356 | 7.3671 | 0 | 90.059 | 15.1 | 0 | 5.77
69 | 08/07/2016 | 7:00:00 a.m. | 1405754 | 434356 | 7.3934 | 0 | 90.22 | 15.5 | 0 | 5.77
68 | 08/07/2016 | 6:00:00 a.m. | 1405754 | 434356 | 7.2855 | 0 | 90.119 | 16.9 | 2.1 | 5.77
67 | 08/07/2016 | 5:00:00 a.m. | 1405754 | 434356 | 7.3172 | 0 | 90.123 | 22.4 | 162.7 | 5.77
66 | 08/07/2016 | 4:00:00 a.m. | 1405711 | 434350 | 7.1202 | 0 | 89.916 | 24.2 | 89.1 | 5.77
65 | 08/07/2016 | 3:00:00 a.m. | 1405631 | 434339 | 7.1402 | 0 | 89.964 | 24.4 | 103.5 | 5.77
64 | 08/07/2016 | 2:00:00 a.m. | 1405548 | 434327 | 7.1058 | 0 | 89.929 | 24.8 | 101.9 | 5.77
63 | 08/07/2016 | 1:00:00 a.m. | 1405468 | 434316 | 7.0705 | 0 | 89.974 | 24.9 | 90.6 | 5.78
62 | 08/07/2016 | 12:00:00 a.m. | 1405387 | 434305 | 7.0971 | 0 | 89.893 | 24.9 | 91.9 | 5.78
61 | 07/07/2016 | 11:00:00 p.m. | 1405302 | 434293 | 7.1139 | 0 | 89.879 | 25.1 | 101.3 | 5.78
60 | 07/07/2016 | 10:00:00 p.m. | 1405216 | 434281 | 7.1064 | 0 | 89.953 | 25.4 | 93.4 | 5.78
59 | 07/07/2016 | 9:00:00 p.m. | 1405126 | 434268 | 7.0834 | 0 | 89.853 | 25.7 | 111 | 5.79
58 | 07/07/2016 | 8:00:00 p.m. | 1405032 | 434255 | 7.0933 | 0 | 90.133 | 26.4 | 111.7 | 5.8
57 | 07/07/2016 | 7:00:00 p.m. | 1404947 | 434243 | 7.0718 | 0 | 90.002 | 28.5 | 43.6 | 5.8
56 | 07/07/2016 | 6:00:00 p.m. | 1404913 | 434238 | 6.9732 | 0 | 89.96 | 28.3 | 42.1 | 5.8
55 | 07/07/2016 | 5:00:00 p.m. | 1404879 | 434233 | 6.9778 | 0 | 89.769 | 27.9 | 103.2 | 5.8
54 | 07/07/2016 | 4:00:00 p.m. | 1404819 | 434224 | 7.0145 | 0 | 89.768 | 27.3 | 108.8 | 5.8
53 | 07/07/2016 | 3:00:00 p.m. | 1404739 | 434213 | 7.0334 | 0 | 89.863 | 27.2 | 106.5 | 5.8
52 | 07/07/2016 | 2:00:00 p.m. | 1404653 | 434201 | 7.0332 | 0 | 89.57 | 27 | 139.1 | 5.8
51 | 07/07/2016 | 1:00:00 p.m. | 1404548 | 434186 | 7.0099 | 0 | 89.679 | 26.9 | 141.1 | 5.8
50 | 07/07/2016 | 12:00:00 p.m. | 1404483 | 434177 | 7.0018 | 0 | 89.401 | 26.6 | 113.6 | 5.79
49 | 07/07/2016 | 11:00:00 a.m. | 1404429 | 434169 | 7.0325 | 0 | 89.164 | 25.8 | 157.6 | 5.78
48 | 07/07/2016 | 10:00:00 a.m. | 1404312 | 434152 | 7.1714 | 0 | 89.931 | 22.5 | 162.7 | 5.78
47 | 07/07/2016 | 9:00:00 a.m. | 1404269 | 434146 | 7.349 | 0 | 90.292 | 14.5 | 0 | 5.77
46 | 07/07/2016 | 8:00:00 a.m. | 1404269 | 434146 | 7.4037 | 0 | 90.464 | 13.5 | 0 | 5.77
45 | 07/07/2016 | 7:00:00 a.m. | 1404269 | 434146 | 7.4298 | 0 | 90.571 | 13.2 | 0 | 5.77
44 | 07/07/2016 | 6:00:00 a.m. | 1404269 | 434146 | 7.4407 | 0 | 90.383 | 13.6 | 0 | 5.77
43 | 07/07/2016 | 5:00:00 a.m. | 1404269 | 434146 | 7.4136 | 0 | 90.461 | 14.2 | 0 | 5.77
42 | 07/07/2016 | 4:00:00 a.m. | 1404269 | 434146 | 7.4048 | 0 | 90.523 | 15 | 0 | 5.77
41 | 07/07/2016 | 3:00:00 a.m. | 1404269 | 434146 | 7.4253 | 0 | 90.49 | 16 | 0 | 5.77
40 | 07/07/2016 | 2:00:00 a.m. | 1404269 | 434146 | 7.307 | 0 | 90.353 | 18 | 0 | 5.78
39 | 07/07/2016 | 1:00:00 a.m. | 1404269 | 434146 | 7.2901 | 0 | 90.31 | 19.6 | 1.3 | 5.78
38 | 07/07/2016 | 12:00:00 a.m. | 1404269 | 434146 | 7.2054 | 0 | 90.276 | 23.7 | 108.7 | 5.78
37 | 06/07/2016 | 11:00:00 p.m. | 1404221 | 434140 | 7.1006 | 0 | 90.159 | 25.2 | 110.3 | 5.77
36 | 06/07/2016 | 10:00:00 p.m. | 1404119 | 434125 | 7.1633 | 0 | 90.277 | 25.3 | 110.3 | 5.78
35 | 06/07/2016 | 9:00:00 p.m. | 1404015 | 434111 | 7.1346 | 0 | 90.117 | 25.2 | 119.1 | 5.78
34 | 06/07/2016 | 8:00:00 p.m. | 1403908 | 434096 | 7.0831 | 0 | 89.869 | 25.3 | 117.1 | 5.78
33 | 06/07/2016 | 7:00:00 p.m. | 1403803 | 434081 | 7.1263 | 0 | 89.958 | 25.3 | 84.1 | 5.78
32 | 06/07/2016 | 6:00:00 p.m. | 1403731 | 434071 | 7.0819 | 0 | 89.974 | 24.3 | 111.6 | 5.78
31 | 06/07/2016 | 5:00:00 p.m. | 1403702 | 434067 | 7.1635 | 0 | 90.015 | 23.4 | 68.2 | 5.79
30 | 06/07/2016 | 4:00:00 p.m. | 1403679 | 434063 | 7.1436 | 0 | 89.423 | 26.5 | 86.6 | 5.8
29 | 06/07/2016 | 3:00:00 p.m. | 1403654 | 434060 | 6.92 | 0 | 89.872 | 29.6 | 18.7 | 5.8
28 | 06/07/2016 | 2:00:00 p.m. | 1403637 | 434057 | 7.0514 | 0 | 89.56 | 29.4 | 161.2 | 5.8
27 | 06/07/2016 | 1:00:00 p.m. | 1403614 | 434054 | 6.8437 | 0 | 89.374 | 30.2 | 137.1 | 5.8
26 | 06/07/2016 | 12:00:00 p.m. | 1403609 | 434053 | 6.955 | 0 | 89.634 | 26.7 | 161.8 | 5.8
25 | 06/07/2016 | 11:00:00 a.m. | 1403543 | 434044 | 7.0132 | 0 | 89.222 | 25.7 | 163.5 | 5.79
24 | 06/07/2016 | 10:00:00 a.m. | 1403460 | 434032 | 7.0833 | 0 | 89.878 | 24.4 | 163.9 | 5.78
23 | 06/07/2016 | 9:00:00 a.m. | 1403392 | 434023 | 7.1291 | 0 | 90.246 | 23.5 | 164.6 | 5.77
22 | 06/07/2016 | 8:00:00 a.m. | 1403335 | 434015 | 7.1442 | 0 | 90.425 | 24.1 | 97.6 | 5.77
21 | 06/07/2016 | 7:00:00 a.m. | 1403249 | 434003 | 7.1698 | 0 | 90.468 | 22.8 | 104.7 | 5.77
20 | 06/07/2016 | 6:00:00 a.m. | 1403178 | 433993 | 7.2423 | 0 | 90.781 | 21.1 | 35.4 | 5.77
19 | 06/07/2016 | 5:00:00 a.m. | 1403152 | 433989 | 7.2649 | 0 | 90.729 | 21.8 | 76 | 5.77
18 | 06/07/2016 | 4:00:00 a.m. | 1403122 | 433985 | 7.1661 | 0 | 90.438 | 23.4 | 81.7 | 5.77
17 | 06/07/2016 | 3:00:00 a.m. | 1403050 | 433975 | 7.2235 | 0 | 90.496 | 23 | 89.2 | 5.77
16 | 06/07/2016 | 2:00:00 a.m. | 1402973 | 433964 | 7.1519 | 0 | 90.357 | 22.7 | 88 | 5.77
15 | 06/07/2016 | 1:00:00 a.m. | 1402896 | 433953 | 7.2141 | 0 | 90.372 | 22.2 | 95.3 | 5.77
14 | 06/07/2016 | 12:00:00 a.m. | 1402816 | 433942 | 7.2356 | 0 | 90.356 | 22.1 | 115.6 | 5.78
13 | 05/07/2016 | 11:00:00 p.m. | 1402731 | 433931 | 7.1588 | 0 | 90.34 | 24.9 | 80 | 5.78
12 | 05/07/2016 | 10:00:00 p.m. | 1402668 | 433922 | 7.1186 | 0 | 90.577 | 22.9 | 163 | 5.78
11 | 05/07/2016 | 9:00:00 p.m. | 1402627 | 433916 | 7.2436 | 0 | 90.658 | 23.3 | 0 | 5.79
10 | 05/07/2016 | 8:00:00 p.m. | 1402627 | 433916 | 7.155 | 0 | 90.754 | 27.4 | 2 | 5.8
9 | 05/07/2016 | 7:00:00 p.m. | 1402627 | 433916 | 6.9885 | 0 | 90.374 | 29.3 | 160.4 | 5.8
8 | 05/07/2016 | 6:00:00 p.m. | 1402607 | 433913 | 7.0288 | 0 | 90.259 | 28.8 | 63.2 | 5.8
7 | 05/07/2016 | 5:00:00 p.m. | 1402575 | 433908 | 7.0032 | 0 | 90.303 | 29.5 | 56.6 | 5.8
6 | 05/07/2016 | 4:00:00 p.m. | 1402543 | 433904 | 6.9761 | 0 | 89.951 | 28.2 | 102 | 5.8
5 | 05/07/2016 | 3:00:00 p.m. | 1402494 | 433897 | 7.0424 | 0 | 89.837 | 27.9 | 113.5 | 5.8
4 | 05/07/2016 | 2:00:00 p.m. | 1402399 | 433883 | 7.0165 | 0 | 89.777 | 27.7 | 111.6 | 5.8
3 | 05/07/2016 | 1:00:00 p.m. | 1402294 | 433869 | 7.0105 | 0 | 89.853 | 27.4 | 140.5 | 5.8
2 | 05/07/2016 | 12:00:00 p.m. | 1402208 | 433856 | 7.0418 | 0 | 90.189 | 26.9 | 31.2 | 5.8
1 | 05/07/2016 | 11:00:00 a.m. | 1402187 | 433853 | 7.1228 | 0 | 90.146 | 24.5 | 79.3 | 5.78