## Saporis diario 082816 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 2:57:40 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
21 | 29/08/2016 | 9:00:00 a.m. | 1463102 | 442426 | 7.3942 | 0 | 91.519 | 22.9 | 162.5 | 5.74
20 | 28/08/2016 | 9:00:00 a.m. | 1462825 | 442388 | 7.5542 | 0 | 91.21 | 19.8 | 225.9 | 5.74
19 | 27/08/2016 | 9:00:00 a.m. | 1461878 | 442255 | 7.1414 | 0 | 91.089 | 20.5 | 163.8 | 5.74
18 | 26/08/2016 | 9:00:00 a.m. | 1461269 | 442169 | 7.2299 | 0 | 90.562 | 20 | 239.7 | 5.74
17 | 25/08/2016 | 9:00:00 a.m. | 1460525 | 442064 | 7.4162 | 0 | 90.552 | 20.3 | 161.3 | 5.74
16 | 24/08/2016 | 9:00:00 a.m. | 1459744 | 441954 | 7.1282 | 0 | 90.783 | 21 | 162.6 | 5.74
15 | 23/08/2016 | 9:00:00 a.m. | 1459081 | 441862 | 7.223 | 0 | 90.848 | 21 | 160.7 | 5.75