## Mineria Empresarial diario 0331
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/24/2014 | 12:42:43 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
2 | 02/17/2014 | 10:31:52 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
31 | 04/01/2014 | 9:00:00 a.m. | 9060 | 177484 | 7.4815 | 0 | 93.497 | 24.2 | 6.17
30 | 03/31/2014 | 9:00:00 a.m. | 9060 | 177484 | 7.573 | 0 | 94.848 | 22.3 | 6.17
29 | 03/30/2014 | 9:00:00 a.m. | 9060 | 177484 | 7.5968 | 0 | 94.438 | 25 | 6.18
28 | 03/29/2014 | 9:00:00 a.m. | 9060 | 177484 | 7.4118 | 0 | 91.725 | 20.6 | 6.18
27 | 03/28/2014 | 9:00:00 a.m. | 8654 | 177427 | 7.097 | 0 | 92.204 | 22.1 | 6.17
26 | 03/27/2014 | 9:00:00 a.m. | 8635 | 177424 | 7.4014 | 0 | 92.295 | 21.7 | 6.19
25 | 03/26/2014 | 9:00:00 a.m. | 8635 | 177424 | 7.3696 | 0 | 91.789 | 20.5 | 6.18
24 | 03/25/2014 | 9:00:00 a.m. | 8286 | 177375 | 7.0679 | 0 | 91.374 | 18.8 | 6.18
23 | 03/24/2014 | 9:00:00 a.m. | 7657 | 177285 | 7.4166 | 0 | 92.706 | 24.4 | 6.19
22 | 03/23/2014 | 9:00:00 a.m. | 7657 | 177285 | 7.3979 | 0 | 92.319 | 22.4 | 6.2
21 | 03/22/2014 | 9:00:00 a.m. | 7371 | 177245 | 7.3388 | 0 | 92.642 | 25.8 | 6.19
20 | 03/21/2014 | 9:00:00 a.m. | 7345 | 177241 | 7.4182 | 0 | 92.103 | 21.9 | 6.2
19 | 03/20/2014 | 9:00:00 a.m. | 6946 | 177185 | 7.13 | 0 | 92.625 | 22.7 | 6.2
18 | 03/19/2014 | 9:00:00 a.m. | 6925 | 177182 | 7.4978 | 0 | 92.008 | 17 | 6.2
17 | 03/18/2014 | 9:00:00 a.m. | 6298 | 177094 | 7.3986 | 0 | 92.887 | 21 | 6.19
16 | 03/17/2014 | 9:00:00 a.m. | 6281 | 177092 | 7.4892 | 0 | 92.771 | 22.8 | 6.19
15 | 03/16/2014 | 9:00:00 a.m. | 6281 | 177092 | 7.4554 | 0 | 92.723 | 22.5 | 6.21
14 | 03/15/2014 | 9:00:00 a.m. | 6281 | 177092 | 7.5415 | 0 | 92.755 | 21.7 | 6.19
13 | 03/14/2014 | 9:00:00 a.m. | 6280 | 177092 | 7.5301 | 0 | 92.308 | 18.5 | 6.2
12 | 03/13/2014 | 9:00:00 a.m. | 5831 | 177029 | 7.2528 | 0 | 92.131 | 17.4 | 6.2
11 | 03/12/2014 | 9:00:00 a.m. | 5284 | 176952 | 7.576 | 0 | 92.528 | 18.9 | 6.2
10 | 03/11/2014 | 9:00:00 a.m. | 5100 | 176926 | 7.513 | 0 | 92.713 | 19.2 | 6.21
9 | 03/10/2014 | 9:00:00 a.m. | 5100 | 176926 | 7.4395 | 0 | 92.737 | 18.3 | 6.21
8 | 03/09/2014 | 9:00:00 a.m. | 5100 | 176926 | 7.5389 | 0 | 92.703 | 20.7 | 6.22
7 | 03/08/2014 | 9:00:00 a.m. | 5100 | 176926 | 7.5692 | 0 | 91.794 | 17.2 | 6.21
6 | 03/07/2014 | 9:00:00 a.m. | 4399 | 176827 | 7.1713 | 0 | 92.683 | 20.9 | 6.23
5 | 03/06/2014 | 9:00:00 a.m. | 4371 | 176823 | 7.6467 | 0 | 91.971 | 16.1 | 6.22
4 | 03/05/2014 | 9:00:00 a.m. | 3741 | 176735 | 7.5755 | 0 | 92.71 | 19.5 | 6.22
3 | 03/04/2014 | 9:00:00 a.m. | 3741 | 176735 | 7.5701 | 0 | 92.73 | 20 | 6.23
2 | 03/03/2014 | 9:00:00 a.m. | 3741 | 176735 | 7.5663 | 0 | 92.78 | 21.4 | 6.23
1 | 03/02/2014 | 9:00:00 a.m. | 3741 | 176735 | 7.5746 | 0 | 92.722 | 22.2 | 6.24