## Saporis diario 033114 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/03/2013 | 2:52:41 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 12/02/2013 | 1:45:49 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
31 | 01/04/2014 | 9:00:00 a.m. | 824605 | 356356 | 7.3891 | 0 | 93.126 | 22.6 | 4.97
30 | 31/03/2014 | 9:00:00 a.m. | 823930 | 356264 | 7.4574 | 0 | 94.493 | 22 | 4.97
29 | 30/03/2014 | 9:00:00 a.m. | 823832 | 356251 | 7.5402 | 0 | 94.089 | 23.3 | 4.97
28 | 29/03/2014 | 9:00:00 a.m. | 823610 | 356220 | 7.3837 | 0 | 91.846 | 22.1 | 4.97
27 | 28/03/2014 | 9:00:00 a.m. | 823317 | 356180 | 7.3377 | 0 | 91.882 | 23.5 | 4.97
26 | 27/03/2014 | 9:00:00 a.m. | 822918 | 356125 | 7.2558 | 0 | 91.941 | 22.2 | 4.98
25 | 26/03/2014 | 9:00:00 a.m. | 822412 | 356056 | 7.3237 | 0 | 91.872 | 23.8 | 4.98
24 | 25/03/2014 | 9:00:00 a.m. | 821760 | 355966 | 7.2496 | 0 | 91.796 | 22.6 | 4.99
23 | 24/03/2014 | 9:00:00 a.m. | 821375 | 355914 | 7.3408 | 0 | 92.351 | 26.1 | 4.99
22 | 23/03/2014 | 9:00:00 a.m. | 820818 | 355838 | 7.3583 | 0 | 92.357 | 23.8 | 4.99
21 | 22/03/2014 | 9:00:00 a.m. | 820616 | 355810 | 7.2932 | 0 | 92.33 | 25.2 | 4.99
20 | 21/03/2014 | 9:00:00 a.m. | 820218 | 355756 | 7.3133 | 0 | 92.279 | 23.4 | 4.99
19 | 20/03/2014 | 9:00:00 a.m. | 819989 | 355725 | 7.3272 | 0 | 92.29 | 22.6 | 4.98
18 | 19/03/2014 | 9:00:00 a.m. | 819405 | 355645 | 7.3261 | 0 | 92.409 | 20.5 | 4.98
17 | 18/03/2014 | 9:00:00 a.m. | 818831 | 355567 | 7.3567 | 0 | 92.524 | 20.5 | 4.98
16 | 17/03/2014 | 9:00:00 a.m. | 818511 | 355524 | 7.448 | 0 | 92.426 | 23.1 | 4.99
15 | 16/03/2014 | 9:00:00 a.m. | 818485 | 355520 | 7.4076 | 0 | 92.383 | 22.1 | 4.99
14 | 15/03/2014 | 9:00:00 a.m. | 818221 | 355484 | 7.3973 | 0 | 92.412 | 22.8 | 4.99
13 | 14/03/2014 | 9:00:00 a.m. | 817929 | 355444 | 7.4143 | 0 | 92.42 | 21.9 | 4.99
12 | 13/03/2014 | 9:00:00 a.m. | 817612 | 355401 | 7.477 | 0 | 92.399 | 21.2 | 4.98
11 | 12/03/2014 | 9:00:00 a.m. | 816921 | 355307 | 7.3817 | 0 | 92.357 | 22 | 4.99
10 | 11/03/2014 | 9:00:00 a.m. | 816130 | 355200 | 7.4321 | 0 | 92.365 | 19.8 | 4.98
9 | 10/03/2014 | 9:00:00 a.m. | 816005 | 355182 | 7.3177 | 0 | 92.384 | 20 | 4.99
8 | 09/03/2014 | 9:00:00 a.m. | 815700 | 355141 | 7.4682 | 0 | 92.359 | 19.4 | 4.99
7 | 08/03/2014 | 9:00:00 a.m. | 815360 | 355094 | 7.498 | 0 | 92.357 | 20.8 | 4.99
6 | 07/03/2014 | 9:00:00 a.m. | 814727 | 355008 | 7.319 | 0 | 92.374 | 21.4 | 4.99
5 | 06/03/2014 | 9:00:00 a.m. | 814256 | 354944 | 7.4431 | 0 | 92.344 | 18.4 | 4.99
4 | 05/03/2014 | 9:00:00 a.m. | 813307 | 354814 | 7.3186 | 0 | 92.366 | 19.2 | 4.99
3 | 04/03/2014 | 9:00:00 a.m. | 812936 | 354763 | 7.3567 | 0 | 92.407 | 20.8 | 4.99
2 | 03/03/2014 | 9:00:00 a.m. | 812707 | 354732 | 7.3402 | 0 | 92.452 | 21.3 | 5
1 | 02/03/2014 | 9:00:00 a.m. | 812563 | 354713 | 7.5011 | 0 | 92.383 | 21 | 5