## Saporis horario 033114 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 744
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/03/2013 | 2:52:41 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 12/02/2013 | 1:45:49 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
744 | 01/04/2014 | 10:00:00 a.m. | 824630 | 356359 | 7.2855 | 0 | 92.981 | 25.7 | 4.98
743 | 01/04/2014 | 9:00:00 a.m. | 824605 | 356356 | 7.3891 | 0 | 93.202 | 21.5 | 4.97
742 | 01/04/2014 | 8:00:00 a.m. | 824558 | 356349 | 7.4793 | 0 | 93.422 | 19.7 | 4.96
741 | 01/04/2014 | 7:00:00 a.m. | 824488 | 356340 | 7.5261 | 0 | 93.313 | 18.3 | 4.96
740 | 01/04/2014 | 6:00:00 a.m. | 824424 | 356332 | 7.5209 | 0 | 93.292 | 12.3 | 4.96
739 | 01/04/2014 | 5:00:00 a.m. | 824375 | 356325 | 7.7964 | 0 | 93.421 | 9.6 | 4.97
738 | 01/04/2014 | 4:00:00 a.m. | 824375 | 356325 | 7.7685 | 0 | 93.363 | 10.4 | 4.97
737 | 01/04/2014 | 3:00:00 a.m. | 824375 | 356325 | 7.7464 | 0 | 93.32 | 11.8 | 4.97
736 | 01/04/2014 | 2:00:00 a.m. | 824375 | 356325 | 7.6848 | 0 | 93.313 | 13.3 | 4.97
735 | 01/04/2014 | 1:00:00 a.m. | 824375 | 356325 | 7.6583 | 0 | 93.334 | 15.2 | 4.97
734 | 01/04/2014 | 12:00:00 a.m. | 824375 | 356325 | 7.5903 | 0 | 93.284 | 17.1 | 4.97
733 | 31/03/2014 | 11:00:00 p.m. | 824375 | 356325 | 7.5353 | 0 | 93.293 | 19.5 | 4.98
732 | 31/03/2014 | 10:00:00 p.m. | 824375 | 356325 | 7.461 | 0 | 93.24 | 21.2 | 4.98
731 | 31/03/2014 | 9:00:00 p.m. | 824374 | 356325 | 7.4252 | 0 | 93.14 | 22.5 | 4.98
730 | 31/03/2014 | 8:00:00 p.m. | 824334 | 356320 | 7.377 | 0 | 93.064 | 24.2 | 4.99
729 | 31/03/2014 | 7:00:00 p.m. | 824283 | 356313 | 7.2896 | 0 | 93.057 | 27.1 | 5
728 | 31/03/2014 | 6:00:00 p.m. | 824283 | 356313 | 7.2677 | 0 | 93.014 | 27.7 | 5
727 | 31/03/2014 | 5:00:00 p.m. | 824263 | 356310 | 7.2309 | 0 | 92.746 | 33.1 | 5.01
726 | 31/03/2014 | 4:00:00 p.m. | 824221 | 356304 | 6.9826 | 0 | 92.711 | 37.9 | 5
725 | 31/03/2014 | 3:00:00 p.m. | 824221 | 356304 | 7.0036 | 0 | 92.654 | 37 | 5
724 | 31/03/2014 | 2:00:00 p.m. | 824221 | 356304 | 7.0032 | 0 | 92.631 | 33.3 | 5
723 | 31/03/2014 | 1:00:00 p.m. | 824200 | 356301 | 7.1943 | 0 | 92.493 | 28.6 | 4.99
722 | 31/03/2014 | 12:00:00 p.m. | 824116 | 356289 | 7.1957 | 0 | 92.581 | 28.6 | 4.99
721 | 31/03/2014 | 11:00:00 a.m. | 824058 | 356281 | 7.2131 | 0 | 93.057 | 27.2 | 4.99
720 | 31/03/2014 | 10:00:00 a.m. | 824001 | 356274 | 7.3709 | 0 | 94.082 | 24.8 | 4.98
719 | 31/03/2014 | 9:00:00 a.m. | 823930 | 356264 | 7.4574 | 0 | 94.275 | 17.3 | 4.97
718 | 31/03/2014 | 8:00:00 a.m. | 823861 | 356255 | 7.8636 | 0 | 94.785 | 7.8 | 4.96
717 | 31/03/2014 | 7:00:00 a.m. | 823861 | 356255 | 7.9629 | 0 | 94.863 | 7.4 | 4.96
716 | 31/03/2014 | 6:00:00 a.m. | 823861 | 356255 | 7.9391 | 0 | 94.844 | 8.3 | 4.96
715 | 31/03/2014 | 5:00:00 a.m. | 823861 | 356255 | 7.9241 | 0 | 94.816 | 9.2 | 4.97
714 | 31/03/2014 | 4:00:00 a.m. | 823861 | 356255 | 7.8785 | 0 | 94.734 | 10 | 4.97
713 | 31/03/2014 | 3:00:00 a.m. | 823861 | 356255 | 7.8638 | 0 | 94.782 | 10.8 | 4.97
712 | 31/03/2014 | 2:00:00 a.m. | 823861 | 356255 | 7.8271 | 0 | 94.739 | 12 | 4.97
711 | 31/03/2014 | 1:00:00 a.m. | 823860 | 356255 | 7.7819 | 0 | 94.713 | 13.5 | 4.97
710 | 31/03/2014 | 12:00:00 a.m. | 823860 | 356255 | 7.7459 | 0 | 94.708 | 15.3 | 4.97
709 | 30/03/2014 | 11:00:00 p.m. | 823860 | 356255 | 7.6755 | 0 | 94.613 | 17.7 | 4.97
708 | 30/03/2014 | 10:00:00 p.m. | 823860 | 356255 | 7.6064 | 0 | 94.611 | 19.9 | 4.98
707 | 30/03/2014 | 9:00:00 p.m. | 823860 | 356255 | 7.5673 | 0 | 94.649 | 21.2 | 4.98
706 | 30/03/2014 | 8:00:00 p.m. | 823860 | 356255 | 7.5076 | 0 | 94.642 | 23.4 | 4.98
705 | 30/03/2014 | 7:00:00 p.m. | 823860 | 356255 | 7.4434 | 0 | 94.521 | 26 | 4.99
704 | 30/03/2014 | 6:00:00 p.m. | 823860 | 356255 | 7.3801 | 0 | 94.4 | 28.4 | 5
703 | 30/03/2014 | 5:00:00 p.m. | 823860 | 356255 | 7.2755 | 0 | 94.258 | 34.8 | 5
702 | 30/03/2014 | 4:00:00 p.m. | 823860 | 356255 | 7.0901 | 0 | 94.194 | 37.8 | 5
701 | 30/03/2014 | 3:00:00 p.m. | 823860 | 356255 | 7.0747 | 0 | 94.079 | 39.4 | 5
700 | 30/03/2014 | 2:00:00 p.m. | 823860 | 356255 | 7.0058 | 0 | 94.066 | 41.4 | 5
699 | 30/03/2014 | 1:00:00 p.m. | 823860 | 356255 | 7.0427 | 0 | 94.039 | 36.3 | 5
698 | 30/03/2014 | 12:00:00 p.m. | 823860 | 356255 | 7.3219 | 0 | 93.943 | 35.7 | 4.99
697 | 30/03/2014 | 11:00:00 a.m. | 823832 | 356251 | 7.1726 | 0 | 94.184 | 31.4 | 4.99
696 | 30/03/2014 | 10:00:00 a.m. | 823832 | 356251 | 7.3373 | 0 | 94.373 | 24.2 | 4.98
695 | 30/03/2014 | 9:00:00 a.m. | 823832 | 356251 | 7.5402 | 0 | 94.503 | 16.8 | 4.97
694 | 30/03/2014 | 8:00:00 a.m. | 823832 | 356251 | 7.7288 | 0 | 94.649 | 13.1 | 4.97
693 | 30/03/2014 | 7:00:00 a.m. | 823832 | 356251 | 7.8008 | 0 | 94.728 | 11.8 | 4.97
692 | 30/03/2014 | 6:00:00 a.m. | 823832 | 356251 | 7.8393 | 0 | 94.709 | 11.7 | 4.97
691 | 30/03/2014 | 5:00:00 a.m. | 823832 | 356251 | 7.8129 | 0 | 94.77 | 12.6 | 4.97
690 | 30/03/2014 | 4:00:00 a.m. | 823832 | 356251 | 7.7664 | 0 | 94.712 | 14 | 4.97
689 | 30/03/2014 | 3:00:00 a.m. | 823832 | 356251 | 7.7415 | 0 | 94.7 | 14.7 | 4.97
688 | 30/03/2014 | 2:00:00 a.m. | 823832 | 356251 | 7.7168 | 0 | 94.67 | 15.1 | 4.97
687 | 30/03/2014 | 1:00:00 a.m. | 823832 | 356251 | 7.7147 | 0 | 94.687 | 16.2 | 4.97
686 | 30/03/2014 | 12:00:00 a.m. | 823832 | 356251 | 7.6648 | 0 | 94.658 | 17.9 | 4.98
685 | 29/03/2014 | 11:00:00 p.m. | 823832 | 356251 | 7.6212 | 0 | 94.632 | 19.4 | 4.98
684 | 29/03/2014 | 10:00:00 p.m. | 823832 | 356251 | 7.5713 | 0 | 94.582 | 20.7 | 4.99
683 | 29/03/2014 | 9:00:00 p.m. | 823832 | 356251 | 7.5277 | 0 | 94.55 | 22.4 | 4.99
682 | 29/03/2014 | 8:00:00 p.m. | 823832 | 356251 | 7.4922 | 0 | 94.492 | 23.7 | 4.99
681 | 29/03/2014 | 7:00:00 p.m. | 823817 | 356249 | 7.4361 | 0 | 94.264 | 25.9 | 5
680 | 29/03/2014 | 6:00:00 p.m. | 823769 | 356242 | 7.3357 | 0 | 94.216 | 29 | 5.01
679 | 29/03/2014 | 5:00:00 p.m. | 823719 | 356235 | 7.294 | 0 | 94.125 | 33.7 | 5.01
678 | 29/03/2014 | 4:00:00 p.m. | 823668 | 356228 | 7.042 | 0 | 94.121 | 39.2 | 5.01
677 | 29/03/2014 | 3:00:00 p.m. | 823668 | 356228 | 7.0585 | 0 | 94.003 | 39.4 | 5.01
676 | 29/03/2014 | 2:00:00 p.m. | 823668 | 356228 | 7.0156 | 0 | 94.09 | 39.8 | 5
675 | 29/03/2014 | 1:00:00 p.m. | 823668 | 356228 | 7.079 | 0 | 93.495 | 33.9 | 5
674 | 29/03/2014 | 12:00:00 p.m. | 823651 | 356226 | 7.0941 | 0 | 91.477 | 30.7 | 5
673 | 29/03/2014 | 11:00:00 a.m. | 823610 | 356220 | 6.9523 | 0 | 91.575 | 32.6 | 4.99
672 | 29/03/2014 | 10:00:00 a.m. | 823610 | 356220 | 7.1292 | 0 | 91.735 | 24.3 | 4.99
671 | 29/03/2014 | 9:00:00 a.m. | 823610 | 356220 | 7.3837 | 0 | 91.969 | 15.4 | 4.97
670 | 29/03/2014 | 8:00:00 a.m. | 823610 | 356220 | 7.6402 | 0 | 92.081 | 11.3 | 4.97
669 | 29/03/2014 | 7:00:00 a.m. | 823610 | 356220 | 7.615 | 0 | 92.042 | 9.8 | 4.96
668 | 29/03/2014 | 6:00:00 a.m. | 823595 | 356218 | 7.6927 | 0 | 92.041 | 8.7 | 4.97
667 | 29/03/2014 | 5:00:00 a.m. | 823595 | 356218 | 7.6688 | 0 | 92.005 | 9.8 | 4.97
666 | 29/03/2014 | 4:00:00 a.m. | 823595 | 356218 | 7.6801 | 0 | 92.081 | 11.1 | 4.97
665 | 29/03/2014 | 3:00:00 a.m. | 823595 | 356218 | 7.6052 | 0 | 92.132 | 12.9 | 4.97
664 | 29/03/2014 | 2:00:00 a.m. | 823595 | 356218 | 7.5767 | 0 | 92.106 | 15.8 | 4.97
663 | 29/03/2014 | 1:00:00 a.m. | 823595 | 356218 | 7.4758 | 0 | 91.973 | 18.6 | 4.97
662 | 29/03/2014 | 12:00:00 a.m. | 823538 | 356211 | 7.5392 | 0 | 92.128 | 16.4 | 4.97
661 | 28/03/2014 | 11:00:00 p.m. | 823538 | 356211 | 7.4747 | 0 | 92.086 | 18.8 | 4.98
660 | 28/03/2014 | 10:00:00 p.m. | 823538 | 356211 | 7.3935 | 0 | 91.97 | 20.4 | 4.98
659 | 28/03/2014 | 9:00:00 p.m. | 823538 | 356211 | 7.3704 | 0 | 91.995 | 21.8 | 4.99
658 | 28/03/2014 | 8:00:00 p.m. | 823511 | 356207 | 7.3174 | 0 | 91.894 | 23.3 | 4.99
657 | 28/03/2014 | 7:00:00 p.m. | 823476 | 356202 | 7.2595 | 0 | 91.82 | 25.9 | 5
656 | 28/03/2014 | 6:00:00 p.m. | 823463 | 356200 | 7.2114 | 0 | 91.735 | 27.5 | 5
655 | 28/03/2014 | 5:00:00 p.m. | 823451 | 356199 | 7.166 | 0 | 91.721 | 29.4 | 5.01
654 | 28/03/2014 | 4:00:00 p.m. | 823418 | 356194 | 7.042 | 0 | 91.587 | 36.3 | 5.01
653 | 28/03/2014 | 3:00:00 p.m. | 823401 | 356192 | 6.9361 | 0 | 91.56 | 35.3 | 5
652 | 28/03/2014 | 2:00:00 p.m. | 823401 | 356192 | 7.0201 | 0 | 91.542 | 32.4 | 5
651 | 28/03/2014 | 1:00:00 p.m. | 823372 | 356187 | 7.08 | 0 | 91.338 | 32.4 | 5
650 | 28/03/2014 | 12:00:00 p.m. | 823317 | 356180 | 6.8626 | 0 | 91.372 | 38 | 5
649 | 28/03/2014 | 11:00:00 a.m. | 823317 | 356180 | 6.9566 | 0 | 91.544 | 32.9 | 5
648 | 28/03/2014 | 10:00:00 a.m. | 823317 | 356180 | 7.0979 | 0 | 91.587 | 25.5 | 4.99
647 | 28/03/2014 | 9:00:00 a.m. | 823317 | 356180 | 7.3377 | 0 | 91.895 | 18.8 | 4.97
646 | 28/03/2014 | 8:00:00 a.m. | 823317 | 356180 | 7.4482 | 0 | 92.097 | 17.9 | 4.97
645 | 28/03/2014 | 7:00:00 a.m. | 823282 | 356175 | 7.4211 | 0 | 91.975 | 17.3 | 4.96
644 | 28/03/2014 | 6:00:00 a.m. | 823199 | 356164 | 7.7038 | 0 | 92.055 | 9.1 | 4.97
643 | 28/03/2014 | 5:00:00 a.m. | 823199 | 356164 | 7.6724 | 0 | 92.068 | 9.8 | 4.97
642 | 28/03/2014 | 4:00:00 a.m. | 823199 | 356164 | 7.6667 | 0 | 92.096 | 11.1 | 4.97
641 | 28/03/2014 | 3:00:00 a.m. | 823199 | 356164 | 7.6319 | 0 | 92.105 | 13 | 4.97
640 | 28/03/2014 | 2:00:00 a.m. | 823199 | 356164 | 7.5609 | 0 | 92.133 | 15.8 | 4.97
639 | 28/03/2014 | 1:00:00 a.m. | 823199 | 356164 | 7.4531 | 0 | 92.088 | 19.4 | 4.97
638 | 28/03/2014 | 12:00:00 a.m. | 823175 | 356161 | 7.3808 | 0 | 91.969 | 20.3 | 4.97
637 | 27/03/2014 | 11:00:00 p.m. | 823125 | 356154 | 7.3763 | 0 | 91.918 | 20.4 | 4.97
636 | 27/03/2014 | 10:00:00 p.m. | 823074 | 356147 | 7.3697 | 0 | 91.828 | 20.1 | 4.98
635 | 27/03/2014 | 9:00:00 p.m. | 823022 | 356140 | 7.4202 | 0 | 91.943 | 20.4 | 4.99
634 | 27/03/2014 | 8:00:00 p.m. | 823022 | 356140 | 7.348 | 0 | 91.958 | 23.1 | 4.99
633 | 27/03/2014 | 7:00:00 p.m. | 823022 | 356140 | 7.2603 | 0 | 91.859 | 26.2 | 5
632 | 27/03/2014 | 6:00:00 p.m. | 823018 | 356139 | 7.165 | 0 | 91.724 | 33.8 | 5
631 | 27/03/2014 | 5:00:00 p.m. | 822996 | 356136 | 6.9727 | 0 | 91.772 | 36 | 5.01
630 | 27/03/2014 | 4:00:00 p.m. | 822996 | 356136 | 6.9526 | 0 | 91.669 | 33.8 | 5.01
629 | 27/03/2014 | 3:00:00 p.m. | 822990 | 356135 | 7.0813 | 0 | 91.663 | 33.9 | 5
628 | 27/03/2014 | 2:00:00 p.m. | 822975 | 356133 | 7.0384 | 0 | 91.633 | 36.8 | 5
627 | 27/03/2014 | 1:00:00 p.m. | 822964 | 356132 | 6.8952 | 0 | 91.698 | 36.8 | 5
626 | 27/03/2014 | 12:00:00 p.m. | 822958 | 356131 | 6.9063 | 0 | 91.619 | 34.5 | 5
625 | 27/03/2014 | 11:00:00 a.m. | 822951 | 356130 | 7.0462 | 0 | 91.647 | 29 | 4.99
624 | 27/03/2014 | 10:00:00 a.m. | 822924 | 356126 | 7.1645 | 0 | 91.763 | 26.7 | 4.99
623 | 27/03/2014 | 9:00:00 a.m. | 822918 | 356125 | 7.2558 | 0 | 91.906 | 21.2 | 4.98
622 | 27/03/2014 | 8:00:00 a.m. | 822915 | 356125 | 7.3631 | 0 | 91.999 | 18.8 | 4.97
621 | 27/03/2014 | 7:00:00 a.m. | 822851 | 356116 | 7.4064 | 0 | 91.989 | 14.4 | 4.96
620 | 27/03/2014 | 6:00:00 a.m. | 822780 | 356107 | 7.7267 | 0 | 92.19 | 9.2 | 4.97
619 | 27/03/2014 | 5:00:00 a.m. | 822780 | 356107 | 7.6567 | 0 | 92.178 | 10.4 | 4.97
618 | 27/03/2014 | 4:00:00 a.m. | 822780 | 356107 | 7.6518 | 0 | 92.189 | 11.9 | 4.97
617 | 27/03/2014 | 3:00:00 a.m. | 822780 | 356107 | 7.6189 | 0 | 92.131 | 12.5 | 4.97
616 | 27/03/2014 | 2:00:00 a.m. | 822780 | 356107 | 7.5759 | 0 | 92.152 | 14 | 4.97
615 | 27/03/2014 | 1:00:00 a.m. | 822780 | 356107 | 7.5277 | 0 | 92.075 | 17.6 | 4.97
614 | 27/03/2014 | 12:00:00 a.m. | 822762 | 356104 | 7.4374 | 0 | 92.02 | 18.4 | 4.97
613 | 26/03/2014 | 11:00:00 p.m. | 822722 | 356099 | 7.4641 | 0 | 92.044 | 19.1 | 4.97
612 | 26/03/2014 | 10:00:00 p.m. | 822683 | 356093 | 7.4157 | 0 | 91.969 | 19.2 | 4.98
611 | 26/03/2014 | 9:00:00 p.m. | 822672 | 356092 | 7.3348 | 0 | 91.967 | 21 | 4.99
610 | 26/03/2014 | 8:00:00 p.m. | 822660 | 356090 | 7.3616 | 0 | 91.919 | 22.4 | 4.99
609 | 26/03/2014 | 7:00:00 p.m. | 822648 | 356089 | 7.306 | 0 | 91.88 | 24 | 5
608 | 26/03/2014 | 6:00:00 p.m. | 822635 | 356087 | 7.2541 | 0 | 91.779 | 25 | 5
607 | 26/03/2014 | 5:00:00 p.m. | 822587 | 356080 | 7.2259 | 0 | 91.576 | 27 | 5
606 | 26/03/2014 | 4:00:00 p.m. | 822534 | 356073 | 7.1508 | 0 | 91.736 | 30.9 | 5.01
605 | 26/03/2014 | 3:00:00 p.m. | 822499 | 356068 | 7.1151 | 0 | 91.689 | 34.8 | 5.01
604 | 26/03/2014 | 2:00:00 p.m. | 822476 | 356065 | 6.9196 | 0 | 91.624 | 36.9 | 5
603 | 26/03/2014 | 1:00:00 p.m. | 822476 | 356065 | 6.9673 | 0 | 92.137 | 32.4 | 5
602 | 26/03/2014 | 12:00:00 p.m. | 822455 | 356062 | 7.1634 | 0 | 91.871 | 33.8 | 5
601 | 26/03/2014 | 11:00:00 a.m. | 822412 | 356056 | 6.9878 | 0 | 91.728 | 32.8 | 5
600 | 26/03/2014 | 10:00:00 a.m. | 822412 | 356056 | 7.1364 | 0 | 91.829 | 25.9 | 4.99
599 | 26/03/2014 | 9:00:00 a.m. | 822412 | 356056 | 7.3237 | 0 | 91.988 | 19.7 | 4.98
598 | 26/03/2014 | 8:00:00 a.m. | 822412 | 356056 | 7.4361 | 0 | 92.227 | 18.7 | 4.97
597 | 26/03/2014 | 7:00:00 a.m. | 822378 | 356051 | 7.428 | 0 | 92.127 | 19.2 | 4.97
596 | 26/03/2014 | 6:00:00 a.m. | 822306 | 356041 | 7.4243 | 0 | 92.047 | 18.7 | 4.97
595 | 26/03/2014 | 5:00:00 a.m. | 822227 | 356031 | 7.4927 | 0 | 92.165 | 10.8 | 4.97
594 | 26/03/2014 | 4:00:00 a.m. | 822200 | 356027 | 7.7104 | 0 | 92.259 | 10 | 4.97
593 | 26/03/2014 | 3:00:00 a.m. | 822200 | 356027 | 7.6811 | 0 | 92.173 | 11.2 | 4.97
592 | 26/03/2014 | 2:00:00 a.m. | 822200 | 356027 | 7.596 | 0 | 92.204 | 12.8 | 4.97
591 | 26/03/2014 | 1:00:00 a.m. | 822200 | 356027 | 7.5891 | 0 | 92.172 | 15 | 4.97
590 | 26/03/2014 | 12:00:00 a.m. | 822200 | 356027 | 7.4968 | 0 | 92.163 | 18.5 | 4.97
589 | 25/03/2014 | 11:00:00 p.m. | 822180 | 356024 | 7.3754 | 0 | 91.938 | 20.1 | 4.98
588 | 25/03/2014 | 10:00:00 p.m. | 822126 | 356017 | 7.3565 | 0 | 91.964 | 20.7 | 4.98
587 | 25/03/2014 | 9:00:00 p.m. | 822072 | 356010 | 7.3639 | 0 | 91.871 | 21.9 | 4.99
586 | 25/03/2014 | 8:00:00 p.m. | 822016 | 356002 | 7.3352 | 0 | 91.813 | 23.9 | 5
585 | 25/03/2014 | 7:00:00 p.m. | 821960 | 355994 | 7.1923 | 0 | 91.944 | 30.3 | 5.01
584 | 25/03/2014 | 6:00:00 p.m. | 821960 | 355994 | 7.0471 | 0 | 91.716 | 29.9 | 5.02
583 | 25/03/2014 | 5:00:00 p.m. | 821933 | 355991 | 7.1039 | 0 | 91.522 | 30.4 | 5.02
582 | 25/03/2014 | 4:00:00 p.m. | 821870 | 355982 | 7.0587 | 0 | 91.517 | 30.9 | 5.01
581 | 25/03/2014 | 3:00:00 p.m. | 821810 | 355973 | 7.0098 | 0 | 91.671 | 34.8 | 5.01
580 | 25/03/2014 | 2:00:00 p.m. | 821810 | 355973 | 6.9272 | 0 | 91.612 | 38.2 | 5.01
579 | 25/03/2014 | 1:00:00 p.m. | 821810 | 355973 | 6.936 | 0 | 91.443 | 37.1 | 5
578 | 25/03/2014 | 12:00:00 p.m. | 821810 | 355973 | 6.9002 | 0 | 91.45 | 38.7 | 4.91
577 | 25/03/2014 | 11:00:00 a.m. | 821810 | 355973 | 6.9466 | 0 | 91.495 | 33.6 | 5.01
576 | 25/03/2014 | 10:00:00 a.m. | 821810 | 355973 | 7.1131 | 0 | 91.451 | 25.4 | 5
575 | 25/03/2014 | 9:00:00 a.m. | 821760 | 355966 | 7.2496 | 0 | 91.58 | 22 | 4.99
574 | 25/03/2014 | 8:00:00 a.m. | 821695 | 355957 | 7.3655 | 0 | 91.92 | 19.1 | 4.97
573 | 25/03/2014 | 7:00:00 a.m. | 821630 | 355949 | 7.4268 | 0 | 91.954 | 18.9 | 4.97
572 | 25/03/2014 | 6:00:00 a.m. | 821564 | 355940 | 7.405 | 0 | 91.877 | 14 | 4.97
571 | 25/03/2014 | 5:00:00 a.m. | 821495 | 355931 | 7.6476 | 0 | 92.13 | 10.7 | 4.97
570 | 25/03/2014 | 4:00:00 a.m. | 821495 | 355931 | 7.6091 | 0 | 92.041 | 11.4 | 4.97
569 | 25/03/2014 | 3:00:00 a.m. | 821495 | 355931 | 7.6133 | 0 | 92.116 | 11.6 | 4.97
568 | 25/03/2014 | 2:00:00 a.m. | 821495 | 355931 | 7.6371 | 0 | 92.062 | 11.7 | 4.97
567 | 25/03/2014 | 1:00:00 a.m. | 821495 | 355931 | 7.61 | 0 | 92.107 | 12.7 | 4.97
566 | 25/03/2014 | 12:00:00 a.m. | 821495 | 355931 | 7.5604 | 0 | 92.076 | 13.9 | 4.98
565 | 24/03/2014 | 11:00:00 p.m. | 821495 | 355931 | 7.5441 | 0 | 92.01 | 15.4 | 4.98
564 | 24/03/2014 | 10:00:00 p.m. | 821495 | 355931 | 7.4798 | 0 | 91.994 | 17.1 | 4.99
563 | 24/03/2014 | 9:00:00 p.m. | 821495 | 355931 | 7.4449 | 0 | 91.89 | 19.5 | 4.99
562 | 24/03/2014 | 8:00:00 p.m. | 821495 | 355931 | 7.3377 | 0 | 91.824 | 22.7 | 5
561 | 24/03/2014 | 7:00:00 p.m. | 821495 | 355931 | 7.2429 | 0 | 91.742 | 26.6 | 5
560 | 24/03/2014 | 6:00:00 p.m. | 821495 | 355931 | 7.1427 | 0 | 91.778 | 27.7 | 5
559 | 24/03/2014 | 5:00:00 p.m. | 821495 | 355931 | 7.1802 | 0 | 91.67 | 27.9 | 5
558 | 24/03/2014 | 4:00:00 p.m. | 821495 | 355931 | 7.1571 | 0 | 91.606 | 31.4 | 5.01
557 | 24/03/2014 | 3:00:00 p.m. | 821495 | 355931 | 7.0016 | 0 | 91.246 | 32.7 | 5.02
556 | 24/03/2014 | 2:00:00 p.m. | 821444 | 355923 | 6.7622 | 0 | 91.373 | 43.8 | 5.02
555 | 24/03/2014 | 1:00:00 p.m. | 821444 | 355923 | 6.7894 | 0 | 91.4 | 41.4 | 5.01
554 | 24/03/2014 | 12:00:00 p.m. | 821444 | 355923 | 6.8473 | 0 | 91.304 | 36.3 | 5.01
553 | 24/03/2014 | 11:00:00 a.m. | 821444 | 355923 | 7.0321 | 0 | 91.398 | 28 | 5.01
552 | 24/03/2014 | 10:00:00 a.m. | 821393 | 355916 | 7.1987 | 0 | 92.007 | 25.7 | 5
551 | 24/03/2014 | 9:00:00 a.m. | 821375 | 355914 | 7.3408 | 0 | 92.349 | 19 | 4.99
550 | 24/03/2014 | 8:00:00 a.m. | 821375 | 355914 | 7.5213 | 0 | 92.728 | 17.4 | 4.97
549 | 24/03/2014 | 7:00:00 a.m. | 821358 | 355911 | 7.4608 | 0 | 92.707 | 18.9 | 4.97
548 | 24/03/2014 | 6:00:00 a.m. | 821292 | 355902 | 7.4516 | 0 | 92.702 | 19 | 4.97
547 | 24/03/2014 | 5:00:00 a.m. | 821228 | 355894 | 7.4615 | 0 | 92.686 | 19.2 | 4.97
546 | 24/03/2014 | 4:00:00 a.m. | 821163 | 355885 | 7.4476 | 0 | 92.687 | 19.4 | 4.97
545 | 24/03/2014 | 3:00:00 a.m. | 821098 | 355876 | 7.4378 | 0 | 92.63 | 19.8 | 4.97
544 | 24/03/2014 | 2:00:00 a.m. | 821024 | 355866 | 7.4259 | 0 | 92.592 | 20.2 | 4.98
543 | 24/03/2014 | 1:00:00 a.m. | 820939 | 355855 | 7.417 | 0 | 92.538 | 17.5 | 4.98
542 | 24/03/2014 | 12:00:00 a.m. | 820864 | 355845 | 7.5684 | 0 | 92.656 | 16.1 | 4.99
541 | 23/03/2014 | 11:00:00 p.m. | 820864 | 355845 | 7.5086 | 0 | 92.604 | 17.8 | 4.99
540 | 23/03/2014 | 10:00:00 p.m. | 820864 | 355845 | 7.4655 | 0 | 92.573 | 20 | 4.99
539 | 23/03/2014 | 9:00:00 p.m. | 820864 | 355845 | 7.3829 | 0 | 92.549 | 23.2 | 5
538 | 23/03/2014 | 8:00:00 p.m. | 820864 | 355845 | 7.2924 | 0 | 92.439 | 27.1 | 5
537 | 23/03/2014 | 7:00:00 p.m. | 820864 | 355845 | 7.1644 | 0 | 92.307 | 32.4 | 5.01
536 | 23/03/2014 | 6:00:00 p.m. | 820864 | 355845 | 7.0366 | 0 | 92.271 | 33.5 | 5.01
535 | 23/03/2014 | 5:00:00 p.m. | 820864 | 355845 | 7.0404 | 0 | 92.147 | 37.3 | 5.02
534 | 23/03/2014 | 4:00:00 p.m. | 820864 | 355845 | 6.8743 | 0 | 91.859 | 39.9 | 5.02
533 | 23/03/2014 | 3:00:00 p.m. | 820864 | 355845 | 6.8845 | 0 | 91.83 | 40.4 | 5.02
532 | 23/03/2014 | 2:00:00 p.m. | 820864 | 355845 | 6.8459 | 0 | 91.837 | 40.9 | 5.01
531 | 23/03/2014 | 1:00:00 p.m. | 820864 | 355845 | 6.9089 | 0 | 91.727 | 34.1 | 5.01
530 | 23/03/2014 | 12:00:00 p.m. | 820818 | 355838 | 6.8811 | 0 | 91.866 | 38 | 5.01
529 | 23/03/2014 | 11:00:00 a.m. | 820818 | 355838 | 7.0097 | 0 | 92.002 | 30.8 | 5
528 | 23/03/2014 | 10:00:00 a.m. | 820818 | 355838 | 7.2165 | 0 | 92.135 | 24.6 | 5
527 | 23/03/2014 | 9:00:00 a.m. | 820818 | 355838 | 7.3583 | 0 | 92.3 | 16.7 | 4.99
526 | 23/03/2014 | 8:00:00 a.m. | 820818 | 355838 | 7.6308 | 0 | 92.677 | 10.4 | 4.97
525 | 23/03/2014 | 7:00:00 a.m. | 820818 | 355838 | 7.7161 | 0 | 92.733 | 10.3 | 4.97
524 | 23/03/2014 | 6:00:00 a.m. | 820818 | 355838 | 7.6955 | 0 | 92.705 | 11.1 | 4.97
523 | 23/03/2014 | 5:00:00 a.m. | 820818 | 355838 | 7.6753 | 0 | 92.765 | 11.8 | 4.97
522 | 23/03/2014 | 4:00:00 a.m. | 820818 | 355838 | 7.6595 | 0 | 92.736 | 12.6 | 4.98
521 | 23/03/2014 | 3:00:00 a.m. | 820818 | 355838 | 7.6397 | 0 | 92.74 | 13.3 | 4.98
520 | 23/03/2014 | 2:00:00 a.m. | 820818 | 355838 | 7.5982 | 0 | 92.731 | 14.2 | 4.98
519 | 23/03/2014 | 1:00:00 a.m. | 820818 | 355838 | 7.5773 | 0 | 92.662 | 15.5 | 4.98
518 | 23/03/2014 | 12:00:00 a.m. | 820818 | 355838 | 7.5249 | 0 | 92.648 | 17.2 | 4.99
517 | 22/03/2014 | 11:00:00 p.m. | 820818 | 355838 | 7.4872 | 0 | 92.618 | 19 | 4.99
516 | 22/03/2014 | 10:00:00 p.m. | 820818 | 355838 | 7.4408 | 0 | 92.581 | 20.8 | 5
515 | 22/03/2014 | 9:00:00 p.m. | 820818 | 355838 | 7.3726 | 0 | 92.499 | 22.1 | 5
514 | 22/03/2014 | 8:00:00 p.m. | 820818 | 355838 | 7.3526 | 0 | 92.428 | 23.1 | 5
513 | 22/03/2014 | 7:00:00 p.m. | 820782 | 355833 | 7.3011 | 0 | 92.146 | 26.3 | 5.01
512 | 22/03/2014 | 6:00:00 p.m. | 820695 | 355821 | 6.9897 | 0 | 92.22 | 37.5 | 5.02
511 | 22/03/2014 | 5:00:00 p.m. | 820695 | 355821 | 6.9538 | 0 | 92.153 | 37.5 | 5.02
510 | 22/03/2014 | 4:00:00 p.m. | 820695 | 355821 | 6.9548 | 0 | 91.902 | 39.4 | 5.02
509 | 22/03/2014 | 3:00:00 p.m. | 820695 | 355821 | 6.8907 | 0 | 91.888 | 40.3 | 5.02
508 | 22/03/2014 | 2:00:00 p.m. | 820695 | 355821 | 6.843 | 0 | 91.944 | 42.4 | 5.01
507 | 22/03/2014 | 1:00:00 p.m. | 820695 | 355821 | 6.8594 | 0 | 91.838 | 38.6 | 5.01
506 | 22/03/2014 | 12:00:00 p.m. | 820691 | 355821 | 6.9491 | 0 | 91.829 | 34.1 | 5.01
505 | 22/03/2014 | 11:00:00 a.m. | 820678 | 355819 | 7.0359 | 0 | 91.872 | 30.4 | 5
504 | 22/03/2014 | 10:00:00 a.m. | 820661 | 355817 | 7.1934 | 0 | 91.952 | 25.4 | 5
503 | 22/03/2014 | 9:00:00 a.m. | 820616 | 355810 | 7.2932 | 0 | 92.138 | 21.6 | 4.99
502 | 22/03/2014 | 8:00:00 a.m. | 820549 | 355801 | 7.4172 | 0 | 92.594 | 11.7 | 4.97
501 | 22/03/2014 | 7:00:00 a.m. | 820527 | 355798 | 7.6907 | 0 | 92.706 | 11.2 | 4.97
500 | 22/03/2014 | 6:00:00 a.m. | 820527 | 355798 | 7.6784 | 0 | 92.71 | 12.1 | 4.97
499 | 22/03/2014 | 5:00:00 a.m. | 820527 | 355798 | 7.6399 | 0 | 92.694 | 12.8 | 4.97
498 | 22/03/2014 | 4:00:00 a.m. | 820527 | 355798 | 7.6218 | 0 | 92.666 | 13.7 | 4.98
497 | 22/03/2014 | 3:00:00 a.m. | 820527 | 355798 | 7.5821 | 0 | 92.665 | 15 | 4.98
496 | 22/03/2014 | 2:00:00 a.m. | 820527 | 355798 | 7.5465 | 0 | 92.671 | 16.5 | 4.98
495 | 22/03/2014 | 1:00:00 a.m. | 820527 | 355798 | 7.5074 | 0 | 92.631 | 18.3 | 4.98
494 | 22/03/2014 | 12:00:00 a.m. | 820527 | 355798 | 7.4395 | 0 | 92.625 | 20.9 | 4.99
493 | 21/03/2014 | 11:00:00 p.m. | 820490 | 355793 | 7.3884 | 0 | 92.418 | 21.4 | 4.99
492 | 21/03/2014 | 10:00:00 p.m. | 820405 | 355782 | 7.3704 | 0 | 92.505 | 21.1 | 4.99
491 | 21/03/2014 | 9:00:00 p.m. | 820372 | 355777 | 7.3627 | 0 | 92.362 | 22.6 | 5
490 | 21/03/2014 | 8:00:00 p.m. | 820288 | 355766 | 7.3208 | 0 | 92.511 | 25.4 | 5
489 | 21/03/2014 | 7:00:00 p.m. | 820288 | 355766 | 7.2278 | 0 | 92.404 | 29 | 5
488 | 21/03/2014 | 6:00:00 p.m. | 820288 | 355766 | 7.1348 | 0 | 92.323 | 33.5 | 5.01
487 | 21/03/2014 | 5:00:00 p.m. | 820288 | 355766 | 6.9713 | 0 | 92.079 | 40.3 | 5.02
486 | 21/03/2014 | 4:00:00 p.m. | 820288 | 355766 | 6.8679 | 0 | 91.845 | 39.9 | 5.02
485 | 21/03/2014 | 3:00:00 p.m. | 820288 | 355766 | 6.8918 | 0 | 91.854 | 41 | 5.01
484 | 21/03/2014 | 2:00:00 p.m. | 820288 | 355766 | 6.8104 | 0 | 91.857 | 43.2 | 5.01
483 | 21/03/2014 | 1:00:00 p.m. | 820288 | 355766 | 6.8238 | 0 | 91.875 | 41.3 | 5.01
482 | 21/03/2014 | 12:00:00 p.m. | 820288 | 355766 | 6.8821 | 0 | 91.899 | 37.4 | 5
481 | 21/03/2014 | 11:00:00 a.m. | 820288 | 355766 | 7.0112 | 0 | 91.925 | 30.3 | 5
480 | 21/03/2014 | 10:00:00 a.m. | 820277 | 355764 | 7.2215 | 0 | 91.949 | 24.5 | 5
479 | 21/03/2014 | 9:00:00 a.m. | 820218 | 355756 | 7.3133 | 0 | 92.201 | 20.7 | 4.99
478 | 21/03/2014 | 8:00:00 a.m. | 820195 | 355753 | 7.438 | 0 | 92.457 | 18.5 | 4.97
477 | 21/03/2014 | 7:00:00 a.m. | 820122 | 355743 | 7.5545 | 0 | 92.695 | 9.6 | 4.97
476 | 21/03/2014 | 6:00:00 a.m. | 820111 | 355742 | 7.7219 | 0 | 92.676 | 10.2 | 4.97
475 | 21/03/2014 | 5:00:00 a.m. | 820111 | 355742 | 7.6914 | 0 | 92.686 | 11.1 | 4.97
474 | 21/03/2014 | 4:00:00 a.m. | 820111 | 355742 | 7.6646 | 0 | 92.659 | 12.1 | 4.97
473 | 21/03/2014 | 3:00:00 a.m. | 820111 | 355742 | 7.6368 | 0 | 92.619 | 13.3 | 4.98
472 | 21/03/2014 | 2:00:00 a.m. | 820111 | 355742 | 7.5895 | 0 | 92.586 | 14.5 | 4.98
471 | 21/03/2014 | 1:00:00 a.m. | 820111 | 355742 | 7.5431 | 0 | 92.543 | 16.4 | 4.98
470 | 21/03/2014 | 12:00:00 a.m. | 820111 | 355742 | 7.4855 | 0 | 92.457 | 18 | 4.99
469 | 20/03/2014 | 11:00:00 p.m. | 820086 | 355738 | 7.4904 | 0 | 92.498 | 18.2 | 4.99
468 | 20/03/2014 | 10:00:00 p.m. | 820086 | 355738 | 7.4498 | 0 | 92.485 | 19.6 | 4.99
467 | 20/03/2014 | 9:00:00 p.m. | 820086 | 355738 | 7.3975 | 0 | 92.494 | 21.6 | 5
466 | 20/03/2014 | 8:00:00 p.m. | 820086 | 355738 | 7.3448 | 0 | 92.415 | 23.9 | 5
465 | 20/03/2014 | 7:00:00 p.m. | 820086 | 355738 | 7.2766 | 0 | 92.358 | 25.7 | 5
464 | 20/03/2014 | 6:00:00 p.m. | 820086 | 355738 | 7.265 | 0 | 92.172 | 25.3 | 5.01
463 | 20/03/2014 | 5:00:00 p.m. | 820053 | 355734 | 7.2341 | 0 | 91.868 | 31.7 | 5.01
462 | 20/03/2014 | 4:00:00 p.m. | 819989 | 355725 | 6.8846 | 0 | 91.763 | 38.4 | 5.02
461 | 20/03/2014 | 3:00:00 p.m. | 819989 | 355725 | 6.9155 | 0 | 91.797 | 39.4 | 5.01
460 | 20/03/2014 | 2:00:00 p.m. | 819989 | 355725 | 6.8411 | 0 | 91.771 | 41.2 | 5.01
459 | 20/03/2014 | 1:00:00 p.m. | 819989 | 355725 | 6.886 | 0 | 91.79 | 38.8 | 5
458 | 20/03/2014 | 12:00:00 p.m. | 819989 | 355725 | 6.9291 | 0 | 91.814 | 36 | 5
457 | 20/03/2014 | 11:00:00 a.m. | 819989 | 355725 | 7.0205 | 0 | 91.884 | 31.6 | 5
456 | 20/03/2014 | 10:00:00 a.m. | 819989 | 355725 | 7.1513 | 0 | 92.014 | 25.3 | 5
455 | 20/03/2014 | 9:00:00 a.m. | 819989 | 355725 | 7.3272 | 0 | 92.205 | 19.8 | 4.98
454 | 20/03/2014 | 8:00:00 a.m. | 819989 | 355725 | 7.4789 | 0 | 92.534 | 18.7 | 4.97
453 | 20/03/2014 | 7:00:00 a.m. | 819940 | 355718 | 7.4524 | 0 | 92.531 | 19.1 | 4.97
452 | 20/03/2014 | 6:00:00 a.m. | 819859 | 355707 | 7.4501 | 0 | 92.52 | 13.2 | 4.97
451 | 20/03/2014 | 5:00:00 a.m. | 819797 | 355699 | 7.7325 | 0 | 92.672 | 9.6 | 4.97
450 | 20/03/2014 | 4:00:00 a.m. | 819797 | 355699 | 7.7099 | 0 | 92.686 | 10.6 | 4.97
449 | 20/03/2014 | 3:00:00 a.m. | 819797 | 355699 | 7.6756 | 0 | 92.631 | 11.8 | 4.97
448 | 20/03/2014 | 2:00:00 a.m. | 819797 | 355699 | 7.6338 | 0 | 92.608 | 13.2 | 4.98
447 | 20/03/2014 | 1:00:00 a.m. | 819797 | 355699 | 7.5853 | 0 | 92.61 | 14.8 | 4.98
446 | 20/03/2014 | 12:00:00 a.m. | 819797 | 355699 | 7.5403 | 0 | 92.577 | 16.8 | 4.98
445 | 19/03/2014 | 11:00:00 p.m. | 819797 | 355699 | 7.4784 | 0 | 92.557 | 19 | 4.99
444 | 19/03/2014 | 10:00:00 p.m. | 819794 | 355699 | 7.3965 | 0 | 92.452 | 20.7 | 4.99
443 | 19/03/2014 | 9:00:00 p.m. | 819759 | 355694 | 7.3777 | 0 | 92.384 | 21.9 | 5
442 | 19/03/2014 | 8:00:00 p.m. | 819719 | 355689 | 7.3482 | 0 | 92.375 | 23.9 | 5
441 | 19/03/2014 | 7:00:00 p.m. | 819687 | 355684 | 7.2501 | 0 | 92.317 | 29 | 5.01
440 | 19/03/2014 | 6:00:00 p.m. | 819687 | 355684 | 7.1002 | 0 | 92.218 | 33.5 | 5.01
439 | 19/03/2014 | 5:00:00 p.m. | 819687 | 355684 | 7.0067 | 0 | 92.018 | 32.3 | 5.02
438 | 19/03/2014 | 4:00:00 p.m. | 819669 | 355682 | 7.1558 | 0 | 91.836 | 34.4 | 5.02
437 | 19/03/2014 | 3:00:00 p.m. | 819636 | 355677 | 6.9518 | 0 | 91.836 | 37.4 | 5.01
436 | 19/03/2014 | 2:00:00 p.m. | 819636 | 355677 | 6.9396 | 0 | 91.871 | 36.4 | 5.01
435 | 19/03/2014 | 1:00:00 p.m. | 819636 | 355677 | 7.0602 | 0 | 91.879 | 28.4 | 5
434 | 19/03/2014 | 12:00:00 p.m. | 819587 | 355670 | 7.1902 | 0 | 91.794 | 27.1 | 5
433 | 19/03/2014 | 11:00:00 a.m. | 819519 | 355661 | 7.1897 | 0 | 91.853 | 26.4 | 5
432 | 19/03/2014 | 10:00:00 a.m. | 819462 | 355653 | 7.2412 | 0 | 91.988 | 24 | 5
431 | 19/03/2014 | 9:00:00 a.m. | 819405 | 355645 | 7.3261 | 0 | 92.268 | 21.2 | 4.98
430 | 19/03/2014 | 8:00:00 a.m. | 819345 | 355637 | 7.4317 | 0 | 92.635 | 18.7 | 4.97
429 | 19/03/2014 | 7:00:00 a.m. | 819281 | 355628 | 7.4628 | 0 | 92.689 | 18.7 | 4.97
428 | 19/03/2014 | 6:00:00 a.m. | 819198 | 355617 | 7.4691 | 0 | 92.649 | 13.1 | 4.97
427 | 19/03/2014 | 5:00:00 a.m. | 819127 | 355608 | 7.8112 | 0 | 92.828 | 7.3 | 4.97
426 | 19/03/2014 | 4:00:00 a.m. | 819127 | 355608 | 7.7825 | 0 | 92.786 | 8 | 4.97
425 | 19/03/2014 | 3:00:00 a.m. | 819127 | 355608 | 7.7608 | 0 | 92.784 | 8.8 | 4.97
424 | 19/03/2014 | 2:00:00 a.m. | 819127 | 355608 | 7.7363 | 0 | 92.791 | 9.8 | 4.97
423 | 19/03/2014 | 1:00:00 a.m. | 819127 | 355608 | 7.7032 | 0 | 92.729 | 11.1 | 4.97
422 | 19/03/2014 | 12:00:00 a.m. | 819127 | 355608 | 7.6496 | 0 | 92.683 | 12.9 | 4.98
421 | 18/03/2014 | 11:00:00 p.m. | 819127 | 355608 | 7.5911 | 0 | 92.658 | 15.1 | 4.98
420 | 18/03/2014 | 10:00:00 p.m. | 819127 | 355608 | 7.5313 | 0 | 92.616 | 17.3 | 4.99
419 | 18/03/2014 | 9:00:00 p.m. | 819127 | 355608 | 7.4711 | 0 | 92.556 | 19.4 | 4.99
418 | 18/03/2014 | 8:00:00 p.m. | 819127 | 355608 | 7.4044 | 0 | 92.518 | 21.4 | 4.99
417 | 18/03/2014 | 7:00:00 p.m. | 819088 | 355603 | 7.3446 | 0 | 92.483 | 25.5 | 5
416 | 18/03/2014 | 6:00:00 p.m. | 819088 | 355603 | 7.194 | 0 | 92.404 | 31.7 | 5
415 | 18/03/2014 | 5:00:00 p.m. | 819088 | 355603 | 7.0608 | 0 | 92.179 | 32.6 | 5.01
414 | 18/03/2014 | 4:00:00 p.m. | 819088 | 355603 | 7.1189 | 0 | 91.97 | 27 | 5.01
413 | 18/03/2014 | 3:00:00 p.m. | 819043 | 355596 | 7.2298 | 0 | 91.832 | 29.4 | 5
412 | 18/03/2014 | 2:00:00 p.m. | 818971 | 355586 | 6.9988 | 0 | 91.938 | 35 | 5
411 | 18/03/2014 | 1:00:00 p.m. | 818971 | 355586 | 7.0694 | 0 | 91.87 | 29.8 | 5
410 | 18/03/2014 | 12:00:00 p.m. | 818933 | 355581 | 7.1365 | 0 | 91.902 | 28.6 | 5
409 | 18/03/2014 | 11:00:00 a.m. | 818910 | 355578 | 7.1872 | 0 | 91.956 | 26.8 | 5
408 | 18/03/2014 | 10:00:00 a.m. | 818884 | 355574 | 7.2244 | 0 | 92.083 | 23.1 | 4.99
407 | 18/03/2014 | 9:00:00 a.m. | 818831 | 355567 | 7.3567 | 0 | 92.357 | 20.2 | 4.98
406 | 18/03/2014 | 8:00:00 a.m. | 818768 | 355558 | 7.4294 | 0 | 92.643 | 19 | 4.97
405 | 18/03/2014 | 7:00:00 a.m. | 818694 | 355548 | 7.4969 | 0 | 92.822 | 18.3 | 4.97
404 | 18/03/2014 | 6:00:00 a.m. | 818629 | 355540 | 7.4749 | 0 | 92.772 | 12.9 | 4.97
403 | 18/03/2014 | 5:00:00 a.m. | 818554 | 355530 | 7.8155 | 0 | 92.92 | 7.5 | 4.97
402 | 18/03/2014 | 4:00:00 a.m. | 818554 | 355530 | 7.7823 | 0 | 92.875 | 8.8 | 4.97
401 | 18/03/2014 | 3:00:00 a.m. | 818554 | 355530 | 7.7203 | 0 | 92.819 | 10.9 | 4.97
400 | 18/03/2014 | 2:00:00 a.m. | 818554 | 355530 | 7.6606 | 0 | 92.774 | 11.9 | 4.98
399 | 18/03/2014 | 1:00:00 a.m. | 818554 | 355530 | 7.6595 | 0 | 92.748 | 12.4 | 4.98
398 | 18/03/2014 | 12:00:00 a.m. | 818554 | 355530 | 7.6367 | 0 | 92.761 | 12.5 | 4.98
397 | 17/03/2014 | 11:00:00 p.m. | 818554 | 355530 | 7.623 | 0 | 92.746 | 13.8 | 4.98
396 | 17/03/2014 | 10:00:00 p.m. | 818554 | 355530 | 7.594 | 0 | 92.713 | 14.5 | 4.98
395 | 17/03/2014 | 9:00:00 p.m. | 818554 | 355530 | 7.5628 | 0 | 92.699 | 16.3 | 4.99
394 | 17/03/2014 | 8:00:00 p.m. | 818554 | 355530 | 7.4929 | 0 | 92.639 | 19.9 | 4.99
393 | 17/03/2014 | 7:00:00 p.m. | 818554 | 355530 | 7.3531 | 0 | 92.55 | 25.4 | 5
392 | 17/03/2014 | 6:00:00 p.m. | 818554 | 355530 | 7.1849 | 0 | 92.445 | 31.3 | 5.01
391 | 17/03/2014 | 5:00:00 p.m. | 818554 | 355530 | 7.0814 | 0 | 92.277 | 32.5 | 5.01
390 | 17/03/2014 | 4:00:00 p.m. | 818554 | 355530 | 7.0973 | 0 | 92.091 | 30.3 | 5.01
389 | 17/03/2014 | 3:00:00 p.m. | 818554 | 355530 | 7.1292 | 0 | 92.123 | 31.2 | 5
388 | 17/03/2014 | 2:00:00 p.m. | 818554 | 355530 | 7.0647 | 0 | 92.151 | 32 | 5
387 | 17/03/2014 | 1:00:00 p.m. | 818554 | 355530 | 7.1368 | 0 | 92.022 | 30.6 | 5
386 | 17/03/2014 | 12:00:00 p.m. | 818511 | 355524 | 7.0593 | 0 | 92.142 | 31.7 | 5
385 | 17/03/2014 | 11:00:00 a.m. | 818511 | 355524 | 7.1294 | 0 | 92.197 | 27.8 | 5
384 | 17/03/2014 | 10:00:00 a.m. | 818511 | 355524 | 7.2691 | 0 | 92.282 | 21.6 | 5
383 | 17/03/2014 | 9:00:00 a.m. | 818511 | 355524 | 7.448 | 0 | 92.453 | 14.4 | 4.99
382 | 17/03/2014 | 8:00:00 a.m. | 818511 | 355524 | 7.7164 | 0 | 92.832 | 7.8 | 4.97
381 | 17/03/2014 | 7:00:00 a.m. | 818511 | 355524 | 7.778 | 0 | 92.848 | 8.8 | 4.97
380 | 17/03/2014 | 6:00:00 a.m. | 818511 | 355524 | 7.7168 | 0 | 92.785 | 11.1 | 4.98
379 | 17/03/2014 | 5:00:00 a.m. | 818511 | 355524 | 7.645 | 0 | 92.752 | 14 | 4.98
378 | 17/03/2014 | 4:00:00 a.m. | 818511 | 355524 | 7.5664 | 0 | 92.689 | 15.7 | 4.99
377 | 17/03/2014 | 3:00:00 a.m. | 818511 | 355524 | 7.5352 | 0 | 92.663 | 16.3 | 4.99
376 | 17/03/2014 | 2:00:00 a.m. | 818511 | 355524 | 7.528 | 0 | 92.622 | 16.2 | 4.99
375 | 17/03/2014 | 1:00:00 a.m. | 818511 | 355524 | 7.5284 | 0 | 92.634 | 16.8 | 4.99
374 | 17/03/2014 | 12:00:00 a.m. | 818511 | 355524 | 7.4992 | 0 | 92.635 | 17.5 | 4.99
373 | 16/03/2014 | 11:00:00 p.m. | 818511 | 355524 | 7.4861 | 0 | 92.622 | 18 | 4.99
372 | 16/03/2014 | 10:00:00 p.m. | 818511 | 355524 | 7.4714 | 0 | 92.615 | 18.3 | 5
371 | 16/03/2014 | 9:00:00 p.m. | 818511 | 355524 | 7.4617 | 0 | 92.598 | 19.5 | 5
370 | 16/03/2014 | 8:00:00 p.m. | 818511 | 355524 | 7.4026 | 0 | 92.553 | 22.2 | 5
369 | 16/03/2014 | 7:00:00 p.m. | 818511 | 355524 | 7.3143 | 0 | 92.429 | 26.2 | 5
368 | 16/03/2014 | 6:00:00 p.m. | 818511 | 355524 | 7.1931 | 0 | 92.391 | 31.4 | 5.01
367 | 16/03/2014 | 5:00:00 p.m. | 818511 | 355524 | 7.0395 | 0 | 92.168 | 37 | 5.02
366 | 16/03/2014 | 4:00:00 p.m. | 818511 | 355524 | 6.9611 | 0 | 91.943 | 35.8 | 5.02
365 | 16/03/2014 | 3:00:00 p.m. | 818511 | 355524 | 6.9761 | 0 | 91.957 | 37.7 | 5.02
364 | 16/03/2014 | 2:00:00 p.m. | 818511 | 355524 | 6.8891 | 0 | 91.969 | 40 | 5.02
363 | 16/03/2014 | 1:00:00 p.m. | 818511 | 355524 | 6.8916 | 0 | 91.993 | 38.5 | 5.01
362 | 16/03/2014 | 12:00:00 p.m. | 818511 | 355524 | 6.9468 | 0 | 92.003 | 36.7 | 5.01
361 | 16/03/2014 | 11:00:00 a.m. | 818511 | 355524 | 7.015 | 0 | 91.962 | 30.4 | 5.01
360 | 16/03/2014 | 10:00:00 a.m. | 818487 | 355520 | 7.1496 | 0 | 92.105 | 24.4 | 5
359 | 16/03/2014 | 9:00:00 a.m. | 818485 | 355520 | 7.4076 | 0 | 92.371 | 14.5 | 4.99
358 | 16/03/2014 | 8:00:00 a.m. | 818485 | 355520 | 7.7153 | 0 | 92.722 | 7.1 | 4.97
357 | 16/03/2014 | 7:00:00 a.m. | 818485 | 355520 | 7.8108 | 0 | 92.819 | 6.8 | 4.97
356 | 16/03/2014 | 6:00:00 a.m. | 818485 | 355520 | 7.799 | 0 | 92.806 | 7.7 | 4.97
355 | 16/03/2014 | 5:00:00 a.m. | 818485 | 355520 | 7.76 | 0 | 92.756 | 8.8 | 4.98
354 | 16/03/2014 | 4:00:00 a.m. | 818485 | 355520 | 7.7334 | 0 | 92.762 | 9.8 | 4.97
353 | 16/03/2014 | 3:00:00 a.m. | 818485 | 355520 | 7.7004 | 0 | 92.747 | 11 | 4.98
352 | 16/03/2014 | 2:00:00 a.m. | 818485 | 355520 | 7.6587 | 0 | 92.72 | 12.8 | 4.98
351 | 16/03/2014 | 1:00:00 a.m. | 818485 | 355520 | 7.6085 | 0 | 92.655 | 14.1 | 4.99
350 | 16/03/2014 | 12:00:00 a.m. | 818485 | 355520 | 7.5769 | 0 | 92.655 | 15.6 | 4.99
349 | 15/03/2014 | 11:00:00 p.m. | 818485 | 355520 | 7.5116 | 0 | 92.606 | 17.8 | 5
348 | 15/03/2014 | 10:00:00 p.m. | 818485 | 355520 | 7.4555 | 0 | 92.56 | 19.9 | 5
347 | 15/03/2014 | 9:00:00 p.m. | 818477 | 355519 | 7.3881 | 0 | 92.448 | 21.4 | 5
346 | 15/03/2014 | 8:00:00 p.m. | 818416 | 355511 | 7.371 | 0 | 92.372 | 22.3 | 5
345 | 15/03/2014 | 7:00:00 p.m. | 818355 | 355502 | 7.3294 | 0 | 92.285 | 24 | 5.01
344 | 15/03/2014 | 6:00:00 p.m. | 818290 | 355494 | 7.2494 | 0 | 92.098 | 30 | 5.02
343 | 15/03/2014 | 5:00:00 p.m. | 818221 | 355484 | 6.9661 | 0 | 92.112 | 37.9 | 5.02
342 | 15/03/2014 | 4:00:00 p.m. | 818221 | 355484 | 6.9445 | 0 | 91.943 | 36.9 | 5.02
341 | 15/03/2014 | 3:00:00 p.m. | 818221 | 355484 | 6.9435 | 0 | 91.955 | 39.9 | 5.02
340 | 15/03/2014 | 2:00:00 p.m. | 818221 | 355484 | 6.8315 | 0 | 91.883 | 41.8 | 5.02
339 | 15/03/2014 | 1:00:00 p.m. | 818221 | 355484 | 6.8548 | 0 | 91.876 | 39.9 | 5.01
338 | 15/03/2014 | 12:00:00 p.m. | 818221 | 355484 | 6.9179 | 0 | 91.904 | 36.6 | 5.01
337 | 15/03/2014 | 11:00:00 a.m. | 818221 | 355484 | 7.0124 | 0 | 91.964 | 31.3 | 5.01
336 | 15/03/2014 | 10:00:00 a.m. | 818221 | 355484 | 7.1967 | 0 | 92.165 | 23.5 | 5
335 | 15/03/2014 | 9:00:00 a.m. | 818221 | 355484 | 7.3973 | 0 | 92.449 | 17.6 | 4.99
334 | 15/03/2014 | 8:00:00 a.m. | 818221 | 355484 | 7.5432 | 0 | 92.78 | 17 | 4.97
333 | 15/03/2014 | 7:00:00 a.m. | 818189 | 355480 | 7.4795 | 0 | 92.734 | 18.3 | 4.97
332 | 15/03/2014 | 6:00:00 a.m. | 818122 | 355471 | 7.4721 | 0 | 92.685 | 18.3 | 4.97
331 | 15/03/2014 | 5:00:00 a.m. | 818043 | 355460 | 7.4663 | 0 | 92.723 | 9 | 4.97
330 | 15/03/2014 | 4:00:00 a.m. | 818010 | 355456 | 7.7862 | 0 | 92.81 | 8.2 | 4.97
329 | 15/03/2014 | 3:00:00 a.m. | 818009 | 355456 | 7.751 | 0 | 92.758 | 9.1 | 4.97
328 | 15/03/2014 | 2:00:00 a.m. | 818009 | 355456 | 7.7219 | 0 | 92.769 | 10.2 | 4.98
327 | 15/03/2014 | 1:00:00 a.m. | 818009 | 355456 | 7.6866 | 0 | 92.741 | 11.7 | 4.98
326 | 15/03/2014 | 12:00:00 a.m. | 818009 | 355456 | 7.6331 | 0 | 92.691 | 13.3 | 4.98
325 | 14/03/2014 | 11:00:00 p.m. | 818009 | 355456 | 7.5836 | 0 | 92.618 | 15.4 | 4.99
324 | 14/03/2014 | 10:00:00 p.m. | 818009 | 355456 | 7.5059 | 0 | 92.575 | 17.8 | 4.99
323 | 14/03/2014 | 9:00:00 p.m. | 818009 | 355456 | 7.4481 | 0 | 92.569 | 20.3 | 5
322 | 14/03/2014 | 8:00:00 p.m. | 818009 | 355456 | 7.3736 | 0 | 92.498 | 23.4 | 5.01
321 | 14/03/2014 | 7:00:00 p.m. | 818009 | 355456 | 7.2706 | 0 | 92.4 | 28.6 | 5.01
320 | 14/03/2014 | 6:00:00 p.m. | 818009 | 355456 | 7.1079 | 0 | 92.267 | 32 | 5.02
319 | 14/03/2014 | 5:00:00 p.m. | 818009 | 355456 | 7.1378 | 0 | 91.96 | 29.9 | 5.02
318 | 14/03/2014 | 4:00:00 p.m. | 817942 | 355446 | 6.9553 | 0 | 91.963 | 36.8 | 5.02
317 | 14/03/2014 | 3:00:00 p.m. | 817942 | 355446 | 6.9335 | 0 | 91.927 | 39.7 | 5.02
316 | 14/03/2014 | 2:00:00 p.m. | 817942 | 355446 | 6.8465 | 0 | 91.944 | 41.6 | 5.02
315 | 14/03/2014 | 1:00:00 p.m. | 817942 | 355446 | 6.861 | 0 | 91.941 | 39.9 | 5.01
314 | 14/03/2014 | 12:00:00 p.m. | 817942 | 355446 | 6.9248 | 0 | 91.975 | 36.3 | 5.01
313 | 14/03/2014 | 11:00:00 a.m. | 817942 | 355446 | 7.0326 | 0 | 91.995 | 29.4 | 5.01
312 | 14/03/2014 | 10:00:00 a.m. | 817932 | 355445 | 7.2327 | 0 | 92.126 | 22.9 | 5
311 | 14/03/2014 | 9:00:00 a.m. | 817929 | 355444 | 7.4143 | 0 | 92.437 | 16.3 | 4.99
310 | 14/03/2014 | 8:00:00 a.m. | 817929 | 355444 | 7.5896 | 0 | 92.83 | 15.3 | 4.97
309 | 14/03/2014 | 7:00:00 a.m. | 817914 | 355442 | 7.496 | 0 | 92.772 | 18.1 | 4.97
308 | 14/03/2014 | 6:00:00 a.m. | 817843 | 355433 | 7.4936 | 0 | 92.778 | 10.4 | 4.97
307 | 14/03/2014 | 5:00:00 a.m. | 817793 | 355426 | 7.8074 | 0 | 92.876 | 7.3 | 4.97
306 | 14/03/2014 | 4:00:00 a.m. | 817793 | 355426 | 7.7897 | 0 | 92.86 | 7.9 | 4.97
305 | 14/03/2014 | 3:00:00 a.m. | 817793 | 355426 | 7.7624 | 0 | 92.838 | 8.9 | 4.98
304 | 14/03/2014 | 2:00:00 a.m. | 817793 | 355426 | 7.733 | 0 | 92.759 | 10.1 | 4.98
303 | 14/03/2014 | 1:00:00 a.m. | 817793 | 355426 | 7.6894 | 0 | 92.722 | 11.7 | 4.98
302 | 14/03/2014 | 12:00:00 a.m. | 817793 | 355426 | 7.64 | 0 | 92.726 | 13.4 | 4.99
301 | 13/03/2014 | 11:00:00 p.m. | 817793 | 355426 | 7.5814 | 0 | 92.693 | 16 | 4.99
300 | 13/03/2014 | 10:00:00 p.m. | 817793 | 355426 | 7.503 | 0 | 92.629 | 18.1 | 5
299 | 13/03/2014 | 9:00:00 p.m. | 817793 | 355426 | 7.4445 | 0 | 92.533 | 20.7 | 5
298 | 13/03/2014 | 8:00:00 p.m. | 817763 | 355422 | 7.3622 | 0 | 92.315 | 22.6 | 5
297 | 13/03/2014 | 7:00:00 p.m. | 817690 | 355412 | 7.2838 | 0 | 92.387 | 27.9 | 5.01
296 | 13/03/2014 | 6:00:00 p.m. | 817690 | 355412 | 7.1172 | 0 | 92.297 | 33.6 | 5.02
295 | 13/03/2014 | 5:00:00 p.m. | 817690 | 355412 | 7.026 | 0 | 92.054 | 31.7 | 5.02
294 | 13/03/2014 | 4:00:00 p.m. | 817676 | 355410 | 7.1629 | 0 | 91.754 | 31.4 | 5.02
293 | 13/03/2014 | 3:00:00 p.m. | 817612 | 355401 | 6.9482 | 0 | 91.93 | 38.9 | 5.02
292 | 13/03/2014 | 2:00:00 p.m. | 817612 | 355401 | 6.8758 | 0 | 91.935 | 40.9 | 5.02
291 | 13/03/2014 | 1:00:00 p.m. | 817612 | 355401 | 6.8631 | 0 | 91.898 | 39.2 | 5.01
290 | 13/03/2014 | 12:00:00 p.m. | 817612 | 355401 | 6.9365 | 0 | 91.949 | 35.8 | 5.01
289 | 13/03/2014 | 11:00:00 a.m. | 817612 | 355401 | 7.0371 | 0 | 91.995 | 29.3 | 5.01
288 | 13/03/2014 | 10:00:00 a.m. | 817612 | 355401 | 7.2456 | 0 | 92.126 | 21 | 5
287 | 13/03/2014 | 9:00:00 a.m. | 817612 | 355401 | 7.477 | 0 | 92.481 | 13.8 | 4.98
286 | 13/03/2014 | 8:00:00 a.m. | 817612 | 355401 | 7.6774 | 0 | 92.916 | 11.9 | 4.97
285 | 13/03/2014 | 7:00:00 a.m. | 817612 | 355401 | 7.5748 | 0 | 92.868 | 17.6 | 4.97
284 | 13/03/2014 | 6:00:00 a.m. | 817551 | 355393 | 7.4898 | 0 | 92.815 | 17.8 | 4.97
283 | 13/03/2014 | 5:00:00 a.m. | 817472 | 355383 | 7.5232 | 0 | 92.86 | 11.6 | 4.97
282 | 13/03/2014 | 4:00:00 a.m. | 817431 | 355377 | 7.7316 | 0 | 92.909 | 12.4 | 4.97
281 | 13/03/2014 | 3:00:00 a.m. | 817431 | 355377 | 7.5574 | 0 | 92.731 | 17.8 | 4.97
280 | 13/03/2014 | 2:00:00 a.m. | 817373 | 355370 | 7.4823 | 0 | 92.732 | 14.7 | 4.97
279 | 13/03/2014 | 1:00:00 a.m. | 817341 | 355365 | 7.5585 | 0 | 92.694 | 17.8 | 4.98
278 | 13/03/2014 | 12:00:00 a.m. | 817284 | 355358 | 7.4954 | 0 | 92.713 | 12.4 | 4.98
277 | 12/03/2014 | 11:00:00 p.m. | 817274 | 355356 | 7.6214 | 0 | 92.733 | 14.2 | 4.99
276 | 12/03/2014 | 10:00:00 p.m. | 817274 | 355356 | 7.5506 | 0 | 92.632 | 16.9 | 5
275 | 12/03/2014 | 9:00:00 p.m. | 817274 | 355356 | 7.468 | 0 | 92.594 | 19.4 | 5
274 | 12/03/2014 | 8:00:00 p.m. | 817274 | 355356 | 7.3923 | 0 | 92.494 | 22.4 | 5
273 | 12/03/2014 | 7:00:00 p.m. | 817274 | 355356 | 7.3056 | 0 | 92.382 | 26 | 5.01
272 | 12/03/2014 | 6:00:00 p.m. | 817273 | 355356 | 7.2245 | 0 | 92.188 | 27.2 | 5.02
271 | 12/03/2014 | 5:00:00 p.m. | 817223 | 355349 | 7.1831 | 0 | 91.908 | 28.3 | 5.02
270 | 12/03/2014 | 4:00:00 p.m. | 817164 | 355341 | 7.151 | 0 | 91.756 | 28 | 5.02
269 | 12/03/2014 | 3:00:00 p.m. | 817106 | 355333 | 7.1648 | 0 | 91.795 | 28.4 | 5.02
268 | 12/03/2014 | 2:00:00 p.m. | 817045 | 355324 | 7.1391 | 0 | 91.748 | 28.9 | 5.02
267 | 12/03/2014 | 1:00:00 p.m. | 816981 | 355315 | 7.1272 | 0 | 91.727 | 31.7 | 5.01
266 | 12/03/2014 | 12:00:00 p.m. | 816921 | 355307 | 6.9239 | 0 | 91.906 | 36 | 5.01
265 | 12/03/2014 | 11:00:00 a.m. | 816921 | 355307 | 7.0169 | 0 | 91.936 | 30.4 | 5
264 | 12/03/2014 | 10:00:00 a.m. | 816921 | 355307 | 7.2108 | 0 | 92.059 | 23.3 | 5
263 | 12/03/2014 | 9:00:00 a.m. | 816921 | 355307 | 7.3817 | 0 | 92.384 | 19.5 | 4.99
262 | 12/03/2014 | 8:00:00 a.m. | 816921 | 355307 | 7.4347 | 0 | 92.731 | 18.1 | 4.97
261 | 12/03/2014 | 7:00:00 a.m. | 816853 | 355298 | 7.4938 | 0 | 92.794 | 17.9 | 4.97
260 | 12/03/2014 | 6:00:00 a.m. | 816786 | 355289 | 7.4811 | 0 | 92.746 | 18.3 | 4.97
259 | 12/03/2014 | 5:00:00 a.m. | 816710 | 355279 | 7.4787 | 0 | 92.7 | 14.8 | 4.97
258 | 12/03/2014 | 4:00:00 a.m. | 816633 | 355269 | 7.8236 | 0 | 92.837 | 6.7 | 4.97
257 | 12/03/2014 | 3:00:00 a.m. | 816633 | 355269 | 7.7926 | 0 | 92.844 | 8.2 | 4.97
256 | 12/03/2014 | 2:00:00 a.m. | 816633 | 355269 | 7.7414 | 0 | 92.83 | 10.6 | 4.97
255 | 12/03/2014 | 1:00:00 a.m. | 816633 | 355269 | 7.6512 | 0 | 92.804 | 14.7 | 4.98
254 | 12/03/2014 | 12:00:00 a.m. | 816633 | 355269 | 7.4927 | 0 | 92.688 | 19 | 4.98
253 | 11/03/2014 | 11:00:00 p.m. | 816578 | 355261 | 7.4524 | 0 | 92.609 | 19.6 | 4.99
252 | 11/03/2014 | 10:00:00 p.m. | 816519 | 355253 | 7.4164 | 0 | 92.544 | 20.2 | 4.99
251 | 11/03/2014 | 9:00:00 p.m. | 816457 | 355245 | 7.4088 | 0 | 92.479 | 21.1 | 5
250 | 11/03/2014 | 8:00:00 p.m. | 816397 | 355237 | 7.3686 | 0 | 92.405 | 22.1 | 5
249 | 11/03/2014 | 7:00:00 p.m. | 816344 | 355230 | 7.3202 | 0 | 92.389 | 26.4 | 5.01
248 | 11/03/2014 | 6:00:00 p.m. | 816344 | 355230 | 7.1614 | 0 | 92.238 | 30.6 | 5.02
247 | 11/03/2014 | 5:00:00 p.m. | 816338 | 355229 | 7.0998 | 0 | 91.928 | 28.8 | 5.02
246 | 11/03/2014 | 4:00:00 p.m. | 816299 | 355223 | 7.1536 | 0 | 91.693 | 27.9 | 5.02
245 | 11/03/2014 | 3:00:00 p.m. | 816246 | 355216 | 7.1487 | 0 | 91.608 | 27.9 | 5.01
244 | 11/03/2014 | 2:00:00 p.m. | 816179 | 355206 | 7.1445 | 0 | 91.662 | 33.3 | 5.01
243 | 11/03/2014 | 1:00:00 p.m. | 816130 | 355200 | 6.8993 | 0 | 91.845 | 37.3 | 5.01
242 | 11/03/2014 | 12:00:00 p.m. | 816130 | 355200 | 6.9679 | 0 | 91.845 | 34.3 | 5
241 | 11/03/2014 | 11:00:00 a.m. | 816130 | 355200 | 7.0554 | 0 | 91.925 | 29.2 | 5
240 | 11/03/2014 | 10:00:00 a.m. | 816130 | 355200 | 7.2321 | 0 | 92.031 | 21.8 | 5
239 | 11/03/2014 | 9:00:00 a.m. | 816130 | 355200 | 7.4321 | 0 | 92.302 | 14.6 | 4.98
238 | 11/03/2014 | 8:00:00 a.m. | 816130 | 355200 | 7.6659 | 0 | 92.748 | 11 | 4.97
237 | 11/03/2014 | 7:00:00 a.m. | 816129 | 355199 | 7.6068 | 0 | 92.683 | 8 | 4.97
236 | 11/03/2014 | 6:00:00 a.m. | 816096 | 355195 | 7.8345 | 0 | 92.771 | 6.4 | 4.97
235 | 11/03/2014 | 5:00:00 a.m. | 816096 | 355195 | 7.8 | 0 | 92.759 | 7.3 | 4.97
234 | 11/03/2014 | 4:00:00 a.m. | 816096 | 355195 | 7.7733 | 0 | 92.687 | 8.5 | 4.97
233 | 11/03/2014 | 3:00:00 a.m. | 816096 | 355195 | 7.73 | 0 | 92.684 | 9.7 | 4.97
232 | 11/03/2014 | 2:00:00 a.m. | 816096 | 355195 | 7.6916 | 0 | 92.618 | 11.3 | 4.98
231 | 11/03/2014 | 1:00:00 a.m. | 816096 | 355195 | 7.6352 | 0 | 92.614 | 13.3 | 4.98
230 | 11/03/2014 | 12:00:00 a.m. | 816096 | 355195 | 7.5765 | 0 | 92.62 | 15.2 | 4.99
229 | 10/03/2014 | 11:00:00 p.m. | 816096 | 355195 | 7.5215 | 0 | 92.513 | 17.2 | 4.99
228 | 10/03/2014 | 10:00:00 p.m. | 816096 | 355195 | 7.4747 | 0 | 92.5 | 18.3 | 5
227 | 10/03/2014 | 9:00:00 p.m. | 816096 | 355195 | 7.445 | 0 | 92.464 | 19.5 | 5
226 | 10/03/2014 | 8:00:00 p.m. | 816096 | 355195 | 7.3916 | 0 | 92.39 | 21.9 | 5
225 | 10/03/2014 | 7:00:00 p.m. | 816096 | 355195 | 7.3153 | 0 | 92.352 | 25.2 | 5
224 | 10/03/2014 | 6:00:00 p.m. | 816096 | 355195 | 7.2194 | 0 | 92.23 | 28 | 5.01
223 | 10/03/2014 | 5:00:00 p.m. | 816096 | 355195 | 7.1755 | 0 | 92.093 | 29.7 | 5.01
222 | 10/03/2014 | 4:00:00 p.m. | 816096 | 355195 | 7.1611 | 0 | 91.946 | 25.6 | 5.01
221 | 10/03/2014 | 3:00:00 p.m. | 816051 | 355189 | 7.2375 | 0 | 91.998 | 27.6 | 5.01
220 | 10/03/2014 | 2:00:00 p.m. | 816005 | 355182 | 7.1367 | 0 | 92.116 | 30.6 | 5.01
219 | 10/03/2014 | 1:00:00 p.m. | 816005 | 355182 | 7.0666 | 0 | 91.98 | 35.2 | 5.01
218 | 10/03/2014 | 12:00:00 p.m. | 816005 | 355182 | 6.9676 | 0 | 91.894 | 33.5 | 5.01
217 | 10/03/2014 | 11:00:00 a.m. | 816005 | 355182 | 7.0398 | 0 | 91.849 | 31.1 | 5
216 | 10/03/2014 | 10:00:00 a.m. | 816005 | 355182 | 7.1392 | 0 | 91.954 | 25.4 | 5
215 | 10/03/2014 | 9:00:00 a.m. | 816005 | 355182 | 7.3177 | 0 | 92.176 | 21.1 | 4.99
214 | 10/03/2014 | 8:00:00 a.m. | 815977 | 355179 | 7.4399 | 0 | 92.437 | 19.4 | 4.98
213 | 10/03/2014 | 7:00:00 a.m. | 815922 | 355171 | 7.4406 | 0 | 92.457 | 19 | 4.97
212 | 10/03/2014 | 6:00:00 a.m. | 815838 | 355160 | 7.5335 | 0 | 92.569 | 18.6 | 4.97
211 | 10/03/2014 | 5:00:00 a.m. | 815774 | 355151 | 7.443 | 0 | 92.643 | 8.7 | 4.97
210 | 10/03/2014 | 4:00:00 a.m. | 815732 | 355146 | 7.8091 | 0 | 92.735 | 7.2 | 4.97
209 | 10/03/2014 | 3:00:00 a.m. | 815732 | 355146 | 7.7752 | 0 | 92.713 | 8.4 | 4.97
208 | 10/03/2014 | 2:00:00 a.m. | 815732 | 355146 | 7.7365 | 0 | 92.676 | 9.8 | 4.98
207 | 10/03/2014 | 1:00:00 a.m. | 815732 | 355146 | 7.6958 | 0 | 92.647 | 11.2 | 4.98
206 | 10/03/2014 | 12:00:00 a.m. | 815732 | 355146 | 7.6517 | 0 | 92.622 | 12.8 | 4.98
205 | 09/03/2014 | 11:00:00 p.m. | 815732 | 355146 | 7.5839 | 0 | 92.573 | 14.6 | 4.99
204 | 09/03/2014 | 10:00:00 p.m. | 815732 | 355146 | 7.5541 | 0 | 92.54 | 15.7 | 4.99
203 | 09/03/2014 | 9:00:00 p.m. | 815732 | 355146 | 7.5238 | 0 | 92.527 | 16.9 | 4.99
202 | 09/03/2014 | 8:00:00 p.m. | 815732 | 355146 | 7.4854 | 0 | 92.485 | 19 | 5
201 | 09/03/2014 | 7:00:00 p.m. | 815732 | 355146 | 7.3962 | 0 | 92.411 | 22.3 | 5
200 | 09/03/2014 | 6:00:00 p.m. | 815732 | 355146 | 7.3119 | 0 | 92.326 | 25.1 | 5
199 | 09/03/2014 | 5:00:00 p.m. | 815732 | 355146 | 7.2337 | 0 | 92.258 | 26.8 | 5.01
198 | 09/03/2014 | 4:00:00 p.m. | 815732 | 355146 | 7.2078 | 0 | 92.081 | 27.6 | 5.01
197 | 09/03/2014 | 3:00:00 p.m. | 815732 | 355146 | 7.2092 | 0 | 92.172 | 27.5 | 5.01
196 | 09/03/2014 | 2:00:00 p.m. | 815732 | 355146 | 7.14 | 0 | 92.018 | 29.3 | 5.01
195 | 09/03/2014 | 1:00:00 p.m. | 815708 | 355143 | 7.1353 | 0 | 92.002 | 36.9 | 5.01
194 | 09/03/2014 | 12:00:00 p.m. | 815700 | 355141 | 6.9669 | 0 | 91.923 | 33.8 | 5.01
193 | 09/03/2014 | 11:00:00 a.m. | 815700 | 355141 | 7.1101 | 0 | 92.132 | 26.6 | 5.01
192 | 09/03/2014 | 10:00:00 a.m. | 815700 | 355141 | 7.2787 | 0 | 92.088 | 21.2 | 5
191 | 09/03/2014 | 9:00:00 a.m. | 815700 | 355141 | 7.4682 | 0 | 92.324 | 12.6 | 4.99
190 | 09/03/2014 | 8:00:00 a.m. | 815700 | 355141 | 7.7596 | 0 | 92.681 | 6.9 | 4.98
189 | 09/03/2014 | 7:00:00 a.m. | 815700 | 355141 | 7.8077 | 0 | 92.761 | 7 | 4.97
188 | 09/03/2014 | 6:00:00 a.m. | 815700 | 355141 | 7.7909 | 0 | 92.737 | 7.5 | 4.98
187 | 09/03/2014 | 5:00:00 a.m. | 815700 | 355141 | 7.7884 | 0 | 92.735 | 7.8 | 4.98
186 | 09/03/2014 | 4:00:00 a.m. | 815700 | 355141 | 7.7625 | 0 | 92.706 | 8.6 | 4.98
185 | 09/03/2014 | 3:00:00 a.m. | 815700 | 355141 | 7.7376 | 0 | 92.682 | 9.8 | 4.98
184 | 09/03/2014 | 2:00:00 a.m. | 815700 | 355141 | 7.6941 | 0 | 92.674 | 11.2 | 4.98
183 | 09/03/2014 | 1:00:00 a.m. | 815700 | 355141 | 7.6558 | 0 | 92.638 | 12.7 | 4.99
182 | 09/03/2014 | 12:00:00 a.m. | 815700 | 355141 | 7.6109 | 0 | 92.623 | 14.2 | 4.99
181 | 08/03/2014 | 11:00:00 p.m. | 815700 | 355141 | 7.5684 | 0 | 92.585 | 15.6 | 4.99
180 | 08/03/2014 | 10:00:00 p.m. | 815700 | 355141 | 7.5194 | 0 | 92.578 | 17.6 | 5
179 | 08/03/2014 | 9:00:00 p.m. | 815700 | 355141 | 7.4557 | 0 | 92.512 | 20 | 5
178 | 08/03/2014 | 8:00:00 p.m. | 815693 | 355140 | 7.3773 | 0 | 92.315 | 21.7 | 5
177 | 08/03/2014 | 7:00:00 p.m. | 815610 | 355129 | 7.3252 | 0 | 92.379 | 25.2 | 5.01
176 | 08/03/2014 | 6:00:00 p.m. | 815596 | 355127 | 7.1787 | 0 | 92.283 | 32.2 | 5.02
175 | 08/03/2014 | 5:00:00 p.m. | 815596 | 355127 | 7.032 | 0 | 92.16 | 34.2 | 5.02
174 | 08/03/2014 | 4:00:00 p.m. | 815596 | 355127 | 7.0427 | 0 | 91.956 | 34.4 | 5.02
173 | 08/03/2014 | 3:00:00 p.m. | 815596 | 355127 | 7.0128 | 0 | 91.902 | 35.4 | 5.02
172 | 08/03/2014 | 2:00:00 p.m. | 815596 | 355127 | 7.0031 | 0 | 91.837 | 30.7 | 5.02
171 | 08/03/2014 | 1:00:00 p.m. | 815566 | 355123 | 7.1512 | 0 | 91.802 | 27.8 | 5.01
170 | 08/03/2014 | 12:00:00 p.m. | 815502 | 355114 | 7.1561 | 0 | 91.832 | 26.8 | 5.01
169 | 08/03/2014 | 11:00:00 a.m. | 815441 | 355106 | 7.2154 | 0 | 91.857 | 24.9 | 5.01
168 | 08/03/2014 | 10:00:00 a.m. | 815369 | 355096 | 7.2528 | 0 | 92.068 | 20.3 | 5
167 | 08/03/2014 | 9:00:00 a.m. | 815360 | 355094 | 7.498 | 0 | 92.39 | 12.3 | 4.99
166 | 08/03/2014 | 8:00:00 a.m. | 815360 | 355094 | 7.7377 | 0 | 92.718 | 8.4 | 4.97
165 | 08/03/2014 | 7:00:00 a.m. | 815360 | 355094 | 7.7378 | 0 | 92.767 | 11.5 | 4.97
164 | 08/03/2014 | 6:00:00 a.m. | 815360 | 355094 | 7.6006 | 0 | 92.699 | 17.2 | 4.98
163 | 08/03/2014 | 5:00:00 a.m. | 815324 | 355090 | 7.4747 | 0 | 92.657 | 18.5 | 4.98
162 | 08/03/2014 | 4:00:00 a.m. | 815256 | 355080 | 7.4745 | 0 | 92.643 | 18.4 | 4.98
161 | 08/03/2014 | 3:00:00 a.m. | 815191 | 355072 | 7.4621 | 0 | 92.539 | 17.6 | 4.98
160 | 08/03/2014 | 2:00:00 a.m. | 815102 | 355060 | 7.7163 | 0 | 92.686 | 10.7 | 4.98
159 | 08/03/2014 | 1:00:00 a.m. | 815102 | 355060 | 7.6668 | 0 | 92.653 | 12 | 4.99
158 | 08/03/2014 | 12:00:00 a.m. | 815102 | 355060 | 7.6281 | 0 | 92.639 | 13.5 | 4.99
157 | 07/03/2014 | 11:00:00 p.m. | 815102 | 355060 | 7.5857 | 0 | 92.601 | 15.2 | 5
156 | 07/03/2014 | 10:00:00 p.m. | 815102 | 355060 | 7.529 | 0 | 92.56 | 16.6 | 5
155 | 07/03/2014 | 9:00:00 p.m. | 815102 | 355060 | 7.4991 | 0 | 92.559 | 18 | 5
154 | 07/03/2014 | 8:00:00 p.m. | 815102 | 355060 | 7.4556 | 0 | 92.5 | 20.3 | 5
153 | 07/03/2014 | 7:00:00 p.m. | 815099 | 355060 | 7.3653 | 0 | 92.324 | 22.5 | 5
152 | 07/03/2014 | 6:00:00 p.m. | 815039 | 355051 | 7.3162 | 0 | 92.204 | 24.8 | 5.02
151 | 07/03/2014 | 5:00:00 p.m. | 814978 | 355043 | 7.2512 | 0 | 91.968 | 26.8 | 5.02
150 | 07/03/2014 | 4:00:00 p.m. | 814920 | 355035 | 7.2011 | 0 | 91.896 | 29 | 5.02
149 | 07/03/2014 | 3:00:00 p.m. | 814862 | 355027 | 7.0103 | 0 | 92.004 | 36.4 | 5.02
148 | 07/03/2014 | 2:00:00 p.m. | 814862 | 355027 | 6.9177 | 0 | 91.923 | 38.1 | 5.02
147 | 07/03/2014 | 1:00:00 p.m. | 814862 | 355027 | 6.9489 | 0 | 91.936 | 34.7 | 5.02
146 | 07/03/2014 | 12:00:00 p.m. | 814862 | 355027 | 7.0829 | 0 | 91.839 | 27.4 | 5.01
145 | 07/03/2014 | 11:00:00 a.m. | 814809 | 355019 | 7.2256 | 0 | 91.769 | 26 | 5.01
144 | 07/03/2014 | 10:00:00 a.m. | 814738 | 355010 | 7.229 | 0 | 92.094 | 23.5 | 5
143 | 07/03/2014 | 9:00:00 a.m. | 814727 | 355008 | 7.319 | 0 | 92.251 | 21.2 | 4.99
142 | 07/03/2014 | 8:00:00 a.m. | 814640 | 354996 | 7.4322 | 0 | 92.639 | 19 | 4.97
141 | 07/03/2014 | 7:00:00 a.m. | 814552 | 354985 | 7.466 | 0 | 92.686 | 18.8 | 4.97
140 | 07/03/2014 | 6:00:00 a.m. | 814461 | 354972 | 7.4624 | 0 | 92.572 | 15.7 | 4.97
139 | 07/03/2014 | 5:00:00 a.m. | 814358 | 354959 | 7.8397 | 0 | 92.792 | 6.5 | 4.98
138 | 07/03/2014 | 4:00:00 a.m. | 814358 | 354959 | 7.8069 | 0 | 92.758 | 7.8 | 4.98
137 | 07/03/2014 | 3:00:00 a.m. | 814358 | 354959 | 7.7615 | 0 | 92.711 | 9.1 | 4.99
136 | 07/03/2014 | 2:00:00 a.m. | 814358 | 354959 | 7.7159 | 0 | 92.694 | 10 | 4.99
135 | 07/03/2014 | 1:00:00 a.m. | 814358 | 354959 | 7.6913 | 0 | 92.715 | 11.6 | 4.99
134 | 07/03/2014 | 12:00:00 a.m. | 814358 | 354959 | 7.6319 | 0 | 92.691 | 13.8 | 4.99
133 | 06/03/2014 | 11:00:00 p.m. | 814358 | 354959 | 7.5681 | 0 | 92.65 | 15.8 | 5
132 | 06/03/2014 | 10:00:00 p.m. | 814358 | 354959 | 7.5223 | 0 | 92.595 | 17.2 | 5
131 | 06/03/2014 | 9:00:00 p.m. | 814358 | 354959 | 7.4741 | 0 | 92.555 | 19 | 5
130 | 06/03/2014 | 8:00:00 p.m. | 814358 | 354959 | 7.4128 | 0 | 92.494 | 22.1 | 5.01
129 | 06/03/2014 | 7:00:00 p.m. | 814358 | 354959 | 7.298 | 0 | 92.394 | 27 | 5.01
128 | 06/03/2014 | 6:00:00 p.m. | 814358 | 354959 | 7.1445 | 0 | 92.267 | 32.4 | 5.02
127 | 06/03/2014 | 5:00:00 p.m. | 814358 | 354959 | 7.0222 | 0 | 92.137 | 34.9 | 5.02
126 | 06/03/2014 | 4:00:00 p.m. | 814358 | 354959 | 6.999 | 0 | 91.87 | 35.4 | 5.02
125 | 06/03/2014 | 3:00:00 p.m. | 814358 | 354959 | 6.9699 | 0 | 91.857 | 35.4 | 5.02
124 | 06/03/2014 | 2:00:00 p.m. | 814358 | 354959 | 7.0381 | 0 | 91.777 | 28.8 | 5.02
123 | 06/03/2014 | 1:00:00 p.m. | 814306 | 354951 | 7.159 | 0 | 91.786 | 31.6 | 5.02
122 | 06/03/2014 | 12:00:00 p.m. | 814260 | 354945 | 6.9861 | 0 | 91.914 | 33.3 | 5.01
121 | 06/03/2014 | 11:00:00 a.m. | 814260 | 354945 | 7.1043 | 0 | 92.003 | 27 | 5.01
120 | 06/03/2014 | 10:00:00 a.m. | 814256 | 354944 | 7.2814 | 0 | 92.158 | 21 | 5
119 | 06/03/2014 | 9:00:00 a.m. | 814256 | 354944 | 7.4431 | 0 | 92.437 | 15.8 | 4.99
118 | 06/03/2014 | 8:00:00 a.m. | 814237 | 354942 | 7.5998 | 0 | 92.762 | 9.3 | 4.97
117 | 06/03/2014 | 7:00:00 a.m. | 814204 | 354937 | 7.9204 | 0 | 92.859 | 4.1 | 4.97
116 | 06/03/2014 | 6:00:00 a.m. | 814204 | 354937 | 7.8779 | 0 | 92.832 | 5.6 | 4.97
115 | 06/03/2014 | 5:00:00 a.m. | 814204 | 354937 | 7.8179 | 0 | 92.833 | 8.4 | 4.97
114 | 06/03/2014 | 4:00:00 a.m. | 814204 | 354937 | 7.7058 | 0 | 92.836 | 13.7 | 4.98
113 | 06/03/2014 | 3:00:00 a.m. | 814204 | 354937 | 7.4941 | 0 | 92.644 | 19 | 4.98
112 | 06/03/2014 | 2:00:00 a.m. | 814119 | 354926 | 7.4538 | 0 | 92.522 | 17.8 | 4.98
111 | 06/03/2014 | 1:00:00 a.m. | 814008 | 354911 | 7.7623 | 0 | 92.741 | 9.2 | 4.99
110 | 06/03/2014 | 12:00:00 a.m. | 814008 | 354911 | 7.7136 | 0 | 92.711 | 10.9 | 4.98
109 | 05/03/2014 | 11:00:00 p.m. | 814008 | 354911 | 7.6602 | 0 | 92.678 | 12.9 | 4.99
108 | 05/03/2014 | 10:00:00 p.m. | 814008 | 354911 | 7.5902 | 0 | 92.602 | 15.2 | 5
107 | 05/03/2014 | 9:00:00 p.m. | 814008 | 354911 | 7.5173 | 0 | 92.534 | 17.7 | 5
106 | 05/03/2014 | 8:00:00 p.m. | 814008 | 354911 | 7.4394 | 0 | 92.479 | 21 | 5.01
105 | 05/03/2014 | 7:00:00 p.m. | 814008 | 354911 | 7.3366 | 0 | 92.376 | 25.5 | 5.01
104 | 05/03/2014 | 6:00:00 p.m. | 814008 | 354911 | 7.1947 | 0 | 92.268 | 28.7 | 5.02
103 | 05/03/2014 | 5:00:00 p.m. | 814008 | 354911 | 7.2344 | 0 | 91.954 | 27.2 | 5.02
102 | 05/03/2014 | 4:00:00 p.m. | 813948 | 354903 | 7.1828 | 0 | 91.801 | 25.9 | 5.02
101 | 05/03/2014 | 3:00:00 p.m. | 813863 | 354891 | 7.2383 | 0 | 91.805 | 26 | 5.02
100 | 05/03/2014 | 2:00:00 p.m. | 813773 | 354879 | 7.1932 | 0 | 91.664 | 26.4 | 5.02
99 | 05/03/2014 | 1:00:00 p.m. | 813678 | 354865 | 7.1729 | 0 | 91.665 | 26.7 | 5.02
98 | 05/03/2014 | 12:00:00 p.m. | 813588 | 354853 | 7.1976 | 0 | 91.683 | 26.2 | 5.02
97 | 05/03/2014 | 11:00:00 a.m. | 813499 | 354841 | 7.2199 | 0 | 91.727 | 24.9 | 5.01
96 | 05/03/2014 | 10:00:00 a.m. | 813404 | 354827 | 7.2529 | 0 | 91.834 | 23.2 | 5.01
95 | 05/03/2014 | 9:00:00 a.m. | 813307 | 354814 | 7.3186 | 0 | 92.191 | 19.1 | 4.99
94 | 05/03/2014 | 8:00:00 a.m. | 813223 | 354803 | 7.5594 | 0 | 92.673 | 10.4 | 4.97
93 | 05/03/2014 | 7:00:00 a.m. | 813176 | 354797 | 7.903 | 0 | 92.811 | 4.1 | 4.98
92 | 05/03/2014 | 6:00:00 a.m. | 813176 | 354797 | 7.8858 | 0 | 92.799 | 5 | 4.98
91 | 05/03/2014 | 5:00:00 a.m. | 813176 | 354797 | 7.8497 | 0 | 92.764 | 6.1 | 4.98
90 | 05/03/2014 | 4:00:00 a.m. | 813176 | 354797 | 7.8265 | 0 | 92.759 | 6.7 | 4.98
89 | 05/03/2014 | 3:00:00 a.m. | 813176 | 354797 | 7.801 | 0 | 92.733 | 7.5 | 4.99
88 | 05/03/2014 | 2:00:00 a.m. | 813176 | 354797 | 7.7691 | 0 | 92.73 | 8.2 | 4.99
87 | 05/03/2014 | 1:00:00 a.m. | 813176 | 354797 | 7.7427 | 0 | 92.718 | 9.6 | 4.99
86 | 05/03/2014 | 12:00:00 a.m. | 813176 | 354797 | 7.7001 | 0 | 92.709 | 11.3 | 4.99
85 | 04/03/2014 | 11:00:00 p.m. | 813176 | 354797 | 7.6441 | 0 | 92.664 | 13 | 5
84 | 04/03/2014 | 10:00:00 p.m. | 813176 | 354797 | 7.5854 | 0 | 92.599 | 15.5 | 5
83 | 04/03/2014 | 9:00:00 p.m. | 813176 | 354797 | 7.5075 | 0 | 92.516 | 18 | 5
82 | 04/03/2014 | 8:00:00 p.m. | 813169 | 354796 | 7.445 | 0 | 92.462 | 20.5 | 5.01
81 | 04/03/2014 | 7:00:00 p.m. | 813169 | 354796 | 7.3638 | 0 | 92.302 | 23.1 | 5.02
80 | 04/03/2014 | 6:00:00 p.m. | 813138 | 354791 | 7.2839 | 0 | 92.108 | 29.4 | 5.02
79 | 04/03/2014 | 5:00:00 p.m. | 813086 | 354784 | 7.0691 | 0 | 92.026 | 30.9 | 5.03
78 | 04/03/2014 | 4:00:00 p.m. | 813072 | 354782 | 7.1316 | 0 | 91.86 | 33.7 | 5.03
77 | 04/03/2014 | 3:00:00 p.m. | 813054 | 354780 | 6.9871 | 0 | 91.91 | 35.6 | 5.03
76 | 04/03/2014 | 2:00:00 p.m. | 813054 | 354780 | 7.0331 | 0 | 91.741 | 28.7 | 5.02
75 | 04/03/2014 | 1:00:00 p.m. | 812983 | 354770 | 7.1298 | 0 | 91.815 | 36.2 | 5.02
74 | 04/03/2014 | 12:00:00 p.m. | 812958 | 354766 | 6.9583 | 0 | 91.887 | 34.9 | 5.02
73 | 04/03/2014 | 11:00:00 a.m. | 812958 | 354766 | 7.0526 | 0 | 91.932 | 29.7 | 5.02
72 | 04/03/2014 | 10:00:00 a.m. | 812958 | 354766 | 7.225 | 0 | 92.068 | 23.2 | 5.01
71 | 04/03/2014 | 9:00:00 a.m. | 812936 | 354763 | 7.3567 | 0 | 92.299 | 19.3 | 4.99
70 | 04/03/2014 | 8:00:00 a.m. | 812888 | 354757 | 7.5089 | 0 | 92.677 | 15.6 | 4.97
69 | 04/03/2014 | 7:00:00 a.m. | 812839 | 354750 | 7.5618 | 0 | 92.741 | 5.5 | 4.97
68 | 04/03/2014 | 6:00:00 a.m. | 812814 | 354747 | 7.8793 | 0 | 92.809 | 4.6 | 4.98
67 | 04/03/2014 | 5:00:00 a.m. | 812814 | 354747 | 7.8682 | 0 | 92.788 | 5.1 | 4.98
66 | 04/03/2014 | 4:00:00 a.m. | 812814 | 354747 | 7.8576 | 0 | 92.787 | 5.9 | 4.98
65 | 04/03/2014 | 3:00:00 a.m. | 812814 | 354747 | 7.8162 | 0 | 92.771 | 7.1 | 4.99
64 | 04/03/2014 | 2:00:00 a.m. | 812814 | 354747 | 7.7809 | 0 | 92.762 | 8.6 | 4.99
63 | 04/03/2014 | 1:00:00 a.m. | 812813 | 354747 | 7.7438 | 0 | 92.728 | 10.2 | 4.99
62 | 04/03/2014 | 12:00:00 a.m. | 812813 | 354747 | 7.6762 | 0 | 92.704 | 12.2 | 4.99
61 | 03/03/2014 | 11:00:00 p.m. | 812813 | 354747 | 7.6029 | 0 | 92.72 | 14.7 | 5
60 | 03/03/2014 | 10:00:00 p.m. | 812809 | 354746 | 7.5507 | 0 | 92.63 | 17.1 | 5
59 | 03/03/2014 | 9:00:00 p.m. | 812809 | 354746 | 7.4727 | 0 | 92.585 | 19.4 | 5.01
58 | 03/03/2014 | 8:00:00 p.m. | 812809 | 354746 | 7.3973 | 0 | 92.529 | 22.2 | 5.01
57 | 03/03/2014 | 7:00:00 p.m. | 812807 | 354746 | 7.3083 | 0 | 92.326 | 28.4 | 5.02
56 | 03/03/2014 | 6:00:00 p.m. | 812790 | 354744 | 7.1144 | 0 | 92.265 | 34.1 | 5.03
55 | 03/03/2014 | 5:00:00 p.m. | 812790 | 354744 | 6.9913 | 0 | 92.094 | 36.6 | 5.03
54 | 03/03/2014 | 4:00:00 p.m. | 812790 | 354744 | 6.9626 | 0 | 91.939 | 36.8 | 5.03
53 | 03/03/2014 | 3:00:00 p.m. | 812790 | 354744 | 6.9278 | 0 | 91.903 | 38.5 | 5.03
52 | 03/03/2014 | 2:00:00 p.m. | 812790 | 354744 | 6.9576 | 0 | 91.945 | 37.1 | 5.02
51 | 03/03/2014 | 1:00:00 p.m. | 812790 | 354744 | 6.9555 | 0 | 91.912 | 35.9 | 5.02
50 | 03/03/2014 | 12:00:00 p.m. | 812790 | 354744 | 7.0314 | 0 | 91.961 | 32.3 | 5.02
49 | 03/03/2014 | 11:00:00 a.m. | 812790 | 354744 | 7.1143 | 0 | 91.976 | 28.4 | 5.01
48 | 03/03/2014 | 10:00:00 a.m. | 812790 | 354744 | 7.2685 | 0 | 91.916 | 23.1 | 5.01
47 | 03/03/2014 | 9:00:00 a.m. | 812707 | 354732 | 7.3402 | 0 | 92.143 | 21.1 | 5
46 | 03/03/2014 | 8:00:00 a.m. | 812614 | 354720 | 7.5632 | 0 | 92.779 | 10 | 4.98
45 | 03/03/2014 | 7:00:00 a.m. | 812589 | 354716 | 7.8119 | 0 | 92.889 | 7.1 | 4.98
44 | 03/03/2014 | 6:00:00 a.m. | 812589 | 354716 | 7.7969 | 0 | 92.877 | 7.6 | 4.99
43 | 03/03/2014 | 5:00:00 a.m. | 812588 | 354716 | 7.7897 | 0 | 92.848 | 8.2 | 4.98
42 | 03/03/2014 | 4:00:00 a.m. | 812588 | 354716 | 7.7562 | 0 | 92.836 | 9.2 | 4.99
41 | 03/03/2014 | 3:00:00 a.m. | 812588 | 354716 | 7.7302 | 0 | 92.855 | 10.3 | 4.99
40 | 03/03/2014 | 2:00:00 a.m. | 812588 | 354716 | 7.6935 | 0 | 92.804 | 11.6 | 4.99
39 | 03/03/2014 | 1:00:00 a.m. | 812588 | 354716 | 7.6473 | 0 | 92.782 | 12.9 | 5
38 | 03/03/2014 | 12:00:00 a.m. | 812588 | 354716 | 7.6162 | 0 | 92.768 | 13.8 | 5
37 | 02/03/2014 | 11:00:00 p.m. | 812588 | 354716 | 7.5972 | 0 | 92.74 | 15.3 | 5
36 | 02/03/2014 | 10:00:00 p.m. | 812588 | 354716 | 7.5334 | 0 | 92.717 | 17.4 | 5
35 | 02/03/2014 | 9:00:00 p.m. | 812588 | 354716 | 7.4644 | 0 | 92.681 | 20.2 | 5.01
34 | 02/03/2014 | 8:00:00 p.m. | 812588 | 354716 | 7.3857 | 0 | 92.497 | 23.4 | 5.01
33 | 02/03/2014 | 7:00:00 p.m. | 812588 | 354716 | 7.2705 | 0 | 92.391 | 27.9 | 5.02
32 | 02/03/2014 | 6:00:00 p.m. | 812588 | 354716 | 7.153 | 0 | 92.307 | 29.8 | 5.02
31 | 02/03/2014 | 5:00:00 p.m. | 812588 | 354716 | 7.1423 | 0 | 92.249 | 31.8 | 5.02
30 | 02/03/2014 | 4:00:00 p.m. | 812588 | 354716 | 7.0433 | 0 | 92.091 | 36.4 | 5.03
29 | 02/03/2014 | 3:00:00 p.m. | 812588 | 354716 | 6.9176 | 0 | 91.898 | 38.1 | 5.03
28 | 02/03/2014 | 2:00:00 p.m. | 812588 | 354716 | 6.9774 | 0 | 91.906 | 36.7 | 5.02
27 | 02/03/2014 | 1:00:00 p.m. | 812588 | 354716 | 6.9265 | 0 | 91.877 | 38.6 | 5.02
26 | 02/03/2014 | 12:00:00 p.m. | 812588 | 354716 | 6.9384 | 0 | 91.892 | 34.1 | 5.02
25 | 02/03/2014 | 11:00:00 a.m. | 812588 | 354716 | 7.1205 | 0 | 91.884 | 27.8 | 5.02
24 | 02/03/2014 | 10:00:00 a.m. | 812563 | 354713 | 7.2609 | 0 | 92.136 | 20.7 | 5.01
23 | 02/03/2014 | 9:00:00 a.m. | 812563 | 354713 | 7.5011 | 0 | 92.444 | 11.4 | 5
22 | 02/03/2014 | 8:00:00 a.m. | 812563 | 354713 | 7.7929 | 0 | 92.821 | 6.2 | 4.98
21 | 02/03/2014 | 7:00:00 a.m. | 812563 | 354713 | 7.8237 | 0 | 92.81 | 6.6 | 4.98
20 | 02/03/2014 | 6:00:00 a.m. | 812563 | 354713 | 7.8068 | 0 | 92.817 | 7.4 | 4.98
19 | 02/03/2014 | 5:00:00 a.m. | 812563 | 354713 | 7.7748 | 0 | 92.795 | 8.6 | 4.99
18 | 02/03/2014 | 4:00:00 a.m. | 812563 | 354713 | 7.7343 | 0 | 92.745 | 9.9 | 4.99
17 | 02/03/2014 | 3:00:00 a.m. | 812563 | 354713 | 7.7021 | 0 | 92.739 | 10.8 | 4.99
16 | 02/03/2014 | 2:00:00 a.m. | 812563 | 354713 | 7.6742 | 0 | 92.745 | 11.9 | 4.99
15 | 02/03/2014 | 1:00:00 a.m. | 812563 | 354713 | 7.6329 | 0 | 92.71 | 13.7 | 5
14 | 02/03/2014 | 12:00:00 a.m. | 812563 | 354713 | 7.5691 | 0 | 92.711 | 16.5 | 5
13 | 01/03/2014 | 11:00:00 p.m. | 812563 | 354713 | 7.4844 | 0 | 92.622 | 19.8 | 5
12 | 01/03/2014 | 10:00:00 p.m. | 812548 | 354711 | 7.3804 | 0 | 92.449 | 20 | 5.01
11 | 01/03/2014 | 9:00:00 p.m. | 812488 | 354703 | 7.4131 | 0 | 92.536 | 20.5 | 5.01
10 | 01/03/2014 | 8:00:00 p.m. | 812479 | 354701 | 7.386 | 0 | 92.501 | 22.2 | 5.02
9 | 01/03/2014 | 7:00:00 p.m. | 812479 | 354701 | 7.3286 | 0 | 92.258 | 24.2 | 5.02
8 | 01/03/2014 | 6:00:00 p.m. | 812414 | 354693 | 7.2034 | 0 | 92.17 | 34.8 | 5.03
7 | 01/03/2014 | 5:00:00 p.m. | 812400 | 354691 | 6.9692 | 0 | 92.099 | 37.4 | 5.03
6 | 01/03/2014 | 4:00:00 p.m. | 812400 | 354691 | 6.9373 | 0 | 91.889 | 38 | 5.03
5 | 01/03/2014 | 3:00:00 p.m. | 812400 | 354691 | 6.8956 | 0 | 91.873 | 40 | 5.03
4 | 01/03/2014 | 2:00:00 p.m. | 812400 | 354691 | 6.8868 | 0 | 91.899 | 37.3 | 5.03
3 | 01/03/2014 | 1:00:00 p.m. | 812400 | 354691 | 7.0293 | 0 | 91.735 | 28.2 | 5.02
2 | 01/03/2014 | 12:00:00 p.m. | 812336 | 354682 | 7.1971 | 0 | 91.695 | 28.3 | 5.02
1 | 01/03/2014 | 11:00:00 a.m. | 812247 | 354669 | 7.0745 | 0 | 91.976 | 28.7 | 5.02