## Mineria Empresarial diario 0430
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/24/2014 | 12:42:43 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
2 | 02/17/2014 | 10:31:52 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
26 | 05/01/2014 | 9:00:00 a.m. | 16911 | 178605 | 7.0455 | 0 | 90.437 | 22 | 6.08
25 | 04/30/2014 | 9:00:00 a.m. | 16325 | 178521 | 7.1642 | 0 | 90.81 | 23.8 | 6.07
24 | 04/29/2014 | 9:00:00 a.m. | 16064 | 178484 | 7.0162 | 0 | 90.885 | 23.5 | 6.08
23 | 04/28/2014 | 9:00:00 a.m. | 15837 | 178451 | 7.4629 | 0 | 91.271 | 22 | 6.07
22 | 04/27/2014 | 9:00:00 a.m. | 15837 | 178451 | 7.4265 | 0 | 91.069 | 24.1 | 6.08
21 | 04/26/2014 | 9:00:00 a.m. | 15693 | 178430 | 7.0523 | 0 | 90.477 | 21.7 | 6.09
20 | 04/25/2014 | 9:00:00 a.m. | 15149 | 178353 | 7.3505 | 0 | 90.478 | 22 | 6.1
19 | 04/24/2014 | 9:00:00 a.m. | 14563 | 178269 | 7.052 | 0 | 90.565 | 18.9 | 6.07
18 | 04/23/2014 | 9:00:00 a.m. | 13944 | 178181 | 7.0534 | 0 | 90.784 | 21.2 | 6.09
17 | 04/22/2014 | 9:00:00 a.m. | 13480 | 178114 | 7.4974 | 0 | 91.076 | 22 | 6.09
16 | 04/21/2014 | 9:00:00 a.m. | 13262 | 178083 | 6.9615 | 0 | 91.135 | 20.6 | 6.09
15 | 04/20/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.3537 | 0 | 91.388 | 25.9 | 6.1
14 | 04/19/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.4814 | 0 | 91.545 | 23.6 | 6.1
13 | 04/18/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.4337 | 0 | 91.083 | 22.6 | 6.1
12 | 04/17/2014 | 9:00:00 a.m. | 12782 | 178014 | 7.0243 | 0 | 90.784 | 21.4 | 6.11
11 | 04/16/2014 | 9:00:00 a.m. | 12298 | 177944 | 7.0978 | 0 | 90.577 | 23 | 6.11
10 | 04/15/2014 | 9:00:00 a.m. | 11710 | 177861 | 7.1193 | 0 | 90.937 | 24.3 | 6.1
9 | 04/14/2014 | 9:00:00 a.m. | 11356 | 177811 | 7.0795 | 0 | 91.038 | 26.2 | 6.11
8 | 04/13/2014 | 9:00:00 a.m. | 11242 | 177795 | 7.4045 | 0 | 90.747 | 23.9 | 6.12
7 | 04/12/2014 | 9:00:00 a.m. | 10887 | 177744 | 7.4663 | 0 | 90.655 | 23 | 6.1
6 | 04/11/2014 | 9:00:00 a.m. | 10462 | 177683 | 7.0928 | 0 | 90.529 | 21.8 | 6.1
5 | 04/10/2014 | 9:00:00 a.m. | 9858 | 177597 | 7.1573 | 0 | 90.603 | 20.5 | 6.1
4 | 04/09/2014 | 9:00:00 a.m. | 9284 | 177516 | 7.0962 | 0 | 61.613 | 21.7 | 6.12
3 | 04/08/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.87524 | 0 | 0.782 | 22.3 | 6.11
2 | 04/07/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.89858 | 0 | 1.235 | 23.3 | 6.12
1 | 04/06/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.91975 | 0 | 1.496 | 24.2 | 6.13