## Mineria Empresarial horario 043
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 621
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/24/2014 | 12:42:43 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
2 | 02/17/2014 | 10:31:52 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
621 | 05/01/2014 | 11:00:00 a.m. | 17070 | 178628 | 7.0301 | 0 | 88.786 | 25.5 | 6.09
620 | 05/01/2014 | 10:00:00 a.m. | 16993 | 178617 | 7.0204 | 0 | 88.575 | 23.1 | 6.09
619 | 05/01/2014 | 9:00:00 a.m. | 16911 | 178605 | 7.0455 | 0 | 90.844 | 14.1 | 6.08
618 | 05/01/2014 | 8:00:00 a.m. | 16893 | 178602 | 7.5823 | 0 | 91.607 | 11.5 | 6.07
617 | 05/01/2014 | 7:00:00 a.m. | 16893 | 178602 | 7.5716 | 0 | 91.62 | 12 | 6.07
616 | 05/01/2014 | 6:00:00 a.m. | 16893 | 178602 | 7.5667 | 0 | 91.643 | 12.6 | 6.06
615 | 05/01/2014 | 5:00:00 a.m. | 16893 | 178602 | 7.5517 | 0 | 91.568 | 13.5 | 6.07
614 | 05/01/2014 | 4:00:00 a.m. | 16893 | 178602 | 7.5047 | 0 | 91.459 | 14.6 | 6.06
613 | 05/01/2014 | 3:00:00 a.m. | 16893 | 178602 | 7.4661 | 0 | 91.442 | 15.9 | 6.07
612 | 05/01/2014 | 2:00:00 a.m. | 16893 | 178602 | 7.4282 | 0 | 91.402 | 17.4 | 6.08
611 | 05/01/2014 | 1:00:00 a.m. | 16893 | 178602 | 7.3901 | 0 | 91.363 | 19.1 | 6.08
610 | 05/01/2014 | 12:00:00 a.m. | 16893 | 178602 | 7.3286 | 0 | 91.32 | 20.8 | 6.08
609 | 04/30/2014 | 11:00:00 p.m. | 16893 | 178602 | 7.29 | 0 | 91.285 | 22 | 6.09
608 | 04/30/2014 | 10:00:00 p.m. | 16893 | 178602 | 7.2712 | 0 | 91.244 | 23.5 | 6.08
607 | 04/30/2014 | 9:00:00 p.m. | 16893 | 178602 | 7.221 | 0 | 91.189 | 25.5 | 6.09
606 | 04/30/2014 | 8:00:00 p.m. | 16893 | 178602 | 7.1345 | 0 | 91.047 | 28.7 | 6.11
605 | 04/30/2014 | 7:00:00 p.m. | 16893 | 178602 | 7.0595 | 0 | 90.97 | 32 | 6.12
604 | 04/30/2014 | 6:00:00 p.m. | 16893 | 178602 | 6.9537 | 0 | 90.824 | 33.5 | 6.12
603 | 04/30/2014 | 5:00:00 p.m. | 16893 | 178602 | 7.0257 | 0 | 88.703 | 27.5 | 6.12
602 | 04/30/2014 | 4:00:00 p.m. | 16825 | 178593 | 6.9386 | 0 | 88.626 | 27 | 6.11
601 | 04/30/2014 | 3:00:00 p.m. | 16753 | 178582 | 7.014 | 0 | 89.817 | 28.5 | 6.11
600 | 04/30/2014 | 2:00:00 p.m. | 16712 | 178576 | 6.9888 | 0 | 88.633 | 27.5 | 6.1
599 | 04/30/2014 | 1:00:00 p.m. | 16638 | 178566 | 6.9287 | 0 | 88.421 | 27.2 | 6.11
598 | 04/30/2014 | 12:00:00 p.m. | 16560 | 178555 | 6.919 | 0 | 88.131 | 26.2 | 6.1
597 | 04/30/2014 | 11:00:00 a.m. | 16477 | 178543 | 6.9495 | 0 | 88.031 | 24.7 | 6.1
596 | 04/30/2014 | 10:00:00 a.m. | 16391 | 178530 | 6.961 | 0 | 89.307 | 22.8 | 6.09
595 | 04/30/2014 | 9:00:00 a.m. | 16325 | 178521 | 7.1642 | 0 | 90.332 | 16 | 6.07
594 | 04/30/2014 | 8:00:00 a.m. | 16296 | 178517 | 7.5498 | 0 | 91.429 | 12.7 | 6.07
593 | 04/30/2014 | 7:00:00 a.m. | 16296 | 178517 | 7.541 | 0 | 91.406 | 13.2 | 6.06
592 | 04/30/2014 | 6:00:00 a.m. | 16296 | 178517 | 7.5099 | 0 | 91.339 | 14 | 6.07
591 | 04/30/2014 | 5:00:00 a.m. | 16296 | 178517 | 7.4868 | 0 | 91.371 | 14.7 | 6.07
590 | 04/30/2014 | 4:00:00 a.m. | 16296 | 178517 | 7.4602 | 0 | 91.391 | 16 | 6.08
589 | 04/30/2014 | 3:00:00 a.m. | 16296 | 178517 | 7.4264 | 0 | 91.355 | 17 | 6.08
588 | 04/30/2014 | 2:00:00 a.m. | 16296 | 178517 | 7.4085 | 0 | 91.391 | 17.6 | 6.08
587 | 04/30/2014 | 1:00:00 a.m. | 16296 | 178517 | 7.3908 | 0 | 91.276 | 18.7 | 6.08
586 | 04/30/2014 | 12:00:00 a.m. | 16296 | 178517 | 7.3434 | 0 | 91.222 | 20.1 | 6.08
585 | 04/29/2014 | 11:00:00 p.m. | 16296 | 178517 | 7.3055 | 0 | 91.239 | 21.2 | 6.09
584 | 04/29/2014 | 10:00:00 p.m. | 16296 | 178517 | 7.2819 | 0 | 91.249 | 22.8 | 6.09
583 | 04/29/2014 | 9:00:00 p.m. | 16296 | 178517 | 7.23 | 0 | 91.18 | 24.5 | 6.09
582 | 04/29/2014 | 8:00:00 p.m. | 16296 | 178517 | 7.1849 | 0 | 91.127 | 27.3 | 6.1
581 | 04/29/2014 | 7:00:00 p.m. | 16296 | 178517 | 7.0991 | 0 | 91.013 | 30 | 6.1
580 | 04/29/2014 | 6:00:00 p.m. | 16296 | 178517 | 7.0341 | 0 | 90.927 | 30.1 | 6.1
579 | 04/29/2014 | 5:00:00 p.m. | 16296 | 178517 | 7.0666 | 0 | 91.005 | 30.8 | 6.11
578 | 04/29/2014 | 4:00:00 p.m. | 16296 | 178517 | 7.0098 | 0 | 90.965 | 34.3 | 6.11
577 | 04/29/2014 | 3:00:00 p.m. | 16296 | 178517 | 6.9088 | 0 | 90.913 | 37.9 | 6.11
576 | 04/29/2014 | 2:00:00 p.m. | 16296 | 178517 | 6.8087 | 0 | 90.819 | 40.4 | 6.12
575 | 04/29/2014 | 1:00:00 p.m. | 16295 | 178517 | 6.8073 | 0 | 90.841 | 37.1 | 6.1
574 | 04/29/2014 | 12:00:00 p.m. | 16295 | 178517 | 7.018 | 0 | 88.958 | 27.1 | 6.11
573 | 04/29/2014 | 11:00:00 a.m. | 16231 | 178508 | 6.9743 | 0 | 88.357 | 25.4 | 6.11
572 | 04/29/2014 | 10:00:00 a.m. | 16149 | 178496 | 6.9923 | 0 | 88.337 | 23.2 | 6.1
571 | 04/29/2014 | 9:00:00 a.m. | 16064 | 178484 | 7.0162 | 0 | 90.308 | 15.1 | 6.08
570 | 04/29/2014 | 8:00:00 a.m. | 16039 | 178480 | 7.5448 | 0 | 91.431 | 13.1 | 6.07
569 | 04/29/2014 | 7:00:00 a.m. | 16039 | 178480 | 7.5122 | 0 | 91.345 | 14 | 6.08
568 | 04/29/2014 | 6:00:00 a.m. | 16039 | 178480 | 7.4994 | 0 | 91.431 | 14.7 | 6.07
567 | 04/29/2014 | 5:00:00 a.m. | 16039 | 178480 | 7.4883 | 0 | 91.511 | 15 | 6.08
566 | 04/29/2014 | 4:00:00 a.m. | 16039 | 178480 | 7.474 | 0 | 91.445 | 15.4 | 6.09
565 | 04/29/2014 | 3:00:00 a.m. | 16039 | 178480 | 7.4643 | 0 | 91.502 | 15.8 | 6.09
564 | 04/29/2014 | 2:00:00 a.m. | 16039 | 178480 | 7.4431 | 0 | 91.454 | 16.8 | 6.08
563 | 04/29/2014 | 1:00:00 a.m. | 16039 | 178480 | 7.4074 | 0 | 91.359 | 18.1 | 6.08
562 | 04/29/2014 | 12:00:00 a.m. | 16039 | 178480 | 7.3616 | 0 | 91.365 | 19.8 | 6.08
561 | 04/28/2014 | 11:00:00 p.m. | 16039 | 178480 | 7.3168 | 0 | 91.336 | 21.7 | 6.08
560 | 04/28/2014 | 10:00:00 p.m. | 16039 | 178480 | 7.2678 | 0 | 91.236 | 23.2 | 6.1
559 | 04/28/2014 | 9:00:00 p.m. | 16039 | 178480 | 7.2204 | 0 | 91.186 | 25.2 | 6.1
558 | 04/28/2014 | 8:00:00 p.m. | 16039 | 178480 | 7.1563 | 0 | 91.184 | 27.5 | 6.1
557 | 04/28/2014 | 7:00:00 p.m. | 16039 | 178480 | 7.1008 | 0 | 91.116 | 30.7 | 6.11
556 | 04/28/2014 | 6:00:00 p.m. | 16039 | 178480 | 7.0103 | 0 | 91.027 | 31.4 | 6.12
555 | 04/28/2014 | 5:00:00 p.m. | 16039 | 178480 | 7.0683 | 0 | 88.495 | 27.6 | 6.13
554 | 04/28/2014 | 4:00:00 p.m. | 15963 | 178469 | 6.9454 | 0 | 88.899 | 28.7 | 6.12
553 | 04/28/2014 | 3:00:00 p.m. | 15894 | 178459 | 6.9983 | 0 | 89.423 | 30.1 | 6.12
552 | 04/28/2014 | 2:00:00 p.m. | 15838 | 178451 | 6.7897 | 0 | 90.829 | 40.5 | 6.11
551 | 04/28/2014 | 1:00:00 p.m. | 15837 | 178451 | 6.8232 | 0 | 90.745 | 38.7 | 6.11
550 | 04/28/2014 | 12:00:00 p.m. | 15837 | 178451 | 6.8817 | 0 | 90.832 | 34.4 | 6.1
549 | 04/28/2014 | 11:00:00 a.m. | 15837 | 178451 | 7.0133 | 0 | 90.832 | 28.2 | 6.11
548 | 04/28/2014 | 10:00:00 a.m. | 15837 | 178451 | 7.1964 | 0 | 90.943 | 19.4 | 6.09
547 | 04/28/2014 | 9:00:00 a.m. | 15837 | 178451 | 7.4629 | 0 | 91.247 | 11.7 | 6.07
546 | 04/28/2014 | 8:00:00 a.m. | 15837 | 178451 | 7.6043 | 0 | 91.511 | 10.2 | 6.07
545 | 04/28/2014 | 7:00:00 a.m. | 15837 | 178451 | 7.591 | 0 | 91.473 | 11 | 6.06
544 | 04/28/2014 | 6:00:00 a.m. | 15837 | 178451 | 7.5804 | 0 | 91.507 | 11.6 | 6.06
543 | 04/28/2014 | 5:00:00 a.m. | 15837 | 178451 | 7.572 | 0 | 91.556 | 12.1 | 6.07
542 | 04/28/2014 | 4:00:00 a.m. | 15837 | 178451 | 7.5581 | 0 | 91.492 | 12.5 | 6.08
541 | 04/28/2014 | 3:00:00 a.m. | 15837 | 178451 | 7.5374 | 0 | 91.45 | 13.3 | 6.07
540 | 04/28/2014 | 2:00:00 a.m. | 15837 | 178451 | 7.5139 | 0 | 91.426 | 14.4 | 6.07
539 | 04/28/2014 | 1:00:00 a.m. | 15837 | 178451 | 7.4808 | 0 | 91.497 | 15.7 | 6.07
538 | 04/28/2014 | 12:00:00 a.m. | 15837 | 178451 | 7.4381 | 0 | 91.518 | 17.5 | 6.09
537 | 04/27/2014 | 11:00:00 p.m. | 15837 | 178451 | 7.4039 | 0 | 91.507 | 19.7 | 6.09
536 | 04/27/2014 | 10:00:00 p.m. | 15837 | 178451 | 7.3201 | 0 | 91.363 | 21.9 | 6.09
535 | 04/27/2014 | 9:00:00 p.m. | 15837 | 178451 | 7.2566 | 0 | 91.309 | 23.9 | 6.1
534 | 04/27/2014 | 8:00:00 p.m. | 15837 | 178451 | 7.1993 | 0 | 91.238 | 25.3 | 6.09
533 | 04/27/2014 | 7:00:00 p.m. | 15837 | 178451 | 7.1827 | 0 | 91.205 | 26.1 | 6.1
532 | 04/27/2014 | 6:00:00 p.m. | 15837 | 178451 | 7.1473 | 0 | 91.222 | 27.5 | 6.1
531 | 04/27/2014 | 5:00:00 p.m. | 15837 | 178451 | 7.112 | 0 | 91.151 | 29.9 | 6.11
530 | 04/27/2014 | 4:00:00 p.m. | 15837 | 178451 | 7.0171 | 0 | 90.967 | 33.5 | 6.11
529 | 04/27/2014 | 3:00:00 p.m. | 15837 | 178451 | 6.9554 | 0 | 91.002 | 35.7 | 6.12
528 | 04/27/2014 | 2:00:00 p.m. | 15837 | 178451 | 6.8729 | 0 | 90.971 | 37.3 | 6.12
527 | 04/27/2014 | 1:00:00 p.m. | 15837 | 178451 | 6.9054 | 0 | 90.977 | 34.4 | 6.1
526 | 04/27/2014 | 12:00:00 p.m. | 15837 | 178451 | 6.9575 | 0 | 90.916 | 34.4 | 6.12
525 | 04/27/2014 | 11:00:00 a.m. | 15837 | 178451 | 6.9822 | 0 | 90.941 | 29.2 | 6.11
524 | 04/27/2014 | 10:00:00 a.m. | 15837 | 178451 | 7.1836 | 0 | 91.056 | 20.4 | 6.1
523 | 04/27/2014 | 9:00:00 a.m. | 15837 | 178451 | 7.4265 | 0 | 91.31 | 13.8 | 6.08
522 | 04/27/2014 | 8:00:00 a.m. | 15837 | 178451 | 7.5582 | 0 | 91.585 | 12 | 6.06
521 | 04/27/2014 | 7:00:00 a.m. | 15837 | 178451 | 7.5651 | 0 | 91.508 | 12.6 | 6.07
520 | 04/27/2014 | 6:00:00 a.m. | 15837 | 178451 | 7.5427 | 0 | 91.605 | 13.7 | 6.07
519 | 04/27/2014 | 5:00:00 a.m. | 15837 | 178451 | 7.512 | 0 | 91.494 | 14.9 | 6.08
518 | 04/27/2014 | 4:00:00 a.m. | 15837 | 178451 | 7.4672 | 0 | 91.514 | 16.2 | 6.07
517 | 04/27/2014 | 3:00:00 a.m. | 15837 | 178451 | 7.471 | 0 | 91.614 | 17.5 | 6.08
516 | 04/27/2014 | 2:00:00 a.m. | 15837 | 178451 | 7.389 | 0 | 91.415 | 18.8 | 6.08
515 | 04/27/2014 | 1:00:00 a.m. | 15837 | 178451 | 7.375 | 0 | 91.504 | 18.9 | 6.08
514 | 04/27/2014 | 12:00:00 a.m. | 15837 | 178451 | 7.3743 | 0 | 91.502 | 19.2 | 6.09
513 | 04/26/2014 | 11:00:00 p.m. | 15837 | 178451 | 7.3557 | 0 | 91.566 | 20.5 | 6.08
512 | 04/26/2014 | 10:00:00 p.m. | 15837 | 178451 | 7.3135 | 0 | 91.475 | 22.3 | 6.08
511 | 04/26/2014 | 9:00:00 p.m. | 15837 | 178451 | 7.2479 | 0 | 91.309 | 24.3 | 6.1
510 | 04/26/2014 | 8:00:00 p.m. | 15837 | 178451 | 7.1884 | 0 | 91.243 | 26.6 | 6.1
509 | 04/26/2014 | 7:00:00 p.m. | 15837 | 178451 | 7.132 | 0 | 91.149 | 29.9 | 6.12
508 | 04/26/2014 | 6:00:00 p.m. | 15837 | 178451 | 7.0271 | 0 | 90.946 | 32.8 | 6.12
507 | 04/26/2014 | 5:00:00 p.m. | 15837 | 178451 | 6.9833 | 0 | 90.976 | 32.4 | 6.12
506 | 04/26/2014 | 4:00:00 p.m. | 15837 | 178451 | 6.9746 | 0 | 90.938 | 34.1 | 6.12
505 | 04/26/2014 | 3:00:00 p.m. | 15837 | 178451 | 6.928 | 0 | 90.942 | 37.8 | 6.12
504 | 04/26/2014 | 2:00:00 p.m. | 15837 | 178451 | 6.8249 | 0 | 90.964 | 39.6 | 6.12
503 | 04/26/2014 | 1:00:00 p.m. | 15837 | 178451 | 6.8425 | 0 | 90.864 | 37.7 | 6.11
502 | 04/26/2014 | 12:00:00 p.m. | 15837 | 178451 | 6.8986 | 0 | 90.919 | 33.4 | 6.11
501 | 04/26/2014 | 11:00:00 a.m. | 15837 | 178451 | 7.0397 | 0 | 89.059 | 26.1 | 6.11
500 | 04/26/2014 | 10:00:00 a.m. | 15778 | 178443 | 6.9957 | 0 | 88.26 | 23.6 | 6.1
499 | 04/26/2014 | 9:00:00 a.m. | 15693 | 178430 | 7.0523 | 0 | 89.146 | 17.9 | 6.09
498 | 04/26/2014 | 8:00:00 a.m. | 15630 | 178422 | 7.5662 | 0 | 91.447 | 12.2 | 6.08
497 | 04/26/2014 | 7:00:00 a.m. | 15630 | 178422 | 7.5395 | 0 | 91.427 | 13 | 6.07
496 | 04/26/2014 | 6:00:00 a.m. | 15630 | 178422 | 7.519 | 0 | 91.482 | 13.4 | 6.08
495 | 04/26/2014 | 5:00:00 a.m. | 15630 | 178422 | 7.5156 | 0 | 91.404 | 13.8 | 6.08
494 | 04/26/2014 | 4:00:00 a.m. | 15630 | 178422 | 7.517 | 0 | 91.441 | 14.1 | 6.08
493 | 04/26/2014 | 3:00:00 a.m. | 15630 | 178422 | 7.4903 | 0 | 91.421 | 14.6 | 6.08
492 | 04/26/2014 | 2:00:00 a.m. | 15630 | 178422 | 7.4809 | 0 | 91.471 | 15.2 | 6.07
491 | 04/26/2014 | 1:00:00 a.m. | 15630 | 178422 | 7.4565 | 0 | 91.386 | 16.2 | 6.09
490 | 04/26/2014 | 12:00:00 a.m. | 15630 | 178422 | 7.4384 | 0 | 91.444 | 17.1 | 6.08
489 | 04/25/2014 | 11:00:00 p.m. | 15630 | 178422 | 7.4085 | 0 | 91.488 | 18.7 | 6.1
488 | 04/25/2014 | 10:00:00 p.m. | 15630 | 178422 | 7.3527 | 0 | 91.476 | 20.7 | 6.09
487 | 04/25/2014 | 9:00:00 p.m. | 15630 | 178422 | 7.2959 | 0 | 91.387 | 23.2 | 6.09
486 | 04/25/2014 | 8:00:00 p.m. | 15630 | 178422 | 7.2104 | 0 | 91.219 | 26.7 | 6.09
485 | 04/25/2014 | 7:00:00 p.m. | 15630 | 178422 | 7.0924 | 0 | 91.111 | 31.3 | 6.12
484 | 04/25/2014 | 6:00:00 p.m. | 15630 | 178422 | 6.9865 | 0 | 90.948 | 31.7 | 6.13
483 | 04/25/2014 | 5:00:00 p.m. | 15630 | 178422 | 7.0828 | 0 | 88.43 | 27.1 | 6.13
482 | 04/25/2014 | 4:00:00 p.m. | 15556 | 178411 | 6.9742 | 0 | 88.537 | 26.4 | 6.13
481 | 04/25/2014 | 3:00:00 p.m. | 15479 | 178400 | 6.9818 | 0 | 88.544 | 25.3 | 6.11
480 | 04/25/2014 | 2:00:00 p.m. | 15400 | 178389 | 6.9999 | 0 | 88.828 | 29.1 | 6.11
479 | 04/25/2014 | 1:00:00 p.m. | 15335 | 178379 | 6.8888 | 0 | 90.814 | 35.5 | 6.13
478 | 04/25/2014 | 12:00:00 p.m. | 15335 | 178379 | 6.9761 | 0 | 89.782 | 28.8 | 6.11
477 | 04/25/2014 | 11:00:00 a.m. | 15304 | 178375 | 6.942 | 0 | 88.292 | 25.6 | 6.1
476 | 04/25/2014 | 10:00:00 a.m. | 15222 | 178363 | 7.0261 | 0 | 88.531 | 23 | 6.1
475 | 04/25/2014 | 9:00:00 a.m. | 15149 | 178353 | 7.3505 | 0 | 91.179 | 16.9 | 6.1
474 | 04/25/2014 | 8:00:00 a.m. | 15149 | 178353 | 7.4509 | 0 | 91.307 | 15.4 | 6.1
473 | 04/25/2014 | 7:00:00 a.m. | 15149 | 178353 | 7.4535 | 0 | 91.273 | 15.4 | 6.1
472 | 04/25/2014 | 6:00:00 a.m. | 15149 | 178353 | 7.4599 | 0 | 91.47 | 15.3 | 6.09
471 | 04/25/2014 | 5:00:00 a.m. | 15149 | 178353 | 7.4718 | 0 | 91.403 | 15.3 | 6.09
470 | 04/25/2014 | 4:00:00 a.m. | 15149 | 178353 | 7.4677 | 0 | 91.45 | 15.6 | 6.08
469 | 04/25/2014 | 3:00:00 a.m. | 15149 | 178353 | 7.4573 | 0 | 91.506 | 16.3 | 6.08
468 | 04/25/2014 | 2:00:00 a.m. | 15149 | 178353 | 7.4347 | 0 | 91.394 | 17 | 6.09
467 | 04/25/2014 | 1:00:00 a.m. | 15149 | 178353 | 7.4117 | 0 | 91.365 | 18 | 6.09
466 | 04/25/2014 | 12:00:00 a.m. | 15149 | 178353 | 7.3733 | 0 | 91.279 | 19.3 | 6.08
465 | 04/24/2014 | 11:00:00 p.m. | 15149 | 178353 | 7.3273 | 0 | 91.235 | 21 | 6.09
464 | 04/24/2014 | 10:00:00 p.m. | 15149 | 178353 | 7.277 | 0 | 91.268 | 22.9 | 6.11
463 | 04/24/2014 | 9:00:00 p.m. | 15149 | 178353 | 7.2342 | 0 | 91.256 | 24.5 | 6.09
462 | 04/24/2014 | 8:00:00 p.m. | 15149 | 178353 | 7.1938 | 0 | 91.252 | 26.3 | 6.11
461 | 04/24/2014 | 7:00:00 p.m. | 15149 | 178353 | 7.1412 | 0 | 91.211 | 28.5 | 6.12
460 | 04/24/2014 | 6:00:00 p.m. | 15149 | 178353 | 7.0769 | 0 | 91.15 | 30.4 | 6.13
459 | 04/24/2014 | 5:00:00 p.m. | 15149 | 178353 | 7.0946 | 0 | 88.878 | 26.8 | 6.12
458 | 04/24/2014 | 4:00:00 p.m. | 15078 | 178342 | 6.9792 | 0 | 88.615 | 26.5 | 6.13
457 | 04/24/2014 | 3:00:00 p.m. | 14998 | 178331 | 6.9458 | 0 | 88.472 | 27.1 | 6.13
456 | 04/24/2014 | 2:00:00 p.m. | 14919 | 178320 | 7.0282 | 0 | 89.696 | 28 | 6.12
455 | 04/24/2014 | 1:00:00 p.m. | 14868 | 178312 | 7.0498 | 0 | 89.149 | 27 | 6.12
454 | 04/24/2014 | 12:00:00 p.m. | 14806 | 178303 | 7.0143 | 0 | 88.792 | 26.1 | 6.12
453 | 04/24/2014 | 11:00:00 a.m. | 14730 | 178293 | 6.9785 | 0 | 88.48 | 24.9 | 6.11
452 | 04/24/2014 | 10:00:00 a.m. | 14648 | 178281 | 7.0433 | 0 | 88.403 | 22.6 | 6.09
451 | 04/24/2014 | 9:00:00 a.m. | 14563 | 178269 | 7.052 | 0 | 90.601 | 11.9 | 6.07
450 | 04/24/2014 | 8:00:00 a.m. | 14541 | 178266 | 7.6415 | 0 | 91.489 | 9.5 | 6.08
449 | 04/24/2014 | 7:00:00 a.m. | 14541 | 178266 | 7.6268 | 0 | 91.483 | 9.9 | 6.08
448 | 04/24/2014 | 6:00:00 a.m. | 14541 | 178266 | 7.6168 | 0 | 91.51 | 10.5 | 6.08
447 | 04/24/2014 | 5:00:00 a.m. | 14541 | 178266 | 7.6012 | 0 | 91.528 | 11.2 | 6.07
446 | 04/24/2014 | 4:00:00 a.m. | 14541 | 178266 | 7.6021 | 0 | 91.606 | 11.7 | 6.08
445 | 04/24/2014 | 3:00:00 a.m. | 14541 | 178266 | 7.5793 | 0 | 91.619 | 12 | 6.08
444 | 04/24/2014 | 2:00:00 a.m. | 14541 | 178266 | 7.5642 | 0 | 91.602 | 12.7 | 6.09
443 | 04/24/2014 | 1:00:00 a.m. | 14541 | 178266 | 7.5445 | 0 | 91.555 | 13.8 | 6.08
442 | 04/24/2014 | 12:00:00 a.m. | 14541 | 178266 | 7.5085 | 0 | 91.539 | 15.1 | 6.08
441 | 04/23/2014 | 11:00:00 p.m. | 14541 | 178266 | 7.4612 | 0 | 91.476 | 16.9 | 6.09
440 | 04/23/2014 | 10:00:00 p.m. | 14541 | 178266 | 7.3957 | 0 | 91.303 | 18.8 | 6.09
439 | 04/23/2014 | 9:00:00 p.m. | 14541 | 178266 | 7.3463 | 0 | 91.309 | 21.2 | 6.1
438 | 04/23/2014 | 8:00:00 p.m. | 14541 | 178266 | 7.2452 | 0 | 91.181 | 24.6 | 6.11
437 | 04/23/2014 | 7:00:00 p.m. | 14541 | 178266 | 7.1566 | 0 | 91.105 | 26.4 | 6.11
436 | 04/23/2014 | 6:00:00 p.m. | 14541 | 178266 | 7.1996 | 0 | 91.218 | 23.8 | 6.1
435 | 04/23/2014 | 5:00:00 p.m. | 14541 | 178266 | 7.2381 | 0 | 89.101 | 22.3 | 6.1
434 | 04/23/2014 | 4:00:00 p.m. | 14468 | 178255 | 7.1767 | 0 | 89.578 | 23.2 | 6.1
433 | 04/23/2014 | 3:00:00 p.m. | 14399 | 178246 | 7.0705 | 0 | 89.51 | 27.2 | 6.12
432 | 04/23/2014 | 2:00:00 p.m. | 14335 | 178237 | 6.9783 | 0 | 88.705 | 28.3 | 6.14
431 | 04/23/2014 | 1:00:00 p.m. | 14260 | 178226 | 6.9482 | 0 | 88.598 | 27.5 | 6.13
430 | 04/23/2014 | 12:00:00 p.m. | 14181 | 178214 | 6.9864 | 0 | 88.617 | 26.7 | 6.13
429 | 04/23/2014 | 11:00:00 a.m. | 14103 | 178203 | 6.9648 | 0 | 88.666 | 25.3 | 6.1
428 | 04/23/2014 | 10:00:00 a.m. | 14025 | 178192 | 7.036 | 0 | 88.649 | 22.9 | 6.1
427 | 04/23/2014 | 9:00:00 a.m. | 13944 | 178181 | 7.0534 | 0 | 90.934 | 13.2 | 6.09
426 | 04/23/2014 | 8:00:00 a.m. | 13933 | 178179 | 7.5883 | 0 | 91.439 | 11.6 | 6.08
425 | 04/23/2014 | 7:00:00 a.m. | 13933 | 178179 | 7.5767 | 0 | 91.56 | 12.7 | 6.09
424 | 04/23/2014 | 6:00:00 a.m. | 13933 | 178179 | 7.5365 | 0 | 91.497 | 13.9 | 6.09
423 | 04/23/2014 | 5:00:00 a.m. | 13933 | 178179 | 7.497 | 0 | 91.553 | 15.1 | 6.09
422 | 04/23/2014 | 4:00:00 a.m. | 13933 | 178179 | 7.4785 | 0 | 91.566 | 15.5 | 6.09
421 | 04/23/2014 | 3:00:00 a.m. | 13933 | 178179 | 7.4755 | 0 | 91.596 | 15.4 | 6.09
420 | 04/23/2014 | 2:00:00 a.m. | 13933 | 178179 | 7.4774 | 0 | 91.564 | 15.8 | 6.08
419 | 04/23/2014 | 1:00:00 a.m. | 13933 | 178179 | 7.4396 | 0 | 91.545 | 17.6 | 6.09
418 | 04/23/2014 | 12:00:00 a.m. | 13933 | 178179 | 7.3972 | 0 | 91.537 | 19.5 | 6.09
417 | 04/22/2014 | 11:00:00 p.m. | 13933 | 178179 | 7.3399 | 0 | 91.463 | 20.8 | 6.1
416 | 04/22/2014 | 10:00:00 p.m. | 13933 | 178179 | 7.3096 | 0 | 91.433 | 22.2 | 6.1
415 | 04/22/2014 | 9:00:00 p.m. | 13933 | 178179 | 7.2653 | 0 | 91.334 | 23.6 | 6.11
414 | 04/22/2014 | 8:00:00 p.m. | 13933 | 178179 | 7.2264 | 0 | 91.342 | 25.6 | 6.11
413 | 04/22/2014 | 7:00:00 p.m. | 13933 | 178179 | 7.168 | 0 | 91.35 | 26.9 | 6.11
412 | 04/22/2014 | 6:00:00 p.m. | 13933 | 178179 | 7.1285 | 0 | 91.274 | 29.1 | 6.13
411 | 04/22/2014 | 5:00:00 p.m. | 13933 | 178179 | 7.1021 | 0 | 89.346 | 28.6 | 6.14
410 | 04/22/2014 | 4:00:00 p.m. | 13870 | 178170 | 6.9836 | 0 | 89.166 | 28.7 | 6.14
409 | 04/22/2014 | 3:00:00 p.m. | 13801 | 178160 | 6.9577 | 0 | 88.742 | 28.5 | 6.13
408 | 04/22/2014 | 2:00:00 p.m. | 13724 | 178149 | 6.9663 | 0 | 89.11 | 28.3 | 6.13
407 | 04/22/2014 | 1:00:00 p.m. | 13655 | 178139 | 6.967 | 0 | 88.983 | 27.6 | 6.12
406 | 04/22/2014 | 12:00:00 p.m. | 13584 | 178129 | 7.0277 | 0 | 89.145 | 26.5 | 6.12
405 | 04/22/2014 | 11:00:00 a.m. | 13515 | 178119 | 6.8984 | 0 | 90.176 | 24.9 | 6.12
404 | 04/22/2014 | 10:00:00 a.m. | 13480 | 178114 | 7.2347 | 0 | 91.156 | 18.2 | 6.11
403 | 04/22/2014 | 9:00:00 a.m. | 13480 | 178114 | 7.4974 | 0 | 91.45 | 10.5 | 6.09
402 | 04/22/2014 | 8:00:00 a.m. | 13480 | 178114 | 7.6614 | 0 | 91.553 | 8.8 | 6.07
401 | 04/22/2014 | 7:00:00 a.m. | 13480 | 178114 | 7.6605 | 0 | 91.693 | 9.4 | 6.08
400 | 04/22/2014 | 6:00:00 a.m. | 13480 | 178114 | 7.6337 | 0 | 91.645 | 10.3 | 6.08
399 | 04/22/2014 | 5:00:00 a.m. | 13480 | 178114 | 7.6065 | 0 | 91.732 | 11.2 | 6.09
398 | 04/22/2014 | 4:00:00 a.m. | 13480 | 178114 | 7.5908 | 0 | 91.783 | 12.3 | 6.07
397 | 04/22/2014 | 3:00:00 a.m. | 13480 | 178114 | 7.5522 | 0 | 91.7 | 13.5 | 6.08
396 | 04/22/2014 | 2:00:00 a.m. | 13480 | 178114 | 7.5046 | 0 | 91.553 | 14.9 | 6.09
395 | 04/22/2014 | 1:00:00 a.m. | 13480 | 178114 | 7.499 | 0 | 91.68 | 16.1 | 6.09
394 | 04/22/2014 | 12:00:00 a.m. | 13480 | 178114 | 7.4606 | 0 | 91.616 | 16.7 | 6.09
393 | 04/21/2014 | 11:00:00 p.m. | 13480 | 178114 | 7.4354 | 0 | 91.588 | 17.9 | 6.09
392 | 04/21/2014 | 10:00:00 p.m. | 13480 | 178114 | 7.3737 | 0 | 91.523 | 19.7 | 6.12
391 | 04/21/2014 | 9:00:00 p.m. | 13480 | 178114 | 7.3215 | 0 | 91.424 | 22.3 | 6.1
390 | 04/21/2014 | 8:00:00 p.m. | 13480 | 178114 | 7.273 | 0 | 91.495 | 25.3 | 6.11
389 | 04/21/2014 | 7:00:00 p.m. | 13480 | 178114 | 7.168 | 0 | 91.317 | 27.9 | 6.12
388 | 04/21/2014 | 6:00:00 p.m. | 13480 | 178114 | 7.1374 | 0 | 91.308 | 28.1 | 6.11
387 | 04/21/2014 | 5:00:00 p.m. | 13480 | 178114 | 7.126 | 0 | 91.375 | 28.7 | 6.11
386 | 04/21/2014 | 4:00:00 p.m. | 13480 | 178114 | 7.078 | 0 | 90.518 | 32.9 | 6.12
385 | 04/21/2014 | 3:00:00 p.m. | 13462 | 178112 | 6.842 | 0 | 90.99 | 41.4 | 6.14
384 | 04/21/2014 | 2:00:00 p.m. | 13462 | 178112 | 6.7637 | 0 | 90.992 | 42.5 | 6.13
383 | 04/21/2014 | 1:00:00 p.m. | 13462 | 178112 | 6.8003 | 0 | 91.014 | 38.6 | 6.12
382 | 04/21/2014 | 12:00:00 p.m. | 13462 | 178112 | 6.9166 | 0 | 90.664 | 31.3 | 6.13
381 | 04/21/2014 | 11:00:00 a.m. | 13453 | 178110 | 6.9071 | 0 | 87.995 | 24.9 | 6.12
380 | 04/21/2014 | 10:00:00 a.m. | 13364 | 178097 | 6.9399 | 0 | 87.208 | 23.6 | 6.1
379 | 04/21/2014 | 9:00:00 a.m. | 13262 | 178083 | 6.9615 | 0 | 87.437 | 22.1 | 6.09
378 | 04/21/2014 | 8:00:00 a.m. | 13159 | 178068 | 7.0436 | 0 | 89.189 | 15.4 | 6.08
377 | 04/21/2014 | 7:00:00 a.m. | 13097 | 178059 | 7.6348 | 0 | 91.513 | 10.1 | 6.09
376 | 04/21/2014 | 6:00:00 a.m. | 13097 | 178059 | 7.6178 | 0 | 91.444 | 10.6 | 6.09
375 | 04/21/2014 | 5:00:00 a.m. | 13097 | 178059 | 7.5889 | 0 | 91.568 | 11.2 | 6.09
374 | 04/21/2014 | 4:00:00 a.m. | 13097 | 178059 | 7.577 | 0 | 91.425 | 11.7 | 6.08
373 | 04/21/2014 | 3:00:00 a.m. | 13097 | 178059 | 7.5712 | 0 | 91.516 | 12.3 | 6.08
372 | 04/21/2014 | 2:00:00 a.m. | 13097 | 178059 | 7.5398 | 0 | 91.308 | 13 | 6.09
371 | 04/21/2014 | 1:00:00 a.m. | 13097 | 178059 | 7.5413 | 0 | 91.501 | 13.7 | 6.09
370 | 04/21/2014 | 12:00:00 a.m. | 13097 | 178059 | 7.4967 | 0 | 91.51 | 14.8 | 6.1
369 | 04/20/2014 | 11:00:00 p.m. | 13097 | 178059 | 7.4601 | 0 | 91.594 | 16.1 | 6.09
368 | 04/20/2014 | 10:00:00 p.m. | 13097 | 178059 | 7.4359 | 0 | 91.539 | 17.5 | 6.1
367 | 04/20/2014 | 9:00:00 p.m. | 13097 | 178059 | 7.3989 | 0 | 91.539 | 19.1 | 6.1
366 | 04/20/2014 | 8:00:00 p.m. | 13097 | 178059 | 7.3457 | 0 | 91.446 | 20.7 | 6.11
365 | 04/20/2014 | 7:00:00 p.m. | 13097 | 178059 | 7.3281 | 0 | 91.453 | 21 | 6.11
364 | 04/20/2014 | 6:00:00 p.m. | 13097 | 178059 | 7.3246 | 0 | 91.492 | 20.8 | 6.1
363 | 04/20/2014 | 5:00:00 p.m. | 13097 | 178059 | 7.3115 | 0 | 91.528 | 23.6 | 6.11
362 | 04/20/2014 | 4:00:00 p.m. | 13097 | 178059 | 7.1794 | 0 | 91.459 | 29 | 6.12
361 | 04/20/2014 | 3:00:00 p.m. | 13097 | 178059 | 7.0405 | 0 | 91.239 | 35.2 | 6.13
360 | 04/20/2014 | 2:00:00 p.m. | 13097 | 178059 | 6.8551 | 0 | 91.044 | 38.1 | 6.14
359 | 04/20/2014 | 1:00:00 p.m. | 13097 | 178059 | 6.8978 | 0 | 91.085 | 36.2 | 6.13
358 | 04/20/2014 | 12:00:00 p.m. | 13097 | 178059 | 6.9382 | 0 | 91.033 | 32.2 | 6.12
357 | 04/20/2014 | 11:00:00 a.m. | 13097 | 178059 | 7.0803 | 0 | 91.127 | 26.7 | 6.12
356 | 04/20/2014 | 10:00:00 a.m. | 13097 | 178059 | 7.2082 | 0 | 91.253 | 22.1 | 6.11
355 | 04/20/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.3537 | 0 | 91.451 | 17.4 | 6.1
354 | 04/20/2014 | 8:00:00 a.m. | 13097 | 178059 | 7.4311 | 0 | 91.445 | 16.7 | 6.1
353 | 04/20/2014 | 7:00:00 a.m. | 13097 | 178059 | 7.4293 | 0 | 91.561 | 17.2 | 6.1
352 | 04/20/2014 | 6:00:00 a.m. | 13097 | 178059 | 7.4407 | 0 | 91.469 | 17.3 | 6.1
351 | 04/20/2014 | 5:00:00 a.m. | 13097 | 178059 | 7.422 | 0 | 91.487 | 17.1 | 6.09
350 | 04/20/2014 | 4:00:00 a.m. | 13097 | 178059 | 7.4205 | 0 | 91.418 | 17.3 | 6.1
349 | 04/20/2014 | 3:00:00 a.m. | 13097 | 178059 | 7.4142 | 0 | 91.435 | 17.6 | 6.1
348 | 04/20/2014 | 2:00:00 a.m. | 13097 | 178059 | 7.3973 | 0 | 91.425 | 18.8 | 6.11
347 | 04/20/2014 | 1:00:00 a.m. | 13097 | 178059 | 7.3494 | 0 | 91.616 | 20.5 | 6.12
346 | 04/20/2014 | 12:00:00 a.m. | 13097 | 178059 | 7.336 | 0 | 91.692 | 21.2 | 6.1
345 | 04/19/2014 | 11:00:00 p.m. | 13097 | 178059 | 7.3213 | 0 | 91.667 | 21.9 | 6.11
344 | 04/19/2014 | 10:00:00 p.m. | 13097 | 178059 | 7.3004 | 0 | 91.666 | 22.8 | 6.11
343 | 04/19/2014 | 9:00:00 p.m. | 13097 | 178059 | 7.2655 | 0 | 91.624 | 24.5 | 6.11
342 | 04/19/2014 | 8:00:00 p.m. | 13097 | 178059 | 7.2133 | 0 | 91.374 | 26.3 | 6.11
341 | 04/19/2014 | 7:00:00 p.m. | 13097 | 178059 | 7.1441 | 0 | 91.44 | 29 | 6.12
340 | 04/19/2014 | 6:00:00 p.m. | 13097 | 178059 | 7.0696 | 0 | 91.457 | 33.3 | 6.13
339 | 04/19/2014 | 5:00:00 p.m. | 13097 | 178059 | 6.938 | 0 | 91.233 | 39.2 | 6.14
338 | 04/19/2014 | 4:00:00 p.m. | 13097 | 178059 | 6.8232 | 0 | 90.874 | 40 | 6.16
337 | 04/19/2014 | 3:00:00 p.m. | 13097 | 178059 | 6.8005 | 0 | 90.94 | 42.4 | 6.14
336 | 04/19/2014 | 2:00:00 p.m. | 13097 | 178059 | 6.7514 | 0 | 91.144 | 42.1 | 6.13
335 | 04/19/2014 | 1:00:00 p.m. | 13097 | 178059 | 6.8307 | 0 | 91.199 | 38.3 | 6.13
334 | 04/19/2014 | 12:00:00 p.m. | 13097 | 178059 | 6.9226 | 0 | 91.17 | 33.8 | 6.13
333 | 04/19/2014 | 11:00:00 a.m. | 13097 | 178059 | 7.0408 | 0 | 91.2 | 27.6 | 6.13
332 | 04/19/2014 | 10:00:00 a.m. | 13097 | 178059 | 7.2355 | 0 | 91.336 | 19.2 | 6.1
331 | 04/19/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.4814 | 0 | 91.663 | 12.2 | 6.1
330 | 04/19/2014 | 8:00:00 a.m. | 13097 | 178059 | 7.6255 | 0 | 91.889 | 10.7 | 6.1
329 | 04/19/2014 | 7:00:00 a.m. | 13097 | 178059 | 7.6301 | 0 | 91.876 | 11.2 | 6.1
328 | 04/19/2014 | 6:00:00 a.m. | 13097 | 178059 | 7.6065 | 0 | 91.832 | 11.8 | 6.09
327 | 04/19/2014 | 5:00:00 a.m. | 13097 | 178059 | 7.5829 | 0 | 91.774 | 12.4 | 6.09
326 | 04/19/2014 | 4:00:00 a.m. | 13097 | 178059 | 7.5662 | 0 | 91.741 | 12.9 | 6.09
325 | 04/19/2014 | 3:00:00 a.m. | 13097 | 178059 | 7.5552 | 0 | 91.752 | 13.3 | 6.09
324 | 04/19/2014 | 2:00:00 a.m. | 13097 | 178059 | 7.5393 | 0 | 91.753 | 13.6 | 6.09
323 | 04/19/2014 | 1:00:00 a.m. | 13097 | 178059 | 7.5379 | 0 | 91.758 | 13.7 | 6.09
322 | 04/19/2014 | 12:00:00 a.m. | 13097 | 178059 | 7.5317 | 0 | 91.755 | 14 | 6.1
321 | 04/18/2014 | 11:00:00 p.m. | 13097 | 178059 | 7.525 | 0 | 91.783 | 14.3 | 6.1
320 | 04/18/2014 | 10:00:00 p.m. | 13097 | 178059 | 7.5186 | 0 | 91.813 | 16 | 6.1
319 | 04/18/2014 | 9:00:00 p.m. | 13097 | 178059 | 7.3721 | 0 | 91.663 | 25.5 | 6.11
318 | 04/18/2014 | 8:00:00 p.m. | 13097 | 178059 | 7.173 | 0 | 91.63 | 28.7 | 6.13
317 | 04/18/2014 | 7:00:00 p.m. | 13097 | 178059 | 7.0896 | 0 | 91.495 | 32.7 | 6.13
316 | 04/18/2014 | 6:00:00 p.m. | 13097 | 178059 | 6.9369 | 0 | 91.293 | 37.7 | 6.15
315 | 04/18/2014 | 5:00:00 p.m. | 13097 | 178059 | 6.8724 | 0 | 91.171 | 39 | 6.15
314 | 04/18/2014 | 4:00:00 p.m. | 13097 | 178059 | 6.8393 | 0 | 91.199 | 39.1 | 6.15
313 | 04/18/2014 | 3:00:00 p.m. | 13097 | 178059 | 6.8516 | 0 | 91.167 | 41.3 | 6.14
312 | 04/18/2014 | 2:00:00 p.m. | 13097 | 178059 | 6.7871 | 0 | 91.162 | 42.2 | 6.14
311 | 04/18/2014 | 1:00:00 p.m. | 13097 | 178059 | 6.792 | 0 | 91.185 | 39.4 | 6.13
310 | 04/18/2014 | 12:00:00 p.m. | 13097 | 178059 | 6.8839 | 0 | 91.14 | 35.6 | 6.13
309 | 04/18/2014 | 11:00:00 a.m. | 13097 | 178059 | 7.0167 | 0 | 91.246 | 28.7 | 6.13
308 | 04/18/2014 | 10:00:00 a.m. | 13097 | 178059 | 7.2236 | 0 | 91.343 | 20.2 | 6.11
307 | 04/18/2014 | 9:00:00 a.m. | 13097 | 178059 | 7.4337 | 0 | 91.598 | 12.7 | 6.1
306 | 04/18/2014 | 8:00:00 a.m. | 13097 | 178059 | 7.6288 | 0 | 91.848 | 11.3 | 6.08
305 | 04/18/2014 | 7:00:00 a.m. | 13097 | 178059 | 7.5752 | 0 | 91.803 | 12.6 | 6.1
304 | 04/18/2014 | 6:00:00 a.m. | 13097 | 178059 | 7.5624 | 0 | 91.826 | 13.7 | 6.09
303 | 04/18/2014 | 5:00:00 a.m. | 13097 | 178059 | 7.5418 | 0 | 91.725 | 13.7 | 6.09
302 | 04/18/2014 | 4:00:00 a.m. | 13097 | 178059 | 7.559 | 0 | 91.846 | 13.7 | 6.09
301 | 04/18/2014 | 3:00:00 a.m. | 13097 | 178059 | 7.542 | 0 | 91.834 | 15 | 6.09
300 | 04/18/2014 | 2:00:00 a.m. | 13097 | 178059 | 7.4902 | 0 | 91.781 | 16.7 | 6.11
299 | 04/18/2014 | 1:00:00 a.m. | 13097 | 178059 | 7.4406 | 0 | 91.759 | 18.7 | 6.09
298 | 04/18/2014 | 12:00:00 a.m. | 13097 | 178059 | 7.3766 | 0 | 91.66 | 20.5 | 6.11
297 | 04/17/2014 | 11:00:00 p.m. | 13097 | 178059 | 7.3198 | 0 | 91.635 | 21 | 6.11
296 | 04/17/2014 | 10:00:00 p.m. | 13097 | 178059 | 7.332 | 0 | 91.67 | 22.3 | 6.11
295 | 04/17/2014 | 9:00:00 p.m. | 13097 | 178059 | 7.2832 | 0 | 91.599 | 23.8 | 6.11
294 | 04/17/2014 | 8:00:00 p.m. | 13097 | 178059 | 7.2157 | 0 | 91.591 | 25.7 | 6.12
293 | 04/17/2014 | 7:00:00 p.m. | 13097 | 178059 | 7.1842 | 0 | 91.441 | 28.3 | 6.13
292 | 04/17/2014 | 6:00:00 p.m. | 13097 | 178059 | 7.0885 | 0 | 91.274 | 32.5 | 6.14
291 | 04/17/2014 | 5:00:00 p.m. | 13097 | 178059 | 6.9729 | 0 | 91.19 | 34.2 | 6.14
290 | 04/17/2014 | 4:00:00 p.m. | 13097 | 178059 | 6.9674 | 0 | 91.214 | 35.2 | 6.15
289 | 04/17/2014 | 3:00:00 p.m. | 13097 | 178059 | 6.9353 | 0 | 91.198 | 35.1 | 6.15
288 | 04/17/2014 | 2:00:00 p.m. | 13097 | 178059 | 7.0286 | 0 | 88.911 | 27.6 | 6.14
287 | 04/17/2014 | 1:00:00 p.m. | 13028 | 178049 | 6.9166 | 0 | 89.058 | 28.9 | 6.13
286 | 04/17/2014 | 12:00:00 p.m. | 12965 | 178040 | 7.0097 | 0 | 91.411 | 30.8 | 6.13
285 | 04/17/2014 | 11:00:00 a.m. | 12965 | 178040 | 7.1906 | 0 | 88.522 | 24.7 | 6.13
284 | 04/17/2014 | 10:00:00 a.m. | 12883 | 178028 | 6.9504 | 0 | 87.605 | 23.4 | 6.1
283 | 04/17/2014 | 9:00:00 a.m. | 12782 | 178014 | 7.0243 | 0 | 89.031 | 16.8 | 6.11
282 | 04/17/2014 | 8:00:00 a.m. | 12711 | 178004 | 7.6561 | 0 | 91.856 | 10 | 6.09
281 | 04/17/2014 | 7:00:00 a.m. | 12711 | 178004 | 7.6306 | 0 | 91.863 | 10.7 | 6.09
280 | 04/17/2014 | 6:00:00 a.m. | 12711 | 178004 | 7.6279 | 0 | 91.925 | 11.4 | 6.1
279 | 04/17/2014 | 5:00:00 a.m. | 12711 | 178004 | 7.5947 | 0 | 91.975 | 12.7 | 6.11
278 | 04/17/2014 | 4:00:00 a.m. | 12711 | 178004 | 7.5611 | 0 | 91.902 | 14 | 6.09
277 | 04/17/2014 | 3:00:00 a.m. | 12711 | 178004 | 7.5157 | 0 | 91.94 | 15.2 | 6.1
276 | 04/17/2014 | 2:00:00 a.m. | 12711 | 178004 | 7.4877 | 0 | 91.832 | 16.4 | 6.1
275 | 04/17/2014 | 1:00:00 a.m. | 12711 | 178004 | 7.457 | 0 | 91.987 | 17.7 | 6.12
274 | 04/17/2014 | 12:00:00 a.m. | 12711 | 178004 | 7.4085 | 0 | 91.722 | 18.9 | 6.11
273 | 04/16/2014 | 11:00:00 p.m. | 12711 | 178004 | 7.3779 | 0 | 91.712 | 19.8 | 6.11
272 | 04/16/2014 | 10:00:00 p.m. | 12711 | 178004 | 7.3547 | 0 | 91.663 | 20.8 | 6.11
271 | 04/16/2014 | 9:00:00 p.m. | 12711 | 178004 | 7.3205 | 0 | 91.628 | 22.7 | 6.12
270 | 04/16/2014 | 8:00:00 p.m. | 12711 | 178004 | 7.2325 | 0 | 91.3 | 25.5 | 6.12
269 | 04/16/2014 | 7:00:00 p.m. | 12711 | 178004 | 7.1424 | 0 | 91.241 | 28.6 | 6.13
268 | 04/16/2014 | 6:00:00 p.m. | 12711 | 178004 | 7.0826 | 0 | 91.103 | 30.7 | 6.14
267 | 04/16/2014 | 5:00:00 p.m. | 12711 | 178004 | 7.0242 | 0 | 91.093 | 31.1 | 6.14
266 | 04/16/2014 | 4:00:00 p.m. | 12711 | 178004 | 7.0594 | 0 | 89.629 | 27.4 | 6.15
265 | 04/16/2014 | 3:00:00 p.m. | 12672 | 177998 | 6.8917 | 0 | 87.549 | 26 | 6.14
264 | 04/16/2014 | 2:00:00 p.m. | 12577 | 177985 | 6.8894 | 0 | 88.444 | 27.5 | 6.14
263 | 04/16/2014 | 1:00:00 p.m. | 12501 | 177974 | 7.0715 | 0 | 90.099 | 31.4 | 6.13
262 | 04/16/2014 | 12:00:00 p.m. | 12474 | 177970 | 7.0003 | 0 | 90.388 | 28.8 | 6.13
261 | 04/16/2014 | 11:00:00 a.m. | 12457 | 177967 | 6.9237 | 0 | 88.761 | 24.8 | 6.13
260 | 04/16/2014 | 10:00:00 a.m. | 12382 | 177957 | 7.1317 | 0 | 88.175 | 23.7 | 6.12
259 | 04/16/2014 | 9:00:00 a.m. | 12298 | 177944 | 7.0978 | 0 | 89.166 | 21.8 | 6.11
258 | 04/16/2014 | 8:00:00 a.m. | 12221 | 177934 | 7.1747 | 0 | 89.544 | 16.6 | 6.09
257 | 04/16/2014 | 7:00:00 a.m. | 12164 | 177926 | 7.5512 | 0 | 91.513 | 13 | 6.1
256 | 04/16/2014 | 6:00:00 a.m. | 12164 | 177926 | 7.5124 | 0 | 91.5 | 14.6 | 6.1
255 | 04/16/2014 | 5:00:00 a.m. | 12164 | 177926 | 7.4797 | 0 | 91.502 | 15.7 | 6.11
254 | 04/16/2014 | 4:00:00 a.m. | 12164 | 177926 | 7.4757 | 0 | 91.561 | 14.6 | 6.1
253 | 04/16/2014 | 3:00:00 a.m. | 12164 | 177926 | 7.4871 | 0 | 91.566 | 15.6 | 6.1
252 | 04/16/2014 | 2:00:00 a.m. | 12164 | 177926 | 7.4462 | 0 | 91.511 | 16.9 | 6.12
251 | 04/16/2014 | 1:00:00 a.m. | 12164 | 177926 | 7.4105 | 0 | 91.471 | 18.1 | 6.11
250 | 04/16/2014 | 12:00:00 a.m. | 12164 | 177926 | 7.3804 | 0 | 91.462 | 19.1 | 6.11
249 | 04/15/2014 | 11:00:00 p.m. | 12164 | 177926 | 7.3472 | 0 | 91.451 | 20.6 | 6.11
248 | 04/15/2014 | 10:00:00 p.m. | 12164 | 177926 | 7.2954 | 0 | 91.417 | 22.5 | 6.13
247 | 04/15/2014 | 9:00:00 p.m. | 12164 | 177926 | 7.2466 | 0 | 91.296 | 24.4 | 6.13
246 | 04/15/2014 | 8:00:00 p.m. | 12164 | 177926 | 7.1764 | 0 | 91.209 | 27.6 | 6.13
245 | 04/15/2014 | 7:00:00 p.m. | 12164 | 177926 | 7.0741 | 0 | 91.111 | 31.4 | 6.15
244 | 04/15/2014 | 6:00:00 p.m. | 12164 | 177926 | 6.9983 | 0 | 91.014 | 32.2 | 6.16
243 | 04/15/2014 | 5:00:00 p.m. | 12164 | 177926 | 7.061 | 0 | 89.381 | 28.3 | 6.16
242 | 04/15/2014 | 4:00:00 p.m. | 12105 | 177917 | 7.0083 | 0 | 89.919 | 31 | 6.15
241 | 04/15/2014 | 3:00:00 p.m. | 12062 | 177911 | 6.886 | 0 | 90.938 | 36.8 | 6.15
240 | 04/15/2014 | 2:00:00 p.m. | 12062 | 177911 | 6.976 | 0 | 89.409 | 28.5 | 6.15
239 | 04/15/2014 | 1:00:00 p.m. | 12004 | 177903 | 6.9861 | 0 | 89.197 | 27.5 | 6.13
238 | 04/15/2014 | 12:00:00 p.m. | 11936 | 177893 | 6.9946 | 0 | 88.895 | 26.6 | 6.13
237 | 04/15/2014 | 11:00:00 a.m. | 11862 | 177882 | 7.0294 | 0 | 89.071 | 25.3 | 6.13
236 | 04/15/2014 | 10:00:00 a.m. | 11790 | 177872 | 7.0713 | 0 | 88.74 | 23.4 | 6.12
235 | 04/15/2014 | 9:00:00 a.m. | 11710 | 177861 | 7.1193 | 0 | 90.056 | 20.1 | 6.1
234 | 04/15/2014 | 8:00:00 a.m. | 11653 | 177853 | 7.3491 | 0 | 91.042 | 13.1 | 6.09
233 | 04/15/2014 | 7:00:00 a.m. | 11629 | 177850 | 7.6209 | 0 | 91.715 | 10.7 | 6.1
232 | 04/15/2014 | 6:00:00 a.m. | 11629 | 177850 | 7.6076 | 0 | 91.673 | 11.6 | 6.1
231 | 04/15/2014 | 5:00:00 a.m. | 11629 | 177850 | 7.5618 | 0 | 91.809 | 12.6 | 6.09
230 | 04/15/2014 | 4:00:00 a.m. | 11629 | 177850 | 7.5568 | 0 | 91.779 | 13.7 | 6.1
229 | 04/15/2014 | 3:00:00 a.m. | 11629 | 177850 | 7.525 | 0 | 91.754 | 15 | 6.1
228 | 04/15/2014 | 2:00:00 a.m. | 11629 | 177850 | 7.472 | 0 | 91.6 | 16.2 | 6.11
227 | 04/15/2014 | 1:00:00 a.m. | 11629 | 177850 | 7.4335 | 0 | 91.467 | 17.3 | 6.11
226 | 04/15/2014 | 12:00:00 a.m. | 11629 | 177850 | 7.4062 | 0 | 91.443 | 18.9 | 6.12
225 | 04/14/2014 | 11:00:00 p.m. | 11629 | 177850 | 7.3469 | 0 | 91.494 | 21.2 | 6.12
224 | 04/14/2014 | 10:00:00 p.m. | 11629 | 177850 | 7.2723 | 0 | 91.357 | 23.8 | 6.13
223 | 04/14/2014 | 9:00:00 p.m. | 11629 | 177850 | 7.2056 | 0 | 91.302 | 26.4 | 6.12
222 | 04/14/2014 | 8:00:00 p.m. | 11629 | 177850 | 7.1229 | 0 | 91.286 | 29.7 | 6.15
221 | 04/14/2014 | 7:00:00 p.m. | 11629 | 177850 | 7.0185 | 0 | 91.261 | 34.4 | 6.16
220 | 04/14/2014 | 6:00:00 p.m. | 11629 | 177850 | 6.9167 | 0 | 90.994 | 35.4 | 6.17
219 | 04/14/2014 | 5:00:00 p.m. | 11629 | 177850 | 6.9987 | 0 | 90.304 | 30.8 | 6.17
218 | 04/14/2014 | 4:00:00 p.m. | 11591 | 177844 | 6.9678 | 0 | 89.685 | 30.4 | 6.18
217 | 04/14/2014 | 3:00:00 p.m. | 11539 | 177837 | 6.9961 | 0 | 90.21 | 33.3 | 6.15
216 | 04/14/2014 | 2:00:00 p.m. | 11505 | 177832 | 6.8882 | 0 | 90.632 | 43.9 | 6.15
215 | 04/14/2014 | 1:00:00 p.m. | 11498 | 177831 | 6.7449 | 0 | 90.846 | 40.9 | 6.15
214 | 04/14/2014 | 12:00:00 p.m. | 11498 | 177831 | 6.8488 | 0 | 90.822 | 34.1 | 6.14
213 | 04/14/2014 | 11:00:00 a.m. | 11497 | 177831 | 7.0871 | 0 | 89.238 | 25.4 | 6.14
212 | 04/14/2014 | 10:00:00 a.m. | 11435 | 177822 | 7.0417 | 0 | 88.719 | 23.4 | 6.12
211 | 04/14/2014 | 9:00:00 a.m. | 11356 | 177811 | 7.0795 | 0 | 88.916 | 21.4 | 6.11
210 | 04/14/2014 | 8:00:00 a.m. | 11277 | 177799 | 7.072 | 0 | 90.228 | 13.3 | 6.1
209 | 04/14/2014 | 7:00:00 a.m. | 11242 | 177795 | 7.6039 | 0 | 91.58 | 11.7 | 6.1
208 | 04/14/2014 | 6:00:00 a.m. | 11242 | 177795 | 7.5632 | 0 | 91.513 | 12.9 | 6.1
207 | 04/14/2014 | 5:00:00 a.m. | 11242 | 177795 | 7.52 | 0 | 91.479 | 14.3 | 6.1
206 | 04/14/2014 | 4:00:00 a.m. | 11242 | 177795 | 7.4828 | 0 | 91.467 | 15.7 | 6.11
205 | 04/14/2014 | 3:00:00 a.m. | 11242 | 177795 | 7.4514 | 0 | 91.412 | 16.6 | 6.11
204 | 04/14/2014 | 2:00:00 a.m. | 11242 | 177795 | 7.4217 | 0 | 91.39 | 17.3 | 6.12
203 | 04/14/2014 | 1:00:00 a.m. | 11242 | 177795 | 7.3959 | 0 | 91.367 | 18.1 | 6.12
202 | 04/14/2014 | 12:00:00 a.m. | 11242 | 177795 | 7.3764 | 0 | 91.373 | 19.5 | 6.12
201 | 04/13/2014 | 11:00:00 p.m. | 11242 | 177795 | 7.3365 | 0 | 91.392 | 21.6 | 6.13
200 | 04/13/2014 | 10:00:00 p.m. | 11242 | 177795 | 7.2679 | 0 | 91.324 | 24 | 6.13
199 | 04/13/2014 | 9:00:00 p.m. | 11242 | 177795 | 7.1967 | 0 | 91.27 | 26.4 | 6.13
198 | 04/13/2014 | 8:00:00 p.m. | 11242 | 177795 | 7.1354 | 0 | 91.209 | 29.8 | 6.14
197 | 04/13/2014 | 7:00:00 p.m. | 11242 | 177795 | 7.0346 | 0 | 91.101 | 34.1 | 6.15
196 | 04/13/2014 | 6:00:00 p.m. | 11242 | 177795 | 6.8965 | 0 | 90.943 | 37.5 | 6.16
195 | 04/13/2014 | 5:00:00 p.m. | 11242 | 177795 | 6.8507 | 0 | 90.839 | 38.8 | 6.16
194 | 04/13/2014 | 4:00:00 p.m. | 11242 | 177795 | 6.8228 | 0 | 90.81 | 41.2 | 6.16
193 | 04/13/2014 | 3:00:00 p.m. | 11242 | 177795 | 6.7327 | 0 | 90.825 | 44.4 | 6.16
192 | 04/13/2014 | 2:00:00 p.m. | 11242 | 177795 | 6.7137 | 0 | 90.837 | 43.5 | 6.15
191 | 04/13/2014 | 1:00:00 p.m. | 11242 | 177795 | 6.7455 | 0 | 90.81 | 41.4 | 6.15
190 | 04/13/2014 | 12:00:00 p.m. | 11242 | 177795 | 6.8376 | 0 | 90.84 | 36.3 | 6.15
189 | 04/13/2014 | 11:00:00 a.m. | 11242 | 177795 | 6.9799 | 0 | 90.947 | 29.4 | 6.14
188 | 04/13/2014 | 10:00:00 a.m. | 11242 | 177795 | 7.1936 | 0 | 91.03 | 20.6 | 6.14
187 | 04/13/2014 | 9:00:00 a.m. | 11242 | 177795 | 7.4045 | 0 | 91.315 | 13.7 | 6.12
186 | 04/13/2014 | 8:00:00 a.m. | 11242 | 177795 | 7.5576 | 0 | 91.465 | 12.6 | 6.1
185 | 04/13/2014 | 7:00:00 a.m. | 11242 | 177795 | 7.5319 | 0 | 91.402 | 13.7 | 6.09
184 | 04/13/2014 | 6:00:00 a.m. | 11242 | 177795 | 7.4877 | 0 | 91.505 | 14.6 | 6.1
183 | 04/13/2014 | 5:00:00 a.m. | 11242 | 177795 | 7.49 | 0 | 91.486 | 14.6 | 6.1
182 | 04/13/2014 | 4:00:00 a.m. | 11242 | 177795 | 7.4976 | 0 | 91.498 | 14.6 | 6.11
181 | 04/13/2014 | 3:00:00 a.m. | 11242 | 177795 | 7.4735 | 0 | 91.426 | 15.8 | 6.12
180 | 04/13/2014 | 2:00:00 a.m. | 11242 | 177795 | 7.4353 | 0 | 91.4 | 16.9 | 6.12
179 | 04/13/2014 | 1:00:00 a.m. | 11242 | 177795 | 7.4102 | 0 | 91.419 | 18.2 | 6.11
178 | 04/13/2014 | 12:00:00 a.m. | 11242 | 177795 | 7.3694 | 0 | 91.383 | 19.7 | 6.11
177 | 04/12/2014 | 11:00:00 p.m. | 11242 | 177795 | 7.3222 | 0 | 91.327 | 21.5 | 6.13
176 | 04/12/2014 | 10:00:00 p.m. | 11242 | 177795 | 7.2619 | 0 | 91.288 | 23.6 | 6.12
175 | 04/12/2014 | 9:00:00 p.m. | 11242 | 177795 | 7.1998 | 0 | 91.242 | 26 | 6.13
174 | 04/12/2014 | 8:00:00 p.m. | 11242 | 177795 | 7.1382 | 0 | 91.235 | 28.8 | 6.15
173 | 04/12/2014 | 7:00:00 p.m. | 11242 | 177795 | 7.0552 | 0 | 91.116 | 33.4 | 6.14
172 | 04/12/2014 | 6:00:00 p.m. | 11242 | 177795 | 6.9169 | 0 | 91.022 | 38.4 | 6.16
171 | 04/12/2014 | 5:00:00 p.m. | 11242 | 177795 | 6.8453 | 0 | 90.994 | 39.3 | 6.16
170 | 04/12/2014 | 4:00:00 p.m. | 11242 | 177795 | 6.8005 | 0 | 90.778 | 41.8 | 6.17
169 | 04/12/2014 | 3:00:00 p.m. | 11242 | 177795 | 6.7904 | 0 | 90.854 | 39 | 6.17
168 | 04/12/2014 | 2:00:00 p.m. | 11242 | 177795 | 6.9716 | 0 | 88.828 | 28.4 | 6.15
167 | 04/12/2014 | 1:00:00 p.m. | 11173 | 177785 | 6.9743 | 0 | 88.782 | 27.5 | 6.15
166 | 04/12/2014 | 12:00:00 p.m. | 11099 | 177774 | 6.955 | 0 | 88.363 | 26.3 | 6.15
165 | 04/12/2014 | 11:00:00 a.m. | 11019 | 177763 | 6.9695 | 0 | 88.623 | 24.9 | 6.13
164 | 04/12/2014 | 10:00:00 a.m. | 10941 | 177751 | 7.0367 | 0 | 89.182 | 19.7 | 6.11
163 | 04/12/2014 | 9:00:00 a.m. | 10887 | 177744 | 7.4663 | 0 | 91.257 | 11.5 | 6.1
162 | 04/12/2014 | 8:00:00 a.m. | 10887 | 177744 | 7.6244 | 0 | 91.486 | 10.1 | 6.09
161 | 04/12/2014 | 7:00:00 a.m. | 10887 | 177744 | 7.6063 | 0 | 91.445 | 10.8 | 6.11
160 | 04/12/2014 | 6:00:00 a.m. | 10887 | 177744 | 7.5943 | 0 | 91.474 | 11.8 | 6.09
159 | 04/12/2014 | 5:00:00 a.m. | 10887 | 177744 | 7.5496 | 0 | 91.444 | 12.9 | 6.11
158 | 04/12/2014 | 4:00:00 a.m. | 10887 | 177744 | 7.5327 | 0 | 91.434 | 13.8 | 6.11
157 | 04/12/2014 | 3:00:00 a.m. | 10887 | 177744 | 7.5003 | 0 | 91.428 | 14.8 | 6.11
156 | 04/12/2014 | 2:00:00 a.m. | 10887 | 177744 | 7.4706 | 0 | 91.392 | 16.3 | 6.11
155 | 04/12/2014 | 1:00:00 a.m. | 10887 | 177744 | 7.4132 | 0 | 91.356 | 17.6 | 6.12
154 | 04/12/2014 | 12:00:00 a.m. | 10887 | 177744 | 7.3873 | 0 | 91.369 | 19.1 | 6.11
153 | 04/11/2014 | 11:00:00 p.m. | 10887 | 177744 | 7.3258 | 0 | 91.365 | 21.3 | 6.12
152 | 04/11/2014 | 10:00:00 p.m. | 10887 | 177744 | 7.269 | 0 | 91.297 | 23.7 | 6.15
151 | 04/11/2014 | 9:00:00 p.m. | 10887 | 177744 | 7.2038 | 0 | 91.259 | 26.5 | 6.12
150 | 04/11/2014 | 8:00:00 p.m. | 10887 | 177744 | 7.1151 | 0 | 91.19 | 30.4 | 6.14
149 | 04/11/2014 | 7:00:00 p.m. | 10887 | 177744 | 7.0014 | 0 | 91.047 | 35.5 | 6.15
148 | 04/11/2014 | 6:00:00 p.m. | 10887 | 177744 | 6.8557 | 0 | 90.91 | 39.3 | 6.17
147 | 04/11/2014 | 5:00:00 p.m. | 10887 | 177744 | 6.8224 | 0 | 90.765 | 40.2 | 6.18
146 | 04/11/2014 | 4:00:00 p.m. | 10887 | 177744 | 6.8083 | 0 | 90.756 | 37.4 | 6.17
145 | 04/11/2014 | 3:00:00 p.m. | 10887 | 177744 | 6.96 | 0 | 89.8 | 30.1 | 6.16
144 | 04/11/2014 | 2:00:00 p.m. | 10841 | 177737 | 6.9654 | 0 | 89.277 | 28.6 | 6.17
143 | 04/11/2014 | 1:00:00 p.m. | 10779 | 177728 | 6.957 | 0 | 88.617 | 27.3 | 6.16
142 | 04/11/2014 | 12:00:00 p.m. | 10703 | 177717 | 6.9883 | 0 | 88.443 | 26.1 | 6.14
141 | 04/11/2014 | 11:00:00 a.m. | 10625 | 177706 | 6.9878 | 0 | 88.423 | 24.8 | 6.13
140 | 04/11/2014 | 10:00:00 a.m. | 10544 | 177695 | 7.0327 | 0 | 88.483 | 23 | 6.12
139 | 04/11/2014 | 9:00:00 a.m. | 10462 | 177683 | 7.0928 | 0 | 88.484 | 21.2 | 6.1
138 | 04/11/2014 | 8:00:00 a.m. | 10374 | 177671 | 7.1305 | 0 | 89.679 | 14.2 | 6.09
137 | 04/11/2014 | 7:00:00 a.m. | 10321 | 177663 | 7.6418 | 0 | 91.522 | 9.7 | 6.1
136 | 04/11/2014 | 6:00:00 a.m. | 10321 | 177663 | 7.6146 | 0 | 91.515 | 10.7 | 6.1
135 | 04/11/2014 | 5:00:00 a.m. | 10321 | 177663 | 7.5939 | 0 | 91.54 | 11.8 | 6.11
134 | 04/11/2014 | 4:00:00 a.m. | 10321 | 177663 | 7.549 | 0 | 91.533 | 13 | 6.11
133 | 04/11/2014 | 3:00:00 a.m. | 10321 | 177663 | 7.5227 | 0 | 91.539 | 14 | 6.11
132 | 04/11/2014 | 2:00:00 a.m. | 10321 | 177663 | 7.4822 | 0 | 91.494 | 15.1 | 6.12
131 | 04/11/2014 | 1:00:00 a.m. | 10321 | 177663 | 7.4655 | 0 | 91.453 | 16.2 | 6.12
130 | 04/11/2014 | 12:00:00 a.m. | 10321 | 177663 | 7.4182 | 0 | 91.466 | 17.6 | 6.12
129 | 04/10/2014 | 11:00:00 p.m. | 10321 | 177663 | 7.3838 | 0 | 91.414 | 19.3 | 6.12
128 | 04/10/2014 | 10:00:00 p.m. | 10321 | 177663 | 7.3279 | 0 | 91.399 | 22 | 6.13
127 | 04/10/2014 | 9:00:00 p.m. | 10321 | 177663 | 7.2408 | 0 | 91.323 | 25.8 | 6.13
126 | 04/10/2014 | 8:00:00 p.m. | 10321 | 177663 | 7.1316 | 0 | 91.209 | 29.4 | 6.14
125 | 04/10/2014 | 7:00:00 p.m. | 10321 | 177663 | 7.051 | 0 | 91.087 | 32.8 | 6.16
124 | 04/10/2014 | 6:00:00 p.m. | 10321 | 177663 | 7.0051 | 0 | 91.007 | 31 | 6.16
123 | 04/10/2014 | 5:00:00 p.m. | 10321 | 177663 | 7.0953 | 0 | 88.959 | 27.5 | 6.16
122 | 04/10/2014 | 4:00:00 p.m. | 10254 | 177653 | 6.9324 | 0 | 88.697 | 28.1 | 6.16
121 | 04/10/2014 | 3:00:00 p.m. | 10180 | 177643 | 6.9492 | 0 | 88.743 | 28.4 | 6.16
120 | 04/10/2014 | 2:00:00 p.m. | 10105 | 177632 | 6.9025 | 0 | 89.448 | 29.3 | 6.15
119 | 04/10/2014 | 1:00:00 p.m. | 10049 | 177624 | 7.0182 | 0 | 90.423 | 33.4 | 6.15
118 | 04/10/2014 | 12:00:00 p.m. | 10032 | 177621 | 7.0124 | 0 | 89.899 | 26.6 | 6.14
117 | 04/10/2014 | 11:00:00 a.m. | 9990 | 177616 | 7.052 | 0 | 89.352 | 23.6 | 6.13
116 | 04/10/2014 | 10:00:00 a.m. | 9923 | 177606 | 7.0798 | 0 | 89.51 | 22.5 | 6.12
115 | 04/10/2014 | 9:00:00 a.m. | 9858 | 177597 | 7.1573 | 0 | 89.284 | 20.5 | 6.1
114 | 04/10/2014 | 8:00:00 a.m. | 9782 | 177586 | 7.1566 | 0 | 89.81 | 13 | 6.09
113 | 04/10/2014 | 7:00:00 a.m. | 9731 | 177579 | 7.7058 | 0 | 91.594 | 7.6 | 6.11
112 | 04/10/2014 | 6:00:00 a.m. | 9731 | 177579 | 7.7028 | 0 | 91.644 | 8.1 | 6.1
111 | 04/10/2014 | 5:00:00 a.m. | 9731 | 177579 | 7.6721 | 0 | 91.632 | 9 | 6.11
110 | 04/10/2014 | 4:00:00 a.m. | 9731 | 177579 | 7.6388 | 0 | 91.611 | 10.2 | 6.1
109 | 04/10/2014 | 3:00:00 a.m. | 9731 | 177579 | 7.5991 | 0 | 91.581 | 11.7 | 6.11
108 | 04/10/2014 | 2:00:00 a.m. | 9731 | 177579 | 7.5625 | 0 | 91.609 | 13.5 | 6.11
107 | 04/10/2014 | 1:00:00 a.m. | 9731 | 177579 | 7.5043 | 0 | 91.457 | 15.7 | 6.1
106 | 04/10/2014 | 12:00:00 a.m. | 9731 | 177579 | 7.4314 | 0 | 91.436 | 17.8 | 6.11
105 | 04/09/2014 | 11:00:00 p.m. | 9731 | 177579 | 7.3604 | 0 | 91.359 | 19.8 | 6.12
104 | 04/09/2014 | 10:00:00 p.m. | 9731 | 177579 | 7.3028 | 0 | 91.3 | 21.8 | 6.12
103 | 04/09/2014 | 9:00:00 p.m. | 9731 | 177579 | 7.2668 | 0 | 91.271 | 23.4 | 6.13
102 | 04/09/2014 | 8:00:00 p.m. | 9731 | 177579 | 7.2133 | 0 | 91.228 | 26.1 | 6.14
101 | 04/09/2014 | 7:00:00 p.m. | 9731 | 177579 | 7.1246 | 0 | 91.187 | 29.4 | 6.15
100 | 04/09/2014 | 6:00:00 p.m. | 9731 | 177579 | 7.0374 | 0 | 91.013 | 30.3 | 6.15
99 | 04/09/2014 | 5:00:00 p.m. | 9731 | 177579 | 7.0747 | 0 | 89.419 | 27.8 | 6.17
98 | 04/09/2014 | 4:00:00 p.m. | 9673 | 177571 | 6.8452 | 0 | 89.584 | 32.6 | 6.16
97 | 04/09/2014 | 3:00:00 p.m. | 9633 | 177565 | 6.9211 | 0 | 90.546 | 31.3 | 6.16
96 | 04/09/2014 | 2:00:00 p.m. | 9619 | 177563 | 7.0382 | 0 | 89.313 | 26.2 | 6.15
95 | 04/09/2014 | 1:00:00 p.m. | 9556 | 177554 | 6.9769 | 0 | 88.8 | 25.7 | 6.14
94 | 04/09/2014 | 12:00:00 p.m. | 9482 | 177544 | 7.0482 | 0 | 88.754 | 24.8 | 6.14
93 | 04/09/2014 | 11:00:00 a.m. | 9409 | 177533 | 7.0776 | 0 | 89.644 | 23 | 6.13
92 | 04/09/2014 | 10:00:00 a.m. | 9351 | 177525 | 7.1718 | 0 | 89.384 | 21.9 | 6.12
91 | 04/09/2014 | 9:00:00 a.m. | 9284 | 177516 | 7.0962 | 0 | 88.261 | 19.5 | 6.12
90 | 04/09/2014 | 8:00:00 a.m. | 9195 | 177503 | 7.6272 | 0 | 91.513 | 10 | 6.1
89 | 04/09/2014 | 7:00:00 a.m. | 9195 | 177503 | 7.6132 | 0 | 91.538 | 10.3 | 6.1
88 | 04/09/2014 | 6:00:00 a.m. | 9195 | 177503 | 7.6136 | 0 | 91.548 | 10.6 | 6.11
87 | 04/09/2014 | 5:00:00 a.m. | 9195 | 177503 | 7.6036 | 0 | 91.627 | 10.6 | 6.11
86 | 04/09/2014 | 4:00:00 a.m. | 9195 | 177503 | 7.6081 | 0 | 91.585 | 11 | 6.1
85 | 04/09/2014 | 3:00:00 a.m. | 9195 | 177503 | 7.5746 | 0 | 91.498 | 12 | 6.1
84 | 04/09/2014 | 2:00:00 a.m. | 9195 | 177503 | 7.5494 | 0 | 91.453 | 13.1 | 6.12
83 | 04/09/2014 | 1:00:00 a.m. | 9195 | 177503 | 7.514 | 0 | 91.453 | 14.5 | 6.11
82 | 04/09/2014 | 12:00:00 a.m. | 9195 | 177503 | 7.4664 | 0 | 91.496 | 15.9 | 6.12
81 | 04/08/2014 | 11:00:00 p.m. | 9195 | 177503 | 7.4337 | 0 | 91.447 | 17.4 | 6.12
80 | 04/08/2014 | 10:00:00 p.m. | 9195 | 177503 | 7.3923 | 0 | 91.386 | 19 | 6.13
79 | 04/08/2014 | 9:00:00 p.m. | 9195 | 177503 | 7.3409 | 0 | 91.333 | 21.4 | 6.13
78 | 04/08/2014 | 8:00:00 p.m. | 9195 | 177503 | 7.2544 | 0 | 91.286 | 25 | 6.15
77 | 04/08/2014 | 7:00:00 p.m. | 9195 | 177503 | 7.138 | 0 | 91.099 | 29.4 | 6.15
76 | 04/08/2014 | 6:00:00 p.m. | 9195 | 177503 | 7.0353 | 0 | 90.94 | 33 | 6.16
75 | 04/08/2014 | 5:00:00 p.m. | 9195 | 177503 | 6.9292 | 0 | 14.822 | 36.5 | 6.17
74 | 04/08/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.82289 | 0 | 0.688 | 34.7 | 6.15
73 | 04/08/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.82815 | 0 | 0.665 | 33.9 | 6.16
72 | 04/08/2014 | 2:00:00 p.m. | 9195 | 177503 | 0.82194 | 0 | 0.671 | 36.2 | 6.16
71 | 04/08/2014 | 1:00:00 p.m. | 9195 | 177503 | 0.81736 | 0 | 0.66 | 35.8 | 6.15
70 | 04/08/2014 | 12:00:00 p.m. | 9195 | 177503 | 0.8235 | 0 | 0.627 | 31.2 | 6.14
69 | 04/08/2014 | 11:00:00 a.m. | 9195 | 177503 | 0.83849 | 0 | 0.581 | 24.3 | 6.13
68 | 04/08/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.85715 | 0 | 0.532 | 16.5 | 6.12
67 | 04/08/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.87524 | 0 | 0.478 | 10 | 6.11
66 | 04/08/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.88766 | 0 | 0.465 | 7.6 | 6.11
65 | 04/08/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.88905 | 0 | 0.489 | 8.3 | 6.1
64 | 04/08/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.88777 | 0 | 0.51 | 9 | 6.1
63 | 04/08/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.88709 | 0 | 0.533 | 9.7 | 6.11
62 | 04/08/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.88614 | 0 | 0.56 | 10.9 | 6.11
61 | 04/08/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.88459 | 0 | 0.582 | 12.2 | 6.11
60 | 04/08/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.88191 | 0 | 0.608 | 13.7 | 6.12
59 | 04/08/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.87843 | 0 | 0.637 | 15.5 | 6.12
58 | 04/08/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.87473 | 0 | 0.675 | 17.5 | 6.14
57 | 04/07/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.87114 | 0 | 0.717 | 19.5 | 6.13
56 | 04/07/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.86922 | 0 | 0.764 | 21.3 | 6.12
55 | 04/07/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.8667 | 0 | 0.817 | 23.4 | 6.14
54 | 04/07/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.86402 | 0 | 0.882 | 26.4 | 6.15
53 | 04/07/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.85845 | 0 | 0.948 | 30.1 | 6.15
52 | 04/07/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.85233 | 0 | 1.006 | 33.3 | 6.17
51 | 04/07/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.8469 | 0 | 1.038 | 35.3 | 6.17
50 | 04/07/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.84566 | 0 | 1.05 | 36.9 | 6.17
49 | 04/07/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.84018 | 0 | 1.05 | 39.6 | 6.16
48 | 04/07/2014 | 2:00:00 p.m. | 9195 | 177503 | 0.8325 | 0 | 1.049 | 40.6 | 6.16
47 | 04/07/2014 | 1:00:00 p.m. | 9195 | 177503 | 0.83449 | 0 | 1.032 | 38 | 6.16
46 | 04/07/2014 | 12:00:00 p.m. | 9195 | 177503 | 0.84505 | 0 | 0.998 | 32.1 | 6.15
45 | 04/07/2014 | 11:00:00 a.m. | 9195 | 177503 | 0.86253 | 0 | 0.956 | 25.1 | 6.14
44 | 04/07/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.8776 | 0 | 0.911 | 17.8 | 6.14
43 | 04/07/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.89858 | 0 | 0.86 | 11.2 | 6.12
42 | 04/07/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.91106 | 0 | 0.862 | 9.7 | 6.11
41 | 04/07/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.91066 | 0 | 0.894 | 10.7 | 6.11
40 | 04/07/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.91024 | 0 | 0.929 | 11.7 | 6.12
39 | 04/07/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.91009 | 0 | 0.959 | 12.5 | 6.12
38 | 04/07/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.90857 | 0 | 0.977 | 12.9 | 6.11
37 | 04/07/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.9084 | 0 | 0.996 | 13.5 | 6.1
36 | 04/07/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.90796 | 0 | 1.025 | 14.6 | 6.12
35 | 04/07/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.90655 | 0 | 1.059 | 16.3 | 6.13
34 | 04/07/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.90233 | 0 | 1.097 | 18 | 6.14
33 | 04/06/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.9001 | 0 | 1.144 | 19.6 | 6.13
32 | 04/06/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.89899 | 0 | 1.194 | 21.1 | 6.14
31 | 04/06/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.89878 | 0 | 1.252 | 23 | 6.14
30 | 04/06/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.89494 | 0 | 1.323 | 26.1 | 6.16
29 | 04/06/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.88836 | 0 | 1.404 | 30.8 | 6.17
28 | 04/06/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.88014 | 0 | 1.463 | 34.1 | 6.17
27 | 04/06/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.87787 | 0 | 1.494 | 35 | 6.17
26 | 04/06/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.87909 | 0 | 1.514 | 35.9 | 6.17
25 | 04/06/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.87432 | 0 | 1.529 | 38.3 | 6.17
24 | 04/06/2014 | 2:00:00 p.m. | 9195 | 177503 | 0.86988 | 0 | 1.541 | 38.8 | 6.16
23 | 04/06/2014 | 1:00:00 p.m. | 9195 | 177503 | 0.87375 | 0 | 1.546 | 37.3 | 6.17
22 | 04/06/2014 | 12:00:00 p.m. | 9195 | 177503 | 0.87808 | 0 | 1.542 | 34.2 | 6.16
21 | 04/06/2014 | 11:00:00 a.m. | 9195 | 177503 | 0.88859 | 0 | 1.526 | 30 | 6.16
20 | 04/06/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.90355 | 0 | 1.51 | 24 | 6.14
19 | 04/06/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.91975 | 0 | 1.475 | 17.5 | 6.13
18 | 04/06/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.93861 | 0 | 1.469 | 14.2 | 6.13
17 | 04/06/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.94294 | 0 | 1.489 | 12.9 | 6.12
16 | 04/06/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.95061 | 0 | 1.5 | 11.6 | 6.12
15 | 04/06/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.951 | 0 | 1.533 | 12.5 | 6.12
14 | 04/06/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.94956 | 0 | 1.569 | 13.8 | 6.12
13 | 04/06/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.94879 | 0 | 1.605 | 14.9 | 6.13
12 | 04/06/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.94744 | 0 | 1.644 | 16.1 | 6.13
11 | 04/06/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.94607 | 0 | 1.688 | 17.6 | 6.13
10 | 04/06/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.94429 | 0 | 1.737 | 19.1 | 6.14
9 | 04/05/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.94346 | 0 | 1.788 | 20.4 | 6.14
8 | 04/05/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.94265 | 0 | 1.844 | 21.9 | 6.15
7 | 04/05/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.94036 | 0 | 1.909 | 24 | 6.14
6 | 04/05/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.93796 | 0 | 1.988 | 26.8 | 6.15
5 | 04/05/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.93424 | 0 | 2.065 | 30.1 | 6.16
4 | 04/05/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.92896 | 0 | 2.128 | 32.7 | 6.16
3 | 04/05/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.9249 | 0 | 2.188 | 35.3 | 6.18
2 | 04/05/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.92468 | 0 | 2.218 | 36.4 | 6.17
1 | 04/05/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.92017 | 0 | 1.905 | 38.5 | 6.17