## Saporiss diario 043014 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/03/2013 | 2:52:41 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 12/02/2013 | 1:45:49 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
26 | 01/05/2014 | 9:00:00 a.m. | 840875 | 358619 | 7.3963 | 0 | 90.792 | 23.2 | 4.96
25 | 30/04/2014 | 9:00:00 a.m. | 840409 | 358553 | 7.2008 | 0 | 90.741 | 24.1 | 4.95
24 | 29/04/2014 | 9:00:00 a.m. | 839243 | 358390 | 7.2439 | 0 | 90.798 | 25.8 | 4.96
23 | 28/04/2014 | 9:00:00 a.m. | 838569 | 358296 | 7.2588 | 0 | 90.92 | 24.1 | 4.95
22 | 27/04/2014 | 9:00:00 a.m. | 838275 | 358255 | 7.4035 | 0 | 90.906 | 23.5 | 4.96
21 | 26/04/2014 | 9:00:00 a.m. | 837799 | 358188 | 7.3016 | 0 | 90.813 | 25.2 | 4.95
20 | 25/04/2014 | 9:00:00 a.m. | 837058 | 358085 | 7.1987 | 0 | 90.811 | 25.1 | 4.95
19 | 24/04/2014 | 9:00:00 a.m. | 836340 | 357985 | 7.3718 | 0 | 90.928 | 22.5 | 4.94
18 | 23/04/2014 | 9:00:00 a.m. | 835772 | 357906 | 7.2396 | 0 | 90.932 | 24.7 | 4.95
17 | 22/04/2014 | 9:00:00 a.m. | 835238 | 357832 | 7.4277 | 0 | 91.029 | 23.2 | 4.95
16 | 21/04/2014 | 9:00:00 a.m. | 834686 | 357756 | 7.218 | 0 | 91.011 | 23 | 4.95
15 | 20/04/2014 | 9:00:00 a.m. | 834054 | 357669 | 7.3103 | 0 | 91.06 | 25.9 | 4.96
14 | 19/04/2014 | 9:00:00 a.m. | 834017 | 357663 | 7.4863 | 0 | 91.215 | 23.7 | 4.96
13 | 18/04/2014 | 9:00:00 a.m. | 833984 | 357659 | 7.4376 | 0 | 91.174 | 22.9 | 4.96
12 | 17/04/2014 | 9:00:00 a.m. | 833586 | 357602 | 7.2426 | 0 | 91.085 | 24.5 | 4.96
11 | 16/04/2014 | 9:00:00 a.m. | 832666 | 357475 | 7.2313 | 0 | 90.888 | 25.1 | 4.97
10 | 15/04/2014 | 9:00:00 a.m. | 832048 | 357388 | 7.258 | 0 | 90.939 | 25.5 | 4.97
9 | 14/04/2014 | 9:00:00 a.m. | 831475 | 357308 | 7.2545 | 0 | 90.843 | 28.5 | 4.97
8 | 13/04/2014 | 9:00:00 a.m. | 830920 | 357232 | 7.4124 | 0 | 90.859 | 24.4 | 4.97
7 | 12/04/2014 | 9:00:00 a.m. | 830644 | 357193 | 7.2338 | 0 | 90.814 | 25.4 | 4.97
6 | 11/04/2014 | 9:00:00 a.m. | 830236 | 357137 | 7.2378 | 0 | 90.878 | 23.5 | 4.96
5 | 10/04/2014 | 9:00:00 a.m. | 829654 | 357056 | 7.4351 | 0 | 90.907 | 22.6 | 4.96
4 | 09/04/2014 | 9:00:00 a.m. | 829054 | 356973 | 7.2725 | 0 | 90.89 | 23.1 | 4.96
3 | 08/04/2014 | 9:00:00 a.m. | 828128 | 356845 | 7.2589 | 0 | 90.905 | 23.7 | 4.96
2 | 07/04/2014 | 9:00:00 a.m. | 827219 | 356719 | 7.2391 | 0 | 90.969 | 25.1 | 4.97
1 | 06/04/2014 | 9:00:00 a.m. | 827038 | 356694 | 7.2777 | 0 | 90.933 | 23.6 | 4.97