## Saporiss horario 043014 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 622
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/03/2013 | 2:52:41 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 12/02/2013 | 1:45:49 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
622 | 01/05/2014 | 11:00:00 a.m. | 840875 | 358619 | 6.9215 | 0 | 90.668 | 30.9 | 4.97
621 | 01/05/2014 | 10:00:00 a.m. | 840875 | 358619 | 7.1209 | 0 | 90.745 | 21.5 | 4.97
620 | 01/05/2014 | 9:00:00 a.m. | 840875 | 358619 | 7.3963 | 0 | 91.084 | 13.2 | 4.96
619 | 01/05/2014 | 8:00:00 a.m. | 840875 | 358619 | 7.554 | 0 | 91.223 | 11.2 | 4.95
618 | 01/05/2014 | 7:00:00 a.m. | 840875 | 358619 | 7.5729 | 0 | 91.241 | 11.5 | 4.95
617 | 01/05/2014 | 6:00:00 a.m. | 840875 | 358619 | 7.5544 | 0 | 91.262 | 12.1 | 4.95
616 | 01/05/2014 | 5:00:00 a.m. | 840875 | 358619 | 7.5241 | 0 | 91.184 | 12.7 | 4.95
615 | 01/05/2014 | 4:00:00 a.m. | 840875 | 358619 | 7.5007 | 0 | 91.098 | 13.7 | 4.95
614 | 01/05/2014 | 3:00:00 a.m. | 840875 | 358619 | 7.4798 | 0 | 91.091 | 15.1 | 4.95
613 | 01/05/2014 | 2:00:00 a.m. | 840875 | 358619 | 7.4267 | 0 | 91.052 | 16.8 | 4.95
612 | 01/05/2014 | 1:00:00 a.m. | 840875 | 358619 | 7.3591 | 0 | 91.004 | 18.9 | 4.96
611 | 01/05/2014 | 12:00:00 a.m. | 840875 | 358619 | 7.312 | 0 | 90.983 | 20.7 | 4.97
610 | 30/04/2014 | 11:00:00 p.m. | 840875 | 358619 | 7.2801 | 0 | 90.934 | 21.9 | 4.97
609 | 30/04/2014 | 10:00:00 p.m. | 840868 | 358618 | 7.2319 | 0 | 90.892 | 23.5 | 4.97
608 | 30/04/2014 | 9:00:00 p.m. | 840868 | 358618 | 7.1815 | 0 | 90.833 | 25 | 4.97
607 | 30/04/2014 | 8:00:00 p.m. | 840868 | 358618 | 7.146 | 0 | 90.651 | 26.6 | 4.97
606 | 30/04/2014 | 7:00:00 p.m. | 840816 | 358611 | 7.0888 | 0 | 90.57 | 28.6 | 4.98
605 | 30/04/2014 | 6:00:00 p.m. | 840754 | 358602 | 7.0365 | 0 | 90.451 | 30.6 | 4.98
604 | 30/04/2014 | 5:00:00 p.m. | 840691 | 358593 | 6.9716 | 0 | 90.364 | 32.4 | 4.98
603 | 30/04/2014 | 4:00:00 p.m. | 840644 | 358586 | 6.9873 | 0 | 90.357 | 29.1 | 4.97
602 | 30/04/2014 | 3:00:00 p.m. | 840581 | 358577 | 7.01 | 0 | 90.38 | 33.7 | 4.97
601 | 30/04/2014 | 2:00:00 p.m. | 840523 | 358569 | 6.7767 | 0 | 90.429 | 41 | 4.97
600 | 30/04/2014 | 1:00:00 p.m. | 840523 | 358569 | 6.746 | 0 | 90.408 | 37.1 | 4.97
599 | 30/04/2014 | 12:00:00 p.m. | 840520 | 358569 | 6.9925 | 0 | 90.346 | 30.8 | 4.97
598 | 30/04/2014 | 11:00:00 a.m. | 840487 | 358564 | 7.0402 | 0 | 90.47 | 27 | 4.97
597 | 30/04/2014 | 10:00:00 a.m. | 840454 | 358559 | 7.1718 | 0 | 90.704 | 24.6 | 4.96
596 | 30/04/2014 | 9:00:00 a.m. | 840409 | 358553 | 7.2008 | 0 | 90.807 | 22.3 | 4.95
595 | 30/04/2014 | 8:00:00 a.m. | 840341 | 358544 | 7.2733 | 0 | 90.997 | 21.4 | 4.95
594 | 30/04/2014 | 7:00:00 a.m. | 840272 | 358534 | 7.2534 | 0 | 90.932 | 21.7 | 4.95
593 | 30/04/2014 | 6:00:00 a.m. | 840189 | 358523 | 7.2611 | 0 | 90.852 | 21.5 | 4.95
592 | 30/04/2014 | 5:00:00 a.m. | 840097 | 358510 | 7.2997 | 0 | 90.958 | 15.5 | 4.95
591 | 30/04/2014 | 4:00:00 a.m. | 840066 | 358506 | 7.4553 | 0 | 91.034 | 16.2 | 4.95
590 | 30/04/2014 | 3:00:00 a.m. | 840066 | 358506 | 7.3769 | 0 | 91.009 | 18.5 | 4.96
589 | 30/04/2014 | 2:00:00 a.m. | 840066 | 358506 | 7.3349 | 0 | 91.025 | 20.9 | 4.96
588 | 30/04/2014 | 1:00:00 a.m. | 840063 | 358505 | 7.2268 | 0 | 90.816 | 22.6 | 4.96
587 | 30/04/2014 | 12:00:00 a.m. | 839983 | 358494 | 7.2321 | 0 | 90.817 | 20.6 | 4.96
586 | 29/04/2014 | 11:00:00 p.m. | 839945 | 358489 | 7.2913 | 0 | 90.896 | 21.2 | 4.97
585 | 29/04/2014 | 10:00:00 p.m. | 839945 | 358489 | 7.2613 | 0 | 90.895 | 22.9 | 4.97
584 | 29/04/2014 | 9:00:00 p.m. | 839945 | 358489 | 7.2029 | 0 | 90.838 | 24.6 | 4.97
583 | 29/04/2014 | 8:00:00 p.m. | 839945 | 358489 | 7.1483 | 0 | 90.769 | 26.1 | 4.97
582 | 29/04/2014 | 7:00:00 p.m. | 839934 | 358488 | 7.1322 | 0 | 90.544 | 26.7 | 4.97
581 | 29/04/2014 | 6:00:00 p.m. | 839844 | 358475 | 7.082 | 0 | 90.519 | 27.5 | 4.97
580 | 29/04/2014 | 5:00:00 p.m. | 839765 | 358464 | 7.11 | 0 | 90.606 | 27.7 | 4.97
579 | 29/04/2014 | 4:00:00 p.m. | 839701 | 358455 | 7.0766 | 0 | 90.537 | 28.8 | 4.97
578 | 29/04/2014 | 3:00:00 p.m. | 839622 | 358444 | 7.05 | 0 | 90.519 | 29.9 | 4.97
577 | 29/04/2014 | 2:00:00 p.m. | 839550 | 358433 | 7.0034 | 0 | 90.438 | 30.6 | 4.97
576 | 29/04/2014 | 1:00:00 p.m. | 839480 | 358423 | 7.0085 | 0 | 90.473 | 30.1 | 4.97
575 | 29/04/2014 | 12:00:00 p.m. | 839411 | 358414 | 7.0347 | 0 | 90.426 | 29 | 4.97
574 | 29/04/2014 | 11:00:00 a.m. | 839342 | 358404 | 7.0549 | 0 | 90.461 | 27.5 | 4.97
573 | 29/04/2014 | 10:00:00 a.m. | 839279 | 358395 | 7.0915 | 0 | 90.623 | 24.4 | 4.97
572 | 29/04/2014 | 9:00:00 a.m. | 839243 | 358390 | 7.2439 | 0 | 90.886 | 20.8 | 4.96
571 | 29/04/2014 | 8:00:00 a.m. | 839205 | 358385 | 7.3344 | 0 | 91.003 | 21 | 4.95
570 | 29/04/2014 | 7:00:00 a.m. | 839147 | 358377 | 7.2694 | 0 | 90.889 | 21.6 | 4.95
569 | 29/04/2014 | 6:00:00 a.m. | 839066 | 358365 | 7.2864 | 0 | 90.965 | 17.7 | 4.95
568 | 29/04/2014 | 5:00:00 a.m. | 839003 | 358357 | 7.4734 | 0 | 91.154 | 14.7 | 4.95
567 | 29/04/2014 | 4:00:00 a.m. | 839003 | 358357 | 7.4529 | 0 | 91.096 | 15.6 | 4.95
566 | 29/04/2014 | 3:00:00 a.m. | 839003 | 358357 | 7.4279 | 0 | 91.149 | 16.7 | 4.95
565 | 29/04/2014 | 2:00:00 a.m. | 839003 | 358357 | 7.3904 | 0 | 91.1 | 18.7 | 4.95
564 | 29/04/2014 | 1:00:00 a.m. | 839003 | 358357 | 7.3064 | 0 | 90.928 | 20.3 | 4.96
563 | 29/04/2014 | 12:00:00 a.m. | 838957 | 358350 | 7.3492 | 0 | 91.019 | 19.8 | 4.96
562 | 28/04/2014 | 11:00:00 p.m. | 838957 | 358350 | 7.2909 | 0 | 90.986 | 22.1 | 4.97
561 | 28/04/2014 | 10:00:00 p.m. | 838957 | 358350 | 7.2312 | 0 | 90.808 | 23.8 | 4.97
560 | 28/04/2014 | 9:00:00 p.m. | 838889 | 358341 | 7.1818 | 0 | 90.749 | 26 | 4.97
559 | 28/04/2014 | 8:00:00 p.m. | 838844 | 358335 | 7.1036 | 0 | 90.844 | 29.6 | 4.97
558 | 28/04/2014 | 7:00:00 p.m. | 838844 | 358335 | 7.0009 | 0 | 90.779 | 34.2 | 4.97
557 | 28/04/2014 | 6:00:00 p.m. | 838844 | 358335 | 6.8773 | 0 | 90.72 | 37.5 | 4.98
556 | 28/04/2014 | 5:00:00 p.m. | 838844 | 358335 | 6.8413 | 0 | 90.629 | 41.1 | 4.98
555 | 28/04/2014 | 4:00:00 p.m. | 838844 | 358335 | 6.7011 | 0 | 90.501 | 42.9 | 4.98
554 | 28/04/2014 | 3:00:00 p.m. | 838844 | 358335 | 6.7627 | 0 | 90.494 | 36.7 | 4.97
553 | 28/04/2014 | 2:00:00 p.m. | 838830 | 358333 | 6.8989 | 0 | 90.486 | 31.2 | 4.97
552 | 28/04/2014 | 1:00:00 p.m. | 838783 | 358326 | 7.0064 | 0 | 90.379 | 29.5 | 4.97
551 | 28/04/2014 | 12:00:00 p.m. | 838716 | 358316 | 7.0455 | 0 | 90.449 | 28.2 | 4.97
550 | 28/04/2014 | 11:00:00 a.m. | 838647 | 358307 | 7.0819 | 0 | 90.486 | 27 | 4.97
549 | 28/04/2014 | 10:00:00 a.m. | 838593 | 358299 | 7.1374 | 0 | 90.653 | 23.8 | 4.97
548 | 28/04/2014 | 9:00:00 a.m. | 838569 | 358296 | 7.2588 | 0 | 90.871 | 21.4 | 4.95
547 | 28/04/2014 | 8:00:00 a.m. | 838515 | 358288 | 7.2849 | 0 | 91.056 | 20.8 | 4.94
546 | 28/04/2014 | 7:00:00 a.m. | 838435 | 358277 | 7.2901 | 0 | 90.91 | 20.8 | 4.94
545 | 28/04/2014 | 6:00:00 a.m. | 838319 | 358261 | 7.3571 | 0 | 91.118 | 11.7 | 4.94
544 | 28/04/2014 | 5:00:00 a.m. | 838302 | 358259 | 7.5557 | 0 | 91.2 | 11.7 | 4.95
543 | 28/04/2014 | 4:00:00 a.m. | 838302 | 358259 | 7.543 | 0 | 91.143 | 12 | 4.95
542 | 28/04/2014 | 3:00:00 a.m. | 838302 | 358259 | 7.5305 | 0 | 91.102 | 12.7 | 4.95
541 | 28/04/2014 | 2:00:00 a.m. | 838302 | 358259 | 7.5011 | 0 | 91.077 | 13.7 | 4.95
540 | 28/04/2014 | 1:00:00 a.m. | 838302 | 358259 | 7.4794 | 0 | 91.144 | 15.2 | 4.95
539 | 28/04/2014 | 12:00:00 a.m. | 838302 | 358259 | 7.4225 | 0 | 91.171 | 17.3 | 4.96
538 | 27/04/2014 | 11:00:00 p.m. | 838302 | 358259 | 7.3735 | 0 | 91.137 | 19.9 | 4.96
537 | 27/04/2014 | 10:00:00 p.m. | 838302 | 358259 | 7.2853 | 0 | 91.015 | 22.3 | 4.97
536 | 27/04/2014 | 9:00:00 p.m. | 838302 | 358259 | 7.2182 | 0 | 90.968 | 24.7 | 4.97
535 | 27/04/2014 | 8:00:00 p.m. | 838302 | 358259 | 7.1606 | 0 | 90.913 | 26.6 | 4.97
534 | 27/04/2014 | 7:00:00 p.m. | 838302 | 358259 | 7.1227 | 0 | 90.874 | 27.8 | 4.97
533 | 27/04/2014 | 6:00:00 p.m. | 838302 | 358259 | 7.0777 | 0 | 90.892 | 30 | 4.97
532 | 27/04/2014 | 5:00:00 p.m. | 838302 | 358259 | 7.0078 | 0 | 90.802 | 34.5 | 4.97
531 | 27/04/2014 | 4:00:00 p.m. | 838302 | 358259 | 6.8715 | 0 | 90.657 | 39.7 | 4.97
530 | 27/04/2014 | 3:00:00 p.m. | 838302 | 358259 | 6.7869 | 0 | 90.697 | 39.8 | 4.97
529 | 27/04/2014 | 2:00:00 p.m. | 838302 | 358259 | 6.7859 | 0 | 90.669 | 39.5 | 4.97
528 | 27/04/2014 | 1:00:00 p.m. | 838302 | 358259 | 6.8503 | 0 | 90.667 | 34.3 | 4.97
527 | 27/04/2014 | 12:00:00 p.m. | 838302 | 358259 | 6.9956 | 0 | 90.544 | 32.2 | 4.97
526 | 27/04/2014 | 11:00:00 a.m. | 838275 | 358255 | 6.942 | 0 | 90.673 | 30.1 | 4.97
525 | 27/04/2014 | 10:00:00 a.m. | 838275 | 358255 | 7.1401 | 0 | 90.773 | 21.1 | 4.97
524 | 27/04/2014 | 9:00:00 a.m. | 838275 | 358255 | 7.4035 | 0 | 90.999 | 13.8 | 4.96
523 | 27/04/2014 | 8:00:00 a.m. | 838275 | 358255 | 7.5447 | 0 | 91.225 | 11.6 | 4.95
522 | 27/04/2014 | 7:00:00 a.m. | 838275 | 358255 | 7.5481 | 0 | 91.158 | 11.9 | 4.95
521 | 27/04/2014 | 6:00:00 a.m. | 838275 | 358255 | 7.5351 | 0 | 91.245 | 13 | 4.95
520 | 27/04/2014 | 5:00:00 a.m. | 838275 | 358255 | 7.499 | 0 | 91.137 | 14.4 | 4.95
519 | 27/04/2014 | 4:00:00 a.m. | 838275 | 358255 | 7.4559 | 0 | 91.162 | 15.7 | 4.95
518 | 27/04/2014 | 3:00:00 a.m. | 838275 | 358255 | 7.4151 | 0 | 91.256 | 16.8 | 4.96
517 | 27/04/2014 | 2:00:00 a.m. | 838275 | 358255 | 7.3833 | 0 | 91.072 | 18 | 4.96
516 | 27/04/2014 | 1:00:00 a.m. | 838275 | 358255 | 7.363 | 0 | 91.152 | 18.4 | 4.96
515 | 27/04/2014 | 12:00:00 a.m. | 838275 | 358255 | 7.3568 | 0 | 91.163 | 18.8 | 4.96
514 | 26/04/2014 | 11:00:00 p.m. | 838275 | 358255 | 7.3368 | 0 | 91.215 | 20.5 | 4.97
513 | 26/04/2014 | 10:00:00 p.m. | 838275 | 358255 | 7.2817 | 0 | 91.107 | 22.7 | 4.97
512 | 26/04/2014 | 9:00:00 p.m. | 838264 | 358254 | 7.2127 | 0 | 90.889 | 24.1 | 4.97
511 | 26/04/2014 | 8:00:00 p.m. | 838200 | 358245 | 7.1844 | 0 | 90.824 | 25.1 | 4.97
510 | 26/04/2014 | 7:00:00 p.m. | 838136 | 358236 | 7.1652 | 0 | 90.736 | 26.8 | 4.97
509 | 26/04/2014 | 6:00:00 p.m. | 838071 | 358227 | 7.1005 | 0 | 90.552 | 29.4 | 4.98
508 | 26/04/2014 | 5:00:00 p.m. | 838004 | 358217 | 7.0379 | 0 | 90.597 | 28.3 | 4.97
507 | 26/04/2014 | 4:00:00 p.m. | 837937 | 358208 | 7.0441 | 0 | 90.557 | 28.7 | 4.97
506 | 26/04/2014 | 3:00:00 p.m. | 837871 | 358198 | 7.0682 | 0 | 90.528 | 32.7 | 4.97
505 | 26/04/2014 | 2:00:00 p.m. | 837799 | 358188 | 6.7826 | 0 | 90.664 | 41.9 | 4.97
504 | 26/04/2014 | 1:00:00 p.m. | 837799 | 358188 | 6.7575 | 0 | 90.567 | 40.3 | 4.97
503 | 26/04/2014 | 12:00:00 p.m. | 837799 | 358188 | 6.8275 | 0 | 90.626 | 36.8 | 4.97
502 | 26/04/2014 | 11:00:00 a.m. | 837799 | 358188 | 6.9243 | 0 | 90.627 | 30.8 | 4.97
501 | 26/04/2014 | 10:00:00 a.m. | 837799 | 358188 | 7.1058 | 0 | 90.676 | 23.1 | 4.96
500 | 26/04/2014 | 9:00:00 a.m. | 837799 | 358188 | 7.3016 | 0 | 90.941 | 19.2 | 4.95
499 | 26/04/2014 | 8:00:00 a.m. | 837799 | 358188 | 7.3027 | 0 | 91.002 | 20.7 | 4.94
498 | 26/04/2014 | 7:00:00 a.m. | 837727 | 358178 | 7.3079 | 0 | 91.012 | 20.8 | 4.94
497 | 26/04/2014 | 6:00:00 a.m. | 837672 | 358171 | 7.2629 | 0 | 91.026 | 21.7 | 4.95
496 | 26/04/2014 | 5:00:00 a.m. | 837592 | 358160 | 7.2712 | 0 | 90.944 | 18.1 | 4.94
495 | 26/04/2014 | 4:00:00 a.m. | 837527 | 358151 | 7.4648 | 0 | 91.084 | 15.5 | 4.95
494 | 26/04/2014 | 3:00:00 a.m. | 837527 | 358151 | 7.4139 | 0 | 91.068 | 17.6 | 4.95
493 | 26/04/2014 | 2:00:00 a.m. | 837527 | 358151 | 7.3456 | 0 | 91.056 | 21.2 | 4.95
492 | 26/04/2014 | 1:00:00 a.m. | 837480 | 358144 | 7.2624 | 0 | 90.939 | 21.9 | 4.95
491 | 26/04/2014 | 12:00:00 a.m. | 837406 | 358134 | 7.2678 | 0 | 90.954 | 20.6 | 4.95
490 | 25/04/2014 | 11:00:00 p.m. | 837323 | 358123 | 7.3979 | 0 | 91.139 | 18.1 | 4.96
489 | 25/04/2014 | 10:00:00 p.m. | 837323 | 358123 | 7.3498 | 0 | 91.111 | 20.1 | 4.96
488 | 25/04/2014 | 9:00:00 p.m. | 837323 | 358123 | 7.2915 | 0 | 91.022 | 22.5 | 4.97
487 | 25/04/2014 | 8:00:00 p.m. | 837323 | 358123 | 7.2112 | 0 | 90.83 | 24.6 | 4.97
486 | 25/04/2014 | 7:00:00 p.m. | 837293 | 358119 | 7.1353 | 0 | 90.743 | 30 | 4.97
485 | 25/04/2014 | 6:00:00 p.m. | 837255 | 358113 | 6.859 | 0 | 90.656 | 37.7 | 4.98
484 | 25/04/2014 | 5:00:00 p.m. | 837255 | 358113 | 6.8494 | 0 | 90.512 | 38.5 | 4.98
483 | 25/04/2014 | 4:00:00 p.m. | 837255 | 358113 | 6.8606 | 0 | 90.507 | 31.6 | 4.97
482 | 25/04/2014 | 3:00:00 p.m. | 837239 | 358111 | 7.0933 | 0 | 90.456 | 26.7 | 4.97
481 | 25/04/2014 | 2:00:00 p.m. | 837163 | 358100 | 7.087 | 0 | 90.459 | 32.7 | 4.97
480 | 25/04/2014 | 1:00:00 p.m. | 837120 | 358094 | 6.9249 | 0 | 90.484 | 31.2 | 4.97
479 | 25/04/2014 | 12:00:00 p.m. | 837085 | 358089 | 7.0232 | 0 | 90.444 | 34.8 | 4.97
478 | 25/04/2014 | 11:00:00 a.m. | 837058 | 358085 | 6.9131 | 0 | 90.495 | 32.4 | 4.97
477 | 25/04/2014 | 10:00:00 a.m. | 837058 | 358085 | 7.0412 | 0 | 90.619 | 26.1 | 4.97
476 | 25/04/2014 | 9:00:00 a.m. | 837058 | 358085 | 7.1987 | 0 | 90.764 | 23.1 | 4.95
475 | 25/04/2014 | 8:00:00 a.m. | 836984 | 358075 | 7.2366 | 0 | 90.855 | 22.2 | 4.95
474 | 25/04/2014 | 7:00:00 a.m. | 836907 | 358064 | 7.2407 | 0 | 90.787 | 21.8 | 4.95
473 | 25/04/2014 | 6:00:00 a.m. | 836813 | 358051 | 7.285 | 0 | 91.087 | 15.6 | 4.95
472 | 25/04/2014 | 5:00:00 a.m. | 836798 | 358049 | 7.4467 | 0 | 91.053 | 15.3 | 4.95
471 | 25/04/2014 | 4:00:00 a.m. | 836798 | 358049 | 7.4431 | 0 | 91.103 | 15.6 | 4.95
470 | 25/04/2014 | 3:00:00 a.m. | 836798 | 358049 | 7.4263 | 0 | 91.152 | 17 | 4.95
469 | 25/04/2014 | 2:00:00 a.m. | 836798 | 358049 | 7.3716 | 0 | 91.045 | 19.5 | 4.95
468 | 25/04/2014 | 1:00:00 a.m. | 836798 | 358049 | 7.2841 | 0 | 90.936 | 22.2 | 4.96
467 | 25/04/2014 | 12:00:00 a.m. | 836739 | 358041 | 7.2488 | 0 | 90.833 | 22.6 | 4.96
466 | 24/04/2014 | 11:00:00 p.m. | 836667 | 358031 | 7.2294 | 0 | 90.732 | 23 | 4.96
465 | 24/04/2014 | 10:00:00 p.m. | 836573 | 358018 | 7.2046 | 0 | 90.912 | 23.2 | 4.97
464 | 24/04/2014 | 9:00:00 p.m. | 836569 | 358018 | 7.1942 | 0 | 90.92 | 25.3 | 4.97
463 | 24/04/2014 | 8:00:00 p.m. | 836569 | 358018 | 7.1427 | 0 | 90.916 | 27.8 | 4.97
462 | 24/04/2014 | 7:00:00 p.m. | 836569 | 358018 | 7.0712 | 0 | 90.871 | 31 | 4.97
461 | 24/04/2014 | 6:00:00 p.m. | 836569 | 358018 | 6.9659 | 0 | 90.825 | 35.6 | 4.97
460 | 24/04/2014 | 5:00:00 p.m. | 836569 | 358018 | 6.882 | 0 | 90.647 | 36.4 | 4.98
459 | 24/04/2014 | 4:00:00 p.m. | 836569 | 358018 | 6.9077 | 0 | 90.605 | 31.5 | 4.97
458 | 24/04/2014 | 3:00:00 p.m. | 836546 | 358014 | 7.0562 | 0 | 90.516 | 28.9 | 4.97
457 | 24/04/2014 | 2:00:00 p.m. | 836477 | 358005 | 7.0473 | 0 | 90.479 | 28.8 | 4.97
456 | 24/04/2014 | 1:00:00 p.m. | 836407 | 357995 | 7.0541 | 0 | 90.425 | 31.5 | 4.97
455 | 24/04/2014 | 12:00:00 p.m. | 836340 | 357985 | 6.8514 | 0 | 90.604 | 35.1 | 4.97
454 | 24/04/2014 | 11:00:00 a.m. | 836340 | 357985 | 6.9706 | 0 | 90.645 | 28.8 | 4.97
453 | 24/04/2014 | 10:00:00 a.m. | 836340 | 357985 | 7.1645 | 0 | 90.749 | 20.7 | 4.96
452 | 24/04/2014 | 9:00:00 a.m. | 836340 | 357985 | 7.3718 | 0 | 91.044 | 17.3 | 4.94
451 | 24/04/2014 | 8:00:00 a.m. | 836340 | 357985 | 7.3572 | 0 | 91.06 | 20.2 | 4.94
450 | 24/04/2014 | 7:00:00 a.m. | 836279 | 357977 | 7.3036 | 0 | 91.026 | 20.6 | 4.94
449 | 24/04/2014 | 6:00:00 a.m. | 836201 | 357966 | 7.292 | 0 | 91.032 | 21 | 4.94
448 | 24/04/2014 | 5:00:00 a.m. | 836112 | 357954 | 7.2837 | 0 | 90.979 | 17.7 | 4.94
447 | 24/04/2014 | 4:00:00 a.m. | 836011 | 357940 | 7.5873 | 0 | 91.255 | 10.9 | 4.94
446 | 24/04/2014 | 3:00:00 a.m. | 836011 | 357940 | 7.5777 | 0 | 91.268 | 11.4 | 4.94
445 | 24/04/2014 | 2:00:00 a.m. | 836011 | 357940 | 7.5696 | 0 | 91.248 | 12.2 | 4.95
444 | 24/04/2014 | 1:00:00 a.m. | 836011 | 357940 | 7.5275 | 0 | 91.192 | 13.3 | 4.95
443 | 24/04/2014 | 12:00:00 a.m. | 836011 | 357940 | 7.483 | 0 | 91.18 | 14.9 | 4.95
442 | 23/04/2014 | 11:00:00 p.m. | 836011 | 357940 | 7.4344 | 0 | 91.112 | 16.9 | 4.95
441 | 23/04/2014 | 10:00:00 p.m. | 836011 | 357940 | 7.3519 | 0 | 90.956 | 19.5 | 4.96
440 | 23/04/2014 | 9:00:00 p.m. | 836011 | 357940 | 7.2767 | 0 | 90.87 | 22.6 | 4.97
439 | 23/04/2014 | 8:00:00 p.m. | 835960 | 357933 | 7.1927 | 0 | 90.833 | 26.8 | 4.97
438 | 23/04/2014 | 7:00:00 p.m. | 835960 | 357933 | 7.0629 | 0 | 90.815 | 28.8 | 4.97
437 | 23/04/2014 | 6:00:00 p.m. | 835960 | 357933 | 7.1467 | 0 | 90.898 | 24.8 | 4.97
436 | 23/04/2014 | 5:00:00 p.m. | 835960 | 357933 | 7.2013 | 0 | 90.936 | 21.9 | 4.97
435 | 23/04/2014 | 4:00:00 p.m. | 835916 | 357927 | 7.3812 | 0 | 91.002 | 25.9 | 4.97
434 | 23/04/2014 | 3:00:00 p.m. | 835916 | 357927 | 6.9995 | 0 | 90.688 | 30.9 | 4.98
433 | 23/04/2014 | 2:00:00 p.m. | 835888 | 357923 | 6.992 | 0 | 90.428 | 31.1 | 4.98
432 | 23/04/2014 | 1:00:00 p.m. | 835813 | 357912 | 6.9601 | 0 | 90.527 | 39 | 4.97
431 | 23/04/2014 | 12:00:00 p.m. | 835791 | 357909 | 6.828 | 0 | 90.561 | 36.4 | 4.97
430 | 23/04/2014 | 11:00:00 a.m. | 835791 | 357909 | 6.9437 | 0 | 90.643 | 30.7 | 4.97
429 | 23/04/2014 | 10:00:00 a.m. | 835791 | 357909 | 7.0988 | 0 | 90.712 | 24.4 | 4.97
428 | 23/04/2014 | 9:00:00 a.m. | 835772 | 357906 | 7.2396 | 0 | 90.936 | 21.6 | 4.95
427 | 23/04/2014 | 8:00:00 a.m. | 835710 | 357898 | 7.2911 | 0 | 91.004 | 20.8 | 4.94
426 | 23/04/2014 | 7:00:00 a.m. | 835636 | 357888 | 7.3028 | 0 | 91.07 | 21.2 | 4.94
425 | 23/04/2014 | 6:00:00 a.m. | 835551 | 357876 | 7.2761 | 0 | 91.02 | 19.7 | 4.95
424 | 23/04/2014 | 5:00:00 a.m. | 835476 | 357866 | 7.3575 | 0 | 91.149 | 17 | 4.95
423 | 23/04/2014 | 4:00:00 a.m. | 835446 | 357862 | 7.4487 | 0 | 91.219 | 15.4 | 4.95
422 | 23/04/2014 | 3:00:00 a.m. | 835446 | 357862 | 7.452 | 0 | 91.247 | 15.1 | 4.95
421 | 23/04/2014 | 2:00:00 a.m. | 835446 | 357862 | 7.4592 | 0 | 91.21 | 15.4 | 4.95
420 | 23/04/2014 | 1:00:00 a.m. | 835446 | 357862 | 7.4232 | 0 | 91.192 | 17.3 | 4.96
419 | 23/04/2014 | 12:00:00 a.m. | 835446 | 357862 | 7.3643 | 0 | 91.178 | 19.6 | 4.96
418 | 22/04/2014 | 11:00:00 p.m. | 835446 | 357862 | 7.3053 | 0 | 91.121 | 20.9 | 4.97
417 | 22/04/2014 | 10:00:00 p.m. | 835446 | 357862 | 7.282 | 0 | 91.085 | 22.3 | 4.97
416 | 22/04/2014 | 9:00:00 p.m. | 835446 | 357862 | 7.2357 | 0 | 90.956 | 24 | 4.97
415 | 22/04/2014 | 8:00:00 p.m. | 835422 | 357858 | 7.1834 | 0 | 91.004 | 26 | 4.97
414 | 22/04/2014 | 7:00:00 p.m. | 835422 | 357858 | 7.1375 | 0 | 91.008 | 27 | 4.97
413 | 22/04/2014 | 6:00:00 p.m. | 835422 | 357858 | 7.1106 | 0 | 90.915 | 28.6 | 4.97
412 | 22/04/2014 | 5:00:00 p.m. | 835396 | 357855 | 7.0073 | 0 | 90.63 | 38.4 | 4.99
411 | 22/04/2014 | 4:00:00 p.m. | 835375 | 357852 | 6.795 | 0 | 90.645 | 40 | 4.98
410 | 22/04/2014 | 3:00:00 p.m. | 835375 | 357852 | 6.8268 | 0 | 90.604 | 34.7 | 4.98
409 | 22/04/2014 | 2:00:00 p.m. | 835357 | 357849 | 7.0181 | 0 | 90.504 | 30.1 | 4.97
408 | 22/04/2014 | 1:00:00 p.m. | 835289 | 357839 | 7.033 | 0 | 90.49 | 34.8 | 4.97
407 | 22/04/2014 | 12:00:00 p.m. | 835238 | 357832 | 6.8595 | 0 | 90.631 | 35.1 | 4.97
406 | 22/04/2014 | 11:00:00 a.m. | 835238 | 357832 | 6.988 | 0 | 90.683 | 28.7 | 4.97
405 | 22/04/2014 | 10:00:00 a.m. | 835238 | 357832 | 7.1664 | 0 | 90.875 | 20.3 | 4.96
404 | 22/04/2014 | 9:00:00 a.m. | 835238 | 357832 | 7.4277 | 0 | 91.142 | 14.5 | 4.95
403 | 22/04/2014 | 8:00:00 a.m. | 835237 | 357832 | 7.4459 | 0 | 91.191 | 15.3 | 4.94
402 | 22/04/2014 | 7:00:00 a.m. | 835222 | 357830 | 7.4018 | 0 | 91.29 | 18.4 | 4.93
401 | 22/04/2014 | 6:00:00 a.m. | 835186 | 357825 | 7.3281 | 0 | 91.184 | 20.4 | 4.94
400 | 22/04/2014 | 5:00:00 a.m. | 835106 | 357814 | 7.3134 | 0 | 91.287 | 15.9 | 4.94
399 | 22/04/2014 | 4:00:00 a.m. | 835051 | 357807 | 7.5115 | 0 | 91.428 | 15.3 | 4.94
398 | 22/04/2014 | 3:00:00 a.m. | 835051 | 357807 | 7.4012 | 0 | 91.3 | 19.9 | 4.95
397 | 22/04/2014 | 2:00:00 a.m. | 835014 | 357802 | 7.2826 | 0 | 91.054 | 20 | 4.95
396 | 22/04/2014 | 1:00:00 a.m. | 834922 | 357789 | 7.4711 | 0 | 91.331 | 15.6 | 4.96
395 | 22/04/2014 | 12:00:00 a.m. | 834922 | 357789 | 7.451 | 0 | 91.266 | 16.6 | 4.96
394 | 21/04/2014 | 11:00:00 p.m. | 834922 | 357789 | 7.4015 | 0 | 91.234 | 18.3 | 4.96
393 | 21/04/2014 | 10:00:00 p.m. | 834922 | 357789 | 7.3387 | 0 | 91.175 | 20.1 | 4.97
392 | 21/04/2014 | 9:00:00 p.m. | 834922 | 357789 | 7.2846 | 0 | 91.086 | 22.8 | 4.97
391 | 21/04/2014 | 8:00:00 p.m. | 834922 | 357789 | 7.2358 | 0 | 91.133 | 25.6 | 4.97
390 | 21/04/2014 | 7:00:00 p.m. | 834922 | 357789 | 7.1388 | 0 | 90.995 | 27.7 | 4.97
389 | 21/04/2014 | 6:00:00 p.m. | 834916 | 357788 | 7.1088 | 0 | 90.968 | 27.3 | 4.97
388 | 21/04/2014 | 5:00:00 p.m. | 834903 | 357786 | 7.1494 | 0 | 91.021 | 25.9 | 4.97
387 | 21/04/2014 | 4:00:00 p.m. | 834883 | 357783 | 7.1417 | 0 | 90.769 | 28.1 | 4.97
386 | 21/04/2014 | 3:00:00 p.m. | 834840 | 357777 | 7.0145 | 0 | 90.68 | 33.3 | 4.98
385 | 21/04/2014 | 2:00:00 p.m. | 834813 | 357774 | 7.0124 | 0 | 90.62 | 30.6 | 4.98
384 | 21/04/2014 | 1:00:00 p.m. | 834754 | 357765 | 7.0269 | 0 | 90.633 | 34.4 | 4.97
383 | 21/04/2014 | 12:00:00 p.m. | 834705 | 357758 | 6.84 | 0 | 90.684 | 36.1 | 4.97
382 | 21/04/2014 | 11:00:00 a.m. | 834705 | 357758 | 6.9524 | 0 | 90.663 | 30 | 4.97
381 | 21/04/2014 | 10:00:00 a.m. | 834705 | 357758 | 7.1098 | 0 | 90.571 | 24.4 | 4.97
380 | 21/04/2014 | 9:00:00 a.m. | 834686 | 357756 | 7.218 | 0 | 90.773 | 20.9 | 4.95
379 | 21/04/2014 | 8:00:00 a.m. | 834626 | 357747 | 7.3095 | 0 | 91.022 | 19.7 | 4.94
378 | 21/04/2014 | 7:00:00 a.m. | 834565 | 357739 | 7.3146 | 0 | 91.091 | 20.2 | 4.94
377 | 21/04/2014 | 6:00:00 a.m. | 834498 | 357730 | 7.3203 | 0 | 91.015 | 19.8 | 4.94
376 | 21/04/2014 | 5:00:00 a.m. | 834441 | 357722 | 7.3005 | 0 | 91.137 | 20.4 | 4.94
375 | 21/04/2014 | 4:00:00 a.m. | 834371 | 357712 | 7.2882 | 0 | 90.986 | 20.7 | 4.95
374 | 21/04/2014 | 3:00:00 a.m. | 834299 | 357703 | 7.2968 | 0 | 91.025 | 21.4 | 4.95
373 | 21/04/2014 | 2:00:00 a.m. | 834206 | 357690 | 7.2431 | 0 | 90.744 | 19.7 | 4.95
372 | 21/04/2014 | 1:00:00 a.m. | 834091 | 357674 | 7.5275 | 0 | 91.138 | 13.2 | 4.95
371 | 21/04/2014 | 12:00:00 a.m. | 834091 | 357674 | 7.4821 | 0 | 91.154 | 14.5 | 4.95
370 | 20/04/2014 | 11:00:00 p.m. | 834091 | 357674 | 7.4389 | 0 | 91.247 | 16.1 | 4.96
369 | 20/04/2014 | 10:00:00 p.m. | 834091 | 357674 | 7.405 | 0 | 91.185 | 17.8 | 4.96
368 | 20/04/2014 | 9:00:00 p.m. | 834091 | 357674 | 7.3648 | 0 | 91.182 | 19.4 | 4.96
367 | 20/04/2014 | 8:00:00 p.m. | 834091 | 357674 | 7.3112 | 0 | 91.11 | 21.2 | 4.97
366 | 20/04/2014 | 7:00:00 p.m. | 834091 | 357674 | 7.2805 | 0 | 91.121 | 21.4 | 4.97
365 | 20/04/2014 | 6:00:00 p.m. | 834091 | 357674 | 7.295 | 0 | 91.151 | 20.9 | 4.97
364 | 20/04/2014 | 5:00:00 p.m. | 834091 | 357674 | 7.2807 | 0 | 91.172 | 23.5 | 4.97
363 | 20/04/2014 | 4:00:00 p.m. | 834091 | 357674 | 7.1765 | 0 | 91.107 | 28 | 4.97
362 | 20/04/2014 | 3:00:00 p.m. | 834091 | 357674 | 7.0421 | 0 | 90.905 | 32.4 | 4.98
361 | 20/04/2014 | 2:00:00 p.m. | 834091 | 357674 | 6.9707 | 0 | 90.658 | 37.5 | 4.98
360 | 20/04/2014 | 1:00:00 p.m. | 834054 | 357669 | 6.839 | 0 | 90.792 | 37.4 | 4.98
359 | 20/04/2014 | 12:00:00 p.m. | 834054 | 357669 | 6.8863 | 0 | 90.75 | 33.8 | 4.97
358 | 20/04/2014 | 11:00:00 a.m. | 834054 | 357669 | 7.0277 | 0 | 90.833 | 28 | 4.97
357 | 20/04/2014 | 10:00:00 a.m. | 834054 | 357669 | 7.1536 | 0 | 90.956 | 23.2 | 4.97
356 | 20/04/2014 | 9:00:00 a.m. | 834054 | 357669 | 7.3103 | 0 | 91.128 | 18 | 4.96
355 | 20/04/2014 | 8:00:00 a.m. | 834054 | 357669 | 7.396 | 0 | 91.102 | 17.1 | 4.96
354 | 20/04/2014 | 7:00:00 a.m. | 834054 | 357669 | 7.3956 | 0 | 91.212 | 17.5 | 4.96
353 | 20/04/2014 | 6:00:00 a.m. | 834054 | 357669 | 7.4049 | 0 | 91.111 | 17.7 | 4.96
352 | 20/04/2014 | 5:00:00 a.m. | 834054 | 357669 | 7.3831 | 0 | 91.136 | 17.5 | 4.96
351 | 20/04/2014 | 4:00:00 a.m. | 834054 | 357669 | 7.386 | 0 | 91.069 | 17.6 | 4.96
350 | 20/04/2014 | 3:00:00 a.m. | 834054 | 357669 | 7.3767 | 0 | 91.079 | 18.1 | 4.97
349 | 20/04/2014 | 2:00:00 a.m. | 834054 | 357669 | 7.3567 | 0 | 91.071 | 19.4 | 4.97
348 | 20/04/2014 | 1:00:00 a.m. | 834054 | 357669 | 7.3039 | 0 | 91.278 | 20.9 | 4.97
347 | 20/04/2014 | 12:00:00 a.m. | 834054 | 357669 | 7.308 | 0 | 91.347 | 21.5 | 4.97
346 | 19/04/2014 | 11:00:00 p.m. | 834054 | 357669 | 7.2917 | 0 | 91.327 | 22.1 | 4.97
345 | 19/04/2014 | 10:00:00 p.m. | 834054 | 357669 | 7.2714 | 0 | 91.321 | 23.1 | 4.97
344 | 19/04/2014 | 9:00:00 p.m. | 834054 | 357669 | 7.2345 | 0 | 91.282 | 24.9 | 4.97
343 | 19/04/2014 | 8:00:00 p.m. | 834054 | 357669 | 7.1734 | 0 | 91.03 | 27.2 | 4.97
342 | 19/04/2014 | 7:00:00 p.m. | 834054 | 357669 | 7.0949 | 0 | 91.115 | 29.7 | 4.98
341 | 19/04/2014 | 6:00:00 p.m. | 834054 | 357669 | 7.0296 | 0 | 91.119 | 33.9 | 4.98
340 | 19/04/2014 | 5:00:00 p.m. | 834054 | 357669 | 6.9072 | 0 | 90.931 | 39.9 | 4.99
339 | 19/04/2014 | 4:00:00 p.m. | 834054 | 357669 | 6.7729 | 0 | 90.599 | 40 | 4.99
338 | 19/04/2014 | 3:00:00 p.m. | 834054 | 357669 | 6.8324 | 0 | 90.577 | 36.2 | 4.98
337 | 19/04/2014 | 2:00:00 p.m. | 834017 | 357663 | 6.759 | 0 | 90.858 | 41.4 | 4.98
336 | 19/04/2014 | 1:00:00 p.m. | 834017 | 357663 | 6.8124 | 0 | 90.899 | 38.3 | 4.98
335 | 19/04/2014 | 12:00:00 p.m. | 834017 | 357663 | 6.8997 | 0 | 90.874 | 34.2 | 4.97
334 | 19/04/2014 | 11:00:00 a.m. | 834017 | 357663 | 7.0093 | 0 | 90.913 | 27.8 | 4.97
333 | 19/04/2014 | 10:00:00 a.m. | 834017 | 357663 | 7.2166 | 0 | 91.053 | 18.7 | 4.97
332 | 19/04/2014 | 9:00:00 a.m. | 834017 | 357663 | 7.4863 | 0 | 91.342 | 11.9 | 4.96
331 | 19/04/2014 | 8:00:00 a.m. | 834017 | 357663 | 7.604 | 0 | 91.535 | 10.3 | 4.95
330 | 19/04/2014 | 7:00:00 a.m. | 834017 | 357663 | 7.6163 | 0 | 91.515 | 10.8 | 4.95
329 | 19/04/2014 | 6:00:00 a.m. | 834017 | 357663 | 7.5901 | 0 | 91.474 | 11.5 | 4.95
328 | 19/04/2014 | 5:00:00 a.m. | 834017 | 357663 | 7.5645 | 0 | 91.423 | 12.1 | 4.95
327 | 19/04/2014 | 4:00:00 a.m. | 834017 | 357663 | 7.5473 | 0 | 91.394 | 12.7 | 4.96
326 | 19/04/2014 | 3:00:00 a.m. | 834017 | 357663 | 7.5343 | 0 | 91.402 | 13.1 | 4.96
325 | 19/04/2014 | 2:00:00 a.m. | 834017 | 357663 | 7.522 | 0 | 91.406 | 13.5 | 4.96
324 | 19/04/2014 | 1:00:00 a.m. | 834017 | 357663 | 7.5103 | 0 | 91.407 | 14.1 | 4.96
323 | 19/04/2014 | 12:00:00 a.m. | 834017 | 357663 | 7.4882 | 0 | 91.408 | 14.5 | 4.96
322 | 18/04/2014 | 11:00:00 p.m. | 834017 | 357663 | 7.4858 | 0 | 91.429 | 14.8 | 4.97
321 | 18/04/2014 | 10:00:00 p.m. | 834017 | 357663 | 7.4791 | 0 | 91.435 | 16.9 | 4.97
320 | 18/04/2014 | 9:00:00 p.m. | 834017 | 357663 | 7.3089 | 0 | 91.309 | 26.3 | 4.98
319 | 18/04/2014 | 8:00:00 p.m. | 834017 | 357663 | 7.1245 | 0 | 91.285 | 30.3 | 4.98
318 | 18/04/2014 | 7:00:00 p.m. | 834017 | 357663 | 7.0163 | 0 | 91.153 | 34.8 | 4.99
317 | 18/04/2014 | 6:00:00 p.m. | 834017 | 357663 | 6.8582 | 0 | 90.997 | 41.4 | 5
316 | 18/04/2014 | 5:00:00 p.m. | 834017 | 357663 | 6.7589 | 0 | 90.893 | 42.1 | 5
315 | 18/04/2014 | 4:00:00 p.m. | 834017 | 357663 | 6.7961 | 0 | 90.935 | 38 | 4.99
314 | 18/04/2014 | 3:00:00 p.m. | 834017 | 357663 | 6.9177 | 0 | 90.802 | 35 | 4.99
313 | 18/04/2014 | 2:00:00 p.m. | 833984 | 357659 | 6.843 | 0 | 90.86 | 40.9 | 4.98
312 | 18/04/2014 | 1:00:00 p.m. | 833984 | 357659 | 6.7777 | 0 | 90.886 | 39.6 | 4.98
311 | 18/04/2014 | 12:00:00 p.m. | 833984 | 357659 | 6.8693 | 0 | 90.855 | 35.9 | 4.98
310 | 18/04/2014 | 11:00:00 a.m. | 833984 | 357659 | 6.9844 | 0 | 90.967 | 29.2 | 4.97
309 | 18/04/2014 | 10:00:00 a.m. | 833984 | 357659 | 7.2002 | 0 | 91.047 | 19.9 | 4.97
308 | 18/04/2014 | 9:00:00 a.m. | 833984 | 357659 | 7.4376 | 0 | 91.297 | 12.1 | 4.96
307 | 18/04/2014 | 8:00:00 a.m. | 833984 | 357659 | 7.6228 | 0 | 91.477 | 10.5 | 4.95
306 | 18/04/2014 | 7:00:00 a.m. | 833984 | 357659 | 7.5735 | 0 | 91.451 | 11.7 | 4.95
305 | 18/04/2014 | 6:00:00 a.m. | 833984 | 357659 | 7.5622 | 0 | 91.466 | 13 | 4.96
304 | 18/04/2014 | 5:00:00 a.m. | 833984 | 357659 | 7.5038 | 0 | 91.376 | 13.2 | 4.96
303 | 18/04/2014 | 4:00:00 a.m. | 833984 | 357659 | 7.5441 | 0 | 91.49 | 13.1 | 4.95
302 | 18/04/2014 | 3:00:00 a.m. | 833984 | 357659 | 7.5341 | 0 | 91.47 | 14.3 | 4.96
301 | 18/04/2014 | 2:00:00 a.m. | 833984 | 357659 | 7.4818 | 0 | 91.422 | 16.1 | 4.97
300 | 18/04/2014 | 1:00:00 a.m. | 833984 | 357659 | 7.4236 | 0 | 91.397 | 18.6 | 4.97
299 | 18/04/2014 | 12:00:00 a.m. | 833984 | 357659 | 7.3466 | 0 | 91.307 | 20.6 | 4.97
298 | 17/04/2014 | 11:00:00 p.m. | 833984 | 357659 | 7.2895 | 0 | 91.302 | 21.2 | 4.97
297 | 17/04/2014 | 10:00:00 p.m. | 833984 | 357659 | 7.2999 | 0 | 91.319 | 22.6 | 4.97
296 | 17/04/2014 | 9:00:00 p.m. | 833984 | 357659 | 7.2257 | 0 | 91.255 | 24.4 | 4.97
295 | 17/04/2014 | 8:00:00 p.m. | 833984 | 357659 | 7.1994 | 0 | 91.251 | 26 | 4.98
294 | 17/04/2014 | 7:00:00 p.m. | 833984 | 357659 | 7.1765 | 0 | 91.038 | 26.5 | 4.98
293 | 17/04/2014 | 6:00:00 p.m. | 833936 | 357652 | 7.1387 | 0 | 90.861 | 33.7 | 4.99
292 | 17/04/2014 | 5:00:00 p.m. | 833889 | 357645 | 6.827 | 0 | 90.89 | 39.4 | 4.99
291 | 17/04/2014 | 4:00:00 p.m. | 833889 | 357645 | 6.8531 | 0 | 90.896 | 36 | 4.99
290 | 17/04/2014 | 3:00:00 p.m. | 833879 | 357644 | 6.9606 | 0 | 90.856 | 32.3 | 4.99
289 | 17/04/2014 | 2:00:00 p.m. | 833836 | 357638 | 7.0331 | 0 | 90.677 | 30 | 4.99
288 | 17/04/2014 | 1:00:00 p.m. | 833765 | 357627 | 7.0251 | 0 | 90.827 | 31.8 | 4.98
287 | 17/04/2014 | 12:00:00 p.m. | 833716 | 357620 | 7.0385 | 0 | 91.045 | 30.9 | 4.98
286 | 17/04/2014 | 11:00:00 a.m. | 833687 | 357616 | 7.0646 | 0 | 90.881 | 27.3 | 4.97
285 | 17/04/2014 | 10:00:00 a.m. | 833646 | 357611 | 7.1451 | 0 | 90.925 | 24.2 | 4.97
284 | 17/04/2014 | 9:00:00 a.m. | 833586 | 357602 | 7.2426 | 0 | 91.197 | 21 | 4.96
283 | 17/04/2014 | 8:00:00 a.m. | 833527 | 357594 | 7.3589 | 0 | 91.428 | 19.5 | 4.95
282 | 17/04/2014 | 7:00:00 a.m. | 833467 | 357586 | 7.3536 | 0 | 91.45 | 19.8 | 4.95
281 | 17/04/2014 | 6:00:00 a.m. | 833412 | 357578 | 7.3396 | 0 | 91.47 | 20.4 | 4.95
280 | 17/04/2014 | 5:00:00 a.m. | 833337 | 357568 | 7.3417 | 0 | 91.548 | 19.9 | 4.95
279 | 17/04/2014 | 4:00:00 a.m. | 833278 | 357560 | 7.3459 | 0 | 91.484 | 20.2 | 4.96
278 | 17/04/2014 | 3:00:00 a.m. | 833219 | 357552 | 7.3313 | 0 | 91.516 | 20.9 | 4.96
277 | 17/04/2014 | 2:00:00 a.m. | 833161 | 357544 | 7.3154 | 0 | 91.357 | 19.6 | 4.96
276 | 17/04/2014 | 1:00:00 a.m. | 833089 | 357534 | 7.4401 | 0 | 91.627 | 17.4 | 4.97
275 | 17/04/2014 | 12:00:00 a.m. | 833089 | 357534 | 7.3991 | 0 | 91.37 | 18.3 | 4.97
274 | 16/04/2014 | 11:00:00 p.m. | 833089 | 357534 | 7.3647 | 0 | 91.363 | 19.5 | 4.97
273 | 16/04/2014 | 10:00:00 p.m. | 833089 | 357534 | 7.3277 | 0 | 91.316 | 20.9 | 4.97
272 | 16/04/2014 | 9:00:00 p.m. | 833089 | 357534 | 7.2948 | 0 | 91.25 | 23 | 4.97
271 | 16/04/2014 | 8:00:00 p.m. | 833080 | 357533 | 7.2062 | 0 | 90.916 | 25.4 | 4.98
270 | 16/04/2014 | 7:00:00 p.m. | 833041 | 357528 | 7.148 | 0 | 90.892 | 27.9 | 4.99
269 | 16/04/2014 | 6:00:00 p.m. | 833003 | 357522 | 7.1022 | 0 | 90.753 | 28.6 | 4.99
268 | 16/04/2014 | 5:00:00 p.m. | 832963 | 357517 | 7.0558 | 0 | 90.761 | 32.2 | 4.99
267 | 16/04/2014 | 4:00:00 p.m. | 832934 | 357513 | 6.931 | 0 | 90.714 | 30.5 | 4.99
266 | 16/04/2014 | 3:00:00 p.m. | 832907 | 357509 | 7.061 | 0 | 90.553 | 28.4 | 4.99
265 | 16/04/2014 | 2:00:00 p.m. | 832836 | 357499 | 7.0413 | 0 | 90.419 | 30.1 | 4.99
264 | 16/04/2014 | 1:00:00 p.m. | 832740 | 357485 | 6.9026 | 0 | 90.617 | 35.7 | 4.99
263 | 16/04/2014 | 12:00:00 p.m. | 832722 | 357482 | 6.876 | 0 | 90.665 | 34.9 | 4.98
262 | 16/04/2014 | 11:00:00 a.m. | 832722 | 357482 | 6.966 | 0 | 90.71 | 30 | 4.98
261 | 16/04/2014 | 10:00:00 a.m. | 832722 | 357482 | 7.1556 | 0 | 90.655 | 24 | 4.97
260 | 16/04/2014 | 9:00:00 a.m. | 832666 | 357475 | 7.2313 | 0 | 90.959 | 21 | 4.97
259 | 16/04/2014 | 8:00:00 a.m. | 832611 | 357467 | 7.316 | 0 | 91.051 | 19.9 | 4.95
258 | 16/04/2014 | 7:00:00 a.m. | 832552 | 357459 | 7.301 | 0 | 91.052 | 20.6 | 4.96
257 | 16/04/2014 | 6:00:00 a.m. | 832477 | 357449 | 7.2893 | 0 | 91.004 | 19.3 | 4.96
256 | 16/04/2014 | 5:00:00 a.m. | 832395 | 357438 | 7.4528 | 0 | 91.15 | 15.7 | 4.97
255 | 16/04/2014 | 4:00:00 a.m. | 832395 | 357438 | 7.4357 | 0 | 91.211 | 14.9 | 4.97
254 | 16/04/2014 | 3:00:00 a.m. | 832395 | 357438 | 7.4572 | 0 | 91.208 | 15.8 | 4.97
253 | 16/04/2014 | 2:00:00 a.m. | 832395 | 357438 | 7.4123 | 0 | 91.156 | 17.1 | 4.97
252 | 16/04/2014 | 1:00:00 a.m. | 832395 | 357438 | 7.384 | 0 | 91.118 | 18.1 | 4.97
251 | 16/04/2014 | 12:00:00 a.m. | 832395 | 357438 | 7.3532 | 0 | 91.112 | 19 | 4.97
250 | 15/04/2014 | 11:00:00 p.m. | 832395 | 357438 | 7.3218 | 0 | 91.084 | 20.6 | 4.97
249 | 15/04/2014 | 10:00:00 p.m. | 832387 | 357436 | 7.2776 | 0 | 91.072 | 22.7 | 4.97
248 | 15/04/2014 | 9:00:00 p.m. | 832387 | 357436 | 7.2041 | 0 | 90.951 | 26 | 4.98
247 | 15/04/2014 | 8:00:00 p.m. | 832387 | 357436 | 7.0944 | 0 | 90.87 | 31.3 | 4.99
246 | 15/04/2014 | 7:00:00 p.m. | 832387 | 357436 | 6.9448 | 0 | 90.813 | 36.2 | 5
245 | 15/04/2014 | 6:00:00 p.m. | 832387 | 357436 | 6.873 | 0 | 90.69 | 34.6 | 5
244 | 15/04/2014 | 5:00:00 p.m. | 832373 | 357434 | 6.9762 | 0 | 90.581 | 32.1 | 5
243 | 15/04/2014 | 4:00:00 p.m. | 832332 | 357429 | 7.0037 | 0 | 90.523 | 30.8 | 5
242 | 15/04/2014 | 3:00:00 p.m. | 832281 | 357421 | 7.0046 | 0 | 90.545 | 30.6 | 4.99
241 | 15/04/2014 | 2:00:00 p.m. | 832213 | 357412 | 7.0084 | 0 | 90.533 | 36.2 | 4.99
240 | 15/04/2014 | 1:00:00 p.m. | 832170 | 357405 | 6.8066 | 0 | 90.622 | 38.3 | 4.99
239 | 15/04/2014 | 12:00:00 p.m. | 832170 | 357405 | 6.8735 | 0 | 90.584 | 31.9 | 4.99
238 | 15/04/2014 | 11:00:00 a.m. | 832153 | 357403 | 7.0813 | 0 | 90.688 | 26.9 | 4.98
237 | 15/04/2014 | 10:00:00 a.m. | 832101 | 357396 | 7.1494 | 0 | 90.742 | 23.7 | 4.97
236 | 15/04/2014 | 9:00:00 a.m. | 832048 | 357388 | 7.258 | 0 | 91.05 | 20.3 | 4.97
235 | 15/04/2014 | 8:00:00 a.m. | 831995 | 357381 | 7.3575 | 0 | 91.222 | 18.2 | 4.95
234 | 15/04/2014 | 7:00:00 a.m. | 831955 | 357376 | 7.3389 | 0 | 91.269 | 20 | 4.96
233 | 15/04/2014 | 6:00:00 a.m. | 831891 | 357367 | 7.3037 | 0 | 91.102 | 19.5 | 4.95
232 | 15/04/2014 | 5:00:00 a.m. | 831782 | 357352 | 7.5785 | 0 | 91.435 | 11.8 | 4.96
231 | 15/04/2014 | 4:00:00 a.m. | 831782 | 357352 | 7.5469 | 0 | 91.399 | 12.9 | 4.96
230 | 15/04/2014 | 3:00:00 a.m. | 831782 | 357352 | 7.51 | 0 | 91.378 | 14.4 | 4.97
229 | 15/04/2014 | 2:00:00 a.m. | 831782 | 357352 | 7.4645 | 0 | 91.247 | 15.8 | 4.97
228 | 15/04/2014 | 1:00:00 a.m. | 831782 | 357352 | 7.4136 | 0 | 91.12 | 16.8 | 4.97
227 | 15/04/2014 | 12:00:00 a.m. | 831782 | 357352 | 7.3975 | 0 | 91.089 | 18.1 | 4.97
226 | 14/04/2014 | 11:00:00 p.m. | 831782 | 357352 | 7.3356 | 0 | 91.142 | 20.7 | 4.97
225 | 14/04/2014 | 10:00:00 p.m. | 831782 | 357352 | 7.2515 | 0 | 90.978 | 23.8 | 4.98
224 | 14/04/2014 | 9:00:00 p.m. | 831767 | 357350 | 7.1608 | 0 | 90.955 | 27.3 | 4.99
223 | 14/04/2014 | 8:00:00 p.m. | 831767 | 357350 | 7.0591 | 0 | 90.941 | 32.5 | 5
222 | 14/04/2014 | 7:00:00 p.m. | 831767 | 357350 | 6.9118 | 0 | 90.945 | 39 | 5
221 | 14/04/2014 | 6:00:00 p.m. | 831767 | 357350 | 6.7768 | 0 | 90.714 | 42.3 | 5.01
220 | 14/04/2014 | 5:00:00 p.m. | 831767 | 357350 | 6.7459 | 0 | 90.648 | 41.3 | 5
219 | 14/04/2014 | 4:00:00 p.m. | 831767 | 357350 | 6.7872 | 0 | 90.57 | 37 | 5
218 | 14/04/2014 | 3:00:00 p.m. | 831761 | 357349 | 6.9771 | 0 | 90.483 | 32.3 | 5
217 | 14/04/2014 | 2:00:00 p.m. | 831708 | 357342 | 6.9678 | 0 | 90.52 | 31.8 | 5
216 | 14/04/2014 | 1:00:00 p.m. | 831656 | 357334 | 6.9999 | 0 | 90.507 | 30.7 | 4.99
215 | 14/04/2014 | 12:00:00 p.m. | 831603 | 357326 | 7.0209 | 0 | 90.505 | 32.5 | 4.99
214 | 14/04/2014 | 11:00:00 a.m. | 831562 | 357321 | 6.9511 | 0 | 90.645 | 28.7 | 4.98
213 | 14/04/2014 | 10:00:00 a.m. | 831540 | 357318 | 7.1574 | 0 | 90.663 | 23.5 | 4.97
212 | 14/04/2014 | 9:00:00 a.m. | 831475 | 357308 | 7.2545 | 0 | 90.908 | 17.3 | 4.97
211 | 14/04/2014 | 8:00:00 a.m. | 831447 | 357305 | 7.411 | 0 | 91.131 | 18.6 | 4.96
210 | 14/04/2014 | 7:00:00 a.m. | 831419 | 357301 | 7.3347 | 0 | 91.164 | 19.7 | 4.96
209 | 14/04/2014 | 6:00:00 a.m. | 831360 | 357293 | 7.327 | 0 | 91.095 | 20 | 4.96
208 | 14/04/2014 | 5:00:00 a.m. | 831300 | 357285 | 7.3011 | 0 | 91.062 | 20.3 | 4.96
207 | 14/04/2014 | 4:00:00 a.m. | 831239 | 357276 | 7.3032 | 0 | 91.051 | 20.6 | 4.97
206 | 14/04/2014 | 3:00:00 a.m. | 831180 | 357268 | 7.2936 | 0 | 90.999 | 21.1 | 4.97
205 | 14/04/2014 | 2:00:00 a.m. | 831120 | 357260 | 7.2793 | 0 | 90.977 | 21.5 | 4.97
204 | 14/04/2014 | 1:00:00 a.m. | 831059 | 357252 | 7.2649 | 0 | 90.96 | 21 | 4.97
203 | 14/04/2014 | 12:00:00 a.m. | 831006 | 357244 | 7.2839 | 0 | 90.943 | 21 | 4.97
202 | 13/04/2014 | 11:00:00 p.m. | 830953 | 357237 | 7.2997 | 0 | 91.041 | 21.6 | 4.98
201 | 13/04/2014 | 10:00:00 p.m. | 830953 | 357237 | 7.246 | 0 | 90.982 | 24.2 | 4.98
200 | 13/04/2014 | 9:00:00 p.m. | 830953 | 357237 | 7.1655 | 0 | 90.919 | 27.7 | 4.99
199 | 13/04/2014 | 8:00:00 p.m. | 830953 | 357237 | 7.0498 | 0 | 90.866 | 32.8 | 5
198 | 13/04/2014 | 7:00:00 p.m. | 830953 | 357237 | 6.9154 | 0 | 90.79 | 38.4 | 5
197 | 13/04/2014 | 6:00:00 p.m. | 830953 | 357237 | 6.7849 | 0 | 90.657 | 42 | 5
196 | 13/04/2014 | 5:00:00 p.m. | 830953 | 357237 | 6.7168 | 0 | 90.561 | 43 | 5
195 | 13/04/2014 | 4:00:00 p.m. | 830953 | 357237 | 6.7257 | 0 | 90.545 | 43.6 | 5
194 | 13/04/2014 | 3:00:00 p.m. | 830953 | 357237 | 6.6915 | 0 | 90.561 | 44.7 | 5
193 | 13/04/2014 | 2:00:00 p.m. | 830953 | 357237 | 6.7163 | 0 | 90.558 | 40.7 | 5
192 | 13/04/2014 | 1:00:00 p.m. | 830953 | 357237 | 6.8754 | 0 | 90.447 | 37.6 | 5
191 | 13/04/2014 | 12:00:00 p.m. | 830920 | 357232 | 6.7909 | 0 | 90.583 | 37.2 | 4.99
190 | 13/04/2014 | 11:00:00 a.m. | 830920 | 357232 | 6.9355 | 0 | 90.683 | 29.6 | 4.98
189 | 13/04/2014 | 10:00:00 a.m. | 830920 | 357232 | 7.1748 | 0 | 90.749 | 20.2 | 4.97
188 | 13/04/2014 | 9:00:00 a.m. | 830920 | 357232 | 7.4124 | 0 | 91.007 | 12.9 | 4.97
187 | 13/04/2014 | 8:00:00 a.m. | 830920 | 357232 | 7.5554 | 0 | 91.123 | 11.6 | 4.96
186 | 13/04/2014 | 7:00:00 a.m. | 830920 | 357232 | 7.5286 | 0 | 91.058 | 12.7 | 4.96
185 | 13/04/2014 | 6:00:00 a.m. | 830920 | 357232 | 7.5045 | 0 | 91.157 | 13.3 | 4.97
184 | 13/04/2014 | 5:00:00 a.m. | 830920 | 357232 | 7.502 | 0 | 91.152 | 13 | 4.97
183 | 13/04/2014 | 4:00:00 a.m. | 830920 | 357232 | 7.5085 | 0 | 91.155 | 13.8 | 4.97
182 | 13/04/2014 | 3:00:00 a.m. | 830920 | 357232 | 7.4664 | 0 | 91.083 | 15.1 | 4.97
181 | 13/04/2014 | 2:00:00 a.m. | 830920 | 357232 | 7.4331 | 0 | 91.062 | 16.3 | 4.97
180 | 13/04/2014 | 1:00:00 a.m. | 830920 | 357232 | 7.3963 | 0 | 91.071 | 17.7 | 4.97
179 | 13/04/2014 | 12:00:00 a.m. | 830920 | 357232 | 7.3602 | 0 | 91.038 | 19.4 | 4.97
178 | 12/04/2014 | 11:00:00 p.m. | 830920 | 357232 | 7.3115 | 0 | 90.987 | 21 | 4.97
177 | 12/04/2014 | 10:00:00 p.m. | 830920 | 357232 | 7.265 | 0 | 90.949 | 22.9 | 4.98
176 | 12/04/2014 | 9:00:00 p.m. | 830920 | 357232 | 7.1957 | 0 | 90.903 | 25.5 | 4.98
175 | 12/04/2014 | 8:00:00 p.m. | 830920 | 357232 | 7.1139 | 0 | 90.904 | 27.5 | 4.99
174 | 12/04/2014 | 7:00:00 p.m. | 830920 | 357232 | 7.1026 | 0 | 90.749 | 27.7 | 5
173 | 12/04/2014 | 6:00:00 p.m. | 830876 | 357226 | 7.0779 | 0 | 90.681 | 28.3 | 5
172 | 12/04/2014 | 5:00:00 p.m. | 830818 | 357218 | 7.0817 | 0 | 90.627 | 28.6 | 5
171 | 12/04/2014 | 4:00:00 p.m. | 830752 | 357208 | 7.0559 | 0 | 90.447 | 38.7 | 5
170 | 12/04/2014 | 3:00:00 p.m. | 830710 | 357202 | 6.709 | 0 | 90.586 | 44.6 | 5
169 | 12/04/2014 | 2:00:00 p.m. | 830710 | 357202 | 6.6992 | 0 | 90.571 | 43.5 | 5
168 | 12/04/2014 | 1:00:00 p.m. | 830710 | 357202 | 6.7351 | 0 | 90.533 | 41.5 | 4.99
167 | 12/04/2014 | 12:00:00 p.m. | 830710 | 357202 | 6.789 | 0 | 90.517 | 37 | 4.99
166 | 12/04/2014 | 11:00:00 a.m. | 830710 | 357202 | 6.9341 | 0 | 90.618 | 29.9 | 4.98
165 | 12/04/2014 | 10:00:00 a.m. | 830708 | 357202 | 7.1533 | 0 | 90.632 | 23.7 | 4.97
164 | 12/04/2014 | 9:00:00 a.m. | 830644 | 357193 | 7.2338 | 0 | 90.883 | 20.8 | 4.97
163 | 12/04/2014 | 8:00:00 a.m. | 830581 | 357185 | 7.3359 | 0 | 91.068 | 19.5 | 4.95
162 | 12/04/2014 | 7:00:00 a.m. | 830517 | 357176 | 7.3253 | 0 | 90.943 | 17.5 | 4.96
161 | 12/04/2014 | 6:00:00 a.m. | 830431 | 357164 | 7.5843 | 0 | 91.123 | 10.9 | 4.96
160 | 12/04/2014 | 5:00:00 a.m. | 830431 | 357164 | 7.5624 | 0 | 91.102 | 11.9 | 4.96
159 | 12/04/2014 | 4:00:00 a.m. | 830431 | 357164 | 7.5224 | 0 | 91.094 | 12.8 | 4.96
158 | 12/04/2014 | 3:00:00 a.m. | 830431 | 357164 | 7.5 | 0 | 91.086 | 14 | 4.97
157 | 12/04/2014 | 2:00:00 a.m. | 830431 | 357164 | 7.4523 | 0 | 91.047 | 15.5 | 4.97
156 | 12/04/2014 | 1:00:00 a.m. | 830431 | 357164 | 7.4265 | 0 | 91.014 | 16.8 | 4.97
155 | 12/04/2014 | 12:00:00 a.m. | 830431 | 357164 | 7.374 | 0 | 91.019 | 18.4 | 4.97
154 | 11/04/2014 | 11:00:00 p.m. | 830431 | 357164 | 7.3359 | 0 | 91.02 | 20.5 | 4.97
153 | 11/04/2014 | 10:00:00 p.m. | 830431 | 357164 | 7.2511 | 0 | 90.958 | 23.1 | 4.98
152 | 11/04/2014 | 9:00:00 p.m. | 830431 | 357164 | 7.1874 | 0 | 90.925 | 26.3 | 4.98
151 | 11/04/2014 | 8:00:00 p.m. | 830431 | 357164 | 7.0936 | 0 | 90.863 | 30.4 | 4.99
150 | 11/04/2014 | 7:00:00 p.m. | 830431 | 357164 | 6.9779 | 0 | 90.73 | 35.3 | 5
149 | 11/04/2014 | 6:00:00 p.m. | 830431 | 357164 | 6.8665 | 0 | 90.639 | 35.1 | 5
148 | 11/04/2014 | 5:00:00 p.m. | 830430 | 357164 | 7.0285 | 0 | 90.447 | 30.9 | 5
147 | 11/04/2014 | 4:00:00 p.m. | 830377 | 357156 | 6.9916 | 0 | 90.426 | 35.8 | 5
146 | 11/04/2014 | 3:00:00 p.m. | 830328 | 357149 | 6.7385 | 0 | 90.506 | 43.6 | 4.99
145 | 11/04/2014 | 2:00:00 p.m. | 830328 | 357149 | 6.7036 | 0 | 90.503 | 42.9 | 4.99
144 | 11/04/2014 | 1:00:00 p.m. | 830328 | 357149 | 6.7336 | 0 | 90.489 | 40.7 | 4.99
143 | 11/04/2014 | 12:00:00 p.m. | 830328 | 357149 | 6.8199 | 0 | 90.491 | 35.7 | 4.99
142 | 11/04/2014 | 11:00:00 a.m. | 830328 | 357149 | 6.9833 | 0 | 90.516 | 27.7 | 4.98
141 | 11/04/2014 | 10:00:00 a.m. | 830295 | 357145 | 7.148 | 0 | 90.629 | 23.3 | 4.97
140 | 11/04/2014 | 9:00:00 a.m. | 830236 | 357137 | 7.2378 | 0 | 90.876 | 20.5 | 4.96
139 | 11/04/2014 | 8:00:00 a.m. | 830178 | 357129 | 7.3367 | 0 | 91.11 | 19 | 4.95
138 | 11/04/2014 | 7:00:00 a.m. | 830119 | 357120 | 7.3481 | 0 | 91.117 | 18.9 | 4.95
137 | 11/04/2014 | 6:00:00 a.m. | 830062 | 357113 | 7.3327 | 0 | 91.034 | 16.4 | 4.95
136 | 11/04/2014 | 5:00:00 a.m. | 829988 | 357103 | 7.5943 | 0 | 91.191 | 11.2 | 4.96
135 | 11/04/2014 | 4:00:00 a.m. | 829988 | 357103 | 7.5432 | 0 | 91.189 | 12.4 | 4.96
134 | 11/04/2014 | 3:00:00 a.m. | 829987 | 357103 | 7.5122 | 0 | 91.19 | 13.7 | 4.97
133 | 11/04/2014 | 2:00:00 a.m. | 829987 | 357103 | 7.4811 | 0 | 91.151 | 14.5 | 4.97
132 | 11/04/2014 | 1:00:00 a.m. | 829987 | 357103 | 7.4616 | 0 | 91.104 | 15.1 | 4.97
131 | 11/04/2014 | 12:00:00 a.m. | 829987 | 357103 | 7.4348 | 0 | 91.122 | 16.3 | 4.97
130 | 10/04/2014 | 11:00:00 p.m. | 829987 | 357103 | 7.3935 | 0 | 91.066 | 17.7 | 4.97
129 | 10/04/2014 | 10:00:00 p.m. | 829987 | 357103 | 7.3606 | 0 | 91.049 | 20 | 4.97
128 | 10/04/2014 | 9:00:00 p.m. | 829987 | 357103 | 7.2736 | 0 | 90.956 | 23.1 | 4.98
127 | 10/04/2014 | 8:00:00 p.m. | 829960 | 357099 | 7.1872 | 0 | 90.813 | 28.6 | 4.99
126 | 10/04/2014 | 7:00:00 p.m. | 829917 | 357093 | 6.9691 | 0 | 90.787 | 35.7 | 5
125 | 10/04/2014 | 6:00:00 p.m. | 829917 | 357093 | 6.9073 | 0 | 90.714 | 35.8 | 5
124 | 10/04/2014 | 5:00:00 p.m. | 829917 | 357093 | 6.8569 | 0 | 90.509 | 37.4 | 5
123 | 10/04/2014 | 4:00:00 p.m. | 829917 | 357093 | 6.9111 | 0 | 90.467 | 31 | 4.99
122 | 10/04/2014 | 3:00:00 p.m. | 829878 | 357087 | 7.0066 | 0 | 90.451 | 30.3 | 4.99
121 | 10/04/2014 | 2:00:00 p.m. | 829817 | 357078 | 7 | 0 | 90.499 | 35.9 | 4.99
120 | 10/04/2014 | 1:00:00 p.m. | 829778 | 357073 | 6.8072 | 0 | 90.618 | 36.6 | 4.99
119 | 10/04/2014 | 12:00:00 p.m. | 829778 | 357073 | 6.9503 | 0 | 90.633 | 29.4 | 4.98
118 | 10/04/2014 | 11:00:00 a.m. | 829766 | 357071 | 7.1275 | 0 | 90.682 | 24.3 | 4.97
117 | 10/04/2014 | 10:00:00 a.m. | 829714 | 357064 | 7.1967 | 0 | 90.744 | 21 | 4.97
116 | 10/04/2014 | 9:00:00 a.m. | 829654 | 357056 | 7.4351 | 0 | 91.114 | 14.7 | 4.96
115 | 10/04/2014 | 8:00:00 a.m. | 829654 | 357056 | 7.4294 | 0 | 91.192 | 18 | 4.95
114 | 10/04/2014 | 7:00:00 a.m. | 829614 | 357050 | 7.3598 | 0 | 91.192 | 18.4 | 4.95
113 | 10/04/2014 | 6:00:00 a.m. | 829552 | 357042 | 7.3909 | 0 | 91.257 | 17.2 | 4.95
112 | 10/04/2014 | 5:00:00 a.m. | 829499 | 357035 | 7.4349 | 0 | 91.252 | 10.4 | 4.95
111 | 10/04/2014 | 4:00:00 a.m. | 829472 | 357031 | 7.6309 | 0 | 91.267 | 10.3 | 4.96
110 | 10/04/2014 | 3:00:00 a.m. | 829472 | 357031 | 7.5556 | 0 | 91.24 | 13 | 4.96
109 | 10/04/2014 | 2:00:00 a.m. | 829472 | 357031 | 7.458 | 0 | 91.225 | 17.5 | 4.96
108 | 10/04/2014 | 1:00:00 a.m. | 829461 | 357030 | 7.3207 | 0 | 90.952 | 19.8 | 4.97
107 | 10/04/2014 | 12:00:00 a.m. | 829380 | 357019 | 7.4193 | 0 | 91.088 | 17.4 | 4.97
106 | 09/04/2014 | 11:00:00 p.m. | 829380 | 357019 | 7.3607 | 0 | 91.022 | 19.4 | 4.97
105 | 09/04/2014 | 10:00:00 p.m. | 829380 | 357019 | 7.2854 | 0 | 90.97 | 21.8 | 4.97
104 | 09/04/2014 | 9:00:00 p.m. | 829380 | 357019 | 7.2312 | 0 | 90.945 | 23.6 | 4.98
103 | 09/04/2014 | 8:00:00 p.m. | 829380 | 357019 | 7.1765 | 0 | 90.898 | 26.4 | 4.98
102 | 09/04/2014 | 7:00:00 p.m. | 829380 | 357019 | 7.0971 | 0 | 90.858 | 30.5 | 4.99
101 | 09/04/2014 | 6:00:00 p.m. | 829380 | 357019 | 6.9653 | 0 | 90.701 | 34.6 | 4.99
100 | 09/04/2014 | 5:00:00 p.m. | 829380 | 357019 | 6.8781 | 0 | 90.583 | 37.4 | 5
99 | 09/04/2014 | 4:00:00 p.m. | 829380 | 357019 | 6.863 | 0 | 90.589 | 35.9 | 4.99
98 | 09/04/2014 | 3:00:00 p.m. | 829380 | 357019 | 6.9146 | 0 | 90.577 | 31 | 4.99
97 | 09/04/2014 | 2:00:00 p.m. | 829355 | 357015 | 7.0798 | 0 | 90.47 | 27.4 | 4.98
96 | 09/04/2014 | 1:00:00 p.m. | 829288 | 357005 | 7.0644 | 0 | 90.476 | 27.6 | 4.98
95 | 09/04/2014 | 12:00:00 p.m. | 829225 | 356997 | 7.1061 | 0 | 90.473 | 26.1 | 4.97
94 | 09/04/2014 | 11:00:00 a.m. | 829170 | 356989 | 7.1504 | 0 | 90.647 | 23.4 | 4.97
93 | 09/04/2014 | 10:00:00 a.m. | 829112 | 356981 | 7.2187 | 0 | 90.776 | 21.5 | 4.97
92 | 09/04/2014 | 9:00:00 a.m. | 829054 | 356973 | 7.2725 | 0 | 90.912 | 20.2 | 4.96
91 | 09/04/2014 | 8:00:00 a.m. | 828996 | 356965 | 7.3338 | 0 | 91.128 | 19.5 | 4.95
90 | 09/04/2014 | 7:00:00 a.m. | 828939 | 356957 | 7.3363 | 0 | 91.141 | 19.7 | 4.96
89 | 09/04/2014 | 6:00:00 a.m. | 828878 | 356949 | 7.3266 | 0 | 91.142 | 19.6 | 4.96
88 | 09/04/2014 | 5:00:00 a.m. | 828813 | 356940 | 7.3405 | 0 | 91.223 | 19.3 | 4.96
87 | 09/04/2014 | 4:00:00 a.m. | 828756 | 356932 | 7.3563 | 0 | 91.171 | 19.1 | 4.96
86 | 09/04/2014 | 3:00:00 a.m. | 828697 | 356924 | 7.3328 | 0 | 91.097 | 19.6 | 4.96
85 | 09/04/2014 | 2:00:00 a.m. | 828634 | 356916 | 7.3287 | 0 | 91.017 | 20.1 | 4.96
84 | 09/04/2014 | 1:00:00 a.m. | 828558 | 356905 | 7.3167 | 0 | 91.016 | 17.4 | 4.97
83 | 09/04/2014 | 12:00:00 a.m. | 828508 | 356898 | 7.442 | 0 | 91.166 | 16 | 4.97
82 | 08/04/2014 | 11:00:00 p.m. | 828508 | 356898 | 7.4068 | 0 | 91.122 | 17.7 | 4.97
81 | 08/04/2014 | 10:00:00 p.m. | 828508 | 356898 | 7.3577 | 0 | 91.059 | 18.9 | 4.97
80 | 08/04/2014 | 9:00:00 p.m. | 828508 | 356898 | 7.3221 | 0 | 91.004 | 21.3 | 4.97
79 | 08/04/2014 | 8:00:00 p.m. | 828508 | 356898 | 7.2365 | 0 | 90.958 | 25 | 4.98
78 | 08/04/2014 | 7:00:00 p.m. | 828508 | 356898 | 7.1122 | 0 | 90.805 | 27.7 | 4.99
77 | 08/04/2014 | 6:00:00 p.m. | 828508 | 356898 | 7.1199 | 0 | 90.6 | 26.7 | 4.99
76 | 08/04/2014 | 5:00:00 p.m. | 828452 | 356890 | 7.0906 | 0 | 90.474 | 28.5 | 4.99
75 | 08/04/2014 | 4:00:00 p.m. | 828393 | 356882 | 7.0626 | 0 | 90.496 | 27.7 | 4.99
74 | 08/04/2014 | 3:00:00 p.m. | 828329 | 356873 | 7.0926 | 0 | 90.535 | 28.9 | 4.99
73 | 08/04/2014 | 2:00:00 p.m. | 828271 | 356865 | 6.9231 | 0 | 90.634 | 34.1 | 4.99
72 | 08/04/2014 | 1:00:00 p.m. | 828271 | 356865 | 6.9253 | 0 | 90.623 | 32.6 | 4.98
71 | 08/04/2014 | 12:00:00 p.m. | 828271 | 356865 | 7.0208 | 0 | 90.587 | 27.1 | 4.98
70 | 08/04/2014 | 11:00:00 a.m. | 828233 | 356859 | 7.1401 | 0 | 90.671 | 24.4 | 4.97
69 | 08/04/2014 | 10:00:00 a.m. | 828181 | 356852 | 7.2076 | 0 | 90.782 | 22.2 | 4.97
68 | 08/04/2014 | 9:00:00 a.m. | 828128 | 356845 | 7.2589 | 0 | 90.977 | 20.3 | 4.96
67 | 08/04/2014 | 8:00:00 a.m. | 828070 | 356837 | 7.3431 | 0 | 91.206 | 18.3 | 4.96
66 | 08/04/2014 | 7:00:00 a.m. | 828011 | 356829 | 7.3869 | 0 | 91.252 | 17.9 | 4.96
65 | 08/04/2014 | 6:00:00 a.m. | 827959 | 356822 | 7.3843 | 0 | 91.212 | 17.3 | 4.96
64 | 08/04/2014 | 5:00:00 a.m. | 827905 | 356815 | 7.4312 | 0 | 91.22 | 14.1 | 4.96
63 | 08/04/2014 | 4:00:00 a.m. | 827891 | 356813 | 7.4266 | 0 | 91.117 | 18.7 | 4.96
62 | 08/04/2014 | 3:00:00 a.m. | 827847 | 356807 | 7.3363 | 0 | 91.085 | 19.7 | 4.96
61 | 08/04/2014 | 2:00:00 a.m. | 827777 | 356797 | 7.3373 | 0 | 91.082 | 15.1 | 4.97
60 | 08/04/2014 | 1:00:00 a.m. | 827735 | 356791 | 7.495 | 0 | 91.179 | 14.7 | 4.97
59 | 08/04/2014 | 12:00:00 a.m. | 827735 | 356791 | 7.4227 | 0 | 91.094 | 16.9 | 4.97
58 | 07/04/2014 | 11:00:00 p.m. | 827735 | 356791 | 7.3766 | 0 | 91.058 | 18.8 | 4.97
57 | 07/04/2014 | 10:00:00 p.m. | 827735 | 356791 | 7.3198 | 0 | 91.007 | 20.7 | 4.98
56 | 07/04/2014 | 9:00:00 p.m. | 827735 | 356791 | 7.2566 | 0 | 90.958 | 22.8 | 4.99
55 | 07/04/2014 | 8:00:00 p.m. | 827707 | 356788 | 7.2165 | 0 | 90.842 | 24.8 | 4.99
54 | 07/04/2014 | 7:00:00 p.m. | 827652 | 356780 | 7.1371 | 0 | 90.761 | 27.1 | 5
53 | 07/04/2014 | 6:00:00 p.m. | 827597 | 356772 | 7.0748 | 0 | 90.655 | 29.2 | 5
52 | 07/04/2014 | 5:00:00 p.m. | 827540 | 356764 | 7.0381 | 0 | 90.552 | 30 | 5
51 | 07/04/2014 | 4:00:00 p.m. | 827483 | 356756 | 7.0226 | 0 | 90.542 | 30.3 | 5
50 | 07/04/2014 | 3:00:00 p.m. | 827424 | 356748 | 6.9747 | 0 | 90.617 | 40.2 | 5
49 | 07/04/2014 | 2:00:00 p.m. | 827403 | 356744 | 6.7617 | 0 | 90.639 | 40.8 | 5
48 | 07/04/2014 | 1:00:00 p.m. | 827403 | 356744 | 6.8092 | 0 | 90.624 | 35.9 | 5
47 | 07/04/2014 | 12:00:00 p.m. | 827403 | 356744 | 7.0406 | 0 | 90.56 | 28 | 4.99
46 | 07/04/2014 | 11:00:00 a.m. | 827345 | 356736 | 7.1139 | 0 | 90.664 | 25 | 4.98
45 | 07/04/2014 | 10:00:00 a.m. | 827285 | 356728 | 7.1811 | 0 | 90.818 | 23 | 4.97
44 | 07/04/2014 | 9:00:00 a.m. | 827219 | 356719 | 7.2391 | 0 | 90.972 | 20.6 | 4.97
43 | 07/04/2014 | 8:00:00 a.m. | 827153 | 356710 | 7.3293 | 0 | 91.116 | 16.6 | 4.96
42 | 07/04/2014 | 7:00:00 a.m. | 827099 | 356702 | 7.4555 | 0 | 91.123 | 13.7 | 4.97
41 | 07/04/2014 | 6:00:00 a.m. | 827067 | 356698 | 7.5841 | 0 | 91.218 | 11.3 | 4.97
40 | 07/04/2014 | 5:00:00 a.m. | 827067 | 356698 | 7.5437 | 0 | 91.182 | 12.5 | 4.97
39 | 07/04/2014 | 4:00:00 a.m. | 827067 | 356698 | 7.5196 | 0 | 91.222 | 12.6 | 4.97
38 | 07/04/2014 | 3:00:00 a.m. | 827067 | 356698 | 7.5222 | 0 | 91.166 | 12.7 | 4.97
37 | 07/04/2014 | 2:00:00 a.m. | 827067 | 356698 | 7.4996 | 0 | 91.154 | 13.9 | 4.97
36 | 07/04/2014 | 1:00:00 a.m. | 827067 | 356698 | 7.46 | 0 | 91.164 | 15.2 | 4.97
35 | 07/04/2014 | 12:00:00 a.m. | 827067 | 356698 | 7.4257 | 0 | 91.158 | 17.1 | 4.97
34 | 06/04/2014 | 11:00:00 p.m. | 827067 | 356698 | 7.378 | 0 | 91.114 | 18.8 | 4.98
33 | 06/04/2014 | 10:00:00 p.m. | 827067 | 356698 | 7.3293 | 0 | 91.082 | 21 | 4.98
32 | 06/04/2014 | 9:00:00 p.m. | 827067 | 356698 | 7.262 | 0 | 91.205 | 24 | 4.99
31 | 06/04/2014 | 8:00:00 p.m. | 827067 | 356698 | 7.1789 | 0 | 91.032 | 29.2 | 5
30 | 06/04/2014 | 7:00:00 p.m. | 827067 | 356698 | 6.9804 | 0 | 90.891 | 36 | 5
29 | 06/04/2014 | 6:00:00 p.m. | 827067 | 356698 | 6.8378 | 0 | 90.77 | 39.6 | 5.01
28 | 06/04/2014 | 5:00:00 p.m. | 827067 | 356698 | 6.7974 | 0 | 90.638 | 39 | 5.01
27 | 06/04/2014 | 4:00:00 p.m. | 827067 | 356698 | 6.843 | 0 | 90.661 | 38.4 | 5
26 | 06/04/2014 | 3:00:00 p.m. | 827067 | 356698 | 6.8022 | 0 | 90.719 | 40 | 5
25 | 06/04/2014 | 2:00:00 p.m. | 827067 | 356698 | 6.8282 | 0 | 90.64 | 36.7 | 5
24 | 06/04/2014 | 1:00:00 p.m. | 827038 | 356694 | 6.7841 | 0 | 90.777 | 40 | 5
23 | 06/04/2014 | 12:00:00 p.m. | 827038 | 356694 | 6.814 | 0 | 90.681 | 37.3 | 5
22 | 06/04/2014 | 11:00:00 a.m. | 827038 | 356694 | 6.9102 | 0 | 90.709 | 31.6 | 4.99
21 | 06/04/2014 | 10:00:00 a.m. | 827038 | 356694 | 7.0835 | 0 | 90.852 | 24 | 4.98
20 | 06/04/2014 | 9:00:00 a.m. | 827038 | 356694 | 7.2777 | 0 | 91.03 | 17.5 | 4.97
19 | 06/04/2014 | 8:00:00 a.m. | 827038 | 356694 | 7.4536 | 0 | 91.182 | 14.8 | 4.97
18 | 06/04/2014 | 7:00:00 a.m. | 827038 | 356694 | 7.4657 | 0 | 91.172 | 13.7 | 4.97
17 | 06/04/2014 | 6:00:00 a.m. | 827038 | 356694 | 7.5151 | 0 | 91.199 | 11.4 | 4.97
16 | 06/04/2014 | 5:00:00 a.m. | 827038 | 356694 | 7.5747 | 0 | 91.213 | 11.7 | 4.97
15 | 06/04/2014 | 4:00:00 a.m. | 827038 | 356694 | 7.5458 | 0 | 91.243 | 13.1 | 4.97
14 | 06/04/2014 | 3:00:00 a.m. | 827038 | 356694 | 7.4777 | 0 | 91.161 | 14.1 | 4.97
13 | 06/04/2014 | 2:00:00 a.m. | 827038 | 356694 | 7.4698 | 0 | 91.166 | 15.4 | 4.97
12 | 06/04/2014 | 1:00:00 a.m. | 827038 | 356694 | 7.4222 | 0 | 91.127 | 17.2 | 4.97
11 | 06/04/2014 | 12:00:00 a.m. | 827038 | 356694 | 7.379 | 0 | 91.133 | 18.7 | 4.98
10 | 05/04/2014 | 11:00:00 p.m. | 827038 | 356694 | 7.3462 | 0 | 91.1 | 20.1 | 4.98
9 | 05/04/2014 | 10:00:00 p.m. | 827031 | 356693 | 7.309 | 0 | 91.077 | 21.6 | 4.99
8 | 05/04/2014 | 9:00:00 p.m. | 827031 | 356693 | 7.2528 | 0 | 91.034 | 23.6 | 4.99
7 | 05/04/2014 | 8:00:00 p.m. | 827031 | 356693 | 7.1973 | 0 | 90.895 | 24.9 | 5
6 | 05/04/2014 | 7:00:00 p.m. | 826996 | 356688 | 7.1475 | 0 | 90.775 | 26.9 | 5
5 | 05/04/2014 | 6:00:00 p.m. | 826938 | 356680 | 7.0906 | 0 | 90.703 | 28.1 | 5
4 | 05/04/2014 | 5:00:00 p.m. | 826882 | 356672 | 7.0497 | 0 | 90.546 | 29.1 | 5
3 | 05/04/2014 | 4:00:00 p.m. | 826819 | 356663 | 7.0454 | 0 | 90.46 | 33.2 | 5
2 | 05/04/2014 | 3:00:00 p.m. | 826747 | 356653 | 6.8038 | 0 | 90.626 | 41.4 | 5
1 | 05/04/2014 | 2:00:00 p.m. | 826747 | 356653 | 6.7544 | 0 | 90.646 | 40.8 | 5