## Saporis diario 043015 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 27
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/04/2015 | 9:22:33 a.m. | 0 (Alarm Register Cleared )
3 | 13/08/2014 | 9:30:00 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
4 | 13/08/2014 | 7:21:34 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
27 | 01/05/2015 | 9:00:00 a.m. | 1070832 | 387494 | 8.2395 | 0 | 100.225 | 15 | 5.92
26 | 30/04/2015 | 9:00:00 a.m. | 1070508 | 387453 | 8.1895 | 0 | 99.923 | 16.7 | 5.92
25 | 29/04/2015 | 9:00:00 a.m. | 1069574 | 387336 | 7.967 | 0 | 99.973 | 18.6 | 5.92
24 | 28/04/2015 | 9:00:00 a.m. | 1068687 | 387225 | 8.0094 | 0 | 100.018 | 19 | 5.93
23 | 27/04/2015 | 9:00:00 a.m. | 1067688 | 387098 | 7.9254 | 0 | 100.182 | 21.5 | 5.93
22 | 26/04/2015 | 9:00:00 a.m. | 1067183 | 387035 | 8.1792 | 0 | 100.133 | 17.2 | 5.93
21 | 25/04/2015 | 9:00:00 a.m. | 1066418 | 386938 | 7.9218 | 0 | 100.008 | 19.6 | 5.93
20 | 24/04/2015 | 9:00:00 a.m. | 1065401 | 386810 | 7.9755 | 0 | 99.494 | 20.7 | 5.93
19 | 23/04/2015 | 9:00:00 a.m. | 1064541 | 386701 | 7.9338 | 0 | 99.834 | 20.4 | 5.93
18 | 22/04/2015 | 9:00:00 a.m. | 1063990 | 386630 | 8.0348 | 0 | 99.662 | 22.2 | 5.93
17 | 21/04/2015 | 9:00:00 a.m. | 1063410 | 386558 | 8.149 | 0 | 99.806 | 19.9 | 5.93
16 | 20/04/2015 | 9:00:00 a.m. | 1062734 | 386473 | 8.0013 | 0 | 100.143 | 19.8 | 5.93
15 | 19/04/2015 | 9:00:00 a.m. | 1062258 | 386413 | 8.1887 | 0 | 100.916 | 17.6 | 5.93
14 | 18/04/2015 | 9:00:00 a.m. | 1061989 | 386380 | 8.1971 | 0 | 100.427 | 19.1 | 5.93
13 | 17/04/2015 | 9:00:00 a.m. | 1061677 | 386340 | 7.9787 | 0 | 99.785 | 19.1 | 5.92
12 | 16/04/2015 | 9:00:00 a.m. | 1060834 | 386234 | 8.178 | 0 | 99.687 | 17.8 | 5.92
11 | 15/04/2015 | 9:00:00 a.m. | 1059760 | 386099 | 8.3119 | 0 | 102.507 | 18.9 | 5.92
10 | 14/04/2015 | 9:00:00 a.m. | 1059015 | 386008 | 8.1721 | 0 | 102.517 | 17.1 | 5.93
9 | 13/04/2015 | 9:00:00 a.m. | 1058323 | 385923 | 8.3134 | 0 | 102.776 | 19.5 | 5.93
8 | 12/04/2015 | 9:00:00 a.m. | 1057736 | 385851 | 8.4186 | 0 | 100.011 | 16.6 | 5.93
7 | 11/04/2015 | 9:00:00 a.m. | 1057519 | 385824 | 8.2068 | 0 | 100.217 | 20 | 5.93
6 | 10/04/2015 | 9:00:00 a.m. | 1056597 | 385708 | 8.2286 | 0 | 100.455 | 18.7 | 5.93
5 | 09/04/2015 | 9:00:00 a.m. | 1055668 | 385592 | 8.2259 | 0 | 100.603 | 18.1 | 5.93
4 | 08/04/2015 | 9:00:00 a.m. | 1054875 | 385493 | 8.0822 | 0 | 100.606 | 19 | 5.92
3 | 07/04/2015 | 9:00:00 a.m. | 1053765 | 385354 | 8.0716 | 0 | 100.678 | 20.7 | 5.93
2 | 06/04/2015 | 9:00:00 a.m. | 1052668 | 385218 | 8.0976 | 0 | 101.012 | 20 | 5.93
1 | 05/04/2015 | 9:00:00 a.m. | 1052228 | 385164 | 8.3416 | 0 | 101.369 | 19.2 | 5.93