## Saporis horario 043015 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 648
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/04/2015 | 9:22:33 a.m. | 0 (Alarm Register Cleared )
3 | 13/08/2014 | 9:30:00 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
4 | 13/08/2014 | 7:21:34 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
648 | 01/05/2015 | 11:00:00 a.m. | 1070858 | 387497 | 7.8139 | 0 | 100.177 | 22.6 | 5.93
647 | 01/05/2015 | 10:00:00 a.m. | 1070858 | 387497 | 7.9791 | 0 | 100.291 | 16.5 | 5.93
646 | 01/05/2015 | 9:00:00 a.m. | 1070832 | 387494 | 8.2395 | 0 | 100.663 | 8.4 | 5.92
645 | 01/05/2015 | 8:00:00 a.m. | 1070832 | 387494 | 8.4466 | 0 | 100.854 | 5.8 | 5.91
644 | 01/05/2015 | 7:00:00 a.m. | 1070832 | 387494 | 8.4757 | 0 | 101.018 | 5.7 | 5.91
643 | 01/05/2015 | 6:00:00 a.m. | 1070831 | 387494 | 8.4834 | 0 | 100.847 | 5.5 | 5.91
642 | 01/05/2015 | 5:00:00 a.m. | 1070831 | 387494 | 8.4656 | 0 | 100.495 | 5.7 | 5.91
641 | 01/05/2015 | 4:00:00 a.m. | 1070831 | 387494 | 8.4335 | 0 | 100.568 | 5.9 | 5.92
640 | 01/05/2015 | 3:00:00 a.m. | 1070830 | 387494 | 8.4183 | 0 | 100.511 | 6.5 | 5.91
639 | 01/05/2015 | 2:00:00 a.m. | 1070830 | 387494 | 8.3855 | 0 | 100.816 | 7.2 | 5.92
638 | 01/05/2015 | 1:00:00 a.m. | 1070830 | 387494 | 8.3972 | 0 | 100.532 | 8.2 | 5.92
637 | 01/05/2015 | 12:00:00 a.m. | 1070830 | 387494 | 8.3138 | 0 | 100.324 | 9.5 | 5.92
636 | 30/04/2015 | 11:00:00 p.m. | 1070830 | 387494 | 8.266 | 0 | 100.378 | 11.2 | 5.92
635 | 30/04/2015 | 10:00:00 p.m. | 1070830 | 387494 | 8.2191 | 0 | 100.293 | 13.7 | 5.93
634 | 30/04/2015 | 9:00:00 p.m. | 1070830 | 387494 | 8.1322 | 0 | 100.455 | 16.5 | 5.93
633 | 30/04/2015 | 8:00:00 p.m. | 1070830 | 387494 | 8.0235 | 0 | 100.294 | 20 | 5.93
632 | 30/04/2015 | 7:00:00 p.m. | 1070784 | 387488 | 7.9613 | 0 | 100.178 | 20.9 | 5.93
631 | 30/04/2015 | 6:00:00 p.m. | 1070744 | 387483 | 7.9523 | 0 | 100.054 | 22.7 | 5.94
630 | 30/04/2015 | 5:00:00 p.m. | 1070700 | 387477 | 7.7834 | 0 | 99.858 | 27.1 | 5.94
629 | 30/04/2015 | 4:00:00 p.m. | 1070690 | 387476 | 7.7964 | 0 | 99.582 | 27.4 | 5.94
628 | 30/04/2015 | 3:00:00 p.m. | 1070676 | 387474 | 7.8145 | 0 | 99.63 | 23.8 | 5.94
627 | 30/04/2015 | 2:00:00 p.m. | 1070649 | 387471 | 7.8197 | 0 | 99.415 | 24.4 | 5.94
626 | 30/04/2015 | 1:00:00 p.m. | 1070621 | 387467 | 7.8281 | 0 | 99.566 | 23.2 | 5.94
625 | 30/04/2015 | 12:00:00 p.m. | 1070592 | 387464 | 7.8491 | 0 | 99.651 | 22.3 | 5.94
624 | 30/04/2015 | 11:00:00 a.m. | 1070565 | 387460 | 7.8993 | 0 | 99.759 | 20.6 | 5.93
623 | 30/04/2015 | 10:00:00 a.m. | 1070538 | 387457 | 7.9476 | 0 | 99.666 | 17 | 5.93
622 | 30/04/2015 | 9:00:00 a.m. | 1070508 | 387453 | 8.1895 | 0 | 100.208 | 10.3 | 5.92
621 | 30/04/2015 | 8:00:00 a.m. | 1070508 | 387453 | 8.3095 | 0 | 100.441 | 13.7 | 5.91
620 | 30/04/2015 | 7:00:00 a.m. | 1070482 | 387450 | 8.0454 | 0 | 100.099 | 17.2 | 5.91
619 | 30/04/2015 | 6:00:00 a.m. | 1070405 | 387440 | 8.025 | 0 | 99.993 | 17.5 | 5.91
618 | 30/04/2015 | 5:00:00 a.m. | 1070331 | 387431 | 7.9879 | 0 | 99.962 | 17.4 | 5.91
617 | 30/04/2015 | 4:00:00 a.m. | 1070255 | 387421 | 8.051 | 0 | 99.793 | 17 | 5.92
616 | 30/04/2015 | 3:00:00 a.m. | 1070176 | 387412 | 8.0937 | 0 | 100.084 | 11.2 | 5.92
615 | 30/04/2015 | 2:00:00 a.m. | 1070140 | 387407 | 8.2985 | 0 | 100.259 | 9.1 | 5.92
614 | 30/04/2015 | 1:00:00 a.m. | 1070140 | 387407 | 8.2963 | 0 | 100.189 | 9.7 | 5.92
613 | 30/04/2015 | 12:00:00 a.m. | 1070140 | 387407 | 8.2474 | 0 | 100.032 | 10.4 | 5.92
612 | 29/04/2015 | 11:00:00 p.m. | 1070140 | 387407 | 8.3039 | 0 | 100.118 | 10.9 | 5.92
611 | 29/04/2015 | 10:00:00 p.m. | 1070140 | 387407 | 8.2129 | 0 | 100.12 | 14.2 | 5.92
610 | 29/04/2015 | 9:00:00 p.m. | 1070131 | 387406 | 7.9904 | 0 | 99.852 | 17.6 | 5.92
609 | 29/04/2015 | 8:00:00 p.m. | 1070057 | 387397 | 8.0276 | 0 | 99.84 | 17.8 | 5.93
608 | 29/04/2015 | 7:00:00 p.m. | 1069984 | 387388 | 7.9923 | 0 | 99.785 | 19.1 | 5.93
607 | 29/04/2015 | 6:00:00 p.m. | 1069911 | 387379 | 7.9449 | 0 | 99.792 | 20.2 | 5.93
606 | 29/04/2015 | 5:00:00 p.m. | 1069838 | 387369 | 7.9164 | 0 | 99.498 | 20.4 | 5.93
605 | 29/04/2015 | 4:00:00 p.m. | 1069754 | 387359 | 7.9005 | 0 | 99.901 | 19.1 | 5.93
604 | 29/04/2015 | 3:00:00 p.m. | 1069753 | 387359 | 7.8781 | 0 | 99.775 | 23.6 | 5.93
603 | 29/04/2015 | 2:00:00 p.m. | 1069753 | 387359 | 7.7794 | 0 | 99.671 | 22.1 | 5.93
602 | 29/04/2015 | 1:00:00 p.m. | 1069753 | 387359 | 7.9621 | 0 | 99.799 | 21.6 | 5.93
601 | 29/04/2015 | 12:00:00 p.m. | 1069753 | 387359 | 7.8504 | 0 | 99.617 | 21.8 | 5.93
600 | 29/04/2015 | 11:00:00 a.m. | 1069726 | 387355 | 7.9235 | 0 | 99.69 | 19.2 | 5.93
599 | 29/04/2015 | 10:00:00 a.m. | 1069651 | 387346 | 7.9393 | 0 | 99.624 | 19.2 | 5.93
598 | 29/04/2015 | 9:00:00 a.m. | 1069574 | 387336 | 7.967 | 0 | 99.683 | 18.8 | 5.92
597 | 29/04/2015 | 8:00:00 a.m. | 1069488 | 387325 | 7.9797 | 0 | 99.94 | 16.1 | 5.92
596 | 29/04/2015 | 7:00:00 a.m. | 1069411 | 387316 | 8.2204 | 0 | 100.267 | 11 | 5.92
595 | 29/04/2015 | 6:00:00 a.m. | 1069411 | 387316 | 8.2624 | 0 | 100.26 | 11 | 5.92
594 | 29/04/2015 | 5:00:00 a.m. | 1069411 | 387316 | 8.2195 | 0 | 100.131 | 11.6 | 5.92
593 | 29/04/2015 | 4:00:00 a.m. | 1069411 | 387316 | 8.2456 | 0 | 100.305 | 12.3 | 5.92
592 | 29/04/2015 | 3:00:00 a.m. | 1069411 | 387316 | 8.1723 | 0 | 100.256 | 13 | 5.92
591 | 29/04/2015 | 2:00:00 a.m. | 1069411 | 387316 | 8.1871 | 0 | 100.248 | 15.8 | 5.92
590 | 29/04/2015 | 1:00:00 a.m. | 1069394 | 387313 | 8.0211 | 0 | 100.041 | 17.7 | 5.92
589 | 29/04/2015 | 12:00:00 a.m. | 1069337 | 387306 | 8.003 | 0 | 100.079 | 18 | 5.92
588 | 28/04/2015 | 11:00:00 p.m. | 1069284 | 387300 | 8.0447 | 0 | 100.106 | 18.4 | 5.93
587 | 28/04/2015 | 10:00:00 p.m. | 1069229 | 387293 | 8.0014 | 0 | 100.02 | 18.8 | 5.93
586 | 28/04/2015 | 9:00:00 p.m. | 1069156 | 387284 | 8.0181 | 0 | 100.139 | 19 | 5.93
585 | 28/04/2015 | 8:00:00 p.m. | 1069081 | 387274 | 7.9754 | 0 | 100.196 | 19.3 | 5.93
584 | 28/04/2015 | 7:00:00 p.m. | 1069005 | 387265 | 7.9836 | 0 | 100.208 | 18.7 | 5.93
583 | 28/04/2015 | 6:00:00 p.m. | 1068928 | 387255 | 7.9953 | 0 | 100.045 | 18.8 | 5.93
582 | 28/04/2015 | 5:00:00 p.m. | 1068845 | 387245 | 8.168 | 0 | 100.095 | 16 | 5.93
581 | 28/04/2015 | 4:00:00 p.m. | 1068845 | 387245 | 7.9689 | 0 | 99.745 | 26.6 | 5.94
580 | 28/04/2015 | 3:00:00 p.m. | 1068845 | 387245 | 7.6388 | 0 | 99.646 | 26.7 | 5.94
579 | 28/04/2015 | 2:00:00 p.m. | 1068834 | 387244 | 7.8294 | 0 | 99.28 | 23.3 | 5.94
578 | 28/04/2015 | 1:00:00 p.m. | 1068759 | 387234 | 7.8208 | 0 | 99.323 | 24.4 | 5.94
577 | 28/04/2015 | 12:00:00 p.m. | 1068687 | 387225 | 7.7062 | 0 | 99.676 | 27.3 | 5.94
576 | 28/04/2015 | 11:00:00 a.m. | 1068687 | 387225 | 7.7554 | 0 | 99.804 | 23.9 | 5.94
575 | 28/04/2015 | 10:00:00 a.m. | 1068687 | 387225 | 7.9388 | 0 | 99.855 | 19 | 5.93
574 | 28/04/2015 | 9:00:00 a.m. | 1068687 | 387225 | 8.0094 | 0 | 99.945 | 14.2 | 5.93
573 | 28/04/2015 | 8:00:00 a.m. | 1068687 | 387225 | 8.1794 | 0 | 100.176 | 15.6 | 5.92
572 | 28/04/2015 | 7:00:00 a.m. | 1068655 | 387221 | 8.0473 | 0 | 100.315 | 17.7 | 5.92
571 | 28/04/2015 | 6:00:00 a.m. | 1068590 | 387213 | 8.0004 | 0 | 100.21 | 18.3 | 5.92
570 | 28/04/2015 | 5:00:00 a.m. | 1068503 | 387202 | 8.0384 | 0 | 100.142 | 16.8 | 5.92
569 | 28/04/2015 | 4:00:00 a.m. | 1068415 | 387191 | 8.2174 | 0 | 100.495 | 12.4 | 5.93
568 | 28/04/2015 | 3:00:00 a.m. | 1068415 | 387191 | 8.1748 | 0 | 100.477 | 13.1 | 5.93
567 | 28/04/2015 | 2:00:00 a.m. | 1068415 | 387191 | 8.2074 | 0 | 100.639 | 13.4 | 5.93
566 | 28/04/2015 | 1:00:00 a.m. | 1068415 | 387191 | 8.1635 | 0 | 100.456 | 14.2 | 5.93
565 | 28/04/2015 | 12:00:00 a.m. | 1068415 | 387191 | 8.1372 | 0 | 100.465 | 14.7 | 5.93
564 | 27/04/2015 | 11:00:00 p.m. | 1068415 | 387191 | 8.1196 | 0 | 100.468 | 15.6 | 5.93
563 | 27/04/2015 | 10:00:00 p.m. | 1068415 | 387191 | 8.1561 | 0 | 100.382 | 17.3 | 5.93
562 | 27/04/2015 | 9:00:00 p.m. | 1068415 | 387191 | 8.0334 | 0 | 100.268 | 19.6 | 5.93
561 | 27/04/2015 | 8:00:00 p.m. | 1068373 | 387186 | 7.9873 | 0 | 99.966 | 20.7 | 5.94
560 | 27/04/2015 | 7:00:00 p.m. | 1068294 | 387176 | 7.9498 | 0 | 99.954 | 21.7 | 5.94
559 | 27/04/2015 | 6:00:00 p.m. | 1068217 | 387166 | 7.8548 | 0 | 99.903 | 25.5 | 5.94
558 | 27/04/2015 | 5:00:00 p.m. | 1068166 | 387159 | 7.7705 | 0 | 99.859 | 24.5 | 5.94
557 | 27/04/2015 | 4:00:00 p.m. | 1068144 | 387156 | 7.8729 | 0 | 99.623 | 22.9 | 5.94
556 | 27/04/2015 | 3:00:00 p.m. | 1068077 | 387148 | 7.8017 | 0 | 99.476 | 23.8 | 5.95
555 | 27/04/2015 | 2:00:00 p.m. | 1068003 | 387139 | 7.7931 | 0 | 99.325 | 23.6 | 5.94
554 | 27/04/2015 | 1:00:00 p.m. | 1067931 | 387129 | 7.8221 | 0 | 99.357 | 23.3 | 5.94
553 | 27/04/2015 | 12:00:00 p.m. | 1067856 | 387120 | 7.8259 | 0 | 99.529 | 22.4 | 5.94
552 | 27/04/2015 | 11:00:00 a.m. | 1067782 | 387110 | 7.8205 | 0 | 99.277 | 22.5 | 5.94
551 | 27/04/2015 | 10:00:00 a.m. | 1067718 | 387102 | 7.8273 | 0 | 99.725 | 21.5 | 5.93
550 | 27/04/2015 | 9:00:00 a.m. | 1067688 | 387098 | 7.9254 | 0 | 99.778 | 19.1 | 5.93
549 | 27/04/2015 | 8:00:00 a.m. | 1067602 | 387087 | 7.983 | 0 | 100.16 | 18.2 | 5.92
548 | 27/04/2015 | 7:00:00 a.m. | 1067516 | 387077 | 8.0498 | 0 | 100.213 | 18.2 | 5.92
547 | 27/04/2015 | 6:00:00 a.m. | 1067423 | 387065 | 7.9966 | 0 | 100.074 | 18.4 | 5.92
546 | 27/04/2015 | 5:00:00 a.m. | 1067325 | 387053 | 8.0168 | 0 | 100.144 | 16.4 | 5.92
545 | 27/04/2015 | 4:00:00 a.m. | 1067221 | 387040 | 8.269 | 0 | 100.468 | 9.9 | 5.92
544 | 27/04/2015 | 3:00:00 a.m. | 1067220 | 387040 | 8.304 | 0 | 100.459 | 10.6 | 5.93
543 | 27/04/2015 | 2:00:00 a.m. | 1067220 | 387040 | 8.2403 | 0 | 100.532 | 11.3 | 5.93
542 | 27/04/2015 | 1:00:00 a.m. | 1067219 | 387040 | 8.2518 | 0 | 100.463 | 12.7 | 5.93
541 | 27/04/2015 | 12:00:00 a.m. | 1067219 | 387040 | 8.1642 | 0 | 100.503 | 14.6 | 5.93
540 | 26/04/2015 | 11:00:00 p.m. | 1067219 | 387040 | 8.1397 | 0 | 100.402 | 15.9 | 5.93
539 | 26/04/2015 | 10:00:00 p.m. | 1067218 | 387040 | 8.0959 | 0 | 100.376 | 17.6 | 5.93
538 | 26/04/2015 | 9:00:00 p.m. | 1067218 | 387040 | 8.0232 | 0 | 100.309 | 20 | 5.93
537 | 26/04/2015 | 8:00:00 p.m. | 1067218 | 387040 | 7.9326 | 0 | 100.445 | 22.9 | 5.94
536 | 26/04/2015 | 7:00:00 p.m. | 1067218 | 387040 | 7.8955 | 0 | 100.227 | 26.9 | 5.94
535 | 26/04/2015 | 6:00:00 p.m. | 1067218 | 387040 | 7.739 | 0 | 99.938 | 30.7 | 5.95
534 | 26/04/2015 | 5:00:00 p.m. | 1067207 | 387038 | 7.5878 | 0 | 99.992 | 32.5 | 5.95
533 | 26/04/2015 | 4:00:00 p.m. | 1067207 | 387038 | 7.5754 | 0 | 100.062 | 33.2 | 5.95
532 | 26/04/2015 | 3:00:00 p.m. | 1067207 | 387038 | 7.551 | 0 | 99.954 | 34.4 | 5.95
531 | 26/04/2015 | 2:00:00 p.m. | 1067207 | 387038 | 7.5929 | 0 | 99.829 | 33.7 | 5.95
530 | 26/04/2015 | 1:00:00 p.m. | 1067207 | 387038 | 7.5759 | 0 | 99.891 | 29.9 | 5.94
529 | 26/04/2015 | 12:00:00 p.m. | 1067207 | 387038 | 7.6224 | 0 | 99.836 | 28.2 | 5.94
528 | 26/04/2015 | 11:00:00 a.m. | 1067183 | 387035 | 7.7695 | 0 | 100.161 | 24.4 | 5.94
527 | 26/04/2015 | 10:00:00 a.m. | 1067183 | 387035 | 7.9192 | 0 | 100.165 | 17.2 | 5.93
526 | 26/04/2015 | 9:00:00 a.m. | 1067183 | 387035 | 8.1792 | 0 | 100.371 | 9.7 | 5.93
525 | 26/04/2015 | 8:00:00 a.m. | 1067183 | 387035 | 8.3974 | 0 | 100.39 | 6.1 | 5.92
524 | 26/04/2015 | 7:00:00 a.m. | 1067182 | 387035 | 8.4147 | 0 | 100.495 | 6.4 | 5.92
523 | 26/04/2015 | 6:00:00 a.m. | 1067182 | 387035 | 8.4227 | 0 | 100.365 | 7.3 | 5.92
522 | 26/04/2015 | 5:00:00 a.m. | 1067182 | 387035 | 8.384 | 0 | 100.428 | 8.5 | 5.92
521 | 26/04/2015 | 4:00:00 a.m. | 1067182 | 387035 | 8.3228 | 0 | 100.374 | 9.6 | 5.92
520 | 26/04/2015 | 3:00:00 a.m. | 1067182 | 387035 | 8.2841 | 0 | 100.499 | 10.4 | 5.92
519 | 26/04/2015 | 2:00:00 a.m. | 1067182 | 387035 | 8.2939 | 0 | 100.678 | 10.9 | 5.93
518 | 26/04/2015 | 1:00:00 a.m. | 1067182 | 387035 | 8.2794 | 0 | 100.526 | 12.8 | 5.93
517 | 26/04/2015 | 12:00:00 a.m. | 1067182 | 387035 | 8.1611 | 0 | 100.293 | 15.1 | 5.93
516 | 25/04/2015 | 11:00:00 p.m. | 1067182 | 387035 | 8.1542 | 0 | 100.486 | 17.4 | 5.93
515 | 25/04/2015 | 10:00:00 p.m. | 1067173 | 387034 | 7.9901 | 0 | 100.152 | 19.6 | 5.93
514 | 25/04/2015 | 9:00:00 p.m. | 1067100 | 387025 | 7.9647 | 0 | 100.086 | 20.2 | 5.93
513 | 25/04/2015 | 8:00:00 p.m. | 1067025 | 387015 | 7.9789 | 0 | 100.259 | 20.8 | 5.94
512 | 25/04/2015 | 7:00:00 p.m. | 1066952 | 387006 | 7.9859 | 0 | 100.08 | 22 | 5.95
511 | 25/04/2015 | 6:00:00 p.m. | 1066878 | 386997 | 7.8809 | 0 | 99.837 | 23.8 | 5.95
510 | 25/04/2015 | 5:00:00 p.m. | 1066804 | 386987 | 7.8253 | 0 | 99.92 | 24.7 | 5.95
509 | 25/04/2015 | 4:00:00 p.m. | 1066740 | 386979 | 7.8006 | 0 | 100.002 | 25.1 | 5.95
508 | 25/04/2015 | 3:00:00 p.m. | 1066694 | 386973 | 7.8378 | 0 | 100.09 | 24.7 | 5.95
507 | 25/04/2015 | 2:00:00 p.m. | 1066654 | 386968 | 7.7886 | 0 | 99.832 | 25 | 5.94
506 | 25/04/2015 | 1:00:00 p.m. | 1066614 | 386963 | 7.7954 | 0 | 99.507 | 23.7 | 5.94
505 | 25/04/2015 | 12:00:00 p.m. | 1066542 | 386954 | 7.7115 | 0 | 99.724 | 26.7 | 5.94
504 | 25/04/2015 | 11:00:00 a.m. | 1066539 | 386953 | 7.7521 | 0 | 99.327 | 22.5 | 5.94
503 | 25/04/2015 | 10:00:00 a.m. | 1066491 | 386947 | 7.8645 | 0 | 99.476 | 20.3 | 5.93
502 | 25/04/2015 | 9:00:00 a.m. | 1066418 | 386938 | 7.9218 | 0 | 99.713 | 18.6 | 5.93
501 | 25/04/2015 | 8:00:00 a.m. | 1066346 | 386929 | 8.0506 | 0 | 99.982 | 17.7 | 5.92
500 | 25/04/2015 | 7:00:00 a.m. | 1066273 | 386920 | 8.0145 | 0 | 100.18 | 17.8 | 5.92
499 | 25/04/2015 | 6:00:00 a.m. | 1066195 | 386910 | 8.0199 | 0 | 100.155 | 17.7 | 5.92
498 | 25/04/2015 | 5:00:00 a.m. | 1066112 | 386900 | 8.0156 | 0 | 100.236 | 13.1 | 5.92
497 | 25/04/2015 | 4:00:00 a.m. | 1066075 | 386895 | 8.2628 | 0 | 100.459 | 10.9 | 5.92
496 | 25/04/2015 | 3:00:00 a.m. | 1066075 | 386895 | 8.1699 | 0 | 100.414 | 12.4 | 5.93
495 | 25/04/2015 | 2:00:00 a.m. | 1066069 | 386895 | 8.2628 | 0 | 100.348 | 12.8 | 5.93
494 | 25/04/2015 | 1:00:00 a.m. | 1066063 | 386894 | 8.2335 | 0 | 100.224 | 12.7 | 5.93
493 | 25/04/2015 | 12:00:00 a.m. | 1066063 | 386894 | 8.1564 | 0 | 100.25 | 15.3 | 5.93
492 | 24/04/2015 | 11:00:00 p.m. | 1066057 | 386893 | 8.0822 | 0 | 100.461 | 17.2 | 5.93
491 | 24/04/2015 | 10:00:00 p.m. | 1066057 | 386893 | 8.0533 | 0 | 100.359 | 18.7 | 5.93
490 | 24/04/2015 | 9:00:00 p.m. | 1066040 | 386891 | 7.9561 | 0 | 100.193 | 20.1 | 5.93
489 | 24/04/2015 | 8:00:00 p.m. | 1065969 | 386882 | 7.9556 | 0 | 99.962 | 21 | 5.94
488 | 24/04/2015 | 7:00:00 p.m. | 1065900 | 386873 | 7.9652 | 0 | 99.961 | 22.7 | 5.95
487 | 24/04/2015 | 6:00:00 p.m. | 1065829 | 386864 | 7.8523 | 0 | 99.537 | 23.8 | 5.95
486 | 24/04/2015 | 5:00:00 p.m. | 1065761 | 386856 | 7.7635 | 0 | 99.617 | 24.1 | 5.95
485 | 24/04/2015 | 4:00:00 p.m. | 1065687 | 386846 | 7.7902 | 0 | 99.663 | 23.7 | 5.94
484 | 24/04/2015 | 3:00:00 p.m. | 1065605 | 386836 | 7.7875 | 0 | 99.713 | 29.6 | 5.95
483 | 24/04/2015 | 2:00:00 p.m. | 1065566 | 386831 | 7.6113 | 0 | 99.882 | 31.5 | 5.94
482 | 24/04/2015 | 1:00:00 p.m. | 1065566 | 386831 | 7.6367 | 0 | 99.936 | 26.5 | 5.94
481 | 24/04/2015 | 12:00:00 p.m. | 1065566 | 386831 | 7.8869 | 0 | 99.842 | 21.3 | 5.94
480 | 24/04/2015 | 11:00:00 a.m. | 1065504 | 386823 | 7.9111 | 0 | 99.4 | 21 | 5.93
479 | 24/04/2015 | 10:00:00 a.m. | 1065415 | 386812 | 7.8716 | 0 | 99.695 | 20.9 | 5.93
478 | 24/04/2015 | 9:00:00 a.m. | 1065401 | 386810 | 7.9755 | 0 | 99.615 | 19 | 5.93
477 | 24/04/2015 | 8:00:00 a.m. | 1065340 | 386802 | 7.9217 | 0 | 99.366 | 18.4 | 5.92
476 | 24/04/2015 | 7:00:00 a.m. | 1065264 | 386793 | 7.9483 | 0 | 99.489 | 18.1 | 5.92
475 | 24/04/2015 | 6:00:00 a.m. | 1065183 | 386782 | 7.9534 | 0 | 99.475 | 18.2 | 5.92
474 | 24/04/2015 | 5:00:00 a.m. | 1065099 | 386772 | 7.9837 | 0 | 99.596 | 13.4 | 5.92
473 | 24/04/2015 | 4:00:00 a.m. | 1065054 | 386766 | 8.1646 | 0 | 99.583 | 11.7 | 5.92
472 | 24/04/2015 | 3:00:00 a.m. | 1065054 | 386766 | 8.1544 | 0 | 99.694 | 12.3 | 5.93
471 | 24/04/2015 | 2:00:00 a.m. | 1065053 | 386766 | 8.1389 | 0 | 99.832 | 14 | 5.93
470 | 24/04/2015 | 1:00:00 a.m. | 1065053 | 386766 | 8.106 | 0 | 99.709 | 14.3 | 5.93
469 | 24/04/2015 | 12:00:00 a.m. | 1065052 | 386766 | 8.081 | 0 | 99.747 | 15.3 | 5.93
468 | 23/04/2015 | 11:00:00 p.m. | 1065052 | 386766 | 8.052 | 0 | 99.994 | 16.8 | 5.93
467 | 23/04/2015 | 10:00:00 p.m. | 1065051 | 386766 | 7.9921 | 0 | 99.762 | 18.7 | 5.93
466 | 23/04/2015 | 9:00:00 p.m. | 1065051 | 386766 | 7.9474 | 0 | 99.802 | 20.8 | 5.93
465 | 23/04/2015 | 8:00:00 p.m. | 1065050 | 386766 | 7.8591 | 0 | 99.668 | 23 | 5.94
464 | 23/04/2015 | 7:00:00 p.m. | 1065047 | 386765 | 7.8486 | 0 | 99.412 | 22.4 | 5.94
463 | 23/04/2015 | 6:00:00 p.m. | 1064995 | 386759 | 7.8229 | 0 | 99.293 | 24 | 5.95
462 | 23/04/2015 | 5:00:00 p.m. | 1064920 | 386749 | 7.7773 | 0 | 99.212 | 29.7 | 5.95
461 | 23/04/2015 | 4:00:00 p.m. | 1064872 | 386743 | 7.5308 | 0 | 99.507 | 34.3 | 5.95
460 | 23/04/2015 | 3:00:00 p.m. | 1064872 | 386743 | 7.5452 | 0 | 99.41 | 34.5 | 5.95
459 | 23/04/2015 | 2:00:00 p.m. | 1064871 | 386743 | 7.5648 | 0 | 99.331 | 29.8 | 5.95
458 | 23/04/2015 | 1:00:00 p.m. | 1064855 | 386741 | 7.7724 | 0 | 98.981 | 23.3 | 5.94
457 | 23/04/2015 | 12:00:00 p.m. | 1064778 | 386731 | 7.7961 | 0 | 98.988 | 22.8 | 5.94
456 | 23/04/2015 | 11:00:00 a.m. | 1064699 | 386721 | 7.7995 | 0 | 99.09 | 21.8 | 5.94
455 | 23/04/2015 | 10:00:00 a.m. | 1064620 | 386711 | 7.858 | 0 | 99.289 | 20.2 | 5.93
454 | 23/04/2015 | 9:00:00 a.m. | 1064541 | 386701 | 7.9338 | 0 | 99.565 | 18.8 | 5.93
453 | 23/04/2015 | 8:00:00 a.m. | 1064460 | 386690 | 7.986 | 0 | 99.925 | 13.7 | 5.92
452 | 23/04/2015 | 7:00:00 a.m. | 1064399 | 386683 | 8.2251 | 0 | 100.274 | 12.1 | 5.92
451 | 23/04/2015 | 6:00:00 a.m. | 1064399 | 386683 | 8.1698 | 0 | 100.136 | 14.5 | 5.93
450 | 23/04/2015 | 5:00:00 a.m. | 1064399 | 386683 | 8.0832 | 0 | 100.038 | 14.7 | 5.93
449 | 23/04/2015 | 4:00:00 a.m. | 1064399 | 386683 | 8.1375 | 0 | 100.2 | 12.9 | 5.92
448 | 23/04/2015 | 3:00:00 a.m. | 1064399 | 386683 | 8.1753 | 0 | 100.11 | 13.1 | 5.93
447 | 23/04/2015 | 2:00:00 a.m. | 1064399 | 386683 | 8.1646 | 0 | 100.213 | 14.4 | 5.93
446 | 23/04/2015 | 1:00:00 a.m. | 1064399 | 386683 | 8.1367 | 0 | 100.349 | 15.2 | 5.93
445 | 23/04/2015 | 12:00:00 a.m. | 1064399 | 386683 | 8.0993 | 0 | 100.278 | 16.3 | 5.93
444 | 22/04/2015 | 11:00:00 p.m. | 1064399 | 386683 | 8.0315 | 0 | 100.278 | 17.7 | 5.93
443 | 22/04/2015 | 10:00:00 p.m. | 1064399 | 386683 | 8.0529 | 0 | 100.224 | 19.3 | 5.93
442 | 22/04/2015 | 9:00:00 p.m. | 1064399 | 386683 | 7.9605 | 0 | 100.226 | 21.1 | 5.93
441 | 22/04/2015 | 8:00:00 p.m. | 1064399 | 386683 | 7.9436 | 0 | 100.13 | 22.2 | 5.94
440 | 22/04/2015 | 7:00:00 p.m. | 1064377 | 386680 | 7.8665 | 0 | 99.861 | 23.1 | 5.95
439 | 22/04/2015 | 6:00:00 p.m. | 1064307 | 386671 | 7.8203 | 0 | 99.64 | 23.9 | 5.95
438 | 22/04/2015 | 5:00:00 p.m. | 1064237 | 386662 | 7.8349 | 0 | 99.377 | 24.4 | 5.95
437 | 22/04/2015 | 4:00:00 p.m. | 1064168 | 386653 | 7.8058 | 0 | 99.159 | 30.7 | 5.94
436 | 22/04/2015 | 3:00:00 p.m. | 1064129 | 386648 | 7.5165 | 0 | 99.547 | 34.4 | 5.94
435 | 22/04/2015 | 2:00:00 p.m. | 1064129 | 386648 | 7.4971 | 0 | 99.47 | 34 | 5.94
434 | 22/04/2015 | 1:00:00 p.m. | 1064129 | 386648 | 7.5828 | 0 | 99.277 | 27.1 | 5.94
433 | 22/04/2015 | 12:00:00 p.m. | 1064103 | 386645 | 7.8013 | 0 | 99.056 | 22.5 | 5.93
432 | 22/04/2015 | 11:00:00 a.m. | 1064022 | 386635 | 7.8082 | 0 | 99.166 | 23.9 | 5.93
431 | 22/04/2015 | 10:00:00 a.m. | 1063990 | 386630 | 7.8495 | 0 | 99.521 | 18.9 | 5.93
430 | 22/04/2015 | 9:00:00 a.m. | 1063990 | 386630 | 8.0348 | 0 | 99.765 | 17.3 | 5.93
429 | 22/04/2015 | 8:00:00 a.m. | 1063956 | 386626 | 8.0362 | 0 | 99.768 | 16.8 | 5.92
428 | 22/04/2015 | 7:00:00 a.m. | 1063889 | 386618 | 8.0327 | 0 | 99.882 | 16.9 | 5.92
427 | 22/04/2015 | 6:00:00 a.m. | 1063820 | 386609 | 8.0179 | 0 | 99.733 | 17 | 5.92
426 | 22/04/2015 | 5:00:00 a.m. | 1063744 | 386600 | 8.0381 | 0 | 99.873 | 10.3 | 5.92
425 | 22/04/2015 | 4:00:00 a.m. | 1063708 | 386595 | 8.3046 | 0 | 99.974 | 8.7 | 5.93
424 | 22/04/2015 | 3:00:00 a.m. | 1063708 | 386595 | 8.275 | 0 | 100.205 | 10.3 | 5.93
423 | 22/04/2015 | 2:00:00 a.m. | 1063708 | 386595 | 8.2817 | 0 | 100.19 | 12.5 | 5.93
422 | 22/04/2015 | 1:00:00 a.m. | 1063708 | 386595 | 8.1855 | 0 | 99.995 | 17.3 | 5.93
421 | 22/04/2015 | 12:00:00 a.m. | 1063662 | 386590 | 7.992 | 0 | 99.999 | 18.5 | 5.93
420 | 21/04/2015 | 11:00:00 p.m. | 1063591 | 386581 | 8.0198 | 0 | 99.935 | 18.9 | 5.93
419 | 21/04/2015 | 10:00:00 p.m. | 1063515 | 386571 | 8.0062 | 0 | 99.667 | 18.7 | 5.93
418 | 21/04/2015 | 9:00:00 p.m. | 1063463 | 386565 | 7.9704 | 0 | 99.791 | 21 | 5.94
417 | 21/04/2015 | 8:00:00 p.m. | 1063463 | 386565 | 7.8535 | 0 | 99.755 | 25.7 | 5.95
416 | 21/04/2015 | 7:00:00 p.m. | 1063463 | 386565 | 7.6985 | 0 | 99.56 | 31.7 | 5.96
415 | 21/04/2015 | 6:00:00 p.m. | 1063462 | 386565 | 7.5459 | 0 | 99.65 | 35.3 | 5.96
414 | 21/04/2015 | 5:00:00 p.m. | 1063462 | 386565 | 7.4902 | 0 | 99.388 | 36.2 | 5.96
413 | 21/04/2015 | 4:00:00 p.m. | 1063462 | 386565 | 7.4638 | 0 | 99.358 | 35.4 | 5.96
412 | 21/04/2015 | 3:00:00 p.m. | 1063462 | 386565 | 7.5295 | 0 | 99.227 | 34.4 | 5.95
411 | 21/04/2015 | 2:00:00 p.m. | 1063462 | 386565 | 7.5219 | 0 | 99.128 | 33.6 | 5.95
410 | 21/04/2015 | 1:00:00 p.m. | 1063462 | 386565 | 7.5628 | 0 | 99.206 | 27 | 5.95
409 | 21/04/2015 | 12:00:00 p.m. | 1063429 | 386560 | 7.7867 | 0 | 99.067 | 28.6 | 5.94
408 | 21/04/2015 | 11:00:00 a.m. | 1063410 | 386558 | 7.7088 | 0 | 99.335 | 24.2 | 5.94
407 | 21/04/2015 | 10:00:00 a.m. | 1063410 | 386558 | 7.9115 | 0 | 99.427 | 16.5 | 5.93
406 | 21/04/2015 | 9:00:00 a.m. | 1063410 | 386558 | 8.149 | 0 | 99.851 | 9.2 | 5.93
405 | 21/04/2015 | 8:00:00 a.m. | 1063410 | 386558 | 8.3597 | 0 | 100.062 | 9.3 | 5.92
404 | 21/04/2015 | 7:00:00 a.m. | 1063410 | 386558 | 8.1381 | 0 | 99.795 | 16.3 | 5.92
403 | 21/04/2015 | 6:00:00 a.m. | 1063339 | 386549 | 8.0444 | 0 | 99.892 | 7.7 | 5.92
402 | 21/04/2015 | 5:00:00 a.m. | 1063311 | 386546 | 8.3342 | 0 | 100.049 | 7.2 | 5.92
401 | 21/04/2015 | 4:00:00 a.m. | 1063311 | 386546 | 8.3022 | 0 | 99.974 | 8.6 | 5.93
400 | 21/04/2015 | 3:00:00 a.m. | 1063311 | 386546 | 8.269 | 0 | 99.919 | 10.4 | 5.93
399 | 21/04/2015 | 2:00:00 a.m. | 1063311 | 386546 | 8.1951 | 0 | 99.987 | 13.5 | 5.93
398 | 21/04/2015 | 1:00:00 a.m. | 1063311 | 386546 | 8.073 | 0 | 99.861 | 18 | 5.93
397 | 21/04/2015 | 12:00:00 a.m. | 1063251 | 386538 | 7.9889 | 0 | 99.91 | 18.3 | 5.93
396 | 20/04/2015 | 11:00:00 p.m. | 1063183 | 386530 | 7.9798 | 0 | 99.79 | 18.9 | 5.93
395 | 20/04/2015 | 10:00:00 p.m. | 1063113 | 386521 | 7.9721 | 0 | 99.761 | 19.3 | 5.93
394 | 20/04/2015 | 9:00:00 p.m. | 1063025 | 386510 | 8.0093 | 0 | 99.921 | 20.2 | 5.94
393 | 20/04/2015 | 8:00:00 p.m. | 1063024 | 386510 | 7.9085 | 0 | 99.973 | 24.5 | 5.95
392 | 20/04/2015 | 7:00:00 p.m. | 1063024 | 386510 | 7.7681 | 0 | 100.003 | 29.4 | 5.95
391 | 20/04/2015 | 6:00:00 p.m. | 1063024 | 386510 | 7.687 | 0 | 99.895 | 32.2 | 5.96
390 | 20/04/2015 | 5:00:00 p.m. | 1063024 | 386510 | 7.5768 | 0 | 99.562 | 35.3 | 5.96
389 | 20/04/2015 | 4:00:00 p.m. | 1063024 | 386510 | 7.5029 | 0 | 99.421 | 34.4 | 5.95
388 | 20/04/2015 | 3:00:00 p.m. | 1063023 | 386510 | 7.5554 | 0 | 99.477 | 32.6 | 5.95
387 | 20/04/2015 | 2:00:00 p.m. | 1063023 | 386510 | 7.5949 | 0 | 99.319 | 26.6 | 5.95
386 | 20/04/2015 | 1:00:00 p.m. | 1062988 | 386505 | 7.8264 | 0 | 99.461 | 23.1 | 5.95
385 | 20/04/2015 | 12:00:00 p.m. | 1062915 | 386496 | 7.8477 | 0 | 99.578 | 22.9 | 5.95
384 | 20/04/2015 | 11:00:00 a.m. | 1062870 | 386490 | 7.8755 | 0 | 99.925 | 21.3 | 5.94
383 | 20/04/2015 | 10:00:00 a.m. | 1062804 | 386482 | 7.9553 | 0 | 99.961 | 19.6 | 5.93
382 | 20/04/2015 | 9:00:00 a.m. | 1062734 | 386473 | 8.0013 | 0 | 99.842 | 15.4 | 5.93
381 | 20/04/2015 | 8:00:00 a.m. | 1062633 | 386460 | 8.4371 | 0 | 100.443 | 5.6 | 5.92
380 | 20/04/2015 | 7:00:00 a.m. | 1062633 | 386460 | 8.4306 | 0 | 100.531 | 6.9 | 5.92
379 | 20/04/2015 | 6:00:00 a.m. | 1062633 | 386460 | 8.3832 | 0 | 100.653 | 8.9 | 5.92
378 | 20/04/2015 | 5:00:00 a.m. | 1062633 | 386460 | 8.2951 | 0 | 100.454 | 14.5 | 5.92
377 | 20/04/2015 | 4:00:00 a.m. | 1062598 | 386456 | 8.1238 | 0 | 100.172 | 17.1 | 5.92
376 | 20/04/2015 | 3:00:00 a.m. | 1062517 | 386446 | 8.112 | 0 | 100.111 | 17.3 | 5.93
375 | 20/04/2015 | 2:00:00 a.m. | 1062436 | 386436 | 8.003 | 0 | 100.033 | 17.5 | 5.92
374 | 20/04/2015 | 1:00:00 a.m. | 1062349 | 386425 | 8.0342 | 0 | 100.07 | 12.6 | 5.93
373 | 20/04/2015 | 12:00:00 a.m. | 1062301 | 386419 | 8.24 | 0 | 100.436 | 12.3 | 5.93
372 | 19/04/2015 | 11:00:00 p.m. | 1062300 | 386419 | 8.236 | 0 | 100.39 | 14.5 | 5.93
371 | 19/04/2015 | 10:00:00 p.m. | 1062300 | 386419 | 8.1414 | 0 | 100.235 | 16.4 | 5.93
370 | 19/04/2015 | 9:00:00 p.m. | 1062299 | 386419 | 8.0667 | 0 | 100.1 | 18.7 | 5.94
369 | 19/04/2015 | 8:00:00 p.m. | 1062299 | 386419 | 7.9828 | 0 | 99.958 | 22.8 | 5.94
368 | 19/04/2015 | 7:00:00 p.m. | 1062299 | 386419 | 7.7701 | 0 | 99.961 | 27.4 | 5.95
367 | 19/04/2015 | 6:00:00 p.m. | 1062299 | 386419 | 7.7878 | 0 | 99.948 | 27.9 | 5.95
366 | 19/04/2015 | 5:00:00 p.m. | 1062285 | 386417 | 7.7344 | 0 | 99.952 | 28.9 | 5.95
365 | 19/04/2015 | 4:00:00 p.m. | 1062285 | 386417 | 7.7051 | 0 | 99.844 | 30.8 | 5.95
364 | 19/04/2015 | 3:00:00 p.m. | 1062285 | 386417 | 7.6957 | 0 | 99.865 | 30.6 | 5.95
363 | 19/04/2015 | 2:00:00 p.m. | 1062285 | 386417 | 7.6379 | 0 | 99.712 | 31.1 | 5.95
362 | 19/04/2015 | 1:00:00 p.m. | 1062285 | 386417 | 7.6609 | 0 | 100.155 | 30.3 | 5.95
361 | 19/04/2015 | 12:00:00 p.m. | 1062285 | 386417 | 7.6793 | 0 | 99.992 | 26.3 | 5.95
360 | 19/04/2015 | 11:00:00 a.m. | 1062258 | 386413 | 7.7838 | 0 | 100.137 | 23.6 | 5.94
359 | 19/04/2015 | 10:00:00 a.m. | 1062258 | 386413 | 7.9606 | 0 | 100.435 | 16.7 | 5.93
358 | 19/04/2015 | 9:00:00 a.m. | 1062258 | 386413 | 8.1887 | 0 | 100.558 | 8.9 | 5.93
357 | 19/04/2015 | 8:00:00 a.m. | 1062257 | 386413 | 8.4459 | 0 | 100.659 | 5.7 | 5.92
356 | 19/04/2015 | 7:00:00 a.m. | 1062256 | 386413 | 8.4668 | 0 | 100.968 | 6.4 | 5.92
355 | 19/04/2015 | 6:00:00 a.m. | 1062256 | 386413 | 8.4233 | 0 | 101.099 | 6.5 | 5.92
354 | 19/04/2015 | 5:00:00 a.m. | 1062255 | 386413 | 8.4248 | 0 | 100.966 | 7.2 | 5.92
353 | 19/04/2015 | 4:00:00 a.m. | 1062255 | 386413 | 8.4157 | 0 | 101.047 | 7.8 | 5.92
352 | 19/04/2015 | 3:00:00 a.m. | 1062254 | 386413 | 8.3711 | 0 | 101.651 | 8.4 | 5.93
351 | 19/04/2015 | 2:00:00 a.m. | 1062253 | 386413 | 8.3977 | 0 | 101.117 | 9.1 | 5.93
350 | 19/04/2015 | 1:00:00 a.m. | 1062252 | 386413 | 8.3869 | 0 | 101.474 | 10.5 | 5.93
349 | 19/04/2015 | 12:00:00 a.m. | 1062252 | 386413 | 8.3838 | 0 | 101.637 | 12.8 | 5.93
348 | 18/04/2015 | 11:00:00 p.m. | 1062252 | 386413 | 8.2182 | 0 | 101.416 | 16.6 | 5.93
347 | 18/04/2015 | 10:00:00 p.m. | 1062244 | 386412 | 8.1245 | 0 | 101.511 | 17.9 | 5.93
346 | 18/04/2015 | 9:00:00 p.m. | 1062213 | 386408 | 8.0965 | 0 | 101.413 | 19.1 | 5.94
345 | 18/04/2015 | 8:00:00 p.m. | 1062213 | 386408 | 8.0442 | 0 | 101.247 | 23.7 | 5.94
344 | 18/04/2015 | 7:00:00 p.m. | 1062213 | 386408 | 7.8343 | 0 | 100.704 | 29 | 5.95
343 | 18/04/2015 | 6:00:00 p.m. | 1062213 | 386408 | 7.7408 | 0 | 101.23 | 30.9 | 5.95
342 | 18/04/2015 | 5:00:00 p.m. | 1062213 | 386408 | 7.7156 | 0 | 101.154 | 31.8 | 5.95
341 | 18/04/2015 | 4:00:00 p.m. | 1062213 | 386408 | 7.7558 | 0 | 100.899 | 31 | 5.95
340 | 18/04/2015 | 3:00:00 p.m. | 1062213 | 386408 | 7.6283 | 0 | 100.69 | 31.8 | 5.95
339 | 18/04/2015 | 2:00:00 p.m. | 1062213 | 386408 | 7.7005 | 0 | 100.258 | 26.1 | 5.95
338 | 18/04/2015 | 1:00:00 p.m. | 1062199 | 386406 | 7.9009 | 0 | 100.059 | 22.4 | 5.95
337 | 18/04/2015 | 12:00:00 p.m. | 1062140 | 386399 | 7.8862 | 0 | 99.967 | 21.6 | 5.94
336 | 18/04/2015 | 11:00:00 a.m. | 1062073 | 386390 | 7.9328 | 0 | 100.197 | 20.7 | 5.94
335 | 18/04/2015 | 10:00:00 a.m. | 1062039 | 386386 | 7.9958 | 0 | 100.057 | 16.4 | 5.93
334 | 18/04/2015 | 9:00:00 a.m. | 1061989 | 386380 | 8.1971 | 0 | 100.319 | 8.4 | 5.93
333 | 18/04/2015 | 8:00:00 a.m. | 1061989 | 386380 | 8.4922 | 0 | 100.868 | 6.2 | 5.92
332 | 18/04/2015 | 7:00:00 a.m. | 1061989 | 386380 | 8.4386 | 0 | 101.017 | 6.8 | 5.92
331 | 18/04/2015 | 6:00:00 a.m. | 1061988 | 386379 | 8.4712 | 0 | 100.867 | 7.2 | 5.92
330 | 18/04/2015 | 5:00:00 a.m. | 1061988 | 386379 | 8.4082 | 0 | 100.949 | 8 | 5.92
329 | 18/04/2015 | 4:00:00 a.m. | 1061988 | 386379 | 8.3778 | 0 | 101.031 | 9.3 | 5.93
328 | 18/04/2015 | 3:00:00 a.m. | 1061988 | 386379 | 8.2998 | 0 | 100.619 | 13.8 | 5.93
327 | 18/04/2015 | 2:00:00 a.m. | 1061969 | 386377 | 8.0517 | 0 | 100.351 | 14.6 | 5.93
326 | 18/04/2015 | 1:00:00 a.m. | 1061904 | 386369 | 8.2827 | 0 | 100.742 | 11.5 | 5.93
325 | 18/04/2015 | 12:00:00 a.m. | 1061904 | 386369 | 8.2463 | 0 | 100.875 | 12.9 | 5.93
324 | 17/04/2015 | 11:00:00 p.m. | 1061904 | 386369 | 8.2124 | 0 | 101.092 | 14.9 | 5.93
323 | 17/04/2015 | 10:00:00 p.m. | 1061903 | 386369 | 8.1752 | 0 | 101.188 | 16.8 | 5.93
322 | 17/04/2015 | 9:00:00 p.m. | 1061903 | 386369 | 8.0782 | 0 | 100.633 | 19.3 | 5.94
321 | 17/04/2015 | 8:00:00 p.m. | 1061847 | 386362 | 7.9599 | 0 | 100.673 | 23.9 | 5.95
320 | 17/04/2015 | 7:00:00 p.m. | 1061818 | 386358 | 7.824 | 0 | 100.725 | 30.2 | 5.95
319 | 17/04/2015 | 6:00:00 p.m. | 1061818 | 386358 | 7.6867 | 0 | 100.546 | 29.9 | 5.95
318 | 17/04/2015 | 5:00:00 p.m. | 1061818 | 386358 | 7.7844 | 0 | 99.932 | 24.9 | 5.95
317 | 17/04/2015 | 4:00:00 p.m. | 1061774 | 386353 | 7.5771 | 0 | 99.953 | 32.8 | 5.95
316 | 17/04/2015 | 3:00:00 p.m. | 1061772 | 386352 | 7.5874 | 0 | 100.247 | 34.1 | 5.95
315 | 17/04/2015 | 2:00:00 p.m. | 1061772 | 386352 | 7.6075 | 0 | 100.199 | 30.2 | 5.95
314 | 17/04/2015 | 1:00:00 p.m. | 1061767 | 386352 | 7.8779 | 0 | 99.496 | 30.2 | 5.95
313 | 17/04/2015 | 12:00:00 p.m. | 1061736 | 386348 | 7.6057 | 0 | 99.142 | 29.2 | 5.95
312 | 17/04/2015 | 11:00:00 a.m. | 1061736 | 386348 | 7.6947 | 0 | 99.267 | 23.7 | 5.94
311 | 17/04/2015 | 10:00:00 a.m. | 1061736 | 386348 | 7.9473 | 0 | 99.519 | 19.2 | 5.93
310 | 17/04/2015 | 9:00:00 a.m. | 1061677 | 386340 | 7.9787 | 0 | 99.905 | 16.9 | 5.92
309 | 17/04/2015 | 8:00:00 a.m. | 1061616 | 386333 | 8.0956 | 0 | 99.996 | 11.4 | 5.92
308 | 17/04/2015 | 7:00:00 a.m. | 1061560 | 386326 | 8.4715 | 0 | 100.455 | 4.3 | 5.92
307 | 17/04/2015 | 6:00:00 a.m. | 1061560 | 386326 | 8.4734 | 0 | 100.285 | 5.5 | 5.92
306 | 17/04/2015 | 5:00:00 a.m. | 1061560 | 386326 | 8.4364 | 0 | 100.219 | 7.3 | 5.92
305 | 17/04/2015 | 4:00:00 a.m. | 1061560 | 386326 | 8.3141 | 0 | 100.386 | 9.8 | 5.92
304 | 17/04/2015 | 3:00:00 a.m. | 1061560 | 386326 | 8.238 | 0 | 100.598 | 15.5 | 5.93
303 | 17/04/2015 | 2:00:00 a.m. | 1061517 | 386320 | 8.0485 | 0 | 100.261 | 17.2 | 5.93
302 | 17/04/2015 | 1:00:00 a.m. | 1061442 | 386311 | 8.047 | 0 | 100.265 | 17.6 | 5.93
301 | 17/04/2015 | 12:00:00 a.m. | 1061365 | 386302 | 8.0099 | 0 | 99.986 | 18 | 5.93
300 | 16/04/2015 | 11:00:00 p.m. | 1061285 | 386292 | 8.0207 | 0 | 99.779 | 18.5 | 5.93
299 | 16/04/2015 | 10:00:00 p.m. | 1061208 | 386282 | 7.9615 | 0 | 100.025 | 17.9 | 5.93
298 | 16/04/2015 | 9:00:00 p.m. | 1061148 | 386275 | 8.0411 | 0 | 99.881 | 19.2 | 5.94
297 | 16/04/2015 | 8:00:00 p.m. | 1061148 | 386275 | 7.9012 | 0 | 99.933 | 23.9 | 5.95
296 | 16/04/2015 | 7:00:00 p.m. | 1061148 | 386274 | 7.6769 | 0 | 99.458 | 29.7 | 5.96
295 | 16/04/2015 | 6:00:00 p.m. | 1061148 | 386274 | 7.6233 | 0 | 99.697 | 29.7 | 5.96
294 | 16/04/2015 | 5:00:00 p.m. | 1061145 | 386274 | 7.7919 | 0 | 98.949 | 23.6 | 5.95
293 | 16/04/2015 | 4:00:00 p.m. | 1061061 | 386263 | 7.7571 | 0 | 99.015 | 27.7 | 5.95
292 | 16/04/2015 | 3:00:00 p.m. | 1061005 | 386256 | 7.563 | 0 | 99.324 | 32.3 | 5.95
291 | 16/04/2015 | 2:00:00 p.m. | 1061005 | 386256 | 7.6276 | 0 | 99.259 | 26.4 | 5.95
290 | 16/04/2015 | 1:00:00 p.m. | 1060981 | 386253 | 7.842 | 0 | 99.279 | 22.9 | 5.95
289 | 16/04/2015 | 12:00:00 p.m. | 1060904 | 386243 | 7.8212 | 0 | 98.961 | 23.5 | 5.94
288 | 16/04/2015 | 11:00:00 a.m. | 1060834 | 386234 | 7.7428 | 0 | 99.4 | 22.9 | 5.94
287 | 16/04/2015 | 10:00:00 a.m. | 1060834 | 386234 | 7.9465 | 0 | 99.518 | 16.2 | 5.93
286 | 16/04/2015 | 9:00:00 a.m. | 1060834 | 386234 | 8.178 | 0 | 99.884 | 16.3 | 5.92
285 | 16/04/2015 | 8:00:00 a.m. | 1060783 | 386228 | 8.0041 | 0 | 99.321 | 16.5 | 5.91
284 | 16/04/2015 | 7:00:00 a.m. | 1060691 | 386216 | 7.9639 | 0 | 99.986 | 15.2 | 5.91
283 | 16/04/2015 | 6:00:00 a.m. | 1060621 | 386208 | 8.0369 | 0 | 99.484 | 16 | 5.91
282 | 16/04/2015 | 5:00:00 a.m. | 1060538 | 386197 | 8.0117 | 0 | 99.729 | 7.7 | 5.92
281 | 16/04/2015 | 4:00:00 a.m. | 1060501 | 386193 | 8.4123 | 0 | 99.981 | 5.2 | 5.92
280 | 16/04/2015 | 3:00:00 a.m. | 1060501 | 386193 | 8.3557 | 0 | 99.905 | 7.1 | 5.92
279 | 16/04/2015 | 2:00:00 a.m. | 1060501 | 386193 | 8.3623 | 0 | 99.784 | 13.6 | 5.92
278 | 16/04/2015 | 1:00:00 a.m. | 1060468 | 386189 | 8.0674 | 0 | 99.512 | 16.8 | 5.92
277 | 16/04/2015 | 12:00:00 a.m. | 1060392 | 386179 | 8.0721 | 0 | 99.511 | 12 | 5.93
276 | 15/04/2015 | 11:00:00 p.m. | 1060354 | 386174 | 8.1975 | 0 | 99.56 | 11.6 | 5.93
275 | 15/04/2015 | 10:00:00 p.m. | 1060354 | 386174 | 8.0932 | 0 | 99.75 | 15 | 5.93
274 | 15/04/2015 | 9:00:00 p.m. | 1060354 | 386174 | 8.0415 | 0 | 99.838 | 18.5 | 5.93
273 | 15/04/2015 | 8:00:00 p.m. | 1060318 | 386170 | 7.9497 | 0 | 99.425 | 20.1 | 5.94
272 | 15/04/2015 | 7:00:00 p.m. | 1060206 | 386156 | 7.9149 | 0 | 98.958 | 21.4 | 5.95
271 | 15/04/2015 | 6:00:00 p.m. | 1060083 | 386140 | 7.8368 | 0 | 99.179 | 22.6 | 5.95
270 | 15/04/2015 | 5:00:00 p.m. | 1059998 | 386129 | 7.8077 | 0 | 99.136 | 23.2 | 5.95
269 | 15/04/2015 | 4:00:00 p.m. | 1059922 | 386120 | 7.7959 | 0 | 98.746 | 23 | 5.95
268 | 15/04/2015 | 3:00:00 p.m. | 1059837 | 386109 | 7.7246 | 0 | 98.042 | 24.8 | 5.95
267 | 15/04/2015 | 2:00:00 p.m. | 1059805 | 386104 | 7.7491 | 0 | 98.206 | 24.9 | 5.95
266 | 15/04/2015 | 1:00:00 p.m. | 1059778 | 386101 | 7.6982 | 0 | 98.51 | 28.7 | 5.95
265 | 15/04/2015 | 12:00:00 p.m. | 1059760 | 386099 | 7.539 | 0 | 101.535 | 28.5 | 5.94
264 | 15/04/2015 | 11:00:00 a.m. | 1059760 | 386099 | 7.9203 | 0 | 102.151 | 23 | 5.94
263 | 15/04/2015 | 10:00:00 a.m. | 1059760 | 386099 | 8.115 | 0 | 102.362 | 16.3 | 5.93
262 | 15/04/2015 | 9:00:00 a.m. | 1059760 | 386099 | 8.3119 | 0 | 102.726 | 16.2 | 5.92
261 | 15/04/2015 | 8:00:00 a.m. | 1059712 | 386093 | 8.2582 | 0 | 102.967 | 10.2 | 5.92
260 | 15/04/2015 | 7:00:00 a.m. | 1059668 | 386088 | 8.5965 | 0 | 103.215 | 10 | 5.92
259 | 15/04/2015 | 6:00:00 a.m. | 1059660 | 386087 | 8.2647 | 0 | 102.745 | 11.8 | 5.92
258 | 15/04/2015 | 5:00:00 a.m. | 1059596 | 386079 | 8.6711 | 0 | 102.92 | 4.7 | 5.92
257 | 15/04/2015 | 4:00:00 a.m. | 1059596 | 386079 | 8.5974 | 0 | 103.043 | 5.9 | 5.92
256 | 15/04/2015 | 3:00:00 a.m. | 1059596 | 386079 | 8.5678 | 0 | 103.008 | 8.4 | 5.92
255 | 15/04/2015 | 2:00:00 a.m. | 1059596 | 386079 | 8.4851 | 0 | 102.749 | 15.3 | 5.92
254 | 15/04/2015 | 1:00:00 a.m. | 1059551 | 386073 | 8.2597 | 0 | 102.414 | 17 | 5.93
253 | 15/04/2015 | 12:00:00 a.m. | 1059472 | 386064 | 8.2842 | 0 | 102.535 | 16 | 5.93
252 | 14/04/2015 | 11:00:00 p.m. | 1059439 | 386060 | 8.275 | 0 | 102.619 | 17 | 5.93
251 | 14/04/2015 | 10:00:00 p.m. | 1059406 | 386056 | 8.2357 | 0 | 102.689 | 18.1 | 5.93
250 | 14/04/2015 | 9:00:00 p.m. | 1059372 | 386052 | 8.2041 | 0 | 102.64 | 18.8 | 5.93
249 | 14/04/2015 | 8:00:00 p.m. | 1059335 | 386047 | 8.1755 | 0 | 102.59 | 20.1 | 5.94
248 | 14/04/2015 | 7:00:00 p.m. | 1059293 | 386042 | 8.112 | 0 | 102.346 | 21.9 | 5.95
247 | 14/04/2015 | 6:00:00 p.m. | 1059231 | 386034 | 8.059 | 0 | 102.301 | 22.7 | 5.95
246 | 14/04/2015 | 5:00:00 p.m. | 1059161 | 386026 | 8.0225 | 0 | 101.799 | 27.2 | 5.95
245 | 14/04/2015 | 4:00:00 p.m. | 1059096 | 386017 | 7.7661 | 0 | 101.957 | 31.9 | 5.95
244 | 14/04/2015 | 3:00:00 p.m. | 1059096 | 386017 | 7.7754 | 0 | 102.141 | 31.7 | 5.95
243 | 14/04/2015 | 2:00:00 p.m. | 1059096 | 386017 | 7.8354 | 0 | 102.07 | 32.3 | 5.94
242 | 14/04/2015 | 1:00:00 p.m. | 1059096 | 386017 | 7.7636 | 0 | 102.178 | 30.2 | 5.94
241 | 14/04/2015 | 12:00:00 p.m. | 1059096 | 386017 | 7.9206 | 0 | 102.256 | 25.1 | 5.94
240 | 14/04/2015 | 11:00:00 a.m. | 1059096 | 386017 | 8.023 | 0 | 102.308 | 22.6 | 5.94
239 | 14/04/2015 | 10:00:00 a.m. | 1059093 | 386017 | 8.1599 | 0 | 101.959 | 19.1 | 5.93
238 | 14/04/2015 | 9:00:00 a.m. | 1059015 | 386008 | 8.1721 | 0 | 102.267 | 17.9 | 5.93
237 | 14/04/2015 | 8:00:00 a.m. | 1058940 | 385998 | 8.2595 | 0 | 102.652 | 16.7 | 5.92
236 | 14/04/2015 | 7:00:00 a.m. | 1058866 | 385989 | 8.2248 | 0 | 102.618 | 16.6 | 5.92
235 | 14/04/2015 | 6:00:00 a.m. | 1058792 | 385980 | 8.2287 | 0 | 102.619 | 17 | 5.92
234 | 14/04/2015 | 5:00:00 a.m. | 1058706 | 385970 | 8.2444 | 0 | 102.455 | 15.3 | 5.92
233 | 14/04/2015 | 4:00:00 a.m. | 1058606 | 385958 | 8.5819 | 0 | 102.913 | 6.7 | 5.92
232 | 14/04/2015 | 3:00:00 a.m. | 1058605 | 385958 | 8.572 | 0 | 102.878 | 7 | 5.92
231 | 14/04/2015 | 2:00:00 a.m. | 1058604 | 385958 | 8.572 | 0 | 102.789 | 7.4 | 5.92
230 | 14/04/2015 | 1:00:00 a.m. | 1058603 | 385957 | 8.5797 | 0 | 102.806 | 8.4 | 5.92
229 | 14/04/2015 | 12:00:00 a.m. | 1058603 | 385957 | 8.4901 | 0 | 102.887 | 9.7 | 5.93
228 | 13/04/2015 | 11:00:00 p.m. | 1058602 | 385957 | 8.4435 | 0 | 102.922 | 11.4 | 5.93
227 | 13/04/2015 | 10:00:00 p.m. | 1058602 | 385957 | 8.3716 | 0 | 102.733 | 14.1 | 5.93
226 | 13/04/2015 | 9:00:00 p.m. | 1058601 | 385957 | 8.2696 | 0 | 102.564 | 17.1 | 5.93
225 | 13/04/2015 | 8:00:00 p.m. | 1058601 | 385957 | 8.1884 | 0 | 102.449 | 20.3 | 5.94
224 | 13/04/2015 | 7:00:00 p.m. | 1058601 | 385957 | 8.0858 | 0 | 102.472 | 24.1 | 5.94
223 | 13/04/2015 | 6:00:00 p.m. | 1058601 | 385957 | 8.0156 | 0 | 102.487 | 24.1 | 5.94
222 | 13/04/2015 | 5:00:00 p.m. | 1058601 | 385957 | 7.9847 | 0 | 102.268 | 24.6 | 5.94
221 | 13/04/2015 | 4:00:00 p.m. | 1058601 | 385957 | 7.9873 | 0 | 102.158 | 21.4 | 5.94
220 | 13/04/2015 | 3:00:00 p.m. | 1058530 | 385948 | 8.0673 | 0 | 102.149 | 21 | 5.94
219 | 13/04/2015 | 2:00:00 p.m. | 1058448 | 385938 | 8.0921 | 0 | 102.106 | 21 | 5.94
218 | 13/04/2015 | 1:00:00 p.m. | 1058369 | 385928 | 8.1235 | 0 | 102.047 | 24.3 | 5.94
217 | 13/04/2015 | 12:00:00 p.m. | 1058323 | 385923 | 7.9882 | 0 | 102.404 | 25.4 | 5.94
216 | 13/04/2015 | 11:00:00 a.m. | 1058323 | 385923 | 7.9723 | 0 | 102.254 | 21.6 | 5.94
215 | 13/04/2015 | 10:00:00 a.m. | 1058323 | 385923 | 8.1477 | 0 | 102.509 | 16.1 | 5.93
214 | 13/04/2015 | 9:00:00 a.m. | 1058323 | 385923 | 8.3134 | 0 | 102.817 | 16.2 | 5.93
213 | 13/04/2015 | 8:00:00 a.m. | 1058289 | 385919 | 8.2614 | 0 | 102.755 | 17.2 | 5.92
212 | 13/04/2015 | 7:00:00 a.m. | 1058218 | 385910 | 8.2422 | 0 | 102.637 | 17.3 | 5.92
211 | 13/04/2015 | 6:00:00 a.m. | 1058140 | 385901 | 8.1763 | 0 | 102.752 | 17 | 5.92
210 | 13/04/2015 | 5:00:00 a.m. | 1058067 | 385892 | 8.2453 | 0 | 102.792 | 17 | 5.92
209 | 13/04/2015 | 4:00:00 a.m. | 1057996 | 385883 | 8.2321 | 0 | 102.793 | 17.2 | 5.93
208 | 13/04/2015 | 3:00:00 a.m. | 1057921 | 385874 | 8.2418 | 0 | 102.721 | 17.6 | 5.93
207 | 13/04/2015 | 2:00:00 a.m. | 1057837 | 385864 | 8.2287 | 0 | 102.639 | 13.7 | 5.93
206 | 13/04/2015 | 1:00:00 a.m. | 1057782 | 385857 | 8.4112 | 0 | 102.79 | 12.4 | 5.93
205 | 13/04/2015 | 12:00:00 a.m. | 1057781 | 385857 | 8.3696 | 0 | 102.78 | 13.7 | 5.93
204 | 12/04/2015 | 11:00:00 p.m. | 1057781 | 385857 | 8.3624 | 0 | 102.84 | 14.7 | 5.93
203 | 12/04/2015 | 10:00:00 p.m. | 1057781 | 385857 | 8.3471 | 0 | 102.801 | 15.4 | 5.93
202 | 12/04/2015 | 9:00:00 p.m. | 1057781 | 385857 | 8.3152 | 0 | 102.874 | 17.7 | 5.93
201 | 12/04/2015 | 8:00:00 p.m. | 1057781 | 385857 | 8.207 | 0 | 102.727 | 21.1 | 5.94
200 | 12/04/2015 | 7:00:00 p.m. | 1057780 | 385857 | 8.0524 | 0 | 102.597 | 24.6 | 5.94
199 | 12/04/2015 | 6:00:00 p.m. | 1057780 | 385857 | 8.0284 | 0 | 102.678 | 23.5 | 5.94
198 | 12/04/2015 | 5:00:00 p.m. | 1057780 | 385857 | 8.0981 | 0 | 102.606 | 24.7 | 5.94
197 | 12/04/2015 | 4:00:00 p.m. | 1057766 | 385855 | 7.9913 | 0 | 102.755 | 26.1 | 5.94
196 | 12/04/2015 | 3:00:00 p.m. | 1057766 | 385855 | 7.9856 | 0 | 102.75 | 26.3 | 5.94
195 | 12/04/2015 | 2:00:00 p.m. | 1057766 | 385855 | 7.9698 | 0 | 102.617 | 26.5 | 5.95
194 | 12/04/2015 | 1:00:00 p.m. | 1057765 | 385855 | 8.0143 | 0 | 102.774 | 25.5 | 5.94
193 | 12/04/2015 | 12:00:00 p.m. | 1057765 | 385855 | 7.9713 | 0 | 102.771 | 25.1 | 5.94
192 | 12/04/2015 | 11:00:00 a.m. | 1057765 | 385855 | 8.1545 | 0 | 102.917 | 20.8 | 5.94
191 | 12/04/2015 | 10:00:00 a.m. | 1057736 | 385851 | 8.2541 | 0 | 103.445 | 15.7 | 5.93
190 | 12/04/2015 | 9:00:00 a.m. | 1057736 | 385851 | 8.4186 | 0 | 103.518 | 11.3 | 5.93
189 | 12/04/2015 | 8:00:00 a.m. | 1057735 | 385851 | 8.5258 | 0 | 103.46 | 9.6 | 5.93
188 | 12/04/2015 | 7:00:00 a.m. | 1057735 | 385851 | 8.5032 | 0 | 103.682 | 10 | 5.93
187 | 12/04/2015 | 6:00:00 a.m. | 1057735 | 385851 | 8.5061 | 0 | 103.713 | 9.2 | 5.93
186 | 12/04/2015 | 5:00:00 a.m. | 1057734 | 385851 | 8.5559 | 0 | 103.636 | 8.9 | 5.93
185 | 12/04/2015 | 4:00:00 a.m. | 1057734 | 385851 | 8.5476 | 0 | 103.663 | 9.3 | 5.93
184 | 12/04/2015 | 3:00:00 a.m. | 1057733 | 385851 | 8.5177 | 0 | 103.679 | 10.1 | 5.93
183 | 12/04/2015 | 2:00:00 a.m. | 1057733 | 385851 | 8.4981 | 0 | 103.516 | 10.9 | 5.93
182 | 12/04/2015 | 1:00:00 a.m. | 1057733 | 385851 | 8.6074 | 0 | 102.189 | 11 | 5.93
181 | 12/04/2015 | 12:00:00 a.m. | 1057732 | 385851 | 8.3244 | 0 | 101.184 | 12.1 | 5.93
180 | 11/04/2015 | 11:00:00 p.m. | 1057732 | 385851 | 8.1273 | 0 | 99.937 | 14.1 | 5.93
179 | 11/04/2015 | 10:00:00 p.m. | 1057732 | 385851 | 8.0843 | 0 | 99.67 | 16.1 | 5.93
178 | 11/04/2015 | 9:00:00 p.m. | 1057726 | 385850 | 7.8135 | 0 | 98.396 | 17.4 | 5.93
177 | 11/04/2015 | 8:00:00 p.m. | 1057697 | 385846 | 7.8512 | 0 | 96.868 | 18.3 | 5.94
176 | 11/04/2015 | 7:00:00 p.m. | 1057695 | 385846 | 7.5482 | 0 | 93.719 | 19.2 | 5.94
175 | 11/04/2015 | 6:00:00 p.m. | 1057670 | 385843 | 7.4405 | 0 | 90.009 | 17.8 | 5.94
174 | 11/04/2015 | 5:00:00 p.m. | 1057668 | 385843 | 7.2342 | 0 | 95.485 | 21.5 | 5.94
173 | 11/04/2015 | 4:00:00 p.m. | 1057668 | 385843 | 7.8913 | 0 | 101.133 | 24.5 | 5.95
172 | 11/04/2015 | 3:00:00 p.m. | 1057668 | 385843 | 8.0355 | 0 | 99.199 | 22 | 5.95
171 | 11/04/2015 | 2:00:00 p.m. | 1057608 | 385835 | 7.6651 | 0 | 96.529 | 27.4 | 5.95
170 | 11/04/2015 | 1:00:00 p.m. | 1057579 | 385831 | 7.3171 | 0 | 97.556 | 27.6 | 5.95
169 | 11/04/2015 | 12:00:00 p.m. | 1057579 | 385831 | 7.5896 | 0 | 99.265 | 28.3 | 5.95
168 | 11/04/2015 | 11:00:00 a.m. | 1057575 | 385831 | 7.6498 | 0 | 99.553 | 23.1 | 5.94
167 | 11/04/2015 | 10:00:00 a.m. | 1057575 | 385831 | 7.8857 | 0 | 100.704 | 18 | 5.93
166 | 11/04/2015 | 9:00:00 a.m. | 1057519 | 385824 | 8.2068 | 0 | 101.05 | 12.8 | 5.93
165 | 11/04/2015 | 8:00:00 a.m. | 1057519 | 385824 | 8.2601 | 0 | 100.931 | 15.8 | 5.93
164 | 11/04/2015 | 7:00:00 a.m. | 1057480 | 385819 | 8.1153 | 0 | 101.279 | 17.4 | 5.93
163 | 11/04/2015 | 6:00:00 a.m. | 1057407 | 385810 | 8.1829 | 0 | 101.411 | 17.5 | 5.93
162 | 11/04/2015 | 5:00:00 a.m. | 1057332 | 385801 | 8.1484 | 0 | 101.433 | 17.6 | 5.93
161 | 11/04/2015 | 4:00:00 a.m. | 1057258 | 385791 | 8.105 | 0 | 101.719 | 17.9 | 5.93
160 | 11/04/2015 | 3:00:00 a.m. | 1057184 | 385782 | 8.1933 | 0 | 99.426 | 17.8 | 5.93
159 | 11/04/2015 | 2:00:00 a.m. | 1057108 | 385773 | 8.0109 | 0 | 99.227 | 17.9 | 5.93
158 | 11/04/2015 | 1:00:00 a.m. | 1057031 | 385763 | 7.9937 | 0 | 99.519 | 16.1 | 5.93
157 | 11/04/2015 | 12:00:00 a.m. | 1056984 | 385757 | 8.109 | 0 | 99.463 | 15 | 5.93
156 | 10/04/2015 | 11:00:00 p.m. | 1056983 | 385757 | 8.0224 | 0 | 99.616 | 15.9 | 5.93
155 | 10/04/2015 | 10:00:00 p.m. | 1056983 | 385757 | 8.0542 | 0 | 99.864 | 16.9 | 5.94
154 | 10/04/2015 | 9:00:00 p.m. | 1056983 | 385757 | 8.0064 | 0 | 99.997 | 18.8 | 5.94
153 | 10/04/2015 | 8:00:00 p.m. | 1056979 | 385757 | 7.9771 | 0 | 100.055 | 20.4 | 5.95
152 | 10/04/2015 | 7:00:00 p.m. | 1056926 | 385750 | 7.9195 | 0 | 100.068 | 21.8 | 5.95
151 | 10/04/2015 | 6:00:00 p.m. | 1056855 | 385741 | 7.8947 | 0 | 100.085 | 23.8 | 5.96
150 | 10/04/2015 | 5:00:00 p.m. | 1056798 | 385734 | 7.8285 | 0 | 99.813 | 25.3 | 5.96
149 | 10/04/2015 | 4:00:00 p.m. | 1056749 | 385728 | 7.5857 | 0 | 99.931 | 32.6 | 5.96
148 | 10/04/2015 | 3:00:00 p.m. | 1056749 | 385728 | 7.6549 | 0 | 99.91 | 29.8 | 5.95
147 | 10/04/2015 | 2:00:00 p.m. | 1056748 | 385727 | 7.8125 | 0 | 99.837 | 22.8 | 5.95
146 | 10/04/2015 | 1:00:00 p.m. | 1056689 | 385720 | 7.8732 | 0 | 99.905 | 24 | 5.95
145 | 10/04/2015 | 12:00:00 p.m. | 1056619 | 385711 | 7.7212 | 0 | 100.037 | 25.7 | 5.95
144 | 10/04/2015 | 11:00:00 a.m. | 1056597 | 385708 | 7.8162 | 0 | 100.176 | 22.6 | 5.94
143 | 10/04/2015 | 10:00:00 a.m. | 1056597 | 385708 | 8.022 | 0 | 100.451 | 15.1 | 5.93
142 | 10/04/2015 | 9:00:00 a.m. | 1056597 | 385708 | 8.2286 | 0 | 100.633 | 9.6 | 5.93
141 | 10/04/2015 | 8:00:00 a.m. | 1056597 | 385708 | 8.4267 | 0 | 100.763 | 6.6 | 5.92
140 | 10/04/2015 | 7:00:00 a.m. | 1056597 | 385708 | 8.4235 | 0 | 100.743 | 7 | 5.92
139 | 10/04/2015 | 6:00:00 a.m. | 1056597 | 385708 | 8.3948 | 0 | 100.68 | 8.1 | 5.93
138 | 10/04/2015 | 5:00:00 a.m. | 1056597 | 385708 | 8.3361 | 0 | 100.725 | 9.7 | 5.93
137 | 10/04/2015 | 4:00:00 a.m. | 1056597 | 385708 | 8.2921 | 0 | 100.672 | 14.1 | 5.93
136 | 10/04/2015 | 3:00:00 a.m. | 1056577 | 385706 | 8.0719 | 0 | 100.585 | 17.5 | 5.93
135 | 10/04/2015 | 2:00:00 a.m. | 1056507 | 385697 | 8.0606 | 0 | 100.605 | 17.7 | 5.93
134 | 10/04/2015 | 1:00:00 a.m. | 1056434 | 385688 | 8.0846 | 0 | 100.61 | 17.9 | 5.93
133 | 10/04/2015 | 12:00:00 a.m. | 1056363 | 385679 | 8.0465 | 0 | 100.569 | 18.3 | 5.93
132 | 09/04/2015 | 11:00:00 p.m. | 1056292 | 385670 | 8.0469 | 0 | 100.495 | 18.4 | 5.93
131 | 09/04/2015 | 10:00:00 p.m. | 1056214 | 385661 | 8.0377 | 0 | 100.649 | 18.8 | 5.93
130 | 09/04/2015 | 9:00:00 p.m. | 1056172 | 385655 | 8.0289 | 0 | 100.635 | 19.1 | 5.94
129 | 09/04/2015 | 8:00:00 p.m. | 1056130 | 385650 | 8.0175 | 0 | 100.534 | 19.6 | 5.94
128 | 09/04/2015 | 7:00:00 p.m. | 1056081 | 385644 | 8.0068 | 0 | 100.345 | 20.6 | 5.95
127 | 09/04/2015 | 6:00:00 p.m. | 1056005 | 385635 | 7.9646 | 0 | 100.229 | 21.2 | 5.95
126 | 09/04/2015 | 5:00:00 p.m. | 1055926 | 385625 | 7.9134 | 0 | 100.002 | 21.6 | 5.95
125 | 09/04/2015 | 4:00:00 p.m. | 1055833 | 385613 | 7.9357 | 0 | 99.948 | 21.7 | 5.96
124 | 09/04/2015 | 3:00:00 p.m. | 1055708 | 385597 | 7.8109 | 0 | 100.223 | 29.5 | 5.95
123 | 09/04/2015 | 2:00:00 p.m. | 1055693 | 385595 | 7.8295 | 0 | 100.266 | 32 | 5.95
122 | 09/04/2015 | 1:00:00 p.m. | 1055680 | 385593 | 7.655 | 0 | 100.101 | 32 | 5.95
121 | 09/04/2015 | 12:00:00 p.m. | 1055680 | 385593 | 7.6825 | 0 | 100.152 | 28.7 | 5.95
120 | 09/04/2015 | 11:00:00 a.m. | 1055680 | 385593 | 7.7794 | 0 | 100.315 | 22.5 | 5.94
119 | 09/04/2015 | 10:00:00 a.m. | 1055680 | 385593 | 8.0015 | 0 | 100.437 | 16.6 | 5.93
118 | 09/04/2015 | 9:00:00 a.m. | 1055668 | 385592 | 8.2259 | 0 | 100.713 | 9.3 | 5.93
117 | 09/04/2015 | 8:00:00 a.m. | 1055668 | 385592 | 8.4335 | 0 | 100.953 | 6.4 | 5.92
116 | 09/04/2015 | 7:00:00 a.m. | 1055668 | 385592 | 8.4265 | 0 | 100.957 | 7.1 | 5.92
115 | 09/04/2015 | 6:00:00 a.m. | 1055667 | 385592 | 8.3949 | 0 | 100.942 | 8 | 5.93
114 | 09/04/2015 | 5:00:00 a.m. | 1055667 | 385592 | 8.3671 | 0 | 100.931 | 9.6 | 5.93
113 | 09/04/2015 | 4:00:00 a.m. | 1055667 | 385592 | 8.314 | 0 | 100.934 | 12.7 | 5.93
112 | 09/04/2015 | 3:00:00 a.m. | 1055667 | 385592 | 8.0826 | 0 | 100.764 | 17.5 | 5.93
111 | 09/04/2015 | 2:00:00 a.m. | 1055593 | 385583 | 8.0996 | 0 | 100.741 | 17.5 | 5.93
110 | 09/04/2015 | 1:00:00 a.m. | 1055517 | 385573 | 8.1128 | 0 | 100.78 | 17.6 | 5.93
109 | 09/04/2015 | 12:00:00 a.m. | 1055443 | 385564 | 8.0716 | 0 | 100.786 | 15.7 | 5.93
108 | 08/04/2015 | 11:00:00 p.m. | 1055403 | 385559 | 8.2053 | 0 | 100.87 | 14.4 | 5.93
107 | 08/04/2015 | 10:00:00 p.m. | 1055403 | 385559 | 8.1846 | 0 | 100.849 | 16 | 5.93
106 | 08/04/2015 | 9:00:00 p.m. | 1055403 | 385559 | 8.1047 | 0 | 100.787 | 18 | 5.94
105 | 08/04/2015 | 8:00:00 p.m. | 1055393 | 385558 | 8.0418 | 0 | 100.57 | 19.6 | 5.94
104 | 08/04/2015 | 7:00:00 p.m. | 1055324 | 385549 | 7.9953 | 0 | 100.505 | 20.8 | 5.95
103 | 08/04/2015 | 6:00:00 p.m. | 1055256 | 385541 | 7.9597 | 0 | 100.43 | 22.3 | 5.95
102 | 08/04/2015 | 5:00:00 p.m. | 1055190 | 385532 | 7.9185 | 0 | 100.213 | 22.2 | 5.95
101 | 08/04/2015 | 4:00:00 p.m. | 1055117 | 385523 | 7.8629 | 0 | 100.293 | 31.2 | 5.95
100 | 08/04/2015 | 3:00:00 p.m. | 1055104 | 385522 | 7.624 | 0 | 100.191 | 33.5 | 5.95
99 | 08/04/2015 | 2:00:00 p.m. | 1055104 | 385522 | 7.636 | 0 | 100.192 | 30.7 | 5.95
98 | 08/04/2015 | 1:00:00 p.m. | 1055104 | 385522 | 7.7551 | 0 | 100.133 | 25.3 | 5.95
97 | 08/04/2015 | 12:00:00 p.m. | 1055081 | 385519 | 7.9215 | 0 | 100.232 | 20.9 | 5.94
96 | 08/04/2015 | 11:00:00 a.m. | 1055009 | 385510 | 7.9644 | 0 | 100.326 | 19.8 | 5.93
95 | 08/04/2015 | 10:00:00 a.m. | 1054941 | 385501 | 7.9958 | 0 | 100.393 | 18.2 | 5.93
94 | 08/04/2015 | 9:00:00 a.m. | 1054875 | 385493 | 8.0822 | 0 | 100.714 | 12.3 | 5.92
93 | 08/04/2015 | 8:00:00 a.m. | 1054833 | 385488 | 8.4137 | 0 | 100.957 | 8.9 | 5.92
92 | 08/04/2015 | 7:00:00 a.m. | 1054833 | 385488 | 8.2733 | 0 | 100.873 | 16 | 5.92
91 | 08/04/2015 | 6:00:00 a.m. | 1054771 | 385480 | 8.1084 | 0 | 100.833 | 16.6 | 5.92
90 | 08/04/2015 | 5:00:00 a.m. | 1054693 | 385470 | 8.1305 | 0 | 100.715 | 16.3 | 5.92
89 | 08/04/2015 | 4:00:00 a.m. | 1054585 | 385457 | 8.4344 | 0 | 100.98 | 8 | 5.93
88 | 08/04/2015 | 3:00:00 a.m. | 1054585 | 385457 | 8.3821 | 0 | 100.98 | 9.3 | 5.93
87 | 08/04/2015 | 2:00:00 a.m. | 1054585 | 385457 | 8.3141 | 0 | 100.998 | 12 | 5.93
86 | 08/04/2015 | 1:00:00 a.m. | 1054584 | 385457 | 8.1898 | 0 | 100.779 | 17.3 | 5.93
85 | 08/04/2015 | 12:00:00 a.m. | 1054522 | 385449 | 8.0833 | 0 | 100.725 | 17.7 | 5.93
84 | 07/04/2015 | 11:00:00 p.m. | 1054449 | 385440 | 8.0708 | 0 | 100.8 | 17.9 | 5.93
83 | 07/04/2015 | 10:00:00 p.m. | 1054375 | 385431 | 8.0636 | 0 | 100.721 | 18.2 | 5.93
82 | 07/04/2015 | 9:00:00 p.m. | 1054301 | 385422 | 8.0714 | 0 | 100.676 | 18.7 | 5.94
81 | 07/04/2015 | 8:00:00 p.m. | 1054239 | 385414 | 8.018 | 0 | 100.604 | 20.3 | 5.95
80 | 07/04/2015 | 7:00:00 p.m. | 1054196 | 385409 | 7.9886 | 0 | 100.435 | 21.4 | 5.95
79 | 07/04/2015 | 6:00:00 p.m. | 1054125 | 385400 | 7.9212 | 0 | 100.327 | 24.2 | 5.96
78 | 07/04/2015 | 5:00:00 p.m. | 1054050 | 385391 | 7.6625 | 0 | 100.32 | 30.9 | 5.96
77 | 07/04/2015 | 4:00:00 p.m. | 1054050 | 385391 | 7.7777 | 0 | 100.158 | 23.2 | 5.95
76 | 07/04/2015 | 3:00:00 p.m. | 1053992 | 385383 | 7.8941 | 0 | 100.137 | 22.4 | 5.95
75 | 07/04/2015 | 2:00:00 p.m. | 1053918 | 385374 | 7.9019 | 0 | 100.109 | 22.4 | 5.95
74 | 07/04/2015 | 1:00:00 p.m. | 1053844 | 385364 | 7.8844 | 0 | 100.233 | 30.7 | 5.95
73 | 07/04/2015 | 12:00:00 p.m. | 1053824 | 385362 | 7.7036 | 0 | 100.428 | 28.3 | 5.95
72 | 07/04/2015 | 11:00:00 a.m. | 1053824 | 385362 | 7.8237 | 0 | 100.545 | 23 | 5.94
71 | 07/04/2015 | 10:00:00 a.m. | 1053824 | 385362 | 8.0039 | 0 | 100.505 | 18.8 | 5.93
70 | 07/04/2015 | 9:00:00 a.m. | 1053765 | 385354 | 8.0716 | 0 | 100.759 | 15.8 | 5.93
69 | 07/04/2015 | 8:00:00 a.m. | 1053705 | 385347 | 8.2162 | 0 | 100.834 | 16.2 | 5.92
68 | 07/04/2015 | 7:00:00 a.m. | 1053642 | 385339 | 8.1366 | 0 | 100.879 | 16.4 | 5.92
67 | 07/04/2015 | 6:00:00 a.m. | 1053572 | 385331 | 8.1268 | 0 | 100.831 | 16.7 | 5.92
66 | 07/04/2015 | 5:00:00 a.m. | 1053496 | 385321 | 8.116 | 0 | 100.732 | 16.8 | 5.92
65 | 07/04/2015 | 4:00:00 a.m. | 1053416 | 385312 | 8.1186 | 0 | 100.782 | 16.8 | 5.92
64 | 07/04/2015 | 3:00:00 a.m. | 1053343 | 385303 | 8.1095 | 0 | 100.772 | 17 | 5.93
63 | 07/04/2015 | 2:00:00 a.m. | 1053270 | 385294 | 8.104 | 0 | 100.872 | 17.2 | 5.93
62 | 07/04/2015 | 1:00:00 a.m. | 1053197 | 385284 | 8.0952 | 0 | 100.839 | 17.3 | 5.93
61 | 07/04/2015 | 12:00:00 a.m. | 1053125 | 385276 | 8.0978 | 0 | 100.866 | 17.5 | 5.93
60 | 06/04/2015 | 11:00:00 p.m. | 1053053 | 385267 | 8.0731 | 0 | 100.675 | 18 | 5.93
59 | 06/04/2015 | 10:00:00 p.m. | 1052956 | 385255 | 8.1397 | 0 | 100.921 | 17 | 5.93
58 | 06/04/2015 | 9:00:00 p.m. | 1052955 | 385255 | 8.0979 | 0 | 100.871 | 19 | 5.94
57 | 06/04/2015 | 8:00:00 p.m. | 1052955 | 385255 | 7.9932 | 0 | 100.825 | 23.9 | 5.95
56 | 06/04/2015 | 7:00:00 p.m. | 1052954 | 385254 | 7.8176 | 0 | 100.803 | 27.7 | 5.95
55 | 06/04/2015 | 6:00:00 p.m. | 1052954 | 385254 | 7.8321 | 0 | 100.769 | 25.8 | 5.95
54 | 06/04/2015 | 5:00:00 p.m. | 1052954 | 385254 | 7.8437 | 0 | 100.621 | 28 | 5.95
53 | 06/04/2015 | 4:00:00 p.m. | 1052954 | 385254 | 7.7338 | 0 | 100.297 | 25.7 | 5.95
52 | 06/04/2015 | 3:00:00 p.m. | 1052923 | 385250 | 7.9321 | 0 | 100.267 | 25.6 | 5.95
51 | 06/04/2015 | 2:00:00 p.m. | 1052856 | 385242 | 7.6668 | 0 | 100.455 | 29.4 | 5.95
50 | 06/04/2015 | 1:00:00 p.m. | 1052856 | 385242 | 7.8791 | 0 | 100.178 | 21.3 | 5.95
49 | 06/04/2015 | 12:00:00 p.m. | 1052767 | 385231 | 7.9291 | 0 | 100.327 | 26.4 | 5.94
48 | 06/04/2015 | 11:00:00 a.m. | 1052736 | 385227 | 7.8309 | 0 | 100.491 | 22.8 | 5.94
47 | 06/04/2015 | 10:00:00 a.m. | 1052736 | 385227 | 8.0281 | 0 | 100.598 | 18.5 | 5.93
46 | 06/04/2015 | 9:00:00 a.m. | 1052668 | 385218 | 8.0976 | 0 | 100.956 | 16.4 | 5.93
45 | 06/04/2015 | 8:00:00 a.m. | 1052600 | 385210 | 8.2897 | 0 | 101.35 | 16.3 | 5.93
44 | 06/04/2015 | 7:00:00 a.m. | 1052538 | 385202 | 8.1892 | 0 | 101.219 | 16.8 | 5.93
43 | 06/04/2015 | 6:00:00 a.m. | 1052465 | 385193 | 8.1082 | 0 | 100.953 | 17.2 | 5.93
42 | 06/04/2015 | 5:00:00 a.m. | 1052372 | 385182 | 8.1225 | 0 | 100.907 | 14.8 | 5.93
41 | 06/04/2015 | 4:00:00 a.m. | 1052277 | 385170 | 8.3783 | 0 | 101.077 | 9.3 | 5.93
40 | 06/04/2015 | 3:00:00 a.m. | 1052277 | 385170 | 8.3509 | 0 | 100.982 | 10 | 5.93
39 | 06/04/2015 | 2:00:00 a.m. | 1052276 | 385170 | 8.3112 | 0 | 101 | 10.9 | 5.93
38 | 06/04/2015 | 1:00:00 a.m. | 1052276 | 385170 | 8.293 | 0 | 101.043 | 12 | 5.93
37 | 06/04/2015 | 12:00:00 a.m. | 1052276 | 385170 | 8.2406 | 0 | 100.896 | 12.9 | 5.93
36 | 05/04/2015 | 11:00:00 p.m. | 1052276 | 385170 | 8.2444 | 0 | 101.169 | 14.6 | 5.93
35 | 05/04/2015 | 10:00:00 p.m. | 1052276 | 385170 | 8.1738 | 0 | 101.304 | 17 | 5.93
34 | 05/04/2015 | 9:00:00 p.m. | 1052276 | 385170 | 8.0921 | 0 | 101.148 | 19.3 | 5.94
33 | 05/04/2015 | 8:00:00 p.m. | 1052276 | 385170 | 8.0222 | 0 | 101.116 | 22.8 | 5.94
32 | 05/04/2015 | 7:00:00 p.m. | 1052276 | 385170 | 7.9187 | 0 | 101.015 | 24.9 | 5.95
31 | 05/04/2015 | 6:00:00 p.m. | 1052276 | 385170 | 7.8983 | 0 | 100.788 | 26.1 | 5.95
30 | 05/04/2015 | 5:00:00 p.m. | 1052260 | 385168 | 7.7445 | 0 | 100.728 | 31.4 | 5.95
29 | 05/04/2015 | 4:00:00 p.m. | 1052260 | 385168 | 7.6336 | 0 | 100.798 | 32.9 | 5.95
28 | 05/04/2015 | 3:00:00 p.m. | 1052260 | 385168 | 7.6916 | 0 | 101.003 | 33.1 | 5.95
27 | 05/04/2015 | 2:00:00 p.m. | 1052260 | 385168 | 7.6636 | 0 | 101.065 | 33 | 5.95
26 | 05/04/2015 | 1:00:00 p.m. | 1052260 | 385168 | 7.7096 | 0 | 101.071 | 28.6 | 5.95
25 | 05/04/2015 | 12:00:00 p.m. | 1052260 | 385168 | 7.9353 | 0 | 100.586 | 24.3 | 5.94
24 | 05/04/2015 | 11:00:00 a.m. | 1052228 | 385164 | 7.9141 | 0 | 100.801 | 20.4 | 5.94
23 | 05/04/2015 | 10:00:00 a.m. | 1052228 | 385164 | 8.1259 | 0 | 101.317 | 14.3 | 5.93
22 | 05/04/2015 | 9:00:00 a.m. | 1052228 | 385164 | 8.3416 | 0 | 101.583 | 8.1 | 5.93
21 | 05/04/2015 | 8:00:00 a.m. | 1052228 | 385164 | 8.4872 | 0 | 101.636 | 6.3 | 5.92
20 | 05/04/2015 | 7:00:00 a.m. | 1052228 | 385164 | 8.5 | 0 | 101.745 | 6.9 | 5.93
19 | 05/04/2015 | 6:00:00 a.m. | 1052228 | 385164 | 8.4658 | 0 | 101.603 | 8.2 | 5.93
18 | 05/04/2015 | 5:00:00 a.m. | 1052227 | 385164 | 8.4032 | 0 | 101.604 | 10 | 5.93
17 | 05/04/2015 | 4:00:00 a.m. | 1052227 | 385164 | 8.3716 | 0 | 101.663 | 10.4 | 5.93
16 | 05/04/2015 | 3:00:00 a.m. | 1052227 | 385164 | 8.3698 | 0 | 101.643 | 11.4 | 5.93
15 | 05/04/2015 | 2:00:00 a.m. | 1052227 | 385164 | 8.3265 | 0 | 101.601 | 11.4 | 5.93
14 | 05/04/2015 | 1:00:00 a.m. | 1052227 | 385164 | 8.3365 | 0 | 101.597 | 12.5 | 5.93
13 | 05/04/2015 | 12:00:00 a.m. | 1052226 | 385164 | 8.2701 | 0 | 101.562 | 13.6 | 5.93
12 | 04/04/2015 | 11:00:00 p.m. | 1052226 | 385164 | 8.253 | 0 | 101.574 | 15 | 5.93
11 | 04/04/2015 | 10:00:00 p.m. | 1052226 | 385164 | 8.1935 | 0 | 101.496 | 16.7 | 5.94
10 | 04/04/2015 | 9:00:00 p.m. | 1052226 | 385164 | 8.1439 | 0 | 101.516 | 18.8 | 5.94
9 | 04/04/2015 | 8:00:00 p.m. | 1052226 | 385164 | 8.0591 | 0 | 101.419 | 21.9 | 5.94
8 | 04/04/2015 | 7:00:00 p.m. | 1052226 | 385164 | 7.961 | 0 | 101.223 | 25.9 | 5.95
7 | 04/04/2015 | 6:00:00 p.m. | 1052212 | 385162 | 7.7623 | 0 | 101.233 | 32.8 | 5.96
6 | 04/04/2015 | 5:00:00 p.m. | 1052212 | 385162 | 7.6442 | 0 | 100.98 | 34 | 5.96
5 | 04/04/2015 | 4:00:00 p.m. | 1052212 | 385162 | 7.6582 | 0 | 100.964 | 32.2 | 5.95
4 | 04/04/2015 | 3:00:00 p.m. | 1052212 | 385162 | 7.7078 | 0 | 101.003 | 31.8 | 5.95
3 | 04/04/2015 | 2:00:00 p.m. | 1052212 | 385162 | 7.6929 | 0 | 101.058 | 33.1 | 5.95
2 | 04/04/2015 | 1:00:00 p.m. | 1052212 | 385162 | 7.6664 | 0 | 100.939 | 31.2 | 5.95
1 | 04/04/2015 | 12:00:00 p.m. | 1052212 | 385162 | 7.7858 | 0 | 100.915 | 25.3 | 5.95