## Hoja1
Data Log
Unit Serial Number | 04/08/38778
Meter/Site ID | 137802
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 5
Fault/Alarms Recorded: | Date | Time | Condition
| 29 | 2013-08-15 | 9:00 | 4 (Temperature Fault Occurred)
| 30 | 2013-08-15 | 9:01 | 4 (High Temperature Alarm Occurred)
| 31 | 2013-08-15 | 9:02 | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
1 | 2013-08-31 | 9:00 | 455654 | 1303048 | 21.6359 | 1 | 311.0265 | 30.8 | 182.5 | 468.3 | 1.0345
2 | 2013-09-01 | 9:00 | 461785 | 1303328 | 21.797 | 1 | 311.3461 | 31.2 | 255.8 | 506.5 | 1.0347
3 | 2013-09-02 | 9:00 | 469101 | 1303663 | 21.6839 | 1 | 311.3222 | 30.7 | 305.4 | 497 | 1.0348
4 | 2013-09-03 | 9:00 | 476605 | 1304007 | 21.8898 | 1 | 310.8253 | 30.5 | 313.6 | 493 | 1.0356
5 | 2013-09-04 | 9:00 | 483873 | 1304340 | 21.7048 | 1 | 310.6327 | 30.5 | 303.5 | 668.1 | 1.0352