## Hoja1
Data Log
Unit Serial Number | 10/07/35492
Meter/Site ID | 614050
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 34
Fault/Alarms Recorded: | Date | Time | Condition
| 1 | 2013-10-12 | 13:04 | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | V
1 | 2013-12-01 | 9:00 | 421251 | 791033 | 22.0087 | 2 | 304.0089 | 26.4 | 828.6 | 1412.2 | 1.0366 | 297.5435 | 5.01
2 | 2013-12-02 | 9:00 | 440736 | 791933 | 21.9746 | 2 | 304.4897 | 26.4 | 812.3 | 1492.4 | 1.0366 | 295.9066 | 5.01
3 | 2013-12-03 | 9:00 | 461325 | 792890 | 22.0138 | 2 | 303.2838 | 26.3 | 858 | 1624.7 | 1.0368 | 292.5135 | 5.01
4 | 2013-12-04 | 9:00 | 482735 | 793886 | 21.6746 | 2 | 302.7297 | 26.4 | 892.6 | 1635.4 | 1.0361 | 291.8318 | 5.01
5 | 2013-12-05 | 9:00 | 503288 | 794842 | 21.1246 | 2 | 303.2314 | 26.6 | 856.7 | 1570 | 1.0351 | 293.3993 | 5.01
6 | 2013-12-06 | 9:00 | 524733 | 795839 | 21.4687 | 2 | 303.018 | 26.6 | 893.4 | 1642.9 | 1.0357 | 294.145 | 5
7 | 2013-12-07 | 9:00 | 546098 | 796832 | 21.4164 | 2 | 303.0988 | 26.8 | 890.9 | 1474 | 1.0356 | 295.4111 | 5
8 | 2013-12-08 | 9:00 | 567469 | 797824 | 21.9662 | 2 | 303.2282 | 26.5 | 890.9 | 1347.4 | 1.0367 | 297.4147 | 5
9 | 2013-12-09 | 9:00 | 586159 | 798687 | 21.7448 | 2 | 305.0487 | 26.6 | 780.3 | 1556 | 1.0362 | 293.5696 | 5
10 | 2013-12-10 | 9:00 | 606525 | 799631 | 21.5403 | 2 | 303.7182 | 26.7 | 849.3 | 1515.9 | 1.0359 | 295.0017 | 5
11 | 2013-12-11 | 9:00 | 627484 | 800602 | 21.9763 | 2 | 291.5708 | 26.5 | 873.9 | 1561.7 | 1.038 | 14.7437 | 5
12 | 2013-12-12 | 9:00 | 645488 | 801434 | 22.3279 | 2 | 304.906 | 26.3 | 751.6 | 1653.3 | 1.0389 | 293.236 | 5
13 | 2013-12-13 | 9:00 | 647661 | 801534 | 21.1444 | 2 | 310.5258 | 24.6 | 99.3 | 1532.2 | 1.0366 | 294.5045 | 5
14 | 2013-12-14 | 9:00 | 669856 | 802562 | 21.9343 | 2 | 303.2374 | 26.4 | 925.5 | 1636.2 | 1.0381 | 293.5613 | 5
15 | 2013-12-15 | 9:00 | 692085 | 803595 | 21.6385 | 2 | 302.7438 | 26.7 | 926.3 | 1671.4 | 1.0375 | 292.4647 | 5
16 | 2013-12-16 | 9:00 | 714369 | 804625 | 21.5827 | 2 | 303.6744 | 26.2 | 928.8 | 1332.1 | 1.0375 | 297.8471 | 4.99
17 | 2013-12-17 | 9:00 | 735681 | 805605 | 21.5738 | 2 | 304.9881 | 26 | 888.5 | 1320.9 | 1.0375 | 298.8857 | 4.98
18 | 2013-12-18 | 9:00 | 757245 | 806596 | 21.7469 | 2 | 305.1011 | 26 | 898.4 | 1355.5 | 1.0378 | 299.3997 | 4.98
19 | 2013-12-19 | 9:00 | 779026 | 807594 | 22.0408 | 2 | 305.8784 | 26 | 907.6 | 1351.8 | 1.0383 | 299.3986 | 4.98
20 | 2013-12-20 | 9:00 | 791444 | 808162 | 22.3634 | 2 | 308.9395 | 25.5 | 520.5 | 1325 | 1.0392 | 298.4634 | 4.99
21 | 2013-12-21 | 9:00 | 791444 | 808162 | 22.2508 | 2 | 310.9305 | 25.4 | 0 | 3.2 | 1.039 | 309.4249 | 4.99
22 | 2013-12-22 | 9:00 | 791444 | 808162 | 22.151 | 2 | 310.5002 | 26 | 0 | 0 | 1.0383 | 308.342 | 5
23 | 2013-12-23 | 9:00 | 791444 | 808162 | 22.3522 | 2 | 312.0265 | 25.6 | 0 | 0 | 1.0397 | 308.7398 | 4.99
24 | 2013-12-24 | 9:00 | 791444 | 808162 | 22.3254 | 2 | 310.2819 | 25.4 | 0 | 0 | 1.0394 | 308.2788 | 4.99
25 | 2013-12-25 | 9:00 | 791444 | 808162 | 22.4831 | 2 | 311.0492 | 22.7 | 0 | 0 | 1.0401 | 309.188 | 4.99
26 | 2013-12-26 | 9:00 | 791444 | 808162 | 22.3526 | 2 | 310.9017 | 22.9 | 0 | 0 | 1.0396 | 309.2147 | 4.99
27 | 2013-12-27 | 9:00 | 791444 | 808162 | 22.4411 | 2 | 310.8966 | 22.4 | 0 | 0 | 1.0401 | 309.1579 | 4.98
28 | 2013-12-28 | 9:00 | 791444 | 808162 | 22.2319 | 2 | 310.5923 | 24.8 | 0 | 0 | 1.0386 | 308.6931 | 4.99
29 | 2013-12-29 | 9:00 | 791444 | 808162 | 22.3228 | 2 | 310.9291 | 24.6 | 0 | 0 | 1.0394 | 308.9842 | 4.98
30 | 2013-12-30 | 9:00 | 791484 | 808164 | 22.2507 | 2 | 310.7631 | 23.9 | 1.7 | 121.7 | 1.0391 | 308.4938 | 4.98
31 | 2013-12-31 | 9:00 | 791570 | 808168 | 22.1655 | 2 | 310.4857 | 24.4 | 4.6 | 204.3 | 1.0388 | 308.5029 | 4.98