## QUERENCIA 010114 DIARIO MICRO B
Data Log
Unit Serial Number: | 05/10/44828
Meter/Site ID: | QUERENCIA 44828
Drive Rate | 1 m³/rev
Number of Logs Stored: | 4
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2013 | 12:58:33 p.m. | 27 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred High Flow Rate Alarm Occurred)
2 | 28/12/2013 | 12:58:17 p.m. | 4 (Temperature Fault Occurred)
3 | 28/12/2013 | 12:53:03 p.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
4 | 27/12/2013 | 11:12:47 a.m. | 10 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 02/12/2013 | 7:06:17 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
4 | 01/01/2014 | 8:00:00 a.m. | 4277334 | 591479 | 7.584 | 7 | 93.106 | 14.1
3 | 31/12/2013 | 8:00:00 a.m. | 4275322 | 591212 | 7.5666 | 7 | 92.994 | 14.1
2 | 30/12/2013 | 8:00:00 a.m. | 4273088 | 590915 | 7.5681 | 7 | 91.697 | 13.9
1 | 29/12/2013 | 8:00:00 a.m. | 4271055 | 590641 | 7.3945 | 7 | 90.839 | 13