## ENERO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 32
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 31/01/2015 | 7:00:00 a.m. | 10983859 | 1684474 | 6.7775 | 0 | 82.351 | 18.7 | 2676.1 | 3640.5
22 | 30/01/2015 | 7:00:00 a.m. | 10919646 | 1674707 | 6.4147 | 0 | 82.035 | 19 | 2654.1 | 3429.2
21 | 29/01/2015 | 7:00:00 a.m. | 10855909 | 1664978 | 6.808 | 0 | 82.836 | 19.2 | 2520.5 | 3406.5
20 | 28/01/2015 | 7:00:00 a.m. | 10795445 | 1655812 | 6.8974 | 0 | 82.109 | 18.9 | 2653.8 | 3760.2
19 | 27/01/2015 | 7:00:00 a.m. | 10731770 | 1646096 | 6.7283 | 0 | 81.922 | 18.8 | 2667.1 | 3609.2
18 | 26/01/2015 | 7:00:00 a.m. | 10667756 | 1636314 | 6.7876 | 0 | 85.921 | 19.5 | 2408.7 | 3389.3
17 | 25/01/2015 | 7:00:00 a.m. | 10609954 | 1627820 | 7.0571 | 0 | 86.387 | 19.4 | 2222.7 | 3166.2
16 | 24/01/2015 | 7:00:00 a.m. | 10556620 | 1620017 | 6.8497 | 0 | 83.524 | 18.6 | 2476.1 | 3342.3
15 | 23/01/2015 | 7:00:00 a.m. | 10497208 | 1611094 | 6.8516 | 0 | 82.281 | 18.8 | 2620.1 | 3722.2
14 | 22/01/2015 | 7:00:00 a.m. | 10434355 | 1601503 | 6.713 | 0 | 81.777 | 18.4 | 2689 | 3766.8
13 | 21/01/2015 | 7:00:00 a.m. | 10369827 | 1591636 | 6.5313 | 0 | 82.345 | 18.3 | 2594.1 | 3674.5
12 | 20/01/2015 | 7:00:00 a.m. | 10307580 | 1582173 | 6.5389 | 0 | 81.958 | 18.5 | 2684.7 | 3668.2
11 | 19/01/2015 | 7:00:00 a.m. | 10243190 | 1572346 | 6.5452 | 0 | 83.305 | 18.4 | 2910.8 | 3927.1
10 | 18/01/2015 | 7:00:00 a.m. | 10173362 | 1561849 | 6.699 | 0 | 83.511 | 18.7 | 2708.7 | 3584.1
9 | 17/01/2015 | 7:00:00 a.m. | 10108363 | 1552097 | 6.9025 | 0 | 82.78 | 18.7 | 2562.3 | 3242.8
8 | 16/01/2015 | 7:00:00 a.m. | 10046883 | 1542802 | 6.7324 | 0 | 82.225 | 18.8 | 2657 | 3162.7
7 | 15/01/2015 | 7:00:00 a.m. | 9983135 | 1533108 | 6.5247 | 0 | 82.51 | 18.6 | 2619.3 | 3191.5
6 | 14/01/2015 | 7:00:00 a.m. | 9920294 | 1523587 | 6.6695 | 0 | 82.181 | 18.5 | 2642.1 | 3168.6
5 | 13/01/2015 | 7:00:00 a.m. | 9856868 | 1513948 | 6.7851 | 0 | 82.268 | 18.6 | 2606.5 | 3167.5
4 | 12/01/2015 | 7:00:00 a.m. | 9794333 | 1504448 | 6.6241 | 0 | 84.834 | 18.4 | 2574.2 | 3174
3 | 11/01/2015 | 7:00:00 a.m. | 9732549 | 1495317 | 6.84 | 0 | 85.356 | 18.9 | 2325.8 | 2933
2 | 10/01/2015 | 7:00:00 a.m. | 9676753 | 1487102 | 6.8927 | 0 | 84.763 | 18.5 | 2199.2 | 2700.2
1 | 09/01/2015 | 7:00:00 a.m. | 9623960 | 1479294 | 6.8549 | 0 | 85.589 | 18.7 | 2033.9 | 2585.5
| 08/01/2015 | 7:00:00 a.m. | 9574985 | 1472105 | 6.931 | 0 | 85.447 | 18.8 | 2067.9 | 2575.6
| 07/01/2015 | 7:00:00 a.m. | 9525353 | 1464804 | 6.7858 | 0 | 85.833 | 19.2 | 1981.6 | 2460.1
| 06/01/2015 | 7:00:00 a.m. | 9477799 | 1457829 | 6.8725 | 0 | 86.5 | 19.3 | 1863.5 | 2385.1
| 05/01/2015 | 7:00:00 a.m. | 9433107 | 1451317 | 6.9316 | 0 | 89.379 | 18.2 | 1540.2 | 2191
| 04/01/2015 | 7:00:00 a.m. | 9396160 | 1446101 | 7.1822 | 0 | 91.854 | 17.2 | 502.3 | 1579.5
| 03/01/2015 | 7:00:00 a.m. | 9384105 | 1444447 | 7.3597 | 0 | 91.311 | 17.1 | 536.7 | 924.2
| 02/01/2015 | 7:00:00 a.m. | 9371240 | 1442674 | 7.2992 | 0 | 92.733 | 15.3 | 199.8 | 641
| 01/01/2015 | 7:00:00 a.m. | 9366434 | 1442024 | 7.5783 | 0 | 93.028 | 12.8 | 104.7 | 212.1

## FEBRERO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
19 | 28/02/2015 | 7:00:00 a.m. | 12740145 | 1951097 | 6.9445 | 0 | 82.469 | 19.7 | 2774.1 | 3842.4
18 | 27/02/2015 | 7:00:00 a.m. | 12673617 | 1940959 | 6.8649 | 0 | 81.849 | 19.8 | 2732.8 | 3750.9
17 | 26/02/2015 | 7:00:00 a.m. | 12608056 | 1930898 | 6.6424 | 0 | 82.288 | 19.9 | 2647.2 | 3573.9
16 | 25/02/2015 | 7:00:00 a.m. | 12544530 | 1921197 | 6.5541 | 0 | 81.837 | 19.8 | 2726.7 | 3651.7
15 | 24/02/2015 | 7:00:00 a.m. | 12479082 | 1911153 | 6.3812 | 0 | 81.252 | 19.8 | 2809.1 | 3730.3
14 | 23/02/2015 | 7:00:00 a.m. | 12411656 | 1900740 | 6.6172 | 0 | 83.667 | 19.8 | 2850.5 | 3581.1
13 | 22/02/2015 | 7:00:00 a.m. | 12343236 | 1890443 | 6.9955 | 0 | 83.804 | 20.2 | 2760.6 | 3575.4
12 | 21/02/2015 | 7:00:00 a.m. | 12276978 | 1880474 | 6.8678 | 0 | 82.608 | 20.2 | 2737.6 | 3719.7
11 | 20/02/2015 | 7:00:00 a.m. | 12211280 | 1870458 | 6.6612 | 0 | 82.016 | 20.2 | 2724.9 | 3540.7
10 | 19/02/2015 | 7:00:00 a.m. | 12145875 | 1860433 | 6.7211 | 0 | 81.293 | 20.2 | 2819.9 | 3759.1
9 | 18/02/2015 | 7:00:00 a.m. | 12078221 | 1849979 | 6.6207 | 0 | 82.122 | 20.1 | 2687.2 | 3574.6
8 | 17/02/2015 | 7:00:00 a.m. | 12013755 | 1840111 | 6.6074 | 0 | 82.251 | 20.2 | 2653.7 | 3578
7 | 16/02/2015 | 7:00:00 a.m. | 11950062 | 1830366 | 6.5663 | 0 | 84.705 | 20.3 | 2663.3 | 3470.4
6 | 15/02/2015 | 7:00:00 a.m. | 11886160 | 1820838 | 6.9876 | 0 | 85.86 | 20.6 | 2376.7 | 3333.3
5 | 14/02/2015 | 7:00:00 a.m. | 11829122 | 1812419 | 6.9185 | 0 | 84.015 | 20.7 | 2541.8 | 3383.3
4 | 13/02/2015 | 7:00:00 a.m. | 11768148 | 1803242 | 6.88 | 0 | 83.366 | 20.3 | 2545.9 | 3275.4
3 | 12/02/2015 | 7:00:00 a.m. | 11707106 | 1794013 | 6.5053 | 0 | 83.832 | 20.7 | 2383.6 | 3324.8
2 | 11/02/2015 | 7:00:00 a.m. | 11649921 | 1785379 | 6.7439 | 0 | 81.292 | 19.4 | 2815.1 | 3787
1 | 10/02/2015 | 7:00:00 a.m. | 11582335 | 1774963 | 6.5335 | 0 | 81.52 | 19.1 | 2775 | 3905.1
| 09/02/2015 | 7:00:00 a.m. | 11515571 | 1764709 | 6.7932 | 0 | 83.299 | 19.3 | 2880.5 | 3787.9
| 08/02/2015 | 7:00:00 a.m. | 11446441 | 1754276 | 6.8849 | 0 | 83.544 | 19.2 | 2780.6 | 3882
| 07/02/2015 | 7:00:00 a.m. | 11379714 | 1744235 | 6.7704 | 0 | 82.333 | 19.1 | 2697.4 | 3601.9
| 06/02/2015 | 7:00:00 a.m. | 11314988 | 1734372 | 6.8184 | 0 | 82.542 | 19 | 2583 | 3304.7
| 05/02/2015 | 7:00:00 a.m. | 11252994 | 1724954 | 6.6579 | 0 | 81.274 | 18.9 | 2749.5 | 3647.1
| 04/02/2015 | 7:00:00 a.m. | 11187009 | 1714794 | 6.7071 | 0 | 81.55 | 19.1 | 2688.8 | 3784.9
| 03/02/2015 | 7:00:00 a.m. | 11122486 | 1704874 | 6.792 | 0 | 90.416 | 19.6 | 990.9 | 2349.5
| 02/02/2015 | 7:00:00 a.m. | 11098716 | 1701518 | 7.2874 | 0 | 87.425 | 18.9 | 2031.3 | 3747
| 01/02/2015 | 7:00:00 a.m. | 11049979 | 1694391 | 6.8092 | 0 | 83.683 | 18.6 | 2754.4 | 3768.6

## MARZO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
24 | 31/03/2015 | 7:00:00 a.m. | 14661175 | 2240040 | 6.4887 | 0 | 82.647 | 23 | 2806.9 | 3523.2
23 | 30/03/2015 | 7:00:00 a.m. | 14593760 | 2229669 | 6.5937 | 0 | 86.087 | 23 | 2580.3 | 3372.6
22 | 29/03/2015 | 7:00:00 a.m. | 14531830 | 2220473 | 7.0248 | 0 | 85.158 | 23 | 2732.9 | 3715
21 | 28/03/2015 | 7:00:00 a.m. | 14466270 | 2210641 | 6.6354 | 0 | 84.113 | 23 | 2635.9 | 3412.7
20 | 27/03/2015 | 7:00:00 a.m. | 14403016 | 2201051 | 6.823 | 0 | 83.076 | 23 | 2790.6 | 3580.8
19 | 26/03/2015 | 7:00:00 a.m. | 14336061 | 2190791 | 6.7214 | 0 | 82.718 | 22.5 | 2849.9 | 3432.5
18 | 25/03/2015 | 7:00:00 a.m. | 14267716 | 2180308 | 6.6764 | 0 | 82.741 | 22.2 | 2823.8 | 3821.8
17 | 24/03/2015 | 7:00:00 a.m. | 14199933 | 2169911 | 6.3915 | 0 | 82.354 | 22 | 2882.3 | 3600.9
16 | 23/03/2015 | 7:00:00 a.m. | 14130764 | 2159274 | 6.6858 | 0 | 84.894 | 22 | 2859.7 | 3798.4
15 | 22/03/2015 | 7:00:00 a.m. | 14062144 | 2148996 | 7.0354 | 0 | 85.602 | 22.2 | 2628.5 | 3338.7
14 | 21/03/2015 | 7:00:00 a.m. | 13999100 | 2139617 | 6.6426 | 0 | 83.783 | 22.2 | 2702.2 | 3349.6
13 | 20/03/2015 | 7:00:00 a.m. | 13934300 | 2129791 | 6.6173 | 0 | 83.971 | 22.1 | 2626.9 | 3234.6
12 | 19/03/2015 | 7:00:00 a.m. | 13871263 | 2120261 | 6.6865 | 0 | 83.814 | 22 | 2653.3 | 3389.9
11 | 18/03/2015 | 7:00:00 a.m. | 13807588 | 2110618 | 6.7532 | 0 | 86.276 | 22.6 | 2203.7 | 3059.4
10 | 17/03/2015 | 7:00:00 a.m. | 13754724 | 2102794 | 6.9642 | 0 | 91.705 | 23.3 | 774.9 | 2483
9 | 16/03/2015 | 7:00:00 a.m. | 13736137 | 2100174 | 7.2435 | 0 | 89.513 | 22.3 | 1756.4 | 2969.1
8 | 15/03/2015 | 7:00:00 a.m. | 13693998 | 2094089 | 7.0379 | 0 | 86.64 | 22.1 | 2431.6 | 3065.6
7 | 14/03/2015 | 7:00:00 a.m. | 13635644 | 2085502 | 6.6076 | 0 | 86.245 | 21.4 | 2376.4 | 3170.2
6 | 13/03/2015 | 7:00:00 a.m. | 13578610 | 2077093 | 6.7943 | 0 | 84.458 | 20.7 | 2585.6 | 3080.4
5 | 12/03/2015 | 7:00:00 a.m. | 13516575 | 2067808 | 6.7116 | 0 | 84.206 | 20.4 | 2628 | 3206.7
4 | 11/03/2015 | 7:00:00 a.m. | 13453529 | 2058358 | 6.6223 | 0 | 84.868 | 20.3 | 2520.8 | 3337.3
3 | 10/03/2015 | 7:00:00 a.m. | 13393045 | 2049352 | 6.754 | 0 | 83.579 | 19.6 | 2724.8 | 3731.6
2 | 09/03/2015 | 7:00:00 a.m. | 13327677 | 2039503 | 6.7801 | 0 | 85.959 | 19.8 | 2666.1 | 3357
1 | 08/03/2015 | 7:00:00 a.m. | 13263711 | 2030104 | 6.9846 | 0 | 86.47 | 20 | 2520.9 | 3440.4
| 07/03/2015 | 7:00:00 a.m. | 13205599 | 2021596 | 6.728 | 0 | 84.81 | 19.7 | 2648.4 | 3351
| 06/03/2015 | 7:00:00 a.m. | 13142057 | 2012154 | 6.9353 | 0 | 82.887 | 19.3 | 2820.1 | 3557
| 05/03/2015 | 7:00:00 a.m. | 13074394 | 2001909 | 6.4792 | 0 | 81.229 | 19.1 | 2858.6 | 3749.2
| 04/03/2015 | 7:00:00 a.m. | 13005797 | 1991355 | 6.6815 | 0 | 81.205 | 19 | 2854 | 3558.3
| 03/03/2015 | 7:00:00 a.m. | 12937357 | 1980821 | 6.78 | 0 | 80.764 | 19.1 | 2899.2 | 3830.1
| 02/03/2015 | 7:00:00 a.m. | 12867733 | 1970046 | 6.8128 | 0 | 85.178 | 19.1 | 2620.9 | 3400.2
| 01/03/2015 | 7:00:00 a.m. | 12804813 | 1960750 | 6.989 | 0 | 84.286 | 19.5 | 2695 | 3295.2

## ABRIL
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 30/04/2015 | 7:00:00 a.m. | 16609511 | 2536803 | 6.7693 | 0 | 83.37 | 24.3 | 2691.8 | 3400.3
22 | 29/04/2015 | 7:00:00 a.m. | 16544868 | 2526890 | 6.6886 | 0 | 83.903 | 24.1 | 2620 | 3528.7
21 | 28/04/2015 | 7:00:00 a.m. | 16482000 | 2517307 | 6.7459 | 0 | 82.664 | 23.7 | 2787.4 | 3700.9
20 | 27/04/2015 | 7:00:00 a.m. | 16415102 | 2506990 | 6.5244 | 0 | 85.965 | 23.3 | 2624.3 | 3424.4
19 | 26/04/2015 | 7:00:00 a.m. | 16352131 | 2497620 | 6.7049 | 0 | 86.024 | 23.1 | 2573.6 | 3473
18 | 25/04/2015 | 7:00:00 a.m. | 16290350 | 2488432 | 6.7495 | 0 | 83.207 | 23.3 | 2731 | 3334.3
17 | 24/04/2015 | 7:00:00 a.m. | 16224802 | 2478398 | 6.6873 | 0 | 83.077 | 23.6 | 2699.7 | 3412.2
16 | 23/04/2015 | 7:00:00 a.m. | 16160026 | 2468454 | 6.5284 | 0 | 83.423 | 23.8 | 2662.4 | 3406.1
15 | 22/04/2015 | 7:00:00 a.m. | 16096159 | 2458680 | 6.5741 | 0 | 82.436 | 23.8 | 2805.9 | 3532.7
14 | 21/04/2015 | 7:00:00 a.m. | 16028834 | 2448271 | 6.5399 | 0 | 82.064 | 24 | 2857.1 | 3658.3
13 | 20/04/2015 | 7:00:00 a.m. | 15960275 | 2437624 | 6.3723 | 0 | 85.287 | 24.1 | 2741.6 | 3572.8
12 | 19/04/2015 | 7:00:00 a.m. | 15894486 | 2427743 | 6.8596 | 0 | 86.245 | 24.3 | 2450.5 | 3429.1
11 | 18/04/2015 | 7:00:00 a.m. | 15835679 | 2418983 | 6.5573 | 0 | 83.824 | 24.1 | 2628.5 | 3563.7
10 | 17/04/2015 | 7:00:00 a.m. | 15772608 | 2409365 | 6.5165 | 0 | 83.49 | 23.9 | 2638.1 | 3333.3
9 | 16/04/2015 | 7:00:00 a.m. | 15709285 | 2399679 | 6.5306 | 0 | 81.884 | 23.6 | 2908.4 | 3694.8
8 | 15/04/2015 | 7:00:00 a.m. | 15639525 | 2388836 | 6.4676 | 0 | 82.417 | 23.4 | 2815.9 | 3740.4
7 | 14/04/2015 | 7:00:00 a.m. | 15571948 | 2378397 | 6.6272 | 0 | 82.788 | 23.4 | 2723.2 | 3339.4
6 | 13/04/2015 | 7:00:00 a.m. | 15506631 | 2368351 | 6.7266 | 0 | 85.51 | 23.4 | 2704.4 | 3443.8
5 | 12/04/2015 | 7:00:00 a.m. | 15441730 | 2358649 | 7.0137 | 0 | 85.918 | 23.2 | 2538 | 3348.5
4 | 11/04/2015 | 7:00:00 a.m. | 15380830 | 2349584 | 6.7741 | 0 | 83.18 | 23 | 2776.9 | 3722.8
3 | 10/04/2015 | 7:00:00 a.m. | 15314159 | 2339389 | 6.6621 | 0 | 83.058 | 23.1 | 2757.2 | 3621.6
2 | 09/04/2015 | 7:00:00 a.m. | 15248045 | 2329252 | 6.6513 | 0 | 82.731 | 23 | 2788.9 | 3583.8
1 | 08/04/2015 | 7:00:00 a.m. | 15181073 | 2318961 | 6.7575 | 0 | 83.335 | 23.1 | 2699.6 | 3420.2
| 07/04/2015 | 7:00:00 a.m. | 15116334 | 2309073 | 6.7306 | 0 | 83.578 | 23.1 | 2633.8 | 3537.1
| 06/04/2015 | 7:00:00 a.m. | 15053150 | 2299438 | 6.3048 | 0 | 85.963 | 23.3 | 2613.6 | 3400.3
| 05/04/2015 | 7:00:00 a.m. | 14990418 | 2290099 | 7.022 | 0 | 86.509 | 23.6 | 2577.6 | 3393.3
| 04/04/2015 | 7:00:00 a.m. | 14928559 | 2280930 | 6.9546 | 0 | 85.626 | 23.8 | 2622 | 3445.4
| 03/04/2015 | 7:00:00 a.m. | 14865670 | 2271511 | 6.5507 | 0 | 83.182 | 23.1 | 2751.7 | 3595
| 02/04/2015 | 7:00:00 a.m. | 14799615 | 2261402 | 6.5339 | 0 | 82.51 | 23 | 2878.4 | 3702.9
| 01/04/2015 | 7:00:00 a.m. | 14730564 | 2250759 | 6.8257 | 0 | 82.267 | 23 | 2892.7 | 3834.7

## MAYO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 31/05/2015 | 7:00:00 a.m. | 18625092 | 2845962 | 6.7749 | 0 | 85.602 | 23.9 | 2699.8 | 3513.6
22 | 30/05/2015 | 7:00:00 a.m. | 18560335 | 2836268 | 6.8051 | 0 | 82.53 | 23.5 | 2949.4 | 3892.1
21 | 29/05/2015 | 7:00:00 a.m. | 18489544 | 2825328 | 6.5457 | 0 | 82.279 | 23.4 | 2923.3 | 3691.7
20 | 28/05/2015 | 7:00:00 a.m. | 18419384 | 2814472 | 6.5902 | 0 | 81.487 | 23.3 | 3006.3 | 3763.9
19 | 27/05/2015 | 7:00:00 a.m. | 18347269 | 2803219 | 6.6513 | 0 | 80.695 | 23.2 | 3092.3 | 3955.3
18 | 26/05/2015 | 7:00:00 a.m. | 18273066 | 2791552 | 6.4116 | 0 | 81.413 | 23.4 | 3049.5 | 3954.7
17 | 25/05/2015 | 7:00:00 a.m. | 18199890 | 2780121 | 6.4786 | 0 | 84.818 | 23.8 | 2854.8 | 3699.8
16 | 24/05/2015 | 7:00:00 a.m. | 18131391 | 2769768 | 6.9999 | 0 | 88.117 | 24 | 2087 | 3966.5
15 | 23/05/2015 | 7:00:00 a.m. | 18081326 | 2762412 | 6.4212 | 0 | 82.488 | 23.5 | 2902.8 | 3786.1
14 | 22/05/2015 | 7:00:00 a.m. | 18011650 | 2751642 | 6.6217 | 0 | 81.722 | 23.3 | 2965.7 | 3872.5
13 | 21/05/2015 | 7:00:00 a.m. | 17940468 | 2740561 | 6.4974 | 0 | 81.666 | 23.5 | 2957.5 | 3788.2
12 | 20/05/2015 | 7:00:00 a.m. | 17869483 | 2729503 | 6.2309 | 0 | 81.179 | 23.3 | 3029.5 | 3820.5
11 | 19/05/2015 | 7:00:00 a.m. | 17796751 | 2718123 | 6.6848 | 0 | 81.81 | 23.3 | 2926.3 | 3887.9
10 | 18/05/2015 | 7:00:00 a.m. | 17726571 | 2707212 | 6.529 | 0 | 84.848 | 23.4 | 2905.1 | 3733.7
9 | 17/05/2015 | 7:00:00 a.m. | 17656863 | 2696713 | 7.0286 | 0 | 85.119 | 23.4 | 2791.1 | 3583.3
8 | 16/05/2015 | 7:00:00 a.m. | 17589858 | 2686648 | 6.7602 | 0 | 82.59 | 23.2 | 2845.5 | 3907.8
7 | 15/05/2015 | 7:00:00 a.m. | 17521547 | 2676101 | 6.7529 | 0 | 83.048 | 23.3 | 2754.8 | 3514.3
6 | 14/05/2015 | 7:00:00 a.m. | 17455416 | 2665955 | 6.6664 | 0 | 82.243 | 23.4 | 2873.8 | 3799.1
5 | 13/05/2015 | 7:00:00 a.m. | 17386482 | 2655281 | 6.3948 | 0 | 82.197 | 23.4 | 2856.2 | 3772.2
4 | 12/05/2015 | 7:00:00 a.m. | 17317923 | 2644661 | 6.6101 | 0 | 82.112 | 23.7 | 2843.1 | 3830
3 | 11/05/2015 | 7:00:00 a.m. | 17249693 | 2634065 | 6.2089 | 0 | 85.294 | 23.8 | 2778.4 | 3681.2
2 | 10/05/2015 | 7:00:00 a.m. | 17183012 | 2624049 | 6.954 | 0 | 85.812 | 23.7 | 2622.7 | 3407
1 | 09/05/2015 | 7:00:00 a.m. | 17120083 | 2614654 | 6.7918 | 0 | 83.663 | 23.6 | 2621.9 | 3573.4
| 08/05/2015 | 7:00:00 a.m. | 17057067 | 2605036 | 6.5802 | 0 | 83.614 | 24 | 2564.7 | 3596
| 07/05/2015 | 7:00:00 a.m. | 16995501 | 2595600 | 6.5649 | 0 | 82.698 | 24.2 | 2740.2 | 3538.9
| 06/05/2015 | 7:00:00 a.m. | 16929727 | 2585440 | 6.7909 | 0 | 81.743 | 24.6 | 2901.9 | 3796.6
| 05/05/2015 | 7:00:00 a.m. | 16860090 | 2574563 | 6.2927 | 0 | 82.296 | 24.6 | 2810.1 | 3734.2
| 04/05/2015 | 7:00:00 a.m. | 16792635 | 2564082 | 6.5956 | 0 | 85.527 | 24.8 | 2715.9 | 3454.9
| 03/05/2015 | 7:00:00 a.m. | 16727479 | 2554288 | 6.6609 | 0 | 86.966 | 25.2 | 2386.3 | 3418.2
| 02/05/2015 | 7:00:00 a.m. | 16670199 | 2545783 | 7.0098 | 0 | 91.673 | 26.2 | 620.4 | 2188.6
| 01/05/2015 | 7:00:00 a.m. | 16655333 | 2543660 | 7.1486 | 0 | 86.96 | 24.8 | 1910.6 | 3143.5

## JUNIO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
22 | 30/06/2015 | 7:00:00 a.m. | 20721446 | 3172371 | 6.3182 | 0 | 80.942 | 27.1 | 3099.5 | 3896.9
21 | 29/06/2015 | 7:00:00 a.m. | 20647089 | 3160562 | 6.3097 | 0 | 83.955 | 27.4 | 2981.2 | 3805.3
20 | 28/06/2015 | 7:00:00 a.m. | 20575512 | 3149531 | 6.6958 | 0 | 84.907 | 27.3 | 2793.7 | 3650.5
19 | 27/06/2015 | 7:00:00 a.m. | 20508494 | 3139305 | 6.5327 | 0 | 82.238 | 27.4 | 2909.4 | 3708.9
18 | 26/06/2015 | 7:00:00 a.m. | 20438632 | 3128339 | 6.3837 | 0 | 81.54 | 27.2 | 2984.7 | 3706.5
17 | 25/06/2015 | 7:00:00 a.m. | 20367041 | 3117035 | 6.2881 | 0 | 81.183 | 27.2 | 3048.4 | 3988.4
16 | 24/06/2015 | 7:00:00 a.m. | 20293861 | 3105429 | 6.499 | 0 | 81.47 | 27.1 | 3026.4 | 3799.1
15 | 23/06/2015 | 7:00:00 a.m. | 20221264 | 3093960 | 6.6268 | 0 | 81.194 | 26.9 | 3052 | 3828.3
14 | 22/06/2015 | 7:00:00 a.m. | 20148059 | 3082367 | 6.3494 | 0 | 84.459 | 26.7 | 2928.5 | 3812.2
13 | 21/06/2015 | 7:00:00 a.m. | 20077743 | 3071611 | 6.7694 | 0 | 84.889 | 26.6 | 2813.5 | 3506.2
12 | 20/06/2015 | 7:00:00 a.m. | 20010227 | 3061332 | 6.4811 | 0 | 82.405 | 26.6 | 2892.7 | 3759.8
11 | 19/06/2015 | 7:00:00 a.m. | 19940820 | 3050490 | 6.3997 | 0 | 82.003 | 26.3 | 2915.1 | 3694
10 | 18/06/2015 | 7:00:00 a.m. | 19870840 | 3039526 | 6.1878 | 0 | 81.457 | 25.9 | 3027.6 | 3831.2
9 | 17/06/2015 | 7:00:00 a.m. | 19798221 | 3028098 | 6.6567 | 0 | 81.515 | 25.7 | 3017.5 | 3804.2
8 | 16/06/2015 | 7:00:00 a.m. | 19725798 | 3016720 | 6.5456 | 0 | 81.598 | 25.7 | 2975.8 | 3837.6
7 | 15/06/2015 | 7:00:00 a.m. | 19654440 | 3005506 | 6.6381 | 0 | 83.823 | 25.5 | 3032.1 | 3853.4
6 | 14/06/2015 | 7:00:00 a.m. | 19581712 | 2994359 | 6.601 | 0 | 84.377 | 25.5 | 2902.3 | 3569.1
5 | 13/06/2015 | 7:00:00 a.m. | 19512086 | 2983741 | 6.8252 | 0 | 82.206 | 25.4 | 2914.5 | 3634.2
4 | 12/06/2015 | 7:00:00 a.m. | 19442131 | 2972823 | 6.3352 | 0 | 81.563 | 25.6 | 2978.5 | 3852.9
3 | 11/06/2015 | 7:00:00 a.m. | 19370633 | 2961594 | 6.4779 | 0 | 81.391 | 25.6 | 3031.1 | 3917.8
2 | 10/06/2015 | 7:00:00 a.m. | 19297949 | 2950151 | 6.1838 | 0 | 81.754 | 25.7 | 3014 | 3791.8
1 | 09/06/2015 | 7:00:00 a.m. | 19225663 | 2938819 | 6.0858 | 0 | 82.757 | 26.2 | 2825.7 | 3763
| 08/06/2015 | 7:00:00 a.m. | 19157718 | 2928253 | 6.7548 | 0 | 89.002 | 26.1 | 1703.9 | 3416.2
| 07/06/2015 | 7:00:00 a.m. | 19116843 | 2922200 | 7.1926 | 0 | 86.746 | 25.1 | 2367.4 | 3668.7
| 06/06/2015 | 7:00:00 a.m. | 19060014 | 2913674 | 6.7127 | 0 | 82.325 | 24.7 | 2943.7 | 3632.6
| 05/06/2015 | 7:00:00 a.m. | 18989385 | 2902708 | 6.3648 | 0 | 82.211 | 24.4 | 2917.7 | 3731.1
| 04/06/2015 | 7:00:00 a.m. | 18919351 | 2891829 | 6.4632 | 0 | 82.011 | 24.4 | 2926.8 | 3652.3
| 03/06/2015 | 7:00:00 a.m. | 18849103 | 2880899 | 6.3703 | 0 | 81.104 | 24.2 | 3077.1 | 3857.6
| 02/06/2015 | 7:00:00 a.m. | 18775263 | 2869302 | 6.631 | 0 | 80.468 | 23.9 | 3165.4 | 3930.5
| 01/06/2015 | 7:00:00 a.m. | 18699331 | 2857307 | 6.4803 | 0 | 83.597 | 23.9 | 3093.5 | 3991.3

## JULIO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 29/07/2015 | 7:00:00 a.m. | 22601951 | 3463071 | 6.5058 | 0 | 84.469 | 28.9 | 2483 | 3395.4
20 | 28/07/2015 | 7:00:00 a.m. | 22542375 | 3453890 | 6.2094 | 0 | 82.775 | 28.5 | 2777.2 | 3782.9
19 | 27/07/2015 | 7:00:00 a.m. | 22475692 | 3443446 | 6.5119 | 0 | 84.708 | 28.6 | 2815.7 | 3836.6
18 | 26/07/2015 | 7:00:00 a.m. | 22408120 | 3433065 | 6.7572 | 0 | 85.225 | 28.8 | 2685.1 | 3719.7
17 | 25/07/2015 | 7:00:00 a.m. | 22343679 | 3423206 | 6.6521 | 0 | 83.382 | 28.5 | 2740.7 | 3660.5
16 | 24/07/2015 | 7:00:00 a.m. | 22277900 | 3412968 | 6.3908 | 0 | 82.556 | 28.2 | 2828.9 | 3756.3
15 | 23/07/2015 | 7:00:00 a.m. | 22210032 | 3402323 | 6.5184 | 0 | 82.864 | 28.3 | 2759.2 | 3528.1
14 | 22/07/2015 | 7:00:00 a.m. | 22143838 | 3391967 | 6.7652 | 0 | 82.518 | 28 | 2827.7 | 3525.2
13 | 21/07/2015 | 7:00:00 a.m. | 22076008 | 3381334 | 6.4846 | 0 | 82.459 | 28.3 | 2821.4 | 3854.9
12 | 20/07/2015 | 7:00:00 a.m. | 22008216 | 3370690 | 6.6339 | 0 | 85.173 | 28.4 | 2727.7 | 3580
11 | 19/07/2015 | 7:00:00 a.m. | 21942774 | 3360695 | 6.7498 | 0 | 85.244 | 28.4 | 2707.3 | 3434.4
10 | 18/07/2015 | 7:00:00 a.m. | 21877806 | 3350786 | 6.4875 | 0 | 83.626 | 28.2 | 2723.6 | 3675.6
9 | 17/07/2015 | 7:00:00 a.m. | 21812474 | 3340659 | 6.5374 | 0 | 84.57 | 27.9 | 2500 | 3396.7
8 | 16/07/2015 | 7:00:00 a.m. | 21752495 | 3331464 | 6.6846 | 0 | 85.795 | 27.7 | 2241.8 | 3138.7
7 | 15/07/2015 | 7:00:00 a.m. | 21698708 | 3323321 | 6.6494 | 0 | 84.359 | 27.5 | 2507.2 | 3322.9
6 | 14/07/2015 | 7:00:00 a.m. | 21638529 | 3314083 | 6.4366 | 0 | 84.825 | 27.7 | 2416.9 | 3372.7
5 | 13/07/2015 | 7:00:00 a.m. | 21580513 | 3305213 | 6.6333 | 0 | 86.17 | 27.5 | 2542.8 | 3384.4
4 | 12/07/2015 | 7:00:00 a.m. | 21519519 | 3296025 | 6.7178 | 0 | 87.11 | 27.4 | 2339.8 | 3164.9
3 | 11/07/2015 | 7:00:00 a.m. | 21463384 | 3287654 | 6.6237 | 0 | 84.813 | 27.3 | 2469.8 | 3312.4
2 | 10/07/2015 | 7:00:00 a.m. | 21404112 | 3278598 | 6.2014 | 0 | 84.425 | 27.2 | 2476.8 | 3545.5
1 | 09/07/2015 | 7:00:00 a.m. | 21344675 | 3269485 | 6.4778 | 0 | 84.35 | 27.3 | 2530.4 | 3330.6
| 08/07/2015 | 7:00:00 a.m. | 21283839 | 3260152 | 6.4879 | 0 | 83.087 | 27 | 2735.5 | 3670.2
| 07/07/2015 | 7:00:00 a.m. | 21218179 | 3249938 | 6.5284 | 0 | 81.102 | 26.8 | 3054.5 | 3850.5
| 06/07/2015 | 7:00:00 a.m. | 21144855 | 3238317 | 6.5594 | 0 | 84.059 | 26.8 | 2972.8 | 3737.1
| 05/07/2015 | 7:00:00 a.m. | 21073558 | 3227363 | 6.7264 | 0 | 85.058 | 27 | 2763.4 | 3672.6
| 04/07/2015 | 7:00:00 a.m. | 21007238 | 3217269 | 6.4879 | 0 | 82.451 | 27 | 2929 | 3738.6
| 03/07/2015 | 7:00:00 a.m. | 20937002 | 3206290 | 6.6391 | 0 | 82 | 27 | 2954.7 | 3820.4
| 02/07/2015 | 7:00:00 a.m. | 20866042 | 3195142 | 6.3496 | 0 | 82.107 | 27 | 2962.7 | 3663.1
| 01/07/2015 | 7:00:00 a.m. | 20794956 | 3183991 | 6.4022 | 0 | 81.434 | 27.2 | 3064.8 | 3788.9

## AGOSTO
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 29
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 31/08/2015 | 7:00:00 a.m. | 24793601 | 3805663 | 6.5146 | 0 | 84.534 | 29.8 | 2813.2 | 3767.6
20 | 30/08/2015 | 7:00:00 a.m. | 24726105 | 3795231 | 6.7173 | 0 | 84.799 | 30.1 | 2754.2 | 3515.1
19 | 29/08/2015 | 7:00:00 a.m. | 24659974 | 3785032 | 6.5368 | 0 | 82.933 | 30.2 | 2801.9 | 3837
18 | 28/08/2015 | 7:00:00 a.m. | 24592777 | 3774463 | 6.3086 | 0 | 82.252 | 30 | 2873.4 | 3633.7
17 | 27/08/2015 | 7:00:00 a.m. | 24523816 | 3763548 | 6.2398 | 0 | 81.883 | 29.8 | 2918.1 | 3789.4
16 | 26/08/2015 | 7:00:00 a.m. | 24453792 | 3752424 | 6.2464 | 0 | 81.697 | 29.5 | 2949.8 | 4052.1
15 | 25/08/2015 | 7:00:00 a.m. | 24383038 | 3741168 | 6.4316 | 0 | 80.471 | 29.5 | 3125.1 | 3967.6
14 | 24/08/2015 | 7:00:00 a.m. | 24308089 | 3729097 | 6.2798 | 0 | 83.184 | 29.4 | 3040.4 | 3823.7
13 | 23/08/2015 | 7:00:00 a.m. | 24235089 | 3717676 | 6.3619 | 0 | 83.934 | 29.5 | 2890.1 | 3713.2
12 | 22/08/2015 | 7:00:00 a.m. | 24165755 | 3706910 | 6.4691 | 0 | 81.376 | 29.3 | 3015.1 | 3619
11 | 21/08/2015 | 7:00:00 a.m. | 24093439 | 3695379 | 6.3029 | 0 | 81.081 | 29.5 | 3041.8 | 3748.1
10 | 20/08/2015 | 7:00:00 a.m. | 24020455 | 3683705 | 6.6509 | 0 | 82.14 | 29.6 | 2870.3 | 3506.5
9 | 19/08/2015 | 7:00:00 a.m. | 23951606 | 3672814 | 6.2902 | 0 | 81.773 | 29.6 | 2940.5 | 3370.6
8 | 18/08/2015 | 7:00:00 a.m. | 23881056 | 3661614 | 6.1595 | 0 | 82.176 | 29.8 | 2901.5 | 3395.3
7 | 17/08/2015 | 7:00:00 a.m. | 23811434 | 3650597 | 6.4277 | 0 | 85.13 | 30.1 | 2740.2 | 3403.6
6 | 16/08/2015 | 7:00:00 a.m. | 23745671 | 3640495 | 6.5179 | 0 | 86.302 | 30.2 | 2482.4 | 3314.6
5 | 15/08/2015 | 7:00:00 a.m. | 23686110 | 3631452 | 6.6724 | 0 | 84.771 | 29.9 | 2464 | 3224.2
4 | 14/08/2015 | 7:00:00 a.m. | 23626988 | 3622330 | 6.5917 | 0 | 84.095 | 29.6 | 2528.1 | 3159.7
3 | 13/08/2015 | 7:00:00 a.m. | 23566329 | 3612920 | 6.6281 | 0 | 83.839 | 29.4 | 2555.9 | 3239.6
2 | 12/08/2015 | 7:00:00 a.m. | 23505014 | 3603396 | 6.5053 | 0 | 82.661 | 28.9 | 2782 | 3376.9
1 | 11/08/2015 | 7:00:00 a.m. | 23438282 | 3592913 | 6.2064 | 0 | 82.975 | 29 | 2735 | 3316
| 10/08/2015 | 7:00:00 a.m. | 23372623 | 3582638 | 6.559 | 0 | 85.312 | 29.1 | 2684 | 3326.5
| 09/08/2015 | 7:00:00 a.m. | 23308207 | 3572792 | 6.7111 | 0 | 86.991 | 29.3 | 2325.2 | 3187
| 08/08/2015 | 7:00:00 a.m. | 23252407 | 3564397 | 6.7388 | 0 | 84.925 | 29.2 | 2450.8 | 3271.2
| 07/08/2015 | 7:00:00 a.m. | 23193572 | 3555349 | 6.2185 | 0 | 82.858 | 29.2 | 2769.4 | 3432.3
| 06/08/2015 | 7:00:00 a.m. | 23127127 | 3544932 | 6.2269 | 0 | 82.426 | 29.3 | 2831.9 | 3402.8
| 05/08/2015 | 7:00:00 a.m. | 23059201 | 3534222 | 6.502 | 0 | 82.302 | 29.3 | 2840.9 | 3430.9
| 04/08/2015 | 7:00:00 a.m. | 22991028 | 3523467 | 6.5866 | 0 | 82.629 | 29 | 2780.9 | 3397.9
| 03/08/2015 | 7:00:00 a.m. | 22924281 | 3512976 | 6.3913 | 0 | 84.87 | 29 | 2727.1 | 3378.3
| 02/08/2015 | 7:00:00 a.m. | 22858839 | 3502934 | 6.7056 | 0 | 84.901 | 28.9 | 2773.7 | 3602
| 01/08/2015 | 7:00:00 a.m. | 22792264 | 3492714 | 6.7291 | 0 | 83.284 | 29.1 | 2736.5 | 3423.5

## SEPTIEMBRE
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 29
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
29 | 30/09/2015 | 7:00:00 a.m. | 26808487 | 4122416 | 6.2636 | 0 | 81.911 | 28.8 | 2918.5 | 3696.9
28 | 29/09/2015 | 7:00:00 a.m. | 26738501 | 4111344 | 6.5658 | 0 | 81.406 | 29 | 2983.7 | 3893.5
27 | 28/09/2015 | 7:00:00 a.m. | 26666949 | 4099953 | 6.6238 | 0 | 84.055 | 29 | 2920.5 | 3698.5
26 | 27/09/2015 | 7:00:00 a.m. | 26596915 | 4089109 | 6.7109 | 0 | 84.034 | 29.1 | 2878.1 | 3883.1
25 | 26/09/2015 | 7:00:00 a.m. | 26527843 | 4078407 | 6.6754 | 0 | 81.546 | 29 | 2980.7 | 3772
24 | 25/09/2015 | 7:00:00 a.m. | 26456397 | 4067045 | 6.4332 | 0 | 81.303 | 29 | 2978.3 | 3802.5
23 | 24/09/2015 | 7:00:00 a.m. | 26384946 | 4055659 | 6.4294 | 0 | 81.566 | 29 | 2952.5 | 3699.8
22 | 23/09/2015 | 7:00:00 a.m. | 26314127 | 4044404 | 6.3442 | 0 | 81.047 | 29 | 3023.6 | 3635.2
| 22/09/2015 | 7:00:00 a.m. | 26241621 | 4032819 | 6.2716 | 0 | 82.538 | 29.1 | 2847 | 3557.9
| 21/09/2015 | 7:00:00 a.m. | 26173281 | 4022072 | 6.4553 | 0 | 85.099 | 29.9 | 2669.7 | 3372.9
| 20/09/2015 | 7:00:00 a.m. | 26109245 | 4012237 | 6.8625 | 0 | 84.487 | 29.4 | 2807.6 | 3494.4
| 19/09/2015 | 7:00:00 a.m. | 26041894 | 4001846 | 6.4804 | 0 | 81.866 | 29.2 | 2922.2 | 3615.5
| 18/09/2015 | 7:00:00 a.m. | 25971747 | 3990723 | 6.4504 | 0 | 82.531 | 29.4 | 2781.9 | 3535
| 17/09/2015 | 7:00:00 a.m. | 25904947 | 3980207 | 6.4275 | 0 | 89.806 | 29.1 | 1033.7 | 2996.3
| 16/09/2015 | 7:00:00 a.m. | 25880169 | 3976533 | 6.9747 | 0 | 84.846 | 29.4 | 2330.1 | 3555.7
| 15/09/2015 | 7:00:00 a.m. | 25824266 | 3967893 | 6.6563 | 0 | 83.595 | 29.9 | 2739.1 | 3779
| 14/09/2015 | 7:00:00 a.m. | 25758548 | 3957606 | 6.4325 | 0 | 84.077 | 30 | 2935.2 | 3753.7
| 13/09/2015 | 7:00:00 a.m. | 25688131 | 3946670 | 6.7609 | 0 | 84.355 | 30.2 | 2826.5 | 3744.5
| 12/09/2015 | 7:00:00 a.m. | 25620326 | 3936162 | 6.7056 | 0 | 81.643 | 30.2 | 2966.3 | 3710.8
| 11/09/2015 | 7:00:00 a.m. | 25549155 | 3924809 | 6.6031 | 0 | 81.858 | 30.3 | 2932.6 | 3788.2
| 10/09/2015 | 7:00:00 a.m. | 25478800 | 3913607 | 6.3776 | 0 | 83.371 | 30.5 | 2656.1 | 3596.3
| 09/09/2015 | 7:00:00 a.m. | 25415043 | 3903597 | 6.3977 | 0 | 82.032 | 30.2 | 2869.6 | 3670.8
| 08/09/2015 | 7:00:00 a.m. | 25346002 | 3892628 | 6.2726 | 0 | 82.468 | 29.8 | 2895.6 | 3869.6
| 07/09/2015 | 7:00:00 a.m. | 25276502 | 3881654 | 6.3692 | 0 | 84.273 | 29.7 | 2884.3 | 3751.1
| 06/09/2015 | 7:00:00 a.m. | 25207262 | 3870927 | 6.7894 | 0 | 85.325 | 29.4 | 2673 | 3522.7
| 05/09/2015 | 7:00:00 a.m. | 25143142 | 3861117 | 6.6821 | 0 | 82.292 | 29.3 | 2859.8 | 3782.5
| 04/09/2015 | 7:00:00 a.m. | 25074549 | 3850281 | 6.4133 | 0 | 81.818 | 29.3 | 2912.1 | 3717.8
| 03/09/2015 | 7:00:00 a.m. | 25004675 | 3839187 | 6.5689 | 0 | 82.043 | 29.4 | 2912.8 | 3943.6
| 02/09/2015 | 7:00:00 a.m. | 24934818 | 3828118 | 6.5204 | 0 | 81.838 | 29.5 | 2932.9 | 3930.1
| 01/09/2015 | 7:00:00 a.m. | 24864464 | 3816936 | 6.6485 | 0 | 81.72 | 29.6 | 2953.8 | 3790.7

## OCTUBRE
Data Log
Unit Serial Number: | 03/11/45880
Meter/Site ID: | Prime Turbine
Drive Rate | 1 m³/rev
Number of Logs Stored: | 7
Fault/Alarms Recorded: | Date | Time | Condition
1 | 28/12/2014 | 2:49:31 a.m. | 42 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 24/11/2014 | 2:10:04 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 24/11/2014 | 10:48:49 a.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
7 | 15/10/2015 | 7:00:00 a.m. | 27883482 | 4291925 | 6.6183 | 0 | 80.459 | 27.8 | 3109.2 | 3881.1
6 | 14/10/2015 | 7:00:00 a.m. | 27808857 | 4279975 | 6.319 | 0 | 80.879 | 27.8 | 3046.1 | 3731.1
5 | 13/10/2015 | 7:00:00 a.m. | 27735779 | 4268323 | 6.405 | 0 | 81.265 | 27.9 | 3007.8 | 3715
4 | 12/10/2015 | 7:00:00 a.m. | 27663596 | 4256866 | 6.5661 | 0 | 83.799 | 28 | 2986.4 | 3705.1
3 | 11/10/2015 | 7:00:00 a.m. | 27591913 | 4245781 | 6.8734 | 0 | 85.19 | 28.1 | 2693.9 | 3548.3
2 | 10/10/2015 | 7:00:00 a.m. | 27527246 | 4235918 | 6.7039 | 0 | 82.633 | 28.3 | 2801.4 | 3582.7
1 | 09/10/2015 | 7:00:00 a.m. | 27460040 | 4225385 | 6.1129 | 0 | 81.082 | 27.4 | 3031.9 | 3724.1
| 08/10/2015 | 7:00:00 a.m. | 27387183 | 4213821 | 6.398 | 0 | 80.688 | 27.3 | 3088.7 | 3771.3
| 07/10/2015 | 7:00:00 a.m. | 27313020 | 4202001 | 6.1461 | 0 | 81.016 | 27.4 | 3037.1 | 3729.4
| 06/10/2015 | 7:00:00 a.m. | 27240138 | 4190416 | 6.484 | 0 | 80.653 | 27.2 | 3102 | 3805.6
| 05/10/2015 | 7:00:00 a.m. | 27165711 | 4178553 | 6.3808 | 0 | 83.363 | 27.6 | 3055.3 | 3761.7
| 04/10/2015 | 7:00:00 a.m. | 27092369 | 4167176 | 6.7269 | 0 | 83.779 | 28.3 | 2942.4 | 3687
| 03/10/2015 | 7:00:00 a.m. | 27021767 | 4156238 | 6.3824 | 0 | 81.946 | 28.4 | 2917.1 | 3774.3
| 02/10/2015 | 7:00:00 a.m. | 26951771 | 4145184 | 6.215 | 0 | 81.265 | 28.7 | 3028.9 | 3710.8
| 01/10/2015 | 7:00:00 a.m. | 26879092 | 4133616 | 6.5084 | 0 | 81.721 | 28.9 | 2942.8 | 3712.5