## Dlog_MECALUX 45988_28-02-2014
Data Log
Unit Serial Number: | 03/11/45988
Meter/Site ID: | MECALUX 45988
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/06/2012 | 8:20:25 a.m. | 51 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Flow Rate Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 10/06/2011 | 7:04:04 p.m. | 50 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred Low Flow Rate Alarm Occurred)
3 | 05/05/2011 | 1:37:46 p.m. | 34 (Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
4 | 05/05/2011 | 1:27:00 p.m. | 16 (High Flow Rate Alarm Occurred)
5 | 05/05/2011 | 11:47:49 a.m. | 48 (High Flow Rate Alarm Occurred Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
21 | 28/02/2014 | 7:00:00 a.m. | 633512 | 811212 | 6.881 | 0 | 89.183 | 19.4
20 | 27/02/2014 | 7:00:00 a.m. | 630173 | 810734 | 7.0852 | 0 | 89.305 | 18.6
19 | 26/02/2014 | 7:00:00 a.m. | 626724 | 810241 | 7.0645 | 0 | 88.782 | 18.6
18 | 25/02/2014 | 7:00:00 a.m. | 623426 | 809767 | 6.9446 | 0 | 88.652 | 18.9
17 | 24/02/2014 | 7:00:00 a.m. | 620664 | 809369 | 6.9179 | 0 | 91.82 | 18.2
16 | 23/02/2014 | 7:00:00 a.m. | 620418 | 809334 | 7.5971 | 0 | 91.765 | 16.9
15 | 22/02/2014 | 7:00:00 a.m. | 620418 | 809334 | 7.4886 | 0 | 89.789 | 17.1
14 | 21/02/2014 | 7:00:00 a.m. | 619344 | 809180 | 6.9518 | 0 | 89.155 | 18.9
13 | 20/02/2014 | 7:00:00 a.m. | 616625 | 808790 | 6.8887 | 0 | 88.777 | 17.4
12 | 19/02/2014 | 7:00:00 a.m. | 613763 | 808380 | 7.0068 | 0 | 88.887 | 17.9
11 | 18/02/2014 | 7:00:00 a.m. | 610917 | 807972 | 6.9396 | 0 | 88.869 | 18
10 | 17/02/2014 | 7:00:00 a.m. | 608202 | 807582 | 7.0996 | 0 | 91.685 | 18
9 | 16/02/2014 | 7:00:00 a.m. | 607974 | 807550 | 7.5363 | 0 | 91.803 | 20.3
8 | 15/02/2014 | 7:00:00 a.m. | 607974 | 807550 | 7.4909 | 0 | 89.491 | 17.3
7 | 14/02/2014 | 7:00:00 a.m. | 606187 | 807293 | 7.0321 | 0 | 88.867 | 18.6
6 | 13/02/2014 | 7:00:00 a.m. | 603622 | 806925 | 6.999 | 0 | 88.137 | 18.7
5 | 12/02/2014 | 7:00:00 a.m. | 601442 | 806611 | 6.9244 | 0 | 88.213 | 17.7
4 | 11/02/2014 | 7:00:00 a.m. | 598821 | 806233 | 7.044 | 0 | 88.015 | 17.2
3 | 10/02/2014 | 7:00:00 a.m. | 596149 | 805848 | 7.0327 | 0 | 90.625 | 16.3
2 | 09/02/2014 | 7:00:00 a.m. | 595915 | 805815 | 7.3713 | 0 | 90.426 | 15.7
1 | 08/02/2014 | 7:00:00 a.m. | 595915 | 805815 | 7.3955 | 0 | 88.21 | 14.7
| 07/02/2014 | 7:00:00 a.m. | 594053 | 805546 | 7.0582 | 0 | 88.025 | 17.3
| 06/02/2014 | 7:00:00 a.m. | 591231 | 805140 | 7.0427 | 0 | 87.798 | 16.9
| 05/02/2014 | 7:00:00 a.m. | 588615 | 804762 | 6.9608 | 0 | 87.819 | 17
| 04/02/2014 | 7:00:00 a.m. | 585772 | 804352 | 7.0042 | 0 | 91.295 | 12.8
| 03/02/2014 | 7:00:00 a.m. | 585574 | 804324 | 7.5172 | 0 | 91.428 | 13.5
| 02/02/2014 | 7:00:00 a.m. | 585574 | 804324 | 7.5568 | 0 | 90.337 | 13.1
| 01/02/2014 | 7:00:00 a.m. | 585574 | 804324 | 7.4849 | 0 | 88.396 | 13.8
| 31/01/2014 | 7:00:00 a.m. | 584766 | 804208 | 7.0685 | 0 | 88.252 | 18.3