## Cooper 092913 Diarios Mc B
Daily Data Log
Corrector Serial Number : | 40772
1 Impulse = | 0.1m ³
Units of Pressure | psi
Units of Temperature | °C
Peak Flow Period | 60 mins
Time | Year | Month | Day | Converted Volume | Converted Pulses | Unconverted Volume | Unconverted Pulses | Unconverted Under Fault Volume | Unconverted Under Fault Pulses | Flow Weighted Average Pressure : | Flow Weighted Average Temperature : | Peak Flow m³/hour | Display Digits:
9:00 | 2013 | 10 | 1 | 396242 | 3962428 | 74012 | 740128 | 0 | 0 | 85.1225 | 22.39 | 11.2 | 7
9:00 | 2013 | 9 | 30 | 396188 | 3961887 | 74004 | 740049 | 0 | 0 | 86.2554 | 14.15 | 7.82 | 7
9:00 | 2013 | 9 | 29 | 396175 | 3961759 | 74003 | 740031 | 0 | 0 | 87.5498 | 18.89 | 8.62 | 7
9:00 | 2013 | 9 | 28 | 396152 | 3961524 | 73999 | 739998 | 0 | 0 | 86.7616 | 19.86 | 11.95 | 7
9:00 | 2013 | 9 | 27 | 396112 | 3961124 | 73994 | 739941 | 0 | 0 | 86.1977 | 19.8 | 14.96 | 7
9:00 | 2013 | 9 | 26 | 396032 | 3960322 | 73982 | 739826 | 0 | 0 | 85.9015 | 21.01 | 12.18 | 7
9:00 | 2013 | 9 | 25 | 395978 | 3959781 | 73974 | 739748 | 0 | 0 | 86.1085 | 21.02 | 14.13 | 7
9:00 | 2013 | 9 | 24 | 395892 | 3958920 | 73962 | 739624 | 0 | 0 | 86.0833 | 21.69 | 11.25 | 7
9:00 | 2013 | 9 | 23 | 395833 | 3958332 | 73953 | 739539 | 0 | 0 | 87.3504 | 17.11 | 11.37 | 7
9:00 | 2013 | 9 | 22 | 395815 | 3958154 | 73951 | 739514 | 0 | 0 | 88.9777 | 21.14 | 8.52 | 7
9:00 | 2013 | 9 | 21 | 395784 | 3957846 | 73947 | 739471 | 0 | 0 | 87.2507 | 23.13 | 9.85 | 7
9:00 | 2013 | 9 | 20 | 395755 | 3957554 | 73942 | 739429 | 0 | 0 | 86.6321 | 21.91 | 13.33 | 7
9:00 | 2013 | 9 | 19 | 395694 | 3956941 | 73934 | 739341 | 0 | 0 | 86.2746 | 20.56 | 11.09 | 7
9:00 | 2013 | 9 | 18 | 395621 | 3956210 | 73923 | 739236 | 0 | 0 | 87.0115 | 21.99 | 12.66 | 7
9:00 | 2013 | 9 | 17 | 395558 | 3955581 | 73914 | 739146 | 0 | 0 | 88.8466 | 14.2 | 6.55 | 7
9:00 | 2013 | 9 | 16 | 395545 | 3955457 | 73912 | 739129 | 0 | 0 | 89.5174 | 17.19 | 0 | 7
9:00 | 2013 | 9 | 15 | 395545 | 3955457 | 73912 | 739129 | 0 | 0 | 89.5174 | 17.19 | 7.26 | 7
9:00 | 2013 | 9 | 14 | 395531 | 3955311 | 73910 | 739109 | 0 | 0 | 88.3658 | 19.81 | 10.05 | 7
9:00 | 2013 | 9 | 13 | 395471 | 3954712 | 73902 | 739025 | 0 | 0 | 87.1516 | 20.77 | 11.53 | 7
9:00 | 2013 | 9 | 12 | 395401 | 3954017 | 73892 | 738926 | 0 | 0 | 86.0347 | 21.41 | 12.07 | 7
9:00 | 2013 | 9 | 11 | 395328 | 3953289 | 73882 | 738821 | 0 | 0 | 85.3762 | 21.86 | 12.56 | 7
9:00 | 2013 | 9 | 10 | 395256 | 3952561 | 73871 | 738715 | 0 | 0 | 86.6521 | 19.81 | 12.11 | 7
9:00 | 2013 | 9 | 9 | 395184 | 3951846 | 73861 | 738613 | 0 | 0 | 88.2054 | 15.96 | 10.82 | 7
9:00 | 2013 | 9 | 8 | 395170 | 3951701 | 73859 | 738593 | 0 | 0 | 87.7182 | 16.24 | 5.05 | 7
9:00 | 2013 | 9 | 7 | 395150 | 3951507 | 73856 | 738566 | 0 | 0 | 86.978 | 18.18 | 7.22 | 7
9:00 | 2013 | 9 | 6 | 395093 | 3950934 | 73848 | 738485 | 0 | 0 | 85.9375 | 22.33 | 8.92 | 7
9:00 | 2013 | 9 | 5 | 395043 | 3950438 | 73841 | 738413 | 0 | 0 | 85.8554 | 20.58 | 11.42 | 7
9:00 | 2013 | 9 | 4 | 394969 | 3949696 | 73830 | 738306 | 0 | 0 | 87.1824 | 21.84 | 10.69 | 7
9:00 | 2013 | 9 | 3 | 394913 | 3949136 | 73822 | 738226 | 0 | 0 | 87.9621 | 24.55 | 15.11 | 7
9:00 | 2013 | 9 | 2 | 394826 | 3948262 | 73810 | 738101 | 0 | 0 | 89.3333 | 15.16 | 6.57 | 7
9:00 | 2013 | 9 | 1 | 394815 | 3948152 | 73808 | 738086 | 0 | 0 | 89.3618 | 22.6 | 8.69 | 7