## Kluber 100113 Diarios Mc A
Daily Data Log
Corrector Serial Number : | 10429
1 Impulse = | 0.1m ³
Units of Pressure | psi
Units of Temperature | °C
Peak Flow Period | 60 mins
Time | Year | Month | Day | Converted Volume | Converted Pulses | Unconverted Volume | Unconverted Pulses | Unconverted Under Fault Volume | Unconverted Under Fault Pulses | Flow Weighted Average Pressure : | Flow Weighted Average Temperature : | Peak Flow m³/hour | Display Digits:
9:00 | 2013 | 10 | 1 | 75031 | 750312 | 92541 | 925414 | 0 | 0 | 85.1557 | 19 | 60.76 | 7
9:00 | 2013 | 9 | 30 | 74907 | 749073 | 92523 | 925235 | 0 | 0 | 85.6617 | 10.63 | 0.71 | 7
9:00 | 2013 | 9 | 29 | 74906 | 749065 | 92523 | 925234 | 0 | 0 | 86.9004 | 22 | 0 | 7
9:00 | 2013 | 9 | 28 | 74906 | 749065 | 92523 | 925234 | 0 | 0 | 86.9004 | 22 | 63.96 | 7
9:00 | 2013 | 9 | 27 | 74765 | 747650 | 92503 | 925031 | 0 | 0 | 86.4164 | 19.56 | 22.77 | 7
9:00 | 2013 | 9 | 26 | 74687 | 746873 | 92492 | 924920 | 0 | 0 | 85.2634 | 24.39 | 62.38 | 7
9:00 | 2013 | 9 | 25 | 74397 | 743970 | 92449 | 924493 | 0 | 0 | 84.8384 | 18.51 | 60.65 | 7
9:00 | 2013 | 9 | 24 | 74270 | 742705 | 92431 | 924310 | 0 | 0 | 86.3052 | 24.39 | 62.36 | 7
9:00 | 2013 | 9 | 23 | 74047 | 740471 | 92398 | 923985 | 0 | 0 | 87.529 | 18.99 | 1.43 | 7
9:00 | 2013 | 9 | 22 | 74032 | 740322 | 92396 | 923964 | 0 | 0 | 87.2169 | 26.16 | 0 | 7
9:00 | 2013 | 9 | 21 | 74032 | 740322 | 92396 | 923964 | 0 | 0 | 87.2169 | 26.16 | 3.47 | 7
9:00 | 2013 | 9 | 20 | 74020 | 740205 | 92394 | 923947 | 0 | 0 | 86.2715 | 25.46 | 61.68 | 7
9:00 | 2013 | 9 | 19 | 73806 | 738063 | 92363 | 923634 | 0 | 0 | 86.5754 | 23.34 | 58.86 | 7
9:00 | 2013 | 9 | 18 | 73477 | 734777 | 92315 | 923159 | 0 | 0 | 87.0234 | 23.1 | 62.3 | 7
9:00 | 2013 | 9 | 17 | 73157 | 731578 | 92269 | 922699 | 0 | 0 | 89.1181 | 13.97 | 0.74 | 7
9:00 | 2013 | 9 | 16 | 73156 | 731563 | 92269 | 922697 | 0 | 0 | 88.198 | 21.05 | 0 | 7
9:00 | 2013 | 9 | 15 | 73156 | 731563 | 92269 | 922697 | 0 | 0 | 88.198 | 21.05 | 0 | 7
9:00 | 2013 | 9 | 14 | 73156 | 731563 | 92269 | 922697 | 0 | 0 | 88.198 | 21.05 | 2.87 | 7
9:00 | 2013 | 9 | 13 | 73141 | 731414 | 92267 | 922676 | 0 | 0 | 86.8408 | 23.51 | 61.76 | 7
9:00 | 2013 | 9 | 12 | 72927 | 729273 | 92236 | 922367 | 0 | 0 | 85.9677 | 23.04 | 42.48 | 7
9:00 | 2013 | 9 | 11 | 72720 | 727208 | 92206 | 922067 | 0 | 0 | 85.4557 | 23.16 | 62.67 | 7
9:00 | 2013 | 9 | 10 | 72394 | 723944 | 92159 | 921590 | 0 | 0 | 87.061 | 23.25 | 63.27 | 7
9:00 | 2013 | 9 | 9 | 72062 | 720627 | 92111 | 921113 | 0 | 0 | 87.3664 | 17.86 | 1.45 | 7
9:00 | 2013 | 9 | 8 | 72045 | 720456 | 92108 | 921089 | 0 | 0 | 86.6614 | 20.63 | 0 | 7
9:00 | 2013 | 9 | 7 | 72045 | 720456 | 92108 | 921089 | 0 | 0 | 86.6614 | 20.63 | 3.52 | 7
9:00 | 2013 | 9 | 6 | 72029 | 720295 | 92106 | 921066 | 0 | 0 | 85.7629 | 24.33 | 59.96 | 7
9:00 | 2013 | 9 | 5 | 71868 | 718689 | 92083 | 920831 | 0 | 0 | 85.1177 | 22.39 | 62.38 | 7
9:00 | 2013 | 9 | 4 | 71656 | 716563 | 92052 | 920520 | 0 | 0 | 87.25 | 23.45 | 64.57 | 7
9:00 | 2013 | 9 | 3 | 71378 | 713784 | 92012 | 920121 | 0 | 0 | 87.6794 | 25.42 | 61.01 | 7
9:00 | 2013 | 9 | 2 | 71143 | 711437 | 91978 | 919783 | 0 | 0 | 90.61 | 12.35 | 1.49 | 7
9:00 | 2013 | 9 | 1 | 71142 | 711422 | 91978 | 919781 | 0 | 0 | 88.38 | 23.33 | 0 | 7