## Norgren 100113 Diarios Mc A
Daily Data Log
Corrector Serial Number : | 40761
1 Impulse = | 0.1m ³
Units of Pressure | psi
Units of Temperature | °C
Peak Flow Period | 1 mins
Time | Year | Month | Day | Converted Volume | Converted Pulses | Unconverted Volume | Unconverted Pulses | Unconverted Under Fault Volume | Unconverted Under Fault Pulses | Flow Weighted Average Pressure : | Flow Weighted Average Temperature : | Peak Flow m³/hour | Display Digits:
9:00 | 2013 | 10 | 1 | 2296594 | 22965942 | 398942 | 3989423 | 1 | 12 | 85.7591 | 21.62 | 84.96 | 7
9:00 | 2013 | 9 | 30 | 2295965 | 22959650 | 398851 | 3988511 | 1 | 12 | 88.6003 | 20.73 | 84.63 | 7
9:00 | 2013 | 9 | 29 | 2295667 | 22956679 | 398809 | 3988094 | 1 | 12 | 88.0909 | 21.46 | 85.1 | 7
9:00 | 2013 | 9 | 28 | 2295307 | 22953072 | 398758 | 3987584 | 1 | 12 | 87.345 | 21.63 | 85.28 | 7
9:00 | 2013 | 9 | 27 | 2294749 | 22947498 | 398678 | 3986789 | 1 | 12 | 85.9192 | 21.29 | 84.09 | 7
9:00 | 2013 | 9 | 26 | 2294172 | 22941720 | 398595 | 3985954 | 1 | 12 | 86.0987 | 21.95 | 84.7 | 7
9:00 | 2013 | 9 | 25 | 2293519 | 22935199 | 398501 | 3985011 | 1 | 12 | 86.1314 | 21.43 | 84.57 | 7
9:00 | 2013 | 9 | 24 | 2292910 | 22929100 | 398413 | 3984131 | 1 | 12 | 86.4 | 22.11 | 85.19 | 7
9:00 | 2013 | 9 | 23 | 2292232 | 22922326 | 398315 | 3983154 | 1 | 12 | 89.3999 | 21.85 | 86 | 7
9:00 | 2013 | 9 | 22 | 2291820 | 22918206 | 398257 | 3982578 | 1 | 12 | 89.8072 | 20.64 | 44.09 | 7
9:00 | 2013 | 9 | 21 | 2291663 | 22916633 | 398236 | 3982360 | 1 | 12 | 88.0052 | 21.5 | 43.31 | 7
9:00 | 2013 | 9 | 20 | 2291481 | 22914810 | 398210 | 3982102 | 1 | 12 | 86.5329 | 22.3 | 42.74 | 7
9:00 | 2013 | 9 | 19 | 2291318 | 22913187 | 398186 | 3981868 | 1 | 12 | 85.932 | 21.41 | 84.6 | 7
9:00 | 2013 | 9 | 18 | 2290887 | 22908871 | 398124 | 3981244 | 1 | 12 | 87.3029 | 21.83 | 85.74 | 7
9:00 | 2013 | 9 | 17 | 2290295 | 22902952 | 398039 | 3980399 | 1 | 12 | 90.6483 | 20.58 | 86.91 | 7
9:00 | 2013 | 9 | 16 | 2289967 | 22899670 | 397994 | 3979948 | 1 | 12 | 91.733 | 19.42 | 44.74 | 7
9:00 | 2013 | 9 | 15 | 2289958 | 22899581 | 397993 | 3979936 | 1 | 12 | 89.437 | 22.02 | 86.25 | 7
9:00 | 2013 | 9 | 14 | 2289802 | 22898022 | 397971 | 3979718 | 1 | 12 | 88.7346 | 21.53 | 87.01 | 7
9:00 | 2013 | 9 | 13 | 2289137 | 22891370 | 397878 | 3978783 | 1 | 12 | 88.1321 | 21.81 | 86.68 | 7
9:00 | 2013 | 9 | 12 | 2288528 | 22885281 | 397792 | 3977921 | 1 | 12 | 86.0206 | 22.01 | 84.05 | 7
9:00 | 2013 | 9 | 11 | 2287922 | 22879222 | 397704 | 3977044 | 1 | 12 | 86.0522 | 22.01 | 84.64 | 7
9:00 | 2013 | 9 | 10 | 2287294 | 22872946 | 397613 | 3976136 | 1 | 12 | 86.8503 | 22.1 | 85.52 | 7
9:00 | 2013 | 9 | 9 | 2286685 | 22866858 | 397526 | 3975262 | 1 | 12 | 90.5434 | 20.73 | 86.69 | 7
9:00 | 2013 | 9 | 8 | 2286357 | 22863574 | 397481 | 3974810 | 1 | 12 | 88.6778 | 21.2 | 84.73 | 7
9:00 | 2013 | 9 | 7 | 2285986 | 22859865 | 397428 | 3974289 | 1 | 12 | 87.252 | 21.37 | 86.17 | 7
9:00 | 2013 | 9 | 6 | 2285365 | 22853659 | 397340 | 3973404 | 1 | 12 | 86.547 | 22.91 | 85.46 | 7
9:00 | 2013 | 9 | 5 | 2284667 | 22846672 | 397239 | 3972395 | 1 | 12 | 86.3919 | 22.62 | 84.61 | 7
9:00 | 2013 | 9 | 4 | 2284009 | 22840098 | 397144 | 3971445 | 1 | 12 | 87.2688 | 22.99 | 85.95 | 7
9:00 | 2013 | 9 | 3 | 2283428 | 22834289 | 397061 | 3970612 | 1 | 12 | 88.2828 | 23.73 | 85.64 | 7
9:00 | 2013 | 9 | 2 | 2282779 | 22827796 | 396968 | 3969688 | 1 | 12 | 90.9192 | 23.04 | 86.41 | 7
9:00 | 2013 | 9 | 1 | 2282449 | 22824490 | 396923 | 3969231 | 1 | 12 | 90.4354 | 23.32 | 84.57 | 7