## monsanto 01 12 13 diario mc b
Data Log
Unit Serial Number: | 10/05/27137
Meter/Site ID: | 615285 Monsanto
Drive Rate | 1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
24 | 19/11/2013 | 12:20:22 p.m. | 2 (Low Pressure Alarm Occurred)
25 | 19/11/2013 | 12:28:41 p.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
1 | 28/10/2013 | 9:00:00 a.m. | 7572654 | 1109664 | 7.0333 | 0 | 87.224 | 21.4
2 | 29/10/2013 | 9:00:00 a.m. | 7580131 | 1110726 | 7.0528 | 0 | 87.437 | 21.4
3 | 30/10/2013 | 9:00:00 a.m. | 7587523 | 1111778 | 7.0601 | 0 | 87.332 | 21.7
4 | 31/10/2013 | 9:00:00 a.m. | 7595214 | 1112873 | 7.1422 | 0 | 87.223 | 21.4
5 | 01/11/2013 | 9:00:00 a.m. | 7604284 | 1114166 | 6.99 | 0 | 87.036 | 21
6 | 02/11/2013 | 9:00:00 a.m. | 7613833 | 1115529 | 7.0005 | 0 | 86.919 | 21.5
7 | 03/11/2013 | 9:00:00 a.m. | 7625409 | 1117178 | 7.0529 | 0 | 86.765 | 20.5
8 | 04/11/2013 | 9:00:00 a.m. | 7634366 | 1118451 | 7.0535 | 0 | 87.231 | 21.1
9 | 05/11/2013 | 9:00:00 a.m. | 7643000 | 1119676 | 7.0686 | 0 | 87.355 | 21.1
10 | 06/11/2013 | 9:00:00 a.m. | 7651140 | 1120832 | 7.0268 | 0 | 87.317 | 21.3
11 | 07/11/2013 | 9:00:00 a.m. | 7660914 | 1122222 | 7.0615 | 0 | 87.067 | 20.9
12 | 08/11/2013 | 9:00:00 a.m. | 7671893 | 1123786 | 7.0165 | 0 | 86.861 | 20.7
13 | 09/11/2013 | 9:00:00 a.m. | 7682678 | 1125321 | 7.0623 | 0 | 86.934 | 20.8
14 | 10/11/2013 | 9:00:00 a.m. | 7691884 | 1126626 | 7.0742 | 0 | 87.308 | 20.8
15 | 11/11/2013 | 9:00:00 a.m. | 7702248 | 1128096 | 7.0187 | 0 | 87.181 | 20.5
16 | 12/11/2013 | 9:00:00 a.m. | 7710325 | 1129239 | 7.0701 | 0 | 87.549 | 20.6
17 | 13/11/2013 | 9:00:00 a.m. | 7718182 | 1130348 | 7.1109 | 0 | 87.607 | 20.4
18 | 14/11/2013 | 9:00:00 a.m. | 7729298 | 1131920 | 7.0228 | 0 | 87.119 | 19.3
19 | 15/11/2013 | 9:00:00 a.m. | 7740766 | 1133555 | 7.0092 | 0 | 86.718 | 20.5
20 | 16/11/2013 | 9:00:00 a.m. | 7751026 | 1135012 | 7.0302 | 0 | 87.053 | 20.3
21 | 17/11/2013 | 9:00:00 a.m. | 7761091 | 1136443 | 6.9812 | 0 | 87.013 | 20.6
22 | 18/11/2013 | 9:00:00 a.m. | 7769292 | 1137604 | 7.0547 | 0 | 87.407 | 20.8
23 | 19/11/2013 | 9:00:00 a.m. | 7777106 | 1138711 | 7.0306 | 0 | 87.489 | 21.3
24 | 20/11/2013 | 9:00:00 a.m. | 7786445 | 1140046 | 7.0453 | 0 | 86.513 | 21
25 | 21/11/2013 | 9:00:00 a.m. | 7796309 | 1141453 | 6.9743 | 0 | 86.713 | 20.7
26 | 22/11/2013 | 9:00:00 a.m. | 7806758 | 1142946 | 6.9847 | 0 | 86.582 | 20.6
27 | 23/11/2013 | 9:00:00 a.m. | 7814300 | 1144017 | 7.163 | 0 | 87.191 | 20.4
28 | 24/11/2013 | 9:00:00 a.m. | 7820301 | 1144865 | 7.1084 | 0 | 87.436 | 20.4
29 | 25/11/2013 | 9:00:00 a.m. | 7821879 | 1145089 | 7.3388 | 0 | 88.141 | 17.4
30 | 26/11/2013 | 9:00:00 a.m. | 7822367 | 1145157 | 7.1865 | 0 | 88.053 | 18.8
31 | 27/11/2013 | 9:00:00 a.m. | 7822672 | 1145199 | 7.3929 | 0 | 88.262 | 16.7
32 | 28/11/2013 | 9:00:00 a.m. | 7823762 | 1145349 | 7.2892 | 0 | 88.222 | 16.7
33 | 29/11/2013 | 9:00:00 a.m. | 7826903 | 1145789 | 7.2523 | 0 | 87.817 | 18.8
34 | 30/11/2013 | 9:00:00 a.m. | 7831134 | 1146381 | 7.147 | 0 | 87.762 | 19
35 | 01/12/2013 | 9:00:00 a.m. | 7835535 | 1147000 | 7.2303 | 0 | 87.631 | 19.2