## monsanto 01 12 13 horario mc b
Data Log
Unit Serial Number: | 10/05/27137
Meter/Site ID: | 615285 Monsanto
Drive Rate | 1 m³/rev
Number of Logs Stored: | 840
Fault/Alarms Recorded: | Date | Time | Condition
24 | 19/11/2013 | 12:20:22 p.m. | 2 (Low Pressure Alarm Occurred)
25 | 19/11/2013 | 12:28:41 p.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
1 | 27/10/2013 | 1:00:00 p.m. | 7565402 | 1108633 | 6.9571 | 0 | 87.09 | 23.2
2 | 27/10/2013 | 2:00:00 p.m. | 7565632 | 1108666 | 6.9344 | 0 | 87.22 | 24.2
3 | 27/10/2013 | 3:00:00 p.m. | 7565881 | 1108702 | 6.9352 | 0 | 87.137 | 24.6
4 | 27/10/2013 | 4:00:00 p.m. | 7566152 | 1108741 | 6.9364 | 0 | 87.17 | 24.2
5 | 27/10/2013 | 5:00:00 p.m. | 7566382 | 1108774 | 6.9623 | 0 | 87.378 | 24.2
6 | 27/10/2013 | 6:00:00 p.m. | 7566634 | 1108810 | 7.0638 | 0 | 87.552 | 22.9
7 | 27/10/2013 | 7:00:00 p.m. | 7566930 | 1108852 | 7.0758 | 0 | 87.537 | 21.4
8 | 27/10/2013 | 8:00:00 p.m. | 7567247 | 1108897 | 7.0577 | 0 | 87.497 | 20.9
9 | 27/10/2013 | 9:00:00 p.m. | 7567614 | 1108949 | 7.0737 | 0 | 87.42 | 20.6
10 | 27/10/2013 | 10:00:00 p.m. | 7567974 | 1109000 | 7.049 | 0 | 87.375 | 20.4
11 | 27/10/2013 | 11:00:00 p.m. | 7568341 | 1109052 | 7.0651 | 0 | 87.363 | 20.3
12 | 28/10/2013 | 12:00:00 a.m. | 7568722 | 1109106 | 7.0185 | 0 | 87.394 | 20.2
13 | 28/10/2013 | 1:00:00 a.m. | 7569117 | 1109162 | 7.0526 | 0 | 87.295 | 20.1
14 | 28/10/2013 | 2:00:00 a.m. | 7569534 | 1109221 | 7.0521 | 0 | 87.264 | 20.1
15 | 28/10/2013 | 3:00:00 a.m. | 7569964 | 1109282 | 7.053 | 0 | 87.152 | 20
16 | 28/10/2013 | 4:00:00 a.m. | 7570407 | 1109345 | 7.022 | 0 | 87.058 | 20
17 | 28/10/2013 | 5:00:00 a.m. | 7570858 | 1109409 | 7.0423 | 0 | 87.137 | 20
18 | 28/10/2013 | 6:00:00 a.m. | 7571323 | 1109475 | 7.0348 | 0 | 86.987 | 20
19 | 28/10/2013 | 7:00:00 a.m. | 7571781 | 1109540 | 7.083 | 0 | 87.16 | 19.9
20 | 28/10/2013 | 8:00:00 a.m. | 7572211 | 1109601 | 7.0363 | 0 | 87.141 | 20
21 | 28/10/2013 | 9:00:00 a.m. | 7572654 | 1109664 | 7.0333 | 0 | 87.017 | 20.3
22 | 28/10/2013 | 10:00:00 a.m. | 7573083 | 1109725 | 7.0249 | 0 | 87.061 | 20.7
23 | 28/10/2013 | 11:00:00 a.m. | 7573440 | 1109776 | 7.0071 | 0 | 87.075 | 21.7
24 | 28/10/2013 | 12:00:00 p.m. | 7573761 | 1109822 | 6.9601 | 0 | 87.086 | 22.5
25 | 28/10/2013 | 1:00:00 p.m. | 7574054 | 1109864 | 6.9813 | 0 | 87.111 | 23.2
26 | 28/10/2013 | 2:00:00 p.m. | 7574339 | 1109905 | 6.9466 | 0 | 87.16 | 23.3
27 | 28/10/2013 | 3:00:00 p.m. | 7574590 | 1109941 | 6.956 | 0 | 87.237 | 23.9
28 | 28/10/2013 | 4:00:00 p.m. | 7574806 | 1109972 | 6.9528 | 0 | 87.352 | 24.4
29 | 28/10/2013 | 5:00:00 p.m. | 7575021 | 1110003 | 6.979 | 0 | 87.437 | 24.7
30 | 28/10/2013 | 6:00:00 p.m. | 7575252 | 1110036 | 7.0213 | 0 | 87.564 | 23.1
31 | 28/10/2013 | 7:00:00 p.m. | 7575506 | 1110072 | 7.0594 | 0 | 87.657 | 21.4
32 | 28/10/2013 | 8:00:00 p.m. | 7575782 | 1110111 | 7.0434 | 0 | 87.683 | 21
33 | 28/10/2013 | 9:00:00 p.m. | 7576078 | 1110153 | 7.0526 | 0 | 87.586 | 20.8
34 | 28/10/2013 | 10:00:00 p.m. | 7576375 | 1110195 | 7.0762 | 0 | 87.63 | 20.6
35 | 28/10/2013 | 11:00:00 p.m. | 7576679 | 1110238 | 7.0542 | 0 | 87.665 | 20.5
36 | 29/10/2013 | 12:00:00 a.m. | 7577004 | 1110284 | 7.086 | 0 | 87.523 | 20.3
37 | 29/10/2013 | 1:00:00 a.m. | 7577358 | 1110334 | 7.066 | 0 | 87.437 | 20.2
38 | 29/10/2013 | 2:00:00 a.m. | 7577704 | 1110383 | 7.0889 | 0 | 87.542 | 20.2
39 | 29/10/2013 | 3:00:00 a.m. | 7578044 | 1110431 | 7.0862 | 0 | 87.536 | 20
40 | 29/10/2013 | 4:00:00 a.m. | 7578391 | 1110480 | 7.0751 | 0 | 87.554 | 19.9
41 | 29/10/2013 | 5:00:00 a.m. | 7578738 | 1110529 | 7.1034 | 0 | 87.557 | 19.9
42 | 29/10/2013 | 6:00:00 a.m. | 7579078 | 1110577 | 7.0936 | 0 | 87.573 | 19.8
43 | 29/10/2013 | 7:00:00 a.m. | 7579453 | 1110630 | 7.0736 | 0 | 87.472 | 19.8
44 | 29/10/2013 | 8:00:00 a.m. | 7579814 | 1110681 | 7.0599 | 0 | 87.489 | 19.9
45 | 29/10/2013 | 9:00:00 a.m. | 7580131 | 1110726 | 7.0528 | 0 | 87.509 | 20.6
46 | 29/10/2013 | 10:00:00 a.m. | 7580441 | 1110770 | 6.9964 | 0 | 87.373 | 21.3
47 | 29/10/2013 | 11:00:00 a.m. | 7580756 | 1110815 | 6.9828 | 0 | 87.108 | 22
48 | 29/10/2013 | 12:00:00 p.m. | 7581014 | 1110852 | 6.986 | 0 | 87.29 | 22.8
49 | 29/10/2013 | 1:00:00 p.m. | 7581245 | 1110885 | 6.9711 | 0 | 87.333 | 23.6
50 | 29/10/2013 | 2:00:00 p.m. | 7581432 | 1110912 | 6.9508 | 0 | 87.37 | 24.7
51 | 29/10/2013 | 3:00:00 p.m. | 7581605 | 1110937 | 6.921 | 0 | 87.377 | 25.6
52 | 29/10/2013 | 4:00:00 p.m. | 7581772 | 1110961 | 6.9356 | 0 | 87.446 | 25.1
53 | 29/10/2013 | 5:00:00 p.m. | 7581946 | 1110986 | 6.9701 | 0 | 87.509 | 24.6
54 | 29/10/2013 | 6:00:00 p.m. | 7582156 | 1111016 | 7.0197 | 0 | 87.611 | 23.1
55 | 29/10/2013 | 7:00:00 p.m. | 7582396 | 1111050 | 7.0611 | 0 | 87.672 | 21.8
56 | 29/10/2013 | 8:00:00 p.m. | 7582459 | 1111059 | 7.082 | 0 | 88.145 | 21.6
57 | 29/10/2013 | 9:00:00 p.m. | 7582776 | 1111104 | 7.0545 | 0 | 87.5 | 21.2
58 | 29/10/2013 | 10:00:00 p.m. | 7583135 | 1111155 | 7.0486 | 0 | 87.352 | 20.8
59 | 29/10/2013 | 11:00:00 p.m. | 7583523 | 1111210 | 7.0288 | 0 | 87.286 | 20.6
60 | 30/10/2013 | 12:00:00 a.m. | 7583910 | 1111265 | 7.0252 | 0 | 87.222 | 20.5
61 | 30/10/2013 | 1:00:00 a.m. | 7584319 | 1111323 | 7.0255 | 0 | 87.199 | 20.4
62 | 30/10/2013 | 2:00:00 a.m. | 7584707 | 1111378 | 7.0667 | 0 | 87.255 | 20.4
63 | 30/10/2013 | 3:00:00 a.m. | 7585115 | 1111436 | 7.0236 | 0 | 87.132 | 20.3
64 | 30/10/2013 | 4:00:00 a.m. | 7585551 | 1111498 | 7.0256 | 0 | 86.946 | 20.3
65 | 30/10/2013 | 5:00:00 a.m. | 7585973 | 1111558 | 7.0536 | 0 | 87.065 | 20.2
66 | 30/10/2013 | 6:00:00 a.m. | 7586367 | 1111614 | 7.0322 | 0 | 87.11 | 20.1
67 | 30/10/2013 | 7:00:00 a.m. | 7586776 | 1111672 | 7.0535 | 0 | 87.157 | 20.1
68 | 30/10/2013 | 8:00:00 a.m. | 7587157 | 1111726 | 7.0478 | 0 | 87.229 | 20.2
69 | 30/10/2013 | 9:00:00 a.m. | 7587523 | 1111778 | 7.0601 | 0 | 87.281 | 20.4
70 | 30/10/2013 | 10:00:00 a.m. | 7587847 | 1111824 | 6.9835 | 0 | 87.202 | 21.1
71 | 30/10/2013 | 11:00:00 a.m. | 7588134 | 1111865 | 6.9617 | 0 | 87.092 | 22
72 | 30/10/2013 | 12:00:00 p.m. | 7588392 | 1111902 | 6.9527 | 0 | 87.149 | 22.6
73 | 30/10/2013 | 1:00:00 p.m. | 7588629 | 1111936 | 6.9667 | 0 | 87.156 | 23.3
74 | 30/10/2013 | 2:00:00 p.m. | 7588859 | 1111969 | 6.9953 | 0 | 87.237 | 23.3
75 | 30/10/2013 | 3:00:00 p.m. | 7589067 | 1111999 | 6.9375 | 0 | 87.199 | 24.3
76 | 30/10/2013 | 4:00:00 p.m. | 7589276 | 1112029 | 6.9589 | 0 | 87.276 | 24.3
77 | 30/10/2013 | 5:00:00 p.m. | 7589492 | 1112060 | 7.0166 | 0 | 87.374 | 23.8
78 | 30/10/2013 | 6:00:00 p.m. | 7589738 | 1112095 | 7.0231 | 0 | 87.442 | 22
79 | 30/10/2013 | 7:00:00 p.m. | 7590054 | 1112140 | 7.0252 | 0 | 87.305 | 21.1
80 | 30/10/2013 | 8:00:00 p.m. | 7590392 | 1112188 | 7.03 | 0 | 87.243 | 21
81 | 30/10/2013 | 9:00:00 p.m. | 7590737 | 1112237 | 7.0564 | 0 | 87.3 | 20.7
82 | 30/10/2013 | 10:00:00 p.m. | 7591110 | 1112290 | 7.0311 | 0 | 87.199 | 20.5
83 | 30/10/2013 | 11:00:00 p.m. | 7591476 | 1112342 | 7.0174 | 0 | 87.245 | 20.5
84 | 31/10/2013 | 12:00:00 a.m. | 7591836 | 1112393 | 7.0261 | 0 | 87.263 | 20.5
85 | 31/10/2013 | 1:00:00 a.m. | 7592202 | 1112445 | 7.0194 | 0 | 87.284 | 20.5
86 | 31/10/2013 | 2:00:00 a.m. | 7592589 | 1112500 | 7.0547 | 0 | 87.155 | 20.4
87 | 31/10/2013 | 3:00:00 a.m. | 7592998 | 1112558 | 7.048 | 0 | 87.131 | 20.2
88 | 31/10/2013 | 4:00:00 a.m. | 7593413 | 1112617 | 7.0389 | 0 | 87.083 | 20.2
89 | 31/10/2013 | 5:00:00 a.m. | 7593842 | 1112678 | 7.0318 | 0 | 87.007 | 20.2
90 | 31/10/2013 | 6:00:00 a.m. | 7594271 | 1112739 | 7.054 | 0 | 87.02 | 20.3
91 | 31/10/2013 | 7:00:00 a.m. | 7594714 | 1112802 | 7.0229 | 0 | 86.874 | 20.2
92 | 31/10/2013 | 8:00:00 a.m. | 7595129 | 1112861 | 7.1287 | 0 | 86.994 | 20.3
93 | 31/10/2013 | 9:00:00 a.m. | 7595214 | 1112873 | 7.1422 | 0 | 88.127 | 19.7
94 | 31/10/2013 | 10:00:00 a.m. | 7595454 | 1112907 | 7.0058 | 0 | 87.544 | 20.5
95 | 31/10/2013 | 11:00:00 a.m. | 7595749 | 1112949 | 7.0043 | 0 | 87.346 | 21.3
96 | 31/10/2013 | 12:00:00 p.m. | 7596036 | 1112990 | 6.9992 | 0 | 87.153 | 22
97 | 31/10/2013 | 1:00:00 p.m. | 7596330 | 1113032 | 7.0027 | 0 | 87.198 | 22.2
98 | 31/10/2013 | 2:00:00 p.m. | 7596610 | 1113072 | 6.9788 | 0 | 87.203 | 22.4
99 | 31/10/2013 | 3:00:00 p.m. | 7596883 | 1113111 | 6.9666 | 0 | 87.267 | 22.6
100 | 31/10/2013 | 4:00:00 p.m. | 7597156 | 1113150 | 7.0351 | 0 | 87.335 | 22.4
101 | 31/10/2013 | 5:00:00 p.m. | 7597430 | 1113189 | 7.0386 | 0 | 87.423 | 21.9
102 | 31/10/2013 | 6:00:00 p.m. | 7597725 | 1113231 | 7.0527 | 0 | 87.38 | 21.7
103 | 31/10/2013 | 7:00:00 p.m. | 7598041 | 1113276 | 7.029 | 0 | 87.215 | 21.2
104 | 31/10/2013 | 8:00:00 p.m. | 7598392 | 1113326 | 7.0145 | 0 | 87.167 | 20.8
105 | 31/10/2013 | 9:00:00 p.m. | 7598765 | 1113379 | 7.0382 | 0 | 87.127 | 20.6
106 | 31/10/2013 | 10:00:00 p.m. | 7599152 | 1113434 | 7.0432 | 0 | 87.094 | 20.5
107 | 31/10/2013 | 11:00:00 p.m. | 7599559 | 1113492 | 7.0455 | 0 | 86.98 | 20.5
108 | 01/11/2013 | 12:00:00 a.m. | 7599974 | 1113551 | 7.0089 | 0 | 86.999 | 20.6
109 | 01/11/2013 | 1:00:00 a.m. | 7600388 | 1113610 | 7.0181 | 0 | 86.979 | 20.6
110 | 01/11/2013 | 2:00:00 a.m. | 7600810 | 1113670 | 6.9892 | 0 | 87.002 | 20.6
111 | 01/11/2013 | 3:00:00 a.m. | 7601286 | 1113738 | 7.0266 | 0 | 86.672 | 20.4
112 | 01/11/2013 | 4:00:00 a.m. | 7601777 | 1113808 | 6.9894 | 0 | 86.628 | 20.3
113 | 01/11/2013 | 5:00:00 a.m. | 7602274 | 1113879 | 6.9972 | 0 | 86.676 | 20.2
114 | 01/11/2013 | 6:00:00 a.m. | 7602792 | 1113953 | 6.9861 | 0 | 86.556 | 20.3
115 | 01/11/2013 | 7:00:00 a.m. | 7603310 | 1114027 | 7.0342 | 0 | 86.54 | 20.3
116 | 01/11/2013 | 8:00:00 a.m. | 7603821 | 1114100 | 7.0318 | 0 | 86.623 | 20.3
117 | 01/11/2013 | 9:00:00 a.m. | 7604284 | 1114166 | 6.99 | 0 | 86.762 | 20.6
118 | 01/11/2013 | 10:00:00 a.m. | 7604703 | 1114226 | 6.9797 | 0 | 86.742 | 21.3
119 | 01/11/2013 | 11:00:00 a.m. | 7605087 | 1114281 | 6.9538 | 0 | 86.756 | 21.9
120 | 01/11/2013 | 12:00:00 p.m. | 7605408 | 1114327 | 6.9455 | 0 | 87.088 | 22.4
121 | 01/11/2013 | 1:00:00 p.m. | 7605686 | 1114367 | 6.9576 | 0 | 87.05 | 23.5
122 | 01/11/2013 | 2:00:00 p.m. | 7605971 | 1114408 | 6.934 | 0 | 87.02 | 23.8
123 | 01/11/2013 | 3:00:00 p.m. | 7606249 | 1114448 | 6.9633 | 0 | 86.987 | 24
124 | 01/11/2013 | 4:00:00 p.m. | 7606513 | 1114486 | 6.9438 | 0 | 87.146 | 24.1
125 | 01/11/2013 | 5:00:00 p.m. | 7606792 | 1114526 | 6.9518 | 0 | 87.165 | 24
126 | 01/11/2013 | 6:00:00 p.m. | 7607078 | 1114567 | 6.9985 | 0 | 87.275 | 23.1
127 | 01/11/2013 | 7:00:00 p.m. | 7607430 | 1114617 | 7.0295 | 0 | 87.272 | 21.5
128 | 01/11/2013 | 8:00:00 p.m. | 7607816 | 1114672 | 7.0367 | 0 | 87.069 | 20.9
129 | 01/11/2013 | 9:00:00 p.m. | 7608244 | 1114733 | 7.0146 | 0 | 86.909 | 20.8
130 | 01/11/2013 | 10:00:00 p.m. | 7608680 | 1114795 | 7.0358 | 0 | 86.883 | 20.7
131 | 01/11/2013 | 11:00:00 p.m. | 7609129 | 1114859 | 7.028 | 0 | 86.841 | 20.6
132 | 02/11/2013 | 12:00:00 a.m. | 7609585 | 1114924 | 7.0631 | 0 | 86.758 | 20.5
133 | 02/11/2013 | 1:00:00 a.m. | 7610062 | 1114992 | 7.0117 | 0 | 86.74 | 20.4
134 | 02/11/2013 | 2:00:00 a.m. | 7610540 | 1115060 | 7.0445 | 0 | 86.812 | 20.3
135 | 02/11/2013 | 3:00:00 a.m. | 7611025 | 1115129 | 7.035 | 0 | 86.826 | 20.2
136 | 02/11/2013 | 4:00:00 a.m. | 7611488 | 1115195 | 7.0276 | 0 | 86.829 | 20.3
137 | 02/11/2013 | 5:00:00 a.m. | 7611945 | 1115260 | 7.0118 | 0 | 86.899 | 20.4
138 | 02/11/2013 | 6:00:00 a.m. | 7612395 | 1115324 | 7.0199 | 0 | 86.934 | 20.4
139 | 02/11/2013 | 7:00:00 a.m. | 7612873 | 1115392 | 7.0167 | 0 | 86.75 | 20.3
140 | 02/11/2013 | 8:00:00 a.m. | 7613363 | 1115462 | 6.9898 | 0 | 86.595 | 20.2
141 | 02/11/2013 | 9:00:00 a.m. | 7613833 | 1115529 | 7.0005 | 0 | 86.716 | 20.6
142 | 02/11/2013 | 10:00:00 a.m. | 7614289 | 1115594 | 7 | 0 | 86.808 | 20.8
143 | 02/11/2013 | 11:00:00 a.m. | 7614694 | 1115652 | 7.0039 | 0 | 86.816 | 21.6
144 | 02/11/2013 | 12:00:00 p.m. | 7615030 | 1115700 | 6.9495 | 0 | 86.99 | 22.4
145 | 02/11/2013 | 1:00:00 p.m. | 7615358 | 1115747 | 6.9694 | 0 | 86.997 | 22.7
146 | 02/11/2013 | 2:00:00 p.m. | 7615693 | 1115795 | 7.0011 | 0 | 86.967 | 22.6
147 | 02/11/2013 | 3:00:00 p.m. | 7616006 | 1115840 | 6.9529 | 0 | 86.985 | 23.3
148 | 02/11/2013 | 4:00:00 p.m. | 7616347 | 1115889 | 6.9584 | 0 | 86.903 | 23.1
149 | 02/11/2013 | 5:00:00 p.m. | 7616752 | 1115947 | 6.9799 | 0 | 86.857 | 22
150 | 02/11/2013 | 6:00:00 p.m. | 7617201 | 1116011 | 7.0256 | 0 | 86.87 | 20.9
151 | 02/11/2013 | 7:00:00 p.m. | 7617680 | 1116079 | 7.0468 | 0 | 86.906 | 20
152 | 02/11/2013 | 8:00:00 p.m. | 7618173 | 1116149 | 7.0331 | 0 | 86.882 | 19.8
153 | 02/11/2013 | 9:00:00 p.m. | 7618673 | 1116220 | 7.0843 | 0 | 86.952 | 19.7
154 | 02/11/2013 | 10:00:00 p.m. | 7619167 | 1116290 | 7.0452 | 0 | 86.943 | 19.6
155 | 02/11/2013 | 11:00:00 p.m. | 7619675 | 1116362 | 7.0406 | 0 | 86.94 | 19.6
156 | 03/11/2013 | 12:00:00 a.m. | 7620196 | 1116436 | 7.0315 | 0 | 86.723 | 19.6
157 | 03/11/2013 | 1:00:00 a.m. | 7620752 | 1116515 | 7.0602 | 0 | 86.689 | 19.4
158 | 03/11/2013 | 2:00:00 a.m. | 7621307 | 1116594 | 7.0285 | 0 | 86.689 | 19.5
159 | 03/11/2013 | 3:00:00 a.m. | 7621890 | 1116677 | 7.0003 | 0 | 86.426 | 19.5
160 | 03/11/2013 | 4:00:00 a.m. | 7622480 | 1116761 | 7.0115 | 0 | 86.495 | 19.5
161 | 03/11/2013 | 5:00:00 a.m. | 7623097 | 1116849 | 7.024 | 0 | 86.317 | 19.5
162 | 03/11/2013 | 6:00:00 a.m. | 7623700 | 1116935 | 7.0274 | 0 | 86.375 | 19.5
163 | 03/11/2013 | 7:00:00 a.m. | 7624291 | 1117019 | 7.0305 | 0 | 86.519 | 19.3
164 | 03/11/2013 | 8:00:00 a.m. | 7624868 | 1117101 | 7.0585 | 0 | 86.62 | 19.3
165 | 03/11/2013 | 9:00:00 a.m. | 7625409 | 1117178 | 7.0529 | 0 | 86.702 | 19.9
166 | 03/11/2013 | 10:00:00 a.m. | 7625899 | 1117248 | 6.9933 | 0 | 86.697 | 20.5
167 | 03/11/2013 | 11:00:00 a.m. | 7626375 | 1117316 | 7.0154 | 0 | 86.672 | 21.2
168 | 03/11/2013 | 12:00:00 p.m. | 7626794 | 1117376 | 6.9841 | 0 | 86.836 | 21.7
169 | 03/11/2013 | 1:00:00 p.m. | 7627158 | 1117428 | 6.9838 | 0 | 87.026 | 22.4
170 | 03/11/2013 | 2:00:00 p.m. | 7627486 | 1117475 | 6.9829 | 0 | 87.11 | 22.9
171 | 03/11/2013 | 3:00:00 p.m. | 7627786 | 1117518 | 6.9766 | 0 | 87.114 | 23.2
172 | 03/11/2013 | 4:00:00 p.m. | 7628072 | 1117559 | 6.9773 | 0 | 87.274 | 23.4
173 | 03/11/2013 | 5:00:00 p.m. | 7628366 | 1117601 | 6.9956 | 0 | 87.286 | 23
174 | 03/11/2013 | 6:00:00 p.m. | 7628668 | 1117644 | 7.0566 | 0 | 87.451 | 22
175 | 03/11/2013 | 7:00:00 p.m. | 7628999 | 1117691 | 7.0588 | 0 | 87.46 | 21.1
176 | 03/11/2013 | 8:00:00 p.m. | 7629366 | 1117743 | 7.0505 | 0 | 87.362 | 20.7
177 | 03/11/2013 | 9:00:00 p.m. | 7629720 | 1117793 | 7.0955 | 0 | 87.521 | 20.4
178 | 03/11/2013 | 10:00:00 p.m. | 7630080 | 1117844 | 7.07 | 0 | 87.425 | 20.3
179 | 03/11/2013 | 11:00:00 p.m. | 7630448 | 1117896 | 7.0596 | 0 | 87.394 | 20.4
180 | 04/11/2013 | 12:00:00 a.m. | 7630815 | 1117948 | 7.066 | 0 | 87.415 | 20.3
181 | 04/11/2013 | 1:00:00 a.m. | 7631183 | 1118000 | 7.0515 | 0 | 87.4 | 20.3
182 | 04/11/2013 | 2:00:00 a.m. | 7631571 | 1118055 | 7.0371 | 0 | 87.339 | 20.4
183 | 04/11/2013 | 3:00:00 a.m. | 7631959 | 1118110 | 7.0492 | 0 | 87.315 | 20.4
184 | 04/11/2013 | 4:00:00 a.m. | 7632348 | 1118165 | 7.0534 | 0 | 87.259 | 20.2
185 | 04/11/2013 | 5:00:00 a.m. | 7632750 | 1118222 | 7.0524 | 0 | 87.253 | 20.2
186 | 04/11/2013 | 6:00:00 a.m. | 7633159 | 1118280 | 7.0638 | 0 | 87.259 | 20.2
187 | 04/11/2013 | 7:00:00 a.m. | 7633562 | 1118337 | 7.0511 | 0 | 87.251 | 20.1
188 | 04/11/2013 | 8:00:00 a.m. | 7633964 | 1118394 | 7.0295 | 0 | 87.241 | 20.2
189 | 04/11/2013 | 9:00:00 a.m. | 7634366 | 1118451 | 7.0535 | 0 | 87.182 | 20.3
190 | 04/11/2013 | 10:00:00 a.m. | 7634733 | 1118503 | 7.0248 | 0 | 87.368 | 20.8
191 | 04/11/2013 | 11:00:00 a.m. | 7635077 | 1118552 | 6.9955 | 0 | 87.246 | 21.5
192 | 04/11/2013 | 12:00:00 p.m. | 7635399 | 1118598 | 6.987 | 0 | 87.199 | 22.2
193 | 04/11/2013 | 1:00:00 p.m. | 7635686 | 1118639 | 6.9881 | 0 | 87.239 | 23
194 | 04/11/2013 | 2:00:00 p.m. | 7635966 | 1118679 | 6.9905 | 0 | 87.318 | 22.8
195 | 04/11/2013 | 3:00:00 p.m. | 7636246 | 1118719 | 6.9999 | 0 | 87.361 | 23
196 | 04/11/2013 | 4:00:00 p.m. | 7636511 | 1118757 | 6.9815 | 0 | 87.352 | 23.4
197 | 04/11/2013 | 5:00:00 p.m. | 7636777 | 1118795 | 7.017 | 0 | 87.46 | 23.4
198 | 04/11/2013 | 6:00:00 p.m. | 7637058 | 1118835 | 7.0351 | 0 | 87.542 | 22.6
199 | 04/11/2013 | 7:00:00 p.m. | 7637354 | 1118877 | 7.0689 | 0 | 87.631 | 21.3
200 | 04/11/2013 | 8:00:00 p.m. | 7637700 | 1118926 | 7.0459 | 0 | 87.5 | 20.7
201 | 04/11/2013 | 9:00:00 p.m. | 7638089 | 1118981 | 7.0824 | 0 | 87.352 | 20.4
202 | 04/11/2013 | 10:00:00 p.m. | 7638484 | 1119037 | 7.046 | 0 | 87.373 | 20.3
203 | 04/11/2013 | 11:00:00 p.m. | 7638894 | 1119095 | 7.0739 | 0 | 87.279 | 20.2
204 | 05/11/2013 | 12:00:00 a.m. | 7639332 | 1119157 | 7.0581 | 0 | 87.208 | 20.1
205 | 05/11/2013 | 1:00:00 a.m. | 7639776 | 1119220 | 7.0519 | 0 | 87.183 | 20.1
206 | 05/11/2013 | 2:00:00 a.m. | 7640207 | 1119281 | 7.0797 | 0 | 87.252 | 20
207 | 05/11/2013 | 3:00:00 a.m. | 7640624 | 1119340 | 7.1107 | 0 | 87.302 | 20
208 | 05/11/2013 | 4:00:00 a.m. | 7641041 | 1119399 | 7.0768 | 0 | 87.303 | 20
209 | 05/11/2013 | 5:00:00 a.m. | 7641465 | 1119459 | 7.096 | 0 | 87.292 | 20
210 | 05/11/2013 | 6:00:00 a.m. | 7641903 | 1119521 | 7.0715 | 0 | 87.196 | 19.9
211 | 05/11/2013 | 7:00:00 a.m. | 7642306 | 1119578 | 7.0704 | 0 | 87.436 | 20
212 | 05/11/2013 | 8:00:00 a.m. | 7642682 | 1119631 | 7.0907 | 0 | 87.497 | 20.1
213 | 05/11/2013 | 9:00:00 a.m. | 7643000 | 1119676 | 7.0686 | 0 | 87.621 | 20.5
214 | 05/11/2013 | 10:00:00 a.m. | 7643304 | 1119719 | 7.0433 | 0 | 87.536 | 21
215 | 05/11/2013 | 11:00:00 a.m. | 7643578 | 1119758 | 7.0566 | 0 | 87.417 | 21.9
216 | 05/11/2013 | 12:00:00 p.m. | 7643837 | 1119795 | 7.02 | 0 | 87.4 | 22.4
217 | 05/11/2013 | 1:00:00 p.m. | 7644103 | 1119833 | 6.9948 | 0 | 87.319 | 23
218 | 05/11/2013 | 2:00:00 p.m. | 7644347 | 1119868 | 6.9432 | 0 | 87.193 | 23.9
219 | 05/11/2013 | 3:00:00 p.m. | 7644576 | 1119901 | 6.9656 | 0 | 87.285 | 24.3
220 | 05/11/2013 | 4:00:00 p.m. | 7644807 | 1119934 | 7.0086 | 0 | 87.339 | 23.8
221 | 05/11/2013 | 5:00:00 p.m. | 7645051 | 1119969 | 7.0083 | 0 | 87.408 | 23.7
222 | 05/11/2013 | 6:00:00 p.m. | 7645311 | 1120006 | 7.048 | 0 | 87.53 | 22.7
223 | 05/11/2013 | 7:00:00 p.m. | 7645607 | 1120048 | 7.0498 | 0 | 87.523 | 21.4
224 | 05/11/2013 | 8:00:00 p.m. | 7645917 | 1120092 | 7.0901 | 0 | 87.509 | 21.1
225 | 05/11/2013 | 9:00:00 p.m. | 7646249 | 1120139 | 7.0387 | 0 | 87.504 | 20.9
226 | 05/11/2013 | 10:00:00 p.m. | 7646603 | 1120189 | 7.0851 | 0 | 87.485 | 20.3
227 | 05/11/2013 | 11:00:00 p.m. | 7646992 | 1120244 | 7.0737 | 0 | 87.348 | 20
228 | 06/11/2013 | 12:00:00 a.m. | 7647394 | 1120301 | 7.067 | 0 | 87.278 | 20.1
229 | 06/11/2013 | 1:00:00 a.m. | 7647819 | 1120361 | 7.0925 | 0 | 87.266 | 19.8
230 | 06/11/2013 | 2:00:00 a.m. | 7648242 | 1120421 | 7.0726 | 0 | 87.228 | 20
231 | 06/11/2013 | 3:00:00 a.m. | 7648666 | 1120481 | 7.0493 | 0 | 87.172 | 20.1
232 | 06/11/2013 | 4:00:00 a.m. | 7649089 | 1120541 | 7.0486 | 0 | 87.126 | 20.2
233 | 06/11/2013 | 5:00:00 a.m. | 7649512 | 1120601 | 7.026 | 0 | 87.115 | 20.1
234 | 06/11/2013 | 6:00:00 a.m. | 7649907 | 1120657 | 7.0644 | 0 | 87.321 | 20.2
235 | 06/11/2013 | 7:00:00 a.m. | 7650324 | 1120716 | 7.0672 | 0 | 87.196 | 20.2
236 | 06/11/2013 | 8:00:00 a.m. | 7650732 | 1120774 | 7.048 | 0 | 87.085 | 20.2
237 | 06/11/2013 | 9:00:00 a.m. | 7651140 | 1120832 | 7.0268 | 0 | 87.027 | 20.5
238 | 06/11/2013 | 10:00:00 a.m. | 7651534 | 1120888 | 7.0193 | 0 | 87.059 | 20.9
239 | 06/11/2013 | 11:00:00 a.m. | 7651927 | 1120944 | 7.0149 | 0 | 87.076 | 21.2
240 | 06/11/2013 | 12:00:00 p.m. | 7652284 | 1120995 | 7.0021 | 0 | 86.94 | 21.9
241 | 06/11/2013 | 1:00:00 p.m. | 7652612 | 1121042 | 6.9709 | 0 | 86.951 | 22.7
242 | 06/11/2013 | 2:00:00 p.m. | 7652905 | 1121084 | 6.9954 | 0 | 87.155 | 23
243 | 06/11/2013 | 3:00:00 p.m. | 7653184 | 1121124 | 6.9528 | 0 | 87.125 | 23.4
244 | 06/11/2013 | 4:00:00 p.m. | 7653476 | 1121166 | 6.9872 | 0 | 87.129 | 23.6
245 | 06/11/2013 | 5:00:00 p.m. | 7653783 | 1121210 | 6.9728 | 0 | 87.187 | 23.2
246 | 06/11/2013 | 6:00:00 p.m. | 7654120 | 1121258 | 7.0205 | 0 | 87.271 | 21.9
247 | 06/11/2013 | 7:00:00 p.m. | 7654472 | 1121308 | 7.0417 | 0 | 87.348 | 21
248 | 06/11/2013 | 8:00:00 p.m. | 7654832 | 1121359 | 7.0667 | 0 | 87.374 | 20.7
249 | 06/11/2013 | 9:00:00 p.m. | 7655221 | 1121414 | 7.0582 | 0 | 87.356 | 20.3
250 | 06/11/2013 | 10:00:00 p.m. | 7655630 | 1121472 | 7.0427 | 0 | 87.231 | 20.1
251 | 06/11/2013 | 11:00:00 p.m. | 7656061 | 1121533 | 7.0436 | 0 | 87.213 | 19.9
252 | 07/11/2013 | 12:00:00 a.m. | 7656540 | 1121601 | 7.0243 | 0 | 86.982 | 19.8
253 | 07/11/2013 | 1:00:00 a.m. | 7657040 | 1121672 | 7.0191 | 0 | 86.845 | 19.8
254 | 07/11/2013 | 2:00:00 a.m. | 7657554 | 1121745 | 7.0513 | 0 | 86.751 | 19.8
255 | 07/11/2013 | 3:00:00 a.m. | 7658067 | 1121818 | 7.0303 | 0 | 86.746 | 19.8
256 | 07/11/2013 | 4:00:00 a.m. | 7658580 | 1121891 | 7.0349 | 0 | 86.755 | 19.8
257 | 07/11/2013 | 5:00:00 a.m. | 7659073 | 1121961 | 7.0605 | 0 | 86.904 | 19.9
258 | 07/11/2013 | 6:00:00 a.m. | 7659539 | 1122027 | 7.0458 | 0 | 87.054 | 19.8
259 | 07/11/2013 | 7:00:00 a.m. | 7660005 | 1122093 | 7.0471 | 0 | 87.084 | 19.8
260 | 07/11/2013 | 8:00:00 a.m. | 7660470 | 1122159 | 7.0638 | 0 | 87.049 | 19.7
261 | 07/11/2013 | 9:00:00 a.m. | 7660914 | 1122222 | 7.0615 | 0 | 87.026 | 20.2
262 | 07/11/2013 | 10:00:00 a.m. | 7661329 | 1122281 | 7.0265 | 0 | 87.018 | 20.7
263 | 07/11/2013 | 11:00:00 a.m. | 7661708 | 1122335 | 7.0054 | 0 | 87.034 | 21.3
264 | 07/11/2013 | 12:00:00 p.m. | 7662058 | 1122385 | 6.9827 | 0 | 87.149 | 21.8
265 | 07/11/2013 | 1:00:00 p.m. | 7662373 | 1122430 | 6.9892 | 0 | 87.176 | 22.4
266 | 07/11/2013 | 2:00:00 p.m. | 7662681 | 1122474 | 6.9692 | 0 | 87.196 | 22.9
267 | 07/11/2013 | 3:00:00 p.m. | 7662981 | 1122517 | 6.9795 | 0 | 87.21 | 23.1
268 | 07/11/2013 | 4:00:00 p.m. | 7663295 | 1122562 | 6.9811 | 0 | 87.231 | 23
269 | 07/11/2013 | 5:00:00 p.m. | 7663631 | 1122610 | 6.993 | 0 | 87.204 | 22.6
270 | 07/11/2013 | 6:00:00 p.m. | 7664017 | 1122665 | 7.0232 | 0 | 87.145 | 21.4
271 | 07/11/2013 | 7:00:00 p.m. | 7664447 | 1122726 | 7.0381 | 0 | 87.113 | 20.5
272 | 07/11/2013 | 8:00:00 p.m. | 7664897 | 1122790 | 7.0902 | 0 | 87.044 | 20.3
273 | 07/11/2013 | 9:00:00 p.m. | 7665321 | 1122850 | 7.0395 | 0 | 87.191 | 20.1
274 | 07/11/2013 | 10:00:00 p.m. | 7665834 | 1122923 | 7.0369 | 0 | 86.742 | 20
275 | 07/11/2013 | 11:00:00 p.m. | 7666353 | 1122997 | 7.0157 | 0 | 86.691 | 20
276 | 08/11/2013 | 12:00:00 a.m. | 7666921 | 1123078 | 6.9995 | 0 | 86.426 | 20
277 | 08/11/2013 | 1:00:00 a.m. | 7667468 | 1123156 | 7.0235 | 0 | 86.478 | 19.9
278 | 08/11/2013 | 2:00:00 a.m. | 7668016 | 1123234 | 7.0412 | 0 | 86.624 | 19.8
279 | 08/11/2013 | 3:00:00 a.m. | 7668543 | 1123309 | 7.0516 | 0 | 86.726 | 19.6
280 | 08/11/2013 | 4:00:00 a.m. | 7669098 | 1123388 | 7.0286 | 0 | 86.561 | 19.6
281 | 08/11/2013 | 5:00:00 a.m. | 7669660 | 1123468 | 6.9935 | 0 | 86.536 | 19.5
282 | 08/11/2013 | 6:00:00 a.m. | 7670209 | 1123546 | 7.0325 | 0 | 86.606 | 19.5
283 | 08/11/2013 | 7:00:00 a.m. | 7670785 | 1123628 | 7.0101 | 0 | 86.498 | 19.4
284 | 08/11/2013 | 8:00:00 a.m. | 7671353 | 1123709 | 7.012 | 0 | 86.495 | 19.5
285 | 08/11/2013 | 9:00:00 a.m. | 7671893 | 1123786 | 7.0165 | 0 | 86.571 | 20.1
286 | 08/11/2013 | 10:00:00 a.m. | 7672384 | 1123856 | 7.0362 | 0 | 86.658 | 20.5
287 | 08/11/2013 | 11:00:00 a.m. | 7672776 | 1123912 | 7.0085 | 0 | 86.92 | 21.2
288 | 08/11/2013 | 12:00:00 p.m. | 7673134 | 1123963 | 6.9866 | 0 | 87.041 | 21.8
289 | 08/11/2013 | 1:00:00 p.m. | 7673469 | 1124011 | 6.974 | 0 | 87.042 | 22.4
290 | 08/11/2013 | 2:00:00 p.m. | 7673811 | 1124060 | 6.956 | 0 | 86.947 | 22.9
291 | 08/11/2013 | 3:00:00 p.m. | 7674139 | 1124107 | 6.9689 | 0 | 87.128 | 22.9
292 | 08/11/2013 | 4:00:00 p.m. | 7674453 | 1124152 | 6.9873 | 0 | 87.176 | 23.3
293 | 08/11/2013 | 5:00:00 p.m. | 7674760 | 1124196 | 6.9978 | 0 | 87.295 | 23.2
294 | 08/11/2013 | 6:00:00 p.m. | 7675083 | 1124242 | 7.0502 | 0 | 87.4 | 22.3
295 | 08/11/2013 | 7:00:00 p.m. | 7675442 | 1124293 | 7.0654 | 0 | 87.386 | 20.9
296 | 08/11/2013 | 8:00:00 p.m. | 7675851 | 1124351 | 7.0375 | 0 | 87.185 | 20.5
297 | 08/11/2013 | 9:00:00 p.m. | 7676288 | 1124413 | 7.0379 | 0 | 87.133 | 20.5
298 | 08/11/2013 | 10:00:00 p.m. | 7676766 | 1124481 | 7.0149 | 0 | 86.957 | 20.3
299 | 08/11/2013 | 11:00:00 p.m. | 7677279 | 1124554 | 7.0307 | 0 | 86.746 | 20.2
300 | 09/11/2013 | 12:00:00 a.m. | 7677813 | 1124630 | 7.0076 | 0 | 86.629 | 19.9
301 | 09/11/2013 | 1:00:00 a.m. | 7678341 | 1124705 | 7.0171 | 0 | 86.777 | 19.7
302 | 09/11/2013 | 2:00:00 a.m. | 7678882 | 1124782 | 7.0211 | 0 | 86.717 | 19.6
303 | 09/11/2013 | 3:00:00 a.m. | 7679445 | 1124862 | 7.0515 | 0 | 86.673 | 19.5
304 | 09/11/2013 | 4:00:00 a.m. | 7679994 | 1124940 | 7.0486 | 0 | 86.686 | 19.4
305 | 09/11/2013 | 5:00:00 a.m. | 7680550 | 1125019 | 7.049 | 0 | 86.611 | 19.3
306 | 09/11/2013 | 6:00:00 a.m. | 7681100 | 1125097 | 7.0639 | 0 | 86.791 | 19.3
307 | 09/11/2013 | 7:00:00 a.m. | 7681649 | 1125175 | 7.0277 | 0 | 86.748 | 19.4
308 | 09/11/2013 | 8:00:00 a.m. | 7682192 | 1125252 | 7.063 | 0 | 86.81 | 19.4
309 | 09/11/2013 | 9:00:00 a.m. | 7682678 | 1125321 | 7.0623 | 0 | 86.959 | 19.8
310 | 09/11/2013 | 10:00:00 a.m. | 7683129 | 1125385 | 7.0175 | 0 | 87.027 | 20.4
311 | 09/11/2013 | 11:00:00 a.m. | 7683508 | 1125439 | 7.0329 | 0 | 87.146 | 21
312 | 09/11/2013 | 12:00:00 p.m. | 7683866 | 1125490 | 7.0124 | 0 | 87.182 | 21.6
313 | 09/11/2013 | 1:00:00 p.m. | 7684195 | 1125537 | 7.0003 | 0 | 87.144 | 22.4
314 | 09/11/2013 | 2:00:00 p.m. | 7684467 | 1125576 | 6.9867 | 0 | 87.275 | 23.1
315 | 09/11/2013 | 3:00:00 p.m. | 7684718 | 1125612 | 6.9781 | 0 | 87.325 | 23.8
316 | 09/11/2013 | 4:00:00 p.m. | 7684962 | 1125647 | 6.9752 | 0 | 87.386 | 24.1
317 | 09/11/2013 | 5:00:00 p.m. | 7685221 | 1125684 | 6.9581 | 0 | 87.388 | 23.7
318 | 09/11/2013 | 6:00:00 p.m. | 7685480 | 1125721 | 7.0438 | 0 | 87.603 | 22.7
319 | 09/11/2013 | 7:00:00 p.m. | 7685763 | 1125761 | 7.066 | 0 | 87.693 | 21.1
320 | 09/11/2013 | 8:00:00 p.m. | 7686075 | 1125805 | 7.0669 | 0 | 87.636 | 20.6
321 | 09/11/2013 | 9:00:00 p.m. | 7686421 | 1125854 | 7.076 | 0 | 87.541 | 20.4
322 | 09/11/2013 | 10:00:00 p.m. | 7686804 | 1125908 | 7.0631 | 0 | 87.529 | 20.2
323 | 09/11/2013 | 11:00:00 p.m. | 7687214 | 1125966 | 7.0605 | 0 | 87.394 | 20
324 | 10/11/2013 | 12:00:00 a.m. | 7687632 | 1126025 | 7.0475 | 0 | 87.401 | 19.8
325 | 10/11/2013 | 1:00:00 a.m. | 7688070 | 1126087 | 7.0672 | 0 | 87.278 | 19.7
326 | 10/11/2013 | 2:00:00 a.m. | 7688523 | 1126151 | 7.0595 | 0 | 87.202 | 19.6
327 | 10/11/2013 | 3:00:00 a.m. | 7688997 | 1126218 | 7.0784 | 0 | 87.163 | 19.4
328 | 10/11/2013 | 4:00:00 a.m. | 7689464 | 1126284 | 7.0656 | 0 | 87.273 | 19.4
329 | 10/11/2013 | 5:00:00 a.m. | 7689945 | 1126352 | 7.0694 | 0 | 87.13 | 19.3
330 | 10/11/2013 | 6:00:00 a.m. | 7690426 | 1126420 | 7.0734 | 0 | 87.139 | 19.3
331 | 10/11/2013 | 7:00:00 a.m. | 7690928 | 1126491 | 7.08 | 0 | 87.115 | 19.1
332 | 10/11/2013 | 8:00:00 a.m. | 7691424 | 1126561 | 7.084 | 0 | 87.195 | 19.2
333 | 10/11/2013 | 9:00:00 a.m. | 7691884 | 1126626 | 7.0742 | 0 | 87.239 | 19.8
334 | 10/11/2013 | 10:00:00 a.m. | 7692314 | 1126687 | 7.0446 | 0 | 87.254 | 20.2
335 | 10/11/2013 | 11:00:00 a.m. | 7692731 | 1126746 | 7.0467 | 0 | 87.23 | 20.3
336 | 10/11/2013 | 12:00:00 p.m. | 7693118 | 1126801 | 7.0373 | 0 | 87.338 | 20.7
337 | 10/11/2013 | 1:00:00 p.m. | 7693477 | 1126852 | 7.0257 | 0 | 87.31 | 21.5
338 | 10/11/2013 | 2:00:00 p.m. | 7693813 | 1126900 | 7.0124 | 0 | 87.209 | 22.2
339 | 10/11/2013 | 3:00:00 p.m. | 7694135 | 1126946 | 7.0004 | 0 | 87.284 | 22.6
340 | 10/11/2013 | 4:00:00 p.m. | 7694450 | 1126991 | 6.9907 | 0 | 87.281 | 22.8
341 | 10/11/2013 | 5:00:00 p.m. | 7694793 | 1127040 | 7.0218 | 0 | 87.257 | 22.5
342 | 10/11/2013 | 6:00:00 p.m. | 7695173 | 1127094 | 7.0868 | 0 | 87.307 | 21.3
343 | 10/11/2013 | 7:00:00 p.m. | 7695582 | 1127152 | 7.0438 | 0 | 87.241 | 20.6
344 | 10/11/2013 | 8:00:00 p.m. | 7696005 | 1127212 | 7.0387 | 0 | 87.174 | 20.3
345 | 10/11/2013 | 9:00:00 p.m. | 7696463 | 1127277 | 7.0363 | 0 | 87.076 | 20
346 | 10/11/2013 | 10:00:00 p.m. | 7696909 | 1127340 | 7.0495 | 0 | 87.271 | 19.8
347 | 10/11/2013 | 11:00:00 p.m. | 7697362 | 1127404 | 7.0946 | 0 | 87.315 | 19.8
348 | 11/11/2013 | 12:00:00 a.m. | 7697814 | 1127468 | 7.0318 | 0 | 87.151 | 19.8
349 | 11/11/2013 | 1:00:00 a.m. | 7698273 | 1127533 | 7.0843 | 0 | 87.178 | 19.9
350 | 11/11/2013 | 2:00:00 a.m. | 7698732 | 1127598 | 7.0523 | 0 | 87.128 | 19.8
351 | 11/11/2013 | 3:00:00 a.m. | 7699198 | 1127664 | 7.086 | 0 | 87.113 | 19.7
352 | 11/11/2013 | 4:00:00 a.m. | 7699678 | 1127732 | 7.0592 | 0 | 87.105 | 19.6
353 | 11/11/2013 | 5:00:00 a.m. | 7700179 | 1127803 | 7.0683 | 0 | 87.047 | 19.5
354 | 11/11/2013 | 6:00:00 a.m. | 7700709 | 1127878 | 7.0404 | 0 | 87.019 | 19.4
355 | 11/11/2013 | 7:00:00 a.m. | 7701204 | 1127948 | 7.0378 | 0 | 87.089 | 19.3
356 | 11/11/2013 | 8:00:00 a.m. | 7701740 | 1128024 | 7.0689 | 0 | 86.957 | 19.4
357 | 11/11/2013 | 9:00:00 a.m. | 7702248 | 1128096 | 7.0187 | 0 | 87.013 | 19.9
358 | 11/11/2013 | 10:00:00 a.m. | 7702705 | 1128161 | 7.0074 | 0 | 87.019 | 20.4
359 | 11/11/2013 | 11:00:00 a.m. | 7703133 | 1128222 | 7.0107 | 0 | 87.002 | 21
360 | 11/11/2013 | 12:00:00 p.m. | 7703533 | 1128279 | 7.0442 | 0 | 87.01 | 21.6
361 | 11/11/2013 | 1:00:00 p.m. | 7703883 | 1128329 | 7.0088 | 0 | 87.15 | 22.2
362 | 11/11/2013 | 2:00:00 p.m. | 7704204 | 1128375 | 6.9634 | 0 | 87.121 | 22.8
363 | 11/11/2013 | 3:00:00 p.m. | 7704511 | 1128419 | 6.9659 | 0 | 87.219 | 23.3
364 | 11/11/2013 | 4:00:00 p.m. | 7704825 | 1128464 | 6.9958 | 0 | 87.216 | 23.3
365 | 11/11/2013 | 5:00:00 p.m. | 7705161 | 1128512 | 7.0424 | 0 | 87.275 | 22.7
366 | 11/11/2013 | 6:00:00 p.m. | 7705527 | 1128564 | 7.0607 | 0 | 87.37 | 21.2
367 | 11/11/2013 | 7:00:00 p.m. | 7705888 | 1128615 | 7.0674 | 0 | 87.494 | 20.7
368 | 11/11/2013 | 8:00:00 p.m. | 7706165 | 1128654 | 7.1006 | 0 | 87.941 | 20.4
369 | 11/11/2013 | 9:00:00 p.m. | 7706435 | 1128692 | 7.0997 | 0 | 87.966 | 20.2
370 | 11/11/2013 | 10:00:00 p.m. | 7706733 | 1128734 | 7.1078 | 0 | 87.887 | 20.1
371 | 11/11/2013 | 11:00:00 p.m. | 7707011 | 1128773 | 7.1363 | 0 | 88.008 | 19.9
372 | 12/11/2013 | 12:00:00 a.m. | 7707275 | 1128810 | 7.1218 | 0 | 88.032 | 19.6
373 | 12/11/2013 | 1:00:00 a.m. | 7707602 | 1128856 | 7.0985 | 0 | 87.748 | 19.6
374 | 12/11/2013 | 2:00:00 a.m. | 7707944 | 1128904 | 7.1058 | 0 | 87.781 | 19.5
375 | 12/11/2013 | 3:00:00 a.m. | 7708271 | 1128950 | 7.1049 | 0 | 87.759 | 19.5
376 | 12/11/2013 | 4:00:00 a.m. | 7708605 | 1128997 | 7.1173 | 0 | 87.767 | 19.4
377 | 12/11/2013 | 5:00:00 a.m. | 7708946 | 1129045 | 7.1383 | 0 | 87.653 | 19.4
378 | 12/11/2013 | 6:00:00 a.m. | 7709302 | 1129095 | 7.1077 | 0 | 87.748 | 19.3
379 | 12/11/2013 | 7:00:00 a.m. | 7709658 | 1129145 | 7.1215 | 0 | 87.643 | 19.4
380 | 12/11/2013 | 8:00:00 a.m. | 7709999 | 1129193 | 7.0768 | 0 | 87.704 | 19.7
381 | 12/11/2013 | 9:00:00 a.m. | 7710325 | 1129239 | 7.0701 | 0 | 87.65 | 20
382 | 12/11/2013 | 10:00:00 a.m. | 7710636 | 1129283 | 7.0365 | 0 | 87.565 | 20.8
383 | 12/11/2013 | 11:00:00 a.m. | 7710932 | 1129325 | 7.0204 | 0 | 87.402 | 21.5
384 | 12/11/2013 | 12:00:00 p.m. | 7711164 | 1129358 | 7.0644 | 0 | 87.579 | 22
385 | 12/11/2013 | 1:00:00 p.m. | 7711409 | 1129393 | 6.995 | 0 | 87.46 | 22.6
386 | 12/11/2013 | 2:00:00 p.m. | 7711654 | 1129428 | 7.0128 | 0 | 87.416 | 22.9
387 | 12/11/2013 | 3:00:00 p.m. | 7711913 | 1129465 | 7.01 | 0 | 87.352 | 23.2
388 | 12/11/2013 | 4:00:00 p.m. | 7712193 | 1129505 | 7.0194 | 0 | 87.374 | 22.7
389 | 12/11/2013 | 5:00:00 p.m. | 7712503 | 1129549 | 7.024 | 0 | 87.501 | 21.8
390 | 12/11/2013 | 6:00:00 p.m. | 7712856 | 1129599 | 7.0995 | 0 | 87.505 | 20.8
391 | 12/11/2013 | 7:00:00 p.m. | 7713224 | 1129651 | 7.0483 | 0 | 87.52 | 20.4
392 | 12/11/2013 | 8:00:00 p.m. | 7713605 | 1129705 | 7.0651 | 0 | 87.36 | 20.2
393 | 12/11/2013 | 9:00:00 p.m. | 7714016 | 1129763 | 7.1004 | 0 | 87.37 | 19.8
394 | 12/11/2013 | 10:00:00 p.m. | 7714406 | 1129818 | 7.1048 | 0 | 87.531 | 19.6
395 | 12/11/2013 | 11:00:00 p.m. | 7714803 | 1129874 | 7.1051 | 0 | 87.41 | 19.7
396 | 13/11/2013 | 12:00:00 a.m. | 7715172 | 1129926 | 7.1177 | 0 | 87.605 | 19.5
397 | 13/11/2013 | 1:00:00 a.m. | 7715479 | 1129969 | 7.1506 | 0 | 87.946 | 19.4
398 | 13/11/2013 | 2:00:00 a.m. | 7715778 | 1130011 | 7.1251 | 0 | 87.929 | 19.3
399 | 13/11/2013 | 3:00:00 a.m. | 7716085 | 1130054 | 7.117 | 0 | 87.897 | 19.2
400 | 13/11/2013 | 4:00:00 a.m. | 7716392 | 1130097 | 7.1357 | 0 | 87.98 | 19.1
401 | 13/11/2013 | 5:00:00 a.m. | 7716713 | 1130142 | 7.1485 | 0 | 87.9 | 19
402 | 13/11/2013 | 6:00:00 a.m. | 7717056 | 1130190 | 7.1641 | 0 | 87.797 | 18.9
403 | 13/11/2013 | 7:00:00 a.m. | 7717427 | 1130242 | 7.1276 | 0 | 87.768 | 18.8
404 | 13/11/2013 | 8:00:00 a.m. | 7717804 | 1130295 | 7.1164 | 0 | 87.726 | 18.9
405 | 13/11/2013 | 9:00:00 a.m. | 7718182 | 1130348 | 7.1109 | 0 | 87.668 | 18.9
406 | 13/11/2013 | 10:00:00 a.m. | 7718559 | 1130401 | 7.082 | 0 | 87.675 | 18.9
407 | 13/11/2013 | 11:00:00 a.m. | 7718922 | 1130452 | 7.0676 | 0 | 87.644 | 19.3
408 | 13/11/2013 | 12:00:00 p.m. | 7719263 | 1130500 | 7.0834 | 0 | 87.621 | 19.7
409 | 13/11/2013 | 1:00:00 p.m. | 7719588 | 1130546 | 7.081 | 0 | 87.505 | 20.6
410 | 13/11/2013 | 2:00:00 p.m. | 7719920 | 1130593 | 7.0811 | 0 | 87.55 | 20.7
411 | 13/11/2013 | 3:00:00 p.m. | 7720245 | 1130639 | 7.0292 | 0 | 87.517 | 20.7
412 | 13/11/2013 | 4:00:00 p.m. | 7720598 | 1130689 | 7.0574 | 0 | 87.424 | 20.7
413 | 13/11/2013 | 5:00:00 p.m. | 7721029 | 1130750 | 7.0566 | 0 | 87.222 | 20.1
414 | 13/11/2013 | 6:00:00 p.m. | 7721488 | 1130815 | 7.0861 | 0 | 87.163 | 19.3
415 | 13/11/2013 | 7:00:00 p.m. | 7721949 | 1130880 | 7.0776 | 0 | 87.228 | 19.1
416 | 13/11/2013 | 8:00:00 p.m. | 7722409 | 1130945 | 7.0796 | 0 | 87.185 | 19.1
417 | 13/11/2013 | 9:00:00 p.m. | 7722885 | 1131012 | 7.0755 | 0 | 87.231 | 18.9
418 | 13/11/2013 | 10:00:00 p.m. | 7723360 | 1131079 | 7.0993 | 0 | 87.245 | 18.8
419 | 13/11/2013 | 11:00:00 p.m. | 7723856 | 1131149 | 7.0989 | 0 | 87.097 | 18.8
420 | 14/11/2013 | 12:00:00 a.m. | 7724372 | 1131222 | 7.079 | 0 | 86.956 | 18.8
421 | 14/11/2013 | 1:00:00 a.m. | 7724902 | 1131297 | 7.056 | 0 | 86.788 | 18.7
422 | 14/11/2013 | 2:00:00 a.m. | 7725439 | 1131373 | 7.0663 | 0 | 86.83 | 18.8
423 | 14/11/2013 | 3:00:00 a.m. | 7725969 | 1131448 | 7.0506 | 0 | 86.867 | 18.8
424 | 14/11/2013 | 4:00:00 a.m. | 7726506 | 1131524 | 7.0814 | 0 | 86.886 | 18.7
425 | 14/11/2013 | 5:00:00 a.m. | 7727050 | 1131601 | 7.0622 | 0 | 86.814 | 18.7
426 | 14/11/2013 | 6:00:00 a.m. | 7727608 | 1131680 | 7.0506 | 0 | 86.661 | 18.7
427 | 14/11/2013 | 7:00:00 a.m. | 7728179 | 1131761 | 7.0403 | 0 | 86.613 | 18.7
428 | 14/11/2013 | 8:00:00 a.m. | 7728742 | 1131841 | 7.0141 | 0 | 86.555 | 18.8
429 | 14/11/2013 | 9:00:00 a.m. | 7729298 | 1131920 | 7.0228 | 0 | 86.581 | 19.4
430 | 14/11/2013 | 10:00:00 a.m. | 7729728 | 1131981 | 7.1058 | 0 | 87.041 | 20
431 | 14/11/2013 | 11:00:00 a.m. | 7730163 | 1132043 | 6.9903 | 0 | 86.842 | 20.6
432 | 14/11/2013 | 12:00:00 p.m. | 7730617 | 1132108 | 7.0134 | 0 | 86.696 | 21.1
433 | 14/11/2013 | 1:00:00 p.m. | 7731037 | 1132168 | 7.0097 | 0 | 86.732 | 21.6
434 | 14/11/2013 | 2:00:00 p.m. | 7731260 | 1132200 | 7.0534 | 0 | 87.432 | 22.4
435 | 14/11/2013 | 3:00:00 p.m. | 7731455 | 1132228 | 6.9531 | 0 | 87.371 | 23.5
436 | 14/11/2013 | 4:00:00 p.m. | 7731692 | 1132262 | 6.971 | 0 | 87.3 | 23.1
437 | 14/11/2013 | 5:00:00 p.m. | 7732049 | 1132313 | 7.0004 | 0 | 87.069 | 22.3
438 | 14/11/2013 | 6:00:00 p.m. | 7732442 | 1132369 | 7.0282 | 0 | 87.06 | 21.4
439 | 14/11/2013 | 7:00:00 p.m. | 7732899 | 1132434 | 7.0034 | 0 | 86.915 | 20.5
440 | 14/11/2013 | 8:00:00 p.m. | 7733390 | 1132504 | 7.0582 | 0 | 86.738 | 20.2
441 | 14/11/2013 | 9:00:00 p.m. | 7733903 | 1132577 | 7.0141 | 0 | 86.622 | 20
442 | 14/11/2013 | 10:00:00 p.m. | 7734436 | 1132653 | 7.0388 | 0 | 86.549 | 19.8
443 | 14/11/2013 | 11:00:00 p.m. | 7735011 | 1132735 | 7.0158 | 0 | 86.349 | 19.7
444 | 15/11/2013 | 12:00:00 a.m. | 7735599 | 1132819 | 7.0384 | 0 | 86.243 | 19.5
445 | 15/11/2013 | 1:00:00 a.m. | 7736201 | 1132905 | 7.0093 | 0 | 86.21 | 19.5
446 | 15/11/2013 | 2:00:00 a.m. | 7736818 | 1132993 | 6.9802 | 0 | 86.204 | 19.4
447 | 15/11/2013 | 3:00:00 a.m. | 7737441 | 1133082 | 7.0179 | 0 | 86.16 | 19.4
448 | 15/11/2013 | 4:00:00 a.m. | 7738017 | 1133164 | 7.0498 | 0 | 86.5 | 19.4
449 | 15/11/2013 | 5:00:00 a.m. | 7738572 | 1133243 | 7.0443 | 0 | 86.611 | 19.5
450 | 15/11/2013 | 6:00:00 a.m. | 7739120 | 1133321 | 7.0292 | 0 | 86.61 | 19.5
451 | 15/11/2013 | 7:00:00 a.m. | 7739676 | 1133400 | 7.0252 | 0 | 86.647 | 19.5
452 | 15/11/2013 | 8:00:00 a.m. | 7740238 | 1133480 | 7.043 | 0 | 86.573 | 19.6
453 | 15/11/2013 | 9:00:00 a.m. | 7740766 | 1133555 | 7.0092 | 0 | 86.757 | 19.7
454 | 15/11/2013 | 10:00:00 a.m. | 7741236 | 1133622 | 7.0177 | 0 | 86.834 | 20.3
455 | 15/11/2013 | 11:00:00 a.m. | 7741672 | 1133684 | 7.0143 | 0 | 86.943 | 20.9
456 | 15/11/2013 | 12:00:00 p.m. | 7742058 | 1133739 | 7.0235 | 0 | 87.12 | 21.3
457 | 15/11/2013 | 1:00:00 p.m. | 7742402 | 1133788 | 7.0322 | 0 | 87.226 | 21.5
458 | 15/11/2013 | 2:00:00 p.m. | 7742732 | 1133835 | 7.0069 | 0 | 87.225 | 21.6
459 | 15/11/2013 | 3:00:00 p.m. | 7743055 | 1133881 | 7.0292 | 0 | 87.268 | 21.6
460 | 15/11/2013 | 4:00:00 p.m. | 7743386 | 1133928 | 7.0395 | 0 | 87.31 | 21.2
461 | 15/11/2013 | 5:00:00 p.m. | 7743724 | 1133976 | 7.0584 | 0 | 87.325 | 21.1
462 | 15/11/2013 | 6:00:00 p.m. | 7744063 | 1134024 | 7.0818 | 0 | 87.426 | 20.8
463 | 15/11/2013 | 7:00:00 p.m. | 7744422 | 1134075 | 7.0454 | 0 | 87.279 | 20.5
464 | 15/11/2013 | 8:00:00 p.m. | 7744817 | 1134131 | 7.0644 | 0 | 87.177 | 20.3
465 | 15/11/2013 | 9:00:00 p.m. | 7745212 | 1134187 | 7.0996 | 0 | 87.218 | 20.2
466 | 15/11/2013 | 10:00:00 p.m. | 7745629 | 1134246 | 7.0537 | 0 | 87.23 | 20
467 | 15/11/2013 | 11:00:00 p.m. | 7746088 | 1134311 | 7.0415 | 0 | 87.033 | 19.8
468 | 16/11/2013 | 12:00:00 a.m. | 7746560 | 1134378 | 7.0501 | 0 | 86.953 | 19.7
469 | 16/11/2013 | 1:00:00 a.m. | 7747033 | 1134445 | 7.0251 | 0 | 86.992 | 19.7
470 | 16/11/2013 | 2:00:00 a.m. | 7747505 | 1134512 | 7.0347 | 0 | 87.006 | 19.7
471 | 16/11/2013 | 3:00:00 a.m. | 7748006 | 1134583 | 7.0253 | 0 | 86.852 | 19.6
472 | 16/11/2013 | 4:00:00 a.m. | 7748506 | 1134654 | 7.0431 | 0 | 86.847 | 19.6
473 | 16/11/2013 | 5:00:00 a.m. | 7749013 | 1134726 | 7.0399 | 0 | 86.817 | 19.6
474 | 16/11/2013 | 6:00:00 a.m. | 7749527 | 1134799 | 7.0296 | 0 | 86.738 | 19.6
475 | 16/11/2013 | 7:00:00 a.m. | 7750054 | 1134874 | 7.0278 | 0 | 86.707 | 19.6
476 | 16/11/2013 | 8:00:00 a.m. | 7750575 | 1134948 | 7.095 | 0 | 86.72 | 19.7
477 | 16/11/2013 | 9:00:00 a.m. | 7751026 | 1135012 | 7.0302 | 0 | 87.025 | 20
478 | 16/11/2013 | 10:00:00 a.m. | 7751449 | 1135072 | 7.0614 | 0 | 87.107 | 20.3
479 | 16/11/2013 | 11:00:00 a.m. | 7751850 | 1135129 | 6.9969 | 0 | 87.094 | 20.8
480 | 16/11/2013 | 12:00:00 p.m. | 7752221 | 1135182 | 7.0228 | 0 | 87.026 | 21.4
481 | 16/11/2013 | 1:00:00 p.m. | 7752516 | 1135224 | 6.9791 | 0 | 87.222 | 22.2
482 | 16/11/2013 | 2:00:00 p.m. | 7752795 | 1135264 | 7.0017 | 0 | 87.178 | 22.8
483 | 16/11/2013 | 3:00:00 p.m. | 7753075 | 1135304 | 6.9861 | 0 | 87.23 | 22.5
484 | 16/11/2013 | 4:00:00 p.m. | 7753348 | 1135343 | 6.9905 | 0 | 87.312 | 23
485 | 16/11/2013 | 5:00:00 p.m. | 7753635 | 1135384 | 7.033 | 0 | 87.332 | 22.2
486 | 16/11/2013 | 6:00:00 p.m. | 7753952 | 1135429 | 7.06 | 0 | 87.383 | 21.3
487 | 16/11/2013 | 7:00:00 p.m. | 7754270 | 1135474 | 7.0483 | 0 | 87.465 | 20.9
488 | 16/11/2013 | 8:00:00 p.m. | 7754609 | 1135522 | 7.0519 | 0 | 87.405 | 20.6
489 | 16/11/2013 | 9:00:00 p.m. | 7754983 | 1135575 | 7.0617 | 0 | 87.382 | 20.4
490 | 16/11/2013 | 10:00:00 p.m. | 7755392 | 1135633 | 7.0444 | 0 | 87.149 | 20.2
491 | 16/11/2013 | 11:00:00 p.m. | 7755829 | 1135695 | 7.0733 | 0 | 87.033 | 19.9
492 | 17/11/2013 | 12:00:00 a.m. | 7756266 | 1135757 | 7.0256 | 0 | 87.001 | 19.8
493 | 17/11/2013 | 1:00:00 a.m. | 7756725 | 1135822 | 7.0332 | 0 | 86.945 | 19.7
494 | 17/11/2013 | 2:00:00 a.m. | 7757211 | 1135891 | 7.0441 | 0 | 86.904 | 19.6
495 | 17/11/2013 | 3:00:00 a.m. | 7757705 | 1135961 | 7.0495 | 0 | 86.933 | 19.5
496 | 17/11/2013 | 4:00:00 a.m. | 7758213 | 1136033 | 7.0115 | 0 | 86.861 | 19.4
497 | 17/11/2013 | 5:00:00 a.m. | 7758768 | 1136112 | 7.0479 | 0 | 86.577 | 19.4
498 | 17/11/2013 | 6:00:00 a.m. | 7759351 | 1136195 | 7.07 | 0 | 86.473 | 19.3
499 | 17/11/2013 | 7:00:00 a.m. | 7759954 | 1136281 | 7.0588 | 0 | 86.32 | 19.3
500 | 17/11/2013 | 8:00:00 a.m. | 7760558 | 1136367 | 6.9844 | 0 | 86.347 | 19.3
501 | 17/11/2013 | 9:00:00 a.m. | 7761091 | 1136443 | 6.9812 | 0 | 86.633 | 20
502 | 17/11/2013 | 10:00:00 a.m. | 7761561 | 1136510 | 7.0398 | 0 | 86.714 | 20.6
503 | 17/11/2013 | 11:00:00 a.m. | 7761960 | 1136567 | 7.0089 | 0 | 86.916 | 21
504 | 17/11/2013 | 12:00:00 p.m. | 7762256 | 1136609 | 7.0132 | 0 | 87.345 | 21.6
505 | 17/11/2013 | 1:00:00 p.m. | 7762501 | 1136644 | 7.0125 | 0 | 87.321 | 22.4
506 | 17/11/2013 | 2:00:00 p.m. | 7762739 | 1136678 | 7.0334 | 0 | 87.313 | 23
507 | 17/11/2013 | 3:00:00 p.m. | 7762900 | 1136701 | 6.9694 | 0 | 87.513 | 23.7
508 | 17/11/2013 | 4:00:00 p.m. | 7763046 | 1136722 | 6.9729 | 0 | 87.549 | 24.3
509 | 17/11/2013 | 5:00:00 p.m. | 7763200 | 1136744 | 6.9885 | 0 | 87.652 | 24.2
510 | 17/11/2013 | 6:00:00 p.m. | 7763397 | 1136772 | 7.0405 | 0 | 87.766 | 22.9
511 | 17/11/2013 | 7:00:00 p.m. | 7763630 | 1136805 | 7.092 | 0 | 87.77 | 21.1
512 | 17/11/2013 | 8:00:00 p.m. | 7763914 | 1136845 | 7.0731 | 0 | 87.753 | 20.4
513 | 17/11/2013 | 9:00:00 p.m. | 7764219 | 1136888 | 7.0678 | 0 | 87.703 | 20.1
514 | 17/11/2013 | 10:00:00 p.m. | 7764559 | 1136936 | 7.1005 | 0 | 87.566 | 19.9
515 | 17/11/2013 | 11:00:00 p.m. | 7764942 | 1136990 | 7.0693 | 0 | 87.483 | 19.8
516 | 18/11/2013 | 12:00:00 a.m. | 7765304 | 1137041 | 7.0962 | 0 | 87.565 | 19.6
517 | 18/11/2013 | 1:00:00 a.m. | 7765680 | 1137094 | 7.0754 | 0 | 87.531 | 19.5
518 | 18/11/2013 | 2:00:00 a.m. | 7766084 | 1137151 | 7.0651 | 0 | 87.428 | 19.4
519 | 18/11/2013 | 3:00:00 a.m. | 7766537 | 1137215 | 7.0963 | 0 | 87.142 | 19.4
520 | 18/11/2013 | 4:00:00 a.m. | 7767004 | 1137281 | 7.0667 | 0 | 87.217 | 19.3
521 | 18/11/2013 | 5:00:00 a.m. | 7767499 | 1137351 | 7.0572 | 0 | 87.046 | 19.3
522 | 18/11/2013 | 6:00:00 a.m. | 7767980 | 1137419 | 7.0882 | 0 | 87.195 | 19.2
523 | 18/11/2013 | 7:00:00 a.m. | 7768448 | 1137485 | 7.0896 | 0 | 87.287 | 19.1
524 | 18/11/2013 | 8:00:00 a.m. | 7768902 | 1137549 | 7.0859 | 0 | 87.448 | 19.3
525 | 18/11/2013 | 9:00:00 a.m. | 7769292 | 1137604 | 7.0547 | 0 | 87.539 | 20.1
526 | 18/11/2013 | 10:00:00 a.m. | 7769630 | 1137652 | 7.0461 | 0 | 87.411 | 20.9
527 | 18/11/2013 | 11:00:00 a.m. | 7769926 | 1137694 | 7.0556 | 0 | 87.444 | 21.6
528 | 18/11/2013 | 12:00:00 p.m. | 7770151 | 1137726 | 6.9913 | 0 | 87.568 | 22.5
529 | 18/11/2013 | 1:00:00 p.m. | 7770333 | 1137752 | 6.9874 | 0 | 87.648 | 23.5
530 | 18/11/2013 | 2:00:00 p.m. | 7770500 | 1137776 | 6.9624 | 0 | 87.562 | 24.5
531 | 18/11/2013 | 3:00:00 p.m. | 7770681 | 1137802 | 6.9704 | 0 | 87.445 | 25
532 | 18/11/2013 | 4:00:00 p.m. | 7770848 | 1137826 | 6.9428 | 0 | 87.573 | 25.1
533 | 18/11/2013 | 5:00:00 p.m. | 7771015 | 1137850 | 7.0061 | 0 | 87.699 | 24.9
534 | 18/11/2013 | 6:00:00 p.m. | 7771205 | 1137877 | 7.0659 | 0 | 87.895 | 23.6
535 | 18/11/2013 | 7:00:00 p.m. | 7771432 | 1137909 | 7.0989 | 0 | 87.911 | 21.4
536 | 18/11/2013 | 8:00:00 p.m. | 7771701 | 1137947 | 7.0707 | 0 | 87.895 | 20.7
537 | 18/11/2013 | 9:00:00 p.m. | 7771992 | 1137988 | 7.0914 | 0 | 87.806 | 20.5
538 | 18/11/2013 | 10:00:00 p.m. | 7772304 | 1138032 | 7.1112 | 0 | 87.804 | 20.3
539 | 18/11/2013 | 11:00:00 p.m. | 7772624 | 1138077 | 7.1059 | 0 | 87.751 | 20.2
540 | 19/11/2013 | 12:00:00 a.m. | 7772985 | 1138128 | 7.0691 | 0 | 87.46 | 20
541 | 19/11/2013 | 1:00:00 a.m. | 7773360 | 1138181 | 7.0721 | 0 | 87.54 | 19.9
542 | 19/11/2013 | 2:00:00 a.m. | 7773799 | 1138243 | 7.084 | 0 | 87.303 | 19.9
543 | 19/11/2013 | 3:00:00 a.m. | 7774286 | 1138312 | 7.0649 | 0 | 87.124 | 19.7
544 | 19/11/2013 | 4:00:00 a.m. | 7774759 | 1138379 | 7.0934 | 0 | 87.147 | 19.6
545 | 19/11/2013 | 5:00:00 a.m. | 7775247 | 1138448 | 7.0918 | 0 | 87.126 | 19.5
546 | 19/11/2013 | 6:00:00 a.m. | 7775742 | 1138518 | 7.0425 | 0 | 87.145 | 19.5
547 | 19/11/2013 | 7:00:00 a.m. | 7776215 | 1138585 | 7.049 | 0 | 87.091 | 19.4
548 | 19/11/2013 | 8:00:00 a.m. | 7776682 | 1138651 | 7.0631 | 0 | 87.171 | 19.5
549 | 19/11/2013 | 9:00:00 a.m. | 7777106 | 1138711 | 7.0306 | 0 | 87.209 | 20
550 | 19/11/2013 | 10:00:00 a.m. | 7777479 | 1138764 | 7.0296 | 0 | 87.233 | 20.6
551 | 19/11/2013 | 11:00:00 a.m. | 7777809 | 1138811 | 7.0111 | 0 | 87.237 | 21.3
552 | 19/11/2013 | 12:00:00 p.m. | 7778097 | 1138852 | 6.9936 | 0 | 87.266 | 22
553 | 19/11/2013 | 1:00:00 p.m. | 7778348 | 1138892 | 6.9864 | 0 | 78.281 | 22.7
554 | 19/11/2013 | 2:00:00 p.m. | 7778599 | 1138928 | 6.9398 | 0 | 87.021 | 23.5
555 | 19/11/2013 | 3:00:00 p.m. | 7778842 | 1138963 | 6.9757 | 0 | 87.012 | 23.8
556 | 19/11/2013 | 4:00:00 p.m. | 7779072 | 1138996 | 6.9384 | 0 | 87.053 | 24.1
557 | 19/11/2013 | 5:00:00 p.m. | 7779302 | 1139029 | 6.992 | 0 | 87.204 | 23.9
558 | 19/11/2013 | 6:00:00 p.m. | 7779547 | 1139064 | 7.0376 | 0 | 87.291 | 22.6
559 | 19/11/2013 | 7:00:00 p.m. | 7779857 | 1139108 | 7.0256 | 0 | 87.325 | 21
560 | 19/11/2013 | 8:00:00 p.m. | 7780188 | 1139155 | 7.0564 | 0 | 87.254 | 20.6
561 | 19/11/2013 | 9:00:00 p.m. | 7780561 | 1139208 | 7.0372 | 0 | 87.092 | 20.5
562 | 19/11/2013 | 10:00:00 p.m. | 7780941 | 1139262 | 7.0272 | 0 | 87.076 | 20.3
563 | 19/11/2013 | 11:00:00 p.m. | 7781342 | 1139319 | 7.0423 | 0 | 86.935 | 20.3
564 | 20/11/2013 | 12:00:00 a.m. | 7781806 | 1139385 | 7.0573 | 0 | 86.736 | 19.9
565 | 20/11/2013 | 1:00:00 a.m. | 7782263 | 1139450 | 7.0199 | 0 | 86.743 | 19.8
566 | 20/11/2013 | 2:00:00 a.m. | 7782755 | 1139520 | 7.0254 | 0 | 86.59 | 19.7
567 | 20/11/2013 | 3:00:00 a.m. | 7783261 | 1139592 | 7.0051 | 0 | 86.591 | 19.6
568 | 20/11/2013 | 4:00:00 a.m. | 7783773 | 1139665 | 7.0276 | 0 | 86.495 | 19.6
569 | 20/11/2013 | 5:00:00 a.m. | 7784320 | 1139743 | 7.018 | 0 | 86.341 | 19.5
570 | 20/11/2013 | 6:00:00 a.m. | 7784881 | 1139823 | 6.9996 | 0 | 86.206 | 19.4
571 | 20/11/2013 | 7:00:00 a.m. | 7785455 | 1139905 | 6.9861 | 0 | 86.107 | 19.3
572 | 20/11/2013 | 8:00:00 a.m. | 7785988 | 1139981 | 7.0356 | 0 | 86.431 | 19.3
573 | 20/11/2013 | 9:00:00 a.m. | 7786445 | 1140046 | 7.0453 | 0 | 86.781 | 19.8
574 | 20/11/2013 | 10:00:00 a.m. | 7786845 | 1140103 | 7.002 | 0 | 86.798 | 20.6
575 | 20/11/2013 | 11:00:00 a.m. | 7787195 | 1140153 | 6.9893 | 0 | 86.826 | 21.2
576 | 20/11/2013 | 12:00:00 p.m. | 7787503 | 1140197 | 6.9893 | 0 | 86.927 | 21.8
577 | 20/11/2013 | 1:00:00 p.m. | 7787790 | 1140238 | 6.9525 | 0 | 86.978 | 22.4
578 | 20/11/2013 | 2:00:00 p.m. | 7788075 | 1140279 | 6.9586 | 0 | 86.843 | 23
579 | 20/11/2013 | 3:00:00 p.m. | 7788332 | 1140316 | 6.9599 | 0 | 86.954 | 23.2
580 | 20/11/2013 | 4:00:00 p.m. | 7788576 | 1140351 | 6.993 | 0 | 87.04 | 23.6
581 | 20/11/2013 | 5:00:00 p.m. | 7788842 | 1140389 | 6.9958 | 0 | 87.1 | 22.4
582 | 20/11/2013 | 6:00:00 p.m. | 7789137 | 1140431 | 7.0229 | 0 | 87.245 | 21.2
583 | 20/11/2013 | 7:00:00 p.m. | 7789482 | 1140480 | 7.0328 | 0 | 87.079 | 20.7
584 | 20/11/2013 | 8:00:00 p.m. | 7789848 | 1140532 | 7.061 | 0 | 87.007 | 20.4
585 | 20/11/2013 | 9:00:00 p.m. | 7790241 | 1140588 | 7.054 | 0 | 86.891 | 20.3
586 | 20/11/2013 | 10:00:00 p.m. | 7790690 | 1140652 | 7.0151 | 0 | 86.669 | 20.2
587 | 20/11/2013 | 11:00:00 p.m. | 7791133 | 1140715 | 7.0029 | 0 | 86.676 | 20.2
588 | 21/11/2013 | 12:00:00 a.m. | 7791623 | 1140785 | 6.9926 | 0 | 86.492 | 20
589 | 21/11/2013 | 1:00:00 a.m. | 7792121 | 1140856 | 7.0319 | 0 | 86.46 | 19.7
590 | 21/11/2013 | 2:00:00 a.m. | 7792627 | 1140928 | 7.0197 | 0 | 86.488 | 19.6
591 | 21/11/2013 | 3:00:00 a.m. | 7793125 | 1140999 | 7.0117 | 0 | 86.546 | 19.6
592 | 21/11/2013 | 4:00:00 a.m. | 7793644 | 1141073 | 7.0465 | 0 | 86.39 | 19.6
593 | 21/11/2013 | 5:00:00 a.m. | 7794177 | 1141149 | 7.0328 | 0 | 86.316 | 19.5
594 | 21/11/2013 | 6:00:00 a.m. | 7794717 | 1141226 | 7.0143 | 0 | 86.344 | 19.4
595 | 21/11/2013 | 7:00:00 a.m. | 7795264 | 1141304 | 7.0239 | 0 | 86.328 | 19.3
596 | 21/11/2013 | 8:00:00 a.m. | 7795818 | 1141383 | 7.0194 | 0 | 86.244 | 19.3
597 | 21/11/2013 | 9:00:00 a.m. | 7796309 | 1141453 | 6.9743 | 0 | 86.473 | 19.9
598 | 21/11/2013 | 10:00:00 a.m. | 7796750 | 1141516 | 6.9909 | 0 | 86.595 | 20.5
599 | 21/11/2013 | 11:00:00 a.m. | 7797142 | 1141572 | 6.9714 | 0 | 86.67 | 21.1
600 | 21/11/2013 | 12:00:00 p.m. | 7797491 | 1141622 | 6.9947 | 0 | 86.828 | 21.6
601 | 21/11/2013 | 1:00:00 p.m. | 7797805 | 1141667 | 6.9802 | 0 | 86.877 | 22.3
602 | 21/11/2013 | 2:00:00 p.m. | 7798091 | 1141708 | 6.9791 | 0 | 86.862 | 22.9
603 | 21/11/2013 | 3:00:00 p.m. | 7798370 | 1141748 | 6.9659 | 0 | 87.017 | 22.5
604 | 21/11/2013 | 4:00:00 p.m. | 7798628 | 1141785 | 6.9773 | 0 | 87.029 | 23.2
605 | 21/11/2013 | 5:00:00 p.m. | 7798893 | 1141823 | 6.9958 | 0 | 87.113 | 22.8
606 | 21/11/2013 | 6:00:00 p.m. | 7799174 | 1141863 | 7.0315 | 0 | 87.222 | 21.9
607 | 21/11/2013 | 7:00:00 p.m. | 7799497 | 1141909 | 7.0163 | 0 | 87.039 | 20.8
608 | 21/11/2013 | 8:00:00 p.m. | 7799870 | 1141962 | 7.0387 | 0 | 86.943 | 20.5
609 | 21/11/2013 | 9:00:00 p.m. | 7800249 | 1142016 | 7.027 | 0 | 86.903 | 20.4
610 | 21/11/2013 | 10:00:00 p.m. | 7800650 | 1142073 | 7.0165 | 0 | 86.877 | 20.3
611 | 21/11/2013 | 11:00:00 p.m. | 7801058 | 1142131 | 7.0265 | 0 | 86.833 | 20.2
612 | 22/11/2013 | 12:00:00 a.m. | 7801569 | 1142204 | 6.9918 | 0 | 86.362 | 19.7
613 | 22/11/2013 | 1:00:00 a.m. | 7802074 | 1142276 | 7.0029 | 0 | 86.464 | 19.7
614 | 22/11/2013 | 2:00:00 a.m. | 7802660 | 1142360 | 6.9538 | 0 | 85.879 | 19.7
615 | 22/11/2013 | 3:00:00 a.m. | 7803233 | 1142442 | 7.0309 | 0 | 86.064 | 19.6
616 | 22/11/2013 | 4:00:00 a.m. | 7803800 | 1142523 | 6.9909 | 0 | 86.162 | 19.4
617 | 22/11/2013 | 5:00:00 a.m. | 7804387 | 1142607 | 6.9815 | 0 | 86.065 | 19.3
618 | 22/11/2013 | 6:00:00 a.m. | 7804995 | 1142694 | 7.0094 | 0 | 85.938 | 19.2
619 | 22/11/2013 | 7:00:00 a.m. | 7805617 | 1142783 | 6.9661 | 0 | 85.823 | 19.1
620 | 22/11/2013 | 8:00:00 a.m. | 7806232 | 1142871 | 7.0026 | 0 | 85.979 | 19.1
621 | 22/11/2013 | 9:00:00 a.m. | 7806758 | 1142946 | 6.9847 | 0 | 86.414 | 19.6
622 | 22/11/2013 | 10:00:00 a.m. | 7807221 | 1143012 | 7.0192 | 0 | 86.535 | 20.2
623 | 22/11/2013 | 11:00:00 a.m. | 7807606 | 1143067 | 6.9996 | 0 | 86.756 | 20.9
624 | 22/11/2013 | 12:00:00 p.m. | 7807949 | 1143116 | 7.0055 | 0 | 86.894 | 21.4
625 | 22/11/2013 | 1:00:00 p.m. | 7808236 | 1143157 | 7.0041 | 0 | 87.049 | 21.9
626 | 22/11/2013 | 2:00:00 p.m. | 7808488 | 1143193 | 6.9594 | 0 | 87.069 | 22.6
627 | 22/11/2013 | 3:00:00 p.m. | 7808717 | 1143226 | 6.9652 | 0 | 87.049 | 23.4
628 | 22/11/2013 | 4:00:00 p.m. | 7808954 | 1143260 | 6.9926 | 0 | 87.08 | 23.7
629 | 22/11/2013 | 5:00:00 p.m. | 7809205 | 1143296 | 7.011 | 0 | 87.059 | 23.2
630 | 22/11/2013 | 6:00:00 p.m. | 7809486 | 1143336 | 7.036 | 0 | 87.235 | 21.6
631 | 22/11/2013 | 7:00:00 p.m. | 7809824 | 1143384 | 7.0305 | 0 | 87.123 | 20.6
632 | 22/11/2013 | 8:00:00 p.m. | 7810197 | 1143437 | 7.0375 | 0 | 86.947 | 20.2
633 | 22/11/2013 | 9:00:00 p.m. | 7810584 | 1143492 | 7.0372 | 0 | 86.899 | 20
634 | 22/11/2013 | 10:00:00 p.m. | 7810978 | 1143548 | 7.0571 | 0 | 86.928 | 20
635 | 22/11/2013 | 11:00:00 p.m. | 7811387 | 1143606 | 7.0212 | 0 | 86.877 | 19.9
636 | 23/11/2013 | 12:00:00 a.m. | 7811816 | 1143667 | 7.0478 | 0 | 86.791 | 19.7
637 | 23/11/2013 | 1:00:00 a.m. | 7812198 | 1143721 | 7.0948 | 0 | 87.123 | 19.5
638 | 23/11/2013 | 2:00:00 a.m. | 7812510 | 1143765 | 7.1012 | 0 | 87.428 | 19.4
639 | 23/11/2013 | 3:00:00 a.m. | 7812822 | 1143809 | 7.1007 | 0 | 87.489 | 19.2
640 | 23/11/2013 | 4:00:00 a.m. | 7813163 | 1143857 | 7.0988 | 0 | 87.386 | 19.2
641 | 23/11/2013 | 5:00:00 a.m. | 7813503 | 1143905 | 7.0839 | 0 | 87.422 | 19.3
642 | 23/11/2013 | 6:00:00 a.m. | 7813802 | 1143947 | 7.1042 | 0 | 87.491 | 19.1
643 | 23/11/2013 | 7:00:00 a.m. | 7814100 | 1143989 | 7.0934 | 0 | 87.49 | 19.1
644 | 23/11/2013 | 8:00:00 a.m. | 7814236 | 1144008 | 7.1929 | 0 | 88.147 | 18.6
645 | 23/11/2013 | 9:00:00 a.m. | 7814300 | 1144017 | 7.163 | 0 | 88.313 | 18.2
646 | 23/11/2013 | 10:00:00 a.m. | 7814379 | 1144028 | 7.0701 | 0 | 87.958 | 19.2
647 | 23/11/2013 | 11:00:00 a.m. | 7814541 | 1144051 | 7.0704 | 0 | 87.486 | 21
648 | 23/11/2013 | 12:00:00 p.m. | 7814703 | 1144074 | 6.9939 | 0 | 87.447 | 21.7
649 | 23/11/2013 | 1:00:00 p.m. | 7814885 | 1144100 | 7.0033 | 0 | 87.229 | 22.5
650 | 23/11/2013 | 2:00:00 p.m. | 7815053 | 1144124 | 6.9419 | 0 | 87.294 | 23.2
651 | 23/11/2013 | 3:00:00 p.m. | 7815206 | 1144146 | 6.9809 | 0 | 87.218 | 23.8
652 | 23/11/2013 | 4:00:00 p.m. | 7815388 | 1144172 | 7.0197 | 0 | 87.286 | 23.2
653 | 23/11/2013 | 5:00:00 p.m. | 7815542 | 1144194 | 7.0164 | 0 | 87.479 | 22.3
654 | 23/11/2013 | 6:00:00 p.m. | 7815725 | 1144220 | 7.0584 | 0 | 87.522 | 21.4
655 | 23/11/2013 | 7:00:00 p.m. | 7815923 | 1144248 | 7.12 | 0 | 87.557 | 20.5
656 | 23/11/2013 | 8:00:00 p.m. | 7816157 | 1144281 | 7.0841 | 0 | 87.55 | 20.1
657 | 23/11/2013 | 9:00:00 p.m. | 7816412 | 1144317 | 7.0924 | 0 | 87.457 | 19.8
658 | 23/11/2013 | 10:00:00 p.m. | 7816696 | 1144357 | 7.0741 | 0 | 87.471 | 19.7
659 | 23/11/2013 | 11:00:00 p.m. | 7817001 | 1144400 | 7.0989 | 0 | 87.456 | 19.5
660 | 24/11/2013 | 12:00:00 a.m. | 7817320 | 1144445 | 7.0931 | 0 | 87.344 | 19.4
661 | 24/11/2013 | 1:00:00 a.m. | 7817667 | 1144494 | 7.0836 | 0 | 87.264 | 19.2
662 | 24/11/2013 | 2:00:00 a.m. | 7818007 | 1144542 | 7.1022 | 0 | 87.32 | 19.2
663 | 24/11/2013 | 3:00:00 a.m. | 7818355 | 1144591 | 7.0868 | 0 | 87.34 | 19.1
664 | 24/11/2013 | 4:00:00 a.m. | 7818688 | 1144638 | 7.1035 | 0 | 87.405 | 19
665 | 24/11/2013 | 5:00:00 a.m. | 7819036 | 1144687 | 7.0872 | 0 | 87.232 | 19
666 | 24/11/2013 | 6:00:00 a.m. | 7819390 | 1144737 | 7.1162 | 0 | 87.262 | 18.9
667 | 24/11/2013 | 7:00:00 a.m. | 7819718 | 1144783 | 7.1226 | 0 | 87.559 | 18.9
668 | 24/11/2013 | 8:00:00 a.m. | 7820024 | 1144826 | 7.1183 | 0 | 87.682 | 18.9
669 | 24/11/2013 | 9:00:00 a.m. | 7820301 | 1144865 | 7.1084 | 0 | 87.638 | 19.3
670 | 24/11/2013 | 10:00:00 a.m. | 7820564 | 1144902 | 7.0797 | 0 | 87.491 | 19.8
671 | 24/11/2013 | 11:00:00 a.m. | 7820804 | 1144936 | 7.0409 | 0 | 87.397 | 20.6
672 | 24/11/2013 | 12:00:00 p.m. | 7821008 | 1144965 | 7.0163 | 0 | 87.34 | 21.3
673 | 24/11/2013 | 1:00:00 p.m. | 7821197 | 1144992 | 7.0018 | 0 | 87.262 | 22.2
674 | 24/11/2013 | 2:00:00 p.m. | 7821337 | 1145012 | 6.9811 | 0 | 87.369 | 23.2
675 | 24/11/2013 | 3:00:00 p.m. | 7821435 | 1145026 | 6.9604 | 0 | 87.491 | 24.5
676 | 24/11/2013 | 4:00:00 p.m. | 7821525 | 1145039 | 6.9601 | 0 | 87.497 | 25
677 | 24/11/2013 | 5:00:00 p.m. | 7821616 | 1145052 | 7.0437 | 0 | 87.653 | 22.8
678 | 24/11/2013 | 6:00:00 p.m. | 7821722 | 1145067 | 7.0999 | 0 | 87.757 | 21.3
679 | 24/11/2013 | 7:00:00 p.m. | 7821850 | 1145085 | 7.1177 | 0 | 87.883 | 20
680 | 24/11/2013 | 8:00:00 p.m. | 7821879 | 1145089 | 7.1765 | 0 | 88.402 | 19.3
681 | 24/11/2013 | 9:00:00 p.m. | 7821879 | 1145089 | 7.3163 | 0 | 88.676 | 18
682 | 24/11/2013 | 10:00:00 p.m. | 7821879 | 1145089 | 7.2236 | 0 | 88.4 | 16.9
683 | 24/11/2013 | 11:00:00 p.m. | 7821879 | 1145089 | 7.3509 | 0 | 88.211 | 16.1
684 | 25/11/2013 | 12:00:00 a.m. | 7821879 | 1145089 | 7.2665 | 0 | 88.322 | 15.4
685 | 25/11/2013 | 1:00:00 a.m. | 7821879 | 1145089 | 7.293 | 0 | 88.412 | 14.7
686 | 25/11/2013 | 2:00:00 a.m. | 7821879 | 1145089 | 7.3038 | 0 | 88.352 | 14
687 | 25/11/2013 | 3:00:00 a.m. | 7821879 | 1145089 | 7.327 | 0 | 88.362 | 13.3
688 | 25/11/2013 | 4:00:00 a.m. | 7821879 | 1145089 | 7.3452 | 0 | 88.369 | 12.7
689 | 25/11/2013 | 5:00:00 a.m. | 7821879 | 1145089 | 7.3643 | 0 | 88.358 | 12
690 | 25/11/2013 | 6:00:00 a.m. | 7821879 | 1145089 | 7.3887 | 0 | 89.228 | 11.3
691 | 25/11/2013 | 7:00:00 a.m. | 7821879 | 1145089 | 7.5371 | 0 | 89.132 | 10.7
692 | 25/11/2013 | 8:00:00 a.m. | 7821879 | 1145089 | 7.4241 | 0 | 89.46 | 10.2
693 | 25/11/2013 | 9:00:00 a.m. | 7821879 | 1145089 | 7.3388 | 0 | 88.569 | 11
694 | 25/11/2013 | 10:00:00 a.m. | 7821893 | 1145091 | 7.1927 | 0 | 88.167 | 14.5
695 | 25/11/2013 | 11:00:00 a.m. | 7821908 | 1145093 | 7.0972 | 0 | 87.895 | 18.2
696 | 25/11/2013 | 12:00:00 p.m. | 7821922 | 1145095 | 7.0666 | 0 | 87.781 | 21.3
697 | 25/11/2013 | 1:00:00 p.m. | 7821929 | 1145096 | 6.9882 | 0 | 87.72 | 23.2
698 | 25/11/2013 | 2:00:00 p.m. | 7821943 | 1145098 | 7.0081 | 0 | 87.675 | 24.1
699 | 25/11/2013 | 3:00:00 p.m. | 7821957 | 1145100 | 6.9867 | 0 | 87.802 | 24.7
700 | 25/11/2013 | 4:00:00 p.m. | 7821971 | 1145102 | 6.9778 | 0 | 87.725 | 25.4
701 | 25/11/2013 | 5:00:00 p.m. | 7821992 | 1145105 | 7.0141 | 0 | 87.813 | 24.5
702 | 25/11/2013 | 6:00:00 p.m. | 7822006 | 1145107 | 7.0632 | 0 | 87.905 | 23.2
703 | 25/11/2013 | 7:00:00 p.m. | 7822027 | 1145110 | 7.1205 | 0 | 88.111 | 21
704 | 25/11/2013 | 8:00:00 p.m. | 7822048 | 1145113 | 7.1695 | 0 | 88.159 | 19.1
705 | 25/11/2013 | 9:00:00 p.m. | 7822070 | 1145116 | 7.2152 | 0 | 88.227 | 17.8
706 | 25/11/2013 | 10:00:00 p.m. | 7822092 | 1145119 | 7.2012 | 0 | 88.18 | 17.2
707 | 25/11/2013 | 11:00:00 p.m. | 7822120 | 1145123 | 7.2072 | 0 | 88.111 | 17.1
708 | 26/11/2013 | 12:00:00 a.m. | 7822142 | 1145126 | 7.2088 | 0 | 88.109 | 16.9
709 | 26/11/2013 | 1:00:00 a.m. | 7822164 | 1145129 | 7.2114 | 0 | 88.052 | 16.7
710 | 26/11/2013 | 2:00:00 a.m. | 7822185 | 1145132 | 7.2215 | 0 | 88.104 | 16.5
711 | 26/11/2013 | 3:00:00 a.m. | 7822214 | 1145136 | 7.2303 | 0 | 88.172 | 16.3
712 | 26/11/2013 | 4:00:00 a.m. | 7822236 | 1145139 | 7.251 | 0 | 88.241 | 16
713 | 26/11/2013 | 5:00:00 a.m. | 7822258 | 1145142 | 7.2491 | 0 | 88.305 | 15.8
714 | 26/11/2013 | 6:00:00 a.m. | 7822287 | 1145146 | 7.2286 | 0 | 88.286 | 15.7
715 | 26/11/2013 | 7:00:00 a.m. | 7822316 | 1145150 | 7.268 | 0 | 88.288 | 15.6
716 | 26/11/2013 | 8:00:00 a.m. | 7822345 | 1145154 | 7.2232 | 0 | 88.305 | 15.3
717 | 26/11/2013 | 9:00:00 a.m. | 7822367 | 1145157 | 7.1865 | 0 | 88.147 | 16.2
718 | 26/11/2013 | 10:00:00 a.m. | 7822395 | 1145161 | 7.1213 | 0 | 87.893 | 18.3
719 | 26/11/2013 | 11:00:00 a.m. | 7822424 | 1145165 | 7.108 | 0 | 87.83 | 19.8
720 | 26/11/2013 | 12:00:00 p.m. | 7822445 | 1145168 | 7.0404 | 0 | 87.723 | 21.1
721 | 26/11/2013 | 1:00:00 p.m. | 7822452 | 1145169 | 6.9968 | 0 | 87.69 | 22.9
722 | 26/11/2013 | 2:00:00 p.m. | 7822452 | 1145169 | 6.9563 | 0 | 87.567 | 24.5
723 | 26/11/2013 | 3:00:00 p.m. | 7822452 | 1145169 | 6.9371 | 0 | 87.698 | 25.6
724 | 26/11/2013 | 4:00:00 p.m. | 7822452 | 1145169 | 6.9563 | 0 | 88.167 | 25.7
725 | 26/11/2013 | 5:00:00 p.m. | 7822459 | 1145170 | 7.0671 | 0 | 88.042 | 24.9
726 | 26/11/2013 | 6:00:00 p.m. | 7822466 | 1145171 | 7.0645 | 0 | 88.058 | 23.1
727 | 26/11/2013 | 7:00:00 p.m. | 7822473 | 1145172 | 7.1477 | 0 | 88.383 | 20.6
728 | 26/11/2013 | 8:00:00 p.m. | 7822480 | 1145173 | 7.2081 | 0 | 88.288 | 18.2
729 | 26/11/2013 | 9:00:00 p.m. | 7822488 | 1145174 | 7.2476 | 0 | 88.26 | 16.4
730 | 26/11/2013 | 10:00:00 p.m. | 7822517 | 1145178 | 7.2423 | 0 | 88.292 | 15.5
731 | 26/11/2013 | 11:00:00 p.m. | 7822531 | 1145180 | 7.3552 | 0 | 88.521 | 14.7
732 | 27/11/2013 | 12:00:00 a.m. | 7822539 | 1145181 | 7.3259 | 0 | 88.498 | 13.7
733 | 27/11/2013 | 1:00:00 a.m. | 7822553 | 1145183 | 7.3598 | 0 | 88.453 | 12.7
734 | 27/11/2013 | 2:00:00 a.m. | 7822568 | 1145185 | 7.3792 | 0 | 88.506 | 11.9
735 | 27/11/2013 | 3:00:00 a.m. | 7822583 | 1145187 | 7.4069 | 0 | 88.608 | 11.1
736 | 27/11/2013 | 4:00:00 a.m. | 7822598 | 1145189 | 7.4267 | 0 | 88.647 | 10.6
737 | 27/11/2013 | 5:00:00 a.m. | 7822612 | 1145191 | 7.43 | 0 | 88.668 | 10.2
738 | 27/11/2013 | 6:00:00 a.m. | 7822620 | 1145192 | 7.4291 | 0 | 88.619 | 10.2
739 | 27/11/2013 | 7:00:00 a.m. | 7822635 | 1145194 | 7.4462 | 0 | 88.656 | 10
740 | 27/11/2013 | 8:00:00 a.m. | 7822657 | 1145197 | 7.4412 | 0 | 88.664 | 9.6
741 | 27/11/2013 | 9:00:00 a.m. | 7822672 | 1145199 | 7.3929 | 0 | 88.556 | 10.1
742 | 27/11/2013 | 10:00:00 a.m. | 7822701 | 1145203 | 7.2591 | 0 | 88.218 | 12.4
743 | 27/11/2013 | 11:00:00 a.m. | 7822752 | 1145210 | 7.1704 | 0 | 87.954 | 16.5
744 | 27/11/2013 | 12:00:00 p.m. | 7822794 | 1145216 | 7.1119 | 0 | 87.845 | 18.8
745 | 27/11/2013 | 1:00:00 p.m. | 7822830 | 1145221 | 7.0657 | 0 | 87.745 | 20.7
746 | 27/11/2013 | 2:00:00 p.m. | 7822851 | 1145224 | 7.006 | 0 | 87.705 | 22.5
747 | 27/11/2013 | 3:00:00 p.m. | 7822872 | 1145227 | 6.9756 | 0 | 87.641 | 24.2
748 | 27/11/2013 | 4:00:00 p.m. | 7822886 | 1145229 | 6.9672 | 0 | 87.612 | 25.2
749 | 27/11/2013 | 5:00:00 p.m. | 7822900 | 1145231 | 7.0795 | 0 | 87.735 | 24.1
750 | 27/11/2013 | 6:00:00 p.m. | 7822921 | 1145234 | 7.1396 | 0 | 87.998 | 21.1
751 | 27/11/2013 | 7:00:00 p.m. | 7822950 | 1145238 | 7.2323 | 0 | 88.123 | 18.2
752 | 27/11/2013 | 8:00:00 p.m. | 7822979 | 1145242 | 7.2499 | 0 | 88.287 | 16.3
753 | 27/11/2013 | 9:00:00 p.m. | 7823022 | 1145248 | 7.2629 | 0 | 88.291 | 15.4
754 | 27/11/2013 | 10:00:00 p.m. | 7823081 | 1145256 | 7.286 | 0 | 88.383 | 14.8
755 | 27/11/2013 | 11:00:00 p.m. | 7823139 | 1145264 | 7.3056 | 0 | 88.326 | 14.3
756 | 28/11/2013 | 12:00:00 a.m. | 7823198 | 1145272 | 7.3097 | 0 | 88.436 | 13.9
757 | 28/11/2013 | 1:00:00 a.m. | 7823256 | 1145280 | 7.3224 | 0 | 88.419 | 13.8
758 | 28/11/2013 | 2:00:00 a.m. | 7823322 | 1145289 | 7.3249 | 0 | 88.47 | 13.5
759 | 28/11/2013 | 3:00:00 a.m. | 7823381 | 1145297 | 7.3234 | 0 | 88.437 | 13.3
760 | 28/11/2013 | 4:00:00 a.m. | 7823447 | 1145306 | 7.3237 | 0 | 88.723 | 13.4
761 | 28/11/2013 | 5:00:00 a.m. | 7823506 | 1145314 | 7.3063 | 0 | 88.793 | 13.6
762 | 28/11/2013 | 6:00:00 a.m. | 7823572 | 1145323 | 7.3312 | 0 | 88.666 | 13.5
763 | 28/11/2013 | 7:00:00 a.m. | 7823638 | 1145332 | 7.3209 | 0 | 88.586 | 13.4
764 | 28/11/2013 | 8:00:00 a.m. | 7823703 | 1145341 | 7.3199 | 0 | 88.516 | 13.5
765 | 28/11/2013 | 9:00:00 a.m. | 7823762 | 1145349 | 7.2892 | 0 | 88.419 | 14
766 | 28/11/2013 | 10:00:00 a.m. | 7823820 | 1145357 | 7.2354 | 0 | 88.226 | 15
767 | 28/11/2013 | 11:00:00 a.m. | 7823878 | 1145365 | 7.1587 | 0 | 87.962 | 17.1
768 | 28/11/2013 | 12:00:00 p.m. | 7823913 | 1145370 | 7.0892 | 0 | 87.78 | 19.1
769 | 28/11/2013 | 1:00:00 p.m. | 7824012 | 1145384 | 7.0191 | 0 | 87.409 | 21.5
770 | 28/11/2013 | 2:00:00 p.m. | 7824102 | 1145397 | 6.9711 | 0 | 87.257 | 23.4
771 | 28/11/2013 | 3:00:00 p.m. | 7824172 | 1145407 | 6.9448 | 0 | 87.337 | 24.5
772 | 28/11/2013 | 4:00:00 p.m. | 7824256 | 1145419 | 6.9522 | 0 | 87.316 | 24.6
773 | 28/11/2013 | 5:00:00 p.m. | 7824333 | 1145430 | 7.0669 | 0 | 87.47 | 23.1
774 | 28/11/2013 | 6:00:00 p.m. | 7824431 | 1145444 | 7.0791 | 0 | 87.593 | 21.4
775 | 28/11/2013 | 7:00:00 p.m. | 7824552 | 1145461 | 7.1063 | 0 | 87.722 | 19.8
776 | 28/11/2013 | 8:00:00 p.m. | 7824701 | 1145482 | 7.1449 | 0 | 87.573 | 19
777 | 28/11/2013 | 9:00:00 p.m. | 7824866 | 1145505 | 7.1372 | 0 | 87.768 | 18.6
778 | 28/11/2013 | 10:00:00 p.m. | 7825037 | 1145529 | 7.1523 | 0 | 87.781 | 18.4
779 | 28/11/2013 | 11:00:00 p.m. | 7825216 | 1145554 | 7.1399 | 0 | 87.895 | 18.2
780 | 29/11/2013 | 12:00:00 a.m. | 7825423 | 1145583 | 7.1309 | 0 | 87.83 | 18.2
781 | 29/11/2013 | 1:00:00 a.m. | 7825645 | 1145614 | 7.1475 | 0 | 87.795 | 18.1
782 | 29/11/2013 | 2:00:00 a.m. | 7825867 | 1145645 | 7.1497 | 0 | 87.741 | 18
783 | 29/11/2013 | 3:00:00 a.m. | 7826096 | 1145677 | 7.1524 | 0 | 87.753 | 17.9
784 | 29/11/2013 | 4:00:00 a.m. | 7826325 | 1145709 | 7.1576 | 0 | 87.766 | 17.7
785 | 29/11/2013 | 5:00:00 a.m. | 7826554 | 1145741 | 7.166 | 0 | 87.774 | 17.7
786 | 29/11/2013 | 6:00:00 a.m. | 7826677 | 1145758 | 7.2784 | 0 | 88.274 | 16.6
787 | 29/11/2013 | 7:00:00 a.m. | 7826750 | 1145768 | 7.3139 | 0 | 88.627 | 14.5
788 | 29/11/2013 | 8:00:00 a.m. | 7826830 | 1145779 | 7.3059 | 0 | 88.543 | 14
789 | 29/11/2013 | 9:00:00 a.m. | 7826903 | 1145789 | 7.2523 | 0 | 88.421 | 14.8
790 | 29/11/2013 | 10:00:00 a.m. | 7826975 | 1145799 | 7.1974 | 0 | 88.137 | 16.3
791 | 29/11/2013 | 11:00:00 a.m. | 7827040 | 1145808 | 7.1501 | 0 | 87.95 | 17.6
792 | 29/11/2013 | 12:00:00 p.m. | 7827097 | 1145816 | 7.0883 | 0 | 87.794 | 19.4
793 | 29/11/2013 | 1:00:00 p.m. | 7827153 | 1145824 | 7.0264 | 0 | 87.585 | 21.3
794 | 29/11/2013 | 2:00:00 p.m. | 7827202 | 1145831 | 6.982 | 0 | 87.459 | 23.1
795 | 29/11/2013 | 3:00:00 p.m. | 7827272 | 1145841 | 6.9722 | 0 | 87.429 | 24.1
796 | 29/11/2013 | 4:00:00 p.m. | 7827363 | 1145854 | 7.0005 | 0 | 87.445 | 24
797 | 29/11/2013 | 5:00:00 p.m. | 7827475 | 1145870 | 7.0469 | 0 | 87.541 | 22.5
798 | 29/11/2013 | 6:00:00 p.m. | 7827617 | 1145890 | 7.1018 | 0 | 87.63 | 20.6
799 | 29/11/2013 | 7:00:00 p.m. | 7827781 | 1145913 | 7.1015 | 0 | 87.754 | 19.4
800 | 29/11/2013 | 8:00:00 p.m. | 7827966 | 1145939 | 7.1628 | 0 | 87.724 | 18.8
801 | 29/11/2013 | 9:00:00 p.m. | 7828180 | 1145969 | 7.1639 | 0 | 87.884 | 18.5
802 | 29/11/2013 | 10:00:00 p.m. | 7828409 | 1146001 | 7.1391 | 0 | 87.772 | 18.1
803 | 29/11/2013 | 11:00:00 p.m. | 7828653 | 1146035 | 7.1852 | 0 | 87.816 | 17.8
804 | 30/11/2013 | 12:00:00 a.m. | 7828903 | 1146070 | 7.1524 | 0 | 87.816 | 17.7
805 | 30/11/2013 | 1:00:00 a.m. | 7829168 | 1146107 | 7.1555 | 0 | 87.717 | 17.6
806 | 30/11/2013 | 2:00:00 a.m. | 7829434 | 1146144 | 7.1366 | 0 | 87.793 | 17.6
807 | 30/11/2013 | 3:00:00 a.m. | 7829706 | 1146182 | 7.161 | 0 | 87.874 | 17.5
808 | 30/11/2013 | 4:00:00 a.m. | 7829950 | 1146216 | 7.2024 | 0 | 87.993 | 17.2
809 | 30/11/2013 | 5:00:00 a.m. | 7830223 | 1146254 | 7.1518 | 0 | 87.736 | 17.3
810 | 30/11/2013 | 6:00:00 a.m. | 7830495 | 1146292 | 7.2025 | 0 | 87.696 | 17.5
811 | 30/11/2013 | 7:00:00 a.m. | 7830760 | 1146329 | 7.2231 | 0 | 87.741 | 17.4
812 | 30/11/2013 | 8:00:00 a.m. | 7830955 | 1146356 | 7.2061 | 0 | 88.034 | 17
813 | 30/11/2013 | 9:00:00 a.m. | 7831134 | 1146381 | 7.147 | 0 | 87.98 | 17.6
814 | 30/11/2013 | 10:00:00 a.m. | 7831305 | 1146405 | 7.1028 | 0 | 87.656 | 18.6
815 | 30/11/2013 | 11:00:00 a.m. | 7831525 | 1146436 | 7.0674 | 0 | 87.415 | 19.7
816 | 30/11/2013 | 12:00:00 p.m. | 7831715 | 1146463 | 7.0452 | 0 | 87.266 | 20.7
817 | 30/11/2013 | 1:00:00 p.m. | 7831898 | 1146489 | 7.0022 | 0 | 87.244 | 21.6
818 | 30/11/2013 | 2:00:00 p.m. | 7832066 | 1146513 | 6.9822 | 0 | 87.181 | 22.5
819 | 30/11/2013 | 3:00:00 p.m. | 7832233 | 1146537 | 6.9737 | 0 | 87.02 | 23.3
820 | 30/11/2013 | 4:00:00 p.m. | 7832379 | 1146558 | 6.9448 | 0 | 87.172 | 23.9
821 | 30/11/2013 | 5:00:00 p.m. | 7832512 | 1146577 | 7.0016 | 0 | 87.289 | 23.3
822 | 30/11/2013 | 6:00:00 p.m. | 7832653 | 1146597 | 7.1086 | 0 | 87.472 | 21.3
823 | 30/11/2013 | 7:00:00 p.m. | 7832816 | 1146620 | 7.0955 | 0 | 87.596 | 19.9
824 | 30/11/2013 | 8:00:00 p.m. | 7832986 | 1146644 | 7.112 | 0 | 87.698 | 19.2
825 | 30/11/2013 | 9:00:00 p.m. | 7833221 | 1146677 | 7.1423 | 0 | 87.576 | 18.8
826 | 30/11/2013 | 10:00:00 p.m. | 7833421 | 1146705 | 7.1222 | 0 | 87.786 | 18.6
827 | 30/11/2013 | 11:00:00 p.m. | 7833642 | 1146736 | 7.1337 | 0 | 87.6 | 18.3
828 | 01/12/2013 | 12:00:00 a.m. | 7833871 | 1146768 | 7.1287 | 0 | 87.663 | 18.1
829 | 01/12/2013 | 1:00:00 a.m. | 7834107 | 1146801 | 7.1516 | 0 | 87.663 | 18.1
830 | 01/12/2013 | 2:00:00 a.m. | 7834349 | 1146835 | 7.1366 | 0 | 87.509 | 18
831 | 01/12/2013 | 3:00:00 a.m. | 7834592 | 1146869 | 7.1482 | 0 | 87.683 | 17.9
832 | 01/12/2013 | 4:00:00 a.m. | 7834836 | 1146903 | 7.2021 | 0 | 87.787 | 17.7
833 | 01/12/2013 | 5:00:00 a.m. | 7835087 | 1146938 | 7.1562 | 0 | 87.787 | 17.6
834 | 01/12/2013 | 6:00:00 a.m. | 7835266 | 1146963 | 7.2467 | 0 | 88.025 | 17.3
835 | 01/12/2013 | 7:00:00 a.m. | 7835361 | 1146976 | 7.2732 | 0 | 88.392 | 15.5
836 | 01/12/2013 | 8:00:00 a.m. | 7835448 | 1146988 | 7.2618 | 0 | 88.41 | 15.1
837 | 01/12/2013 | 9:00:00 a.m. | 7835535 | 1147000 | 7.2303 | 0 | 88.259 | 16
838 | 01/12/2013 | 10:00:00 a.m. | 7835607 | 1147010 | 7.1982 | 0 | 88.058 | 17.1
839 | 01/12/2013 | 11:00:00 a.m. | 7835678 | 1147020 | 7.0921 | 0 | 87.815 | 19
840 | 01/12/2013 | 12:00:00 p.m. | 7835735 | 1147028 | 7.0461 | 0 | 87.605 | 20.8