## Catoex
Registro de Datos Diario
Número de Serie del Corrector : | 40503
1 Pulso = | 0.1m³
Unidad de Presión | psi
Unidad de Temperatura | °C
Periodo Caudal de Pico | 60 mins
Hora | Año | Mes | Día | Volumen Corregido | Pulsos Corregidos | Volumen No Corregido | Pulsos No Corregidos | Volumen No Corregido en Condición de Falla | Pulsos No Corregidos en Condición de Falla | Presion Promedio Ponderado : | Temperatura Promedio Ponderado : | Caudal de Pico m³/hora | Mostrar Dígitos:
9:00 | 2013 | 11 | 30 | 3184777 | 31847774 | 1800006 | 18000068 | 6 | 67 | 280.5146 | 23.31 | 570.9 | 7
9:00 | 2013 | 11 | 29 | 3172439 | 31724393 | 1799395 | 17993951 | 6 | 67 | 275.0763 | 23.98 | 527.83 | 7
9:00 | 2013 | 11 | 28 | 3161364 | 31613646 | 1798835 | 17988358 | 6 | 67 | 274.6809 | 23.47 | 504.4 | 7
9:00 | 2013 | 11 | 27 | 3150536 | 31505360 | 1798286 | 17982868 | 6 | 67 | 278.0766 | 24.17 | 510.75 | 7
9:00 | 2013 | 11 | 26 | 3139860 | 31398608 | 1797751 | 17977510 | 6 | 67 | 281.1957 | 24.16 | 522.31 | 7
9:00 | 2013 | 11 | 25 | 3128608 | 31286084 | 1797192 | 17971927 | 6 | 67 | 279.1119 | 24.76 | 536.45 | 7
9:00 | 2013 | 11 | 24 | 3116220 | 31162201 | 1796571 | 17965719 | 6 | 67 | 274.6982 | 24.73 | 529.92 | 7
9:00 | 2013 | 11 | 23 | 3104180 | 31041802 | 1795958 | 17959586 | 6 | 67 | 286.3822 | 24.58 | 509.25 | 7
9:00 | 2013 | 11 | 22 | 3093010 | 30930100 | 1795414 | 17954140 | 6 | 67 | 286.4735 | 24.84 | 497.82 | 7
9:00 | 2013 | 11 | 21 | 3082967 | 30829673 | 1794924 | 17949240 | 6 | 67 | 297.4676 | 24.59 | 398.08 | 7
9:00 | 2013 | 11 | 20 | 3076359 | 30763593 | 1794614 | 17946142 | 6 | 67 | 289.9427 | 24.58 | 473.62 | 7
9:00 | 2013 | 11 | 19 | 3067524 | 30675247 | 1794188 | 17941889 | 6 | 67 | 289.9949 | 24.35 | 512.3 | 7
9:00 | 2013 | 11 | 18 | 3055723 | 30557239 | 1793621 | 17936214 | 6 | 67 | 292.2025 | 24.48 | 540.48 | 7
9:00 | 2013 | 11 | 17 | 3043543 | 30435435 | 1793040 | 17930400 | 6 | 67 | 292.1819 | 24.36 | 528.44 | 7
9:00 | 2013 | 11 | 16 | 3031560 | 30315601 | 1792468 | 17924682 | 6 | 67 | 349.2233 | 22.33 | 525.52 | 7
9:00 | 2013 | 11 | 15 | 3020561 | 30205611 | 1791925 | 17919257 | 6 | 67 | 274.2031 | 24.53 | 544.1 | 7
9:00 | 2013 | 11 | 14 | 3008598 | 30085985 | 1791315 | 17913157 | 6 | 67 | 273.4212 | 24.55 | 544.23 | 7
9:00 | 2013 | 11 | 13 | 2996058 | 29960586 | 1790674 | 17906743 | 6 | 67 | 273.2998 | 24.9 | 523.5 | 7
9:00 | 2013 | 11 | 12 | 2984939 | 29849394 | 1790104 | 17901046 | 6 | 67 | 272.3947 | 24.91 | 543.48 | 7
9:00 | 2013 | 11 | 11 | 2972988 | 29729887 | 1789490 | 17894901 | 6 | 67 | 283.5793 | 25.07 | 547.47 | 7
9:00 | 2013 | 11 | 10 | 2960690 | 29606907 | 1788883 | 17888832 | 6 | 67 | 276.9922 | 25.16 | 534.39 | 7
9:00 | 2013 | 11 | 9 | 2948514 | 29485146 | 1788267 | 17882673 | 6 | 67 | 281.8603 | 24.96 | 551.33 | 7
9:00 | 2013 | 11 | 8 | 2936265 | 29362654 | 1787659 | 17876592 | 6 | 67 | 289.0504 | 25.07 | 536.8 | 7
9:00 | 2013 | 11 | 7 | 2930373 | 29303730 | 1787374 | 17873741 | 6 | 67 | 285.8277 | 25.05 | 543.94 | 7
9:00 | 2013 | 11 | 6 | 2918743 | 29187434 | 1786804 | 17868049 | 6 | 67 | 289.1368 | 25.17 | 563.11 | 7
9:00 | 2013 | 11 | 5 | 2906678 | 29066784 | 1786221 | 17862211 | 6 | 67 | 292.1444 | 25.67 | 562.84 | 7
9:00 | 2013 | 11 | 4 | 2894219 | 28942197 | 1785614 | 17856149 | 6 | 67 | 297.1751 | 25.13 | 543.32 | 7
9:00 | 2013 | 11 | 3 | 2881995 | 28819952 | 1785040 | 17850400 | 6 | 67 | 294.7767 | 25.01 | 532.32 | 7
9:00 | 2013 | 11 | 2 | 2870849 | 28708496 | 1784511 | 17845117 | 6 | 67 | 283.396 | 25 | 515.4 | 7
9:00 | 2013 | 11 | 1 | 2860536 | 28605367 | 1784002 | 17840026 | 6 | 67 | 288.1017 | 25.51 | 536.51 | 7

## Cafinco
Data Log
Unit Serial Number | 03/11/45954
Meter/Site ID | CAFINCO 1M740
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 7
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Supercomp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Fpv² | V
30 | 2013-11-30 | 9:00 | 295339 | 906354 | 22.8503 | 0 | 291.4054 | 23.6 | 1.0421 | 5.61
29 | 2013-11-29 | 9:00 | 289795 | 906087 | 20.4907 | 0 | 286.784 | 24.2 | 1.0346 | 5.6
28 | 2013-11-28 | 9:00 | 282859 | 905750 | 20.169 | 0 | 285.4381 | 23.7 | 1.034 | 5.61
27 | 2013-11-27 | 9:00 | 276850 | 905456 | 20.8371 | 0 | 289.5735 | 23.8 | 1.0351 | 5.61
26 | 2013-11-26 | 9:00 | 271293 | 905189 | 20.6556 | 0 | 292.292 | 24.7 | 1.0348 | 5.61
25 | 2013-11-25 | 9:00 | 265463 | 904910 | 21.1101 | 0 | 289.8857 | 24.3 | 1.0354 | 5.62
24 | 2013-11-24 | 9:00 | 260546 | 904673 | 20.9006 | 0 | 285.4753 | 24.3 | 1.0354 | 5.62
23 | 2013-11-23 | 9:00 | 257032 | 904501 | 22.3823 | 0 | 297.4247 | 24.8 | 1.0382 | 5.64
22 | 2013-11-22 | 9:00 | 254239 | 904366 | 20.4762 | 0 | 297.8521 | 25.5 | 1.0344 | 5.61
21 | 2013-11-21 | 9:00 | 250379 | 904185 | 22.7773 | 0 | 308.6357 | 25.4 | 1.0382 | 5.63
20 | 2013-11-20 | 9:00 | 244279 | 903909 | 22.8217 | 0 | 303.7886 | 25.3 | 1.0383 | 5.63
19 | 2013-11-19 | 9:00 | 237644 | 903602 | 22.1995 | 0 | 301.5403 | 25.4 | 1.0371 | 5.66
18 | 2013-11-18 | 9:00 | 231226 | 903304 | 22.9511 | 0 | 304.3292 | 25.5 | 1.0386 | 5.63
17 | 2013-11-17 | 9:00 | 226080 | 903067 | 22.9699 | 0 | 303.8235 | 25.4 | 1.0388 | 5.62
16 | 2013-11-16 | 9:00 | 220318 | 902800 | 22.6297 | 0 | 293.4929 | 25.4 | 1.038 | 5.62
15 | 2013-11-15 | 9:00 | 214658 | 902530 | 21.5969 | 0 | 284.9586 | 25 | 1.0364 | 5.62
14 | 2013-11-14 | 9:00 | 208674 | 902237 | 20.7024 | 0 | 284.1067 | 25 | 1.0347 | 5.63
13 | 2013-11-13 | 9:00 | 202713 | 901942 | 21.0902 | 0 | 285.1183 | 25.3 | 1.0354 | 5.62
12 | 2013-11-12 | 9:00 | 196763 | 901650 | 20.8895 | 0 | 283.3035 | 25.4 | 1.0349 | 5.64
11 | 2013-11-11 | 9:00 | 190544 | 901342 | 19.8457 | 0 | 294.8985 | 25.2 | 1.033 | 5.64
10 | 2013-11-10 | 9:00 | 184681 | 901062 | 21.5794 | 0 | 288.2257 | 25.6 | 1.036 | 5.63
9 | 2013-11-09 | 9:00 | 178933 | 900783 | 19.2614 | 0 | 293.0585 | 24.7 | 1.0319 | 5.64
8 | 2013-11-08 | 9:00 | 176382 | 900661 | 21.2266 | 0 | 300.1879 | 25.5 | 1.0357 | 5.65
7 | 2013-11-07 | 9:00 | 171432 | 900429 | 22.0801 | 0 | 297.0878 | 26.1 | 1.0368 | 5.65
6 | 2013-11-06 | 9:00 | 165205 | 900134 | 21.9373 | 0 | 300.8016 | 25.8 | 1.0366 | 5.63
5 | 2013-11-05 | 9:00 | 161173 | 899946 | 20.8675 | 0 | 298.6094 | 26.1 | 1.0348 | 5.64
4 | 2013-11-04 | 9:00 | 154799 | 899647 | 22.7612 | 0 | 308.8506 | 25.2 | 1.0383 | 5.64
3 | 2013-11-03 | 9:00 | 150361 | 899446 | 22.4161 | 0 | 307.6765 | 25.2 | 1.0377 | 5.65
2 | 2013-11-02 | 9:00 | 146631 | 899277 | 21.8449 | 0 | 297.5918 | 26.7 | 1.0366 | 5.68
1 | 2013-11-01 | 9:00 | 144012 | 899153 | 21.594 | 0 | 299.8344 | 26.5 | 1.0361 | 5.66

## Descamex I
Data Log
Unit Serial Number | 03/11/45959
Meter/Site ID | Descamex I 3M740
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 7
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
30 | 2013-11-30 | 9:00 | 975754 | 692741 | 19.5247 | 0 | 257.0224 | 20.9 | 414.3 | 672.8 | 1.0339 | 207.7379 | 299.4947 | 269.0907 | 19.5 | 24.4 | 20.5 | 5.61
29 | 2013-11-29 | 9:00 | 965817 | 692199 | 17.759 | 0 | 249.9217 | 20.4 | 405.4 | 1010.2 | 1.0308 | 69.7742 | 302.4213 | 245.4366 | 17.8 | 21.8 | 20.5 | 5.63
28 | 2013-11-28 | 9:00 | 956123 | 691617 | 18.1788 | 0 | 266.8492 | 19.7 | 231.3 | 382 | 1.0317 | 238.5605 | 312.8028 | 250.4819 | 18.3 | 20.4 | 19.9 | 5.62
27 | 2013-11-27 | 9:00 | 950681 | 691330 | 20.2453 | 0 | 267.6962 | 20.4 | 264.6 | 355.5 | 1.0353 | 237.7689 | 289.3223 | 278.4417 | 19 | 22.5 | 20.3 | 5.62
26 | 2013-11-26 | 9:00 | 944358 | 691001 | 18.9042 | 0 | 270.877 | 21.6 | 254.8 | 700.1 | 1.0325 | 192.1301 | 306.3204 | 261.5621 | 19.7 | 22.9 | 21.3 | 5.63
25 | 2013-11-25 | 9:00 | 938336 | 690685 | 17.7077 | 0 | 249.5223 | 21.6 | 408.7 | 646.5 | 1.0304 | 190.9334 | 283.921 | 245.5191 | 20.9 | 22.3 | 21.3 | 5.64
24 | 2013-11-24 | 9:00 | 928533 | 690130 | 17.5661 | 0 | 246.3516 | 22.1 | 398.1 | 636.1 | 1.0301 | 197.4986 | 292.5501 | 243.8874 | 21.1 | 23.3 | 21.6 | 5.64
23 | 2013-11-23 | 9:00 | 918988 | 689582 | 20.3788 | 0 | 256.5876 | 23 | 414.3 | 813.8 | 1.0349 | 123.5808 | 320.6487 | 282.3752 | 21.6 | 25.8 | 22.4 | 5.66
22 | 2013-11-22 | 9:00 | 909063 | 689027 | 15.925 | 0 | 262.0424 | 23.1 | 392.9 | 649.9 | 1.027 | 194.6013 | 303.3602 | 222.1064 | 20.9 | 26.9 | 22.1 | 5.65
21 | 2013-11-21 | 9:00 | 899642 | 688513 | 20.9291 | 0 | 275.3632 | 23.1 | 384.4 | 610.8 | 1.0358 | 210.9033 | 299.498 | 289.7966 | 21.9 | 25.8 | 22.5 | 5.66
20 | 2013-11-20 | 9:00 | 890419 | 688043 | 21.4174 | 0 | 266.4177 | 22.8 | 406.5 | 789.2 | 1.0366 | 188.6793 | 309.1056 | 296.4297 | 21.6 | 26.1 | 22.6 | 5.66
19 | 2013-11-19 | 9:00 | 880679 | 687522 | 20.6375 | 0 | 266.903 | 23.2 | 385.2 | 630.3 | 1.0352 | 204.4592 | 307.124 | 286.2687 | 21.7 | 26.5 | 22.8 | 5.68
18 | 2013-11-18 | 9:00 | 871440 | 687030 | 21.1073 | 0 | 271.639 | 22.9 | 378 | 652.6 | 1.0362 | 203.3988 | 313.1889 | 292.0092 | 21.1 | 26.4 | 22.3 | 5.66
17 | 2013-11-17 | 9:00 | 862386 | 686555 | 21.469 | 0 | 273.0226 | 23 | 366.6 | 606.6 | 1.0366 | 210.3141 | 300.0444 | 297.5238 | 21.1 | 28.2 | 22.9 | 5.67
16 | 2013-11-16 | 9:00 | 853606 | 686102 | 19.5104 | 0 | 255.9368 | 22.5 | 413.7 | 814.1 | 1.0334 | 183.1466 | 309.7017 | 270.616 | 21 | 25.6 | 22.3 | 5.65
15 | 2013-11-15 | 9:00 | 843696 | 685552 | 19.0459 | 0 | 250.9946 | 22.3 | 394.2 | 641.8 | 1.0325 | 181.679 | 297.1315 | 264.4704 | 21.2 | 24.7 | 22.4 | 5.65
14 | 2013-11-14 | 9:00 | 834245 | 685014 | 18.7003 | 0 | 250.6838 | 22.3 | 388.3 | 606.5 | 1.0319 | 190.625 | 298.8963 | 259.6809 | 21.3 | 23.6 | 22.2 | 5.65
13 | 2013-11-13 | 9:00 | 824933 | 684486 | 20.0011 | 0 | 248.524 | 22.5 | 407.8 | 657.2 | 1.0342 | 170.7084 | 292.0273 | 277.1217 | 21.2 | 24.9 | 22.2 | 5.66
12 | 2013-11-12 | 9:00 | 815155 | 683921 | 19.4927 | 0 | 250.7586 | 22.7 | 366.9 | 661.9 | 1.0332 | 182.2467 | 304.4691 | 270.7039 | 21.1 | 26.2 | 22.6 | 5.66
11 | 2013-11-11 | 9:00 | 806390 | 683420 | 17.8142 | 0 | 264.6232 | 22.5 | 362.9 | 661.5 | 1.0302 | 184.5395 | 311.903 | 248.0713 | 21.3 | 23.6 | 22.5 | 5.65
10 | 2013-11-10 | 9:00 | 797701 | 682951 | 20.5519 | 0 | 266.8943 | 23 | 296.2 | 644.5 | 1.0351 | 184.2201 | 309.8427 | 284.8941 | 21.7 | 25.1 | 22.6 | 5.66
9 | 2013-11-09 | 9:00 | 790630 | 682574 | 17.939 | 0 | 269.2936 | 23 | 315.2 | 581.5 | 1.0303 | 220.9387 | 296.281 | 250.1716 | 22.1 | 24.8 | 23 | 5.67
8 | 2013-11-08 | 9:00 | 783073 | 682180 | 19.911 | 0 | 278.2071 | 23.6 | 312.6 | 541.2 | 1.0338 | 227.5379 | 315.7027 | 276.8462 | 22.3 | 27.2 | 23.1 | 5.67
7 | 2013-11-07 | 9:00 | 775585 | 681800 | 20.7461 | 0 | 273.8303 | 23.7 | 318.3 | 618.9 | 1.0353 | 202.0873 | 304.83 | 287.8607 | 22.1 | 27.9 | 22.9 | 5.67
6 | 2013-11-06 | 9:00 | 767975 | 681407 | 20.1902 | 0 | 280.0168 | 23.7 | 297.7 | 628.8 | 1.0344 | 217.3359 | 309.5454 | 280.1896 | 21.8 | 28 | 22.7 | 5.67
5 | 2013-11-05 | 9:00 | 760880 | 681050 | 17.6481 | 0 | 274.1257 | 23.8 | 332.2 | 643.6 | 1.0299 | 215.146 | 304.6073 | 246.0438 | 22 | 26.6 | 22.8 | 5.67
4 | 2013-11-04 | 9:00 | 752939 | 680642 | 21.1346 | 0 | 278.6548 | 22.9 | 390.5 | 603.3 | 1.0359 | 228.5323 | 308.7958 | 293.2923 | 22.1 | 24 | 23.2 | 5.67
3 | 2013-11-03 | 9:00 | 743574 | 680168 | 20.0992 | 0 | 280.4509 | 23.1 | 373.8 | 594.8 | 1.0342 | 222.8444 | 325.5868 | 279.1935 | 21.8 | 25 | 22.9 | 5.67
2 | 2013-11-02 | 9:00 | 734617 | 679717 | 19.0323 | 0 | 270.0984 | 24.5 | 360.9 | 633.1 | 1.0323 | 182.0239 | 313.6133 | 264.9632 | 23 | 27 | 23 | 5.69
1 | 2013-11-01 | 9:00 | 725975 | 679262 | 20.2926 | 0 | 276.1345 | 24.2 | 312.8 | 653.7 | 1.0343 | 223.9089 | 306.3149 | 282.5323 | 22.2 | 27.6 | 23.7 | 5.69

## Descamex II
Data Log
Unit Serial Number | 06/08/39738
Meter/Site ID | 0
Drive Rate | 0.1 m³/rev
Number of Logs Stored | 7
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
30 | 2013-11-30 | 9:00 | 244079 | 647932 | 22.0906 | 7 | 276.304 | 23.4 | 205.6 | 516.9 | 1.0378
29 | 2013-11-29 | 9:00 | 239220 | 647698 | 20.4061 | 7 | 271.1689 | 23.6 | 252.2 | 540.1 | 1.0345
28 | 2013-11-28 | 9:00 | 233238 | 647404 | 19.9584 | 7 | 269.3489 | 23.2 | 269.8 | 629.3 | 1.0338
27 | 2013-11-27 | 9:00 | 226835 | 647089 | 20.7657 | 7 | 274.8891 | 22 | 147.4 | 709.5 | 1.0352
26 | 2013-11-26 | 9:00 | 223411 | 646925 | 20.9175 | 7 | 278.1166 | 23.2 | 96.8 | 723.6 | 1.0364
25 | 2013-11-25 | 9:00 | 221190 | 646818 | 21.5104 | 7 | 276.1999 | 17.3 | 0.7 | 69.2 | 1.0379
24 | 2013-11-24 | 9:00 | 221168 | 646817 | 21.356 | 7 | 271.7505 | 19.8 | 0 | 0 | 1.0384
23 | 2013-11-23 | 9:00 | 221168 | 646817 | 22.6643 | 7 | 283.7415 | 23.8 | 0 | 0 | 1.0398
22 | 2013-11-22 | 9:00 | 221168 | 646817 | 20.8944 | 7 | 284.2352 | 23.5 | 0 | 0 | 1.0368
21 | 2013-11-21 | 9:00 | 221168 | 646817 | 23.2262 | 7 | 295.1475 | 24.7 | 0 | 0 | 1.0409
20 | 2013-11-20 | 9:00 | 221168 | 646817 | 23.2136 | 7 | 290.3418 | 24.2 | 0 | 0 | 1.0405
19 | 2013-11-19 | 9:00 | 221168 | 646817 | 22.4013 | 7 | 287.9952 | 24.9 | 5.4 | 721.5 | 1.0384
18 | 2013-11-18 | 9:00 | 221065 | 646812 | 23.4053 | 7 | 290.1757 | 25.2 | 129.5 | 437.7 | 1.0412
17 | 2013-11-17 | 9:00 | 218009 | 646669 | 22.8017 | 7 | 288.6798 | 25.9 | 251 | 504.2 | 1.0382
16 | 2013-11-16 | 9:00 | 212068 | 646393 | 22.613 | 7 | 278.8555 | 25.5 | 188.5 | 511.2 | 1.038
15 | 2013-11-15 | 9:00 | 207622 | 646179 | 21.5194 | 7 | 269.4465 | 25 | 260 | 560.8 | 1.0363
14 | 2013-11-14 | 9:00 | 201451 | 645873 | 20.5979 | 7 | 268.5622 | 25.2 | 255.7 | 607.6 | 1.0344
13 | 2013-11-13 | 9:00 | 195373 | 645570 | 21.0707 | 7 | 269.7248 | 25.3 | 247.4 | 566.3 | 1.0355
12 | 2013-11-12 | 9:00 | 189511 | 645277 | 20.6828 | 7 | 268.0652 | 25.4 | 231.5 | 532.5 | 1.0344
11 | 2013-11-11 | 9:00 | 184016 | 645002 | 19.6334 | 7 | 279.511 | 25.4 | 249 | 561.1 | 1.0325
10 | 2013-11-10 | 9:00 | 178094 | 644718 | 21.2232 | 7 | 273.1159 | 25.5 | 214.6 | 528.6 | 1.0352
9 | 2013-11-09 | 9:00 | 173002 | 644466 | 19.0527 | 7 | 277.5398 | 25.7 | 247.1 | 551.8 | 1.0314
8 | 2013-11-08 | 9:00 | 167128 | 644182 | 20.8638 | 7 | 284.847 | 26.1 | 238.7 | 705.8 | 1.0345
7 | 2013-11-07 | 9:00 | 161477 | 643915 | 21.8313 | 7 | 281.9404 | 26.6 | 226 | 708.2 | 1.0362
6 | 2013-11-06 | 9:00 | 156125 | 643661 | 21.9427 | 7 | 286.2698 | 26.2 | 154.7 | 714.6 | 1.0369
5 | 2013-11-05 | 9:00 | 152478 | 643492 | 20.1046 | 7 | 284.6264 | 25.4 | 93.3 | 719.7 | 1.0333
4 | 2013-11-04 | 9:00 | 150269 | 643388 | 23.3011 | 7 | 295.1696 | 19.1 | 0 | 0 | 1.0417
3 | 2013-11-03 | 9:00 | 150269 | 643388 | 22.9421 | 7 | 293.9654 | 20.4 | 0 | 0 | 1.041
2 | 2013-11-02 | 9:00 | 150269 | 643388 | 22.0614 | 7 | 283.8476 | 26.5 | 0 | 0 | 1.0378
1 | 2013-11-01 | 9:00 | 150269 | 643388 | 21.8125 | 7 | 286.0221 | 25.8 | 0 | 0 | 1.0375

## Patrona
Daily History ROC Address 1 ROC Group 2 INDUSTRIAL PATRONA
Time Downloaded 11-15-13, 10:48:18 Operator LOI
Base Time | 30109-02 | 30109-02 | 30109-02 | 30109-02 | 30109-02 | 30109-02 | 30109-02 | 30109-02 | Battery
MM:DD/Hr:Mn:Sc | MINTDY,TTL | CURDP ,AVG | CURFP ,AVG | CURTMP,AVG | CPRIME,AVG | HWPF ,AVG | FLOW ,ACC | ENERGY,ACC | EU ,AVG
11-30/09:00:00 | 1436 | 67.5118 | 1932.6815 | 23.6793 | 9.4987 | 369.4953 | 83.9983 | 3182.6958 | 12.9733
11-29/09:00:00 | 1440 | 66.3314 | 1904.7933 | 23.8495 | 9.4935 | 363.815 | 82.8926 | 3140.801 | 12.9321
11-28/09:00:00 | 1440 | 65.8026 | 1890.4106 | 23.947 | 9.4906 | 360.4611 | 82.0979 | 3110.688 | 12.6418
11-27/09:00:00 | 1440 | 64.9919 | 1918.0012 | 24.0928 | 9.4931 | 361.3983 | 82.3393 | 3119.8354 | 12.6598
11-26/09:00:00 | 1439.95 | 62.392 | 1937.5332 | 24.1938 | 9.498 | 355.7771 | 81.0965 | 3072.1069 | 12.7643
11-25/09:00:00 | 1440 | 60.0856 | 1922.0623 | 24.2218 | 9.4985 | 347.7968 | 79.2841 | 2997.7312 | 12.6312
11-24/09:00:00 | 1440 | 57.1749 | 1890.4138 | 24.2405 | 9.4985 | 335.6622 | 76.5111 | 2892.8857 | 12.8742
11-23/09:00:00 | 1440 | 41.6574 | 1973.173 | 24.3151 | 9.5315 | 289.1947 | 66.1317 | 2500.4404 | 13.0736
11-22/09:00:00 | 1440 | 22.9672 | 1977.8135 | 24.3542 | 9.5623 | 217.3237 | 49.8728 | 1885.6899 | 13.0486
11-21/09:00:00 | 1439.95 | 20.9026 | 2052.3816 | 24.3221 | 9.5748 | 211.2994 | 48.5528 | 1835.5532 | 13.074
11-20/09:00:00 | 1440 | 22.2674 | 2021.009 | 24.2858 | 9.577 | 216.6404 | 49.7944 | 1880.7853 | 13.01
11-19/09:00:00 | 1440.0167 | 18.6944 | 2006.5925 | 24.3126 | 9.5811 | 197.9079 | 45.5092 | 1718.9265 | 13.0741
11-18/09:00:00 | 1440 | 18.3003 | 2026.4319 | 24.3176 | 9.5836 | 196.5758 | 45.2136 | 1707.7616 | 13.1157
11-17/09:00:00 | 1440 | 20.6863 | 2025.0146 | 24.3354 | 9.579 | 208.6616 | 47.9687 | 1811.8246 | 13.0972
11-16/09:00:00 | 1440 | 47.7617 | 1950.9287 | 24.2678 | 9.5277 | 306.5227 | 70.0539 | 2646.0061 | 13.0961
11-15/09:00:00 | 1440 | 58.9356 | 1892.9216 | 24.2717 | 9.5031 | 341.6897 | 77.9305 | 2943.5127 | 12.9674
11-14/09:00:00 | 1440 | 55.4597 | 1887.3042 | 24.3426 | 9.5069 | 331.0637 | 75.5363 | 2853.0828 | 12.9189
11-13/09:00:00 | 1440 | 49.3808 | 1894.2161 | 24.4519 | 9.5156 | 312.7741 | 71.4283 | 2697.9192 | 12.9503
11-12/09:00:00 | 1439.95 | 52.3834 | 1881.136 | 24.5169 | 9.508 | 321.2842 | 73.311 | 2769.2659 | 12.9771
11-11/09:00:00 | 1440 | 46.8147 | 1961.7086 | 24.5745 | 9.5254 | 309.0013 | 70.6341 | 2669.3325 | 12.7855
11-10/09:00:00 | 1440 | 50.9611 | 1913.1777 | 24.6259 | 9.5118 | 318.9508 | 72.8081 | 2751.4912 | 12.9475
11-09/09:00:00 | 1440 | 29.4059 | 1946.2913 | 24.723 | 9.5492 | 243.122 | 55.7102 | 2105.3452 | 12.8574
11-08/09:00:00 | 1440 | 26.0688 | 1994.2896 | 24.7774 | 9.5588 | 232.9074 | 53.4305 | 2019.1918 | 12.9679
11-07/09:00:00 | 1440 | 26.062 | 1977.0289 | 24.8238 | 9.556 | 231.721 | 53.1431 | 2008.3317 | 13.1168
11-06/09:00:00 | 1440 | 25.5929 | 1999.5154 | 24.8557 | 9.5587 | 231.1089 | 53.0178 | 2003.5959 | 13.0853
11-05/09:00:00 | 1439.95 | 26.4587 | 1986.1935 | 24.8919 | 9.5553 | 234.099 | 53.6823 | 2029.3887 | 13.0685
11-04/09:00:00 | 1440 | 26.6444 | 2054.3689 | 24.8596 | 9.5636 | 238.8684 | 54.8256 | 2076.8499 | 12.7812
11-03/09:00:00 | 1440 | 26.5833 | 2044.8599 | 24.8904 | 9.5621 | 237.9582 | 54.6081 | 2068.6089 | 12.8079
11-02/09:00:00 | 1440 | 28.2196 | 1973.7745 | 24.9751 | 9.5503 | 240.6509 | 55.1569 | 2089.3997 | 13.0653
11-01/09:00:00 | 1440 | 31.9816 | 1988.8892 | 24.9757 | 9.546 | 257.1819 | 58.9185 | 2231.8921 | 13.0684

## Cero
Daily History ROC Address 1 ROC Group 2 Remote Oprtns Cntrlr
Time Downloaded 11-15-13, 09:21:07 Operator CFH
Base Time | 30109-01 | 30109-01 | 30109-01 | 30109-01 | 30109-01 | 30109-01 | 30109-01 | 30109-01 | 30109-01 | Soft Pt 1 | Battery | 30109-01
MM:DD/Hr:Mn:Sc | MINTDY,ACC | CURDP ,AVG | CURFP ,AVG | CURTMP,AVG | CPRIME,AVG | HWPF ,AVG | FLOW ,ACC | ENERGY,ACC | FLOACC,ACC | INTFLG,AVG | EU ,AVG | SPGR ,AVG
11-30/09:00:00 | 1440 | 25.6511 | 4824.6519 | 22.2543 | 14.1721 | 355.0609 | 120.765 | 4575.7871 | 108025.5469 | 0 | 13.344 | 0.583
11-29/09:00:00 | 1440 | 26.2767 | 4692.6499 | 22.2399 | 14.1538 | 354.1874 | 120.3134 | 4558.6753 | 107904.0078 | 0 | 13.3333 | 0.583
11-28/09:00:00 | 1440 | 23.9294 | 4736.4272 | 22.1117 | 14.1659 | 339.4428 | 115.4059 | 4372.7285 | 107785.2969 | 0 | 13.0744 | 0.583
11-27/09:00:00 | 1440 | 21.3082 | 4861.4067 | 22.3635 | 14.1781 | 324.8563 | 110.5395 | 4188.3408 | 107672.9922 | 0 | 13.0712 | 0.583
11-26/09:00:00 | 1440 | 20.4201 | 4872.7466 | 22.5645 | 14.1737 | 318.374 | 108.2967 | 4102.8599 | 107558.7656 | 0 | 13.1636 | 0.583
11-25/09:00:00 | 1440 | 20.5725 | 4850.8081 | 22.6011 | 14.1669 | 318.8711 | 108.4158 | 4099.2007 | 107451.8984 | 0 | 12.9576 | 0.583
11-24/09:00:00 | 1440 | 19.0176 | 4772.6934 | 22.7186 | 14.1541 | 303.4183 | 103.0704 | 3897.0928 | 107343.9844 | 0 | 13.2139 | 0.583
11-23/09:00:00 | 1440 | 15.3566 | 4790.8696 | 22.9101 | 14.1544 | 272.0086 | 92.3988 | 3493.6003 | 107250.7578 | 0 | 13.428 | 0.583
11-22/09:00:00 | 1440 | 9.5796 | 4894.8457 | 22.999 | 14.1725 | 217.7251 | 74.0596 | 2800.1934 | 107164.0391 | 0 | 13.385 | 0.583
11-21/09:00:00 | 1440 | 8.8615 | 4933.5171 | 23.0514 | 14.1771 | 210.8458 | 71.7402 | 2712.498 | 107092.8125 | 0 | 13.4248 | 0.583
11-20/09:00:00 | 1440 | 10.199 | 4883.3423 | 23.0883 | 14.1679 | 224.9527 | 76.4869 | 2891.8384 | 107016.3125 | 0 | 13.361 | 0.58296
11-19/09:00:00 | 1440 | 9.7094 | 4819.1411 | 23.2112 | 14.1663 | 218.2266 | 74.1968 | 2802.4873 | 106942.7109 | 0 | 13.4292 | 0.582
11-18/09:00:00 | 1440 | 9.9684 | 4908.7778 | 23.2468 | 14.1767 | 223.0442 | 75.8885 | 2866.386 | 106866.9219 | 0 | 13.4228 | 0.582
11-17/09:00:00 | 1440 | 11.7428 | 4840.3584 | 23.1586 | 14.1681 | 240.3582 | 81.7311 | 3087.0647 | 106789.0547 | 0 | 13.4133 | 0.582
11-15/09:00:00 | 1440 | 22.6495 | 4837.6348 | 22.9073 | 14.1632 | 333.9898 | 113.5302 | 4288.1479 | 106588.2344 | 0 | 13.3576 | 0.582
11-14/09:00:00 | 1440 | 21.3472 | 4913.6064 | 22.9562 | 14.1734 | 326.802 | 111.1644 | 4198.7905 | 106475.5 | 0 | 13.2521 | 0.582
11-13/09:00:00 | 1440 | 19.5004 | 4881.7397 | 23.0615 | 14.1676 | 311.3576 | 105.8686 | 3998.7625 | 106368.5781 | 0 | 13.3168 | 0.582
11-12/09:00:00 | 1440 | 19.9136 | 4944.9683 | 23.1276 | 14.1733 | 316.6104 | 107.6934 | 4067.8748 | 106257.7031 | 0 | 13.3652 | 0.582
11-11/09:00:00 | 1440 | 18.2301 | 5088.3887 | 23.2294 | 14.1894 | 306.9697 | 104.5355 | 3950.5022 | 106154.8672 | 0 | 13.1805 | 0.582
11-10/09:00:00 | 1440 | 19.0367 | 4951.8135 | 23.2644 | 14.1697 | 309.7043 | 105.3189 | 3980.1052 | 106050.1328 | 0 | 13.2915 | 0.582
11-09/09:00:00 | 1440 | 12.6251 | 4884.6392 | 23.2678 | 14.1681 | 250.1304 | 85.0536 | 3214.26 | 105953.4844 | 0 | 13.2813 | 0.582
11-08/09:00:00 | 1440 | 10.7389 | 4896.2866 | 23.4431 | 14.1663 | 230.6931 | 78.4353 | 2964.1489 | 105873.5938 | 0 | 13.3311 | 0.582
11-07/09:00:00 | 1440 | 12.7574 | 4878.562 | 23.5643 | 14.1578 | 251.6182 | 85.4958 | 3230.9731 | 105791.3047 | 0 | 13.4507 | 0.582
11-06/09:00:00 | 1440 | 11.7276 | 4839.2144 | 23.5737 | 14.1536 | 240.3018 | 81.6283 | 3084.8135 | 105707.5234 | 0 | 13.4677 | 0.582
11-05/09:00:00 | 1440 | 12.2375 | 4871.5117 | 23.5733 | 14.1573 | 246.2553 | 83.6665 | 3162.1829 | 105621.0703 | 0 | 13.4234 | 0.582
11-04/09:00:00 | 1440 | 11.5297 | 4996.7178 | 23.5732 | 14.1784 | 242.1471 | 82.3965 | 3121.2607 | 105542.8672 | 0 | 13.1933 | 0.582
11-03/09:00:00 | 1440 | 11.4622 | 4769.7583 | 23.6318 | 14.1476 | 235.5949 | 79.9895 | 3030.0837 | 105463.2734 | 0 | 13.1693 | 0.582
11-02/09:00:00 | 1440 | 11.3182 | 4636.8091 | 23.9675 | 14.1191 | 230.9608 | 78.2619 | 2964.6406 | 105383.8594 | 0 | 13.4006 | 0.582
11-01/09:00:00 | 1440 | 12.5999 | 4648.4863 | 23.8158 | 14.1235 | 244.3077 | 82.8127 | 3137.0261 | 105303.7266 | 0 | 13.4348 | 0.582