## Covemex 15 02 15 diario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p. m. | 64 (Internal Operations Fault Occurred)
21 | 25/06/2014 | 12:09:06 p. m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 12/01/2015 | 9:00:00 a. m. | 2251293 | 258131 | 30.0205 | 0 | 402.925 | 19.6 | 5.3
2 | 13/01/2015 | 9:00:00 a. m. | 2254151 | 258229 | 29.0923 | 0 | 392.096 | 19.8 | 5.3
3 | 14/01/2015 | 9:00:00 a. m. | 2256990 | 258328 | 29.5267 | 0 | 387.567 | 19.1 | 5.28
4 | 15/01/2015 | 9:00:00 a. m. | 2259905 | 258429 | 29.4548 | 0 | 389.282 | 19.1 | 5.29
5 | 16/01/2015 | 9:00:00 a. m. | 2262827 | 258530 | 29.2263 | 0 | 390.74 | 20.1 | 5.3
6 | 17/01/2015 | 9:00:00 a. m. | 2265810 | 258634 | 29.3946 | 0 | 389.565 | 20.3 | 5.29
7 | 18/01/2015 | 9:00:00 a. m. | 2268770 | 258736 | 29.9775 | 0 | 391.737 | 20.5 | 5.3
8 | 19/01/2015 | 9:00:00 a. m. | 2270960 | 258810 | 29.9906 | 0 | 394.973 | 18.3 | 5.3
9 | 20/01/2015 | 9:00:00 a. m. | 2273636 | 258903 | 29.8273 | 0 | 390.985 | 19.7 | 5.3
10 | 21/01/2015 | 9:00:00 a. m. | 2276171 | 258991 | 29.3484 | 0 | 390.829 | 20.1 | 5.29
11 | 22/01/2015 | 9:00:00 a. m. | 2278971 | 259088 | 29.216 | 0 | 390.387 | 20.1 | 5.3
12 | 23/01/2015 | 9:00:00 a. m. | 2281767 | 259184 | 28.9527 | 0 | 391.384 | 20.1 | 5.31
13 | 24/01/2015 | 9:00:00 a. m. | 2284608 | 259282 | 29.3307 | 0 | 390.537 | 20 | 5.3
14 | 25/01/2015 | 9:00:00 a. m. | 2287551 | 259384 | 30.1625 | 0 | 389.995 | 19.6 | 5.28
15 | 26/01/2015 | 9:00:00 a. m. | 2290205 | 259474 | 29.497 | 0 | 395.972 | 19.4 | 5.3
16 | 27/01/2015 | 9:00:00 a. m. | 2293098 | 259574 | 29.3791 | 0 | 391.283 | 19.4 | 5.3
17 | 28/01/2015 | 9:00:00 a. m. | 2295873 | 259670 | 29.542 | 0 | 390.247 | 20.1 | 5.3
18 | 29/01/2015 | 9:00:00 a. m. | 2298849 | 259773 | 29.2155 | 0 | 390.406 | 20.1 | 5.32
19 | 30/01/2015 | 9:00:00 a. m. | 2301878 | 259880 | 29.902 | 0 | 381.269 | 19.7 | 5.29
20 | 31/01/2015 | 9:00:00 a. m. | 2304792 | 259979 | 30.342 | 0 | 395.674 | 18.8 | 5.3
21 | 01/02/2015 | 9:00:00 a. m. | 2307751 | 260079 | 29.8319 | 0 | 398.186 | 20.4 | 5.3
22 | 02/02/2015 | 9:00:00 a. m. | 2310595 | 260174 | 29.8832 | 0 | 400.278 | 19.8 | 5.31
23 | 03/02/2015 | 9:00:00 a. m. | 2313526 | 260274 | 29.2614 | 0 | 395.936 | 19.6 | 5.3
24 | 04/02/2015 | 9:00:00 a. m. | 2316542 | 260379 | 28.516 | 0 | 383.674 | 19 | 5.3
25 | 05/02/2015 | 9:00:00 a. m. | 2319354 | 260477 | 29.3314 | 0 | 383.288 | 19.5 | 5.3
26 | 06/02/2015 | 9:00:00 a. m. | 2322107 | 260572 | 29.7517 | 0 | 389.515 | 18.9 | 5.29
27 | 07/02/2015 | 9:00:00 a. m. | 2324977 | 260674 | 27.3965 | 0 | 376.992 | 18.4 | 5.3
28 | 08/02/2015 | 9:00:00 a. m. | 2327416 | 260761 | 27.509 | 0 | 375.643 | 19 | 5.3
29 | 09/02/2015 | 9:00:00 a. m. | 2330052 | 260853 | 26.6601 | 0 | 385.172 | 19.2 | 5.28
30 | 10/02/2015 | 9:00:00 a. m. | 2333099 | 260960 | 27.4783 | 0 | 382.745 | 19.8 | 5.31
31 | 11/02/2015 | 9:00:00 a. m. | 2335274 | 261035 | 29.4338 | 0 | 384.499 | 19 | 5.3
32 | 12/02/2015 | 9:00:00 a. m. | 2338153 | 261135 | 29.4034 | 0 | 389.204 | 20 | 5.27
33 | 13/02/2015 | 9:00:00 a. m. | 2340964 | 261233 | 26.9876 | 0 | 383.181 | 17.9 | 5.27
34 | 14/02/2015 | 9:00:00 a. m. | 2343333 | 261314 | 29.8321 | 0 | 389.644 | 17.1 | 5.26
35 | 15/02/2015 | 9:00:00 a. m. | 2346051 | 261407 | 29.9348 | 0 | 393.256 | 18.3 | 5.27