## covemex 10 26 13 diario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 22/09/2013 | 9:00:00 a.m. | 1101631 | 216334 | 26.5978 | 0 | 362.801 | 22.2 | 5.6
2 | 23/09/2013 | 9:00:00 a.m. | 1104184 | 216427 | 27.679 | 0 | 376.601 | 22.4 | 5.61
3 | 24/09/2013 | 9:00:00 a.m. | 1106670 | 216512 | 29.0688 | 0 | 397.904 | 22.7 | 5.61
4 | 25/09/2013 | 9:00:00 a.m. | 1109402 | 216609 | 27.2436 | 0 | 381.211 | 22.2 | 5.63
5 | 26/09/2013 | 9:00:00 a.m. | 1112286 | 216716 | 27.3223 | 0 | 369.371 | 22.6 | 5.59
6 | 27/09/2013 | 9:00:00 a.m. | 1113843 | 216773 | 27.0585 | 0 | 371.605 | 21 | 5.65
7 | 28/09/2013 | 9:00:00 a.m. | 1116269 | 216862 | 26.9411 | 0 | 371.371 | 21.6 | 5.64
8 | 29/09/2013 | 9:00:00 a.m. | 1118248 | 216935 | 27.3173 | 0 | 371.741 | 21.5 | 5.62
9 | 30/09/2013 | 9:00:00 a.m. | 1118348 | 216939 | 27.4702 | 0 | 372.803 | 22 | 5.63
10 | 01/10/2013 | 9:00:00 a.m. | 1118506 | 216945 | 27.2436 | 0 | 371.243 | 23.1 | 5.58
11 | 02/10/2013 | 9:00:00 a.m. | 1120653 | 217024 | 26.9873 | 0 | 370.22 | 22.9 | 5.62
12 | 03/10/2013 | 9:00:00 a.m. | 1122370 | 217087 | 27.4079 | 0 | 370.122 | 22.4 | 5.62
13 | 04/10/2013 | 9:00:00 a.m. | 1123460 | 217127 | 27.2407 | 0 | 370.441 | 22.3 | 5.6
14 | 05/10/2013 | 9:00:00 a.m. | 1124862 | 217179 | 27.1678 | 0 | 370.09 | 22.4 | 5.58
15 | 06/10/2013 | 9:00:00 a.m. | 1126513 | 217240 | 27.5914 | 0 | 370.221 | 22.4 | 5.58
16 | 07/10/2013 | 9:00:00 a.m. | 1126624 | 217244 | 27.4536 | 0 | 371.174 | 22.6 | 5.6
17 | 08/10/2013 | 9:00:00 a.m. | 1128635 | 217317 | 27.5515 | 0 | 372.785 | 21.6 | 5.6
18 | 09/10/2013 | 9:00:00 a.m. | 1131470 | 217420 | 27.526 | 0 | 376.381 | 21.9 | 5.61
19 | 10/10/2013 | 9:00:00 a.m. | 1134606 | 217534 | 27.4374 | 0 | 375.781 | 22.5 | 5.6
20 | 11/10/2013 | 9:00:00 a.m. | 1137084 | 217625 | 27.1025 | 0 | 373.136 | 23.4 | 5.61
21 | 12/10/2013 | 9:00:00 a.m. | 1139460 | 217713 | 27.0805 | 0 | 369.711 | 22.6 | 5.6
22 | 13/10/2013 | 9:00:00 a.m. | 1142391 | 217822 | 27.0803 | 0 | 369.953 | 23.1 | 5.62
23 | 14/10/2013 | 9:00:00 a.m. | 1144262 | 217890 | 27.0961 | 0 | 370.653 | 22.5 | 5.61
24 | 15/10/2013 | 9:00:00 a.m. | 1147078 | 217994 | 27.0243 | 0 | 370.279 | 22.6 | 5.61
25 | 16/10/2013 | 9:00:00 a.m. | 1150144 | 218108 | 26.9736 | 0 | 369.103 | 22.7 | 5.61
26 | 17/10/2013 | 9:00:00 a.m. | 1153425 | 218230 | 27.0607 | 0 | 369.292 | 23.1 | 5.61
27 | 18/10/2013 | 9:00:00 a.m. | 1156699 | 218351 | 26.8455 | 0 | 368.585 | 23.1 | 5.62
28 | 19/10/2013 | 9:00:00 a.m. | 1159534 | 218457 | 26.9345 | 0 | 368.886 | 22.6 | 5.62
29 | 20/10/2013 | 9:00:00 a.m. | 1162343 | 218560 | 27.8443 | 0 | 373.067 | 22.1 | 5.59
30 | 21/10/2013 | 9:00:00 a.m. | 1164943 | 218654 | 27.3536 | 0 | 372.935 | 22.2 | 5.59
31 | 22/10/2013 | 9:00:00 a.m. | 1167444 | 218746 | 27.5626 | 0 | 372.641 | 22 | 5.61
32 | 23/10/2013 | 9:00:00 a.m. | 1170047 | 218841 | 27.5281 | 0 | 372.187 | 20.3 | 5.55
33 | 24/10/2013 | 9:00:00 a.m. | 1173011 | 218949 | 27.3882 | 0 | 371.629 | 19.8 | 5.57
34 | 25/10/2013 | 9:00:00 a.m. | 1175679 | 219046 | 27.3713 | 0 | 371.134 | 20.5 | 5.56
35 | 26/10/2013 | 9:00:00 a.m. | 1177453 | 219111 | 27.5289 | 0 | 371.471 | 19.3 | 5.58