## covemex 11 01 13 diario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 6
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 27/10/2013 | 9:00:00 a.m. | 1179244 | 219177 | 27.7496 | 0 | 372.026 | 19.7 | 5.62
2 | 28/10/2013 | 9:00:00 a.m. | 1179532 | 219187 | 27.5696 | 0 | 372.14 | 20.3 | 5.6
3 | 29/10/2013 | 9:00:00 a.m. | 1181854 | 219272 | 27.2298 | 0 | 371.184 | 22.2 | 5.63
4 | 30/10/2013 | 9:00:00 a.m. | 1184064 | 219354 | 27.4224 | 0 | 370.585 | 23.1 | 5.62
5 | 31/10/2013 | 9:00:00 a.m. | 1185451 | 219404 | 27.324 | 0 | 370.447 | 22.9 | 5.6
6 | 01/11/2013 | 9:00:00 a.m. | 1187252 | 219471 | 27.0214 | 0 | 370.837 | 22.8 | 5.65