## covemex 11 01 13 horario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 139
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 26/10/2013 | 3:00:00 p.m. | 1177873 | 219127 | 27.0327 | 0 | 370.858 | 24.4 | 5.67
2 | 26/10/2013 | 4:00:00 p.m. | 1178017 | 219132 | 26.9602 | 0 | 369.999 | 24.1 | 5.67
3 | 26/10/2013 | 5:00:00 p.m. | 1178182 | 219138 | 27.1669 | 0 | 370.668 | 23.9 | 5.66
4 | 26/10/2013 | 6:00:00 p.m. | 1178350 | 219144 | 27.21 | 0 | 370.66 | 23.3 | 5.65
5 | 26/10/2013 | 7:00:00 p.m. | 1178519 | 219150 | 27.3753 | 0 | 371.436 | 22.3 | 5.63
6 | 26/10/2013 | 8:00:00 p.m. | 1178686 | 219157 | 27.3923 | 0 | 371.709 | 21.9 | 5.62
7 | 26/10/2013 | 9:00:00 p.m. | 1178851 | 219163 | 27.442 | 0 | 372.074 | 21.6 | 5.61
8 | 26/10/2013 | 10:00:00 p.m. | 1179014 | 219168 | 27.4895 | 0 | 372.372 | 21.2 | 5.6
9 | 26/10/2013 | 11:00:00 p.m. | 1179151 | 219173 | 27.6543 | 0 | 371.939 | 20.8 | 5.59
10 | 27/10/2013 | 12:00:00 a.m. | 1179168 | 219174 | 28.1031 | 0 | 372.79 | 18 | 5.58
11 | 27/10/2013 | 1:00:00 a.m. | 1179168 | 219174 | 28.2431 | 0 | 372.635 | 16.2 | 5.6
12 | 27/10/2013 | 2:00:00 a.m. | 1179171 | 219174 | 28.3594 | 0 | 373.36 | 15.2 | 5.59
13 | 27/10/2013 | 3:00:00 a.m. | 1179171 | 219174 | 28.5434 | 0 | 373.925 | 14.2 | 5.58
14 | 27/10/2013 | 4:00:00 a.m. | 1179193 | 219175 | 28.1996 | 0 | 373.716 | 14.5 | 5.6
15 | 27/10/2013 | 5:00:00 a.m. | 1179202 | 219175 | 28.3531 | 0 | 373.228 | 14.8 | 5.59
16 | 27/10/2013 | 6:00:00 a.m. | 1179205 | 219175 | 28.5822 | 0 | 372.696 | 13.5 | 5.58
17 | 27/10/2013 | 7:00:00 a.m. | 1179205 | 219175 | 28.5417 | 0 | 373.592 | 12.9 | 5.58
18 | 27/10/2013 | 8:00:00 a.m. | 1179241 | 219177 | 27.9272 | 0 | 372.905 | 15.4 | 5.6
19 | 27/10/2013 | 9:00:00 a.m. | 1179244 | 219177 | 27.7496 | 0 | 372.265 | 17.9 | 5.62
20 | 27/10/2013 | 10:00:00 a.m. | 1179247 | 219177 | 27.4435 | 0 | 372.17 | 20.1 | 5.65
21 | 27/10/2013 | 11:00:00 a.m. | 1179247 | 219177 | 27.0962 | 0 | 371.216 | 22.4 | 5.67
22 | 27/10/2013 | 12:00:00 p.m. | 1179252 | 219177 | 26.8694 | 0 | 370.826 | 24.7 | 5.67
23 | 27/10/2013 | 1:00:00 p.m. | 1179263 | 219177 | 26.8327 | 0 | 370.802 | 26.6 | 5.68
24 | 27/10/2013 | 2:00:00 p.m. | 1179295 | 219179 | 26.7604 | 0 | 370.384 | 26.7 | 5.69
25 | 27/10/2013 | 3:00:00 p.m. | 1179319 | 219180 | 26.6895 | 0 | 371.125 | 27.8 | 5.69
26 | 27/10/2013 | 4:00:00 p.m. | 1179338 | 219180 | 26.8338 | 0 | 371.377 | 27.5 | 5.7
27 | 27/10/2013 | 5:00:00 p.m. | 1179354 | 219181 | 27.0489 | 0 | 371.888 | 26.6 | 5.69
28 | 27/10/2013 | 6:00:00 p.m. | 1179362 | 219181 | 27.207 | 0 | 372.352 | 25.2 | 5.67
29 | 27/10/2013 | 7:00:00 p.m. | 1179365 | 219181 | 27.4233 | 0 | 373.117 | 23.2 | 5.65
30 | 27/10/2013 | 8:00:00 p.m. | 1179365 | 219181 | 27.6242 | 0 | 373.047 | 21.2 | 5.63
31 | 27/10/2013 | 9:00:00 p.m. | 1179367 | 219181 | 27.8451 | 0 | 372.86 | 19.6 | 5.62
32 | 27/10/2013 | 10:00:00 p.m. | 1179367 | 219181 | 27.9626 | 0 | 372.926 | 18.4 | 5.6
33 | 27/10/2013 | 11:00:00 p.m. | 1179401 | 219183 | 27.9522 | 0 | 373.116 | 18.3 | 5.6
34 | 28/10/2013 | 12:00:00 a.m. | 1179423 | 219183 | 28.0574 | 0 | 373.426 | 18.2 | 5.6
35 | 28/10/2013 | 1:00:00 a.m. | 1179423 | 219183 | 28.1035 | 0 | 373.236 | 16.9 | 5.59
36 | 28/10/2013 | 2:00:00 a.m. | 1179426 | 219183 | 28.2023 | 0 | 373.238 | 16.1 | 5.59
37 | 28/10/2013 | 3:00:00 a.m. | 1179426 | 219183 | 28.3777 | 0 | 373.29 | 15.5 | 5.6
38 | 28/10/2013 | 4:00:00 a.m. | 1179452 | 219184 | 28.1071 | 0 | 373.345 | 15.8 | 5.59
39 | 28/10/2013 | 5:00:00 a.m. | 1179460 | 219185 | 28.2497 | 0 | 372.806 | 15.7 | 5.59
40 | 28/10/2013 | 6:00:00 a.m. | 1179460 | 219185 | 28.3542 | 0 | 372.782 | 14.6 | 5.59
41 | 28/10/2013 | 7:00:00 a.m. | 1179466 | 219185 | 28.2398 | 0 | 371.465 | 13.9 | 5.59
42 | 28/10/2013 | 8:00:00 a.m. | 1179499 | 219186 | 27.9472 | 0 | 370.356 | 15.8 | 5.59
43 | 28/10/2013 | 9:00:00 a.m. | 1179532 | 219187 | 27.5696 | 0 | 370.218 | 17.5 | 5.6
44 | 28/10/2013 | 10:00:00 a.m. | 1179600 | 219190 | 26.9531 | 0 | 369.184 | 21.6 | 5.63
45 | 28/10/2013 | 11:00:00 a.m. | 1179670 | 219192 | 26.8064 | 0 | 368.142 | 23.9 | 5.67
46 | 28/10/2013 | 12:00:00 p.m. | 1179740 | 219195 | 26.6844 | 0 | 368.339 | 25.2 | 5.67
47 | 28/10/2013 | 1:00:00 p.m. | 1179809 | 219198 | 26.6887 | 0 | 368.04 | 25.9 | 5.68
48 | 28/10/2013 | 2:00:00 p.m. | 1179876 | 219200 | 26.649 | 0 | 368.908 | 26.4 | 5.69
49 | 28/10/2013 | 3:00:00 p.m. | 1179943 | 219203 | 26.6813 | 0 | 369.379 | 26.7 | 5.71
50 | 28/10/2013 | 4:00:00 p.m. | 1180042 | 219206 | 26.7829 | 0 | 369.938 | 26.4 | 5.72
51 | 28/10/2013 | 5:00:00 p.m. | 1180181 | 219211 | 26.934 | 0 | 369.853 | 25.3 | 5.69
52 | 28/10/2013 | 6:00:00 p.m. | 1180319 | 219217 | 27.0969 | 0 | 370.824 | 24.5 | 5.68
53 | 28/10/2013 | 7:00:00 p.m. | 1180461 | 219222 | 27.332 | 0 | 371.8 | 23.4 | 5.68
54 | 28/10/2013 | 8:00:00 p.m. | 1180603 | 219227 | 27.35 | 0 | 372.728 | 22.8 | 5.65
55 | 28/10/2013 | 9:00:00 p.m. | 1180743 | 219232 | 27.4582 | 0 | 372.491 | 22.3 | 5.63
56 | 28/10/2013 | 10:00:00 p.m. | 1180875 | 219237 | 27.2826 | 0 | 372.378 | 21.8 | 5.61
57 | 28/10/2013 | 11:00:00 p.m. | 1181001 | 219241 | 27.5733 | 0 | 372.586 | 21.5 | 5.6
58 | 29/10/2013 | 12:00:00 a.m. | 1181131 | 219246 | 27.5053 | 0 | 372.732 | 21.5 | 5.6
59 | 29/10/2013 | 1:00:00 a.m. | 1181260 | 219251 | 27.5742 | 0 | 372.937 | 21.3 | 5.6
60 | 29/10/2013 | 2:00:00 a.m. | 1181387 | 219255 | 27.625 | 0 | 372.93 | 20.9 | 5.6
61 | 29/10/2013 | 3:00:00 a.m. | 1181517 | 219260 | 27.6185 | 0 | 372.785 | 20.8 | 5.59
62 | 29/10/2013 | 4:00:00 a.m. | 1181646 | 219265 | 27.6354 | 0 | 373.103 | 20.8 | 5.6
63 | 29/10/2013 | 5:00:00 a.m. | 1181760 | 219269 | 27.6564 | 0 | 372.911 | 20.5 | 5.59
64 | 29/10/2013 | 6:00:00 a.m. | 1181785 | 219270 | 28.1309 | 0 | 372.871 | 18.5 | 5.58
65 | 29/10/2013 | 7:00:00 a.m. | 1181790 | 219270 | 28.1373 | 0 | 371.601 | 15.8 | 5.59
66 | 29/10/2013 | 8:00:00 a.m. | 1181801 | 219270 | 27.876 | 0 | 371.298 | 15.4 | 5.61
67 | 29/10/2013 | 9:00:00 a.m. | 1181854 | 219272 | 27.2298 | 0 | 370.662 | 19.6 | 5.63
68 | 29/10/2013 | 10:00:00 a.m. | 1181938 | 219275 | 26.9731 | 0 | 368.334 | 22.5 | 5.64
69 | 29/10/2013 | 11:00:00 a.m. | 1182010 | 219278 | 26.8302 | 0 | 368.292 | 23.9 | 5.66
70 | 29/10/2013 | 12:00:00 p.m. | 1182104 | 219282 | 26.6954 | 0 | 368.01 | 24.8 | 5.68
71 | 29/10/2013 | 1:00:00 p.m. | 1182203 | 219285 | 26.5962 | 0 | 367.168 | 25.5 | 5.69
72 | 29/10/2013 | 2:00:00 p.m. | 1182290 | 219289 | 26.5349 | 0 | 367.384 | 26.2 | 5.69
73 | 29/10/2013 | 3:00:00 p.m. | 1182381 | 219292 | 26.654 | 0 | 368.395 | 26.7 | 5.7
74 | 29/10/2013 | 4:00:00 p.m. | 1182471 | 219295 | 26.6428 | 0 | 368.809 | 26.7 | 5.7
75 | 29/10/2013 | 5:00:00 p.m. | 1182562 | 219299 | 26.8814 | 0 | 369.773 | 26.2 | 5.71
76 | 29/10/2013 | 6:00:00 p.m. | 1182616 | 219301 | 27.0878 | 0 | 370.974 | 25.2 | 5.69
77 | 29/10/2013 | 7:00:00 p.m. | 1182695 | 219304 | 27.251 | 0 | 371.595 | 24.1 | 5.69
78 | 29/10/2013 | 8:00:00 p.m. | 1182760 | 219306 | 27.3404 | 0 | 372.813 | 23.5 | 5.66
79 | 29/10/2013 | 9:00:00 p.m. | 1182837 | 219309 | 27.3086 | 0 | 372.272 | 22.6 | 5.65
80 | 29/10/2013 | 10:00:00 p.m. | 1182925 | 219312 | 27.4547 | 0 | 372.05 | 21.9 | 5.63
81 | 29/10/2013 | 11:00:00 p.m. | 1183010 | 219315 | 27.5171 | 0 | 372.592 | 21.7 | 5.62
82 | 30/10/2013 | 12:00:00 a.m. | 1183115 | 219319 | 27.5848 | 0 | 373.069 | 21.4 | 5.61
83 | 30/10/2013 | 1:00:00 a.m. | 1183247 | 219324 | 27.4036 | 0 | 372.369 | 21.5 | 5.6
84 | 30/10/2013 | 2:00:00 a.m. | 1183384 | 219329 | 27.4714 | 0 | 372.163 | 21.6 | 5.61
85 | 30/10/2013 | 3:00:00 a.m. | 1183518 | 219334 | 27.4571 | 0 | 372.139 | 21.7 | 5.61
86 | 30/10/2013 | 4:00:00 a.m. | 1183653 | 219339 | 27.4628 | 0 | 372.212 | 21.7 | 5.61
87 | 30/10/2013 | 5:00:00 a.m. | 1183790 | 219344 | 27.4664 | 0 | 372.221 | 21.7 | 5.6
88 | 30/10/2013 | 6:00:00 a.m. | 1183924 | 219349 | 27.4742 | 0 | 371.406 | 21.6 | 5.59
89 | 30/10/2013 | 7:00:00 a.m. | 1184053 | 219353 | 27.361 | 0 | 369.854 | 21.4 | 5.59
90 | 30/10/2013 | 8:00:00 a.m. | 1184058 | 219353 | 27.4992 | 0 | 370.126 | 19.6 | 5.61
91 | 30/10/2013 | 9:00:00 a.m. | 1184064 | 219354 | 27.4224 | 0 | 370.039 | 19.7 | 5.62
92 | 30/10/2013 | 10:00:00 a.m. | 1184069 | 219354 | 26.957 | 0 | 369.118 | 22.1 | 5.66
93 | 30/10/2013 | 11:00:00 a.m. | 1184098 | 219355 | 26.6621 | 0 | 368.697 | 24.9 | 5.67
94 | 30/10/2013 | 12:00:00 p.m. | 1184104 | 219355 | 26.3333 | 0 | 368.436 | 28 | 5.7
95 | 30/10/2013 | 1:00:00 p.m. | 1184106 | 219355 | 26.2697 | 0 | 368.825 | 29.7 | 5.7
96 | 30/10/2013 | 2:00:00 p.m. | 1184120 | 219356 | 26.3549 | 0 | 368.37 | 29.5 | 5.71
97 | 30/10/2013 | 3:00:00 p.m. | 1184146 | 219357 | 26.4535 | 0 | 368.199 | 28.2 | 5.7
98 | 30/10/2013 | 4:00:00 p.m. | 1184199 | 219359 | 26.6702 | 0 | 369.025 | 27.2 | 5.69
99 | 30/10/2013 | 5:00:00 p.m. | 1184296 | 219362 | 26.9658 | 0 | 369.335 | 24.8 | 5.68
100 | 30/10/2013 | 6:00:00 p.m. | 1184377 | 219365 | 27.1168 | 0 | 369.439 | 23.5 | 5.66
101 | 30/10/2013 | 7:00:00 p.m. | 1184461 | 219368 | 27.1795 | 0 | 369.215 | 22.5 | 5.65
102 | 30/10/2013 | 8:00:00 p.m. | 1184543 | 219371 | 27.2598 | 0 | 369.842 | 22.3 | 5.64
103 | 30/10/2013 | 9:00:00 p.m. | 1184625 | 219374 | 27.4733 | 0 | 371.441 | 21.7 | 5.63
104 | 30/10/2013 | 10:00:00 p.m. | 1184707 | 219377 | 27.4481 | 0 | 372.277 | 21.5 | 5.61
105 | 30/10/2013 | 11:00:00 p.m. | 1184787 | 219380 | 27.4644 | 0 | 371.834 | 21.3 | 5.61
106 | 31/10/2013 | 12:00:00 a.m. | 1184864 | 219383 | 27.4994 | 0 | 372.037 | 21.2 | 5.6
107 | 31/10/2013 | 1:00:00 a.m. | 1184941 | 219386 | 27.543 | 0 | 372.475 | 21 | 5.61
108 | 31/10/2013 | 2:00:00 a.m. | 1185018 | 219389 | 27.6313 | 0 | 372.715 | 20.8 | 5.61
109 | 31/10/2013 | 3:00:00 a.m. | 1185096 | 219392 | 27.5715 | 0 | 372.679 | 20.6 | 5.59
110 | 31/10/2013 | 4:00:00 a.m. | 1185176 | 219394 | 27.5679 | 0 | 371.968 | 20.4 | 5.6
111 | 31/10/2013 | 5:00:00 a.m. | 1185253 | 219397 | 27.6297 | 0 | 372.463 | 20.2 | 5.59
112 | 31/10/2013 | 6:00:00 a.m. | 1185330 | 219400 | 27.59 | 0 | 372.197 | 20.3 | 5.58
113 | 31/10/2013 | 7:00:00 a.m. | 1185372 | 219402 | 27.5805 | 0 | 370.894 | 19.7 | 5.61
114 | 31/10/2013 | 8:00:00 a.m. | 1185377 | 219402 | 27.7481 | 0 | 369.84 | 17.8 | 5.59
115 | 31/10/2013 | 9:00:00 a.m. | 1185451 | 219404 | 27.324 | 0 | 369.415 | 19.9 | 5.6
116 | 31/10/2013 | 10:00:00 a.m. | 1185514 | 219407 | 27.0184 | 0 | 369.779 | 22 | 5.62
117 | 31/10/2013 | 11:00:00 a.m. | 1185576 | 219409 | 26.9625 | 0 | 368.392 | 23.6 | 5.65
118 | 31/10/2013 | 12:00:00 p.m. | 1185624 | 219411 | 26.9032 | 0 | 369.397 | 23.6 | 5.66
119 | 31/10/2013 | 1:00:00 p.m. | 1185670 | 219413 | 26.5709 | 0 | 368.107 | 25.3 | 5.67
120 | 31/10/2013 | 2:00:00 p.m. | 1185704 | 219414 | 26.4553 | 0 | 367.749 | 27 | 5.67
121 | 31/10/2013 | 3:00:00 p.m. | 1185771 | 219416 | 26.7283 | 0 | 368.589 | 26.9 | 5.7
122 | 31/10/2013 | 4:00:00 p.m. | 1185824 | 219418 | 26.8134 | 0 | 369.496 | 26 | 5.7
123 | 31/10/2013 | 5:00:00 p.m. | 1185894 | 219421 | 26.9146 | 0 | 370.147 | 25.8 | 5.69
124 | 31/10/2013 | 6:00:00 p.m. | 1185954 | 219423 | 27.1051 | 0 | 370.619 | 24.7 | 5.68
125 | 31/10/2013 | 7:00:00 p.m. | 1186022 | 219426 | 27.3503 | 0 | 371.32 | 23.3 | 5.65
126 | 31/10/2013 | 8:00:00 p.m. | 1186079 | 219428 | 27.423 | 0 | 372.135 | 22.2 | 5.64
127 | 31/10/2013 | 9:00:00 p.m. | 1186137 | 219430 | 27.4755 | 0 | 372.1 | 21.5 | 5.62
128 | 31/10/2013 | 10:00:00 p.m. | 1186208 | 219432 | 27.5543 | 0 | 372.57 | 21.4 | 5.62
129 | 31/10/2013 | 11:00:00 p.m. | 1186274 | 219435 | 27.4784 | 0 | 372.58 | 21.5 | 5.6
130 | 01/11/2013 | 12:00:00 a.m. | 1186338 | 219437 | 27.4347 | 0 | 372.566 | 21.4 | 5.61
131 | 01/11/2013 | 1:00:00 a.m. | 1186477 | 219442 | 27.3875 | 0 | 371.848 | 22.1 | 5.6
132 | 01/11/2013 | 2:00:00 a.m. | 1186641 | 219448 | 27.3653 | 0 | 372.036 | 22.3 | 5.61
133 | 01/11/2013 | 3:00:00 a.m. | 1186805 | 219454 | 27.3707 | 0 | 371.885 | 22.2 | 5.6
134 | 01/11/2013 | 4:00:00 a.m. | 1186970 | 219460 | 27.3777 | 0 | 371.971 | 22 | 5.61
135 | 01/11/2013 | 5:00:00 a.m. | 1187115 | 219466 | 27.5448 | 0 | 371.687 | 21.9 | 5.61
136 | 01/11/2013 | 6:00:00 a.m. | 1187181 | 219468 | 27.6302 | 0 | 372.675 | 20.9 | 5.6
137 | 01/11/2013 | 7:00:00 a.m. | 1187187 | 219468 | 27.6732 | 0 | 371.797 | 19 | 5.6
138 | 01/11/2013 | 8:00:00 a.m. | 1187189 | 219468 | 27.681 | 0 | 370.49 | 18.1 | 5.61
139 | 01/11/2013 | 9:00:00 a.m. | 1187252 | 219471 | 27.0214 | 0 | 370.162 | 21.5 | 5.65