## honda 11 01 13 horario mc b
Data Log
Unit Serial Number: | 02/11/45783
Meter/Site ID: | 1120117 Honda
Drive Rate | 1 m³/rev
Number of Logs Stored: | 143
Fault/Alarms Recorded: | Date | Time | Condition
22 | 11/06/2013 | 2:52:57 p.m. | 16 (High Flow Rate Alarm Occurred)
23 | 01/07/2013 | 12:30:36 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 26/10/2013 | 2:00:00 p.m. | 258442 | 9125 | 27.4555 | 0 | 374.862 | 23.7 | 5.64
2 | 26/10/2013 | 3:00:00 p.m. | 258552 | 9129 | 27.3987 | 0 | 374.912 | 24.2 | 5.64
3 | 26/10/2013 | 4:00:00 p.m. | 258689 | 9134 | 27.3797 | 0 | 374.506 | 24 | 5.63
4 | 26/10/2013 | 5:00:00 p.m. | 258744 | 9136 | 27.5211 | 0 | 374.969 | 23.9 | 5.62
5 | 26/10/2013 | 6:00:00 p.m. | 258827 | 9139 | 27.7184 | 0 | 375.516 | 23.1 | 5.61
6 | 26/10/2013 | 7:00:00 p.m. | 258882 | 9141 | 27.9569 | 0 | 376.261 | 21.3 | 5.57
7 | 26/10/2013 | 8:00:00 p.m. | 258939 | 9143 | 28.1037 | 0 | 376.537 | 19.7 | 5.55
8 | 26/10/2013 | 9:00:00 p.m. | 259023 | 9146 | 28.2452 | 0 | 376.789 | 18.7 | 5.55
9 | 26/10/2013 | 10:00:00 p.m. | 259051 | 9147 | 28.3158 | 0 | 376.996 | 18 | 5.55
10 | 26/10/2013 | 11:00:00 p.m. | 259136 | 9150 | 28.377 | 0 | 376.829 | 17.4 | 5.55
11 | 27/10/2013 | 12:00:00 a.m. | 259193 | 9152 | 28.4719 | 0 | 377.339 | 17.1 | 5.54
12 | 27/10/2013 | 1:00:00 a.m. | 259279 | 9155 | 28.5137 | 0 | 377.223 | 16.7 | 5.55
13 | 27/10/2013 | 2:00:00 a.m. | 259336 | 9157 | 28.5924 | 0 | 377.68 | 16.4 | 5.55
14 | 27/10/2013 | 3:00:00 a.m. | 259393 | 9159 | 28.6984 | 0 | 377.969 | 15.7 | 5.53
15 | 27/10/2013 | 4:00:00 a.m. | 259451 | 9161 | 28.6697 | 0 | 377.888 | 15.2 | 5.53
16 | 27/10/2013 | 5:00:00 a.m. | 259508 | 9163 | 28.6276 | 0 | 377.661 | 15.4 | 5.54
17 | 27/10/2013 | 6:00:00 a.m. | 259594 | 9166 | 28.6897 | 0 | 377.451 | 15.4 | 5.54
18 | 27/10/2013 | 7:00:00 a.m. | 259651 | 9168 | 28.6351 | 0 | 377.888 | 15.5 | 5.53
19 | 27/10/2013 | 8:00:00 a.m. | 259708 | 9170 | 28.5278 | 0 | 377.508 | 15.7 | 5.54
20 | 27/10/2013 | 9:00:00 a.m. | 259765 | 9172 | 28.2724 | 0 | 376.711 | 16.9 | 5.54
21 | 27/10/2013 | 10:00:00 a.m. | 259878 | 9176 | 27.9317 | 0 | 376.042 | 18.8 | 5.56
22 | 27/10/2013 | 11:00:00 a.m. | 259933 | 9178 | 27.6219 | 0 | 375.211 | 21.1 | 5.6
23 | 27/10/2013 | 12:00:00 p.m. | 260071 | 9183 | 27.4295 | 0 | 374.682 | 23 | 5.63
24 | 27/10/2013 | 1:00:00 p.m. | 260181 | 9187 | 27.3095 | 0 | 374.622 | 24.5 | 5.66
25 | 27/10/2013 | 2:00:00 p.m. | 260262 | 9190 | 27.2105 | 0 | 374.422 | 25.5 | 5.67
26 | 27/10/2013 | 3:00:00 p.m. | 260371 | 9194 | 27.1799 | 0 | 374.87 | 26.3 | 5.68
27 | 27/10/2013 | 4:00:00 p.m. | 260425 | 9196 | 27.2138 | 0 | 375.227 | 26.2 | 5.67
28 | 27/10/2013 | 5:00:00 p.m. | 260535 | 9200 | 27.3964 | 0 | 375.67 | 25.7 | 5.66
29 | 27/10/2013 | 6:00:00 p.m. | 260617 | 9203 | 27.6044 | 0 | 376.359 | 24.5 | 5.63
30 | 27/10/2013 | 7:00:00 p.m. | 260700 | 9206 | 27.8655 | 0 | 377.129 | 22.8 | 5.6
31 | 27/10/2013 | 8:00:00 p.m. | 260812 | 9210 | 28.0146 | 0 | 377.181 | 21 | 5.56
32 | 27/10/2013 | 9:00:00 p.m. | 260896 | 9213 | 28.1612 | 0 | 377.199 | 19.8 | 5.55
33 | 27/10/2013 | 10:00:00 p.m. | 260981 | 9216 | 28.2397 | 0 | 377.286 | 19 | 5.55
34 | 27/10/2013 | 11:00:00 p.m. | 261094 | 9220 | 28.2976 | 0 | 377.41 | 18.5 | 5.55
35 | 28/10/2013 | 12:00:00 a.m. | 261179 | 9223 | 28.3453 | 0 | 377.626 | 18.1 | 5.55
36 | 28/10/2013 | 1:00:00 a.m. | 261264 | 9226 | 28.3621 | 0 | 377.618 | 17.8 | 5.53
37 | 28/10/2013 | 2:00:00 a.m. | 261349 | 9229 | 28.375 | 0 | 377.552 | 17.7 | 5.54
38 | 28/10/2013 | 3:00:00 a.m. | 261434 | 9232 | 28.4624 | 0 | 377.607 | 17.4 | 5.55
39 | 28/10/2013 | 4:00:00 a.m. | 261548 | 9236 | 28.414 | 0 | 377.617 | 17.3 | 5.54
40 | 28/10/2013 | 5:00:00 a.m. | 261633 | 9239 | 28.4287 | 0 | 377.361 | 17.2 | 5.54
41 | 28/10/2013 | 6:00:00 a.m. | 261719 | 9242 | 28.4433 | 0 | 377.383 | 17.1 | 5.55
42 | 28/10/2013 | 7:00:00 a.m. | 262844 | 9282 | 28.0011 | 0 | 375.286 | 17.6 | 5.54
43 | 28/10/2013 | 8:00:00 a.m. | 264047 | 9325 | 27.9673 | 0 | 374.52 | 18.9 | 5.54
44 | 28/10/2013 | 9:00:00 a.m. | 265219 | 9367 | 27.8508 | 0 | 374.396 | 19.5 | 5.55
45 | 28/10/2013 | 10:00:00 a.m. | 266273 | 9405 | 27.5781 | 0 | 373.572 | 20.5 | 5.57
46 | 28/10/2013 | 11:00:00 a.m. | 267263 | 9441 | 27.4719 | 0 | 372.568 | 21.7 | 5.61
47 | 28/10/2013 | 12:00:00 p.m. | 268222 | 9476 | 27.3408 | 0 | 372.403 | 22.6 | 5.63
48 | 28/10/2013 | 1:00:00 p.m. | 269123 | 9509 | 27.2899 | 0 | 372.257 | 23.3 | 5.65
49 | 28/10/2013 | 2:00:00 p.m. | 269969 | 9540 | 27.2581 | 0 | 372.737 | 23.9 | 5.67
50 | 28/10/2013 | 3:00:00 p.m. | 270814 | 9571 | 27.2747 | 0 | 372.997 | 24.3 | 5.67
51 | 28/10/2013 | 4:00:00 p.m. | 271660 | 9602 | 27.2526 | 0 | 373.406 | 24.3 | 5.68
52 | 28/10/2013 | 5:00:00 p.m. | 272507 | 9633 | 27.3851 | 0 | 373.471 | 24.1 | 5.67
53 | 28/10/2013 | 6:00:00 p.m. | 273359 | 9664 | 27.6423 | 0 | 374.618 | 23.2 | 5.65
54 | 28/10/2013 | 7:00:00 p.m. | 273858 | 9682 | 27.8824 | 0 | 376.029 | 21.8 | 5.61
55 | 28/10/2013 | 8:00:00 p.m. | 274053 | 9689 | 27.932 | 0 | 376.962 | 21 | 5.59
56 | 28/10/2013 | 9:00:00 p.m. | 274221 | 9695 | 28.0031 | 0 | 376.782 | 20.7 | 5.58
57 | 28/10/2013 | 10:00:00 p.m. | 274333 | 9699 | 28.0158 | 0 | 376.887 | 20.2 | 5.56
58 | 28/10/2013 | 11:00:00 p.m. | 274417 | 9702 | 28.2045 | 0 | 377.087 | 19.5 | 5.56
59 | 29/10/2013 | 12:00:00 a.m. | 274474 | 9704 | 28.2282 | 0 | 377.193 | 18.8 | 5.55
60 | 29/10/2013 | 1:00:00 a.m. | 274559 | 9707 | 28.2944 | 0 | 377.311 | 18.3 | 5.55
61 | 29/10/2013 | 2:00:00 a.m. | 274615 | 9709 | 28.3518 | 0 | 377.338 | 17.9 | 5.55
62 | 29/10/2013 | 3:00:00 a.m. | 274701 | 9712 | 28.3937 | 0 | 377.285 | 17.6 | 5.55
63 | 29/10/2013 | 4:00:00 a.m. | 274757 | 9714 | 28.4566 | 0 | 377.529 | 17.2 | 5.54
64 | 29/10/2013 | 5:00:00 a.m. | 274843 | 9717 | 28.4792 | 0 | 377.453 | 16.7 | 5.54
65 | 29/10/2013 | 6:00:00 a.m. | 274900 | 9719 | 28.5145 | 0 | 377.421 | 16.7 | 5.54
66 | 29/10/2013 | 7:00:00 a.m. | 275887 | 9754 | 28.1143 | 0 | 375.537 | 17.2 | 5.55
67 | 29/10/2013 | 8:00:00 a.m. | 276926 | 9791 | 28.0077 | 0 | 375.272 | 18.6 | 5.53
68 | 29/10/2013 | 9:00:00 a.m. | 277848 | 9824 | 27.7756 | 0 | 374.737 | 19.6 | 5.55
69 | 29/10/2013 | 10:00:00 a.m. | 278816 | 9859 | 27.5563 | 0 | 372.904 | 20.7 | 5.57
70 | 29/10/2013 | 11:00:00 a.m. | 279669 | 9890 | 27.4507 | 0 | 372.664 | 21.7 | 5.61
71 | 29/10/2013 | 12:00:00 p.m. | 280518 | 9921 | 27.3608 | 0 | 372.384 | 22.5 | 5.63
72 | 29/10/2013 | 1:00:00 p.m. | 281419 | 9954 | 27.2846 | 0 | 371.82 | 23.1 | 5.65
73 | 29/10/2013 | 2:00:00 p.m. | 282181 | 9982 | 27.2006 | 0 | 372.034 | 23.7 | 5.67
74 | 29/10/2013 | 3:00:00 p.m. | 282970 | 10011 | 27.238 | 0 | 372.551 | 24.4 | 5.68
75 | 29/10/2013 | 4:00:00 p.m. | 283732 | 10039 | 27.2199 | 0 | 372.884 | 24.5 | 5.68
76 | 29/10/2013 | 5:00:00 p.m. | 284361 | 10062 | 27.4117 | 0 | 373.783 | 24.3 | 5.68
77 | 29/10/2013 | 6:00:00 p.m. | 284883 | 10081 | 27.6456 | 0 | 375.171 | 23.4 | 5.66
78 | 29/10/2013 | 7:00:00 p.m. | 285353 | 10098 | 27.7809 | 0 | 375.753 | 22.6 | 5.63
79 | 29/10/2013 | 8:00:00 p.m. | 285437 | 10101 | 27.8908 | 0 | 376.891 | 21.7 | 5.6
80 | 29/10/2013 | 9:00:00 p.m. | 285520 | 10104 | 27.852 | 0 | 376.646 | 21.3 | 5.58
81 | 29/10/2013 | 10:00:00 p.m. | 285576 | 10106 | 27.9663 | 0 | 376.573 | 21 | 5.57
82 | 29/10/2013 | 11:00:00 p.m. | 285660 | 10109 | 28.0661 | 0 | 376.91 | 20.4 | 5.56
83 | 30/10/2013 | 12:00:00 a.m. | 285717 | 10111 | 28.1967 | 0 | 377.287 | 19.5 | 5.55
84 | 30/10/2013 | 1:00:00 a.m. | 285773 | 10113 | 28.1705 | 0 | 376.932 | 18.9 | 5.55
85 | 30/10/2013 | 2:00:00 a.m. | 285829 | 10115 | 28.2085 | 0 | 376.804 | 18.7 | 5.55
86 | 30/10/2013 | 3:00:00 a.m. | 285914 | 10118 | 28.2083 | 0 | 376.766 | 18.6 | 5.55
87 | 30/10/2013 | 4:00:00 a.m. | 285970 | 10120 | 28.2802 | 0 | 376.795 | 18.3 | 5.55
88 | 30/10/2013 | 5:00:00 a.m. | 286027 | 10122 | 28.2986 | 0 | 376.84 | 17.9 | 5.55
89 | 30/10/2013 | 6:00:00 a.m. | 286083 | 10124 | 28.2878 | 0 | 376.44 | 17.9 | 5.54
90 | 30/10/2013 | 7:00:00 a.m. | 287119 | 10161 | 27.912 | 0 | 374.29 | 18.4 | 5.55
91 | 30/10/2013 | 8:00:00 a.m. | 288124 | 10197 | 27.8959 | 0 | 374.446 | 19.3 | 5.55
92 | 30/10/2013 | 9:00:00 a.m. | 289016 | 10229 | 27.7804 | 0 | 374.356 | 19.9 | 5.55
93 | 30/10/2013 | 10:00:00 a.m. | 289818 | 10258 | 27.5449 | 0 | 373.548 | 21 | 5.58
94 | 30/10/2013 | 11:00:00 a.m. | 290644 | 10288 | 27.4211 | 0 | 372.957 | 21.9 | 5.61
95 | 30/10/2013 | 12:00:00 p.m. | 291436 | 10317 | 27.2888 | 0 | 372.55 | 23.3 | 5.65
96 | 30/10/2013 | 1:00:00 p.m. | 292174 | 10344 | 27.3112 | 0 | 372.982 | 23.6 | 5.66
97 | 30/10/2013 | 2:00:00 p.m. | 292910 | 10371 | 27.1773 | 0 | 372.585 | 24 | 5.66
98 | 30/10/2013 | 3:00:00 p.m. | 293646 | 10398 | 27.3762 | 0 | 372.726 | 24.1 | 5.67
99 | 30/10/2013 | 4:00:00 p.m. | 294384 | 10425 | 27.2968 | 0 | 373.388 | 23.6 | 5.66
100 | 30/10/2013 | 5:00:00 p.m. | 295180 | 10454 | 27.5504 | 0 | 373.615 | 22.9 | 5.64
101 | 30/10/2013 | 6:00:00 p.m. | 295844 | 10478 | 27.6903 | 0 | 374.184 | 21.7 | 5.61
102 | 30/10/2013 | 7:00:00 p.m. | 296481 | 10501 | 27.761 | 0 | 374.263 | 21.1 | 5.59
103 | 30/10/2013 | 8:00:00 p.m. | 297120 | 10524 | 27.8168 | 0 | 374.583 | 20.8 | 5.57
104 | 30/10/2013 | 9:00:00 p.m. | 297315 | 10531 | 28.0243 | 0 | 375.983 | 20.4 | 5.56
105 | 30/10/2013 | 10:00:00 p.m. | 297399 | 10534 | 28.0506 | 0 | 376.596 | 19.8 | 5.55
106 | 30/10/2013 | 11:00:00 p.m. | 297455 | 10536 | 28.0653 | 0 | 376.406 | 19.6 | 5.55
107 | 31/10/2013 | 12:00:00 a.m. | 297511 | 10538 | 28.1247 | 0 | 376.525 | 19.3 | 5.55
108 | 31/10/2013 | 1:00:00 a.m. | 297596 | 10541 | 28.1985 | 0 | 376.785 | 18.9 | 5.55
109 | 31/10/2013 | 2:00:00 a.m. | 297652 | 10543 | 28.2695 | 0 | 376.942 | 18.4 | 5.54
110 | 31/10/2013 | 3:00:00 a.m. | 297709 | 10545 | 28.3101 | 0 | 376.965 | 17.9 | 5.54
111 | 31/10/2013 | 4:00:00 a.m. | 297794 | 10548 | 28.3028 | 0 | 376.594 | 17.6 | 5.54
112 | 31/10/2013 | 5:00:00 a.m. | 297850 | 10550 | 28.3824 | 0 | 376.895 | 17.4 | 5.53
113 | 31/10/2013 | 6:00:00 a.m. | 297935 | 10553 | 28.3793 | 0 | 376.774 | 17 | 5.54
114 | 31/10/2013 | 7:00:00 a.m. | 298750 | 10582 | 27.9383 | 0 | 375.039 | 17.6 | 5.54
115 | 31/10/2013 | 8:00:00 a.m. | 299813 | 10620 | 27.9365 | 0 | 374.042 | 18.7 | 5.55
116 | 31/10/2013 | 9:00:00 a.m. | 300732 | 10653 | 27.8466 | 0 | 373.879 | 19.5 | 5.55
117 | 31/10/2013 | 10:00:00 a.m. | 301509 | 10681 | 27.5427 | 0 | 373.984 | 20.8 | 5.58
118 | 31/10/2013 | 11:00:00 a.m. | 302308 | 10710 | 27.5755 | 0 | 373.008 | 21.6 | 5.61
119 | 31/10/2013 | 12:00:00 p.m. | 303026 | 10736 | 27.4871 | 0 | 373.65 | 21.5 | 5.61
120 | 31/10/2013 | 1:00:00 p.m. | 303738 | 10762 | 27.2574 | 0 | 372.485 | 22.8 | 5.65
121 | 31/10/2013 | 2:00:00 p.m. | 304446 | 10788 | 27.1679 | 0 | 372.16 | 24 | 5.67
122 | 31/10/2013 | 3:00:00 p.m. | 305045 | 10810 | 27.3564 | 0 | 372.929 | 24.1 | 5.68
123 | 31/10/2013 | 4:00:00 p.m. | 305565 | 10829 | 27.4606 | 0 | 373.723 | 23.8 | 5.67
124 | 31/10/2013 | 5:00:00 p.m. | 306059 | 10847 | 27.509 | 0 | 374.213 | 23.3 | 5.65
125 | 31/10/2013 | 6:00:00 p.m. | 306611 | 10867 | 27.6392 | 0 | 374.658 | 22.7 | 5.63
126 | 31/10/2013 | 7:00:00 p.m. | 306971 | 10880 | 27.8269 | 0 | 375.502 | 21.8 | 5.61
127 | 31/10/2013 | 8:00:00 p.m. | 307110 | 10885 | 27.9078 | 0 | 376.318 | 21 | 5.58
128 | 31/10/2013 | 9:00:00 p.m. | 307250 | 10890 | 28.0199 | 0 | 376.391 | 20.3 | 5.56
129 | 31/10/2013 | 10:00:00 p.m. | 307334 | 10893 | 28.0638 | 0 | 376.661 | 19.8 | 5.55
130 | 31/10/2013 | 11:00:00 p.m. | 307418 | 10896 | 28.0409 | 0 | 376.557 | 19.8 | 5.56
131 | 01/11/2013 | 12:00:00 a.m. | 307502 | 10899 | 28.0325 | 0 | 376.56 | 19.8 | 5.56
132 | 01/11/2013 | 1:00:00 a.m. | 307559 | 10901 | 28.0532 | 0 | 376.231 | 19.6 | 5.55
133 | 01/11/2013 | 2:00:00 a.m. | 307671 | 10905 | 28.0632 | 0 | 376.324 | 19.6 | 5.55
134 | 01/11/2013 | 3:00:00 a.m. | 307755 | 10908 | 28.102 | 0 | 376.333 | 19.4 | 5.55
135 | 01/11/2013 | 4:00:00 a.m. | 307839 | 10911 | 28.1448 | 0 | 376.399 | 18.9 | 5.55
136 | 01/11/2013 | 5:00:00 a.m. | 307924 | 10914 | 28.247 | 0 | 376.258 | 18.6 | 5.55
137 | 01/11/2013 | 6:00:00 a.m. | 308009 | 10917 | 28.2479 | 0 | 376.771 | 18.3 | 5.54
138 | 01/11/2013 | 7:00:00 a.m. | 308513 | 10935 | 27.9155 | 0 | 375.777 | 18.4 | 5.53
139 | 01/11/2013 | 8:00:00 a.m. | 309602 | 10974 | 27.8703 | 0 | 374.222 | 19.2 | 5.55
140 | 01/11/2013 | 9:00:00 a.m. | 310380 | 11002 | 27.6195 | 0 | 374.128 | 20.4 | 5.56
141 | 01/11/2013 | 10:00:00 a.m. | 311151 | 11030 | 27.462 | 0 | 373.12 | 21.9 | 5.61
142 | 01/11/2013 | 11:00:00 a.m. | 311889 | 11057 | 27.3884 | 0 | 372.599 | 23.2 | 5.65
143 | 01/11/2013 | 12:00:00 p.m. | 312600 | 11083 | 27.3089 | 0 | 372.861 | 23.6 | 5.67