## sanivex 10 26 13 diario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 22/09/2013 | 9:00:00 a.m. | 6509769 | 237917 | 27.0721 | 0 | 363.208 | 20.8 | 5.29
2 | 23/09/2013 | 9:00:00 a.m. | 6517915 | 238208 | 27.6354 | 0 | 376.665 | 21.3 | 5.3
3 | 24/09/2013 | 9:00:00 a.m. | 6525409 | 238463 | 29.934 | 0 | 397.766 | 22.6 | 5.29
4 | 25/09/2013 | 9:00:00 a.m. | 6535042 | 238803 | 27.7502 | 0 | 382.128 | 21 | 5.3
5 | 26/09/2013 | 9:00:00 a.m. | 6544642 | 239154 | 27.3694 | 0 | 369.752 | 21.9 | 5.29
6 | 27/09/2013 | 9:00:00 a.m. | 6554637 | 239514 | 27.3126 | 0 | 371.895 | 19.1 | 5.3
7 | 28/09/2013 | 9:00:00 a.m. | 6564516 | 239871 | 27.6245 | 0 | 371.661 | 20.6 | 5.29
8 | 29/09/2013 | 9:00:00 a.m. | 6573061 | 240180 | 27.75 | 0 | 372.065 | 21.1 | 5.29
9 | 30/09/2013 | 9:00:00 a.m. | 6579257 | 240403 | 27.5866 | 0 | 373.192 | 21.1 | 5.3
10 | 01/10/2013 | 9:00:00 a.m. | 6588614 | 240743 | 27.6103 | 0 | 371.523 | 22.2 | 5.29
11 | 02/10/2013 | 9:00:00 a.m. | 6597647 | 241073 | 27.3509 | 0 | 370.613 | 22.3 | 5.3
12 | 03/10/2013 | 9:00:00 a.m. | 6606872 | 241409 | 27.5496 | 0 | 370.425 | 21.5 | 5.3
13 | 04/10/2013 | 9:00:00 a.m. | 6616660 | 241765 | 27.6653 | 0 | 370.728 | 21.3 | 5.29
14 | 05/10/2013 | 9:00:00 a.m. | 6626157 | 242111 | 27.572 | 0 | 370.354 | 21.4 | 5.29
15 | 06/10/2013 | 9:00:00 a.m. | 6634191 | 242405 | 27.8286 | 0 | 370.535 | 21.8 | 5.29
16 | 07/10/2013 | 9:00:00 a.m. | 6641197 | 242661 | 27.5792 | 0 | 371.516 | 21.6 | 5.29
17 | 08/10/2013 | 9:00:00 a.m. | 6650242 | 242983 | 28.2502 | 0 | 372.942 | 18.7 | 5.29
18 | 09/10/2013 | 9:00:00 a.m. | 6659653 | 243317 | 28.0077 | 0 | 376.6 | 19.8 | 5.29
19 | 10/10/2013 | 9:00:00 a.m. | 6669066 | 243655 | 27.849 | 0 | 375.963 | 21.4 | 5.29
20 | 11/10/2013 | 9:00:00 a.m. | 6678212 | 243989 | 27.5181 | 0 | 373.517 | 22.7 | 5.29
21 | 12/10/2013 | 9:00:00 a.m. | 6687489 | 244330 | 27.4474 | 0 | 370.074 | 22.1 | 5.29
22 | 13/10/2013 | 9:00:00 a.m. | 6695930 | 244640 | 27.4166 | 0 | 370.266 | 22.3 | 5.3
23 | 14/10/2013 | 9:00:00 a.m. | 6704290 | 244943 | 27.7229 | 0 | 370.974 | 20.7 | 5.29
24 | 15/10/2013 | 9:00:00 a.m. | 6712124 | 245227 | 27.6846 | 0 | 370.639 | 20.4 | 5.29
25 | 16/10/2013 | 9:00:00 a.m. | 6721882 | 245584 | 27.6081 | 0 | 369.402 | 21.2 | 5.29
26 | 17/10/2013 | 9:00:00 a.m. | 6731680 | 245942 | 27.39 | 0 | 369.599 | 22.3 | 5.29
27 | 18/10/2013 | 9:00:00 a.m. | 6740368 | 246261 | 27.2169 | 0 | 368.98 | 22.6 | 5.29
28 | 19/10/2013 | 9:00:00 a.m. | 6749456 | 246594 | 27.3112 | 0 | 369.163 | 21.5 | 5.29
29 | 20/10/2013 | 9:00:00 a.m. | 6758446 | 246920 | 27.9001 | 0 | 373.229 | 20.7 | 5.29
30 | 21/10/2013 | 9:00:00 a.m. | 6767092 | 247230 | 27.9569 | 0 | 373.335 | 19.6 | 5.29
31 | 22/10/2013 | 9:00:00 a.m. | 6777073 | 247589 | 27.8271 | 0 | 372.944 | 20.3 | 5.29
32 | 23/10/2013 | 9:00:00 a.m. | 6786945 | 247940 | 28.3225 | 0 | 372.517 | 16.9 | 5.29
33 | 24/10/2013 | 9:00:00 a.m. | 6797569 | 248315 | 28.0744 | 0 | 371.874 | 13.9 | 5.28
34 | 25/10/2013 | 9:00:00 a.m. | 6808519 | 248707 | 28.2506 | 0 | 371.336 | 16.4 | 5.28
35 | 26/10/2013 | 9:00:00 a.m. | 6819778 | 249109 | 27.9094 | 0 | 371.616 | 17.9 | 5.29