## sanivex 11 01 13 diario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 6
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 27/10/2013 | 9:00:00 a.m. | 6829723 | 249465 | 27.7721 | 0 | 372.294 | 18.2 | 5.31
2 | 28/10/2013 | 9:00:00 a.m. | 6838219 | 249769 | 27.8079 | 0 | 372.479 | 19.6 | 5.31
3 | 29/10/2013 | 9:00:00 a.m. | 6847785 | 250115 | 27.4051 | 0 | 371.482 | 20.4 | 5.31
4 | 30/10/2013 | 9:00:00 a.m. | 6857384 | 250466 | 27.4154 | 0 | 370.919 | 21.9 | 5.31
5 | 31/10/2013 | 9:00:00 a.m. | 6867282 | 250828 | 27.6064 | 0 | 370.756 | 21 | 5.31
6 | 01/11/2013 | 9:00:00 a.m. | 6877106 | 251186 | 26.9521 | 0 | 371.158 | 21.6 | 5.32