## sanivex 11 01 13 horario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 140
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 26/10/2013 | 3:00:00 p.m. | 6821755 | 249181 | 27.0487 | 0 | 371.41 | 24.3 | 5.33
2 | 26/10/2013 | 4:00:00 p.m. | 6822083 | 249194 | 27.0591 | 0 | 370.357 | 24.1 | 5.33
3 | 26/10/2013 | 5:00:00 p.m. | 6822409 | 249206 | 27.269 | 0 | 371.085 | 23.9 | 5.33
4 | 26/10/2013 | 6:00:00 p.m. | 6822775 | 249219 | 27.5951 | 0 | 371.146 | 22.1 | 5.33
5 | 26/10/2013 | 7:00:00 p.m. | 6823166 | 249233 | 27.8296 | 0 | 371.756 | 19.5 | 5.32
6 | 26/10/2013 | 8:00:00 p.m. | 6823656 | 249251 | 27.9409 | 0 | 371.888 | 18.1 | 5.32
7 | 26/10/2013 | 9:00:00 p.m. | 6824102 | 249267 | 28.0598 | 0 | 372.238 | 17.3 | 5.31
8 | 26/10/2013 | 10:00:00 p.m. | 6824529 | 249282 | 28.1826 | 0 | 372.551 | 16.5 | 5.31
9 | 26/10/2013 | 11:00:00 p.m. | 6824952 | 249297 | 28.2667 | 0 | 372.21 | 15.7 | 5.31
10 | 27/10/2013 | 12:00:00 a.m. | 6825387 | 249312 | 28.3379 | 0 | 372.908 | 15.4 | 5.31
11 | 27/10/2013 | 1:00:00 a.m. | 6825829 | 249328 | 28.4414 | 0 | 372.721 | 15 | 5.31
12 | 27/10/2013 | 2:00:00 a.m. | 6826278 | 249344 | 28.4604 | 0 | 373.497 | 14.6 | 5.31
13 | 27/10/2013 | 3:00:00 a.m. | 6826732 | 249359 | 28.6366 | 0 | 374.093 | 13.9 | 5.31
14 | 27/10/2013 | 4:00:00 a.m. | 6827218 | 249376 | 28.5109 | 0 | 373.883 | 13.9 | 5.31
15 | 27/10/2013 | 5:00:00 a.m. | 6827748 | 249395 | 28.4647 | 0 | 373.271 | 13.6 | 5.31
16 | 27/10/2013 | 6:00:00 a.m. | 6828293 | 249414 | 28.6424 | 0 | 372.773 | 13.3 | 5.3
17 | 27/10/2013 | 7:00:00 a.m. | 6828837 | 249433 | 28.5259 | 0 | 373.663 | 13.3 | 5.31
18 | 27/10/2013 | 8:00:00 a.m. | 6829355 | 249451 | 28.1302 | 0 | 373.036 | 15.2 | 5.31
19 | 27/10/2013 | 9:00:00 a.m. | 6829723 | 249465 | 27.7721 | 0 | 372.644 | 18.3 | 5.31
20 | 27/10/2013 | 10:00:00 a.m. | 6829983 | 249474 | 27.4685 | 0 | 372.606 | 20.6 | 5.32
21 | 27/10/2013 | 11:00:00 a.m. | 6830235 | 249483 | 27.1791 | 0 | 371.699 | 22.8 | 5.33
22 | 27/10/2013 | 12:00:00 p.m. | 6830481 | 249492 | 27.0405 | 0 | 371.241 | 24.3 | 5.33
23 | 27/10/2013 | 1:00:00 p.m. | 6830708 | 249501 | 26.9148 | 0 | 371.214 | 25.8 | 5.33
24 | 27/10/2013 | 2:00:00 p.m. | 6830936 | 249509 | 26.8161 | 0 | 370.776 | 26.8 | 5.33
25 | 27/10/2013 | 3:00:00 p.m. | 6831155 | 249517 | 26.8402 | 0 | 371.479 | 27.7 | 5.33
26 | 27/10/2013 | 4:00:00 p.m. | 6831395 | 249526 | 26.9217 | 0 | 371.745 | 26.7 | 5.33
27 | 27/10/2013 | 5:00:00 p.m. | 6831643 | 249536 | 27.1653 | 0 | 372.326 | 25.8 | 5.33
28 | 27/10/2013 | 6:00:00 p.m. | 6831914 | 249545 | 27.4848 | 0 | 372.827 | 23.7 | 5.33
29 | 27/10/2013 | 7:00:00 p.m. | 6832218 | 249556 | 27.7548 | 0 | 373.583 | 21.2 | 5.32
30 | 27/10/2013 | 8:00:00 p.m. | 6832560 | 249569 | 27.8651 | 0 | 373.426 | 19.4 | 5.32
31 | 27/10/2013 | 9:00:00 p.m. | 6832955 | 249583 | 28.0861 | 0 | 373.219 | 18 | 5.32
32 | 27/10/2013 | 10:00:00 p.m. | 6833323 | 249596 | 28.1377 | 0 | 373.27 | 17.1 | 5.31
33 | 27/10/2013 | 11:00:00 p.m. | 6833695 | 249609 | 28.1691 | 0 | 373.504 | 17 | 5.31
34 | 28/10/2013 | 12:00:00 a.m. | 6834075 | 249623 | 28.1868 | 0 | 373.75 | 16.7 | 5.31
35 | 28/10/2013 | 1:00:00 a.m. | 6834496 | 249638 | 28.2558 | 0 | 373.575 | 16.1 | 5.31
36 | 28/10/2013 | 2:00:00 a.m. | 6834867 | 249651 | 28.3067 | 0 | 373.559 | 15.6 | 5.31
37 | 28/10/2013 | 3:00:00 a.m. | 6835324 | 249667 | 28.4759 | 0 | 373.552 | 15 | 5.31
38 | 28/10/2013 | 4:00:00 a.m. | 6835753 | 249682 | 28.4135 | 0 | 373.62 | 14.8 | 5.31
39 | 28/10/2013 | 5:00:00 a.m. | 6836267 | 249700 | 28.419 | 0 | 372.933 | 14.6 | 5.31
40 | 28/10/2013 | 6:00:00 a.m. | 6836764 | 249717 | 28.4548 | 0 | 372.953 | 14.4 | 5.31
41 | 28/10/2013 | 7:00:00 a.m. | 6837231 | 249734 | 28.2345 | 0 | 371.631 | 14 | 5.31
42 | 28/10/2013 | 8:00:00 a.m. | 6837733 | 249752 | 28.1037 | 0 | 370.538 | 14.5 | 5.31
43 | 28/10/2013 | 9:00:00 a.m. | 6838219 | 249769 | 27.8079 | 0 | 370.455 | 16.7 | 5.31
44 | 28/10/2013 | 10:00:00 a.m. | 6838699 | 249787 | 27.1689 | 0 | 369.49 | 20.4 | 5.32
45 | 28/10/2013 | 11:00:00 a.m. | 6839196 | 249805 | 27.0006 | 0 | 368.376 | 23.2 | 5.33
46 | 28/10/2013 | 12:00:00 p.m. | 6839731 | 249825 | 26.7975 | 0 | 368.388 | 24.5 | 5.33
47 | 28/10/2013 | 1:00:00 p.m. | 6840276 | 249845 | 26.6961 | 0 | 368.154 | 26.1 | 5.33
48 | 28/10/2013 | 2:00:00 p.m. | 6840598 | 249857 | 26.5719 | 0 | 369.241 | 27.5 | 5.33
49 | 28/10/2013 | 3:00:00 p.m. | 6840861 | 249867 | 26.5285 | 0 | 369.689 | 28.2 | 5.33
50 | 28/10/2013 | 4:00:00 p.m. | 6841129 | 249877 | 26.5457 | 0 | 370.278 | 28.6 | 5.33
51 | 28/10/2013 | 5:00:00 p.m. | 6841401 | 249888 | 26.7623 | 0 | 370.166 | 27.8 | 5.33
52 | 28/10/2013 | 6:00:00 p.m. | 6841703 | 249899 | 27.2177 | 0 | 371.192 | 25.6 | 5.33
53 | 28/10/2013 | 7:00:00 p.m. | 6842032 | 249911 | 27.5568 | 0 | 372.204 | 22.3 | 5.33
54 | 28/10/2013 | 8:00:00 p.m. | 6842368 | 249923 | 27.7525 | 0 | 373.135 | 20.3 | 5.32
55 | 28/10/2013 | 9:00:00 p.m. | 6842743 | 249936 | 27.9104 | 0 | 372.818 | 19.5 | 5.32
56 | 28/10/2013 | 10:00:00 p.m. | 6843122 | 249950 | 27.8109 | 0 | 372.774 | 18.5 | 5.32
57 | 28/10/2013 | 11:00:00 p.m. | 6843461 | 249962 | 28.0704 | 0 | 373.02 | 17.9 | 5.31
58 | 29/10/2013 | 12:00:00 a.m. | 6843789 | 249974 | 28.0247 | 0 | 373.165 | 17.4 | 5.31
59 | 29/10/2013 | 1:00:00 a.m. | 6844132 | 249986 | 28.1552 | 0 | 373.323 | 17 | 5.31
60 | 29/10/2013 | 2:00:00 a.m. | 6844508 | 249999 | 28.2938 | 0 | 373.278 | 16 | 5.31
61 | 29/10/2013 | 3:00:00 a.m. | 6844904 | 250013 | 28.3347 | 0 | 373.113 | 15.7 | 5.31
62 | 29/10/2013 | 4:00:00 a.m. | 6845346 | 250029 | 28.385 | 0 | 373.367 | 15.2 | 5.31
63 | 29/10/2013 | 5:00:00 a.m. | 6845831 | 250046 | 28.332 | 0 | 373.129 | 14.8 | 5.31
64 | 29/10/2013 | 6:00:00 a.m. | 6846308 | 250063 | 28.4911 | 0 | 373.059 | 14.6 | 5.31
65 | 29/10/2013 | 7:00:00 a.m. | 6846801 | 250080 | 28.1986 | 0 | 371.794 | 14 | 5.31
66 | 29/10/2013 | 8:00:00 a.m. | 6847292 | 250098 | 27.9684 | 0 | 371.469 | 15.3 | 5.31
67 | 29/10/2013 | 9:00:00 a.m. | 6847785 | 250115 | 27.4051 | 0 | 370.93 | 18.7 | 5.31
68 | 29/10/2013 | 10:00:00 a.m. | 6848286 | 250134 | 27.0941 | 0 | 368.627 | 21.6 | 5.32
69 | 29/10/2013 | 11:00:00 a.m. | 6848765 | 250152 | 26.9691 | 0 | 368.592 | 23.1 | 5.33
70 | 29/10/2013 | 12:00:00 p.m. | 6849258 | 250170 | 26.7848 | 0 | 368.276 | 24.9 | 5.33
71 | 29/10/2013 | 1:00:00 p.m. | 6849770 | 250189 | 26.5601 | 0 | 367.414 | 26.1 | 5.33
72 | 29/10/2013 | 2:00:00 p.m. | 6850243 | 250207 | 26.3795 | 0 | 367.651 | 28.1 | 5.33
73 | 29/10/2013 | 3:00:00 p.m. | 6850683 | 250224 | 26.2981 | 0 | 368.528 | 29.6 | 5.34
74 | 29/10/2013 | 4:00:00 p.m. | 6851027 | 250237 | 26.2928 | 0 | 369.055 | 30.2 | 5.34
75 | 29/10/2013 | 5:00:00 p.m. | 6851298 | 250247 | 26.6183 | 0 | 370.049 | 29.4 | 5.34
76 | 29/10/2013 | 6:00:00 p.m. | 6851601 | 250258 | 27.1035 | 0 | 371.321 | 26.6 | 5.33
77 | 29/10/2013 | 7:00:00 p.m. | 6851892 | 250269 | 27.2739 | 0 | 372.056 | 24.7 | 5.33
78 | 29/10/2013 | 8:00:00 p.m. | 6852188 | 250280 | 27.4751 | 0 | 373.268 | 23.2 | 5.33
79 | 29/10/2013 | 9:00:00 p.m. | 6852546 | 250293 | 27.6036 | 0 | 372.688 | 21.4 | 5.33
80 | 29/10/2013 | 10:00:00 p.m. | 6852864 | 250304 | 27.7679 | 0 | 372.524 | 20.2 | 5.32
81 | 29/10/2013 | 11:00:00 p.m. | 6853209 | 250317 | 27.8005 | 0 | 372.985 | 19.7 | 5.32
82 | 30/10/2013 | 12:00:00 a.m. | 6853527 | 250328 | 28.0993 | 0 | 373.525 | 18.4 | 5.32
83 | 30/10/2013 | 1:00:00 a.m. | 6853892 | 250341 | 27.9535 | 0 | 372.773 | 17.6 | 5.31
84 | 30/10/2013 | 2:00:00 a.m. | 6854283 | 250355 | 27.9801 | 0 | 372.536 | 17.6 | 5.31
85 | 30/10/2013 | 3:00:00 a.m. | 6854675 | 250369 | 27.9543 | 0 | 372.536 | 17.8 | 5.31
86 | 30/10/2013 | 4:00:00 a.m. | 6855114 | 250385 | 28.0688 | 0 | 372.499 | 17.5 | 5.31
87 | 30/10/2013 | 5:00:00 a.m. | 6855580 | 250401 | 28.0371 | 0 | 372.488 | 17.3 | 5.31
88 | 30/10/2013 | 6:00:00 a.m. | 6856038 | 250418 | 28.0602 | 0 | 371.718 | 17.2 | 5.31
89 | 30/10/2013 | 7:00:00 a.m. | 6856490 | 250434 | 27.8599 | 0 | 370.135 | 17 | 5.31
90 | 30/10/2013 | 8:00:00 a.m. | 6856932 | 250450 | 27.6626 | 0 | 370.442 | 17.6 | 5.31
91 | 30/10/2013 | 9:00:00 a.m. | 6857384 | 250466 | 27.4154 | 0 | 370.364 | 19.4 | 5.31
92 | 30/10/2013 | 10:00:00 a.m. | 6857822 | 250482 | 26.9901 | 0 | 369.516 | 22.5 | 5.32
93 | 30/10/2013 | 11:00:00 a.m. | 6858248 | 250498 | 26.739 | 0 | 368.998 | 24.3 | 5.33
94 | 30/10/2013 | 12:00:00 p.m. | 6858665 | 250514 | 26.5102 | 0 | 368.651 | 27.5 | 5.33
95 | 30/10/2013 | 1:00:00 p.m. | 6859066 | 250529 | 26.5708 | 0 | 369.051 | 28.3 | 5.34
96 | 30/10/2013 | 2:00:00 p.m. | 6859500 | 250545 | 26.3309 | 0 | 368.614 | 28.3 | 5.34
97 | 30/10/2013 | 3:00:00 p.m. | 6859925 | 250561 | 26.6242 | 0 | 368.419 | 27.6 | 5.33
98 | 30/10/2013 | 4:00:00 p.m. | 6860354 | 250578 | 26.5587 | 0 | 369.329 | 27.2 | 5.33
99 | 30/10/2013 | 5:00:00 p.m. | 6860862 | 250596 | 27.0098 | 0 | 369.559 | 25.6 | 5.33
100 | 30/10/2013 | 6:00:00 p.m. | 6861424 | 250617 | 27.1831 | 0 | 369.652 | 23.1 | 5.33
101 | 30/10/2013 | 7:00:00 p.m. | 6862021 | 250639 | 27.3459 | 0 | 369.303 | 21.5 | 5.33
102 | 30/10/2013 | 8:00:00 p.m. | 6862456 | 250655 | 27.6012 | 0 | 370.202 | 21.1 | 5.32
103 | 30/10/2013 | 9:00:00 p.m. | 6862800 | 250667 | 27.867 | 0 | 371.865 | 19.4 | 5.32
104 | 30/10/2013 | 10:00:00 p.m. | 6863095 | 250678 | 27.8576 | 0 | 372.719 | 18.7 | 5.32
105 | 30/10/2013 | 11:00:00 p.m. | 6863430 | 250690 | 27.8682 | 0 | 372.238 | 18.5 | 5.31
106 | 31/10/2013 | 12:00:00 a.m. | 6863787 | 250703 | 27.9108 | 0 | 372.418 | 18.3 | 5.31
107 | 31/10/2013 | 1:00:00 a.m. | 6864159 | 250716 | 28.0294 | 0 | 372.848 | 17.9 | 5.31
108 | 31/10/2013 | 2:00:00 a.m. | 6864535 | 250729 | 28.1101 | 0 | 373.076 | 17.2 | 5.31
109 | 31/10/2013 | 3:00:00 a.m. | 6864892 | 250742 | 28.0812 | 0 | 373.005 | 16.7 | 5.31
110 | 31/10/2013 | 4:00:00 a.m. | 6865288 | 250756 | 28.073 | 0 | 372.305 | 16.6 | 5.31
111 | 31/10/2013 | 5:00:00 a.m. | 6865644 | 250769 | 28.2234 | 0 | 372.813 | 16 | 5.31
112 | 31/10/2013 | 6:00:00 a.m. | 6866030 | 250783 | 28.102 | 0 | 372.519 | 15.9 | 5.31
113 | 31/10/2013 | 7:00:00 a.m. | 6866433 | 250797 | 27.8191 | 0 | 371.181 | 16.5 | 5.31
114 | 31/10/2013 | 8:00:00 a.m. | 6866854 | 250812 | 27.7889 | 0 | 370.084 | 16.8 | 5.31
115 | 31/10/2013 | 9:00:00 a.m. | 6867282 | 250828 | 27.6064 | 0 | 369.77 | 18.8 | 5.31
116 | 31/10/2013 | 10:00:00 a.m. | 6867713 | 250843 | 26.9602 | 0 | 370.14 | 21 | 5.32
117 | 31/10/2013 | 11:00:00 a.m. | 6868139 | 250859 | 27.1205 | 0 | 368.802 | 24 | 5.32
118 | 31/10/2013 | 12:00:00 p.m. | 6868555 | 250874 | 27.0053 | 0 | 369.733 | 22.6 | 5.32
119 | 31/10/2013 | 1:00:00 p.m. | 6868977 | 250890 | 26.6031 | 0 | 368.457 | 25.8 | 5.33
120 | 31/10/2013 | 2:00:00 p.m. | 6869380 | 250905 | 26.3975 | 0 | 368.037 | 27.7 | 5.33
121 | 31/10/2013 | 3:00:00 p.m. | 6869783 | 250921 | 26.5924 | 0 | 368.8 | 28.3 | 5.33
122 | 31/10/2013 | 4:00:00 p.m. | 6870200 | 250936 | 26.7842 | 0 | 369.753 | 26.9 | 5.33
123 | 31/10/2013 | 5:00:00 p.m. | 6870646 | 250953 | 26.8303 | 0 | 370.396 | 27.4 | 5.33
124 | 31/10/2013 | 6:00:00 p.m. | 6871119 | 250970 | 27.1717 | 0 | 370.873 | 25.3 | 5.33
125 | 31/10/2013 | 7:00:00 p.m. | 6871675 | 250991 | 27.4732 | 0 | 371.471 | 23.1 | 5.33
126 | 31/10/2013 | 8:00:00 p.m. | 6872213 | 251010 | 27.7186 | 0 | 372.322 | 20.8 | 5.32
127 | 31/10/2013 | 9:00:00 p.m. | 6872752 | 251030 | 27.8015 | 0 | 372.29 | 19.3 | 5.32
128 | 31/10/2013 | 10:00:00 p.m. | 6873191 | 251045 | 27.8423 | 0 | 372.892 | 19.3 | 5.31
129 | 31/10/2013 | 11:00:00 p.m. | 6873580 | 251059 | 27.7887 | 0 | 372.941 | 19.3 | 5.31
130 | 01/11/2013 | 12:00:00 a.m. | 6873908 | 251071 | 27.7781 | 0 | 372.968 | 19.6 | 5.31
131 | 01/11/2013 | 1:00:00 a.m. | 6874241 | 251083 | 27.7654 | 0 | 372.286 | 19.6 | 5.31
132 | 01/11/2013 | 2:00:00 a.m. | 6874552 | 251094 | 27.7794 | 0 | 372.455 | 19.4 | 5.31
133 | 01/11/2013 | 3:00:00 a.m. | 6874916 | 251108 | 27.8393 | 0 | 372.287 | 18.9 | 5.31
134 | 01/11/2013 | 4:00:00 a.m. | 6875268 | 251120 | 27.9583 | 0 | 372.36 | 17.9 | 5.31
135 | 01/11/2013 | 5:00:00 a.m. | 6875643 | 251134 | 28.022 | 0 | 372.006 | 17.8 | 5.31
136 | 01/11/2013 | 6:00:00 a.m. | 6876013 | 251147 | 28.0339 | 0 | 372.979 | 17.6 | 5.31
137 | 01/11/2013 | 7:00:00 a.m. | 6876351 | 251159 | 27.8769 | 0 | 372.19 | 17.5 | 5.31
138 | 01/11/2013 | 8:00:00 a.m. | 6876724 | 251172 | 27.6547 | 0 | 370.845 | 17.9 | 5.31
139 | 01/11/2013 | 9:00:00 a.m. | 6877106 | 251186 | 26.9521 | 0 | 370.513 | 21.9 | 5.32
140 | 01/11/2013 | 10:00:00 a.m. | 6877490 | 251201 | 26.6745 | 0 | 369.448 | 26 | 5.33