## covemex 07 29 13 horario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 168
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 22/07/2013 | 9:00:00 a.m. | 973229 | 211908 | 28.9994 | 0 | 396.879 | 23.2 | 5.66
2 | 22/07/2013 | 10:00:00 a.m. | 973351 | 211912 | 28.8079 | 0 | 396.176 | 24.7 | 5.68
3 | 22/07/2013 | 11:00:00 a.m. | 973475 | 211916 | 28.9078 | 0 | 395.639 | 25.4 | 5.69
4 | 22/07/2013 | 12:00:00 p.m. | 973598 | 211921 | 28.6862 | 0 | 395.129 | 25.9 | 5.7
5 | 22/07/2013 | 1:00:00 p.m. | 973722 | 211925 | 28.751 | 0 | 395.177 | 26.3 | 5.69
6 | 22/07/2013 | 2:00:00 p.m. | 973845 | 211929 | 28.6641 | 0 | 394.771 | 26.4 | 5.7
7 | 22/07/2013 | 3:00:00 p.m. | 973971 | 211934 | 28.7181 | 0 | 394.43 | 26.5 | 5.7
8 | 22/07/2013 | 4:00:00 p.m. | 974099 | 211938 | 28.6192 | 0 | 393.682 | 26.8 | 5.69
9 | 22/07/2013 | 5:00:00 p.m. | 974228 | 211943 | 28.7922 | 0 | 395.757 | 26 | 5.69
10 | 22/07/2013 | 6:00:00 p.m. | 974358 | 211947 | 28.9652 | 0 | 396.274 | 25.5 | 5.69
11 | 22/07/2013 | 7:00:00 p.m. | 974489 | 211952 | 29.0544 | 0 | 396.286 | 25.1 | 5.68
12 | 22/07/2013 | 8:00:00 p.m. | 974618 | 211956 | 29.4564 | 0 | 397.749 | 22.8 | 5.65
13 | 22/07/2013 | 9:00:00 p.m. | 974747 | 211960 | 29.3923 | 0 | 396.449 | 21.7 | 5.62
14 | 22/07/2013 | 10:00:00 p.m. | 974876 | 211965 | 29.4677 | 0 | 398.161 | 21.9 | 5.6
15 | 22/07/2013 | 11:00:00 p.m. | 975005 | 211969 | 29.3363 | 0 | 397.075 | 22.2 | 5.59
16 | 23/07/2013 | 12:00:00 a.m. | 975137 | 211974 | 29.4075 | 0 | 397.209 | 22.5 | 5.6
17 | 23/07/2013 | 1:00:00 a.m. | 975266 | 211978 | 29.1611 | 0 | 397.066 | 22.5 | 5.59
18 | 23/07/2013 | 2:00:00 a.m. | 975395 | 211983 | 29.2412 | 0 | 396.967 | 22.3 | 5.6
19 | 23/07/2013 | 3:00:00 a.m. | 975527 | 211987 | 29.3728 | 0 | 397.931 | 22.3 | 5.59
20 | 23/07/2013 | 4:00:00 a.m. | 975654 | 211991 | 29.4252 | 0 | 399.019 | 22.2 | 5.6
21 | 23/07/2013 | 5:00:00 a.m. | 975769 | 211995 | 29.399 | 0 | 397.531 | 22 | 5.58
22 | 23/07/2013 | 6:00:00 a.m. | 975789 | 211996 | 29.9217 | 0 | 398.662 | 19.9 | 5.59
23 | 23/07/2013 | 7:00:00 a.m. | 975795 | 211996 | 30.107 | 0 | 398.858 | 17.9 | 5.6
24 | 23/07/2013 | 8:00:00 a.m. | 975848 | 211998 | 29.2725 | 0 | 397.975 | 19.6 | 5.62
25 | 23/07/2013 | 9:00:00 a.m. | 975979 | 212002 | 29.1536 | 0 | 396.478 | 23.7 | 5.66
26 | 23/07/2013 | 10:00:00 a.m. | 976104 | 212007 | 28.9233 | 0 | 396.541 | 24.7 | 5.69
27 | 23/07/2013 | 11:00:00 a.m. | 976228 | 212011 | 28.6691 | 0 | 395.395 | 25.4 | 5.69
28 | 23/07/2013 | 12:00:00 p.m. | 976352 | 212015 | 28.5999 | 0 | 394.946 | 25.7 | 5.69
29 | 23/07/2013 | 1:00:00 p.m. | 976478 | 212020 | 28.6945 | 0 | 395.145 | 26.2 | 5.69
30 | 23/07/2013 | 2:00:00 p.m. | 976607 | 212024 | 28.6507 | 0 | 394.159 | 26.4 | 5.69
31 | 23/07/2013 | 3:00:00 p.m. | 976738 | 212029 | 28.5262 | 0 | 393.981 | 26.7 | 5.7
32 | 23/07/2013 | 4:00:00 p.m. | 976864 | 212033 | 28.6445 | 0 | 394.472 | 27 | 5.71
33 | 23/07/2013 | 5:00:00 p.m. | 976995 | 212038 | 28.6596 | 0 | 394.979 | 27 | 5.71
34 | 23/07/2013 | 6:00:00 p.m. | 977124 | 212042 | 28.7242 | 0 | 394.921 | 26.8 | 5.71
35 | 23/07/2013 | 7:00:00 p.m. | 977257 | 212047 | 28.8197 | 0 | 397.136 | 26 | 5.7
36 | 23/07/2013 | 8:00:00 p.m. | 977391 | 212052 | 29.2332 | 0 | 398.458 | 24.8 | 5.69
37 | 23/07/2013 | 9:00:00 p.m. | 977520 | 212056 | 29.1017 | 0 | 399.152 | 24 | 5.65
38 | 23/07/2013 | 10:00:00 p.m. | 977649 | 212060 | 29.3392 | 0 | 398.57 | 23.4 | 5.64
39 | 23/07/2013 | 11:00:00 p.m. | 977777 | 212065 | 29.2538 | 0 | 397.487 | 22.9 | 5.63
40 | 24/07/2013 | 12:00:00 a.m. | 977886 | 212068 | 29.4548 | 0 | 398.954 | 22.4 | 5.62
41 | 24/07/2013 | 1:00:00 a.m. | 977990 | 212072 | 29.512 | 0 | 400.15 | 22.1 | 5.6
42 | 24/07/2013 | 2:00:00 a.m. | 978102 | 212076 | 29.5604 | 0 | 399.05 | 22.3 | 5.59
43 | 24/07/2013 | 3:00:00 a.m. | 978214 | 212080 | 29.368 | 0 | 399.107 | 22.2 | 5.6
44 | 24/07/2013 | 4:00:00 a.m. | 978329 | 212083 | 29.4253 | 0 | 398.439 | 22 | 5.59
45 | 24/07/2013 | 5:00:00 a.m. | 978432 | 212087 | 29.6163 | 0 | 399.709 | 21.9 | 5.6
46 | 24/07/2013 | 6:00:00 a.m. | 978447 | 212087 | 30.1518 | 0 | 399.927 | 19.5 | 5.6
47 | 24/07/2013 | 7:00:00 a.m. | 978450 | 212088 | 30.114 | 0 | 400.919 | 17.4 | 5.59
48 | 24/07/2013 | 8:00:00 a.m. | 978504 | 212089 | 29.2823 | 0 | 399.676 | 19.6 | 5.63
49 | 24/07/2013 | 9:00:00 a.m. | 978612 | 212093 | 29.0684 | 0 | 398.043 | 23.5 | 5.68
50 | 24/07/2013 | 10:00:00 a.m. | 978745 | 212098 | 28.8313 | 0 | 396.778 | 24.8 | 5.68
51 | 24/07/2013 | 11:00:00 a.m. | 978881 | 212102 | 28.8583 | 0 | 396.786 | 25.7 | 5.68
52 | 24/07/2013 | 12:00:00 p.m. | 979014 | 212107 | 28.7761 | 0 | 396.03 | 25.9 | 5.69
53 | 24/07/2013 | 1:00:00 p.m. | 979143 | 212111 | 28.9456 | 0 | 396.664 | 26.3 | 5.7
54 | 24/07/2013 | 2:00:00 p.m. | 979264 | 212116 | 28.6577 | 0 | 396.325 | 26.6 | 5.73
55 | 24/07/2013 | 3:00:00 p.m. | 979393 | 212120 | 28.6571 | 0 | 394.846 | 26.9 | 5.71
56 | 24/07/2013 | 4:00:00 p.m. | 979524 | 212125 | 28.5565 | 0 | 395.442 | 27.1 | 5.71
57 | 24/07/2013 | 5:00:00 p.m. | 979656 | 212129 | 28.7713 | 0 | 395.482 | 27 | 5.71
58 | 24/07/2013 | 6:00:00 p.m. | 979794 | 212134 | 28.8524 | 0 | 395.883 | 26.3 | 5.7
59 | 24/07/2013 | 7:00:00 p.m. | 979924 | 212139 | 29.0383 | 0 | 396.395 | 24.9 | 5.68
60 | 24/07/2013 | 8:00:00 p.m. | 980055 | 212143 | 29.8177 | 0 | 398.964 | 21.1 | 5.64
61 | 24/07/2013 | 9:00:00 p.m. | 980155 | 212146 | 29.4986 | 0 | 398.33 | 20.7 | 5.59
62 | 24/07/2013 | 10:00:00 p.m. | 980285 | 212151 | 29.4855 | 0 | 398.063 | 21.3 | 5.6
63 | 24/07/2013 | 11:00:00 p.m. | 980415 | 212155 | 29.4752 | 0 | 398.726 | 21.2 | 5.6
64 | 25/07/2013 | 12:00:00 a.m. | 980542 | 212160 | 29.5726 | 0 | 397.64 | 21.1 | 5.61
65 | 25/07/2013 | 1:00:00 a.m. | 980672 | 212164 | 29.4486 | 0 | 397.779 | 21.2 | 5.6
66 | 25/07/2013 | 2:00:00 a.m. | 980802 | 212168 | 29.463 | 0 | 397.133 | 21.3 | 5.6
67 | 25/07/2013 | 3:00:00 a.m. | 980925 | 212173 | 29.294 | 0 | 396.529 | 21.3 | 5.6
68 | 25/07/2013 | 4:00:00 a.m. | 981061 | 212177 | 29.5265 | 0 | 397.475 | 21.6 | 5.59
69 | 25/07/2013 | 5:00:00 a.m. | 981184 | 212181 | 29.4865 | 0 | 396.781 | 21.6 | 5.6
70 | 25/07/2013 | 6:00:00 a.m. | 981190 | 212182 | 29.8117 | 0 | 398.029 | 19.5 | 5.6
71 | 25/07/2013 | 7:00:00 a.m. | 981193 | 212182 | 29.8309 | 0 | 397.771 | 18.2 | 5.59
72 | 25/07/2013 | 8:00:00 a.m. | 981237 | 212183 | 29.5039 | 0 | 396.876 | 18.6 | 5.61
73 | 25/07/2013 | 9:00:00 a.m. | 981371 | 212188 | 28.9658 | 0 | 395.563 | 22.4 | 5.64
74 | 25/07/2013 | 10:00:00 a.m. | 981502 | 212192 | 28.9275 | 0 | 395.149 | 23.8 | 5.67
75 | 25/07/2013 | 11:00:00 a.m. | 981638 | 212197 | 28.9609 | 0 | 396.57 | 24.4 | 5.69
76 | 25/07/2013 | 12:00:00 p.m. | 981771 | 212202 | 28.8927 | 0 | 395.894 | 25 | 5.69
77 | 25/07/2013 | 1:00:00 p.m. | 981901 | 212206 | 28.6188 | 0 | 395.396 | 25.6 | 5.69
78 | 25/07/2013 | 2:00:00 p.m. | 982030 | 212211 | 28.6578 | 0 | 394.458 | 25.7 | 5.69
79 | 25/07/2013 | 3:00:00 p.m. | 982165 | 212215 | 28.4299 | 0 | 393.543 | 26 | 5.7
80 | 25/07/2013 | 4:00:00 p.m. | 982296 | 212220 | 28.5063 | 0 | 392.584 | 26.1 | 5.71
81 | 25/07/2013 | 5:00:00 p.m. | 982424 | 212224 | 28.5439 | 0 | 393.19 | 26.3 | 5.7
82 | 25/07/2013 | 6:00:00 p.m. | 982551 | 212229 | 28.7468 | 0 | 394.811 | 25.7 | 5.69
83 | 25/07/2013 | 7:00:00 p.m. | 982679 | 212233 | 29.2406 | 0 | 396.898 | 24.2 | 5.68
84 | 25/07/2013 | 8:00:00 p.m. | 982807 | 212238 | 29.2697 | 0 | 396.63 | 23.2 | 5.65
85 | 25/07/2013 | 9:00:00 p.m. | 982936 | 212242 | 29.3464 | 0 | 396.565 | 23 | 5.64
86 | 25/07/2013 | 10:00:00 p.m. | 983061 | 212246 | 29.4235 | 0 | 397.407 | 22.9 | 5.62
87 | 25/07/2013 | 11:00:00 p.m. | 983187 | 212251 | 29.3111 | 0 | 396.974 | 22.7 | 5.63
88 | 26/07/2013 | 12:00:00 a.m. | 983316 | 212255 | 29.3873 | 0 | 397.142 | 22.6 | 5.63
89 | 26/07/2013 | 1:00:00 a.m. | 983442 | 212259 | 29.2229 | 0 | 398.027 | 22.3 | 5.61
90 | 26/07/2013 | 2:00:00 a.m. | 983569 | 212264 | 29.4614 | 0 | 397.889 | 22.3 | 5.61
91 | 26/07/2013 | 3:00:00 a.m. | 983698 | 212268 | 29.3208 | 0 | 396.439 | 22.2 | 5.61
92 | 26/07/2013 | 4:00:00 a.m. | 983824 | 212272 | 29.3173 | 0 | 397.371 | 22.1 | 5.59
93 | 26/07/2013 | 5:00:00 a.m. | 983944 | 212276 | 29.3539 | 0 | 396.613 | 21.9 | 5.6
94 | 26/07/2013 | 6:00:00 a.m. | 983962 | 212277 | 29.834 | 0 | 397.469 | 20 | 5.6
95 | 26/07/2013 | 7:00:00 a.m. | 983968 | 212277 | 29.8276 | 0 | 397.422 | 17.9 | 5.6
96 | 26/07/2013 | 8:00:00 a.m. | 984000 | 212278 | 29.2748 | 0 | 396.717 | 19 | 5.64
97 | 26/07/2013 | 9:00:00 a.m. | 984117 | 212282 | 29.0067 | 0 | 395.521 | 23 | 5.67
98 | 26/07/2013 | 10:00:00 a.m. | 984249 | 212287 | 28.6905 | 0 | 392.361 | 24.8 | 5.69
99 | 26/07/2013 | 11:00:00 a.m. | 984378 | 212291 | 28.6784 | 0 | 395.386 | 25.6 | 5.7
100 | 26/07/2013 | 12:00:00 p.m. | 984504 | 212296 | 28.5317 | 0 | 393.707 | 25.9 | 5.7
101 | 26/07/2013 | 1:00:00 p.m. | 984627 | 212300 | 28.6313 | 0 | 393.574 | 26.2 | 5.7
102 | 26/07/2013 | 2:00:00 p.m. | 984750 | 212304 | 28.4504 | 0 | 393.341 | 26.5 | 5.7
103 | 26/07/2013 | 3:00:00 p.m. | 984875 | 212309 | 28.4169 | 0 | 393.204 | 26.9 | 5.71
104 | 26/07/2013 | 4:00:00 p.m. | 984997 | 212313 | 28.423 | 0 | 393.089 | 26.9 | 5.71
105 | 26/07/2013 | 5:00:00 p.m. | 985121 | 212317 | 28.969 | 0 | 393.357 | 25.1 | 5.69
106 | 26/07/2013 | 6:00:00 p.m. | 985247 | 212322 | 28.7562 | 0 | 394.023 | 24.8 | 5.68
107 | 26/07/2013 | 7:00:00 p.m. | 985372 | 212326 | 28.9689 | 0 | 395.192 | 24.9 | 5.68
108 | 26/07/2013 | 8:00:00 p.m. | 985496 | 212330 | 29.0482 | 0 | 395.945 | 24 | 5.67
109 | 26/07/2013 | 9:00:00 p.m. | 985618 | 212335 | 29.169 | 0 | 395.91 | 23.7 | 5.66
110 | 26/07/2013 | 10:00:00 p.m. | 985741 | 212339 | 29.1565 | 0 | 395.884 | 23.4 | 5.65
111 | 26/07/2013 | 11:00:00 p.m. | 985834 | 212342 | 29.2447 | 0 | 395.604 | 22.7 | 5.64
112 | 27/07/2013 | 12:00:00 a.m. | 985919 | 212345 | 29.3031 | 0 | 396.812 | 21.9 | 5.62
113 | 27/07/2013 | 1:00:00 a.m. | 985999 | 212348 | 29.4864 | 0 | 397.367 | 21.4 | 5.61
114 | 27/07/2013 | 2:00:00 a.m. | 986084 | 212350 | 29.2795 | 0 | 396.278 | 21.2 | 5.6
115 | 27/07/2013 | 3:00:00 a.m. | 986163 | 212353 | 29.4331 | 0 | 396.972 | 20.9 | 5.59
116 | 27/07/2013 | 4:00:00 a.m. | 986249 | 212356 | 29.4943 | 0 | 396.313 | 20.8 | 5.59
117 | 27/07/2013 | 5:00:00 a.m. | 986317 | 212358 | 29.7286 | 0 | 398.459 | 20.5 | 5.59
118 | 27/07/2013 | 6:00:00 a.m. | 986320 | 212358 | 30.1019 | 0 | 399.004 | 17.4 | 5.58
119 | 27/07/2013 | 7:00:00 a.m. | 986326 | 212359 | 30.2168 | 0 | 398.539 | 16 | 5.59
120 | 27/07/2013 | 8:00:00 a.m. | 986362 | 212360 | 29.3226 | 0 | 398.012 | 17.7 | 5.62
121 | 27/07/2013 | 9:00:00 a.m. | 986487 | 212364 | 28.9551 | 0 | 395.622 | 23.2 | 5.67
122 | 27/07/2013 | 10:00:00 a.m. | 986608 | 212368 | 28.8243 | 0 | 394.947 | 24.9 | 5.69
123 | 27/07/2013 | 11:00:00 a.m. | 986728 | 212373 | 28.608 | 0 | 393.906 | 25.9 | 5.7
124 | 27/07/2013 | 12:00:00 p.m. | 986848 | 212377 | 28.4791 | 0 | 394.482 | 26.5 | 5.71
125 | 27/07/2013 | 1:00:00 p.m. | 986971 | 212381 | 28.5333 | 0 | 394.558 | 26.8 | 5.7
126 | 27/07/2013 | 2:00:00 p.m. | 987091 | 212385 | 28.5102 | 0 | 393.871 | 26.9 | 5.72
127 | 27/07/2013 | 3:00:00 p.m. | 987211 | 212389 | 28.4774 | 0 | 394.323 | 27 | 5.71
128 | 27/07/2013 | 4:00:00 p.m. | 987334 | 212394 | 28.4735 | 0 | 393.548 | 27.2 | 5.71
129 | 27/07/2013 | 5:00:00 p.m. | 987456 | 212398 | 28.5597 | 0 | 393.913 | 27.2 | 5.71
130 | 27/07/2013 | 6:00:00 p.m. | 987585 | 212403 | 28.6641 | 0 | 394.28 | 26.9 | 5.7
131 | 27/07/2013 | 7:00:00 p.m. | 987711 | 212407 | 28.9876 | 0 | 396.242 | 26 | 5.7
132 | 27/07/2013 | 8:00:00 p.m. | 987839 | 212411 | 28.9046 | 0 | 397.458 | 24.6 | 5.68
133 | 27/07/2013 | 9:00:00 p.m. | 987965 | 212416 | 29.1553 | 0 | 397.153 | 23.9 | 5.66
134 | 27/07/2013 | 10:00:00 p.m. | 988090 | 212420 | 29.2316 | 0 | 397.357 | 23.6 | 5.65
135 | 27/07/2013 | 11:00:00 p.m. | 988213 | 212424 | 29.1504 | 0 | 397.828 | 23.3 | 5.64
136 | 28/07/2013 | 12:00:00 a.m. | 988315 | 212428 | 29.3954 | 0 | 396.183 | 22.9 | 5.64
137 | 28/07/2013 | 1:00:00 a.m. | 988315 | 212428 | 29.5243 | 0 | 397.307 | 21.6 | 5.62
138 | 28/07/2013 | 2:00:00 a.m. | 988318 | 212428 | 29.5884 | 0 | 397.327 | 20.4 | 5.61
139 | 28/07/2013 | 3:00:00 a.m. | 988321 | 212428 | 29.7575 | 0 | 397.811 | 19.5 | 5.62
140 | 28/07/2013 | 4:00:00 a.m. | 988321 | 212428 | 29.9032 | 0 | 397.971 | 18.6 | 5.6
141 | 28/07/2013 | 5:00:00 a.m. | 988324 | 212428 | 29.9662 | 0 | 397.31 | 17.8 | 5.59
142 | 28/07/2013 | 6:00:00 a.m. | 988324 | 212428 | 29.9832 | 0 | 398.152 | 17.4 | 5.6
143 | 28/07/2013 | 7:00:00 a.m. | 988324 | 212428 | 30.1443 | 0 | 398.289 | 16.8 | 5.6
144 | 28/07/2013 | 8:00:00 a.m. | 988327 | 212428 | 29.8236 | 0 | 397.733 | 17.4 | 5.61
145 | 28/07/2013 | 9:00:00 a.m. | 988423 | 212431 | 28.8499 | 0 | 396.193 | 22.6 | 5.67
146 | 28/07/2013 | 10:00:00 a.m. | 988550 | 212436 | 28.7965 | 0 | 395.04 | 24.9 | 5.69
147 | 28/07/2013 | 11:00:00 a.m. | 988677 | 212440 | 28.7262 | 0 | 394.631 | 25.7 | 5.69
148 | 28/07/2013 | 12:00:00 p.m. | 988803 | 212445 | 28.7202 | 0 | 394.358 | 26.1 | 5.68
149 | 28/07/2013 | 1:00:00 p.m. | 988929 | 212449 | 28.6238 | 0 | 393.846 | 26.3 | 5.69
150 | 28/07/2013 | 2:00:00 p.m. | 989052 | 212453 | 28.5472 | 0 | 394.555 | 26.4 | 5.7
151 | 28/07/2013 | 3:00:00 p.m. | 989172 | 212457 | 28.6525 | 0 | 393.835 | 26.7 | 5.7
152 | 28/07/2013 | 4:00:00 p.m. | 989295 | 212462 | 28.5753 | 0 | 393.984 | 26 | 5.7
153 | 28/07/2013 | 5:00:00 p.m. | 989418 | 212466 | 28.634 | 0 | 394.321 | 26.6 | 5.7
154 | 28/07/2013 | 6:00:00 p.m. | 989530 | 212470 | 28.8403 | 0 | 394.882 | 26.1 | 5.7
155 | 28/07/2013 | 7:00:00 p.m. | 989616 | 212473 | 28.8915 | 0 | 396.409 | 25.3 | 5.69
156 | 28/07/2013 | 8:00:00 p.m. | 989703 | 212476 | 29.049 | 0 | 395.813 | 23.9 | 5.68
157 | 28/07/2013 | 9:00:00 p.m. | 989788 | 212479 | 29.1895 | 0 | 396.063 | 23.3 | 5.64
158 | 28/07/2013 | 10:00:00 p.m. | 989874 | 212482 | 29.6841 | 0 | 397.457 | 20.4 | 5.61
159 | 28/07/2013 | 11:00:00 p.m. | 989959 | 212485 | 29.6371 | 0 | 397.214 | 20.2 | 5.6
160 | 29/07/2013 | 12:00:00 a.m. | 990045 | 212488 | 29.5152 | 0 | 397.562 | 20.6 | 5.59
161 | 29/07/2013 | 1:00:00 a.m. | 990131 | 212490 | 29.8219 | 0 | 398.534 | 20.4 | 5.59
162 | 29/07/2013 | 2:00:00 a.m. | 990217 | 212493 | 29.4543 | 0 | 397.095 | 20.3 | 5.59
163 | 29/07/2013 | 3:00:00 a.m. | 990306 | 212496 | 29.5992 | 0 | 396.417 | 20.2 | 5.58
164 | 29/07/2013 | 4:00:00 a.m. | 990391 | 212499 | 29.5361 | 0 | 396.842 | 20 | 5.59
165 | 29/07/2013 | 5:00:00 a.m. | 990477 | 212502 | 29.8673 | 0 | 397.696 | 19.9 | 5.57
166 | 29/07/2013 | 6:00:00 a.m. | 990519 | 212504 | 30.0978 | 0 | 398.933 | 19.1 | 5.59
167 | 29/07/2013 | 7:00:00 a.m. | 990522 | 212504 | 30.2064 | 0 | 399.719 | 16.9 | 5.59
168 | 29/07/2013 | 8:00:00 a.m. | 990552 | 212505 | 29.67 | 0 | 397.826 | 17.2 | 5.59