## covemex 08 01 13 diario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 4
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 9:00:00 a.m. | 990631 | 212507 | 29.1477 | 0 | 396.26 | 22.7 | 5.6
2 | 30/07/2013 | 9:00:00 a.m. | 993121 | 212593 | 29.1876 | 0 | 396.704 | 22.9 | 5.66
3 | 31/07/2013 | 9:00:00 a.m. | 994377 | 212636 | 29.1896 | 0 | 397.504 | 21.6 | 5.67
4 | 01/08/2013 | 9:00:00 a.m. | 994916 | 212655 | 29.6713 | 0 | 397.061 | 22.6 | 5.66