## covemex 08 01 13 horario mc b
Data Log
Unit Serial Number: | 08/11/46620
Meter/Site ID: | 1149270 COVEMEX
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 72
Fault/Alarms Recorded: | Date | Time | Condition
20 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 10:00:00 a.m. | 990756 | 212512 | 28.9838 | 0 | 395.634 | 23.8 | 5.69
2 | 29/07/2013 | 11:00:00 a.m. | 990883 | 212516 | 28.8584 | 0 | 395.475 | 24.8 | 5.69
3 | 29/07/2013 | 12:00:00 p.m. | 991007 | 212520 | 28.5992 | 0 | 394.579 | 25.5 | 5.7
4 | 29/07/2013 | 1:00:00 p.m. | 991131 | 212525 | 28.7775 | 0 | 394.973 | 25.8 | 5.69
5 | 29/07/2013 | 2:00:00 p.m. | 991254 | 212529 | 28.6403 | 0 | 394.504 | 26.2 | 5.7
6 | 29/07/2013 | 3:00:00 p.m. | 991377 | 212533 | 28.5796 | 0 | 394.497 | 26.5 | 5.72
7 | 29/07/2013 | 4:00:00 p.m. | 991502 | 212538 | 28.6531 | 0 | 394.044 | 26.7 | 5.71
8 | 29/07/2013 | 5:00:00 p.m. | 991626 | 212542 | 28.6226 | 0 | 395.066 | 26 | 5.7
9 | 29/07/2013 | 6:00:00 p.m. | 991750 | 212546 | 28.8277 | 0 | 395.09 | 25.5 | 5.69
10 | 29/07/2013 | 7:00:00 p.m. | 991874 | 212551 | 29.0767 | 0 | 396.606 | 24.9 | 5.69
11 | 29/07/2013 | 8:00:00 p.m. | 991997 | 212555 | 29.2493 | 0 | 397.526 | 24.1 | 5.68
12 | 29/07/2013 | 9:00:00 p.m. | 992120 | 212559 | 29.339 | 0 | 398.772 | 22.3 | 5.64
13 | 29/07/2013 | 10:00:00 p.m. | 992244 | 212563 | 29.326 | 0 | 397.937 | 22.3 | 5.61
14 | 29/07/2013 | 11:00:00 p.m. | 992370 | 212567 | 29.293 | 0 | 397.016 | 22.3 | 5.61
15 | 30/07/2013 | 12:00:00 a.m. | 992493 | 212572 | 29.4229 | 0 | 397.331 | 22.2 | 5.62
16 | 30/07/2013 | 1:00:00 a.m. | 992614 | 212576 | 29.2789 | 0 | 398.141 | 22.1 | 5.6
17 | 30/07/2013 | 2:00:00 a.m. | 992726 | 212580 | 29.6131 | 0 | 398.221 | 21.7 | 5.6
18 | 30/07/2013 | 3:00:00 a.m. | 992820 | 212583 | 29.5865 | 0 | 397.89 | 21.1 | 5.6
19 | 30/07/2013 | 4:00:00 a.m. | 992915 | 212586 | 29.6288 | 0 | 397.573 | 20.8 | 5.59
20 | 30/07/2013 | 5:00:00 a.m. | 992989 | 212588 | 30.0126 | 0 | 398.103 | 20.5 | 5.58
21 | 30/07/2013 | 6:00:00 a.m. | 992992 | 212589 | 30.1393 | 0 | 399.256 | 17.5 | 5.59
22 | 30/07/2013 | 7:00:00 a.m. | 992995 | 212589 | 30.2445 | 0 | 398.547 | 16 | 5.6
23 | 30/07/2013 | 8:00:00 a.m. | 993030 | 212590 | 29.4207 | 0 | 398.067 | 17.6 | 5.62
24 | 30/07/2013 | 9:00:00 a.m. | 993121 | 212593 | 29.1876 | 0 | 396.042 | 22.4 | 5.66
25 | 30/07/2013 | 10:00:00 a.m. | 993214 | 212596 | 28.874 | 0 | 395.892 | 23.8 | 5.68
26 | 30/07/2013 | 11:00:00 a.m. | 993306 | 212599 | 28.7868 | 0 | 395.167 | 24.7 | 5.69
27 | 30/07/2013 | 12:00:00 p.m. | 993393 | 212602 | 28.9072 | 0 | 396.542 | 25.6 | 5.7
28 | 30/07/2013 | 1:00:00 p.m. | 993482 | 212605 | 28.7888 | 0 | 395.97 | 26.2 | 5.69
29 | 30/07/2013 | 2:00:00 p.m. | 993568 | 212608 | 28.6937 | 0 | 395.369 | 26.3 | 5.71
30 | 30/07/2013 | 3:00:00 p.m. | 993655 | 212611 | 28.7614 | 0 | 396.009 | 26.6 | 5.7
31 | 30/07/2013 | 4:00:00 p.m. | 993741 | 212614 | 28.6264 | 0 | 397.182 | 26.8 | 5.7
32 | 30/07/2013 | 5:00:00 p.m. | 993830 | 212618 | 28.7829 | 0 | 395.763 | 26.9 | 5.71
33 | 30/07/2013 | 6:00:00 p.m. | 993916 | 212621 | 28.9384 | 0 | 396.855 | 26.5 | 5.7
34 | 30/07/2013 | 7:00:00 p.m. | 994004 | 212624 | 29.1508 | 0 | 398.944 | 25.3 | 5.69
35 | 30/07/2013 | 8:00:00 p.m. | 994091 | 212627 | 29.164 | 0 | 398.387 | 23.7 | 5.66
36 | 30/07/2013 | 9:00:00 p.m. | 994179 | 212630 | 29.325 | 0 | 398.271 | 23 | 5.66
37 | 30/07/2013 | 10:00:00 p.m. | 994267 | 212633 | 29.5383 | 0 | 397.995 | 22.6 | 5.63
38 | 30/07/2013 | 11:00:00 p.m. | 994323 | 212634 | 29.7699 | 0 | 399.447 | 21.8 | 5.63
39 | 31/07/2013 | 12:00:00 a.m. | 994323 | 212634 | 29.7343 | 0 | 398.157 | 19.7 | 5.61
40 | 31/07/2013 | 1:00:00 a.m. | 994326 | 212635 | 30.0072 | 0 | 397.916 | 18.2 | 5.59
41 | 31/07/2013 | 2:00:00 a.m. | 994326 | 212635 | 30.1562 | 0 | 397.996 | 17.1 | 5.58
42 | 31/07/2013 | 3:00:00 a.m. | 994329 | 212635 | 30.0777 | 0 | 399.367 | 16.4 | 5.6
43 | 31/07/2013 | 4:00:00 a.m. | 994329 | 212635 | 30.2352 | 0 | 398.191 | 16 | 5.59
44 | 31/07/2013 | 5:00:00 a.m. | 994333 | 212635 | 30.2595 | 0 | 398.002 | 15.5 | 5.58
45 | 31/07/2013 | 6:00:00 a.m. | 994333 | 212635 | 30.3932 | 0 | 398.303 | 15 | 5.58
46 | 31/07/2013 | 7:00:00 a.m. | 994336 | 212635 | 30.3411 | 0 | 398.682 | 14.7 | 5.58
47 | 31/07/2013 | 8:00:00 a.m. | 994342 | 212635 | 30.0795 | 0 | 398.239 | 16.3 | 5.63
48 | 31/07/2013 | 9:00:00 a.m. | 994377 | 212636 | 29.1896 | 0 | 397.444 | 19.6 | 5.67
49 | 31/07/2013 | 10:00:00 a.m. | 994467 | 212639 | 28.9716 | 0 | 396.572 | 23.5 | 5.68
50 | 31/07/2013 | 11:00:00 a.m. | 994554 | 212642 | 28.7614 | 0 | 395.839 | 24.9 | 5.68
51 | 31/07/2013 | 12:00:00 p.m. | 994646 | 212646 | 28.7471 | 0 | 395.02 | 25.8 | 5.71
52 | 31/07/2013 | 1:00:00 p.m. | 994738 | 212649 | 28.5342 | 0 | 394.558 | 26.6 | 5.71
53 | 31/07/2013 | 2:00:00 p.m. | 994826 | 212652 | 28.598 | 0 | 394.68 | 26.9 | 5.71
54 | 31/07/2013 | 3:00:00 p.m. | 994880 | 212654 | 28.3821 | 0 | 394.409 | 27.8 | 5.7
55 | 31/07/2013 | 4:00:00 p.m. | 994883 | 212654 | 28.1318 | 0 | 395.448 | 30.4 | 5.7
56 | 31/07/2013 | 5:00:00 p.m. | 994883 | 212654 | 28.2406 | 0 | 395.179 | 30.8 | 5.7
57 | 31/07/2013 | 6:00:00 p.m. | 994886 | 212654 | 28.2877 | 0 | 396.194 | 30.5 | 5.7
58 | 31/07/2013 | 7:00:00 p.m. | 994886 | 212654 | 28.5983 | 0 | 397.303 | 29.6 | 5.69
59 | 31/07/2013 | 8:00:00 p.m. | 994889 | 212654 | 28.8733 | 0 | 397.224 | 27 | 5.68
60 | 31/07/2013 | 9:00:00 p.m. | 994889 | 212654 | 29.1311 | 0 | 397.958 | 25.1 | 5.66
61 | 31/07/2013 | 10:00:00 p.m. | 994892 | 212654 | 29.3457 | 0 | 398.051 | 23.3 | 5.64
62 | 31/07/2013 | 11:00:00 p.m. | 994895 | 212654 | 29.6594 | 0 | 398.77 | 21.5 | 5.64
63 | 01/08/2013 | 12:00:00 a.m. | 994895 | 212654 | 29.652 | 0 | 398.204 | 19.9 | 5.6
64 | 01/08/2013 | 1:00:00 a.m. | 994898 | 212654 | 29.9672 | 0 | 398.045 | 18.8 | 5.61
65 | 01/08/2013 | 2:00:00 a.m. | 994898 | 212654 | 30.0809 | 0 | 399.272 | 17.8 | 5.6
66 | 01/08/2013 | 3:00:00 a.m. | 994901 | 212654 | 30.1197 | 0 | 398.322 | 16.8 | 5.59
67 | 01/08/2013 | 4:00:00 a.m. | 994904 | 212655 | 30.4395 | 0 | 398.931 | 15.9 | 5.59
68 | 01/08/2013 | 5:00:00 a.m. | 994904 | 212655 | 30.2975 | 0 | 398.994 | 15.3 | 5.59
69 | 01/08/2013 | 6:00:00 a.m. | 994904 | 212655 | 30.3304 | 0 | 397.84 | 14.9 | 5.58
70 | 01/08/2013 | 7:00:00 a.m. | 994907 | 212655 | 30.3388 | 0 | 398.232 | 14.8 | 5.59
71 | 01/08/2013 | 8:00:00 a.m. | 994910 | 212655 | 29.8681 | 0 | 397.475 | 16.2 | 5.61
72 | 01/08/2013 | 9:00:00 a.m. | 994916 | 212655 | 29.6713 | 0 | 396.944 | 18.8 | 5.66