## Dlog_1120117 Honda_07-17-2013
Data Log
Unit Serial Number: | 02/11/45783
Meter/Site ID: | 1120117 Honda
Drive Rate | 1 m³/rev
Number of Logs Stored: | 8
Fault/Alarms Recorded: | Date | Time | Condition
22 | 06/11/2013 | 2:52:57 p.m. | 16 (High Flow Rate Alarm Occurred)
23 | 07/01/2013 | 12:30:36 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 07/08/2013 | 9:00:00 a.m. | 31657 | 1163 | 30.0255 | 0 | 397.663 | 21.3 | 5.62
2 | 07/09/2013 | 9:00:00 a.m. | 32787 | 1201 | 29.9749 | 0 | 397.955 | 20 | 5.63
3 | 07/10/2013 | 9:00:00 a.m. | 34262 | 1251 | 29.8644 | 0 | 398.76 | 21.8 | 5.62
4 | 07/11/2013 | 9:00:00 a.m. | 35680 | 1299 | 30.1077 | 0 | 398.038 | 21.3 | 5.62
5 | 07/12/2013 | 9:00:00 a.m. | 37200 | 1350 | 29.8376 | 0 | 399.282 | 20.1 | 5.63
6 | 07/13/2013 | 9:00:00 a.m. | 39196 | 1417 | 30.0586 | 0 | 399.548 | 20.2 | 5.61
7 | 07/14/2013 | 9:00:00 a.m. | 40498 | 1461 | 30.126 | 0 | 399.529 | 21 | 5.62
8 | 07/15/2013 | 9:00:00 a.m. | 41414 | 1492 | 30.1114 | 0 | 399.499 | 22.3 | 5.62