## honda 07 29 13 horario mc b
Data Log
Unit Serial Number: | 02/11/45783
Meter/Site ID: | 1120117 Honda
Drive Rate | 1 m³/rev
Number of Logs Stored: | 168
Fault/Alarms Recorded: | Date | Time | Condition
22 | 06/11/2013 | 2:52:57 p.m. | 16 (High Flow Rate Alarm Occurred)
23 | 07/01/2013 | 12:30:36 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 07/22/2013 | 12:00:00 p.m. | 49698 | 1771 | 29.4046 | 0 | 399.428 | 22.7 | 5.69
2 | 07/22/2013 | 1:00:00 p.m. | 49728 | 1772 | 29.268 | 0 | 399.436 | 23.9 | 5.71
3 | 07/22/2013 | 2:00:00 p.m. | 49815 | 1775 | 29.0245 | 0 | 399.508 | 25.1 | 5.73
4 | 07/22/2013 | 3:00:00 p.m. | 49844 | 1776 | 29.0188 | 0 | 398.925 | 26.4 | 5.74
5 | 07/22/2013 | 4:00:00 p.m. | 49873 | 1777 | 28.9084 | 0 | 398.852 | 27.4 | 5.74
6 | 07/22/2013 | 5:00:00 p.m. | 49930 | 1779 | 28.6841 | 0 | 398.471 | 28.2 | 5.74
7 | 07/22/2013 | 6:00:00 p.m. | 49988 | 1781 | 29.0029 | 0 | 399.86 | 28.2 | 5.74
8 | 07/22/2013 | 7:00:00 p.m. | 50046 | 1783 | 29.2078 | 0 | 400.639 | 26.6 | 5.73
9 | 07/22/2013 | 8:00:00 p.m. | 50105 | 1785 | 29.4628 | 0 | 400.939 | 25.3 | 5.7
10 | 07/22/2013 | 9:00:00 p.m. | 50165 | 1787 | 30.0101 | 0 | 402.118 | 22.1 | 5.65
11 | 07/22/2013 | 10:00:00 p.m. | 50225 | 1789 | 30.1295 | 0 | 401.665 | 20 | 5.61
12 | 07/22/2013 | 11:00:00 p.m. | 50285 | 1791 | 30.3509 | 0 | 402.821 | 18.8 | 5.61
13 | 07/23/2013 | 12:00:00 a.m. | 50315 | 1792 | 30.2046 | 0 | 402.233 | 18.2 | 5.61
14 | 07/23/2013 | 1:00:00 a.m. | 50406 | 1795 | 30.2767 | 0 | 401.834 | 18.1 | 5.61
15 | 07/23/2013 | 2:00:00 a.m. | 50436 | 1796 | 30.1781 | 0 | 402.421 | 18.2 | 5.61
16 | 07/23/2013 | 3:00:00 a.m. | 50497 | 1798 | 30.2088 | 0 | 401.918 | 18 | 5.61
17 | 07/23/2013 | 4:00:00 a.m. | 50527 | 1799 | 30.3751 | 0 | 402.468 | 18 | 5.61
18 | 07/23/2013 | 5:00:00 a.m. | 50588 | 1801 | 30.3666 | 0 | 403.556 | 18.4 | 5.61
19 | 07/23/2013 | 6:00:00 a.m. | 50649 | 1803 | 30.2456 | 0 | 402.194 | 18.4 | 5.61
20 | 07/23/2013 | 7:00:00 a.m. | 50709 | 1805 | 30.3689 | 0 | 402.779 | 18 | 5.61
21 | 07/23/2013 | 8:00:00 a.m. | 50740 | 1806 | 30.464 | 0 | 402.995 | 18 | 5.61
22 | 07/23/2013 | 9:00:00 a.m. | 50831 | 1809 | 30.0285 | 0 | 402.665 | 18.6 | 5.61
23 | 07/23/2013 | 10:00:00 a.m. | 50980 | 1814 | 29.788 | 0 | 400.869 | 20.3 | 5.64
24 | 07/23/2013 | 11:00:00 a.m. | 51040 | 1816 | 29.6114 | 0 | 400.918 | 21.7 | 5.67
25 | 07/23/2013 | 12:00:00 p.m. | 51128 | 1819 | 29.3823 | 0 | 399.765 | 22.6 | 5.69
26 | 07/23/2013 | 1:00:00 p.m. | 51275 | 1824 | 29.1639 | 0 | 399.175 | 23.7 | 5.71
27 | 07/23/2013 | 2:00:00 p.m. | 51363 | 1827 | 29.1218 | 0 | 399.226 | 24.9 | 5.73
28 | 07/23/2013 | 3:00:00 p.m. | 51508 | 1832 | 28.9831 | 0 | 398.388 | 25.8 | 5.74
29 | 07/23/2013 | 4:00:00 p.m. | 51623 | 1836 | 28.8044 | 0 | 398.44 | 26.7 | 5.74
30 | 07/23/2013 | 5:00:00 p.m. | 51739 | 1840 | 28.8322 | 0 | 398.452 | 27.2 | 5.74
31 | 07/23/2013 | 6:00:00 p.m. | 51826 | 1843 | 28.8883 | 0 | 398.922 | 27.5 | 5.74
32 | 07/23/2013 | 7:00:00 p.m. | 51883 | 1845 | 28.8165 | 0 | 399.333 | 27.4 | 5.74
33 | 07/23/2013 | 8:00:00 p.m. | 51941 | 1847 | 29.0914 | 0 | 401.182 | 27.2 | 5.74
34 | 07/23/2013 | 9:00:00 p.m. | 51971 | 1848 | 29.2725 | 0 | 402.084 | 25.9 | 5.71
35 | 07/23/2013 | 10:00:00 p.m. | 52030 | 1850 | 29.7941 | 0 | 402.599 | 24.1 | 5.68
36 | 07/23/2013 | 11:00:00 p.m. | 52089 | 1852 | 29.8725 | 0 | 402.629 | 22.4 | 5.65
37 | 07/24/2013 | 12:00:00 a.m. | 52119 | 1853 | 29.987 | 0 | 401.933 | 21.1 | 5.63
38 | 07/24/2013 | 1:00:00 a.m. | 52179 | 1855 | 30.0111 | 0 | 402.92 | 20.2 | 5.62
39 | 07/24/2013 | 2:00:00 a.m. | 52240 | 1857 | 30.2761 | 0 | 403.509 | 19.7 | 5.62
40 | 07/24/2013 | 3:00:00 a.m. | 52240 | 1857 | 30.3584 | 0 | 402.981 | 19 | 5.61
41 | 07/24/2013 | 4:00:00 a.m. | 52300 | 1859 | 30.4511 | 0 | 403.235 | 18.4 | 5.61
42 | 07/24/2013 | 5:00:00 a.m. | 52361 | 1861 | 30.3097 | 0 | 402.874 | 17.9 | 5.61
43 | 07/24/2013 | 6:00:00 a.m. | 52392 | 1862 | 30.5376 | 0 | 403.406 | 17.7 | 5.61
44 | 07/24/2013 | 7:00:00 a.m. | 52422 | 1863 | 30.5499 | 0 | 403.693 | 17.3 | 5.61
45 | 07/24/2013 | 8:00:00 a.m. | 52483 | 1865 | 30.5179 | 0 | 404.584 | 17 | 5.61
46 | 07/24/2013 | 9:00:00 a.m. | 52514 | 1866 | 30.406 | 0 | 403.253 | 17.9 | 5.61
47 | 07/24/2013 | 10:00:00 a.m. | 52574 | 1868 | 29.9468 | 0 | 401.896 | 19.2 | 5.63
48 | 07/24/2013 | 11:00:00 a.m. | 52634 | 1870 | 29.6989 | 0 | 400.472 | 20.8 | 5.66
49 | 07/24/2013 | 12:00:00 p.m. | 52693 | 1872 | 29.4811 | 0 | 399.979 | 22.5 | 5.69
50 | 07/24/2013 | 1:00:00 p.m. | 52722 | 1873 | 29.233 | 0 | 399.916 | 23.7 | 5.7
51 | 07/24/2013 | 2:00:00 p.m. | 52751 | 1874 | 29.1985 | 0 | 399.713 | 25.2 | 5.73
52 | 07/24/2013 | 3:00:00 p.m. | 52810 | 1876 | 28.9969 | 0 | 400.195 | 26.5 | 5.74
53 | 07/24/2013 | 4:00:00 p.m. | 52867 | 1878 | 28.9212 | 0 | 398.481 | 27.5 | 5.74
54 | 07/24/2013 | 5:00:00 p.m. | 52896 | 1879 | 28.7454 | 0 | 399.366 | 28 | 5.74
55 | 07/24/2013 | 6:00:00 p.m. | 52954 | 1881 | 28.833 | 0 | 398.95 | 28.4 | 5.74
56 | 07/24/2013 | 7:00:00 p.m. | 53040 | 1884 | 28.9961 | 0 | 399.973 | 28 | 5.74
57 | 07/24/2013 | 8:00:00 p.m. | 53158 | 1888 | 29.4384 | 0 | 400.912 | 25.2 | 5.7
58 | 07/24/2013 | 9:00:00 p.m. | 53277 | 1892 | 30.2934 | 0 | 402.311 | 21.4 | 5.63
59 | 07/24/2013 | 10:00:00 p.m. | 53337 | 1894 | 30.2291 | 0 | 402.969 | 18.9 | 5.61
60 | 07/24/2013 | 11:00:00 p.m. | 53428 | 1897 | 30.3234 | 0 | 402.239 | 18.3 | 5.61
61 | 07/25/2013 | 12:00:00 a.m. | 53489 | 1899 | 30.5522 | 0 | 402.684 | 18.5 | 5.61
62 | 07/25/2013 | 1:00:00 a.m. | 53549 | 1901 | 30.3374 | 0 | 402.057 | 18.4 | 5.61
63 | 07/25/2013 | 2:00:00 a.m. | 53610 | 1903 | 30.306 | 0 | 402.337 | 18.4 | 5.61
64 | 07/25/2013 | 3:00:00 a.m. | 53700 | 1906 | 30.195 | 0 | 401.784 | 18.5 | 5.61
65 | 07/25/2013 | 4:00:00 a.m. | 53761 | 1908 | 30.1715 | 0 | 401.32 | 18.4 | 5.61
66 | 07/25/2013 | 5:00:00 a.m. | 53821 | 1910 | 30.3594 | 0 | 401.718 | 18.3 | 5.61
67 | 07/25/2013 | 6:00:00 a.m. | 53912 | 1913 | 30.3082 | 0 | 401.736 | 18.1 | 5.61
68 | 07/25/2013 | 7:00:00 a.m. | 53972 | 1915 | 30.2231 | 0 | 402.733 | 18.3 | 5.61
69 | 07/25/2013 | 8:00:00 a.m. | 54063 | 1918 | 30.1982 | 0 | 402.287 | 18.3 | 5.61
70 | 07/25/2013 | 9:00:00 a.m. | 54123 | 1920 | 30.0748 | 0 | 401.482 | 18.7 | 5.61
71 | 07/25/2013 | 10:00:00 a.m. | 54243 | 1924 | 29.6679 | 0 | 400.663 | 20.3 | 5.64
72 | 07/25/2013 | 11:00:00 a.m. | 54332 | 1927 | 29.5383 | 0 | 399.502 | 21.9 | 5.67
73 | 07/25/2013 | 12:00:00 p.m. | 54391 | 1929 | 29.4238 | 0 | 400.448 | 22.8 | 5.68
74 | 07/25/2013 | 1:00:00 p.m. | 54450 | 1931 | 29.2688 | 0 | 399.574 | 23.7 | 5.7
75 | 07/25/2013 | 2:00:00 p.m. | 54537 | 1934 | 29.1343 | 0 | 399.472 | 24.8 | 5.73
76 | 07/25/2013 | 3:00:00 p.m. | 54624 | 1937 | 28.9293 | 0 | 398.774 | 26 | 5.74
77 | 07/25/2013 | 4:00:00 p.m. | 54653 | 1938 | 28.7474 | 0 | 398.232 | 27.2 | 5.74
78 | 07/25/2013 | 5:00:00 p.m. | 54739 | 1941 | 28.6278 | 0 | 397.462 | 27.9 | 5.74
79 | 07/25/2013 | 6:00:00 p.m. | 54826 | 1944 | 28.6757 | 0 | 397.922 | 28.2 | 5.75
80 | 07/25/2013 | 7:00:00 p.m. | 54883 | 1946 | 28.9134 | 0 | 399.364 | 27.8 | 5.74
81 | 07/25/2013 | 8:00:00 p.m. | 54942 | 1948 | 29.7118 | 0 | 401.029 | 24.9 | 5.69
82 | 07/25/2013 | 9:00:00 p.m. | 54972 | 1949 | 29.993 | 0 | 401.537 | 21.6 | 5.64
83 | 07/25/2013 | 10:00:00 p.m. | 55032 | 1951 | 29.9977 | 0 | 401.289 | 20.5 | 5.63
84 | 07/25/2013 | 11:00:00 p.m. | 55092 | 1953 | 30.0868 | 0 | 401.825 | 20.1 | 5.63
85 | 07/26/2013 | 12:00:00 a.m. | 55122 | 1954 | 30.0512 | 0 | 401.783 | 19.8 | 5.62
86 | 07/26/2013 | 1:00:00 a.m. | 55212 | 1957 | 30.166 | 0 | 401.669 | 19.5 | 5.62
87 | 07/26/2013 | 2:00:00 a.m. | 55243 | 1958 | 30.1569 | 0 | 402.811 | 18.7 | 5.62
88 | 07/26/2013 | 3:00:00 a.m. | 55273 | 1959 | 30.3803 | 0 | 402.119 | 18.1 | 5.61
89 | 07/26/2013 | 4:00:00 a.m. | 55334 | 1961 | 30.1355 | 0 | 401.729 | 17.7 | 5.61
90 | 07/26/2013 | 5:00:00 a.m. | 55394 | 1963 | 30.249 | 0 | 402.329 | 17.8 | 5.61
91 | 07/26/2013 | 6:00:00 a.m. | 55455 | 1965 | 30.2972 | 0 | 401.38 | 18 | 5.61
92 | 07/26/2013 | 7:00:00 a.m. | 55485 | 1966 | 30.3016 | 0 | 402.178 | 17.8 | 5.61
93 | 07/26/2013 | 8:00:00 a.m. | 55546 | 1968 | 30.3589 | 0 | 402.258 | 17.6 | 5.61
94 | 07/26/2013 | 9:00:00 a.m. | 55667 | 1972 | 30.1537 | 0 | 401.361 | 18.2 | 5.61
95 | 07/26/2013 | 10:00:00 a.m. | 55697 | 1973 | 29.8948 | 0 | 400.444 | 19.5 | 5.63
96 | 07/26/2013 | 11:00:00 a.m. | 55756 | 1975 | 29.2159 | 0 | 399.18 | 20.6 | 5.65
97 | 07/26/2013 | 12:00:00 p.m. | 55786 | 1976 | 29.405 | 0 | 398.694 | 22.5 | 5.68
98 | 07/26/2013 | 1:00:00 p.m. | 55874 | 1979 | 29.1032 | 0 | 398.377 | 24.1 | 5.71
99 | 07/26/2013 | 2:00:00 p.m. | 55932 | 1981 | 28.9311 | 0 | 398.123 | 25.3 | 5.73
100 | 07/26/2013 | 3:00:00 p.m. | 55961 | 1982 | 28.8534 | 0 | 398.19 | 26.4 | 5.74
101 | 07/26/2013 | 4:00:00 p.m. | 56047 | 1985 | 28.8 | 0 | 397.803 | 27.9 | 5.75
102 | 07/26/2013 | 5:00:00 p.m. | 56076 | 1986 | 28.6398 | 0 | 397.806 | 28.7 | 5.75
103 | 07/26/2013 | 6:00:00 p.m. | 56133 | 1988 | 29.0444 | 0 | 398.183 | 28 | 5.74
104 | 07/26/2013 | 7:00:00 p.m. | 56162 | 1989 | 28.9363 | 0 | 399.138 | 26.6 | 5.73
105 | 07/26/2013 | 8:00:00 p.m. | 56220 | 1991 | 29.153 | 0 | 399.981 | 26.9 | 5.74
106 | 07/26/2013 | 9:00:00 p.m. | 56250 | 1992 | 29.3598 | 0 | 400.832 | 25.6 | 5.71
107 | 07/26/2013 | 10:00:00 p.m. | 56279 | 1993 | 29.6083 | 0 | 400.688 | 23.8 | 5.68
108 | 07/26/2013 | 11:00:00 p.m. | 56338 | 1995 | 29.6777 | 0 | 401 | 22.8 | 5.66
109 | 07/27/2013 | 12:00:00 a.m. | 56368 | 1996 | 29.7007 | 0 | 400.872 | 21.8 | 5.64
110 | 07/27/2013 | 1:00:00 a.m. | 56428 | 1998 | 29.9929 | 0 | 401.718 | 20.9 | 5.62
111 | 07/27/2013 | 2:00:00 a.m. | 56488 | 2000 | 30.1779 | 0 | 402.023 | 19.8 | 5.61
112 | 07/27/2013 | 3:00:00 a.m. | 56518 | 2001 | 30.1478 | 0 | 401.597 | 19 | 5.61
113 | 07/27/2013 | 4:00:00 a.m. | 56548 | 2002 | 30.3217 | 0 | 401.722 | 18.2 | 5.6
114 | 07/27/2013 | 5:00:00 a.m. | 56639 | 2005 | 30.2548 | 0 | 401.319 | 17.7 | 5.61
115 | 07/27/2013 | 6:00:00 a.m. | 56639 | 2005 | 30.5172 | 0 | 402.981 | 17.2 | 5.61
116 | 07/27/2013 | 7:00:00 a.m. | 56700 | 2007 | 30.6355 | 0 | 403.08 | 16.7 | 5.6
117 | 07/27/2013 | 8:00:00 a.m. | 56761 | 2009 | 30.5241 | 0 | 403.011 | 16.4 | 5.6
118 | 07/27/2013 | 9:00:00 a.m. | 56761 | 2009 | 30.399 | 0 | 402.459 | 17.3 | 5.61
119 | 07/27/2013 | 10:00:00 a.m. | 56761 | 2009 | 29.8384 | 0 | 400.37 | 18.5 | 5.64
120 | 07/27/2013 | 11:00:00 a.m. | 56820 | 2011 | 29.6677 | 0 | 399.1 | 20.6 | 5.68
121 | 07/27/2013 | 12:00:00 p.m. | 56879 | 2013 | 29.2488 | 0 | 398.595 | 22.9 | 5.71
122 | 07/27/2013 | 1:00:00 p.m. | 56909 | 2014 | 28.9514 | 0 | 398.845 | 25 | 5.73
123 | 07/27/2013 | 2:00:00 p.m. | 56966 | 2016 | 28.9181 | 0 | 398.742 | 26.7 | 5.74
124 | 07/27/2013 | 3:00:00 p.m. | 56995 | 2017 | 28.6506 | 0 | 398.427 | 27.9 | 5.74
125 | 07/27/2013 | 4:00:00 p.m. | 57052 | 2019 | 28.7266 | 0 | 398.375 | 28.8 | 5.75
126 | 07/27/2013 | 5:00:00 p.m. | 57081 | 2020 | 28.5907 | 0 | 397.967 | 29.3 | 5.75
127 | 07/27/2013 | 6:00:00 p.m. | 57110 | 2021 | 28.5476 | 0 | 398.111 | 29.9 | 5.75
128 | 07/27/2013 | 7:00:00 p.m. | 57167 | 2023 | 28.7103 | 0 | 398.644 | 30.3 | 5.75
129 | 07/27/2013 | 8:00:00 p.m. | 57224 | 2025 | 28.9626 | 0 | 400.347 | 29 | 5.74
130 | 07/27/2013 | 9:00:00 p.m. | 57253 | 2026 | 29.2468 | 0 | 401.82 | 27.1 | 5.72
131 | 07/27/2013 | 10:00:00 p.m. | 57312 | 2028 | 29.5786 | 0 | 401.266 | 25.1 | 5.69
132 | 07/27/2013 | 11:00:00 p.m. | 57342 | 2029 | 29.7162 | 0 | 401.576 | 23.2 | 5.66
133 | 07/28/2013 | 12:00:00 a.m. | 57401 | 2031 | 29.6788 | 0 | 402.274 | 22.2 | 5.65
134 | 07/28/2013 | 1:00:00 a.m. | 57431 | 2032 | 29.7755 | 0 | 400.459 | 21.6 | 5.64
135 | 07/28/2013 | 2:00:00 a.m. | 57461 | 2033 | 29.9041 | 0 | 401.654 | 21.1 | 5.63
136 | 07/28/2013 | 3:00:00 a.m. | 57521 | 2035 | 29.9544 | 0 | 401.721 | 20.6 | 5.63
137 | 07/28/2013 | 4:00:00 a.m. | 57551 | 2036 | 29.9762 | 0 | 402.098 | 19.9 | 5.62
138 | 07/28/2013 | 5:00:00 a.m. | 57581 | 2037 | 30.2113 | 0 | 402.2 | 19.3 | 5.61
139 | 07/28/2013 | 6:00:00 a.m. | 57641 | 2039 | 30.2316 | 0 | 401.772 | 18.8 | 5.61
140 | 07/28/2013 | 7:00:00 a.m. | 57702 | 2041 | 30.2668 | 0 | 402.611 | 18.3 | 5.61
141 | 07/28/2013 | 8:00:00 a.m. | 57732 | 2042 | 30.4891 | 0 | 402.238 | 17.7 | 5.61
142 | 07/28/2013 | 9:00:00 a.m. | 57763 | 2043 | 30.1445 | 0 | 402.211 | 18 | 5.61
143 | 07/28/2013 | 10:00:00 a.m. | 57793 | 2044 | 29.8002 | 0 | 400.745 | 19.9 | 5.66
144 | 07/28/2013 | 11:00:00 a.m. | 57882 | 2047 | 29.607 | 0 | 399.253 | 21.7 | 5.69
145 | 07/28/2013 | 12:00:00 p.m. | 57911 | 2048 | 29.3574 | 0 | 399.008 | 23.2 | 5.72
146 | 07/28/2013 | 1:00:00 p.m. | 57940 | 2049 | 29.1741 | 0 | 398.71 | 24.5 | 5.73
147 | 07/28/2013 | 2:00:00 p.m. | 57969 | 2050 | 28.9556 | 0 | 398.572 | 25.7 | 5.73
148 | 07/28/2013 | 3:00:00 p.m. | 58027 | 2052 | 28.8721 | 0 | 399.031 | 26.3 | 5.74
149 | 07/28/2013 | 4:00:00 p.m. | 58056 | 2053 | 28.8976 | 0 | 398.079 | 27.2 | 5.74
150 | 07/28/2013 | 5:00:00 p.m. | 58114 | 2055 | 28.8859 | 0 | 398.526 | 28 | 5.74
151 | 07/28/2013 | 6:00:00 p.m. | 58142 | 2056 | 28.7562 | 0 | 398.715 | 28.3 | 5.74
152 | 07/28/2013 | 7:00:00 p.m. | 58142 | 2056 | 28.8923 | 0 | 399.011 | 28.3 | 5.74
153 | 07/28/2013 | 8:00:00 p.m. | 58171 | 2057 | 29.1568 | 0 | 400.897 | 27.6 | 5.73
154 | 07/28/2013 | 9:00:00 p.m. | 58171 | 2057 | 29.3491 | 0 | 400.677 | 25.6 | 5.7
155 | 07/28/2013 | 10:00:00 p.m. | 58230 | 2059 | 29.6324 | 0 | 400.507 | 23.6 | 5.67
156 | 07/28/2013 | 11:00:00 p.m. | 58230 | 2059 | 30.1914 | 0 | 402.136 | 21.1 | 5.62
157 | 07/29/2013 | 12:00:00 a.m. | 58260 | 2060 | 30.4134 | 0 | 402.139 | 18.5 | 5.61
158 | 07/29/2013 | 1:00:00 a.m. | 58260 | 2060 | 30.3468 | 0 | 402.63 | 17.5 | 5.61
159 | 07/29/2013 | 2:00:00 a.m. | 58321 | 2062 | 30.4977 | 0 | 402.456 | 17.2 | 5.61
160 | 07/29/2013 | 3:00:00 a.m. | 58321 | 2062 | 30.4835 | 0 | 402.342 | 16.9 | 5.61
161 | 07/29/2013 | 4:00:00 a.m. | 58352 | 2063 | 30.4527 | 0 | 401.676 | 16.6 | 5.61
162 | 07/29/2013 | 5:00:00 a.m. | 58352 | 2063 | 30.4994 | 0 | 402.065 | 16.2 | 5.6
163 | 07/29/2013 | 6:00:00 a.m. | 58413 | 2065 | 30.6796 | 0 | 402.299 | 16.2 | 5.61
164 | 07/29/2013 | 7:00:00 a.m. | 58413 | 2065 | 30.6904 | 0 | 403.501 | 16 | 5.59
165 | 07/29/2013 | 8:00:00 a.m. | 58413 | 2065 | 30.7803 | 0 | 404.028 | 15.6 | 5.6
166 | 07/29/2013 | 9:00:00 a.m. | 58444 | 2066 | 30.4995 | 0 | 402.692 | 15.7 | 5.61
167 | 07/29/2013 | 10:00:00 a.m. | 58535 | 2069 | 30.0802 | 0 | 401.707 | 17.4 | 5.61
168 | 07/29/2013 | 11:00:00 a.m. | 58624 | 2072 | 29.5898 | 0 | 400.207 | 20.2 | 5.66