## honda 08 01 13 diario mc b
Data Log
Unit Serial Number: | 02/11/45783
Meter/Site ID: | 1120117 Honda
Drive Rate | 1 m³/rev
Number of Logs Stored: | 4
Fault/Alarms Recorded: | Date | Time | Condition
22 | 06/11/2013 | 2:52:57 p.m. | 16 (High Flow Rate Alarm Occurred)
23 | 07/01/2013 | 12:30:36 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 9:00:00 a.m. | 58444 | 2066 | 30.4995 | 0 | 400.821 | 21.6 | 5.61
2 | 30/07/2013 | 9:00:00 a.m. | 60283 | 2128 | 30.379 | 0 | 401.132 | 21.8 | 5.61
3 | 31/07/2013 | 9:00:00 a.m. | 61352 | 2164 | 30.3831 | 0 | 401.383 | 22.2 | 5.61
4 | 01/08/2013 | 9:00:00 a.m. | 62302 | 2196 | 30.2209 | 0 | 401.23 | 22.4 | 5.61