## proteinol 07 15 13 diario mc a
Daily Data Log
Corrector Serial Number : | 22151
1 Impulse = | 1m ³
Units of Pressure | psi
Units of Temperature | °C
Peak Flow Period | 0 mins
Time | Year | Month | Day | Converted Volume | Converted Pulses | Unconverted Volume | Unconverted Pulses | Unconverted Under Fault Volume | Unconverted Under Fault Pulses | Flow Weighted Average Pressure : | Flow Weighted Average Temperature : | Peak Flow m³/hour | Display Digits:
9:00 | 2013 | 7 | 15 | 27084849 | 27084849 | 4896993 | 4896993 | 0 | 0 | 387.2958 | 25.18 | 51676.012 | 8
9:00 | 2013 | 7 | 14 | 27012079 | 27012079 | 4894404 | 4894404 | 0 | 0 | 386.7478 | 25.07 | 51496.121 | 8
9:00 | 2013 | 7 | 13 | 26938007 | 26938007 | 4891766 | 4891766 | 0 | 0 | 385.9423 | 25.07 | 51515.629 | 8
9:00 | 2013 | 7 | 12 | 26862562 | 26862562 | 4889073 | 4889073 | 0 | 0 | 384.0572 | 25.17 | 51357.109 | 8
9:00 | 2013 | 7 | 11 | 26785137 | 26785137 | 4886294 | 4886294 | 0 | 0 | 383.5416 | 25.38 | 50849.488 | 8
9:00 | 2013 | 7 | 10 | 26709054 | 26709054 | 4883557 | 4883557 | 0 | 0 | 386.0084 | 25.26 | 51846.02 | 8
9:00 | 2013 | 7 | 9 | 26638129 | 26638129 | 4881027 | 4881027 | 0 | 0 | 384.0178 | 25.44 | 50955.191 | 8
9:00 | 2013 | 7 | 8 | 26561854 | 26561854 | 4878286 | 4878286 | 0 | 0 | 385.3764 | 25.74 | 51515.289 | 8