## proteinol 07 15 13 horario mc a
Hourly Data Log
Corrector Serial Number : | 22151
1 Impulse = | 1m ³
Units of Pressure | psi
Units of Temperature | °C
Peak Flow Period | 0 mins
Time | Year | Month | Day | Converted Volume | Converted Pulses | Unconverted Volume | Unconverted Pulses | Unconverted Under Fault Volume | Unconverted Under Fault Pulses | Flow Weighted Average Pressure : | Flow Weighted Average Temperature : | Peak Flow m³/hour | Display Digits:
10:00 | 2013 | 7 | 15 | 27087735 | 27087735 | 4897095 | 4897095 | 0 | 0 | 389.2363 | 24.8 | 51159.789 | 8
9:00 | 2013 | 7 | 15 | 27084849 | 27084849 | 4896993 | 4896993 | 0 | 0 | 390.2114 | 24.61 | 51490.172 | 8
8:00 | 2013 | 7 | 15 | 27081924 | 27081924 | 4896890 | 4896890 | 0 | 0 | 390.6903 | 24.32 | 51676.012 | 8
7:00 | 2013 | 7 | 15 | 27078935 | 27078935 | 4896785 | 4896785 | 0 | 0 | 390.2092 | 24.36 | 51432.66 | 8
6:00 | 2013 | 7 | 15 | 27075894 | 27075894 | 4896678 | 4896678 | 0 | 0 | 388.4564 | 24.34 | 51288.238 | 8
5:00 | 2013 | 7 | 15 | 27072839 | 27072839 | 4896570 | 4896570 | 0 | 0 | 388.1536 | 24.37 | 51331.949 | 8
4:00 | 2013 | 7 | 15 | 27069758 | 27069758 | 4896461 | 4896461 | 0 | 0 | 389.1577 | 24.39 | 51503.512 | 8
3:00 | 2013 | 7 | 15 | 27066754 | 27066754 | 4896355 | 4896355 | 0 | 0 | 390.1952 | 24.47 | 51487.609 | 8
2:00 | 2013 | 7 | 15 | 27063771 | 27063771 | 4896250 | 4896250 | 0 | 0 | 389.8282 | 24.54 | 51285.238 | 8
1:00 | 2013 | 7 | 15 | 27060764 | 27060764 | 4896144 | 4896144 | 0 | 0 | 389.3189 | 24.56 | 51444.59 | 8
0:00 | 2013 | 7 | 15 | 27057789 | 27057789 | 4896039 | 4896039 | 0 | 0 | 389.5051 | 24.64 | 51345.211 | 8
23:00 | 2013 | 7 | 14 | 27054814 | 27054814 | 4895934 | 4895934 | 0 | 0 | 389.3006 | 24.75 | 51366.449 | 8
22:00 | 2013 | 7 | 14 | 27051841 | 27051841 | 4895829 | 4895829 | 0 | 0 | 387.1804 | 24.87 | 51033.27 | 8
21:00 | 2013 | 7 | 14 | 27048747 | 27048747 | 4895719 | 4895719 | 0 | 0 | 387.9143 | 25.26 | 51033.398 | 8
20:00 | 2013 | 7 | 14 | 27045736 | 27045736 | 4895612 | 4895612 | 0 | 0 | 387.3501 | 25.72 | 50745.691 | 8
19:00 | 2013 | 7 | 14 | 27042706 | 27042706 | 4895504 | 4895504 | 0 | 0 | 386.2502 | 26 | 50664.109 | 8
18:00 | 2013 | 7 | 14 | 27039689 | 27039689 | 4895396 | 4895396 | 0 | 0 | 384.0245 | 26.1 | 50455.852 | 8
17:00 | 2013 | 7 | 14 | 27036636 | 27036636 | 4895286 | 4895286 | 0 | 0 | 384.8819 | 26.39 | 50372.262 | 8
16:00 | 2013 | 7 | 14 | 27033635 | 27033635 | 4895178 | 4895178 | 0 | 0 | 384.2102 | 26.24 | 50326.77 | 8
15:00 | 2013 | 7 | 14 | 27030582 | 27030582 | 4895068 | 4895068 | 0 | 0 | 385.1852 | 26.03 | 50720.422 | 8
14:00 | 2013 | 7 | 14 | 27027575 | 27027575 | 4894960 | 4894960 | 0 | 0 | 383.7429 | 25.92 | 50393.68 | 8
13:00 | 2013 | 7 | 14 | 27024466 | 27024466 | 4894848 | 4894848 | 0 | 0 | 384.1154 | 25.85 | 50525.641 | 8
12:00 | 2013 | 7 | 14 | 27021354 | 27021354 | 4894736 | 4894736 | 0 | 0 | 385.0528 | 25.74 | 50691.27 | 8
11:00 | 2013 | 7 | 14 | 27018288 | 27018288 | 4894626 | 4894626 | 0 | 0 | 384.9756 | 25.45 | 50550.102 | 8
10:00 | 2013 | 7 | 14 | 27015191 | 27015191 | 4894515 | 4894515 | 0 | 0 | 386.246 | 25.12 | 50810.09 | 8
9:00 | 2013 | 7 | 14 | 27012051 | 27012051 | 4894403 | 4894403 | 0 | 0 | 388.2386 | 24.77 | 51238.289 | 8
8:00 | 2013 | 7 | 14 | 27008918 | 27008918 | 4894292 | 4894292 | 0 | 0 | 389.729 | 24.43 | 51394.641 | 8
7:00 | 2013 | 7 | 14 | 27005768 | 27005768 | 4894181 | 4894181 | 0 | 0 | 389.0613 | 24.41 | 51496.121 | 8
6:00 | 2013 | 7 | 14 | 27002652 | 27002652 | 4894071 | 4894071 | 0 | 0 | 387.3783 | 24.42 | 51114.789 | 8
5:00 | 2013 | 7 | 14 | 26999466 | 26999466 | 4893958 | 4893958 | 0 | 0 | 388.7303 | 24.45 | 51327.25 | 8
4:00 | 2013 | 7 | 14 | 26996353 | 26996353 | 4893848 | 4893848 | 0 | 0 | 388.0641 | 24.52 | 51082.141 | 8
3:00 | 2013 | 7 | 14 | 26993218 | 26993218 | 4893737 | 4893737 | 0 | 0 | 388.4799 | 24.57 | 51304.551 | 8
2:00 | 2013 | 7 | 14 | 26990081 | 26990081 | 4893626 | 4893626 | 0 | 0 | 386.3516 | 24.65 | 51024.512 | 8
1:00 | 2013 | 7 | 14 | 26986906 | 26986906 | 4893513 | 4893513 | 0 | 0 | 388.5027 | 24.73 | 51217.27 | 8
0:00 | 2013 | 7 | 14 | 26983799 | 26983799 | 4893403 | 4893403 | 0 | 0 | 387.9088 | 24.7 | 51021.629 | 8
23:00 | 2013 | 7 | 13 | 26980696 | 26980696 | 4893293 | 4893293 | 0 | 0 | 388.4473 | 24.6 | 51096.738 | 8
22:00 | 2013 | 7 | 13 | 26977587 | 26977587 | 4893183 | 4893183 | 0 | 0 | 385.6509 | 24.55 | 51110.852 | 8
21:00 | 2013 | 7 | 13 | 26974333 | 26974333 | 4893067 | 4893067 | 0 | 0 | 385.3671 | 24.39 | 50872.262 | 8
20:00 | 2013 | 7 | 13 | 26971080 | 26971080 | 4892951 | 4892951 | 0 | 0 | 384.9315 | 24.75 | 50745 | 8
19:00 | 2013 | 7 | 13 | 26967919 | 26967919 | 4892838 | 4892838 | 0 | 0 | 385.5478 | 25.21 | 50744.172 | 8
18:00 | 2013 | 7 | 13 | 26964730 | 26964730 | 4892724 | 4892724 | 0 | 0 | 384.4584 | 25.17 | 51327.5 | 8
17:00 | 2013 | 7 | 13 | 26961635 | 26961635 | 4892613 | 4892613 | 0 | 0 | 385.8825 | 26.03 | 50708.371 | 8
16:00 | 2013 | 7 | 13 | 26958649 | 26958649 | 4892506 | 4892506 | 0 | 0 | 385.2074 | 26.48 | 50354.961 | 8
15:00 | 2013 | 7 | 13 | 26955646 | 26955646 | 4892398 | 4892398 | 0 | 0 | 385.1559 | 26.48 | 50452.121 | 8
14:00 | 2013 | 7 | 13 | 26952755 | 26952755 | 4892294 | 4892294 | 0 | 0 | 384.9982 | 26.27 | 50595.109 | 8
13:00 | 2013 | 7 | 13 | 26949835 | 26949835 | 4892189 | 4892189 | 0 | 0 | 386.3893 | 26.09 | 50575.238 | 8
12:00 | 2013 | 7 | 13 | 26946986 | 26946986 | 4892087 | 4892087 | 0 | 0 | 385.9153 | 25.77 | 50673.602 | 8
11:00 | 2013 | 7 | 13 | 26944108 | 26944108 | 4891984 | 4891984 | 0 | 0 | 385.5497 | 25.42 | 50653.012 | 8
10:00 | 2013 | 7 | 13 | 26941117 | 26941117 | 4891877 | 4891877 | 0 | 0 | 386.1488 | 25.19 | 50838.91 | 8
9:00 | 2013 | 7 | 13 | 26937979 | 26937979 | 4891765 | 4891765 | 0 | 0 | 388.5481 | 24.88 | 51337.578 | 8
8:00 | 2013 | 7 | 13 | 26934958 | 26934958 | 4891658 | 4891658 | 0 | 0 | 390.1502 | 24.54 | 51515.629 | 8
7:00 | 2013 | 7 | 13 | 26931948 | 26931948 | 4891552 | 4891552 | 0 | 0 | 388.1961 | 24.54 | 51273.281 | 8
6:00 | 2013 | 7 | 13 | 26928897 | 26928897 | 4891444 | 4891444 | 0 | 0 | 387.802 | 24.56 | 51423.352 | 8
5:00 | 2013 | 7 | 13 | 26925850 | 26925850 | 4891336 | 4891336 | 0 | 0 | 387.8542 | 24.64 | 51180.762 | 8
4:00 | 2013 | 7 | 13 | 26922803 | 26922803 | 4891228 | 4891228 | 0 | 0 | 388.0016 | 24.74 | 51136.199 | 8
3:00 | 2013 | 7 | 13 | 26919756 | 26919756 | 4891120 | 4891120 | 0 | 0 | 386.4076 | 24.73 | 50896.148 | 8
2:00 | 2013 | 7 | 13 | 26916498 | 26916498 | 4891004 | 4891004 | 0 | 0 | 385.0132 | 24.65 | 50919.199 | 8
1:00 | 2013 | 7 | 13 | 26913279 | 26913279 | 4890889 | 4890889 | 0 | 0 | 385.6171 | 24.71 | 50925.262 | 8
0:00 | 2013 | 7 | 13 | 26910027 | 26910027 | 4890773 | 4890773 | 0 | 0 | 385.7649 | 24.67 | 50946.121 | 8
23:00 | 2013 | 7 | 12 | 26906802 | 26906802 | 4890658 | 4890658 | 0 | 0 | 387.1048 | 24.75 | 50961.172 | 8
22:00 | 2013 | 7 | 12 | 26903651 | 26903651 | 4890546 | 4890546 | 0 | 0 | 385.3263 | 24.89 | 50790.852 | 8
21:00 | 2013 | 7 | 12 | 26900348 | 26900348 | 4890428 | 4890428 | 0 | 0 | 383.7912 | 24.88 | 50617.352 | 8
20:00 | 2013 | 7 | 12 | 26897032 | 26897032 | 4890309 | 4890309 | 0 | 0 | 385.5922 | 24.9 | 50785.09 | 8
19:00 | 2013 | 7 | 12 | 26893839 | 26893839 | 4890195 | 4890195 | 0 | 0 | 384.9375 | 25.08 | 50637.148 | 8
18:00 | 2013 | 7 | 12 | 26890654 | 26890654 | 4890081 | 4890081 | 0 | 0 | 384.8244 | 25.04 | 50782.391 | 8
17:00 | 2013 | 7 | 12 | 26887442 | 26887442 | 4889966 | 4889966 | 0 | 0 | 385.6077 | 25.03 | 51026.02 | 8
16:00 | 2013 | 7 | 12 | 26884279 | 26884279 | 4889853 | 4889853 | 0 | 0 | 386.2954 | 25.25 | 50880.699 | 8
15:00 | 2013 | 7 | 12 | 26881140 | 26881140 | 4889741 | 4889741 | 0 | 0 | 385.0791 | 25.88 | 50513.949 | 8
14:00 | 2013 | 7 | 12 | 26877992 | 26877992 | 4889628 | 4889628 | 0 | 0 | 382.7118 | 26.42 | 50349.949 | 8
13:00 | 2013 | 7 | 12 | 26874843 | 26874843 | 4889514 | 4889514 | 0 | 0 | 384.8149 | 26.2 | 50400.809 | 8
12:00 | 2013 | 7 | 12 | 26871840 | 26871840 | 4889406 | 4889406 | 0 | 0 | 384.5324 | 25.91 | 50351.988 | 8
11:00 | 2013 | 7 | 12 | 26868809 | 26868809 | 4889297 | 4889297 | 0 | 0 | 384.0793 | 25.55 | 50489.922 | 8
10:00 | 2013 | 7 | 12 | 26865693 | 26865693 | 4889185 | 4889185 | 0 | 0 | 385.44 | 25.27 | 50715.25 | 8
9:00 | 2013 | 7 | 12 | 26862562 | 26862562 | 4889073 | 4889073 | 0 | 0 | 386.9614 | 24.94 | 50973.031 | 8
8:00 | 2013 | 7 | 12 | 26859414 | 26859414 | 4888961 | 4888961 | 0 | 0 | 386.8324 | 24.73 | 51109.941 | 8
7:00 | 2013 | 7 | 12 | 26856208 | 26856208 | 4888847 | 4888847 | 0 | 0 | 387.0034 | 24.73 | 50908.41 | 8
6:00 | 2013 | 7 | 12 | 26853001 | 26853001 | 4888733 | 4888733 | 0 | 0 | 385.2347 | 24.75 | 50957.629 | 8
5:00 | 2013 | 7 | 12 | 26849753 | 26849753 | 4888617 | 4888617 | 0 | 0 | 386.0817 | 24.75 | 50735.91 | 8
4:00 | 2013 | 7 | 12 | 26846610 | 26846610 | 4888505 | 4888505 | 0 | 0 | 385.5798 | 24.76 | 51357.109 | 8
3:00 | 2013 | 7 | 12 | 26843415 | 26843415 | 4888391 | 4888391 | 0 | 0 | 383.9821 | 24.76 | 50823.922 | 8
2:00 | 2013 | 7 | 12 | 26840095 | 26840095 | 4888272 | 4888272 | 0 | 0 | 383.4306 | 24.76 | 50539.551 | 8
1:00 | 2013 | 7 | 12 | 26836668 | 26836668 | 4888149 | 4888149 | 0 | 0 | 382.4584 | 24.83 | 50677.59 | 8
0:00 | 2013 | 7 | 12 | 26833224 | 26833224 | 4888025 | 4888025 | 0 | 0 | 383.4578 | 24.95 | 50505.129 | 8
23:00 | 2013 | 7 | 11 | 26829911 | 26829911 | 4887906 | 4887906 | 0 | 0 | 385.9188 | 24.97 | 50764.961 | 8
22:00 | 2013 | 7 | 11 | 26826716 | 26826716 | 4887792 | 4887792 | 0 | 0 | 385.6386 | 24.99 | 50843.801 | 8
21:00 | 2013 | 7 | 11 | 26823524 | 26823524 | 4887678 | 4887678 | 0 | 0 | 384.9642 | 25.02 | 50681.539 | 8
20:00 | 2013 | 7 | 11 | 26820310 | 26820310 | 4887563 | 4887563 | 0 | 0 | 383.6739 | 25.06 | 50387.379 | 8
19:00 | 2013 | 7 | 11 | 26817081 | 26817081 | 4887447 | 4887447 | 0 | 0 | 383.9696 | 25.15 | 50337.102 | 8
18:00 | 2013 | 7 | 11 | 26813905 | 26813905 | 4887333 | 4887333 | 0 | 0 | 383.3412 | 25.19 | 50351.02 | 8
17:00 | 2013 | 7 | 11 | 26810791 | 26810791 | 4887221 | 4887221 | 0 | 0 | 382.7654 | 25.51 | 50270.699 | 8
16:00 | 2013 | 7 | 11 | 26807686 | 26807686 | 4887109 | 4887109 | 0 | 0 | 383.5188 | 26.07 | 50180.77 | 8
15:00 | 2013 | 7 | 11 | 26804443 | 26804443 | 4886992 | 4886992 | 0 | 0 | 383.397 | 26.08 | 50081.449 | 8
14:00 | 2013 | 7 | 11 | 26801229 | 26801229 | 4886876 | 4886876 | 0 | 0 | 381.54 | 26.29 | 49791.488 | 8
13:00 | 2013 | 7 | 11 | 26798088 | 26798088 | 4886762 | 4886762 | 0 | 0 | 382.2012 | 25.9 | 50031.629 | 8
12:00 | 2013 | 7 | 11 | 26794965 | 26794965 | 4886649 | 4886649 | 0 | 0 | 381.9422 | 25.68 | 50585 | 8
11:00 | 2013 | 7 | 11 | 26791786 | 26791786 | 4886534 | 4886534 | 0 | 0 | 381.3778 | 25.32 | 50207.379 | 8
10:00 | 2013 | 7 | 11 | 26788442 | 26788442 | 4886413 | 4886413 | 0 | 0 | 382.6711 | 25.04 | 50513.449 | 8
9:00 | 2013 | 7 | 11 | 26785137 | 26785137 | 4886294 | 4886294 | 0 | 0 | 384.3702 | 24.91 | 50515.609 | 8
8:00 | 2013 | 7 | 11 | 26781927 | 26781927 | 4886179 | 4886179 | 0 | 0 | 384.2758 | 24.8 | 50481.77 | 8
7:00 | 2013 | 7 | 11 | 26778716 | 26778716 | 4886064 | 4886064 | 0 | 0 | 384.9163 | 24.81 | 50751.18 | 8
6:00 | 2013 | 7 | 11 | 26775500 | 26775500 | 4885949 | 4885949 | 0 | 0 | 382.3887 | 24.86 | 50396.859 | 8
5:00 | 2013 | 7 | 11 | 26772140 | 26772140 | 4885828 | 4885828 | 0 | 0 | 382.3462 | 24.82 | 50557.461 | 8
4:00 | 2013 | 7 | 11 | 26768835 | 26768835 | 4885709 | 4885709 | 0 | 0 | 383.845 | 24.88 | 50454.73 | 8
3:00 | 2013 | 7 | 11 | 26765629 | 26765629 | 4885594 | 4885594 | 0 | 0 | 385.7742 | 24.87 | 50783.949 | 8
2:00 | 2013 | 7 | 11 | 26762518 | 26762518 | 4885483 | 4885483 | 0 | 0 | 384.6948 | 24.8 | 50614.012 | 8
1:00 | 2013 | 7 | 11 | 26759332 | 26759332 | 4885369 | 4885369 | 0 | 0 | 384.6541 | 24.61 | 50579.578 | 8
0:00 | 2013 | 7 | 11 | 26756115 | 26756115 | 4885254 | 4885254 | 0 | 0 | 386.1242 | 24.67 | 50794.809 | 8
23:00 | 2013 | 7 | 10 | 26753027 | 26753027 | 4885144 | 4885144 | 0 | 0 | 386.1507 | 24.87 | 50849.488 | 8
22:00 | 2013 | 7 | 10 | 26749913 | 26749913 | 4885033 | 4885033 | 0 | 0 | 385.0728 | 25 | 50546.41 | 8
21:00 | 2013 | 7 | 10 | 26746810 | 26746810 | 4884922 | 4884922 | 0 | 0 | 385.2986 | 25.29 | 50636.461 | 8
20:00 | 2013 | 7 | 10 | 26743709 | 26743709 | 4884811 | 4884811 | 0 | 0 | 384.042 | 25.54 | 50358.18 | 8
19:00 | 2013 | 7 | 10 | 26740537 | 26740537 | 4884697 | 4884697 | 0 | 0 | 384.3332 | 25.73 | 50400.828 | 8
18:00 | 2013 | 7 | 10 | 26737477 | 26737477 | 4884587 | 4884587 | 0 | 0 | 384.8093 | 25.57 | 50377.801 | 8
17:00 | 2013 | 7 | 10 | 26734300 | 26734300 | 4884473 | 4884473 | 0 | 0 | 382.2457 | 25.93 | 50101.719 | 8
16:00 | 2013 | 7 | 10 | 26731149 | 26731149 | 4884359 | 4884359 | 0 | 0 | 380.3819 | 26.64 | 50025.699 | 8
15:00 | 2013 | 7 | 10 | 26727996 | 26727996 | 4884244 | 4884244 | 0 | 0 | 380.7193 | 26.71 | 49564.512 | 8
14:00 | 2013 | 7 | 10 | 26724895 | 26724895 | 4884131 | 4884131 | 0 | 0 | 382.1489 | 26.45 | 49931.27 | 8
13:00 | 2013 | 7 | 10 | 26721835 | 26721835 | 4884020 | 4884020 | 0 | 0 | 381.0809 | 26.28 | 49789.711 | 8
12:00 | 2013 | 7 | 10 | 26718671 | 26718671 | 4883905 | 4883905 | 0 | 0 | 382.0291 | 26.08 | 49852.621 | 8
11:00 | 2013 | 7 | 10 | 26715551 | 26715551 | 4883792 | 4883792 | 0 | 0 | 381.089 | 25.75 | 49816.129 | 8