## sanivex 07 29 13 horario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 168
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 22/07/2013 | 10:00:00 a.m. | 5934378 | 218364 | 29.2836 | 0 | 396.994 | 22.6 | 5.33
2 | 22/07/2013 | 11:00:00 a.m. | 5934660 | 218373 | 29.0358 | 0 | 396.18 | 23.6 | 5.34
3 | 22/07/2013 | 12:00:00 p.m. | 5934964 | 218384 | 28.7447 | 0 | 395.559 | 25.2 | 5.34
4 | 22/07/2013 | 1:00:00 p.m. | 5935263 | 218394 | 28.8511 | 0 | 395.472 | 26.1 | 5.34
5 | 22/07/2013 | 2:00:00 p.m. | 5935584 | 218405 | 28.5385 | 0 | 394.899 | 26.7 | 5.34
6 | 22/07/2013 | 3:00:00 p.m. | 5935904 | 218417 | 28.5805 | 0 | 394.803 | 27.2 | 5.34
7 | 22/07/2013 | 4:00:00 p.m. | 5936255 | 218429 | 28.4494 | 0 | 394.643 | 27.8 | 5.34
8 | 22/07/2013 | 5:00:00 p.m. | 5936629 | 218442 | 28.8602 | 0 | 394.883 | 27.6 | 5.34
9 | 22/07/2013 | 6:00:00 p.m. | 5937048 | 218456 | 28.8723 | 0 | 396.536 | 26 | 5.34
10 | 22/07/2013 | 7:00:00 p.m. | 5937488 | 218472 | 28.9099 | 0 | 396.656 | 25.8 | 5.34
11 | 22/07/2013 | 8:00:00 p.m. | 5937954 | 218488 | 29.8715 | 0 | 397.199 | 22.4 | 5.33
12 | 22/07/2013 | 9:00:00 p.m. | 5938447 | 218504 | 29.9604 | 0 | 397.433 | 17.3 | 5.33
13 | 22/07/2013 | 10:00:00 p.m. | 5938954 | 218521 | 30.0468 | 0 | 397.532 | 17.3 | 5.32
14 | 22/07/2013 | 11:00:00 p.m. | 5939417 | 218536 | 29.8959 | 0 | 398.428 | 17.8 | 5.32
15 | 23/07/2013 | 12:00:00 a.m. | 5939945 | 218554 | 29.9073 | 0 | 397.239 | 17.2 | 5.31
16 | 23/07/2013 | 1:00:00 a.m. | 5940500 | 218572 | 29.9353 | 0 | 397.812 | 17.6 | 5.31
17 | 23/07/2013 | 2:00:00 a.m. | 5941136 | 218594 | 30.1355 | 0 | 396.868 | 17.3 | 5.31
18 | 23/07/2013 | 3:00:00 a.m. | 5941764 | 218614 | 30.1728 | 0 | 397.242 | 16.8 | 5.31
19 | 23/07/2013 | 4:00:00 a.m. | 5942220 | 218630 | 30.3239 | 0 | 398.799 | 16.5 | 5.31
20 | 23/07/2013 | 5:00:00 a.m. | 5942586 | 218642 | 30.1955 | 0 | 398.868 | 16.4 | 5.31
21 | 23/07/2013 | 6:00:00 a.m. | 5942952 | 218654 | 30.3231 | 0 | 398.22 | 16.3 | 5.31
22 | 23/07/2013 | 7:00:00 a.m. | 5943345 | 218667 | 30.2019 | 0 | 398.872 | 16.6 | 5.31
23 | 23/07/2013 | 8:00:00 a.m. | 5943691 | 218678 | 29.8418 | 0 | 399.382 | 18.1 | 5.32
24 | 23/07/2013 | 9:00:00 a.m. | 5944052 | 218690 | 29.3375 | 0 | 397.132 | 20.6 | 5.33
25 | 23/07/2013 | 10:00:00 a.m. | 5944370 | 218701 | 29.135 | 0 | 397.124 | 21.8 | 5.33
26 | 23/07/2013 | 11:00:00 a.m. | 5944687 | 218712 | 29.0922 | 0 | 396.286 | 23.6 | 5.33
27 | 23/07/2013 | 12:00:00 p.m. | 5944979 | 218722 | 28.8627 | 0 | 395.476 | 25 | 5.34
28 | 23/07/2013 | 1:00:00 p.m. | 5945287 | 218733 | 28.7882 | 0 | 395.06 | 26.2 | 5.34
29 | 23/07/2013 | 2:00:00 p.m. | 5945565 | 218743 | 28.5317 | 0 | 395.094 | 27.2 | 5.34
30 | 23/07/2013 | 3:00:00 p.m. | 5945892 | 218754 | 28.42 | 0 | 394.615 | 27.9 | 5.34
31 | 23/07/2013 | 4:00:00 p.m. | 5946247 | 218767 | 28.2267 | 0 | 394.326 | 28.9 | 5.34
32 | 23/07/2013 | 5:00:00 p.m. | 5946594 | 218779 | 28.1316 | 0 | 395.082 | 30.4 | 5.35
33 | 23/07/2013 | 6:00:00 p.m. | 5946979 | 218793 | 28.2922 | 0 | 395.235 | 30.2 | 5.35
34 | 23/07/2013 | 7:00:00 p.m. | 5947381 | 218807 | 28.7434 | 0 | 396.125 | 29 | 5.34
35 | 23/07/2013 | 8:00:00 p.m. | 5947804 | 218821 | 29.6547 | 0 | 397.9 | 25.9 | 5.34
36 | 23/07/2013 | 9:00:00 p.m. | 5948290 | 218838 | 29.4121 | 0 | 399.529 | 23.1 | 5.33
37 | 23/07/2013 | 10:00:00 p.m. | 5948761 | 218854 | 29.8098 | 0 | 398.806 | 21.3 | 5.33
38 | 23/07/2013 | 11:00:00 p.m. | 5949246 | 218870 | 29.8117 | 0 | 398.161 | 19.7 | 5.33
39 | 24/07/2013 | 12:00:00 a.m. | 5949761 | 218887 | 30.1241 | 0 | 398.869 | 19 | 5.32
40 | 24/07/2013 | 1:00:00 a.m. | 5950281 | 218904 | 30.2073 | 0 | 399.702 | 18.4 | 5.32
41 | 24/07/2013 | 2:00:00 a.m. | 5950802 | 218922 | 30.0096 | 0 | 399.72 | 18 | 5.32
42 | 24/07/2013 | 3:00:00 a.m. | 5951296 | 218938 | 30.1529 | 0 | 399.514 | 17.5 | 5.32
43 | 24/07/2013 | 4:00:00 a.m. | 5951803 | 218955 | 30.3572 | 0 | 398.864 | 16.8 | 5.31
44 | 24/07/2013 | 5:00:00 a.m. | 5952354 | 218973 | 30.2695 | 0 | 399.347 | 16.6 | 5.31
45 | 24/07/2013 | 6:00:00 a.m. | 5952967 | 218993 | 30.2655 | 0 | 400.139 | 16.6 | 5.31
46 | 24/07/2013 | 7:00:00 a.m. | 5953623 | 219015 | 30.4198 | 0 | 400.388 | 16.4 | 5.31
47 | 24/07/2013 | 8:00:00 a.m. | 5954019 | 219028 | 29.9258 | 0 | 400.865 | 17.9 | 5.32
48 | 24/07/2013 | 9:00:00 a.m. | 5954361 | 219040 | 29.5876 | 0 | 399.158 | 20.9 | 5.33
49 | 24/07/2013 | 10:00:00 a.m. | 5954696 | 219051 | 29.3453 | 0 | 397.163 | 22.3 | 5.33
50 | 24/07/2013 | 11:00:00 a.m. | 5954996 | 219061 | 29.0367 | 0 | 397.355 | 24.3 | 5.33
51 | 24/07/2013 | 12:00:00 p.m. | 5955335 | 219073 | 28.9063 | 0 | 396.507 | 25.3 | 5.34
52 | 24/07/2013 | 1:00:00 p.m. | 5955641 | 219084 | 28.6893 | 0 | 396.49 | 26.3 | 5.34
53 | 24/07/2013 | 2:00:00 p.m. | 5955937 | 219094 | 28.6972 | 0 | 396.668 | 27.2 | 5.34
54 | 24/07/2013 | 3:00:00 p.m. | 5956253 | 219105 | 28.2146 | 0 | 395.719 | 28.8 | 5.34
55 | 24/07/2013 | 4:00:00 p.m. | 5956576 | 219116 | 28.4828 | 0 | 395.621 | 30.1 | 5.34
56 | 24/07/2013 | 5:00:00 p.m. | 5956873 | 219127 | 28.1933 | 0 | 395.816 | 30.2 | 5.35
57 | 24/07/2013 | 6:00:00 p.m. | 5957197 | 219138 | 28.6348 | 0 | 395.783 | 30.1 | 5.35
58 | 24/07/2013 | 7:00:00 p.m. | 5957508 | 219149 | 29.1233 | 0 | 397.357 | 27 | 5.34
59 | 24/07/2013 | 8:00:00 p.m. | 5957884 | 219162 | 30.349 | 0 | 396.949 | 18.5 | 5.33
60 | 24/07/2013 | 9:00:00 p.m. | 5958260 | 219174 | 30.3487 | 0 | 399.74 | 16.2 | 5.32
61 | 24/07/2013 | 10:00:00 p.m. | 5958635 | 219186 | 30.198 | 0 | 397.995 | 16.4 | 5.32
62 | 24/07/2013 | 11:00:00 p.m. | 5958965 | 219197 | 30.0159 | 0 | 398.185 | 17.3 | 5.32
63 | 25/07/2013 | 12:00:00 a.m. | 5959342 | 219210 | 30.0267 | 0 | 398.929 | 17.7 | 5.31
64 | 25/07/2013 | 1:00:00 a.m. | 5959681 | 219221 | 30.0103 | 0 | 398.462 | 17.8 | 5.32
65 | 25/07/2013 | 2:00:00 a.m. | 5960047 | 219233 | 29.9976 | 0 | 397.639 | 17.9 | 5.31
66 | 25/07/2013 | 3:00:00 a.m. | 5960418 | 219246 | 29.9357 | 0 | 397.6 | 17.8 | 5.31
67 | 25/07/2013 | 4:00:00 a.m. | 5960888 | 219262 | 30.044 | 0 | 396.615 | 17.8 | 5.31
68 | 25/07/2013 | 5:00:00 a.m. | 5961302 | 219275 | 29.8906 | 0 | 398.25 | 18 | 5.31
69 | 25/07/2013 | 6:00:00 a.m. | 5961739 | 219290 | 30.0548 | 0 | 397.835 | 17.8 | 5.31
70 | 25/07/2013 | 7:00:00 a.m. | 5962223 | 219306 | 29.9801 | 0 | 398.114 | 17.8 | 5.31
71 | 25/07/2013 | 8:00:00 a.m. | 5962704 | 219322 | 29.9587 | 0 | 397.524 | 18.1 | 5.31
72 | 25/07/2013 | 9:00:00 a.m. | 5963209 | 219339 | 29.4541 | 0 | 396.561 | 19.4 | 5.32
73 | 25/07/2013 | 10:00:00 a.m. | 5963692 | 219356 | 29.2074 | 0 | 395.227 | 21.7 | 5.33
74 | 25/07/2013 | 11:00:00 a.m. | 5964132 | 219371 | 29.3246 | 0 | 396.18 | 23.5 | 5.34
75 | 25/07/2013 | 12:00:00 p.m. | 5964566 | 219386 | 28.8881 | 0 | 396.637 | 24.1 | 5.34
76 | 25/07/2013 | 1:00:00 p.m. | 5964947 | 219399 | 28.667 | 0 | 395.679 | 26 | 5.34
77 | 25/07/2013 | 2:00:00 p.m. | 5965333 | 219412 | 28.5036 | 0 | 395.198 | 27.3 | 5.34
78 | 25/07/2013 | 3:00:00 p.m. | 5965706 | 219425 | 28.4426 | 0 | 394.029 | 28 | 5.34
79 | 25/07/2013 | 4:00:00 p.m. | 5966117 | 219440 | 28.3133 | 0 | 393.547 | 28.7 | 5.35
80 | 25/07/2013 | 5:00:00 p.m. | 5966568 | 219456 | 28.3191 | 0 | 392.932 | 29.2 | 5.34
81 | 25/07/2013 | 6:00:00 p.m. | 5967090 | 219474 | 28.567 | 0 | 394.217 | 28.8 | 5.35
82 | 25/07/2013 | 7:00:00 p.m. | 5967694 | 219495 | 29.2144 | 0 | 395.852 | 26.5 | 5.34
83 | 25/07/2013 | 8:00:00 p.m. | 5968226 | 219513 | 29.5078 | 0 | 396.862 | 21.8 | 5.33
84 | 25/07/2013 | 9:00:00 p.m. | 5968595 | 219526 | 29.452 | 0 | 397.267 | 21.1 | 5.33
85 | 25/07/2013 | 10:00:00 p.m. | 5968956 | 219538 | 29.5745 | 0 | 397.424 | 20.7 | 5.33
86 | 25/07/2013 | 11:00:00 p.m. | 5969286 | 219549 | 29.6338 | 0 | 397.912 | 20.1 | 5.32
87 | 26/07/2013 | 12:00:00 a.m. | 5969598 | 219560 | 29.6088 | 0 | 397.423 | 20 | 5.32
88 | 26/07/2013 | 1:00:00 a.m. | 5969872 | 219569 | 30.0544 | 0 | 398.594 | 19.2 | 5.32
89 | 26/07/2013 | 2:00:00 a.m. | 5970192 | 219580 | 29.9042 | 0 | 397.851 | 18.6 | 5.32
90 | 26/07/2013 | 3:00:00 a.m. | 5970512 | 219590 | 29.8673 | 0 | 397.779 | 18.5 | 5.32
91 | 26/07/2013 | 4:00:00 a.m. | 5970898 | 219603 | 30.0268 | 0 | 397.317 | 18 | 5.31
92 | 26/07/2013 | 5:00:00 a.m. | 5971272 | 219616 | 29.9853 | 0 | 397.042 | 17.5 | 5.31
93 | 26/07/2013 | 6:00:00 a.m. | 5971615 | 219627 | 30.0132 | 0 | 397.842 | 17.4 | 5.31
94 | 26/07/2013 | 7:00:00 a.m. | 5972002 | 219640 | 30.1731 | 0 | 397.325 | 17 | 5.31
95 | 26/07/2013 | 8:00:00 a.m. | 5972349 | 219652 | 29.5753 | 0 | 397.414 | 18.4 | 5.32
96 | 26/07/2013 | 9:00:00 a.m. | 5972708 | 219664 | 29.2448 | 0 | 396.708 | 21.6 | 5.33
97 | 26/07/2013 | 10:00:00 a.m. | 5973042 | 219675 | 28.9797 | 0 | 394.885 | 23.6 | 5.33
98 | 26/07/2013 | 11:00:00 a.m. | 5973360 | 219686 | 28.7564 | 0 | 393.553 | 25.4 | 5.34
99 | 26/07/2013 | 12:00:00 p.m. | 5973653 | 219697 | 28.7187 | 0 | 394.793 | 26.2 | 5.34
100 | 26/07/2013 | 1:00:00 p.m. | 5973979 | 219708 | 28.4287 | 0 | 394.046 | 27.2 | 5.34
101 | 26/07/2013 | 2:00:00 p.m. | 5974287 | 219719 | 28.276 | 0 | 393.462 | 28.7 | 5.34
102 | 26/07/2013 | 3:00:00 p.m. | 5974600 | 219730 | 28.1649 | 0 | 393.263 | 29.6 | 5.35
103 | 26/07/2013 | 4:00:00 p.m. | 5974926 | 219742 | 28.0932 | 0 | 393.585 | 31.1 | 5.35
104 | 26/07/2013 | 5:00:00 p.m. | 5975295 | 219755 | 28.7086 | 0 | 392.969 | 28.2 | 5.35
105 | 26/07/2013 | 6:00:00 p.m. | 5975694 | 219768 | 28.7185 | 0 | 394.875 | 24.2 | 5.34
106 | 26/07/2013 | 7:00:00 p.m. | 5976121 | 219783 | 28.8011 | 0 | 394.622 | 27 | 5.34
107 | 26/07/2013 | 8:00:00 p.m. | 5976597 | 219800 | 29.1908 | 0 | 396.137 | 24.1 | 5.33
108 | 26/07/2013 | 9:00:00 p.m. | 5977026 | 219814 | 29.2392 | 0 | 395.85 | 23 | 5.33
109 | 26/07/2013 | 10:00:00 p.m. | 5977493 | 219830 | 29.312 | 0 | 396.575 | 22.3 | 5.33
110 | 26/07/2013 | 11:00:00 p.m. | 5977929 | 219845 | 29.4909 | 0 | 396.35 | 20.8 | 5.33
111 | 27/07/2013 | 12:00:00 a.m. | 5978445 | 219863 | 29.7822 | 0 | 396.375 | 19.3 | 5.33
112 | 27/07/2013 | 1:00:00 a.m. | 5978932 | 219879 | 30.0184 | 0 | 397.15 | 18.3 | 5.32
113 | 27/07/2013 | 2:00:00 a.m. | 5979442 | 219896 | 29.9096 | 0 | 397.441 | 17.4 | 5.31
114 | 27/07/2013 | 3:00:00 a.m. | 5979964 | 219913 | 30.1834 | 0 | 396.444 | 17 | 5.31
115 | 27/07/2013 | 4:00:00 a.m. | 5980616 | 219935 | 29.9929 | 0 | 397.067 | 16.8 | 5.31
116 | 27/07/2013 | 5:00:00 a.m. | 5981287 | 219957 | 30.217 | 0 | 397.401 | 16.6 | 5.31
117 | 27/07/2013 | 6:00:00 a.m. | 5981929 | 219978 | 30.5094 | 0 | 398.336 | 15.9 | 5.31
118 | 27/07/2013 | 7:00:00 a.m. | 5982407 | 219994 | 30.4275 | 0 | 399.269 | 15 | 5.31
119 | 27/07/2013 | 8:00:00 a.m. | 5982774 | 220006 | 29.9135 | 0 | 398.251 | 16.8 | 5.31
120 | 27/07/2013 | 9:00:00 a.m. | 5983071 | 220016 | 29.4067 | 0 | 397.641 | 20.4 | 5.33
121 | 27/07/2013 | 10:00:00 a.m. | 5983399 | 220028 | 28.7825 | 0 | 395.108 | 23.9 | 5.34
122 | 27/07/2013 | 11:00:00 a.m. | 5983683 | 220038 | 28.6502 | 0 | 394.796 | 26 | 5.34
123 | 27/07/2013 | 12:00:00 p.m. | 5984009 | 220049 | 28.4609 | 0 | 394.855 | 27.9 | 5.34
124 | 27/07/2013 | 1:00:00 p.m. | 5984318 | 220060 | 28.4318 | 0 | 394.089 | 28.3 | 5.34
125 | 27/07/2013 | 2:00:00 p.m. | 5984629 | 220071 | 28.4987 | 0 | 394.792 | 28.3 | 5.34
126 | 27/07/2013 | 3:00:00 p.m. | 5984920 | 220081 | 28.2436 | 0 | 394.043 | 29.5 | 5.34
127 | 27/07/2013 | 4:00:00 p.m. | 5985241 | 220092 | 28.1148 | 0 | 394.057 | 30.7 | 5.35
128 | 27/07/2013 | 5:00:00 p.m. | 5985547 | 220103 | 28.0959 | 0 | 394.064 | 31.3 | 5.35
129 | 27/07/2013 | 6:00:00 p.m. | 5985859 | 220114 | 28.1678 | 0 | 394.406 | 31.1 | 5.35
130 | 27/07/2013 | 7:00:00 p.m. | 5986159 | 220125 | 28.5135 | 0 | 395.723 | 30.4 | 5.35
131 | 27/07/2013 | 8:00:00 p.m. | 5986456 | 220135 | 29.171 | 0 | 397.551 | 27 | 5.34
132 | 27/07/2013 | 9:00:00 p.m. | 5986739 | 220145 | 29.49 | 0 | 397.149 | 23.2 | 5.33
133 | 27/07/2013 | 10:00:00 p.m. | 5986987 | 220153 | 29.5003 | 0 | 398.001 | 21.9 | 5.33
134 | 27/07/2013 | 11:00:00 p.m. | 5987241 | 220162 | 29.6954 | 0 | 398.671 | 21.6 | 5.33
135 | 28/07/2013 | 12:00:00 a.m. | 5987493 | 220171 | 29.5766 | 0 | 396.935 | 20.5 | 5.32
136 | 28/07/2013 | 1:00:00 a.m. | 5987765 | 220180 | 29.5904 | 0 | 397.395 | 20.4 | 5.32
137 | 28/07/2013 | 2:00:00 a.m. | 5988048 | 220189 | 29.7847 | 0 | 397.948 | 19.4 | 5.32
138 | 28/07/2013 | 3:00:00 a.m. | 5988317 | 220198 | 29.9246 | 0 | 398.146 | 18.9 | 5.32
139 | 28/07/2013 | 4:00:00 a.m. | 5988613 | 220208 | 30.0094 | 0 | 398.033 | 18.6 | 5.32
140 | 28/07/2013 | 5:00:00 a.m. | 5988901 | 220218 | 29.8464 | 0 | 398.016 | 18 | 5.32
141 | 28/07/2013 | 6:00:00 a.m. | 5989171 | 220227 | 30.1409 | 0 | 398.469 | 18 | 5.32
142 | 28/07/2013 | 7:00:00 a.m. | 5989438 | 220236 | 30.2116 | 0 | 398.057 | 17.4 | 5.31
143 | 28/07/2013 | 8:00:00 a.m. | 5989667 | 220243 | 29.7493 | 0 | 399.091 | 17.9 | 5.31
144 | 28/07/2013 | 9:00:00 a.m. | 5989897 | 220251 | 29.239 | 0 | 397.071 | 21.4 | 5.33
145 | 28/07/2013 | 10:00:00 a.m. | 5990100 | 220258 | 28.9155 | 0 | 395.419 | 24.3 | 5.33
146 | 28/07/2013 | 11:00:00 a.m. | 5990302 | 220265 | 28.874 | 0 | 395.337 | 25.7 | 5.34
147 | 28/07/2013 | 12:00:00 p.m. | 5990503 | 220272 | 28.5747 | 0 | 394.936 | 25.8 | 5.34
148 | 28/07/2013 | 1:00:00 p.m. | 5990698 | 220279 | 28.6129 | 0 | 394.749 | 26.4 | 5.34
149 | 28/07/2013 | 2:00:00 p.m. | 5990927 | 220287 | 28.6187 | 0 | 394.641 | 27.1 | 5.34
150 | 28/07/2013 | 3:00:00 p.m. | 5991154 | 220295 | 28.376 | 0 | 393.814 | 28.4 | 5.34
151 | 28/07/2013 | 4:00:00 p.m. | 5991423 | 220304 | 28.579 | 0 | 394.263 | 27.3 | 5.34
152 | 28/07/2013 | 5:00:00 p.m. | 5991690 | 220314 | 28.4933 | 0 | 394.785 | 28.4 | 5.34
153 | 28/07/2013 | 6:00:00 p.m. | 5991989 | 220324 | 28.5382 | 0 | 394.593 | 28.6 | 5.34
154 | 28/07/2013 | 7:00:00 p.m. | 5992296 | 220335 | 29.0245 | 0 | 396.727 | 27.4 | 5.34
155 | 28/07/2013 | 8:00:00 p.m. | 5992649 | 220347 | 29.4069 | 0 | 396.247 | 23.5 | 5.33
156 | 28/07/2013 | 9:00:00 p.m. | 5993013 | 220359 | 29.3349 | 0 | 396.184 | 21.8 | 5.33
157 | 28/07/2013 | 10:00:00 p.m. | 5993391 | 220372 | 30.3544 | 0 | 397.071 | 18.9 | 5.33
158 | 28/07/2013 | 11:00:00 p.m. | 5993792 | 220385 | 29.9998 | 0 | 397.77 | 16.2 | 5.32
159 | 29/07/2013 | 12:00:00 a.m. | 5994154 | 220397 | 30.1063 | 0 | 398.379 | 16.8 | 5.31
160 | 29/07/2013 | 1:00:00 a.m. | 5994497 | 220409 | 30.3668 | 0 | 397.457 | 16.5 | 5.31
161 | 29/07/2013 | 2:00:00 a.m. | 5994910 | 220422 | 30.0984 | 0 | 398.866 | 16 | 5.31
162 | 29/07/2013 | 3:00:00 a.m. | 5995404 | 220439 | 30.2473 | 0 | 396.703 | 15.9 | 5.31
163 | 29/07/2013 | 4:00:00 a.m. | 5996009 | 220459 | 30.2143 | 0 | 397.169 | 15.2 | 5.31
164 | 29/07/2013 | 5:00:00 a.m. | 5996565 | 220477 | 30.2957 | 0 | 396.831 | 15.3 | 5.31
165 | 29/07/2013 | 6:00:00 a.m. | 5996864 | 220487 | 30.3121 | 0 | 399.378 | 15.2 | 5.31
166 | 29/07/2013 | 7:00:00 a.m. | 5997183 | 220497 | 30.4123 | 0 | 399.31 | 15.5 | 5.31
167 | 29/07/2013 | 8:00:00 a.m. | 5997452 | 220506 | 30.0632 | 0 | 399.472 | 17 | 5.31
168 | 29/07/2013 | 9:00:00 a.m. | 5997725 | 220515 | 29.5228 | 0 | 398.223 | 18.6 | 5.32