## sanivex 08 01 13 diario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 4
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 9:00:00 a.m. | 5997725 | 220515 | 29.5228 | 0 | 396.597 | 21.3 | 5.32
2 | 30/07/2013 | 9:00:00 a.m. | 6005308 | 220773 | 29.3319 | 0 | 397.057 | 22 | 5.33
3 | 31/07/2013 | 9:00:00 a.m. | 6015663 | 221122 | 29.582 | 0 | 397.716 | 21.9 | 5.32
4 | 01/08/2013 | 9:00:00 a.m. | 6023474 | 221388 | 29.5672 | 0 | 397.373 | 22.1 | 5.33