## sanivex 08 01 13 horario mc b
Data Log
Unit Serial Number: | 05/08/39540
Meter/Site ID: | Sanivex850537 3M
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 72
Fault/Alarms Recorded: | Date | Time | Condition
22 | 01/07/2013 | 12:30:00 p.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
1 | 29/07/2013 | 11:00:00 a.m. | 5998245 | 220533 | 28.9928 | 0 | 396.043 | 23.3 | 5.33
2 | 29/07/2013 | 12:00:00 p.m. | 5998497 | 220542 | 28.6765 | 0 | 395.318 | 25.1 | 5.34
3 | 29/07/2013 | 1:00:00 p.m. | 5998769 | 220551 | 28.6165 | 0 | 394.49 | 26.9 | 5.34
4 | 29/07/2013 | 2:00:00 p.m. | 5999025 | 220560 | 28.3773 | 0 | 395.192 | 28 | 5.34
5 | 29/07/2013 | 3:00:00 p.m. | 5999287 | 220570 | 28.4271 | 0 | 395.153 | 28.9 | 5.34
6 | 29/07/2013 | 4:00:00 p.m. | 5999549 | 220579 | 28.1077 | 0 | 393.837 | 30.3 | 5.35
7 | 29/07/2013 | 5:00:00 p.m. | 5999841 | 220589 | 28.6052 | 0 | 395.731 | 29.7 | 5.35
8 | 29/07/2013 | 6:00:00 p.m. | 6000157 | 220600 | 28.8197 | 0 | 394.861 | 28.2 | 5.34
9 | 29/07/2013 | 7:00:00 p.m. | 6000434 | 220610 | 28.924 | 0 | 396.539 | 26.8 | 5.34
10 | 29/07/2013 | 8:00:00 p.m. | 6000751 | 220621 | 29.211 | 0 | 397.498 | 25 | 5.34
11 | 29/07/2013 | 9:00:00 p.m. | 6001062 | 220631 | 30.0663 | 0 | 398.652 | 21 | 5.33
12 | 29/07/2013 | 10:00:00 p.m. | 6001409 | 220643 | 30.0371 | 0 | 398.435 | 18.7 | 5.33
13 | 29/07/2013 | 11:00:00 p.m. | 6001732 | 220654 | 29.7993 | 0 | 398.242 | 18.8 | 5.32
14 | 30/07/2013 | 12:00:00 a.m. | 6002036 | 220664 | 29.8675 | 0 | 397.789 | 19 | 5.32
15 | 30/07/2013 | 1:00:00 a.m. | 6002359 | 220675 | 30.1182 | 0 | 398.25 | 18.4 | 5.32
16 | 30/07/2013 | 2:00:00 a.m. | 6002674 | 220685 | 30.095 | 0 | 397.881 | 17.7 | 5.31
17 | 30/07/2013 | 3:00:00 a.m. | 6003021 | 220697 | 30.0406 | 0 | 398.935 | 17.1 | 5.31
18 | 30/07/2013 | 4:00:00 a.m. | 6003426 | 220710 | 30.1655 | 0 | 397.882 | 16.4 | 5.31
19 | 30/07/2013 | 5:00:00 a.m. | 6003783 | 220722 | 30.0866 | 0 | 398.404 | 15.8 | 5.31
20 | 30/07/2013 | 6:00:00 a.m. | 6004147 | 220734 | 30.2453 | 0 | 398.962 | 15.9 | 5.31
21 | 30/07/2013 | 7:00:00 a.m. | 6004512 | 220746 | 30.4194 | 0 | 399.38 | 15.7 | 5.31
22 | 30/07/2013 | 8:00:00 a.m. | 6004923 | 220760 | 29.8437 | 0 | 398.249 | 17.5 | 5.31
23 | 30/07/2013 | 9:00:00 a.m. | 6005308 | 220773 | 29.3319 | 0 | 397.222 | 20.8 | 5.33
24 | 30/07/2013 | 10:00:00 a.m. | 6005643 | 220784 | 29.3644 | 0 | 396.368 | 21.6 | 5.33
25 | 30/07/2013 | 11:00:00 a.m. | 6005984 | 220796 | 29.0891 | 0 | 395.489 | 23.2 | 5.33
26 | 30/07/2013 | 12:00:00 p.m. | 6006305 | 220807 | 28.9567 | 0 | 396.034 | 25.1 | 5.34
27 | 30/07/2013 | 1:00:00 p.m. | 6006625 | 220818 | 28.7843 | 0 | 396.724 | 26.4 | 5.34
28 | 30/07/2013 | 2:00:00 p.m. | 6006927 | 220828 | 28.7023 | 0 | 396.498 | 27 | 5.34
29 | 30/07/2013 | 3:00:00 p.m. | 6007247 | 220840 | 28.6003 | 0 | 395.987 | 27.9 | 5.34
30 | 30/07/2013 | 4:00:00 p.m. | 6007548 | 220850 | 28.8107 | 0 | 396.719 | 28.6 | 5.34
31 | 30/07/2013 | 5:00:00 p.m. | 6007862 | 220861 | 28.4107 | 0 | 396.774 | 29 | 5.34
32 | 30/07/2013 | 6:00:00 p.m. | 6008207 | 220873 | 28.6121 | 0 | 396.504 | 29 | 5.34
33 | 30/07/2013 | 7:00:00 p.m. | 6008564 | 220886 | 29.1085 | 0 | 398.097 | 27.9 | 5.34
34 | 30/07/2013 | 8:00:00 p.m. | 6008990 | 220900 | 29.5188 | 0 | 399.029 | 24.6 | 5.33
35 | 30/07/2013 | 9:00:00 p.m. | 6009400 | 220914 | 29.694 | 0 | 398.534 | 22.3 | 5.33
36 | 30/07/2013 | 10:00:00 p.m. | 6009856 | 220930 | 29.6506 | 0 | 398.529 | 21.4 | 5.33
37 | 30/07/2013 | 11:00:00 p.m. | 6010341 | 220946 | 29.8256 | 0 | 399.14 | 20.2 | 5.32
38 | 31/07/2013 | 12:00:00 a.m. | 6010811 | 220962 | 29.8901 | 0 | 398.815 | 19 | 5.32
39 | 31/07/2013 | 1:00:00 a.m. | 6011284 | 220977 | 30.0303 | 0 | 397.858 | 18.1 | 5.32
40 | 31/07/2013 | 2:00:00 a.m. | 6011750 | 220993 | 30.0437 | 0 | 398.606 | 17.4 | 5.31
41 | 31/07/2013 | 3:00:00 a.m. | 6012269 | 221010 | 30.2671 | 0 | 399.114 | 17.2 | 5.31
42 | 31/07/2013 | 4:00:00 a.m. | 6012799 | 221028 | 30.4271 | 0 | 398.636 | 16.1 | 5.31
43 | 31/07/2013 | 5:00:00 a.m. | 6013372 | 221046 | 30.1701 | 0 | 398.062 | 15.6 | 5.31
44 | 31/07/2013 | 6:00:00 a.m. | 6013986 | 221067 | 30.2753 | 0 | 398.347 | 16.1 | 5.31
45 | 31/07/2013 | 7:00:00 a.m. | 6014686 | 221090 | 30.2352 | 0 | 398.924 | 16 | 5.31
46 | 31/07/2013 | 8:00:00 a.m. | 6015320 | 221111 | 29.8584 | 0 | 398.047 | 17.4 | 5.31
47 | 31/07/2013 | 9:00:00 a.m. | 6015663 | 221122 | 29.582 | 0 | 398.356 | 19.8 | 5.32
48 | 31/07/2013 | 10:00:00 a.m. | 6015948 | 221132 | 29.3388 | 0 | 397.12 | 22.1 | 5.33
49 | 31/07/2013 | 11:00:00 a.m. | 6016248 | 221142 | 29.0698 | 0 | 396.445 | 23.7 | 5.33
50 | 31/07/2013 | 12:00:00 p.m. | 6016568 | 221154 | 28.749 | 0 | 395.559 | 25.7 | 5.34
51 | 31/07/2013 | 1:00:00 p.m. | 6016862 | 221164 | 28.4714 | 0 | 395.359 | 28.3 | 5.34
52 | 31/07/2013 | 2:00:00 p.m. | 6017177 | 221175 | 28.4669 | 0 | 394.702 | 29 | 5.35
53 | 31/07/2013 | 3:00:00 p.m. | 6017458 | 221185 | 28.1685 | 0 | 395.059 | 29.1 | 5.35
54 | 31/07/2013 | 4:00:00 p.m. | 6017772 | 221196 | 28.3522 | 0 | 394.82 | 29.5 | 5.35
55 | 31/07/2013 | 5:00:00 p.m. | 6018111 | 221208 | 28.5285 | 0 | 395.644 | 29.2 | 5.34
56 | 31/07/2013 | 6:00:00 p.m. | 6018419 | 221219 | 28.6297 | 0 | 396.382 | 28.4 | 5.34
57 | 31/07/2013 | 7:00:00 p.m. | 6018749 | 221230 | 28.9234 | 0 | 396.78 | 27.9 | 5.34
58 | 31/07/2013 | 8:00:00 p.m. | 6019083 | 221242 | 29.2879 | 0 | 397.307 | 25 | 5.33
59 | 31/07/2013 | 9:00:00 p.m. | 6019383 | 221252 | 29.468 | 0 | 398.854 | 23.2 | 5.33
60 | 31/07/2013 | 10:00:00 p.m. | 6019701 | 221263 | 29.6882 | 0 | 397.866 | 21.9 | 5.33
61 | 31/07/2013 | 11:00:00 p.m. | 6019981 | 221272 | 29.8725 | 0 | 398.727 | 20 | 5.33
62 | 01/08/2013 | 12:00:00 a.m. | 6020287 | 221282 | 30.0945 | 0 | 399.293 | 18.8 | 5.32
63 | 01/08/2013 | 1:00:00 a.m. | 6020617 | 221293 | 30.1608 | 0 | 397.856 | 17.6 | 5.32
64 | 01/08/2013 | 2:00:00 a.m. | 6020976 | 221305 | 30.2954 | 0 | 399.266 | 17.2 | 5.31
65 | 01/08/2013 | 3:00:00 a.m. | 6021351 | 221318 | 30.2234 | 0 | 399.003 | 16.6 | 5.31
66 | 01/08/2013 | 4:00:00 a.m. | 6021694 | 221329 | 30.539 | 0 | 398.849 | 15.7 | 5.31
67 | 01/08/2013 | 5:00:00 a.m. | 6022072 | 221341 | 30.4142 | 0 | 399.813 | 15.1 | 5.31
68 | 01/08/2013 | 6:00:00 a.m. | 6022431 | 221353 | 30.3172 | 0 | 398.66 | 14.7 | 5.31
69 | 01/08/2013 | 7:00:00 a.m. | 6022801 | 221365 | 30.2688 | 0 | 397.859 | 15.5 | 5.31
70 | 01/08/2013 | 8:00:00 a.m. | 6023129 | 221376 | 29.8739 | 0 | 398.779 | 17.4 | 5.31
71 | 01/08/2013 | 9:00:00 a.m. | 6023474 | 221388 | 29.5672 | 0 | 396.967 | 19.7 | 5.33
72 | 01/08/2013 | 10:00:00 a.m. | 6023785 | 221398 | 29.2385 | 0 | 397.382 | 22.1 | 5.33